## 9736 Chlorophyll
Cruise: 9736
Data entered by: E. Baird, Sept.22/97.
Analyst: L. White
CRUISE# | STATION | DEPTH | Rb/Ra | Phaeop A | Chl A
|  | m |  | UG/L | UG/L
9736 | 3 | 1 | 1.6932 | 0.16577 | 0.61508
9736 | 3 | 10 | 1.7006 | 0.5111 | 1.9965
9736 | 3 | 25 | 1.6212 | 0.19403 | 0.46576
9736 | 3 | 50 | 1.3739 | 0.16677 | 0.12831
9736 | 4 | 1 | 1.6639 | 0.16434 | 0.50489
9736 | 4 | 10 | 1.6982 | 0.78348 | 3.0099
9736 | 4 | 25 | 1.3887 | 0.20451 | 0.16867
9736 | 4 | 50 | 1.3318 | 0.11168 | 0.070161
9736 | 5 | 1 | 1.5882 | 0.40011 | 0.80667
9736 | 5 | 10 | 1.8026 | 0.5839 | 9.8814
9736 | 5 | 25 | 1.3631 | 0.22496 | 0.16435
9736 | 5 | 50 | 1.1888 | 0.12644 | 0.035561
9736 | 9 | 1 | 1.6542 | 0.36542 | 1.0588
9736 | 9 | 10 | 1.7778 | 0.54955 | 5.9183
9736 | 9 | 25 | 1.2 | 0.11735 | 0.035561
9736 | 9 | 50 | 1.3591 | 0.10591 | 0.075928
9736 | 10 | 1 | 1.3793 | 3.6064 | 2.9063
9736 | 10 | 10 | 1.6332 | 0.33758 | 0.8662
9736 | 10 | 25 | 1.3636 | 0.25093 | 0.17671
9736 | 10 | 50 | 1.3971 | 0.31846 | 0.26191
9736 | 13 | 1 | 1.5938 | 0.26014 | 0.5396
9736 | 13 | 10 | 1.8161 | 0.39895 | 9.6172
9736 | 13 | 25 | 1.7425 | 0.23151 | 1.2503
9736 | 13 | 50 | 1.6414 | 0.34888 | 0.93775
9736 | 16 | 1 | 1.7257 | 0.40837 | 1.9209 | No volume filtered data. Data filled in from samples before and after.
9736 | 16 | 10 | 1.804 | 0.4835 | 8.4547 | No volume filtered data. Data filled in from samples before and after.
9736 | 16 | 25 | 1.8107 | 0.23426 | 4.8262 | No volume filtered data. Data filled in from samples before and after.
9736 | 16 | 50 | 1.7736 | 0.28535 | 2.8887 | No volume filtered data. Data filled in from samples before and after.
9736 | 18 | 1 | 1.7653 | 0.34001 | 2.2687 | No volume filtered data. Data filled in from samples before and after.
9736 | 18 | 10 | 1.6724 | 1.6328 | 6.1825 | No volume filtered data. Data filled in from samples before and after.
9736 | 18 | 25 | 1.6389 | 0.26257 | 0.69575 | No volume filtered data. Data filled in from samples before and after.
9736 | 18 | 50 | 1.3021 | 0.17748 | 0.096111 | No volume filtered data. Data filled in from samples before and after.
9736 | 19 | 1 | 1.6364 | 1.135 | 2.9645
9736 | 19 | 10 | 1.6409 | 1.0775 | 2.8889
9736 | 19 | 25 | 1.4641 | 0.6417 | 0.71592
9736 | 19 | 50 | 1.1464 | 0.55323 | 0.11044
9736 | 20 | 1 | 1.6729 | 1.0013 | 3.8046
9736 | 20 | 10 | 1.5522 | 0.66429 | 1.1193
9736 | 20 | 25 | 1.3354 | 0.56371 | 0.34711
9736 | 20 | 50 | 1.1783 | 0.50931 | 0.12938
9736 | 24 | 1 | 1.7429 | 0.79263 | 5.4955
9736 | 24 | 10 | 1.6935 | 1.0251 | 4.5444
9736 | 24 | 25 | 1.4032 | 0.89419 | 0.75625
9736 | 24 | 50 | 1.3085 | 0.53203 | 0.28716
9736 | 25 | 1 | 1.7868 | 0.45444 | 5.6541
9736 | 25 | 10 | 1.4768 | 0.92081 | 1.089
9736 | 25 | 25 | 1.3445 | 0.64251 | 0.41342
9736 | 25 | 50 | 1.283 | 0.49921 | 0.23667
9736 | 26 | 1 | 1.7378 | 0.97229 | 6.3938
9736 | 26 | 10 | 1.6574 | 1.0991 | 3.7518
9736 | 26 | 25 | 1.3741 | 0.7498 | 0.55458
9736 | 26 | 50 | 1.234 | 0.67062 | 0.24298
9736 | 28 | 1 | 1.753 | 0.31883 | 1.8906
9736 | 28 | 10 | 1.4591 | 1.789 | 1.9511
9736 | 28 | 25 | 1.3225 | 0.48558 | 0.28084
9736 | 28 | 38 | 1.2321 | 0.73165 | 0.26217
9736 | 29 | 1 | 1.7571 | 0.068665 | 0.42284
9736 | 29 | 10 | 1.5462 | 1.9102 | 3.4347
9736 | 29 | 25 | 1.2744 | 1.0015 | 0.45375
9736 | 29 | 50 | 1.173 | 0.52874 | 0.12938
9736 | 30 | 1 | 1.7241 | 0.57862 | 3.329
9736 | 30 | 10 | 1.6535 | 1.0489 | 3.4876
9736 | 30 | 20 | 1.664 | 0.80707 | 2.4805
9736 | 30 | 30 | 1.6095 | 0.8895 | 2.2546
9736 | 31 | 1 | 1.6748 | 1.1387 | 4.3859
9736 | 31 | 10 | 1.6961 | 0.82961 | 3.7518
9736 | 31 | 20 | 1.6719 | 0.80319 | 3.0296
9736 | 31 | 30 | 1.583 | 0.73971 | 1.452
9736 | 32 | 1 | 1.6881 | 0.93266 | 3.9631
9736 | 32 | 10 | 1.6818 | 0.79134 | 2.7225
9736 | 32 | 20 | 1.5274 | 0.84256 | 1.2604
9736 | 32 | 30 | 1.4764 | 0.86273 | 1.0184
9736 | 33 | 1 | 1.7184 | 0.716 | 3.9103
9736 | 33 | 10 | 1.6345 | 0.8839 | 2.2839
9736 | 33 | 20 | 1.5215 | 0.67236 | 0.97808
9736 | 33 | 30 | 1.4716 | 0.72479 | 0.83692
9736 | 43 | 1 | 1.7176 | 0.9168 | 4.9671
9736 | 43 | 10 | 1.72 | 0.85868 | 4.7557
9736 | 43 | 20 | 1.562 | 1.164 | 2.057
9736 | 44 | 1 | 1.7597 | 1.2312 | 10.357
9736 | 44 | 10 | 1.5936 | 1.2257 | 2.541
9736 | 44 | 20 | 1.4293 | 0.83611 | 0.79658
9736 | 44 | 30 | 1.3396 | 0.86636 | 0.5445
9736 | 45 | 1 | 1.7761 | 1.0119 | 10.6212
9736 | 45 | 10 | 1.6776 | 1.3845 | 5.4427
9736 | 45 | 20 | 1.474 | 0.63041 | 0.73608
9736 | 45 | 30 | 1.5167 | 0.65945 | 0.93775
9736 | 46 | 1 | 3.5616 | 1.0674 | 12.0479
9736 | 46 | 10 | 1.6897 | 0.98286 | 4.2273
9736 | 46 | 20 | 1.4762 | 0.68405 | 0.80667
9736 | 46 | 30 | 1.4198 | 0.60782 | 0.55458
9736 | 54 | 1 | 1.808 | 0.61296 | 11.7837
9736 | 54 | 10 | 1.6168 | 1.3184 | 3.4876
9736 | 54 | 20 | 1.5294 | 0.72116 | 1.089
9736 | 54 | 30 | 1.4619 | 0.99502 | 1.0991
9736 | 56 | 1 | 1.7191 | 0.13556 | 0.60587
9736 | 56 | 10 | 1.5371 | 0.9075 | 1.4218
9736 | 56 | 20 | 1.4667 | 1.4179 | 1.7262
9736 | 58 | 1 | 1.7365 | 0.10054 | 0.51593
9736 | 58 | 10 | 1.4974 | 1.0938 | 1.4218
9736 | 58 | 25 | 1.4513 | 1.587 | 1.7966
9736 | 60 | 1 | 1.6914 | 0.14465 | 0.53013
9736 | 60 | 10 | 1.5198 | 0.96437 | 1.3915
9736 | 60 | 25 | 1.2545 | 0.32565 | 0.13253
9736 | 60 | 50 | 1.2166 | 0.28173 | 0.091962
9736 | 63 | 1 | 1.8105 | 0.099825 | 1.1646
9736 | 63 | 10 | 1.5537 | 0.37374 | 0.63427
9736 | 63 | 25 | 1.4764 | 0.070411 | 0.087461
9736 | 63 | 50 | 1.2794 | 0.03842 | 0.01849

## 9736 chl raw data
CHLOROPHYLL CALCULATION PROGRAM
Cruise: 9736
Data entered by: E. Baird |  |  | Date: Sept.22/97
Analyst: L. White
Chla ug/l= Fs x ( Rb-Ra) x( mls extr.)/(mls filtered/1000)-(blank)
where Fs = Slope x (t/t-1) and Slope = chla conc./ Rb
and t = Rb/Ra of ( Chla standard )
CALIBRATION FACTORS:CURRENT:SIGMA CHL A Fl 010797.xls/no 2a.
|  |  | Sens. Set. | FsCode | Fs | tau
|  |  | 1x1 | 1 | 1.791 | 1.86
|  |  | 1x3.16 | 2 | 0.06341 | 1.85
|  |  | 1x10 | 3 | 0.01815 | 1.88
|  |  | 1x31.6 | 4 | 0.00568 | 1.88
|  |  | 100x1 | 5 | 0.00173 | 1.86
|  |  | 100x3.16 | 6 | 0.0005109 | 1.86
|  |  | 100x10 | 7 | 0.00016 | 1.83
|  |  | 100x31.6 | 8 | not available
[7 empty] | FORMULA |  | #VALUE! | #N/A | #VALUE!
CRUISE# | DATE | STATION | DEPTH | V filt | V ext | Rb | Ra | Fs | Rb/Ra | Phaeop A | Chl A
| d\m\y |  | m | mls | mls |  |  | Code |  | UG/L | UG/L
9736 |  | 3 | 1 | 180 | 10 | 1.49 | 0.88 | 3 | 1.6932 | 0.16577 | 0.61508
9736 |  | 3 | 10 | 100 | 10 | 2.67 | 1.57 | 3 | 1.7006 | 0.5111 | 1.9965
9736 |  | 3 | 25 | 100 | 10 | 2.14 | 1.32 | 4 | 1.6212 | 0.19403 | 0.46576
9736 |  | 3 | 50 | 120 | 10 | 3.27 | 2.38 | 5 | 1.3739 | 0.16677 | 0.12831
9736 |  | 4 | 1 | 180 | 10 | 4.01 | 2.41 | 4 | 1.6639 | 0.16434 | 0.50489
9736 |  | 4 | 10 | 120 | 10 | 4.84 | 2.85 | 3 | 1.6982 | 0.78348 | 3.0099
9736 |  | 4 | 25 | 120 | 10 | 4.18 | 3.01 | 5 | 1.3887 | 0.20451 | 0.16867
9736 |  | 4 | 50 | 180 | 10 | 2.93 | 2.2 | 5 | 1.3318 | 0.11168 | 0.070161
9736 |  | 5 | 1 | 180 | 10 | 2.16 | 1.36 | 3 | 1.5882 | 0.40011 | 0.80667
9736 |  | 5 | 10 | 120 | 10 | 4.2 | 2.33 | 2 | 1.8026 | 0.5839 | 9.8814
9736 |  | 5 | 25 | 120 | 10 | 4.28 | 3.14 | 5 | 1.3631 | 0.22496 | 0.16435
9736 |  | 5 | 50 | 180 | 10 | 2.33 | 1.96 | 5 | 1.1888 | 0.12644 | 0.035561
9736 |  | 9 | 1 | 120 | 10 | 1.77 | 1.07 | 3 | 1.6542 | 0.36542 | 1.0588
9736 |  | 9 | 10 | 120 | 10 | 2.56 | 1.44 | 2 | 1.7778 | 0.54955 | 5.9183
9736 |  | 9 | 25 | 180 | 10 | 2.22 | 1.85 | 5 | 1.2 | 0.11735 | 0.035561
9736 |  | 9 | 50 | 180 | 10 | 2.99 | 2.2 | 5 | 1.3591 | 0.10591 | 0.075928
9736 |  | 10 | 1 | 120 | 10 | 2 | 1.45 | 2 | 1.3793 | 3.6064 | 2.9063
9736 |  | 10 | 10 | 120 | 10 | 4.72 | 2.89 | 4 | 1.6332 | 0.33758 | 0.8662
9736 |  | 10 | 25 | 180 | 10 | 2.1 | 1.54 | 4 | 1.3636 | 0.25093 | 0.17671
9736 |  | 10 | 50 | 180 | 10 | 2.92 | 2.09 | 4 | 1.3971 | 0.31846 | 0.26191
9736 |  | 13 | 1 | 120 | 10 | 3.06 | 1.92 | 4 | 1.5938 | 0.26014 | 0.5396
9736 |  | 13 | 10 | 120 | 10 | 4.05 | 2.23 | 2 | 1.8161 | 0.39895 | 9.6172
9736 |  | 13 | 25 | 180 | 10 | 2.91 | 1.67 | 3 | 1.7425 | 0.23151 | 1.2503
9736 |  | 13 | 50 | 180 | 10 | 2.38 | 1.45 | 3 | 1.6414 | 0.34888 | 0.93775
9736 |  | 16 | 1 | 120 | 10 | 3.02 | 1.75 | 3 | 1.7257 | 0.40837 | 1.9209 | No volume filtered data. Data filled in from samples before and after.
9736 |  | 16 | 10 | 120 | 10 | 3.59 | 1.99 | 2 | 1.804 | 0.4835 | 8.4547 | No volume filtered data. Data filled in from samples before and after.
9736 |  | 16 | 25 | 180 | 10 | 3.06 | 1.69 | 2 | 1.8107 | 0.23426 | 4.8262 | No volume filtered data. Data filled in from samples before and after.
9736 |  | 16 | 50 | 180 | 10 | 1.88 | 1.06 | 2 | 1.7736 | 0.28535 | 2.8887 | No volume filtered data. Data filled in from samples before and after.
9736 |  | 18 | 1 | 120 | 10 | 3.46 | 1.96 | 3 | 1.7653 | 0.34001 | 2.2687 | No volume filtered data. Data filled in from samples before and after.
9736 |  | 18 | 10 | 120 | 10 | 2.91 | 1.74 | 2 | 1.6724 | 1.6328 | 6.1825 | No volume filtered data. Data filled in from samples before and after.
9736 |  | 18 | 25 | 180 | 10 | 1.77 | 1.08 | 3 | 1.6389 | 0.26257 | 0.69575 | No volume filtered data. Data filled in from samples before and after.
9736 |  | 18 | 50 | 180 | 10 | 4.31 | 3.31 | 5 | 1.3021 | 0.17748 | 0.096111 | No volume filtered data. Data filled in from samples before and after.
9736 |  | 19 | 1 | 120 | 10 | 5.04 | 3.08 | 3 | 1.6364 | 1.135 | 2.9645
9736 |  | 19 | 10 | 120 | 10 | 4.89 | 2.98 | 3 | 1.6409 | 1.0775 | 2.8889
9736 |  | 19 | 25 | 180 | 10 | 2.24 | 1.53 | 3 | 1.4641 | 0.6417 | 0.71592
9736 |  | 19 | 50 | 180 | 10 | 2.74 | 2.39 | 4 | 1.1464 | 0.55323 | 0.11044
9736 |  | 20 | 1 | 120 | 10 | 1.79 | 1.07 | 2 | 1.6729 | 1.0013 | 3.8046
9736 |  | 20 | 10 | 120 | 10 | 2.08 | 1.34 | 3 | 1.5522 | 0.66429 | 1.1193
9736 |  | 20 | 25 | 180 | 10 | 4.38 | 3.28 | 4 | 1.3354 | 0.56371 | 0.34711
9736 |  | 20 | 50 | 180 | 10 | 2.71 | 2.3 | 4 | 1.1783 | 0.50931 | 0.12938
9736 |  | 24 | 1 | 120 | 10 | 2.44 | 1.4 | 2 | 1.7429 | 0.79263 | 5.4955
9736 |  | 24 | 10 | 120 | 10 | 2.1 | 1.24 | 2 | 1.6935 | 1.0251 | 4.5444
9736 |  | 24 | 25 | 180 | 10 | 2.61 | 1.86 | 3 | 1.4032 | 0.89419 | 0.75625
9736 |  | 24 | 50 | 180 | 10 | 3.86 | 2.95 | 4 | 1.3085 | 0.53203 | 0.28716
9736 |  | 25 | 1 | 120 | 10 | 2.43 | 1.36 | 2 | 1.7868 | 0.45444 | 5.6541
9736 |  | 25 | 10 | 120 | 10 | 2.23 | 1.51 | 3 | 1.4768 | 0.92081 | 1.089
9736 |  | 25 | 25 | 180 | 10 | 1.6 | 1.19 | 3 | 1.3445 | 0.64251 | 0.41342
9736 |  | 25 | 50 | 180 | 10 | 3.4 | 2.65 | 4 | 1.283 | 0.49921 | 0.23667
9736 |  | 26 | 1 | 120 | 10 | 2.85 | 1.64 | 2 | 1.7378 | 0.97229 | 6.3938
9736 |  | 26 | 10 | 120 | 10 | 1.79 | 1.08 | 2 | 1.6574 | 1.0991 | 3.7518
9736 |  | 26 | 25 | 180 | 10 | 2.02 | 1.47 | 3 | 1.3741 | 0.7498 | 0.55458
9736 |  | 26 | 50 | 180 | 10 | 4.06 | 3.29 | 4 | 1.234 | 0.67062 | 0.24298
9736 |  | 28 | 1 | 120 | 10 | 2.91 | 1.66 | 3 | 1.753 | 0.31883 | 1.8906
9736 |  | 28 | 10 | 120 | 10 | 4.1 | 2.81 | 3 | 1.4591 | 1.789 | 1.9511
9736 |  | 28 | 25 | 180 | 10 | 3.65 | 2.76 | 4 | 1.3225 | 0.48558 | 0.28084
9736 |  | 28 | 38 | 180 | 10 | 1.38 | 1.12 | 3 | 1.2321 | 0.73165 | 0.26217
9736 |  | 29 | 1 | 180 | 10 | 3.11 | 1.77 | 4 | 1.7571 | 0.068665 | 0.42284
9736 |  | 29 | 10 | 120 | 10 | 1.84 | 1.19 | 2 | 1.5462 | 1.9102 | 3.4347
9736 |  | 29 | 25 | 180 | 10 | 2.09 | 1.64 | 3 | 1.2744 | 1.0015 | 0.45375
9736 |  | 29 | 50 | 180 | 10 | 2.78 | 2.37 | 4 | 1.173 | 0.52874 | 0.12938
9736 |  | 30 | 1 | 120 | 10 | 1.5 | 0.87 | 2 | 1.7241 | 0.57862 | 3.329
9736 |  | 30 | 10 | 120 | 10 | 1.67 | 1.01 | 2 | 1.6535 | 1.0489 | 3.4876
9736 |  | 30 | 20 | 120 | 10 | 4.11 | 2.47 | 3 | 1.664 | 0.80707 | 2.4805
9736 |  | 30 | 30 | 180 | 10 | 1.69 | 1.05 | 2 | 1.6095 | 0.8895 | 2.2546
9736 |  | 31 | 1 | 120 | 10 | 2.06 | 1.23 | 2 | 1.6748 | 1.1387 | 4.3859
9736 |  | 31 | 10 | 120 | 10 | 1.73 | 1.02 | 2 | 1.6961 | 0.82961 | 3.7518
9736 |  | 31 | 20 | 180 | 10 | 2.14 | 1.28 | 2 | 1.6719 | 0.80319 | 3.0296
9736 |  | 31 | 30 | 180 | 10 | 3.91 | 2.47 | 3 | 1.583 | 0.73971 | 1.452
9736 |  | 32 | 1 | 120 | 10 | 1.84 | 1.09 | 2 | 1.6881 | 0.93266 | 3.9631
9736 |  | 32 | 10 | 120 | 10 | 4.44 | 2.64 | 3 | 1.6818 | 0.79134 | 2.7225
9736 |  | 32 | 20 | 180 | 10 | 3.62 | 2.37 | 3 | 1.5274 | 0.84256 | 1.2604
9736 |  | 32 | 30 | 180 | 10 | 3.13 | 2.12 | 3 | 1.4764 | 0.86273 | 1.0184
9736 |  | 33 | 1 | 120 | 10 | 1.77 | 1.03 | 2 | 1.7184 | 0.716 | 3.9103
9736 |  | 33 | 10 | 120 | 10 | 3.89 | 2.38 | 3 | 1.6345 | 0.8839 | 2.2839
9736 |  | 33 | 20 | 180 | 10 | 2.83 | 1.86 | 3 | 1.5215 | 0.67236 | 0.97808
9736 |  | 33 | 30 | 180 | 10 | 2.59 | 1.76 | 3 | 1.4716 | 0.72479 | 0.83692
9736 |  | 43 | 1 | 120 | 10 | 2.25 | 1.31 | 2 | 1.7176 | 0.9168 | 4.9671
9736 |  | 43 | 10 | 120 | 10 | 2.15 | 1.25 | 2 | 1.72 | 0.85868 | 4.7557
9736 |  | 43 | 20 | 120 | 10 | 3.78 | 2.42 | 3 | 1.562 | 1.164 | 2.057
9736 |  | 44 | 1 | 120 | 10 | 4.54 | 2.58 | 2 | 1.7597 | 1.2312 | 10.357
9736 |  | 44 | 10 | 120 | 10 | 4.51 | 2.83 | 3 | 1.5936 | 1.2257 | 2.541
9736 |  | 44 | 20 | 180 | 10 | 2.63 | 1.84 | 3 | 1.4293 | 0.83611 | 0.79658
9736 |  | 44 | 30 | 180 | 10 | 2.13 | 1.59 | 3 | 1.3396 | 0.86636 | 0.5445
9736 |  | 45 | 1 | 120 | 10 | 4.6 | 2.59 | 2 | 1.7761 | 1.0119 | 10.6212
9736 |  | 45 | 10 | 120 | 10 | 2.55 | 1.52 | 2 | 1.6776 | 1.3845 | 5.4427
9736 |  | 45 | 20 | 180 | 10 | 2.27 | 1.54 | 3 | 1.474 | 0.63041 | 0.73608
9736 |  | 45 | 30 | 180 | 10 | 2.73 | 1.8 | 3 | 1.5167 | 0.65945 | 0.93775
9736 |  | 46 | 1 | 120 | 10 | 2.6 | 1.46 | 2 | 1.7808 | 0.5337 | 6.024 | *Note: 1:1 dilution.
9736 |  | 46 | 1 |  | Two times values above = |  |  |  | 3.5616 | 1.0674 | 12.0479
9736 |  | 46 | 10 | 120 | 10 | 1.96 | 1.16 | 2 | 1.6897 | 0.98286 | 4.2273
9736 |  | 46 | 20 | 180 | 10 | 2.48 | 1.68 | 3 | 1.4762 | 0.68405 | 0.80667
9736 |  | 46 | 30 | 180 | 10 | 1.86 | 1.31 | 3 | 1.4198 | 0.60782 | 0.55458
9736 |  | 54 | 1 | 120 | 10 | 4.99 | 2.76 | 2 | 1.808 | 0.61296 | 11.7837
9736 |  | 54 | 10 | 120 | 10 | 1.73 | 1.07 | 2 | 1.6168 | 1.3184 | 3.4876
9736 |  | 54 | 20 | 180 | 10 | 3.12 | 2.04 | 3 | 1.5294 | 0.72116 | 1.089
9736 |  | 54 | 30 | 180 | 10 | 3.45 | 2.36 | 3 | 1.4619 | 0.99502 | 1.0991
9736 |  | 56 | 1 | 120 | 10 | 3.06 | 1.78 | 4 | 1.7191 | 0.13556 | 0.60587
9736 |  | 56 | 10 | 120 | 10 | 2.69 | 1.75 | 3 | 1.5371 | 0.9075 | 1.4218
9736 |  | 56 | 20 | 180 | 10 | 1.54 | 1.05 | 2 | 1.4667 | 1.4179 | 1.7262
9736 |  | 58 | 1 | 120 | 10 | 2.57 | 1.48 | 4 | 1.7365 | 0.10054 | 0.51593
9736 |  | 58 | 10 | 120 | 10 | 2.83 | 1.89 | 3 | 1.4974 | 1.0938 | 1.4218
9736 |  | 58 | 25 | 180 | 10 | 1.64 | 1.13 | 2 | 1.4513 | 1.587 | 1.7966
9736 |  | 60 | 1 | 120 | 10 | 2.74 | 1.62 | 4 | 1.6914 | 0.14465 | 0.53013
9736 |  | 60 | 10 | 120 | 10 | 2.69 | 1.77 | 3 | 1.5198 | 0.96437 | 1.3915
9736 |  | 60 | 25 | 180 | 10 | 2.07 | 1.65 | 4 | 1.2545 | 0.32565 | 0.13253
9736 |  | 60 | 50 | 210 | 10 | 1.91 | 1.57 | 4 | 1.2166 | 0.28173 | 0.091962
9736 |  | 63 | 1 | 120 | 10 | 1.72 | 0.95 | 3 | 1.8105 | 0.099825 | 1.1646
9736 |  | 63 | 10 | 120 | 10 | 3.76 | 2.42 | 4 | 1.5537 | 0.37374 | 0.63427
9736 |  | 63 | 25 | 180 | 10 | 2.82 | 1.91 | 5 | 1.4764 | 0.070411 | 0.087461
9736 |  | 63 | 50 | 210 | 10 | 3.48 | 2.72 | 6 | 1.2794 | 0.03842 | 0.01849

## 9736 salt raw data
Salinity 9736
Analyst: E. Baird
Date: Sept.22/97
Salinometer: #58879
Comments:
The pooled deviation was calculated by the formula:
Sp=SQRT(0.5*(SUM(x2-x1)^2)/n)
|  |  | where: | n= number of samples (pairs of readings)
x=reading
The pooled deviation was calculated on those samples for which there were two measurements only;
therefore this statistic has been biased by not including all of the samples.
Cruise | Sample | Depth | Salinity1 | Salinity2 | Salinity3 | (n2-n1) | (n2-n1)^2 | mean | std dev | Notes
9736 | 1 | 175 | 27.7085 | 27.7084 |  | 0.0001 | 1e-08 | 27.7084
9736 | 2 | 165 | 27.6752 | 27.675 |  | 0.0002 | 4e-08 | 27.6751
9736 | 3 | 198 | 30.813 | 30.8169 | 30.8164 |  |  | 30.8149 | 0.0021221
9736 | 4 | 198 | 30.6056 | 30.6057 |  | -0.0001 | 1e-08 | 30.6057
9736 | 5 | 198 | 30.5592 | 30.5593 |  | -0.0001 | 1e-08 | 30.5592
9736 | 9 | 198 | 30.7752 | 30.7747 |  | 0.0005 | 2.5e-07 | 30.775
9736 | 10 | 198 | 28.353 | 28.3536 |  | -0.0006 | 3.6e-07 | 28.3533
9736 | 13 | 198 | 28.3429 | 28.3432 |  | -0.0003 | 9e-08 | 28.3431
9736 | 16 | 198 | 28.1623 | 28.162 |  | 0.0003 | 9e-08 | 28.1622
9736 | 18 | 198 | 30.7597 | 30.7598 |  | -0.0001 | 1e-08 | 30.7598
9736 | 19 | 128 | 31.487 | 31.4873 |  | -0.0003 | 9e-08 | 31.4871
9736 | 20 | 200 | 32.4 | 32.3999 |  | 0.0001 | 1e-08 | 32.3999
9736 | 24 | 280 | 32.5712 | 32.5715 |  | -0.0003 | 9e-08 | 32.5714
9736 | 25 | 274 | 32.645 | 32.6454 |  | -0.0004 | 1.6e-07 | 32.6452
9736 | 26 | 148 | 32.5905 | 32.5908 |  | -0.0003 | 9e-08 | 32.5906
9736 | 29 | 198 | 31.9664 | 31.9669 |  | -0.0005 | 2.5e-07 | 31.9667
9736 | 63 | 198 | 31.971 | 31.9713 |  | -0.0003 | 9e-08 | 31.9712
9736 | 64 | 1 | 2.5245 | 2.5246 |  | -0.0001 | 1e-08 | 2.5246
[5 empty] | sum of squared differences |  | 1.66e-06
[5 empty] | no. of samples |  | 17
[5 empty] | pooled deviation |  | 0.00022096