## Sheet1
Salinity 9736
Analyst: E. Baird
Date: Sept.22/97
Salinometer: #58879
Comments:
The pooled deviation was calculated by the formula:
Sp=SQRT(0.5*(SUM(x2-x1)^2)/n)
|  |  | where: | n= number of samples (pairs of readings)
x=reading
The pooled deviation was calculated on those samples for which there were two measurements only;
therefore this statistic has been biased by not including all of the samples.
Cruise | Sample | Depth | Salinity1 | Salinity2 | Salinity3 | (n2-n1) | (n2-n1)^2 | mean | std dev | Notes
9736 | 1 | 175 | 27.7085 | 27.7084 |  | 0.0001 | 1e-08 | 27.7084
9736 | 2 | 165 | 27.6752 | 27.675 |  | 0.0002 | 4e-08 | 27.6751
9736 | 3 | 198 | 30.813 | 30.8169 | 30.8164 |  |  | 30.8149 | 0.0021221
9736 | 4 | 198 | 30.6056 | 30.6057 |  | -0.0001 | 1e-08 | 30.6057
9736 | 5 | 198 | 30.5592 | 30.5593 |  | -0.0001 | 1e-08 | 30.5592
9736 | 9 | 198 | 30.7752 | 30.7747 |  | 0.0005 | 2.5e-07 | 30.775
9736 | 10 | 198 | 28.353 | 28.3536 |  | -0.0006 | 3.6e-07 | 28.3533
9736 | 13 | 198 | 28.3429 | 28.3432 |  | -0.0003 | 9e-08 | 28.3431
9736 | 16 | 198 | 28.1623 | 28.162 |  | 0.0003 | 9e-08 | 28.1622
9736 | 18 | 198 | 30.7597 | 30.7598 |  | -0.0001 | 1e-08 | 30.7598
9736 | 19 | 128 | 31.487 | 31.4873 |  | -0.0003 | 9e-08 | 31.4871
9736 | 20 | 200 | 32.4 | 32.3999 |  | 0.0001 | 1e-08 | 32.3999
9736 | 24 | 280 | 32.5712 | 32.5715 |  | -0.0003 | 9e-08 | 32.5714
9736 | 25 | 274 | 32.645 | 32.6454 |  | -0.0004 | 1.6e-07 | 32.6452
9736 | 26 | 148 | 32.5905 | 32.5908 |  | -0.0003 | 9e-08 | 32.5906
9736 | 29 | 198 | 31.9664 | 31.9669 |  | -0.0005 | 2.5e-07 | 31.9667
9736 | 63 | 198 | 31.971 | 31.9713 |  | -0.0003 | 9e-08 | 31.9712
9736 | 64 | 1 | 2.5245 | 2.5246 |  | -0.0001 | 1e-08 | 2.5246
[5 empty] | sum of squared differences |  | 1.66e-06
[5 empty] | no. of samples |  | 17
[5 empty] | pooled deviation |  | 0.00022096