## Comments
Cruise 9736: Nutrient and DON data
The samples were analyzed following the methods outlined in Barwell-Clarke and Whitney, 1997.
Samples shallower than 25 m were centrifuged for 20 min at setting #6 on an IEC Clinical Centrifuge.
This was done in an effort to eliminate biological/geological particulate samples,
which could have been a problem in these near-coastal samples. There were usually no pellets visible.
The samples should also be compensated for turbidity due to low salinity. A formula may be applied to estimate the
salt effect for silicate and phosphate:
Silicate: for salinities less than 25:
correction= 1.25-((.0486*sal)+.0744)
Phosphate: for salinities less than 20:
correction= .040-((.0019*sal)+.0012)
the correction factors should be added to the measured nutrient value.
Nitrate/silicate samples were defrosted for about 20 h at room temperature. Phosphate samples were defrosted for about
1 h in moving air.
Samples from stations 43-63 were stored in longer test tubes; combined with a low sample volume made analysis transferred
impossible before transferring into more appropriate test tubes. This transfer is susceptible to contamination and error.
Silicate at stations 29, 30, 43, 56, 58, and 60 was higher at the surface than at 10 m. This may indicate the presence of
silt or other terrestrial input in the water.
Phosphate and silicate levels at stations 13 and 16, 198m were higher than the expected levels (phosphate around 4, silicate above 100uM)
The method described by Parsons, Maita, and Lalli for Total Dissolved Organic Nitrogen was followed, except that the samples
were processed in a pressure cooker after addition of the persulfate reagent, and the sample was not buffered after
addition of the acid. The samples sat for 3 days after pressure cooking before the acid was added to dissolve the precipitate.
They were in their original Teflon vessels.
I would recommend that a larger volume of water be sampled if these samples were collected again. A 40 ml sample
is required for the digestion, and about 20 ml extra is used for rinsing the pipettor.
The DON data are of very poor quality, due to either sampling/storage problems or analytical error.
The methodology for this technique is well established, except that the samples are usually acidified and
analyzed soon after autoclaving. The samples were stored frozen in PVC containers. There was a moderate
quantity of seawater in the bags after the samples had been removed; it is likely the containers were
overfilled and some sample extruded from the containers. This could account for some of the variability, particularly
of the replicates.
Of the DON data which appear in the normal range (4-6 for offshore, W. Richardson, p. comm), there do not appear
to be values in great excess of oceanic levels.

## 9736 nutrient data
Cruise 9736, nutrient data
Order | Station | Depth (m) | Nitrate | Silicate | Phosphate | 10*phos | Notes
1 | 3 | 1 | 0.13244 | 22.5368 | 0.087768 | 0.87768
2 |  | 10 | 16.1012 | 40.111 | 1.5012 | 15.0116
3 |  | 25 | 27.3959 | 49.9671 | 2.4118 | 24.1182
4 |  | 50 | 28.6907 | 56.3006 | 2.5307 | 25.3068
5 |  | 198 | 31.7056 | 70.7383 | 2.9387 | 29.3868
6 | 4 | 1 | -0.041919 | 23.4017 | 0.092865 | 0.92865
7 |  | 10 | 15.033 | 37.4073 | 1.4382 | 14.3818
9 |  | 25 | 26.2271 | 48.497 | 2.2516 | 22.5157
10 |  | 50 | 28.4017 | 51.635 | 2.4386 | 24.3859
11 |  | 198 | 31.8195 | 65.0469 | 3.0106 | 30.1061
12 | 5 | 1 | 0.017441 | 24.8011 | 0.13386 | 1.3386
13 |  | 10 | 14.4081 | 30.2945 | 1.4251 | 14.2514
14 |  | 25 | 25.9886 | 48.5425 | 2.2695 | 22.6952
15 |  | 50 | 26.8137 | 49.4453 | 2.3241 | 23.2413
16 |  | 198 | 31.8509 | 64.2892 | 2.9818 | 29.8178
17 | 9 | 1 | 0.074181 | 28.4524 | 0.14133 | 1.4133
18 |  | 10 | 15.9787 | 36.5927 | 1.5102 | 15.1017
19 |  | 25 | 26.3815 | 49.6106 | 2.3479 | 23.4787
21 |  | 50 | 27.9708 | 50.6848 | 2.2564 | 22.5641
22 |  | 198 | 28.3813 | 63.3929 | 2.8928 | 28.928
23 | 10 | 1 | 0.015666 | 14.7774 | 0.24177 | 2.4177
24 |  | 10 | 17.3139 | 37.9515 | 1.5695 | 15.6954
25 |  | 25 | 16.0846 | 36.2708 | 1.8056 | 18.0555
26 |  | 50 | 21.1196 | 44.5846 | 2.5575 | 25.5754
27 |  | 198 | 16.7248 | 118.1858 | 4.6986 | 46.9865
28 | 13 | 1 | 0.014935 | 14.9307 | 0.25003 | 2.5003
29 |  | 10 | 14.3857 | 27.9145 | 1.3933 | 13.9332
30 |  | 25 | 16.953 | 38.2032 | 1.6152 | 16.1523
32 |  | 50 | 23.57 | 53.8885 | 2.2285 | 22.2854
33 |  | 198 | 18.176 | 115.0569 | 4.3733 | 43.7334
1 | 16 | 1 | 0.011423 | 14.2253 | 0.36115 | 3.6115 | stn 16 samples stored overnight in refrigerator.
2 |  | 10 | 14.3743 | 29.3767 | 1.4249 | 14.2495
3 |  | 25 | 15.3977 | 33.8411 | 1.5124 | 15.1243
4 |  | 50 | 20.2334 | 45.2073 | 1.8852 | 18.8517
5 |  | 198 | 23.3827 | 94.8331 | 3.8843 | 38.8429
6 | 18 | 1 | 0.011584 | 22.6247 | 0.21875 | 2.1875
7 |  | 10 | 15.5862 | 37.3558 | 1.5862 | 15.8618
8 |  | 25 | 26.1675 | 49.3291 | 3.1485 | 31.485
9 |  | 25 | 26.2676 | 49.3119 | 2.1241 | 21.2413
10 |  | 50 | 27.0953 | 48.2433 | 2.2711 | 22.7112
11 |  | 198 | 30.0078 | 69.5097 | 2.744 | 27.44
12 | 19 | 1 | 3.949 | 25.2194 | 0.40354 | 4.0354
13 |  | 10 | 9.3274 | 27.7297 | 0.84571 | 8.4571
15 |  | 25 | 21.7852 | 41.852 | 1.8023 | 18.0235
16 |  | 50 | 25.9777 | 47.3746 | 2.2523 | 22.5231
17 |  | 198 | 26.0259 | 47.2078 | 2.1559 | 21.5588
18 | 20 | 1 | 6.367 | 26.6092 | 0.63292 | 6.3292
19 |  | 10 | 19.8015 | 39.3703 | 1.7057 | 17.0572
20 |  | 25 | 24.0353 | 44.4305 | 1.9864 | 19.8638
21 |  | 50 | 26.1591 | 47.556 | 2.1427 | 21.4271
22 |  | 200 | 28.2367 | 50.9864 | 2.2898 | 22.8976
23 | 24 | 1 | 0.26281 | 22.5556 | 0.20052 | 2.0052
24 |  | 10 | 11.5821 | 31.26 | 1.0986 | 10.9862
25 |  | 25 | 21.8909 | 39.7103 | 1.9448 | 19.4482
26 |  | 50 | 24.4752 | 42.9731 | 2.0321 | 20.3208
27 |  | 200 | 29.1535 | 52.9814 | 2.4544 | 24.5442
28 |  | 280 | 29.5154 | 52.3634 | 2.5139 | 25.1392
29 | 25 | 1 | 6.0906 | 25.578 | 0.74938 | 7.4938
30 |  | 10 | 20.887 | 38.6014 | 1.8482 | 18.4818
31 |  | 25 | 22.7967 | 39.9422 | 1.9124 | 19.1243
32 |  | 50 | 24.0375 | 42.3261 | 1.9216 | 19.2157
33 |  | 200 | 29.6512 | 53.6869 | 2.4448 | 24.448
34 |  | 274 | 29.6488 | 53.0883 | 2.4815 | 24.8151
35 | 26 | 1 | 0.061364 | 11.9522 | 0.23347 | 2.3347
36 |  | 10 | 14.3139 | 26.6339 | 1.3791 | 13.7914
38 |  | 25 | 21.5994 | 37.8851 | 1.9534 | 19.5345
39 |  | 50 | 23.1469 | 41.0082 | 2.0039 | 20.0394
40 |  | 148 | 29.5277 | 51.8991 | 2.4402 | 24.4022
41 | 28 | 1 | 0.060498 | 3.6446 | 0.076921 | 0.76921
42 |  | 10 | 4.0243 | 32.2689 | 0.9925 | 9.925
43 |  | 25 | 22.624 | 53.9988 | 2.1094 | 21.0945
44 |  | 38 | 23.6037 | 58.4944 | 2.2519 | 22.5186
45 | 29 | 1 | 0.0098332 | 18.7172 | -0.0058512 | -0.058512
46 |  | 10 | 7.5042 | 17.5445 | 1.0014 | 10.0143
47 |  | 25 | 24.528 | 40.5896 | 1.7508 | 17.5078
48 |  | 50 | 23.9582 | 41.1867 | 2.0863 | 20.863
49 |  | 198 | 27.2685 | 48.7804 | 2.0035 | 20.0352
50 | 30 | 1 | 18.8587 | 36.6693 | 1.8023 | 18.0229 | is it possible that the samples were incorrectly labelled for this station?
51 |  | 10 | 16.6558 | 33.8554 | 1.6874 | 16.8741
52 |  | 20 | 18.0883 | 36.3789 | 1.7379 | 17.3789
53 |  | 40 | 8.8191 | 25.1466 | 0.98851 | 9.8851 | note: DON samples labelled 30 m, nutrient samples labelled 40 m.
54 | 31 | 1 | 12.0148 | 28.6922 | 1.2597 | 12.5974
55 |  | 10 | 17.676 | 34.612 | 1.6734 | 16.7336
56 |  | 20 | 19.1094 | 36.5427 | 1.7974 | 17.9735
57 |  | 30 | 21.6754 | 39.3667 | 1.9673 | 19.6728
58 |  | 40 | 22.3943 | 40.4101 | 2.0086 | 20.0858
59 | 32 | 1 | 12.776 | 28.8594 | 1.3237 | 13.2374
60 |  | 10 | 17.0073 | 33.7427 | 1.742 | 17.4196
61 |  | 20 | 21.8239 | 40.2732 | 1.9855 | 19.8545
62 |  | 30 | 21.9256 | 40.5733 | 2.0589 | 20.5893
63 |  | 45 | 22.6441 | 41.3194 | 1.8797 | 18.7968
64 | 33 | 1 | 13.1304 | 30.5043 | 1.2406 | 12.4061
65 |  | 10 | 20.125 | 37.319 | 1.6681 | 16.681
66 |  | 20 | 21.663 | 39.9937 | 1.8427 | 18.4273
67 |  | 30 | 22.535 | 41.185 | 1.8749 | 18.7486
68 |  | 40 | 22.9962 | 42.0796 | 2.0357 | 20.3571
1 | 43 | 1 | 10.0796 | 38.0202 | 1.0765 | 10.7648
2 |  | 10 | 13.0007 | 30.2383 | 1.269 | 12.6901
3 |  | 20 | 19.5816 | 35.5985 | 1.7596 | 17.5961
4 | 44 | 1 | 1.6431 | 19.0861 | 0.31015 | 3.1015
5 |  | 10 | 19.8469 | 34.9616 | 1.5574 | 15.5737
6 |  | 20 | 17.3662 | 39.4351 | 1.9013 | 19.0132
7 |  | 30 | 20.9718 | 53.1193 | 1.9287 | 19.2874
8 |  | 50 | 23.3658 | 42.5551 | 2.0893 | 20.8931
9 | 45 | 1 | 2.1455 | 13.5971 | 0.40185 | 4.0185
10 |  | 10 | 14.8075 | 28.9331 | 1.4051 | 14.0509
12 |  | 20 | 19.7755 | 37.9914 | 1.8178 | 18.1785
13 |  | 30 | 19.9314 | 44.2666 | 1.8453 | 18.4528
14 |  | 50 | 22.3705 | 39.3086 | 2.006 | 20.06
15 | 46 | 1 | 1.8889 | 24.4577 | 0.33757 | 3.3757
16 |  | 10 | 16.0248 | 39.5231 | 1.4572 | 14.5722
17 |  | 20 | 19.6765 | 43.874 | 1.7965 | 17.9651
19 |  | 30 | 21.4089 | 57.1629 | 1.9431 | 19.4314
20 |  | 50 | 22.2252 | 40.8501 | 2.0119 | 20.1188
21 | 54 | 1 | 3.2351 | 18.0675 | 0.50277 | 5.0277
22 |  | 10 | 16.7966 | 36.1882 | 1.5394 | 15.3936
23 |  | 20 | 18.2676 | 35.2858 | 1.8237 | 18.2367
24 |  | 30 | 20.9095 | 47.4378 | 1.9475 | 19.4747
25 |  | 50 | 21.4196 | 43.0666 | 1.9428 | 19.4284
26 | 56 | 1 | 0.10121 | 18.7851 | 0.007654 | 0.07654
27 |  | 10 | 1.6937 | 6.3024 | 0.45686 | 4.5686
28 |  | 20 | 20.1046 | 60.4269 | 2.0023 | 20.0232
29 |  | 30 | 22.7501 | 35.3973 | 1.9105 | 19.1051
30 |  | 40 | 25.9124 | 45.4348 | 2.0849 | 20.8486
31 |  | 70 | 26.9349 | 52.2155 | 2.2088 | 22.0877
32 | 58 | 1 | 0.24956 | 17.73 | -0.001104 | -0.01104
33 |  | 10 | 0.099983 | 8.4829 | 0.31942 | 3.1942
34 |  | 25 | 23.8273 | 37.7553 | 2.048 | 20.4797
35 |  | 50 | 27.7047 | 52.7863 | 2.0847 | 20.8467
36 |  | 198 | 25.9189 | 49.457 | 2.3235 | 23.2349
37 | 60 | 1 | 0.14896 | 17.5599 | 0.045029 | 0.45029
38 |  | 10 | 10.4742 | 15.7927 | 1.1071 | 11.0712
39 |  | 25 | 25.6179 | 46.4116 | 2.1396 | 21.3961
41 |  | 50 | 29.1385 | 53.6382 | 2.4982 | 24.9819
42 |  | 115 | 27.6591 | 73.4385 | 3.355 | 33.5496
43 | 63 | 1 | 0.19797 | 19.7437 | 0.045383 | 0.45383
44 |  | 10 | 16.3905 | 20.3294 | 1.68 | 16.8005
45 |  | 25 | 24.3532 | 38.2738 | 1.928 | 19.28
46 |  | 50 | 28.4265 | 47.5637 | 2.1716 | 21.7158
47 |  | 198 | nd | -0.40931 | 2.4661 | 24.6607

## 9736 DON data
DON Oxidation | [6 empty] | Cruise 9736 | [7 empty] | Date: September29, 1997
[14 empty] | file: | 9736nuts
Reagents |  | K2S2O8, Aug 27 | 1997-09-25 |  |  |  | Blank used 2.0
DON Method
Tef # | Station | Depth | Sample | Oxid | X | T Vol | Dil | Nitrate of nutrient |  |  | DON analyzed value |  |  | DON | DON | DON-
| Number | (m) | Vol | Vol | Vol |  | F | samples |  |  | NO3 a | NO3 b | Avg | BLK | Vol | NO3
|  |  | (mL) | (mL) | (mL) |  |  | a | b | Avg |  |  |  | Corr | Corr
blank=2.0
1 | Blank |  | 40 | 6 | 4.4 | 50.4 | 1.26 | [5 empty] | 2.194
2 | blank |  | 40 | 6 | 4.5 | 50.5 | 1.2625 | [5 empty] | 1.7554
3 | blank |  | 40 | 6 | 4.5 | 50.5 | 1.2625 | [5 empty] | 2.2423
4 | 33 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 13.1304 |  | 13.1304 |  |  | 15.7737 | 13.7737 | 17.3892 | 4.2589
5 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 20.125 |  | 20.125 |  |  | 20.7628 | 18.7628 | 23.688 | 3.563
6 |  | 20 | 39 | 6 | 4.5 | 49.5 | 1.2692 | 21.663 |  | 21.663 |  |  | 14.2325 | 12.2325 | 15.5259 | -6.1371
8 |  | 30 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 22.535 |  | 22.535 | 22.2183 | 23.8772 | 23.0478 | 21.0478 | 26.5728 | 4.0378
10 |  | 40 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 22.9962 |  | 22.9962 |  |  | 12.7924 | 10.7924 | 13.6254 | -9.3708
11 | 32 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 12.776 |  | 12.776 | 14.9716 | 16.1163 | 15.5439 | 13.5439 | 17.0992 | 4.3232
13 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 17.0073 |  | 17.0073 |  |  | 20.563 | 18.563 | 23.4358 | 6.4285
14 |  | 20 | 38.5 | 6 | 4.5 | 49 | 1.2727 | 21.8239 |  | 21.8239 |  |  | 11.1554 | 9.1554 | 11.6524 | -10.1716
15 |  | 30 | 38 | 6 | 4.5 | 48.5 | 1.2763 | 21.9256 |  | 21.9256 |  |  | 18.059 | 16.059 | 20.4963 | -1.4293
16 |  | 45 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 22.6441 |  | 22.6441 |  |  | 24.2397 | 22.2397 | 28.0776 | 5.4335
17 | blank |  | 40 | 6 | 4.5 | 50.5 | 1.2625 | [5 empty] | 1.8512
blank=1.87
18 | blank | [9 empty] | 1.9576 |  | 1.9576
19 | blank | [9 empty] | 1.908 |  | 1.908 | 1.8722
20 | 31 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 12.0148 |  | 12.0148 | 13.4536 | 15.5239 | 14.4888 | 12.6188 | 15.9312 | 3.9164
22 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 17.676 |  | 17.676 | 21.2739 | 20.0705 | 20.6722 | 18.8022 | 23.7378 | 6.0619
24 |  | 20 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 19.1094 |  | 19.1094 | 22.4894 | 17.91 | 20.1997 | 18.3297 | 23.1413 | 4.0318
26 |  | 30 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 21.6754 |  | 21.6754 | 21.3252 | 21.7131 | 21.5192 | 19.6492 | 24.8071 | 3.1316
28 |  | 40 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 22.3943 |  | 22.3943 | 19.172 | 20.7997 | 19.9859 | 18.1159 | 22.8713 | 0.47694
30 | 30 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 18.8587 |  | 18.8587 | 15.1518 | 14.9837 | 15.0677 | 13.1977 | 16.6622 | 7.8431 | is it possible that the nutrient samples were labelled with the wrong depths?
32 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 16.6558 |  | 16.6558 | 19.8699 | 20.4622 | 20.1661 | 18.2961 | 23.0988 | 5.0105
34 |  | 20 | 36 | 6 | 4.5 | 46.5 | 1.2917 | 18.0883 |  | 18.0883 | 21.0547 | 21.3994 | 21.2271 | 19.3571 | 25.0029 | 8.3471
36 |  | 30 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 8.8191 |  | 8.8191 | 21.5955 | 5.9747 | 13.7851 | 11.9151 | 15.0428 | -3.8159
38 | 45 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 2.1455 |  | 2.1455 | 6.3151 | 9.6802 | 7.9977 | 6.1277 | 7.7362 | 5.5907
40 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 14.8075 |  | 14.8075 | 20.4971 | 14.6761 | 17.5866 | 15.7166 | 19.8422 | 5.0347
42 |  | 20 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 19.7755 |  | 19.7755 | 11.1931 | 10.019 | 10.6061 | 8.7361 | 11.0293 | -8.7462
44 |  | 30 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 19.9314 |  | 19.9314 | 22.2652 | 14.4731 | 18.3691 | 16.4991 | 20.8302 | 0.89875
45 | blank | [9 empty] | 1.751 |  | 1.751
47 |  | 50 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 22.3705 |  | 22.3705 | 11.6299 | 10.6513 | 11.1406 | 9.2706 | 11.7042 | -10.6664
49 | 44 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 1.6431 |  | 1.6431 | 7.8208 | 5.3878 | 6.6043 | 4.7343 | 5.977 | 4.334
51 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 19.8469 |  | 19.8469 | 18.731 | 19.5186 | 19.1248 | 17.2548 | 21.7842 | 1.9373
53 |  | 20 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 17.3662 |  | 17.3662 | 15.167 | 15.7597 | 16.0976 | 14.2276 | 17.9624 | 0.59619
55 |  | 30 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 20.9718 |  | 20.9718 | 22.1893 | 22.8139 | 22.5016 | 20.6316 | 26.0474 | 5.0757
57 |  | 50 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 23.3658 |  | 23.3658 | 15.4079 | 18.8014 | 17.1046 | 15.2347 | 19.2337 | -4.1321
[14 empty] | blank= | 2.0634
59 | 54 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 3.2351 |  | 3.2351 | 7.1803 | 8.7464 | 7.9633 | 5.8633 | 7.4025 | 4.1674
61 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 16.7966 |  | 16.7966 | 15.8339 |  | 15.8339 | 13.7339 | 17.339 | 0.54238
62 |  | 20 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 18.2676 |  | 18.2676 | 15.137 | 15.0826 | 15.1098 | 13.0098 | 16.4249 | -1.8427
63 |  | 30 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 20.9095 |  | 20.9095 | 21.5667 | 23.2518 | 22.4093 | 20.3093 | 25.6404 | 4.731
65 |  | 50 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 21.4196 |  | 21.4196 | 20.9078 |  | 20.9078 | 18.8078 | 23.7448 | 2.3252
66 | blank |  | 40 | 6 | 4.5 | 50.5 | 1.2625 |  |  |  | 2.046 | 2.2396 | 2.1428 | 0.042771
68 | 43 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 10.0796 |  | 10.0796 | 14.1658 | 14.2104 | 14.1881 | 12.0881 | 15.2612 | 5.1816
70 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 13.0007 |  | 13.0007 | 9.2504 | 11.0975 | 10.174 | 8.074 | 10.1934 | -2.8073
72 |  | 20 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 19.5816 |  | 19.5816 | 13.1682 |  | 13.1682 | 11.0682 | 13.9736 | -5.608
73 | 46 | 1 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 1.8889 |  | 1.8889 | 8.2821 | 8.0333 | 8.1577 | 6.0577 | 7.6479 | 5.7589
75 |  | 10 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 16.0248 |  | 16.0248 | 13.303 |  | 13.303 | 11.203 | 14.1438 | -1.881
76 |  | 20 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 19.6765 |  | 19.6765 | 15.0783 |  | 15.0783 | 12.9783 | 16.3851 | -3.2915
77 |  | 30 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 21.4089 |  | 21.4089 | 18.3935 |  | 18.3935 | 16.2935 | 20.5705 | -0.83835
78 |  | 50 | 40 | 6 | 4.5 | 50.5 | 1.2625 | 22.2252 |  | 22.2252 | 24.5613 |  | 24.5613 | 22.4613 | 28.3573 | 6.1322
79 | blank |  | 40 | 6 | 4.5 | 50.5 | 1.2625 |  |  |  | 1.9046 |  | 1.9046
DON Summary Table
| 30 | 31 | 32 | 44 | 45 | 46 | 54 | Depth
| -2.1965 | 3.9164 | 4.3232 | 4.334 | 5.5907 | 5.7589 | 4.1674 | 1
| 6.443 | 6.0619 | 6.4285 | 1.9373 | 5.0347 | -1.881 | 0.54238 | 10
| 6.35 | 4.0318 | -10.6086 | 0.59619 | -8.7462 | -3.2915 | -1.8427 | 20
| 6.2237 | 3.1316 | -2.4541 | 5.0757 | 0.89875 | -0.83835 | 4.731 | 30
|  | 0.47694 | 5.4335 | -4.1321 |  | 6.1322 | 2.3252 | 40

## 970924 raw data
file: 970924.anz Cruise 9736 Nutrient data
Y = C1 * X ^ 2 + C2 * X + C3
chan |  | regnum | regpos | C1 | C2 | C3
N |  | 1 | 8638 | 1.7484e-06 | 0.057598 | 0.017449
N |  | 2 | 17510 | 1.3923e-06 | 0.057575 | 0.013962
S |  | 1 | 8486 | 9.0777e-06 | 0.18224 | -0.0025916
S |  | 2 | 17518 | 8.3866e-06 | 0.18046 | 0.04469
P |  | 1 | 8512 | 1.0569e-07 | 0.0044638 | -0.0017099
P |  | 2 | 17640 | 8.0717e-08 | 0.0044703 | 0.0003388
chan |  | regnum | raw | meas | calc
N |  | 1 | 0 | 0 | 0.017449
N |  | 1 | 171 | 10 | 9.9178
N |  | 1 | 172 | 10 | 9.976
N |  | 1 | 345 | 20 | 20.0968
N |  | 1 | 343 | 20 | 19.9792
N |  | 1 | 344 | 20 | 20.038
N |  | 1 | 510 | 30 | 29.8471
N |  | 1 | 515 | 30 | 30.1441
N |  | 1 | 512 | 30 | 29.9659
N |  | 1 | 0 | 0 | 0.017449
N |  | 2 | 0 | 0 | 0.013962
N |  | 2 | 172 | 10 | 9.958
N |  | 2 | 172 | 10 | 9.958
N |  | 2 | 345 | 20 | 20.0429
N |  | 2 | 345 | 20 | 20.0429
N |  | 2 | 515 | 29.99 | 30.0342
N |  | 2 | 513 | 29.99 | 29.9161
N |  | 2 | 0 | 0 | 0.013962
S |  | 1 | 0 | 0 | -0.0025916
S |  | 1 | 163 | 30 | 29.9438
S |  | 1 | 164 | 30 | 30.129
S |  | 1 | 163 | 30 | 29.9438
S |  | 1 | 324 | 60 | 59.9963
S |  | 1 | 325 | 60 | 60.1844
S |  | 1 | 323 | 60 | 59.8082
S |  | 1 | 481 | 90.01 | 89.7553
S |  | 1 | 483 | 90.01 | 90.1373
S |  | 1 | 483 | 90.01 | 90.1373
S |  | 1 | 0 | 0 | -0.0025916
S |  | 2 | 0 | 0 | 0.04469
S |  | 2 | 164 | 30 | 29.8652
S |  | 2 | 164 | 30 | 29.8652
S |  | 2 | 328 | 60 | 60.1369
S |  | 2 | 328 | 60 | 60.1369
S |  | 2 | 487 | 90.01 | 89.9163
S |  | 2 | 0 | 0 | 0.04469
P |  | 1 | 0 | 0 | -0.0017099
P |  | 1 | 224 | 1 | 1.0035
P |  | 1 | 224 | 1 | 1.0035
P |  | 1 | 224 | 1 | 1.0035
P |  | 1 | 443 | 2 | 1.9965
P |  | 1 | 443 | 2 | 1.9965
P |  | 1 | 443 | 2 | 1.9965
P |  | 1 | 663 | 3 | 3.0042
P |  | 1 | 662 | 3 | 2.9996
P |  | 1 | 662 | 3 | 2.9996
P |  | 1 | 0 | 0 | -0.0017099
P |  | 2 | 0 | 0 | 0.0003388
P |  | 2 | 222 | 1 | 0.99672
P |  | 2 | 223 | 1 | 1.0012
P |  | 2 | 444 | 2 | 2.0011
P |  | 2 | 444 | 2 | 2.0011
P |  | 2 | 662 | 3 | 2.995
P |  | 2 | 664 | 3 | 3.0042
P |  | 2 | 0 | 0 | 0.0003388
chan | Station | Depth | Conc | Peak | Time | Reg#1 | Reg#2
N | 3 | 1 | 0.13244 | 2 | 8810 | 1 | 2
N |  | 10 | 16.1012 | 277 | 8986 | 1 | 2
N |  | 25 | 27.3959 | 469 | 9162 | 1 | 2
N |  | 50 | 28.6907 | 491 | 9338 | 1 | 2
N |  | 198 | 31.7056 | 542 | 9512 | 1 | 2
N |  | 0 | 0.13111 | 2 | 9688 | 1 | 2
N | 4 | 1 | -0.041919 | -1 | 9864 | 1 | 2
N |  | 10 | 15.033 | 259 | 10040 | 1 | 2
N |  | med std | 19.9439 | 343 | 10214 | 1 | 2
N |  | 25 | 26.2271 | 450 | 10390 | 1 | 2
N |  | 50 | 28.4017 | 487 | 10564 | 1 | 2
N |  | 198 | 31.8195 | 545 | 10740 | 1 | 2
N | 5 | 1 | 0.017441 | 0 | 11088 | 1 | 2
N |  | 10 | 14.4081 | 248 | 11264 | 1 | 2
N |  | 25 | 25.9886 | 445 | 11440 | 1 | 2
N |  | 50 | 26.8137 | 459 | 11616 | 1 | 2
N |  | 198 | 31.8509 | 544 | 11792 | 1 | 2
N |  | 0 | 0.13203 | 2 | 11968 | 1 | 2
N |  | 0 | 0.074304 | 1 | 12144 | 1 | 2
N | 9 | 1 | 0.074181 | 1 | 12320 | 1 | 2
N |  | 10 | 15.9787 | 275 | 12492 | 1 | 2
N |  | 25 | 26.3815 | 452 | 12668 | 1 | 2
N |  | med std | 20.0779 | 345 | 12844 | 1 | 2
N |  | 50 | 27.9708 | 479 | 13020 | 1 | 2
N |  | 198 | 28.3813 | 486 | 13196 | 1 | 2
N |  | ? | 0.18863 | 3 | 13372 | 1 | 2
N | 10 | 1 | 0.015666 | 0 | 13650 | 1 | 2
N |  | 10 | 17.3139 | 298 | 13826 | 1 | 2
N |  | 25 | 16.0846 | 277 | 14002 | 1 | 2
N |  | 50 | 21.1196 | 363 | 14178 | 1 | 2
N |  | 198 | 16.7248 | 288 | 14354 | 1 | 2
N |  | 0 | 0.13023 | 2 | 14530 | 1 | 2
N | 13 | 1 | 0.014935 | 0 | 14706 | 1 | 2
N |  | 10 | 14.3857 | 248 | 14878 | 1 | 2
N |  | 25 | 16.953 | 292 | 15054 | 1 | 2
N |  | med std | 19.9938 | 344 | 15230 | 1 | 2
N |  | 50 | 23.57 | 405 | 15406 | 1 | 2
N |  | 198 | 18.176 | 313 | 15582 | 1 | 2
S | 3 | 1 | 22.5368 | 123 | 8806 | 1 | 2
S |  | 10 | 40.111 | 218 | 8982 | 1 | 2
S |  | 25 | 49.9671 | 271 | 9158 | 1 | 2
S |  | 50 | 56.3006 | 305 | 9334 | 1 | 2
S |  | 198 | 70.7383 | 382 | 9510 | 1 | 2
S |  | 0 | 0.19426 | 1 | 9686 | 1 | 2
S | 4 | 1 | 23.4017 | 128 | 9862 | 1 | 2
S |  | 10 | 37.4073 | 204 | 10038 | 1 | 2
S |  | med std | 60.0875 | 326 | 10214 | 1 | 2
S |  | 25 | 48.497 | 264 | 10390 | 1 | 2
S |  | 50 | 51.635 | 281 | 10566 | 1 | 2
S |  | 198 | 65.0469 | 353 | 10742 | 1 | 2
S |  | 0 | 0.028929 | 0 | 10918 | 1 | 2
S | 5 | 1 | 24.8011 | 136 | 11094 | 1 | 2
S |  | 10 | 30.2945 | 166 | 11270 | 1 | 2
S |  | 25 | 48.5425 | 265 | 11446 | 1 | 2
S |  | 50 | 49.4453 | 270 | 11622 | 1 | 2
S |  | 198 | 64.2892 | 350 | 11798 | 1 | 2
S | 9 | 1 | 28.4524 | 155 | 12306 | 1 | 2
S |  | 10 | 36.5927 | 199 | 12482 | 1 | 2
S |  | 25 | 49.6106 | 269 | 12658 | 1 | 2
S |  | med std | 60.2601 | 326 | 12834 | 1 | 2
S |  | 50 | 50.6848 | 275 | 13010 | 1 | 2
S |  | 198 | 63.3929 | 343 | 13186 | 1 | 2
S | 10 | 1 | 14.7774 | 81 | 13642 | 1 | 2
S |  | 10 | 37.9515 | 207 | 13818 | 1 | 2
S |  | 25 | 36.2708 | 198 | 13994 | 1 | 2
S |  | 50 | 44.5846 | 243 | 14170 | 1 | 2
S |  | 198 | 118.1858 | 633 | 14346 | 1 | 2
S |  | 0 | 0.20886 | 1 | 14522 | 1 | 2
S | 13 | 1 | 14.9307 | 82 | 14698 | 1 | 2
S |  | 10 | 27.9145 | 153 | 14874 | 1 | 2
S |  | 25 | 38.2032 | 209 | 15050 | 1 | 2
S |  | med std | 60.0532 | 327 | 15226 | 1 | 2
S |  | 50 | 53.8885 | 294 | 15402 | 1 | 2
S |  | 198 | 115.0569 | 619 | 15578 | 1 | 2
P | 3 | 1 | 0.087768 | 20 | 8756 | 1 | 2
P |  | 10 | 1.5012 | 334 | 8932 | 1 | 2
P |  | 25 | 2.4118 | 534 | 9112 | 1 | 2
P |  | 50 | 2.5307 | 560 | 9288 | 1 | 2
P |  | 198 | 2.9387 | 649 | 9452 | 1 | 2
P |  | 0 | 0.0033994 | 1 | 9628 | 1 | 2
P | 4 | 1 | 0.092865 | 21 | 9804 | 1 | 2
P |  | 10 | 1.4382 | 320 | 9988 | 1 | 2
P |  | med std | 2.0102 | 446 | 10164 | 1 | 2
P |  | 25 | 2.2516 | 499 | 10340 | 1 | 2
P |  | 50 | 2.4386 | 540 | 10516 | 1 | 2
P |  | 198 | 3.0106 | 665 | 10692 | 1 | 2
P | 5 | 1 | 0.13386 | 30 | 11044 | 1 | 2
P |  | 10 | 1.4251 | 317 | 11216 | 1 | 2
P |  | 25 | 2.2695 | 503 | 11392 | 1 | 2
P |  | 50 | 2.3241 | 515 | 11568 | 1 | 2
P |  | 198 | 2.9818 | 659 | 11744 | 1 | 2
P | 9 | 1 | 0.14133 | 32 | 12268 |  | 2
P |  | 10 | 1.5102 | 336 | 12444 | 1 | 2
P |  | 25 | 2.3479 | 520 | 12620 | 1 | 2
P |  | med std | 1.9965 | 443 | 12796 | 1 | 2
P |  | 50 | 2.2564 | 500 | 12972 | 1 | 2
P |  | 198 | 2.8928 | 639 | 13144 | 1 | 2
P | 10 | 10 | 1.5695 | 349 | 13776 | 1 | 2
P |  | 25 | 1.8056 | 401 | 13952 | 1 | 2
P |  | 50 | 2.5575 | 566 | 14128 | 1 | 2
P |  | 198 | 4.6986 | 1030 | 14304 | 1 | 2
P |  | 0 | 0.0039382 | 1 | 14480 | 1 | 2
P | 13 | 1 | 0.25003 | 56 | 14640 | 1 | 2
P |  | 10 | 1.3933 | 310 | 14828 | 1 | 2
P |  | 25 | 1.6152 | 359 | 15004 | 1 | 2
P |  | med std | 2.0011 | 444 | 15180 | 1 | 2
P |  | 50 | 2.2285 | 494 | 15356 | 1 | 2
P |  | 198 | 4.3733 | 961 | 15532 | 1 | 2
P |  |  | 0.0045487 | 1 | 15708 | 1 | 2
P | 10 | 1 | 0.24177 | 54 | 15872 | 1 | 2
P
P
P

## 970925 raw data
file: 970925 nutrient data
Y = C1 * X ^ 2 + C2 * X + C3
chan |  | regnum | regpos | C1 | C2 | C3
N |  | 1 | 5704 | 1.2985e-06 | 0.050589 | 0.011395
N |  | 2 | 13418 | 1.9361e-06 | 0.049999 | 0.012351
N |  | 3 | 23544 | 1.4218e-06 | 0.050102 | 0.0060993
S |  | 1 | 5532 | 4.8431e-06 | 0.14731 | 0.048264
S |  | 2 | 13288 | 7.426e-06 | 0.14471 | 0.023851
S |  | 3 | 23414 | 5.0934e-06 | 0.1457 | -0.0022261
P |  | 1 | 5656 | -5.1672e-09 | 0.0046073 | -0.0028881
P |  | 2 | 13370 | -2.4317e-08 | 0.0046114 | -0.001597
P |  | 3 | 23364 | -3.2957e-10 | 0.0045979 | -0.0011476
chan |  | regnum | raw | meas | calc
N |  | 1 | 0 | 0 | 0.011395
N |  | 1 | 196 | 10 | 9.9768
N |  | 1 | 196 | 10 | 9.9768
N |  | 1 | 196 | 10 | 9.9768
N |  | 1 | 392 | 20 | 20.0419
N |  | 1 | 391 | 20 | 19.9903
N |  | 1 | 392 | 20 | 20.0419
N |  | 1 | 582 | 29.99 | 29.8941
N |  | 1 | 583 | 29.99 | 29.9462
N |  | 1 | 586 | 29.99 | 30.1025
N |  | 1 | 0 | 0 | 0.011395
N |  | 2 | 0 | 0 | 0.012351
N |  | 2 | 198 | 10 | 9.9881
N |  | 2 | 197 | 10 | 9.9373
N |  | 2 | 394 | 20 | 20.0125
N |  | 2 | 395 | 20 | 20.0641
N |  | 2 | 587 | 29.99 | 30.0289
N |  | 2 | 585 | 29.99 | 29.9244
N |  | 2 | 0 | 0 | 0.012351
N |  | 3 | 0 | 0 | 0.0060993
N |  | 3 | 199 | 10 | 10.0327
N |  | 3 | 197 | 10 | 9.9314
N |  | 3 | 394 | 20 | 19.967
N |  | 3 | 396 | 20 | 20.0695
N |  | 3 | 589 | 29.99 | 30.0095
N |  | 3 | 588 | 29.99 | 29.9577
N |  | 3 | 0 | 0 | 0.0060993
S |  | 1 | 0 | 0 | 0.048264
S |  | 1 | 201 | 30 | 29.8534
S |  | 1 | 201 | 30 | 29.8534
S |  | 1 | 202 | 30 | 30.0027
S |  | 1 | 401 | 60 | 59.8988
S |  | 1 | 402 | 60 | 60.05
S |  | 1 | 404 | 60 | 60.3524
S |  | 1 | 597 | 90.01 | 89.7191
S |  | 1 | 599 | 90.01 | 90.0253
S |  | 1 | 600 | 90.01 | 90.1784
S |  | 1 | 0 | 0 | 0.048264
S |  | 2 | 0 | 0 | 0.023851
S |  | 2 | 205 | 30 | 30.0013
S |  | 2 | 204 | 30 | 29.8535
S |  | 2 | 407 | 60 | 60.1505
S |  | 2 | 602 | 90.01 | 89.8298
S |  | 2 | 604 | 90.01 | 90.1372
S |  | 2 | 0 | 0 | 0.023851
S |  | 3 | 0 | 0 | -0.0022261
S |  | 3 | 205 | 30 | 30.0809
S |  | 3 | 204 | 30 | 29.9332
S |  | 3 | 406 | 60 | 59.9928
S |  | 3 | 406 | 60 | 59.9928
S |  | 3 | 605 | 90.01 | 90.0124
S |  | 3 | 605 | 90.01 | 90.0124
S |  | 3 | 0 | 0 | -0.0022261
P |  | 1 | 0 | 0 | -0.0028881
P |  | 1 | 219 | 1 | 1.0059
P |  | 1 | 219 | 1 | 1.0059
P |  | 1 | 219 | 1 | 1.0059
P |  | 1 | 434 | 2 | 1.9957
P |  | 1 | 434 | 2 | 1.9957
P |  | 1 | 433 | 2 | 1.9911
P |  | 1 | 653 | 3 | 3.0034
P |  | 1 | 653 | 3 | 3.0034
P |  | 1 | 652 | 3 | 2.9988
P |  | 1 | 0 | 0 | -0.0028881
P |  | 2 | 0 | 0 | -0.001597
P |  | 2 | 218 | 1 | 1.0025
P |  | 2 | 219 | 1 | 1.0071
P |  | 2 | 434 | 2 | 1.9952
P |  | 2 | 434 | 2 | 1.9952
P |  | 2 | 654 | 3 | 3.0039
P |  | 2 | 653 | 3 | 2.9993
P |  | 2 | 0 | 0 | -0.001597
P |  | 3 | 0 | 0 | -0.0011476
P |  | 3 | 218 | 1 | 1.0012
P |  | 3 | 219 | 1 | 1.0058
P |  | 3 | 435 | 2 | 1.9989
P |  | 3 | 434 | 2 | 1.9943
P |  | 3 | 654 | 3 | 3.0057
P |  | 3 | 652 | 3 | 2.9965
P |  | 3 | 0 | 0 | -0.0011476
chan | Station | Depth | Conc | Peak | Time | Reg#1 | Reg#2
N | 16 | 1 | 0.011423 | 0 | 5880 | 1 | 2
N |  | 10 | 14.3743 | 282 | 6052 | 1 | 2
N |  | 25 | 15.3977 | 302 | 6228 | 1 | 2
N |  | 50 | 20.2334 | 396 | 6404 | 1 | 2
N |  | 198 | 23.3827 | 457 | 6580 | 1 | 2
N |  | 0 | 0.062048 | 1 | 6756 | 1 | 2
N | 18 | 1 | 0.011584 | 0 | 6932 | 1 | 2
N |  | 10 | 15.5862 | 306 | 7108 | 1 | 2
N |  | 25 | 26.1675 | 511 | 7280 | 1 | 2
N |  | 25 | 26.2676 | 513 | 7456 | 1 | 2
N |  | 50 | 27.0953 | 529 | 7632 | 1 | 2
N |  | 198 | 30.0078 | 585 | 7808 | 1 | 2
N |  | 0 | 0.16288 | 3 | 7984 | 1 | 2
N | 19 | 1 | 3.949 | 78 | 8156 | 1 | 2
N |  | 10 | 9.3274 | 184 | 8332 | 1 | 2
N |  | med std | 20.0338 | 393 | 8508 | 1 | 2
N |  | 25 | 21.7852 | 427 | 8684 | 1 | 2
N |  | 50 | 25.9777 | 508 | 8860 | 1 | 2
N |  | 198 | 26.0259 | 509 | 9034 | 1 | 2
N |  | 0 | 0.11245 | 2 | 9210 | 1 | 2
N |  | 0 | 0.062203 | 1 | 9386 | 1 | 2
N | 20 | 1 | 6.367 | 126 | 9562 | 1 | 2
N |  | 10 | 19.8015 | 389 | 9736 | 1 | 2
N |  | 25 | 24.0353 | 471 | 9912 | 1 | 2
N |  | 50 | 26.1591 | 512 | 10086 | 1 | 2
N |  | 200 | 28.2367 | 552 | 10262 | 1 | 2
N | 24 | 0 | 0.11241 | 2 | 10438 | 1 | 2
N |  | 1 | 0.26281 | 5 | 10614 | 1 | 2
N |  | 10 | 11.5821 | 229 | 10790 | 1 | 2
N |  | 25 | 21.8909 | 430 | 10962 | 1 | 2
N |  | 50 | 24.4752 | 480 | 11138 | 1 | 2
N |  | 200 | 29.1535 | 570 | 11314 | 1 | 2
N |  | 200 | 29.5154 | 577 | 11490 | 1 | 2
N | 25 | 1 | 6.0906 | 121 | 13592 | 2 | 3
N |  | 10 | 20.887 | 411 | 13768 | 2 | 3
N |  | 25 | 22.7967 | 448 | 13944 | 2 | 3
N |  | 50 | 24.0375 | 472 | 14118 | 2 | 3
N |  | 200 | 29.6512 | 580 | 14294 | 2 | 3
N |  | 274 | 29.6488 | 580 | 14470 | 2 | 3
N |  | 0 | 0.11151 | 2 | 14646 | 2 | 3
N | 26 | 1 | 0.061364 | 1 | 14822 | 2 | 3
N |  | 10 | 14.3139 | 283 | 14994 | 2 | 3
N |  | med | 19.9519 | 393 | 15170 | 2 | 3
N |  | 25 | 21.5994 | 425 | 15346 | 2 | 3
N |  | 50 | 23.1469 | 455 | 15518 | 2 | 3
N |  | 148 | 29.5277 | 578 | 15694 | 2 | 3
N |  | 0 | 0.060623 | 1 | 15870 | 2 | 3
N | 28 | 1 | 0.060498 | 1 | 16046 | 2 | 3
N |  | 10 | 4.0243 | 80 | 16222 | 2 | 3
N |  | 25 | 22.624 | 445 | 16398 | 2 | 3
N |  | 38 | 23.6037 | 464 | 16574 | 2 | 3
N |  | 0 | 0.06 | 1 | 16750 | 2 | 3
N | 29 | 1 | 0.0098332 | 0 | 16926 | 2 | 3
N |  | 10 | 7.5042 | 149 | 17098 | 2 | 3
N |  | 25 | 24.528 | 482 | 17274 | 2 | 3
N |  | 50 | 23.9582 | 471 | 17450 | 2 | 3
N |  | 198 | 27.2685 | 535 | 17626 | 2 | 3
N |  | 0 | 0.10931 | 2 | 17802 | 2 | 3
N |  | 0 | 0.059131 | 1 | 17978 | 2 | 3
N | 30 | 1 | 18.8587 | 372 | 18150 | 2 | 3
N |  | 10 | 16.6558 | 329 | 18326 | 2 | 3
N |  | 20 | 18.0883 | 357 | 18502 | 2 | 3
N |  | 40 | 8.8191 | 175 | 18674 | 2 | 3
N |  | 0 | 0.058514 | 1 | 18850 | 2 | 3
N | 31 | 1 | 12.0148 | 238 | 19026 | 2 | 3
N |  | 10 | 17.676 | 349 | 19202 | 2 | 3
N |  | 20 | 19.1094 | 377 | 19378 | 2 | 3
N |  | 30 | 21.6754 | 427 | 19554 | 2 | 3
N |  | 40 | 22.3943 | 441 | 19730 | 2 | 3
N |  | 0 | 0.057767 | 1 | 19906 | 2 | 3
N | 32 | 1 | 12.776 | 253 | 20082 | 2 | 3
N |  | 10 | 17.0073 | 336 | 20254 | 2 | 3
N |  | 20 | 21.8239 | 430 | 20430 | 2 | 3
N |  | 30 | 21.9256 | 432 | 20606 | 2 | 3
N |  | 45 | 22.6441 | 446 | 20782 | 2 | 3
N |  | 0 | 0.057022 | 1 | 20958 | 2 | 3
N | 33 | 1 | 13.1304 | 260 | 21130 | 2 | 3
N |  | 10 | 20.125 | 397 | 21306 | 2 | 3
N |  | 20 | 21.663 | 427 | 21482 | 2 | 3
N |  | 30 | 22.535 | 444 | 21658 | 2 | 3
N |  | 40 | 22.9962 | 453 | 21834 | 2 | 3
S | 16 | 1 | 14.2253 | 96 | 5866 | 1 | 2
S |  | 10 | 29.3767 | 198 | 6042 | 1 | 2
S |  | 25 | 33.8411 | 228 | 6218 | 1 | 2
S |  | 50 | 45.2073 | 304 | 6394 | 1 | 2
S |  | 198 | 94.8331 | 631 | 6570 | 1 | 2
S |  | 0 | 0.19071 | 1 | 6746 | 1 | 2
S | 18 | 1 | 22.6247 | 153 | 6922 | 1 | 2
S |  | 10 | 37.3558 | 252 | 7098 | 1 | 2
S |  | 25 | 49.3291 | 332 | 7274 | 1 | 2
S |  | 25 | 49.3119 | 332 | 7450 | 1 | 2
S |  | 50 | 48.2433 | 325 | 7626 | 1 | 2
S |  | 198 | 69.5097 | 466 | 7802 | 1 | 2
S |  | 0 | 0.18533 | 1 | 7978 | 1 | 2
S | 19 | 1 | 25.2194 | 171 | 8154 | 1 | 2
S |  | 10 | 27.7297 | 188 | 8330 | 1 | 2
S |  | med std | 60.1994 | 405 | 8506 | 1 | 2
S |  | 25 | 41.852 | 283 | 8682 | 1 | 2
S |  | 50 | 47.3746 | 320 | 8858 | 1 | 2
S |  | 198 | 47.2078 | 319 | 9034 | 1 | 2
S |  | 0 | -0.11166 | -1 | 9210 | 1 | 2
S |  | 0 | 0.033444 | 0 | 9386 | 1 | 2
S | 20 | 1 | 26.6092 | 181 | 9562 | 1 | 2
S |  | 10 | 39.3703 | 267 | 9738 | 1 | 2
S |  | 25 | 44.4305 | 301 | 9914 | 1 | 2
S |  | 50 | 47.556 | 322 | 10090 | 1 | 2
S |  | 200 | 50.9864 | 345 | 10266 | 1 | 2
S |  | 0 | -0.11601 | -1 | 10442 | 1 | 2
S | 24 | 1 | 22.5556 | 154 | 10618 | 1 | 2
S |  | 10 | 31.26 | 213 | 10794 | 1 | 2
S |  | 25 | 39.7103 | 270 | 10970 | 1 | 2
S |  | 50 | 42.9731 | 292 | 11146 | 1 | 2
S |  | 200 | 52.9814 | 359 | 11322 | 1 | 2
S |  | 200 | 52.3634 | 355 | 11498 | 1 | 2
S | 25 | 1 | 25.578 | 175 | 13590 | 2 | 3
S |  | 10 | 38.6014 | 263 | 13766 | 2 | 3
S |  | 25 | 39.9422 | 272 | 13942 | 2 | 3
S |  | 50 | 42.3261 | 288 | 14118 | 2 | 3
S |  | 200 | 53.6869 | 364 | 14294 | 2 | 3
S |  | 200? | 53.0883 | 360 | 14470 | 2 | 3
S |  | 0 | 0.016809 | 0 | 14646 | 2 | 3
S | 26 | 1 | 11.9522 | 82 | 14822 | 2 | 3
S |  | 10 | 26.6339 | 182 | 14998 | 2 | 3
S |  | med? | 59.8467 | 405 | 15174 | 2 | 3
S |  | 25 | 37.8851 | 258 | 15350 | 2 | 3
S |  | 50 | 41.0082 | 279 | 15526 | 2 | 3
S |  | 148 | 51.8991 | 352 | 15702 | 2 | 3
S |  | 0 | 0.0096502 | 0 | 15878 | 2 | 3
S | 28 | 1 | 3.6446 | 25 | 16054 | 2 | 3
S |  | 10 | 32.2689 | 220 | 16230 | 2 | 3
S |  | 25 | 53.9988 | 366 | 16406 | 2 | 3
S |  | 38 | 58.4944 | 396 | 16582 | 2 | 3
S |  | 0 | 0.0045371 | 0 | 16758 | 2 | 3
S | 29 | 1 | 18.7172 | 128 | 16922 | 2 | 3
S |  | 10 | 17.5445 | 120 | 17098 | 2 | 3
S |  | 25 | 40.5896 | 276 | 17274 | 2 | 3
S |  | 50 | 41.1867 | 280 | 17450 | 2 | 3
S |  | 198 | 48.7804 | 331 | 17626 | 2 | 3
S | 30 | 1 | 36.6693 | 250 | 18158 | 2 | 3
S |  | 10 | 33.8554 | 231 | 18334 | 2 | 3
S |  | 20 | 36.3789 | 248 | 18510 | 2 | 3
S |  | 40 | 25.1466 | 172 | 18666 | 2 | 3
S |  | 0 | 0.018279 | 0 | 18842 | 2 | 3
S | 31 | 1 | 28.6922 | 196 | 19018 | 2 | 3
S |  | 10 | 34.612 | 236 | 19194 | 2 | 3
S |  | 20 | 36.5427 | 249 | 19370 | 2 | 3
S |  | 30 | 39.3667 | 268 | 19546 | 2 | 3
S |  | 40 | 40.4101 | 275 | 19722 | 2 | 3
S |  | 0 | 0.011842 | 0 | 19898 | 2 | 3
S | 32 | 1 | 28.8594 | 197 | 20074 | 2 | 3
S |  | 10 | 33.7427 | 230 | 20250 | 2 | 3
S |  | 20 | 40.2732 | 274 | 20426 | 2 | 3
S |  | 30 | 40.5733 | 276 | 20602 | 2 | 3
S |  | 45 | 41.3194 | 281 | 20778 | 2 | 3
S |  | 0 | 0.0054055 | 0 | 20954 | 2 | 3
S | 33 | 1 | 30.5043 | 208 | 21130 | 2 | 3
S |  | 10 | 37.319 | 254 | 21306 | 2 | 3
S |  | 20 | 39.9937 | 272 | 21482 | 2 | 3
S |  | 30 | 41.185 | 280 | 21658 | 2 | 3
S |  | 40 | 42.0796 | 286 | 21834 | 2 | 3
P | 16 | 1 | 0.36115 | 79 | 5820 | 1 | 2
P |  | 10 | 1.4249 | 310 | 5996 | 1 | 2
P |  | 25 | 1.5124 | 329 | 6176 | 1 | 2
P |  | 50 | 1.8852 | 410 | 6352 | 1 | 2
P |  | 198 | 3.8843 | 845 | 6528 | 1 | 2
P |  | 0 | 0.015938 | 4 | 6704 | 1 | 2
P | 18 | 1 | 0.21875 | 48 | 6850 | 1 | 2
P |  | 10 | 1.5862 | 345 | 7050 | 1 | 2
P |  | 25 | 3.1485 | 685 | 7226 | 1 | 2
P |  | 25 | 2.1241 | 462 | 7402 | 1 | 2
P |  | 50 | 2.2711 | 494 | 7578 | 1 | 2
P |  | 198 | 2.744 | 597 | 7754 | 1 | 2
P |  | 0 | 0.0025441 | 1 | 7920 | 1 | 2
P | 19 | 1 | 0.40354 | 88 | 8096 | 1 | 2
P |  | 10 | 0.84571 | 184 | 8282 | 1 | 2
P |  | med std | 1.9953 | 434 | 8458 | 1 | 2
P |  | 25 | 1.8023 | 392 | 8634 | 1 | 2
P |  | 50 | 2.2523 | 490 | 8810 | 1 | 2
P |  | 198 | 2.1559 | 469 | 8986 | 1 | 2
P | 20 | 1 | 0.63292 | 138 | 9510 | 1 | 2
P |  | 10 | 1.7057 | 371 | 9686 | 1 | 2
P |  | 25 | 1.9864 | 432 | 9862 | 1 | 2
P |  | 50 | 2.1427 | 466 | 10038 | 1 | 2
P |  | 200 | 2.2898 | 498 | 10214 | 1 | 2
P |  |  | -0.0023466 | 0 | 10390 | 1 | 2
P | 24 | 1 | 0.20052 | 44 | 10566 | 1 | 2
P |  | 10 | 1.0986 | 239 | 10742 | 1 | 2
P |  | 25 | 1.9448 | 423 | 10914 | 1 | 2
P |  | 50 | 2.0321 | 442 | 11090 | 1 | 2
P |  | 200 | 2.4544 | 534 | 11266 | 1 | 2
P |  | 200 | 2.5139 | 547 | 11442 | 1 | 2
P | 25 | 1 | 0.74938 | 163 | 13544 | 2 | 3
P |  | 10 | 1.8482 | 402 | 13720 | 2 | 3
P |  | 25 | 1.9124 | 416 | 13896 | 2 | 3
P |  | 50 | 1.9216 | 418 | 14068 | 2 | 3
P |  | 200 | 2.4448 | 532 | 14244 | 2 | 3
P |  | 200? | 2.4815 | 540 | 14420 | 2 | 3
P |  | 0 | 0.0031311 | 1 | 14596 | 2 | 3
P | 26 | 1 | 0.23347 | 51 | 14772 | 2 | 3
P |  | 10 | 1.3791 | 300 | 14948 | 2 | 3
P |  | med? | 1.9948 | 434 | 15120 | 2 | 3
P |  | 25 | 1.9534 | 425 | 15296 | 2 | 3
P |  | 50 | 2.0039 | 436 | 15472 | 2 | 3
P |  | 148 | 2.4402 | 531 | 15648 | 2 | 3
P |  | 0 | 0.0032494 | 1 | 15824 | 2 | 3
P | 28 | 1 | 0.076921 | 17 | 16000 | 2 | 3
P |  | 10 | 0.9925 | 216 | 16176 | 2 | 3
P |  | 25 | 2.1094 | 459 | 16348 | 2 | 3
P |  | 38 | 2.2519 | 490 | 16524 | 2 | 3
P |  | 0 | -0.0012677 | 0 | 16700 | 2 | 3
P | 29 | 1 | -0.0058512 | -1 | 16876 | 2 | 3
P |  | 10 | 1.0014 | 218 | 17052 | 2 | 3
P |  | 25 | 1.7508 | 381 | 17224 | 2 | 3
P |  | 50 | 2.0863 | 454 | 17400 | 2 | 3
P |  | 198 | 2.0035 | 436 | 17576 | 2 | 3
P |  | 0 | -0.0011633 | 0 | 17752 | 2 | 3
P | 30 | 1 | 1.8023 | 392 | 18102 | 2 | 3
P |  | 10 | 1.6874 | 367 | 18274 | 2 | 3
P |  | 20 | 1.7379 | 378 | 18450 | 2 | 3
P |  | 40 | 0.98851 | 215 | 18626 | 2 | 3
P |  | 0 | -0.0015033 | 0 | 18802 | 2 | 3
P | 31 | 1 | 1.2597 | 274 | 18978 | 2 | 3
P |  | 10 | 1.6734 | 364 | 19154 | 2 | 3
P |  | 20 | 1.7974 | 391 | 19330 | 2 | 3
P |  | 30 | 1.9673 | 428 | 19502 | 2 | 3
P |  | 40 | 2.0086 | 437 | 19678 | 2 | 3
P |  | 0 | 0.0078199 | 2 | 19854 | 2 | 3
P | 32 | 1 | 1.3237 | 288 | 20030 | 2 | 3
P |  | 10 | 1.742 | 379 | 20206 | 2 | 3
P |  | 20 | 1.9855 | 432 | 20382 | 2 | 3
P |  | 30 | 2.0589 | 448 | 20558 | 2 | 3
P |  | 45 | 1.8797 | 409 | 20734 | 2 | 3
P |  | 0 | 0.0079264 | 2 | 20910 | 2 | 3
P | 33 | 1 | 1.2406 | 270 | 21080 | 2 | 3
P |  | 10 | 1.6681 | 363 | 21256 | 2 | 3
P |  | 20 | 1.8427 | 401 | 21432 | 2 | 3
P |  | 30 | 1.8749 | 408 | 21608 | 2 | 3
P |  | 40 | 2.0357 | 443 | 21784 | 2 | 3

## 970926 raw data
file: 970926
Y = C1 * X ^ 2 + C2 * X + C3
chan |  | regnum | regpos | C1 | C2 | C3
N |  | 1 | 6796 | 1.6601e-06 | 0.049518 | 0.0043977
N |  | 2 | 19688 | 7.866e-07 | 0.050056 | -0.0029668
S |  | 1 | 6672 | 7.9642e-06 | 0.14579 | 0.041602
S |  | 2 | 19682 | 8.9492e-06 | 0.14465 | 0.022991
P |  | 1 | 6770 | -1.2088e-08 | 0.004594 | -0.0023253
P |  | 2 | 19642 | 4.4879e-08 | 0.0045591 | 0.00030031
chan |  | regnum | raw | meas | calc
N |  | 1 | 0 | 0 | 0.0043977
N |  | 1 | 200 | 10 | 9.9744
N |  | 1 | 200 | 10 | 9.9744
N |  | 1 | 201 | 10 | 10.0246
N |  | 1 | 398 | 20 | 19.9755
N |  | 1 | 399 | 20 | 20.0263
N |  | 1 | 399 | 20 | 20.0263
N |  | 1 | 593 | 29.99 | 29.9523
N |  | 1 | 595 | 29.99 | 30.0553
N |  | 1 | 593 | 29.99 | 29.9523
N |  | 1 | 0 | 0 | 0.0043977
N |  | 2 | 0 | 0 | -0.0029668
N |  | 2 | 199 | 10 | 9.9892
N |  | 2 | 199 | 10 | 9.9892
N |  | 2 | 200 | 10 | 10.0396
N |  | 2 | 395 | 20 | 19.8917
N |  | 2 | 399 | 20 | 20.0944
N |  | 2 | 592 | 29.99 | 29.9056
N |  | 2 | 596 | 29.99 | 30.1095
N |  | 2 | 593 | 29.99 | 29.9566
N |  | 2 | 0 | 0 | -0.0029668
S |  | 1 | 0 | 0 | 0.041602
S |  | 1 | 203 | 30 | 29.9651
S |  | 1 | 203 | 30 | 29.9651
S |  | 1 | 202 | 30 | 29.8161
S |  | 1 | 403 | 60 | 60.0883
S |  | 1 | 402 | 60 | 59.9361
S |  | 1 | 404 | 60 | 60.2406
S |  | 1 | 597 | 90 | 89.9166
S |  | 1 | 599 | 90 | 90.2272
S |  | 1 | 596 | 90 | 89.7613
S |  | 1 | 0 | 0 | 0.041602
S |  | 2 | 0 | 0 | 0.022991
S |  | 2 | 205 | 30 | 30.0521
S |  | 2 | 204 | 30 | 29.9038
S |  | 2 | 204 | 30 | 29.9038
S |  | 2 | 406 | 60 | 60.2256
S |  | 2 | 404 | 60 | 59.9218
S |  | 2 | 599 | 90 | 89.8787
S |  | 2 | 601 | 90 | 90.1894
S |  | 2 | 599 | 90 | 89.8787
S |  | 2 | 0 | 0 | 0.022991
P |  | 1 | 0 | 0 | -0.0023253
P |  | 1 | 219 | 1 | 1.0032
P |  | 1 | 220 | 1 | 1.0078
P |  | 1 | 219 | 1 | 1.0032
P |  | 1 | 436 | 2 | 1.9984
P |  | 1 | 435 | 2 | 1.9938
P |  | 1 | 435 | 2 | 1.9938
P |  | 1 | 655 | 3 | 3.0015
P |  | 1 | 655 | 3 | 3.0015
P |  | 1 | 655 | 3 | 3.0015
P |  | 1 | 0 | 0 | -0.0023253
P |  | 2 | 0 | 0 | 0.00030031
P |  | 2 | 218 | 1 | 0.99632
P |  | 2 | 218 | 1 | 0.99632
P |  | 2 | 220 | 1 | 1.0055
P |  | 2 | 438 | 2 | 2.0058
P |  | 2 | 436 | 2 | 1.9966
P |  | 2 | 657 | 3 | 3.015
P |  | 2 | 652 | 3 | 2.9919
P |  | 2 | 652 | 3 | 2.9919
P |  | 2 | 0 | 0 | 0.00030031
chan |  | num | Conc | Peak | Time | Reg#1 | Reg#2
N | 43 | 1 | 10.08 | 202 | 7010 | 1 | 2
N |  | 10 | 13.0012 | 260 | 7186 | 1 | 2
N |  | 20 | 19.5821 | 390 | 7362 | 1 | 2
N |  | 0 | 0.052246 | 1 | 7538 | 1 | 2
N | 44 | 1 | 1.6431 | 33 | 7714 | 1 | 2
N |  | 10 | 19.8473 | 395 | 7890 | 1 | 2
N |  | 20 | 17.3666 | 346 | 8066 | 1 | 2
N |  | 30 | 20.9721 | 417 | 8242 | 1 | 2
N |  | 50 | 23.3661 | 464 | 8418 | 1 | 2
N |  | 0 | 0.00017435 | 0 | 8594 | 1 | 2
N | 45 | 1 | 2.1456 | 43 | 8770 | 1 | 2
N |  | 10 | 14.8079 | 295 | 8942 | 1 | 2
N |  | med std | 19.9243 | 396 | 9118 | 1 | 2
N |  | 20 | 19.776 | 393 | 9294 | 1 | 2
N |  | 30 | 19.9318 | 396 | 9470 | 1 | 2
N |  | 50 | 22.3201 | 443 | 9646 | 1 | 2
N | 46 | 1 | 1.889 | 38 | 10166 | 1 | 2
N |  | 10 | 16.0775 | 321 | 10342 | 1 | 2
N |  | 20 | 19.68 | 392 | 10518 | 1 | 2
N |  | med std | 19.988 | 398 | 10694 | 1 | 2
N |  | 30 | 21.4148 | 426 | 10870 | 1 | 2
N |  | 50 | 22.2321 | 442 | 11046 | 1 | 2
N |  | 0 | 0.0020155 | 0 | 11222 | 1 | 2
N | 54 | 1 | 3.2389 | 65 | 11398 | 1 | 2
N |  | 10 | 16.8103 | 335 | 11574 | 1 | 2
N |  | 20 | 18.2825 | 364 | 11750 | 1 | 2
N |  | 30 | 20.8734 | 415 | 11922 | 1 | 2
N |  | 50 | 21.3845 | 425 | 12098 | 1 | 2
N |  | 0 | 0.049811 | 1 | 12274 | 1 | 2
N | 56 | 1 | 0.099362 | 2 | 12450 | 1 | 2
N |  | 10 | 1.6968 | 34 | 12626 | 1 | 2
N |  | med std | 20.0768 | 399 | 12802 | 1 | 2
N |  | 20 | 22.8214 | 453 | 12974 | 1 | 2
N |  | 30 | 25.927 | 514 | 13150 | 1 | 2
N |  | 40 | 26.9473 | 534 | 13326 | 1 | 2
N |  | 70? | 0.047595 | 1 | 13502 | 1 | 2
N | 58 | 1 | 0.19741 | 4 | 13678 | 1 | 2
N |  | 10 | 0.1033 | 2 | 13852 | 1 | 2
N |  | 25 | 23.8523 | 474 | 14028 | 1 | 2
N |  | 50 | 27.6928 | 549 | 14204 | 1 | 2
N |  | 198 | 25.7989 | 512 | 14380 | 1 | 2
N |  | 0 | 0.052521 | 1 | 14556 | 1 | 2
N |  | 0 | 0.0025566 | 0 | 14732 | 1 | 2
N | 60 | 1 | 0.15126 | 3 | 14908 | 1 | 2
N |  | 10 | 10.4991 | 210 | 15080 | 1 | 2
N |  | 25 | 25.5524 | 507 | 15256 | 1 | 2
N |  | med std | 20.0556 | 399 | 15432 | 1 | 2
N |  | 50 | 29.0834 | 576 | 15606 | 1 | 2
N |  | 115 | 27.6517 | 548 | 15782 | 1 | 2
N |  | 0 | 0.099874 | 2 | 15958 | 1 | 2
N | 63 | 1 | 0.1993 | 4 | 16134 | 1 | 2
N |  | 10 | 16.3224 | 325 | 16310 | 1 | 2
N |  | 25 | 24.292 | 482 | 16482 | 1 | 2
N |  | 50 | 28.423 | 563 | 16658 | 1 | 2
N |  | 198 | 0.098451 | 2 | 16834 | 1 | 2
N | 56 | 1 | 0.048193 | 1 | 17010 | 1 | 2
N | 58 | 1 | -0.0021109 | 0 | 17186 | 1 | 2
N | 58 | 1 | -0.0024457 | 0 | 17362 | 1 | 2
N |  | 0 | -0.052822 | -1 | 17538 | 1 | 2
N |  | 0 | 0.0042556 | 0 | 6834 | 1 | 2
N | 43 | 1 | 10.0796 | 202 | 7010 | 1 | 2
N |  | 10 | 13.0007 | 260 | 7186 | 1 | 2
N |  | 20 | 19.5816 | 390 | 7362 | 1 | 2
N |  | 0 | 0.052289 | 1 | 7538 | 1 | 2
N | 44 | 1 | 1.6431 | 33 | 7714 | 1 | 2
N |  | 10 | 19.8469 | 395 | 7890 | 1 | 2
N |  | 20 | 17.3662 | 346 | 8066 | 1 | 2
N |  | 30 | 20.9718 | 417 | 8242 | 1 | 2
N |  | 50 | 23.3658 | 464 | 8418 | 1 | 2
N |  | 0 | 0.0002202 | 0 | 8594 | 1 | 2
N | 45 | 1 | 2.1455 | 43 | 8770 | 1 | 2
N |  | 10 | 14.8075 | 295 | 8942 | 1 | 2
N |  | med | 19.9239 | 396 | 9118 | 1 | 2
N |  | 20 | 19.7755 | 393 | 9294 | 1 | 2
N |  | 30 | 19.9314 | 396 | 9470 | 1 | 2
N |  | 50 | 22.3705 | 444 | 9646 | 1 | 2
N |  |  | -0.045228 | -1 | 9990 | 1 | 2
N | 46 | 1 | 1.8889 | 38 | 10166 | 1 | 2
N |  | 10 | 16.0248 | 320 | 10342 | 1 | 2
N |  | 20 | 19.6765 | 392 | 10518 | 1 | 2
N |  | med std | 19.9831 | 398 | 10694 | 1 | 2
N |  | 30 | 21.4089 | 426 | 10870 | 11046 | 2
N |  | 50 | 22.2252 | 442 | 11046 | 11222 | 2
N |  | 0 | 0.052657 | 1 | 11222 | 11398 | 2
N | 54 | 1 | 3.2351 | 65 | 11398 | 11574 | 2
N |  | 10 | 16.7966 | 335 | 11574 | 11750 | 2
N |  | 20 | 18.2676 | 364 | 11750 | 11926 | 2
N |  | 30 | 20.9095 | 416 | 11922 | 12098 | 2
N |  | 50 | 21.4196 | 426 | 12098 | 1 | 2
N |  | 0 | 0.051662 | 1 | 12274 | 1 | 2
N | 56 | 1 | 0.10121 | 2 | 12450 | 1 | 2
N |  | 10 | 1.6937 | 34 | 12626 | 1 | 2
N |  | 20 | 20.1046 | 400 | 12802 | 1 | 2
N |  | 30 | 22.7501 | 452 | 12978 | 1 | 2
N |  | 40 | 25.9124 | 514 | 13150 | 1 | 2
N |  | 70 | 26.9349 | 534 | 13326 | 1 | 2
N |  | 0 | 0.10029 | 2 | 13502 | 1 | 2
N | 58 | 1 | 0.24956 | 5 | 13678 | 1 | 2
N |  | 10 | 0.099983 | 2 | 13854 | 1 | 2
N |  | 25 | 23.8273 | 473 | 14030 | 1 | 2
N |  | 50 | 27.7047 | 549 | 14202 | 1 | 2
N |  | 198 | 25.9189 | 514 | 14378 | 1 | 2
N |  | 0 | 0.099373 | 2 | 14554 | 1 | 2
N |  | 0 | 0.049338 | 1 | 14730 | 1 | 2
N | 60 | 1 | 0.14896 | 3 | 14906 | 1 | 2
N |  | 10 | 10.4742 | 209 | 15082 | 1 | 2
N |  | 25 | 25.6179 | 508 | 15254 | 1 | 2
N |  | med | 20.1293 | 400 | 15430 | 1 | 2
N |  | 50 | 29.1385 | 577 | 15606 | 1 | 2
N |  | 115 | 27.6591 | 548 | 15782 | 1 | 2
N |  | 0 | 0.098149 | 2 | 15958 | 1 | 2
N | 63 | 1 | 0.19797 | 4 | 16134 | 1 | 2
N |  | 10 | 16.3905 | 326 | 16310 | 1 | 2
N |  | 25 | 24.3532 | 483 | 16482 | 1 | 2
N |  | 50 | 28.4265 | 563 | 16658 | 1 | 2
S | 43 | 1 | 38.0202 | 257 | 7012 | 1 | 2
S |  | 10 | 30.2383 | 205 | 7188 | 1 | 2
S |  | 20 | 35.5985 | 241 | 7364 | 1 | 2
S |  | 0 | -0.10818 | -1 | 7540 | 1 | 2
S | 44 | 1 | 19.0861 | 130 | 7716 | 1 | 2
S |  | 10 | 34.9616 | 237 | 7892 | 1 | 2
S |  | 20 | 39.4351 | 267 | 8068 | 1 | 2
S |  | 30 | 53.1193 | 358 | 8244 | 1 | 2
S |  | 50 | 42.5551 | 288 | 8420 | 1 | 2
S |  | 0 | 0.031133 | 0 | 8596 | 1 | 2
S | 45 | 1 | 13.5971 | 93 | 8772 | 1 | 2
S |  | 10 | 28.9331 | 197 | 8948 | 1 | 2
S |  | med | 60.1601 | 405 | 9124 | 1 | 2
S |  | 20 | 37.9914 | 258 | 9300 | 1 | 2
S |  | 30 | 44.2666 | 300 | 9476 | 1 | 2
S |  | 50 | 39.3086 | 267 | 9652 | 1 | 2
S | 46 | 1 | 24.4577 | 166 | 10172 | 1 | 2
S |  | 10 | 39.5231 | 267 | 10348 | 1 | 2
S |  | 20 | 43.874 | 296 | 10524 | 1 | 2
S |  | med std | 60.0585 | 403 | 10700 | 1 | 2
S |  | 30 | 57.1629 | 384 | 10876 | 1 | 2
S |  | 50 | 40.8501 | 276 | 11052 | 1 | 2
S |  | 0 | 0.18418 | 1 | 11228 | 1 | 2
S | 54 | 1 | 18.0675 | 123 | 11404 | 1 | 2
S |  | 10 | 36.1882 | 245 | 11580 | 1 | 2
S |  | 20 | 35.2858 | 239 | 11756 | 1 | 2
S |  | 30 | 47.4378 | 320 | 11932 | 1 | 2
S |  | 50 | 43.0666 | 291 | 12108 | 1 | 2
S |  | 0 | 0.32693 | 2 | 12284 | 1 | 2
S | 56 | 1 | 18.7851 | 128 | 12460 | 1 | 2
S |  | 10 | 6.3024 | 43 | 12636 | 1 | 2
S |  | 20 | 60.4269 | 406 | 12812 | 1 | 2
S |  | 30 | 35.3973 | 240 | 12988 | 1 | 2
S |  | 40 | 45.4348 | 307 | 13164 | 1 | 2
S |  | 70 | 52.2155 | 352 | 13340 | 1 | 2
S |  | 0 | 0.17827 | 1 | 13516 | 1 | 2
S | 58 | 1 | 17.73 | 121 | 13682 | 1 | 2
S |  | 10 | 8.4829 | 58 | 13858 | 1 | 2
S |  | 25 | 37.7553 | 256 | 14034 | 1 | 2
S |  | 50 | 52.7863 | 356 | 14210 | 1 | 2
S |  | 198 | 49.457 | 334 | 14386 | 1 | 2
S |  | 0 | 0.17557 | 1 | 14562 | 1 | 2
S |  | 0 | 0.17512 | 1 | 14738 | 1 | 2
S | 60 | 1 | 17.5599 | 120 | 14914 | 1 | 2
S |  | 10 | 15.7927 | 108 | 15090 | 1 | 2
S |  | 25 | 46.4116 | 314 | 15266 | 1 | 2
S |  | med | 60.469 | 407 | 15442 | 1 | 2
S |  | 50 | 53.6382 | 362 | 15618 | 1 | 2
S |  | 115 | 73.4385 | 492 | 15794 | 1 | 2
S |  | 0 | 0.31686 | 2 | 15970 | 1 | 2
S | 63 | 1 | 19.7437 | 135 | 16146 | 1 | 2
S |  | 10 | 20.3294 | 139 | 16312 | 1 | 2
S |  | 25 | 38.2738 | 260 | 16488 | 1 | 2
S |  | 50 | 47.5637 | 322 | 16664 | 1 | 2
S |  | 198 | -0.40931 | -3 | 16840 | 1 | 2
S | 56 | 1 | 11.3682 | 78 | 17016 | 1 | 2
S | 58 | 1 | 11.6581 | 80 | 17192 | 1 | 2
S | 58 | 1 | 11.5096 | 79 | 17368 | 1 | 2
P | 43 | 1 | 1.0765 | 235 | 6960 | 1 | 2
P |  | 10 | 1.269 | 277 | 7136 | 1 | 2
P |  | 20 | 1.7596 | 384 | 7312 | 1 | 2
P |  | 0 | 0.0028227 | 1 | 7488 | 1 | 2
P | 44 | 1 | 0.31015 | 68 | 7664 | 1 | 2
P |  | 10 | 1.5574 | 340 | 7840 | 1 | 2
P |  | 20 | 1.9013 | 415 | 8016 | 1 | 2
P |  | 30 | 1.9287 | 421 | 8192 | 1 | 2
P |  | 50 | 2.0893 | 456 | 8368 | 1 | 2
P |  | 0 | 0.0036984 | 1 | 8544 | 1 | 2
P | 45 | 1 | 0.40185 | 88 | 8720 | 1 | 2
P |  | 10 | 1.4051 | 307 | 8896 | 1 | 2
P |  | med | 1.9833 | 433 | 9068 | 1 | 2
P |  | 20 | 1.8178 | 397 | 9244 | 1 | 2
P |  | 30 | 1.8453 | 403 | 9420 | 1 | 2
P |  | 50 | 2.006 | 438 | 9596 | 1 | 2
P | 46 | 1 | 0.33757 | 74 | 10120 | 1 | 2
P |  | 10 | 1.4572 | 318 | 10296 | 1 | 2
P |  | 20 | 1.7965 | 392 | 10472 | 1 | 2
P |  | med std | 1.9936 | 435 | 10648 | 1 | 2
P |  | 30 | 1.9431 | 424 | 10824 | 1 | 2
P |  | 50 | 2.0119 | 439 | 11000 | 1 | 2
P |  | 0 | 0.0026704 | 1 | 11176 | 1 | 2
P | 54 | 1 | 0.50277 | 110 | 11352 | 1 | 2
P |  | 10 | 1.5394 | 336 | 11520 | 1 | 2
P |  | 20 | 1.8237 | 398 | 11696 | 1 | 2
P |  | 30 | 1.9475 | 425 | 11872 | 1 | 2
P |  | 50 | 1.9428 | 424 | 12048 | 1 | 2
P |  | 0 | 0.0030132 | 1 | 12224 | 1 | 2
P | 56 | 1 | 0.007654 | 2 | 12400 | 1 | 2
P |  | 10 | 0.45686 | 100 | 12576 | 1 | 2
P |  | 20 | 2.0023 | 437 | 12752 | 1 | 2
P |  | 30 | 1.9105 | 417 | 12928 | 1 | 2
P |  | 40 | 2.0849 | 455 | 13104 | 1 | 2
P |  | 70 | 2.2088 | 482 | 13280 | 1 | 2
P |  | 0 | 0.012573 | 3 | 13456 | 1 | 2
P | 58 | 1 | -0.001104 | 0 | 13632 | 1 | 2
P |  | 10 | 0.31942 | 70 | 13808 | 1 | 2
P |  | 25 | 2.048 | 447 | 13980 | 1 | 2
P |  | 50 | 2.0847 | 455 | 14156 | 1 | 2
P |  | 198 | 2.3235 | 507 | 14332 | 1 | 2
P |  | 0 | 0.017482 | 4 | 14508 | 1 | 2
P |  | 0 | 0.0038179 | 1 | 14684 | 1 | 2
P | 60 | 1 | 0.045029 | 10 | 14860 | 1 | 2
P |  | 10 | 1.1071 | 242 | 15036 | 1 | 2
P |  | 25 | 2.1396 | 467 | 15208 | 1 | 2
P |  | med | 2.0155 | 440 | 15384 | 1 | 2
P |  | 50 | 2.4982 | 545 | 15560 | 1 | 2
P |  | 115 | 3.355 | 731 | 15736 | 1 | 2
P |  | 0 | 0.017923 | 4 | 15912 | 1 | 2
P | 63 | 1 | 0.045383 | 10 | 16088 | 1 | 2
P |  | 10 | 1.68 | 367 | 16260 | 1 | 2
P |  | 25 | 1.928 | 421 | 16436 | 1 | 2
P |  | 50 | 2.1716 | 474 | 16612 | 1 | 2
P |  | 198 | 2.4661 | 677 | 16788 | 1 | 2

## 970927 raw
Y = C1 * X ^ 2 + C2 * X + C3
chan |  | regnum | regpos | C1 | C2 | C3
N |  | 1 | 11928 | 1.6704e-06 | 0.048604 | 0.0038099
N |  | 2 | 17014 | 2.2842e-06 | 0.048334 | 0.01101
chan |  | regnum | raw | meas | calc
N |  | 1 | 0 | 0 | 0.0038099
N |  | 1 | 203 | 10 | 9.9392
N |  | 1 | 205 | 10 | 10.0378
N |  | 1 | 406 | 20 | 20.0124
N |  | 1 | 406 | 20 | 20.0124
N |  | 1 | 603 | 30 | 29.9194
N |  | 1 | 606 | 30 | 30.0712
N |  | 1 | 0 | 0 | 0.0038099
N |  | 2 | 0 | 0 | 0.01101
N |  | 2 | 204 | 10 | 9.9661
N |  | 2 | 204 | 10 | 9.9661
N |  | 2 | 406 | 20 | 20.011
N |  | 2 | 407 | 20 | 20.0612
N |  | 2 | 605 | 30 | 30.089
N |  | 2 | 601 | 30 | 29.8846
N |  | 2 | 0 | 0 | 0.01101
chan | stn | num | Conc | Peak | Time | Reg#1 | Reg#2
N |  | pH adj | 2.194 | 45 | 12274 | 1 | 2
N |  | pH adj | 1.7554 | 36 | 12450 | 1 | 2
N |  | blank | 2.2423 | 46 | 12626 | 1 | 2
N | 33 | 1 | 15.7737 | 321 | 12802 | 1 | 2
N |  | 10 | 20.7628 | 421 | 12978 | 1 | 2
N |  | 20 | 14.2325 | 290 | 13154 | 1 | 2
N |  | 30 | 23.8772 | 483 | 13330 | 1 | 2
N |  | 30 | 22.2183 | 450 | 13506 | 1 | 2
N |  | 40 | 12.7924 | 261 | 13682 | 1 | 2
N |  | med std | 19.8614 | 403 | 13856 | 1 | 2
N | 32 | 1 | 16.1163 | 328 | 14032 | 1 | 2
N |  | 1 | 14.9716 | 305 | 14208 | 1 | 2
N |  | 10 | 20.563 | 417 | 14380 | 1 | 2
N |  | 20 | 11.1554 | 228 | 14556 | 1 | 2
N |  | 30 | 18.059 | 367 | 14732 | 1 | 2
N |  | 45 | 24.2397 | 490 | 14908 | 1 | 2
N |  | blank | 1.8512 | 38 | 15084 | 1 | 2

## 971001 raw
file: 971001 |  | Nutrient data
[regression]
Y = C1 * X ^ 2 + C2 * X + C3
chan | regnum | regpos | C1 | C2 | C3
N | 1 | 4714 | 1.1641e-06 | 0.04886 | 0.0025271
N | 2 | 14008 | 1.4995e-06 | 0.048314 | 0.011039
N | 3 | 22076 | 1.2245e-06 | 0.048313 | 0.0095478
[peaks]
chan | regnum | raw | meas | calc
N | 1 | 0 | 0 | 0.0025271
N | 1 | 204 | 10 | 10.0183
N | 1 | 204 | 10 | 10.0183
N | 1 | 406 | 20 | 20.0314
N | 1 | 402 | 20 | 19.8322
N | 1 | 605 | 29.99 | 29.9886
N | 1 | 608 | 29.99 | 30.1395
N | 1 | 802 | 39.99 | 39.9366
N | 1 | 0 | 0 | 0.0025271
N | 2 | 0 | 0 | 0.011039
N | 2 | 205 | 10 | 9.9785
N | 2 | 205 | 10 | 9.9785
N | 2 | 409 | 20 | 20.0224
N | 2 | 408 | 20 | 19.9729
N | 2 | 609 | 29.99 | 29.9906
N | 2 | 610 | 29.99 | 30.0407
N | 2 | 808 | 39.99 | 40.0279
N | 2 | 806 | 39.99 | 39.9265
N | 2 | 0 | 0 | 0.011039
N | 3 | 0 | 0 | 0.0095478
N | 3 | 205 | 10 | 9.9651
N | 3 | 205 | 10 | 9.9651
N | 3 | 410 | 20 | 20.0235
N | 3 | 411 | 20 | 20.0729
N | 3 | 611 | 29.99 | 29.9857
N | 3 | 610 | 29.99 | 29.9358
N | 3 | 811 | 39.99 | 39.9964
N | 3 | 811 | 39.99 | 39.9964
N | 3 | 0 | 0 | 0.0095478
[concentration]
chan | Teflon btl | Station | depth | Conc | Peak | Time | Reg#1 | Reg#2
N | 71 | 43 | 10 | 11.0975 | 226 | 5060 | 1 | 2
N | 72 |  | 20 | 13.1682 | 268 | 5236 | 1 | 2
N | 73 | 46 | 1 | 8.2821 | 169 | 5412 | 1 | 2
N | 74 |  | 1 | 8.0333 | 164 | 5588 | 1 | 2
N | 75 |  | 10 | 13.303 | 271 | 5764 | 1 | 2
N | 76 |  | 20 | 15.0783 | 307 | 5940 | 1 | 2
N | 77 |  | 30 | 18.3935 | 374 | 6116 | 1 | 2
N | 78 |  | 50 | 24.5613 | 498 | 6292 | 1 | 2
N |  |  | low std | 10.1318 | 207 | 6468 | 1 | 2
N | 79 |  | blank | 1.9046 | 39 | 6640 | 1 | 2
N | 59 | 54 | 1 | 7.1803 | 147 | 6816 | 1 | 2
N | 60 |  | 1 | 8.7464 | 179 | 6992 | 1 | 2
N | 61 |  | 10 | 15.8339 | 323 | 7168 | 1 | 2
N | 62 |  | 20 | 15.137 | 309 | 7344 | 1 | 2
N | 62 |  | 20 | 15.0826 | 308 | 7520 | 1 | 2
N | 63 |  | 30 | 21.5667 | 439 | 7694 | 1 | 2
N | 64 |  | 30 | 23.2518 | 473 | 7870 | 1 | 2
N | 65 |  | 50 | 20.9078 | 426 | 8046 | 1 | 2
N | 66 |  | blank | 2.046 | 42 | 8222 | 1 | 2
N | 67 |  | blank | 2.2396 | 46 | 8398 | 1 | 2
N | 68 | 43 | 1 | 14.1658 | 290 | 8574 | 1 | 2
N | 69 |  | 1 | 14.2104 | 291 | 8744 | 1 | 2
N | 70 |  | 10 | 9.2504 | 190 | 8920 | 1 | 2
N |  | 0 |  | 0.10747 | 2 | 9096 | 1 | 2
N |  | 0 |  | 0.051633 | 1 | 9274 | 1 | 2
N | 18 |  | blank | 1.9576 | 40 | 9450 | 1 | 2
N | 19 |  | blank | 1.908 | 39 | 9626 | 1 | 2
N | 20 | 31 | 1 | 13.4536 | 274 | 9798 | 1 | 2
N | 21 |  | 1 | 15.5239 | 316 | 9974 | 1 | 2
N | 22 |  | 10 | 21.2739 | 432 | 10150 | 1 | 2
N | 23 |  | 10 | 20.0705 | 408 | 10326 | 1 | 2
N |  |  | h std | 29.9515 | 606 | 10498 | 1 | 2
N | 24 |  | 20 | 22.4894 | 457 | 10674 | 1 | 2
N | 25 |  | 20 | 17.91 | 365 | 10850 | 1 | 2
N | 26 |  | 30 | 21.3252 | 434 | 11026 | 1 | 2
N | 27 |  | 30 | 21.7131 | 442 | 11202 | 1 | 2
N | 28 |  | 40 | 19.172 | 391 | 11378 | 1 | 2
N | 29 |  | 40 | 20.7997 | 424 | 11550 | 1 | 2
N | 30 | 30 | 1 | 15.1518 | 310 | 11726 | 1 | 2
N |  | 0 |  | 0.058631 | 1 | 11902 | 1 | 2
N |  | 0 |  | 0.059099 | 1 | 12078 | 1 | 2
N | 31 | 30 | 1 | 14.9837 | 307 | 14184 | 2 | 3
N | 32 |  | 10 | 19.8699 | 406 | 14360 | 2 | 3
N | 33 |  | 10 | 20.4622 | 418 | 14534 | 2 | 3
N | 34 |  | 20 | 21.0547 | 430 | 14710 | 2 | 3
N | 35 |  | 20 | 21.3994 | 437 | 14886 | 2 | 3
N | 36 |  | 30 | 21.5955 | 441 | 15058 | 2 | 3
N | 37 |  | 30 | 5.9747 | 123 | 15234 | 2 | 3
N | 38 | 45 | 1 | 6.3151 | 130 | 15410 | 2 | 3
N | 39 |  | 1 | 9.6802 | 199 | 15586 | 2 | 3
N | 40 |  | 10 | 20.4971 | 419 | 15762 | 2 | 3
N |  | high std |  | 29.943 | 609 | 15938 | 2 | 3
N | 41 |  | 10 | 14.6761 | 301 | 16110 | 2 | 3
N | 41 |  | 10 | 14.7241 | 302 | 16286 | 2 | 3
N | 42 |  | 20 | 11.1931 | 230 | 16462 | 2 | 3
N | 43 |  | 20 | 10.019 | 206 | 16638 | 2 | 3
N | 44 |  | 30 | 22.2652 | 455 | 16814 | 2 | 3
N | 45 |  | blank | 1.751 | 36 | 16990 | 2 | 3
N | 46 |  | 30 | 14.4731 | 297 | 17166 | 2 | 3
N | 47 |  | 50 | 11.6299 | 239 | 17340 | 2 | 3
N | 48 |  | 50 | 10.6513 | 219 | 17516 | 2 | 3
N | 49 | 44 | 1 | 7.8208 | 161 | 17692 | 2 | 3
N | 50 |  | 1 | 5.3878 | 111 | 17868 | 2 | 3
N |  | 0 |  | 0.0096163 | 0 | 18044 | 2 | 3
N |  | 0 |  | 0.0095542 | 0 | 18220 | 2 | 3
N | 51 | 44 | 10 | 18.731 | 383 | 18392 | 2 | 3
N | 52 |  | 10 | 19.5186 | 399 | 18568 | 2 | 3
N | 53 |  | 20 | 15.167 | 453 | 18744 | 2 | 3
N |  |  | high std | 29.8539 | 607 | 18916 | 2 | 3
N | 54 |  | 20 | 15.7597 | 323 | 19092 | 2 | 3 | note: probably got bottles 54 and 55 switched. I've exchanged them.
N | 55 |  | 30 | 22.1893 | 311 | 19268 | 2 | 3
N | 56 |  | 30 | 22.8139 | 466 | 19444 | 2 | 3
N | 57 |  | 50 | 15.4079 | 316 | 19620 | 2 | 3
N | 58 |  | 50 | 18.8014 | 385 | 19796 | 2 | 3
N |  |  |  | 0.058085 | 1 | 19972 | 2 | 3
N |  |  |  | 0.0096453 | 0 | 20150 | 2 | 3