## 96ECOCHA
CHLOROPHYLL CALCULATION PROGRAM
Date: | March 5,1997 |  |  | Data entered by: |  | Linda White
Cruise: | Ecology freezer samples 9503, 9405, 9431, 9415, |  |  | KI, BS, TOF, WICK, TA, 9201,9204, 9205, 9206,
9207, 9302, 9311, 9317, 9345, 9530, 9608, 9614
Chla ug/l= Fs x ( Rb-Ra) x( mls extr.)/(mls filtered/1000)-(blank)
where Fs = Slope x (t/t-1) and Slope = chla conc./ Rb
and t = Rb/Ra of ( Chla standard )
CALIBRATION FACTORS:CURRENT:SIGMA CHL A Fl 010797.xls/no 2a.
Sens. Set. |  |  |  |  | FsCode | Fs | tau
1x1 |  |  |  |  | 1 | 1.791 | 1.86
1x3.16 |  |  |  |  | 2 | 0.06341 | 1.85
1x10 |  |  |  |  | 3 | 0.01815 | 1.88
1x31.6 |  |  |  |  | 4 | 0.00568 | 1.88
100x1 |  |  |  |  | 5 | 0.00173 | 1.86
100x3.16 |  |  |  |  | 6 | 0.0005109 | 1.86
100x10 |  |  |  |  | 7 | 0.00016 | 1.83
100x31.6 |  |  |  |  | 8 | not available
[8 empty] | FORMULA |  | #VALUE! | #N/A | #VALUE!
CRUISE# | DATE | STATION | SAMPLE | DEPTH | V filt | V ext | Rb | Ra | Fs | Rb/Ra | Phaeop A | Chl A | DIL | CHL A | PHAEOPHYTON
| d\m\y |  | NUMBER |  | mls | mls |  |  | Code |  | #VALUE! | #DIV/0! | FACT | UG/L | UG/L
[10 empty] | #DIV/0! | #VALUE! | #DIV/0!
9-2M |  |  |  |  | 150 | 17 | 2.31 | 1.64 | 5 | 1.4085 | 0.14517 | 0.13136
[10 empty] | #DIV/0! | #N/A | #DIV/0!
KINGCOME INLET | 1992 | M | 2A |  | 50 | 10 | 4.54 | 2.65 | 4 | 1.7132 | 0.50211 | 2.147
KINGCOME INLET | 1992 | M | 4A |  | 50 | 10 | 4.56 | 2.54 | 2 | 1.7953 | 1.7628 | 25.6176
KINGCOME INLET | 1992 | M | 7A |  | 50 | 10 | 2.23 | 1.28 | 2 | 1.7422 | 1.7501 | 12.0479
BARKLEY SOUND | 24/9/92 | B | 12 |  | 100 | 10 | 2.53 | 1.43 | 2 | 1.7692 | 0.73239 | 6.9751
BARKLEY SOUND | 24/9/92 | B | 13 |  | 100 | 10 | 1.72 | 0.97 | 2 | 1.7732 | 0.4724 | 4.7557
BARKLEY SOUND | 24/9/92 | B | 16-1 |  | 100 | 10 | 1.92 | 1.08 | 2 | 1.7778 | 0.4946 | 5.3264
BARKLEY SOUND | 24/9/92 | B | 16-2 |  | 100 | 10 | 1.87 | 1.05 | 2 | 1.781 | 0.45972 | 5.1996
BARKLEY SOUND | 24/9/92 | B | 15-1 |  | 100 | 10 | 3.09 | 1.73 | 2 | 1.7861 | 0.70068 | 8.6238
BARKLEY SOUND | 24/9/92 | B | 15-2 |  | 100 | 10 | 3.21 | 1.77 | 2 | 1.8136 | 0.40899 | 9.131
BARKLEY SOUND | 24/9/92 | B | 14-1 |  | 100 | 10 | 2.34 | 1.33 | 2 | 1.7594 | 0.76409 | 6.4044
BARKLEY SOUND | 24/9/92 | B | 14-2 |  | 100 | 10 | 2.06 | 1.15 | 2 | 1.7913 | 0.42802 | 5.7703
BARKLEY SOUND | 24/9/92 | B | 1 |  | 100 | 10 | 3.16 | 2 | 4 | 1.58 | 0.3408 | 0.65888
BARKLEY SOUND | 24/9/92 | B | 2 |  | 100 | 10 | 3.38 | 2.16 | 4 | 1.5648 | 0.38669 | 0.69296
BARKLEY SOUND | 24/9/92 | B | 3 |  | 100 | 10 | 3.27 | 2.11 | 4 | 1.5498 | 0.39578 | 0.65888
BARKLEY SOUND | 24/9/92 | B | 5 |  | 100 | 10 | 2.76 | 1.62 | 3 | 1.7037 | 0.51836 | 2.0691
BARKLEY SOUND | 24/9/92 | B | 6 |  | 100 | 10 | 3.15 | 1.81 | 3 | 1.7403 | 0.45883 | 2.4321
BARKLEY SOUND | 24/9/92 | B | 7 |  | 100 | 10 | 3.17 | 1.82 | 3 | 1.7418 | 0.45665 | 2.4503
BARKLEY SOUND | 24/9/92 | B | 8 |  | 100 | 10 | 2 | 1.14 | 2 | 1.7544 | 0.69117 | 5.4533
BARKLEY SOUND | 24/9/92 | B | 9 |  | 100 | 10 | 1.51 | 0.88 | 2 | 1.7159 | 0.74824 | 3.9948
BARKLEY SOUND | 24/9/92 | B | 10 |  | 100 | 10 | 3.53 | 2.12 | 3 | 1.6651 | 0.82691 | 2.5591
BARKLEY SOUND | 24/9/92 | B | 11 |  | 100 | 10 | 2.48 | 1.4 | 2 | 1.7714 | 0.69751 | 6.8483
TOFINO | 23/9/92 | SET 1 | 1 |  | 100 | 10 | 4.31 | 2.56 | 2 | 1.6836 | 2.7013 | 11.0968
TOFINO | 23/9/92 | SET 1 | 2 | sw.vol | 100 | 10 | 4.28 | 2.5 | 2 | 1.712 | 2.1876 | 11.287
TOFINO | 23/9/92 | SET 1 | 3 | filter | 100 | 10 | 4.2 | 2.46 | 2 | 1.7073 | 2.2257 | 11.0333
TOFINO | 23/9/92 | SET 1 | 4 | ????? | 100 | 10 | 2.18 | 1.38 | 2 | 1.5797 | 2.3652 | 5.0728
TOFINO | 23/9/92 | SET 1 | 5 |  | 100 | 10 | 2.14 | 1.31 | 2 | 1.6336 | 1.7977 | 5.263
TOFINO | 23/9/92 | SET 1 | 6 |  | 100 | 10 | 2 | 1.23 | 2 | 1.626 | 1.7469 | 4.8826
TOFINO | 23/9/92 | SET 1 | 7 |  | 100 | 10 | 2.55 | 1.57 | 2 | 1.6242 | 2.2479 | 6.2142
WICKINNINISH | 3/7/92 |  |  |  | 50 | 10 | 1.93 | 1.22 | 3 | 1.582 | 1.3199 | 2.5773
WICKINNINISH | 10/7/92 |  |  |  | 50 | 10 | 1.69 | 1.06 | 3 | 1.5943 | 1.0992 | 2.2869
WICKINNINISH | 17/7/92 |  |  |  | 50 | 10 | 3.81 | 2.39 | 3 | 1.5941 | 2.48 | 5.1546
WICKINNINISH | 24/7/92 |  |  |  | 50 | 10 | 1.71 | 1.54 | 3 | 1.1104 | 4.3023 | 0.6171
WICKINNINISH | 31/7/92 |  |  |  | 50 | 10 | 4.04 | 3.63 | 4 | 1.1129 | 3.1631 | 0.46576
WICKINNINISH | 7/8/92 |  |  |  | 50 | 10 | 2.58 | 2.11 | 5 | 1.2227 | 0.46523 | 0.16262
WICKINNINISH | 21/8/92 |  |  |  | 50 | 10 | 4.34 | 3.79 | 4 | 1.1451 | 3.164 | 0.6248
WICKINNINISH | 28/8/92 |  |  |  | 50 | 10 | 1.94 |  | 2 | #DIV/0! | -24.6031 | 24.6031
WICKINNINISH | 28/8/92 |  |  |  | 50 | 10 | 1.91 | 1.67 | 2 | 1.1437 | 14.9584 | 3.0437
WICKINNINISH | 4/9/92 |  |  |  | 50 | 10 | 2.27 | 1.53 | 2 | 1.4837 | 7.1083 | 9.3847
WICKINNINISH | 18/9/91 |  |  |  | 50 | 10 | 2.32 | 1.5 | 2 | 1.5467 | 5.7703 | 10.3992
KINGCOME INLET | 1992 | C | 2A |  | 50 | 10 | 3.81 | 2.21 | 4 | 1.724 | 0.39169 | 1.8176
KINGCOME INLET | 1992 | C | 4A |  | 50 | 10 | 1.99 | 1.16 | 3 | 1.7155 | 0.6926 | 3.0129
KINGCOME INLET | 1992 | C | 4A |  | 50 | 10 | 1.97 | 1.16 | 3 | 1.6983 | 0.7652 | 2.9403
KINGCOME INLET | 1992 | C | 7A |  | 50 | 10 | 3.65 | 2.26 | 4 | 1.615 | 0.68024 | 1.579
KINGCOME INLET | 1992 | C | 10A |  | 50 | 10 | 1.74 | 1.17 | 4 | 1.4872 | 0.52211 | 0.64752
KINGCOME INLET | 1992 | C | 14A |  | 50 | 10 | 2 | 1.35 | 5 | 1.4815 | 0.17681 | 0.2249
KINGCOME INLET | 1992 | C | 18A |  | 50 | 10 | 1.55 | 1.11 | 5 | 1.3964 | 0.17805 | 0.15224
KINGCOME INLET | 1992 | C | 25A |  | 50 | 10 | 3.77 | 3.24 | 5 | 1.1636 | 0.78071 | 0.18338
KINGCOME INLET | 1992 | M | 10A |  | 50 | 10 | 1.7 | 1.02 | 3 | 1.6667 | 0.78989 | 2.4684
SI REFERENCE | FEB/97 | SI | 1 | SURF | 100 | 10 | 4.72 | 3.04 | 4 | 1.5526 | 0.56527 | 0.95424
SI REFERENCE | FEB/97 | SI | 2 | SURF | 100 | 10 | 4.49 | 2.91 | 4 | 1.543 | 0.55709 | 0.89744
9202 | 1992 | LP4 | 30/1 |  | 100 | 10 | 3.04 | 1.85 | 4 | 1.6432 | 0.24878 | 0.67592
9202 | 1992 | 62 | 9A |  | 100 | 10 | 3.6 | 2.05 | 3 | 1.7561 | 0.46101 | 2.8133
9202 | 1992 | 69 | 3 | 50m | 100 | 10 | 3.91 | 3.5 | 5 | 1.1171 | 0.4498 | 0.07093
TOXIC ALGAE | 9/22/92 | PB |  | 0M | 50 | 10 | 3.51 | 1.96 | 5 | 1.7908 | 0.046918 | 0.5363
TOXIC ALGAE | 9/22/92 | PB |  | 2M | 50 | 10 | 3.18 | 1.81 | 5 | 1.7569 | 0.064564 | 0.47402
TOXIC ALGAE | 9/22/92 | PB |  | 4M | 50 | 10 | 2.62 | 1.57 | 5 | 1.6688 | 0.10387 | 0.3633
TOXIC ALGAE | 9/22/92 | PB |  | 12M | 50 | 10 | 2.29 | 1.47 | 5 | 1.5578 | 0.15369 | 0.28372
TOXIC ALGAE | 9/22/92 | PB |  | 20M | 50 | 10 | 1.98 | 1.36 | 5 | 1.4559 | 0.19016 | 0.21452
TOXIC ALGAE | 9/22/92 | DOCK |  | 0M | 50 | 10 | 3.33 | 1.94 | 5 | 1.7165 | 0.096326 | 0.48094
TOXIC ALGAE | 9/22/92 | SC |  | 0M | 50 | 10 | 4.37 | 2.95 | 5 | 1.4814 | 0.38648 | 0.49132
TOXIC ALGAE | 9/22/92 | SC |  | 2M | 50 | 10 | 1.76 | 1.16 | 4 | 1.5172 | 0.47803 | 0.6816
TOXIC ALGAE | 9/22/92 | SC |  | 4M | 50 | 10 | 2 | 1.31 | 4 | 1.5267 | 0.52574 | 0.78384
TOXIC ALGAE | 9/22/92 | SC |  | 12M | 50 | 10 | 1.78 | 1.16 | 4 | 1.5345 | 0.45531 | 0.70432
TOXIC ALGAE | 9/22/92 | SC |  | 20M | 50 | 10 | 2.26 | 1.45 | 4 | 1.5586 | 0.52938 | 0.92016
9205 | 1992 | 35 | 1 |  | 100 | 10 | 3.57 | 2.67 | 5 | 1.3371 | 0.24154 | 0.1557
9205 | 1992 | 35 | 3 |  | 100 | 10 | 2.57 | 1.76 | 5 | 1.4602 | 0.12172 | 0.14013
9205 | 1992 | 35 | 4 |  | 100 | 10 | 4.01 | 2.73 | 5 | 1.4689 | 0.18473 | 0.22144
9205 | 1992 | 35 | 5 |  | 100 | 10 | 4.44 | 3 | 5 | 1.48 | 0.19722 | 0.24912
9205 | 1992 | 35 | 6 |  | 100 | 10 | 1.63 | 1.09 | 4 | 1.4954 | 0.23811 | 0.30672
9205 | 1992 | 25 | 5 |  | 100 | 10 | 2.02 | 1.14 | 5 | 1.7719 | 0.017369 | 0.15224
9205 | 1992 | 25 | 6 |  | 100 | 10 | 3.65 | 2.58 | 5 | 1.4147 | 0.19874 | 0.18511
9205 | 1992 | 25 | 7 |  | 100 | 10 | 2.57 | 1.72 | 4 | 1.4942 | 0.37692 | 0.4828
9205 | 1992 | 26 | 5 |  | 100 | 10 | 1.62 | 1.22 | 5 | 1.3279 | 0.11231 | 0.0692
9205 | 1992 | 26 | 6 |  | 100 | 10 | 1.72 | 1.15 | 4 | 1.4957 | 0.25106 | 0.32376
9205 | 1992 | 26 | 7 |  | 100 | 10 | 2.83 | 1.87 | 4 | 1.5134 | 0.38942 | 0.54528
9205 | 1992 | 27 | 5 |  | 100 | 10 | 3.09 | 2.18 | 5 | 1.4174 | 0.16691 | 0.15743
9205 | 1992 | 27 | 6 |  | 100 | 10 | 1.86 | 1.26 | 4 | 1.4762 | 0.289 | 0.3408
9205 | 1992 | 27 | 7 |  | 100 | 10 | 2.94 | 1.96 | 4 | 1.5 | 0.42305 | 0.55664
9205 | 1992 | 24 | 2 |  | 100 | 10 | 3.26 | 2.24 | 5 | 1.4554 | 0.15681 | 0.17646
9205 | 1992 | 24 | 5 |  | 100 | 10 | 1.65 | 1.25 | 5 | 1.32 | 0.11678 | 0.0692
9205 | 1992 | 24 | 6 |  | 100 | 10 | 1.65 | 1.12 | 4 | 1.4732 | 0.25878 | 0.30104
9205 | 1992 | 24 | 7 |  | 100 | 10 | 3.22 | 2.09 | 4 | 1.5407 | 0.40283 | 0.64184
9205 | 1992 | 23 | 3 |  | 100 | 10 | 3.54 | 2.73 | 6 | 1.2967 | 0.078566 | 0.041383
9205 | 1992 | 23 | 4 |  | 100 | 10 | 1.59 | 1.08 | 4 | 1.4722 | 0.25015 | 0.28968
9205 | 1992 | 23 | 5 |  | 100 | 10 | 2.92 | 1.86 | 4 | 1.5699 | 0.32762 | 0.60208
9205 | 1992 | 31 | 3 |  | 100 | 10 | 1.82 | 1.3 | 4 | 1.4 | 0.35443 | 0.29536
9205 | 1992 | 31 | 4 |  | 100 | 10 | 4.54 | 3.03 | 5 | 1.4983 | 0.18957 | 0.26123
9205 | 1992 | 31 | 5 |  | 100 | 10 | 2.04 | 1.37 | 4 | 1.4891 | 0.30422 | 0.38056
9205 | 1992 | 31 | 6 |  | 100 | 10 | 2.14 | 1.44 | 4 | 1.4861 | 0.32217 | 0.3976
SI REFERENCE | FEB/97 | SI |  |  | 100 | 10 | 4.63 | 2.98 | 4 | 1.5537 | 0.55232 | 0.9372
BL. GF-75 |  |  |  |  | 0 | 10 | 0.3 | 0.22 | 7 | 1.3636 | #DIV/0! | #DIV/0!
BL. GF-75 |  |  |  |  | 0 | 10 | 0.23 | 0.16 | 7 | 1.4375 | #DIV/0! | #DIV/0!
TOXIC ALGAE | 6/10/92 | SC |  | 2M | 50 | 10 | 2.37 | 1.55 | 4 | 1.529 | 0.61798 | 0.93152
TOXIC ALGAE | 6/10/92 | SC |  | 4M | 50 | 10 | 2.07 | 1.38 | 4 | 1.5 | 0.59572 | 0.78384
TOXIC ALGAE | 6/10/92 | SC |  | 12M | 50 | 10 | 2.18 | 1.41 | 4 | 1.5461 | 0.53483 | 0.87472
TOXIC ALGAE | 6/10/92 | SC |  | 20M | 50 | 10 | 2.81 | 1.68 | 4 | 1.6726 | 0.39578 | 1.2837
TOXIC ALGAE | 6/10/92 | SC |  | 0M | 50 | 10 | 2.1 | 1.34 | 4 | 1.5672 | 0.47621 | 0.86336
TOXIC ALGAE | 6/10/92 | AP |  | 0M | 50 | 10 | 3.93 | 2.44 | 4 | 1.6107 | 0.74658 | 1.6926
TOXIC ALGAE | 6/10/92 | AP |  | 20M | 50 | 10 | 1.95 | 1.16 | 3 | 1.681 | 0.8378 | 2.8677
TOXIC ALGAE | 6/10/92 | GS |  | 0M | 50 | 10 | 1.61 | 1 | 4 | 1.61 | 0.30672 | 0.69296
TOXIC ALGAE | 6/10/92 | GS |  | 20M | 50 | 10 | 3.84 | 2.53 | 5 | 1.5178 | 0.29957 | 0.45326
TOXIC ALGAE | 6/10/92 | DOCK |  | 0M | 50 | 10 | 3.5 | 2.13 | 4 | 1.6432 | 0.573 | 1.5563
TOXIC ALGAE | 6/10/92 | PB |  | 20M | 50 | 10 | 3.99 | 2.5 | 5 | 1.596 | 0.22836 | 0.51554
TOXIC ALGAE | 6/10/92 | PB |  | 12M | 50 | 10 | 3.75 | 2.19 | 3 | 1.7123 | 1.3329 | 5.6628
TOXIC ALGAE | 6/10/92 | PB |  | 4M | 50 | 10 | 4.14 | 2.4 | 3 | 1.725 | 1.3504 | 6.3162
TOXIC ALGAE | 6/10/92 | PB |  | 2M | 50 | 10 | 1.82 | 1.03 | 2 | 1.767 | 1.0843 | 10.0188
TOXIC ALGAE | 6/10/92 | PB |  | 0M | 50 | 10 | 1.86 | 1.07 | 2 | 1.7383 | 1.5155 | 10.0188
TOXIC ALGAE | 24/11/92 | SC |  | 0M | 50 | 10 | 1.6 | 1.01 | 5 | 1.5842 | 0.096396 | 0.20414
TOXIC ALGAE | 24/11/92 | SC |  | 4M | 50 | 10 | 1.77 | 1.1 | 5 | 1.6091 | 0.095496 | 0.23182
TOXIC ALGAE | 24/11/92 | SC |  | 12M | 50 | 10 | 3.19 | 2.12 | 6 | 1.5047 | 0.076962 | 0.10933
TOXIC ALGAE | 24/11/92 | SC |  | 20M | 50 | 10 | 3.76 | 2.48 | 6 | 1.5161 | 0.087139 | 0.13079
TOXIC ALGAE | 24/11/92 | PB |  | 0M | 50 | 10 | 1.7 | 1.1 | 5 | 1.5455 | 0.11972 | 0.2076
TOXIC ALGAE | 24/11/92 | PB |  | 4M | 50 | 10 | 2.16 | 1.35 | 5 | 1.6 | 0.12145 | 0.28026
TOXIC ALGAE | 24/11/92 | PB |  | 12M | 50 | 10 | 1.65 | 1.03 | 5 | 1.6019 | 0.091967 | 0.21452
TOXIC ALGAE | 24/11/92 | PB |  | 20M | 50 | 10 | 2.69 | 1.79 | 6 | 1.5028 | 0.065334 | 0.091962
TOXIC ALGAE | 24/11/92 | DOCK |  | 0M | 50 | 10 | 2.02 | 1.27 | 5 | 1.5906 | 0.1184 | 0.2595
TOXIC ALGAE | 24/11/92 | AP |  | 0M | 50 | 10 | 2 | 1.3 | 5 | 1.5385 | 0.14463 | 0.2422
TOXIC ALGAE | 24/11/92 | AP |  | 20M | 50 | 10 | 3.79 | 2.51 | 6 | 1.51 | 0.089775 | 0.13079
TOXIC ALGAE | 24/11/92 | GS |  | 20M | 50 | 10 | 1.23 | 0.88 | 6 | 1.3977 | 0.041567 | 0.035763
TOXIC ALGAE | 24/11/92 | GS |  | 20M | 50 | 10 | 4.01 | 2.83 | 7 | 1.417 | 0.037405 | 0.03776
TOXIC ALGAE | 24/11/92 | GS |  | 0M | 50 | 10 | 2.12 | 1.36 | 5 | 1.5588 | 0.14172 | 0.26296
[10 empty] | #DIV/0! | #N/A | #DIV/0!
SEDIMENT TRAP SAMPLES; SEE BOTTOM OF SPREADSHEET | [9 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
SI REFERENCE | FEB/97 | SI |  |  | 100 | 10 | 4.33 | 2.85 | 4 | 1.5193 | 0.5839 | 0.84064
9206 | 08/12/92 | 2 |  | 10M | 150 | 10 | 2.42 | 1.58 | 4 | 1.5316 | 0.20842 | 0.31808
9206 | 08/12/92 | 2 |  | 25M | 150 | 10 | 2.43 | 1.6 | 4 | 1.5188 | 0.21887 | 0.31429
9206 | 08/12/92 | 2 |  | 50M | 150 | 10 | 2.48 | 1.62 | 4 | 1.5309 | 0.21417 | 0.32565
9206 | 08/12/92 | 4 |  | 10M | 150 | 10 | 2.45 | 1.63 | 4 | 1.5031 | 0.23265 | 0.31051
9206 | 08/12/92 | 4 |  | 25M | 150 | 10 | 2.9 | 1.87 | 4 | 1.5508 | 0.23311 | 0.39003
9206 | 08/12/92 | 4 |  | 50M | 150 | 10 | 2.69 | 1.73 | 4 | 1.5549 | 0.21296 | 0.36352
9206 | 08/12/92 | 6 |  | 10M | 150 | 10 | 3.18 | 2.04 | 4 | 1.5588 | 0.2481 | 0.43168
9206 | 08/12/92 | 6 |  | 25M | 150 | 10 | 2.68 | 1.76 | 4 | 1.5227 | 0.23811 | 0.34837
9206 | 08/12/92 | 6 |  | 50M | 150 | 10 | 2.47 | 1.64 | 4 | 1.5061 | 0.2322 | 0.31429
9206 | 09/12/92 | 10 |  | 10M | 150 | 10 | 2.61 | 1.52 | 3 | 1.7171 | 0.2996 | 1.3189
9206 | 09/12/92 | 10 |  | 25M | 150 | 10 | 1.63 | 0.99 | 3 | 1.6465 | 0.27975 | 0.7744
9206 | 09/12/92 | 10 |  | 35M | 150 | 10 | 1.72 | 1.06 | 3 | 1.6226 | 0.33009 | 0.7986
9206 | 09/12/92 | 11 |  | 10M | 150 | 10 | 1.88 | 1.11 | 3 | 1.6937 | 0.25023 | 0.9317
9206 | 09/12/92 | 11 |  | 25M | 150 | 10 | 4.03 | 2.5 | 4 | 1.612 | 0.25371 | 0.57936
9206 | 09/12/92 | 11 |  | 50M | 150 | 10 | 3.24 | 2.12 | 4 | 1.5283 | 0.28233 | 0.42411
9206 | 09/12/92 | 13 |  | 10M | 150 | 10 | 2.71 | 1.55 | 3 | 1.7484 | 0.24684 | 1.4036
9206 | 09/12/92 | 13 |  | 25M | 150 | 10 | 2.49 | 1.43 | 3 | 1.7413 | 0.24006 | 1.2826
9206 | 09/12/92 | 13 |  | 50M | 150 | 10 | 3.82 | 2.38 | 4 | 1.605 | 0.2478 | 0.54528
9206 | 08/12/92 | 8 |  | 10M | 150 | 10 | 1.76 | 1.01 | 3 | 1.7426 | 0.16795 | 0.9075
9206 | 08/12/92 | 8 |  | 25M | 150 | 10 | 1.61 | 0.96 | 3 | 1.6771 | 0.23571 | 0.7865
9206 | 08/12/92 | 8 |  | 50M | 150 | 10 | 1.57 | 0.95 | 3 | 1.6526 | 0.26136 | 0.7502
9206 | 9/12/92 | 17 |  | 10M | 150 | 10 | 3.25 | 2.07 | 4 | 1.57 | 0.24295 | 0.44683
9206 | 9/12/92 | 17 |  | 25M | 150 | 10 | 3.61 | 2.3 | 4 | 1.5696 | 0.27037 | 0.49605
9206 | 9/12/92 | 17 |  | 50M | 150 | 10 | 3.75 | 2.35 | 4 | 1.5957 | 0.25295 | 0.53013
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9206 | 9/12/92 | 19 |  | 10M | 150 | 10 | 3.1 | 1.96 | 4 | 1.5816 | 0.22144 | 0.43168
9206 | 9/12/92 | 19 |  | 25M | 150 | 10 | 3.14 | 2 | 4 | 1.57 | 0.23477 | 0.43168
9206 | 9/12/92 | 19 |  | 50M | 150 | 10 | 2.63 | 1.69 | 4 | 1.5562 | 0.20721 | 0.35595
9206 | 9/12/92 | 21 |  | 10M | 150 | 10 | 3.47 | 2.17 | 4 | 1.5991 | 0.23084 | 0.49227
9206 | 9/12/92 | 21 |  | 25M | 150 | 10 | 2.7 | 1.8 | 4 | 1.5 | 0.25901 | 0.3408
9206 | 9/12/92 | 21 |  | 50M | 150 | 10 | 3.33 | 2.06 | 4 | 1.6165 | 0.20554 | 0.48091
9206 | 9/12/92 | 23 |  | 10M | 150 | 10 | 2.74 | 1.76 | 4 | 1.5568 | 0.21539 | 0.37109
9206 | 9/12/92 | 23 |  | 25M | 150 | 10 | 2.81 | 1.81 | 4 | 1.5525 | 0.22447 | 0.37867
9206 | 9/12/92 | 23 |  | 50M | 150 | 10 | 2.81 | 1.8 | 4 | 1.5611 | 0.21735 | 0.38245
9206 | 10/12/92 | 30 |  | 10M | 150 | 10 | 1.65 | 0.99 | 3 | 1.6667 | 0.25555 | 0.7986
9206 | 10/12/92 | 30 |  | 25M | 150 | 10 | 4.21 | 2.71 | 4 | 1.5535 | 0.33504 | 0.568
9206 | 10/12/92 | 30 |  | 40M | 150 | 10 | 4.11 | 2.83 | 4 | 1.4523 | 0.45834 | 0.48469
9206 | 10/12/92 | 32 |  | 10M | 150 | 10 | 4.46 | 2.7 | 4 | 1.6519 | 0.23326 | 0.66645
9206 | 10/12/92 | 32 |  | 25M | 150 | 10 | 3.91 | 2.33 | 4 | 1.6781 | 0.17812 | 0.59829
9206 | 10/12/92 | 32 |  | 50M | 150 | 10 | 2.87 | 1.77 | 4 | 1.6215 | 0.17328 | 0.41653
9206 | 10/12/92 | 34 |  | 10M | 150 | 10 | 3.47 | 2.16 | 4 | 1.6065 | 0.22372 | 0.49605
9206 | 10/12/92 | 34 |  | 25M | 150 | 10 | 2.93 | 1.87 | 4 | 1.5668 | 0.22175 | 0.40139
9206 | 10/12/92 | 34 |  | 50M | 150 | 10 | 2.73 | 1.71 | 4 | 1.5965 | 0.18358 | 0.38624
9206 | 10/12/92 | 36 |  | 10M | 150 | 10 | 3 | 1.83 | 4 | 1.6393 | 0.16676 | 0.44304
9206 | 10/12/92 | 36 |  | 25M | 150 | 10 | 3.03 | 1.86 | 4 | 1.629 | 0.17676 | 0.44304
9206 | 10/12/92 | 36 |  | 50M | 150 | 10 | 2.96 | 1.8 | 4 | 1.6444 | 0.16055 | 0.43925
9206 | 10/12/92 | 38 |  | 10M | 150 | 10 | 2.83 | 1.79 | 4 | 1.581 | 0.20266 | 0.39381
9206 | 10/12/92 | 38 |  | 25M | 150 | 10 | 3.43 | 2.15 | 4 | 1.5953 | 0.23174 | 0.48469
9206 | 10/12/92 | 38 |  | 50M | 150 | 10 | 2.43 | 1.6 | 4 | 1.5188 | 0.21887 | 0.31429
9206 | 10/12/92 | 41 |  | 10M | 150 | 10 | 2.5 | 1.57 | 4 | 1.5924 | 0.17101 | 0.35216
9206 | 10/12/92 | 41 |  | 25M | 150 | 10 | 2.21 | 1.39 | 4 | 1.5899 | 0.15268 | 0.31051
9206 | 10/12/92 | 41 |  | 50M | 150 | 10 | 2.09 | 1.35 | 4 | 1.5481 | 0.16964 | 0.28021
9206 | 11/10/92 | 44 |  | 10M | 150 | 10 | 2.56 | 1.61 | 4 | 1.5901 | 0.17676 | 0.35973
9206 | 11/10/92 | 44 |  | 25M | 150 | 10 | 2.58 | 1.66 | 4 | 1.5542 | 0.20478 | 0.34837
9206 | 11/10/92 | 44 |  | 50M | 150 | 10 | 3.8 | 2.86 | 6 | 1.3287 | 0.051758 | 0.032016
9206 | 11/10/92 | 46 |  | 10M | 150 | 10 | 3.6 | 2.22 | 4 | 1.6216 | 0.2172 | 0.52256
9206 | 11/10/92 | 46 |  | 25M | 150 | 10 | 3.36 | 2.09 | 4 | 1.6077 | 0.21554 | 0.48091
9206 | 11/10/92 | 46 |  | 50M | 150 | 10 | 3.04 | 2.17 | 5 | 1.4009 | 0.1149 | 0.10034
9206 | 11/10/92 | 48 |  | 10M | 150 | 10 | 3.34 | 2.09 | 4 | 1.5981 | 0.22311 | 0.47333
9206 | 11/10/92 | 48 |  | 25M | 150 | 10 | 3.11 | 1.94 | 4 | 1.6031 | 0.20342 | 0.44304
9206 | 11/10/92 | 48 |  | 50M | 150 | 10 | 2.09 | 1.37 | 4 | 1.5255 | 0.18388 | 0.27264
9206 | 11/10/92 | 50 |  | 10M | 150 | 10 | 2.07 | 1.25 | 3 | 1.656 | 0.3388 | 0.9922
9206 | 11/10/92 | 50 |  | 25M | 150 | 10 | 4.61 | 3.04 | 4 | 1.5164 | 0.4185 | 0.59451
9206 | 11/10/92 | 50 |  | 50M | 150 | 10 | 4.08 | 2.75 | 4 | 1.4836 | 0.41275 | 0.50363
9206 | 11/10/92 | 52 |  | 10M | 150 | 10 | 3.57 | 2.04 | 3 | 1.75 | 0.32089 | 1.8513
9206 | 11/10/92 | 52 |  | 25M | 150 | 10 | 2.22 | 1.31 | 3 | 1.6947 | 0.29379 | 1.1011
9206 | 11/10/92 | 52 |  | 50M | 150 | 10 | 1.86 | 1.07 | 3 | 1.7383 | 0.18344 | 0.9559
9206 | 11/10/92 | 53 |  | 10M | 150 | 10 | 2.55 | 1.57 | 3 | 1.6242 | 0.48594 | 1.1858
9206 | 11/10/92 | 53 |  | 25M | 150 | 10 | 1.98 | 1.16 | 3 | 1.7069 | 0.24297 | 0.9922
9206 | 11/10/92 | 53 |  | 50M | 150 | 10 | 3.92 | 2.38 | 4 | 1.6471 | 0.20993 | 0.58315
9206 | 11/10/92 | 54 |  | 10M | 150 | 10 | 2.29 | 1.48 | 4 | 1.5473 | 0.18646 | 0.30672
9206 | 11/10/92 | 54 |  | 50M | 150 | 10 | 1.49 | 1.05 | 4 | 1.419 | 0.18327 | 0.16661
9206 | 11/10/92 | 54 |  | 75M | 150 | 10 | 1.59 | 1.12 | 4 | 1.4196 | 0.19524 | 0.17797
BL |  |  |  |  | 0 | 10 | 0.32 | 0.25 | 7 | 1.28 | #DIV/0! | #DIV/0!
BL |  |  |  |  | 0 | 10 | 0.19 | 0.17 | 7 | 1.1176 | #DIV/0! | #DIV/0!
BL |  |  |  |  | 0 | 10 | 1.47 | 0.96 | 3 | 1.5312 | #DIV/0! | #DIV/0!
SI REFERENCE | FEB/97 | SI |  | SURF | 100 | 10 | 1.47 | 0.96 | 3 | 1.5312 | 0.60766 | 0.92565
9204 | 29/10/92 | 65 |  | 0M | 50 | 10 | 1.74 | 1.11 | 4 | 1.5676 | 0.39396 | 0.71568
9204 | 29/10/92 | 65 |  | 10M | 50 | 10 | 1.65 | 1.06 | 4 | 1.5566 | 0.38942 | 0.67024
9204 | 29/10/92 | 65 |  | 20M | 50 | 10 | 1.65 | 1.08 | 4 | 1.5278 | 0.43213 | 0.64752
9204 | 29/10/92 | 65 |  | 30M | 50 | 10 | 3.5 | 2.69 | 6 | 1.3011 | 0.15362 | 0.082766
9204 | 29/10/92 | 65 |  | 50M | 50 | 10 | 4.24 | 3.28 | 6 | 1.2927 | 0.19014 | 0.098093
9204 | 29/10/92 | C9 |  | 0M | 50 | 10 | 4.22 | 2.71 | 5 | 1.5572 | 0.28393 | 0.52246
9204 | 29/10/92 | C9 |  | 10M | 50 | 10 | 1.31 | 0.86 | 4 | 1.5233 | 0.34852 | 0.5112
9204 | 29/10/92 | C9 |  | 20M | 50 | 10 | 4.09 | 2.66 | 5 | 1.5376 | 0.29673 | 0.49478
9204 | 29/10/92 | C9 |  | 30M | 50 | 10 | 3.9 | 2.61 | 5 | 1.4943 | 0.33029 | 0.44634
9204 | 29/10/92 | C9 |  | 50M | 50 | 10 | 1.71 | 1.19 | 6 | 1.437 | 0.051437 | 0.053134
9204 | 29/10/92 | LC06 |  | 0M | 50 | 10 | 1.68 | 1.1 | 4 | 1.5273 | 0.44077 | 0.65888
9204 | 29/10/92 | LC06 |  | 10M | 50 | 10 | 1.55 | 1.02 | 4 | 1.5196 | 0.41759 | 0.60208
9204 | 29/10/92 | LC06 |  | 20M | 50 | 10 | 2.7 | 1.96 | 5 | 1.3776 | 0.32718 | 0.25604
9204 | 29/10/92 | LC06 |  | 30M | 50 | 10 | 1.46 | 1.09 | 5 | 1.3394 | 0.19632 | 0.12802
9204 | 29/10/92 | LC06 |  | 50M | 50 | 10 | 3.52 | 2.75 | 6 | 1.28 | 0.16298 | 0.078679
9204 | 29/10/92 | 97 |  | 0M | 50 | 10 | 3.91 | 2.48 | 5 | 1.5766 | 0.24317 | 0.49478
9204 | 29/10/92 | 97 |  | 10M | 50 | 10 | 3.62 | 2.41 | 5 | 1.5021 | 0.29846 | 0.41866
9204 | 29/10/92 | 97 |  | 20M | 50 | 10 | 4.77 | 3.15 | 5 | 1.5143 | 0.37679 | 0.56052
9204 | 29/10/92 | 97 |  | 30M | 50 | 10 | 2.82 | 2.16 | 5 | 1.3056 | 0.41437 | 0.22836
9204 | 29/10/92 | 101 |  | 0M | 50 | 10 | 2.94 | 1.93 | 5 | 1.5233 | 0.22483 | 0.34946
9204 | 29/10/92 | 101 |  | 10M | 50 | 10 | 2.88 | 1.95 | 5 | 1.4769 | 0.25846 | 0.32178
9204 | 29/10/92 | 101 |  | 20M | 50 | 10 | 2.75 | 1.9 | 5 | 1.4474 | 0.27126 | 0.2941
9204 | 29/10/92 | 101 |  | 30M | 50 | 10 | 2.65 | 1.79 | 5 | 1.4804 | 0.23507 | 0.29756
9204 | 29/10/92 | 101 |  | 50M | 50 | 10 | 3.2 | 2.96 | 6 | 1.0811 | 0.23559 | 0.024523
9204 | 30/10/92 | 99 |  | 0M | 50 | 10 | 3.93 | 2.66 | 5 | 1.4774 | 0.35209 | 0.43942
9204 | 30/10/92 | 99 |  | 10M | 50 | 10 | 3.15 | 2.19 | 5 | 1.4384 | 0.3195 | 0.33216
9204 | 30/10/92 | 99 |  | 20M | 50 | 10 | 3.44 | 2.5 | 5 | 1.376 | 0.41866 | 0.32524
9204 | 30/10/92 | 99 |  | 30M | 50 | 10 | 2.97 | 2.07 | 5 | 1.4348 | 0.30455 | 0.3114
9204 | 30/10/92 | 99 |  | 50M | 50 | 10 | 3.12 | 2.37 | 6 | 1.3165 | 0.13163 | 0.076635
9204 | 30/10/92 | 93 |  | 0M | 50 | 10 | 3.02 | 1.98 | 5 | 1.5253 | 0.22933 | 0.35984
9204 | 30/10/92 | 93 |  | 10M | 50 | 10 | 2.68 | 1.81 | 5 | 1.4807 | 0.23756 | 0.30102
9204 | 30/10/92 | 93 |  | 20M | 50 | 10 | 2.72 | 1.84 | 5 | 1.4783 | 0.24303 | 0.30448
9204 | 30/10/92 | 93 |  | 30M | 50 | 10 | 1.82 | 1.26 | 5 | 1.4444 | 0.18117 | 0.19376
9204 | 30/10/92 | 93 |  | 50M | 50 | 10 | 2.76 | 1.95 | 6 | 1.4154 | 0.08859 | 0.082766
9204 | 30/10/92 | C5 |  | 0M | 50 | 10 | 4.97 | 3.36 | 5 | 1.4792 | 0.44274 | 0.55706
9204 | 30/10/92 | C5 |  | 10M | 50 | 10 | 4.6 | 3.3 | 5 | 1.3939 | 0.53215 | 0.4498
9204 | 30/10/92 | C5 |  | 20M | 50 | 10 | 5.04 | 3.33 | 5 | 1.5135 | 0.39921 | 0.59166
9204 | 30/10/92 | C5 |  | 30M | 50 | 10 | 4.44 | 2.83 | 5 | 1.5689 | 0.28503 | 0.55706
9204 | 30/10/92 | C5 |  | 50M | 50 | 10 | 3.33 | 2.48 | 6 | 1.3427 | 0.13108 | 0.086853
9204 | 30/10/92 | 76 |  | 0M | 50 | 10 | 2.75 | 1.88 | 5 | 1.4628 | 0.25839 | 0.30102
9204 | 30/10/92 | 76 |  | 10M | 50 | 10 | 2.44 | 1.69 | 5 | 1.4438 | 0.24338 | 0.2595
9204 | 30/10/92 | 76 |  | 20M | 50 | 10 | 2.84 | 1.88 | 5 | 1.5106 | 0.22725 | 0.33216
9204 | 30/10/92 | 76 |  | 30M | 50 | 10 | 2.65 | 1.79 | 5 | 1.4804 | 0.23507 | 0.29756
9204 | 30/10/92 | 76 |  | 50M | 50 | 10 | 1.89 | 1.3 | 6 | 1.4538 | 0.053951 | 0.060286
9204 | 30/10/92 | LC07 |  | 0M | 50 | 10 | 2.97 | 1.99 | 5 | 1.4925 | 0.25306 | 0.33908
9204 | 30/10/92 | LC07 |  | 10M | 50 | 10 | 3.29 | 2.17 | 5 | 1.5161 | 0.25819 | 0.38752
9204 | 30/10/92 | LC07 |  | 20M | 50 | 10 | 1.96 | 1.34 | 5 | 1.4627 | 0.18421 | 0.21452
9204 | 30/10/92 | LC07 |  | 30M | 50 | 10 | 1.94 | 1.27 | 6 | 1.5276 | 0.04314 | 0.068461
9204 | 30/10/92 | LC07 |  | 50M | 50 | 10 | 2.21 | 1.51 | 6 | 1.4636 | 0.061165 | 0.071526
9204 | 30/10/92 | C4 |  | 0M | 50 | 10 | 3.3 | 2.11 | 5 | 1.564 | 0.21611 | 0.41174
9204 | 30/10/92 | C4 |  | 10M | 50 | 10 | 3.2 | 2.1 | 5 | 1.5238 | 0.24428 | 0.3806
9204 | 30/10/92 | C4 |  | 20M | 50 | 10 | 2.25 | 1.6 | 6 | 1.4062 | 0.074183 | 0.066417 | 5 | 0.33209 | 0.37091
9204 | 30/10/92 | C4 |  | 30M | 50 | 10 | 3.76 | 2.63 | 6 | 1.4297 | 0.11565 | 0.11546
9204 | 30/10/92 | C4 |  | 50M | 50 | 10 | 1.65 | 1.51 | 6 | 1.0927 | 0.11839 | 0.014305
9204 | 28/10/92 | 33 |  | 0M | 50 | 10 | 3.67 | 2.57 | 5 | 1.428 | 0.38413 | 0.3806
9204 | 28/10/92 | 33 |  | 10M | 50 | 10 | 4.83 | 3.28 | 5 | 1.4726 | 0.4397 | 0.5363
9204 | 28/10/92 | 33 |  | 20M | 50 | 10 | 2.21 | 2.04 | 5 | 1.0833 | 0.5482 | 0.05882
9204 | 28/10/92 | 33 |  | 30M | 50 | 10 | 2.86 | 2.09 | 5 | 1.3684 | 0.35548 | 0.26642
9204 | 28/10/92 | 33 |  | 50M | 50 | 10 | 1.51 | 1.13 | 6 | 1.3363 | 0.06047 | 0.038828
9204 | 28/10/92 | 67 |  | 0M | 50 | 10 | 1.67 | 1.05 | 4 | 1.5905 | 0.34534 | 0.70432
9204 | 28/10/92 | 67 |  | 10M | 50 | 10 | 3.68 | 2.32 | 5 | 1.5862 | 0.21978 | 0.47056
9204 | 28/10/92 | 67 |  | 20M | 50 | 10 | 3.09 | 2 | 5 | 1.545 | 0.21798 | 0.37714
9204 | 28/10/92 | 67 |  | 30M | 50 | 10 | 3.09 | 2.25 | 5 | 1.3733 | 0.37887 | 0.29064
9204 | 28/10/92 | C3 |  | 0M | 50 | 10 | 3.56 | 2.13 | 5 | 1.6714 | 0.13902 | 0.49478
9204 | 28/10/92 | C3 |  | 10M | 50 | 10 | 3.61 | 2.08 | 5 | 1.7356 | 0.089545 | 0.52938
9204 | 28/10/92 | C3 |  | 20M | 50 | 10 | 1.89 | 1.16 | 5 | 1.6293 | 0.09259 | 0.25258
9204 | 28/10/92 | C3 |  | 30M | 50 | 10 | 4.35 | 2.67 | 6 | 1.6292 | 0.062963 | 0.17166
9204 | 28/10/92 | C3 |  | 50M | 50 | 10 | 1.42 | 0.92 | 5 | 1.5435 | 0.10076 | 0.173
9204 | 28/10/92 | 64 |  | 0M | 50 | 10 | 2.71 | 1.76 | 5 | 1.5398 | 0.19501 | 0.3287
9204 | 28/10/92 | 64 |  | 10M | 50 | 10 | 2.83 | 1.83 | 5 | 1.5464 | 0.19853 | 0.346
9204 | 28/10/92 | 64 |  | 20M | 50 | 10 | 2.16 | 1.6 | 5 | 1.35 | 0.28234 | 0.19376
9204 | 28/10/92 | 64 |  | 30M | 50 | 10 | 2.48 | 1.75 | 6 | 1.4171 | 0.079189 | 0.074591
9204 | 28/10/92 | 64 |  | 50M | 50 | 10 | 1.29 | 1.02 | 6 | 1.2647 | 0.062044 | 0.027589
9204 | 28/10/92 | C1 |  | 0M | 50 | 10 | 2.95 | 1.75 | 5 | 1.6857 | 0.10553 | 0.4152
9204 | 28/10/92 | C1 |  | 10M | 50 | 10 | 2.77 | 1.66 | 5 | 1.6687 | 0.10989 | 0.38406
9204 | 28/10/92 | C1 |  | 20M | 50 | 10 | 2.52 | 1.5 | 5 | 1.68 | 0.09342 | 0.35292
9204 | 28/10/92 | C1 |  | 30M | 50 | 10 | 4.3 | 2.8 | 6 | 1.5357 | 0.092779 | 0.15327
9204 | 28/10/92 | C1 |  | 50M | 50 | 10 | 4.34 | 3.05 | 6 | 1.423 | 0.13621 | 0.13181
9204 | 28/10/92 | C2 |  | 0M | 50 | 10 | 3.38 | 2.03 | 5 | 1.665 | 0.13695 | 0.4671
9204 | 28/10/92 | C2 |  | 10M | 50 | 10 | 3.48 | 2.05 | 5 | 1.6976 | 0.11522 | 0.49478
9204 | 28/10/92 | C2 |  | 20M | 50 | 10 | 3.29 | 1.97 | 5 | 1.6701 | 0.12947 | 0.45672
9204 | 28/10/92 | C2 |  | 30M | 50 | 10 | 2.67 | 2.16 | 6 | 1.2361 | 0.1377 | 0.052112
9204 | 28/10/92 | C2 |  | 50M | 50 | 10 | 2.27 | 1.77 | 6 | 1.2825 | 0.10445 | 0.05109
9204 | 28/10/92 | 66 |  | 0M | 50 | 10 | 2.42 | 1.56 | 5 | 1.5513 | 0.16663 | 0.29756
9204 | 28/10/92 | 66 |  | 10M | 50 | 10 | 2.36 | 1.52 | 5 | 1.5526 | 0.16165 | 0.29064
9204 | 28/10/92 | 66 |  | 20M | 50 | 10 | 2.8 | 1.81 | 5 | 1.547 | 0.19604 | 0.34254
9204 | 28/10/92 | 66 |  | 30M | 50 | 10 | 2.21 | 1.5 | 5 | 1.4733 | 0.20068 | 0.24566
9204 | 28/10/92 | 66 |  | 40M | 50 | 10 | 1.31 | 0.95 | 5 | 1.3789 | 0.15812 | 0.12456
9204 | 24/10/92 | 1 |  |  | 100 | 10 | 2.38 | 1.69 | 4 | 1.4083 | 0.45281 | 0.39192
CHECK WITH D.YELLAND COMPARE CTD DATA W/CHLa RESULTS 9201 | [9 empty] | #DIV/0! | #N/A | #DIV/0!
9201 | 29/01/92 | 4 | 7 | 30 | 100 | 10 | 3.59 | 2.62 | 6 | 1.3702 | 0.065559 | 0.049557
9201 | 29/01/92 | 4 | 8 | 20 | 100 | 10 | 4.77 | 3.4 | 6 | 1.4029 | 0.079394 | 0.069993
9201 | 29/01/92 | 4 | 9 | 10 | 100 | 10 | 2.06 | 1.44 | 5 | 1.4306 | 0.10698 | 0.10726
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
WHICH VOL OF SEAWATER FILTERED IS IT 50 OR 100MLS? | [9 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9201 | 29/01/92 | 4 | 10 | 0 | 50 | 10 | 1.93 | 1.32 | 5 | 1.4621 | 0.18172 | 0.21106
9201 | 29/01/92 | 12 | 4 | 30 | 50 | 10 | 2.6 | 1.85 | 6 | 1.4054 | 0.085933 | 0.076635
9201 | 29/01/92 | 12 | 5 | 20 | 50 | 10 | 4.52 | 3.19 | 6 | 1.4169 | 0.14442 | 0.1359
9201 | 29/01/92 | 12 | 6 | 10 | 50 | 10 | 2.23 | 1.54 | 5 | 1.4481 | 0.2195 | 0.23874
9201 | 29/01/92 | 12 | 8 | 0 | 50 | 10 | 2.58 | 1.77 | 5 | 1.4576 | 0.24642 | 0.28026
9201 | 29/01/92 | 3 | 8 | 20 | 50 | 10 | 1.5 | 1.08 | 5 | 1.3889 | 0.17604 | 0.14532
9201 | 29/01/92 | 3 | 9 | 12 | 50 | 10 | 1.66 | 1.21 | 5 | 1.3719 | 0.20435 | 0.1557
9201 | 29/01/92 | 3 | 10 | 0 | 50 | 10 | 1.96 | 1.38 | 5 | 1.4203 | 0.20995 | 0.20068
9201 | 29/01/92 | 13 | 6 | 30 | 50 | 10 | 3.2 | 2.25 | 6 | 1.4222 | 0.10065 | 0.097071
9201 | 29/01/92 | 13 | 7 | 20 | 50 | 10 | 3.4 | 2.46 | 6 | 1.3821 | 0.12012 | 0.096049
9201 | 29/01/92 | 13 | 8 | 10 | 50 | 10 | 4.34 | 3 | 6 | 1.4467 | 0.1267 | 0.13692
9201 | 29/01/92 | 13 | 9A | 0 | 50 | 10 | 1.72 | 1.23 | 5 | 1.3984 | 0.19646 | 0.16954
9201 | 29/01/92 | 13 | 9B | 0 | 50 | 10 | 1.78 | 1.27 | 5 | 1.4016 | 0.20144 | 0.17646
9201 | 31/01/92 |  | 0912 |  | 50 | 10 | 2.22 | 1.55 | 5 | 1.4323 | 0.2294 | 0.23182
9201 | 31/01/92 |  | 0933 |  | 50 | 10 | 1.6 | 1.14 | 5 | 1.4035 | 0.18006 | 0.15916
9201 | 31/01/92 |  | 0946 |  | 50 | 10 | 2.04 | 1.39 | 5 | 1.4676 | 0.18871 | 0.2249
9202 | 31/01/92 |  | 0957 |  | 50 | 10 | 1.5 | 1.07 | 5 | 1.4019 | 0.16961 | 0.14878
9201 | 31/01/92 |  | 1117 |  | 50 | 10 | 1.98 | 1.4 | 5 | 1.4143 | 0.2159 | 0.20068
9201 | 31/01/92 | 27 |  | 0M | 50 | 10 | 3.27 | 2.26 | 5 | 1.4469 | 0.32303 | 0.34946
9201 | 31/01/92 | 27 |  | 50M | 50 | 10 | 2.03 | 1.58 | 5 | 1.2848 | 0.31444 | 0.1557
9201 | 31/01/92 | 27 |  | 100M | 50 | 10 | 1.8 | 1.48 | 5 | 1.2162 | 0.32967 | 0.11072
9201 | 31/01/92 | 27 |  | 150M | 50 | 10 | 2.33 | 1.65 | 6 | 1.4121 | 0.075511 | 0.069482
9201 | 31/01/92 | 15 | 6 | 30 | 50 | 10 | 2.04 | 1.53 | 6 | 1.3333 | 0.082337 | 0.052112
9201 | 31/01/92 | 15 | 7 | 20 | 50 | 10 | 3.1 | 2.15 | 6 | 1.4419 | 0.09186 | 0.097071
9201 | 31/01/92 | 15 | 8 | 9 | 50 | 10 | 4.27 | 2.95 | 6 | 1.4475 | 0.12435 | 0.13488
9201 | 31/01/92 | 15 | 9 | 0 | 50 | 10 | 4.38 | 3.14 | 6 | 1.3949 | 0.14922 | 0.1267
9201 | 31/01/92 | 14 | 4 | 50 | 50 | 10 | 4.67 | 3.48 | 6 | 1.342 | 0.18421 | 0.12159
9201 | 31/01/92 | 14 | 5 | 30 | 50 | 10 | 1.64 | 1.26 | 6 | 1.3016 | 0.071894 | 0.038828
9201 | 31/01/92 | 14 | 6 | 20 | 50 | 10 | 3.67 | 2.81 | 6 | 1.306 | 0.15905 | 0.087875
9201 | 31/01/92 | 14 | 7 | 10 | 50 | 10 | 2.29 | 1.57 | 5 | 1.4586 | 0.21805 | 0.24912
9201 | 31/01/92 | 14 | 8 | 0 | 50 | 10 | 2.9 | 1.98 | 5 | 1.4646 | 0.27085 | 0.31832
9201 | 31/01/92 | 5 | 7 | 30 | 50 | 10 | 1.94 | 1.33 | 5 | 1.4586 | 0.18469 | 0.21106
9201 | 31/01/92 | 5 | 8 | 20 | 50 | 10 | 2.18 | 1.5 | 5 | 1.4533 | 0.21106 | 0.23528
9201 | 31/01/92 | 5 | 9 | 10 | 50 | 10 | 2.51 | 1.65 | 5 | 1.5212 | 0.19341 | 0.29756
9201 | 31/01/92 | 5 | 10 | 0 | 50 | 10 | 3.45 | 2.33 | 5 | 1.4807 | 0.30579 | 0.38752
9201 | 31/01/92 | 6 | 7 | 30 | 50 | 10 | 3.96 | 2.79 | 6 | 1.4194 | 0.12562 | 0.11955
9201 | 31/01/92 | 6 | 8 | 20 | 50 | 10 | 4.27 | 3.07 | 6 | 1.3909 | 0.14716 | 0.12262
9201 | 31/01/92 | 6 | 9 | 10 | 50 | 10 | 1.8 | 1.27 | 5 | 1.4173 | 0.19452 | 0.18338
9201 | 31/01/92 | 6 | 10A | 0 | 50 | 10 | 2.3 | 1.54 | 5 | 1.4935 | 0.19528 | 0.26296
9201 | 31/01/92 | 6 | 10B | 0 | 50 | 10 | 2.3 | 1.55 | 5 | 1.4839 | 0.20172 | 0.2595
9201 | 31/01/92 | 7 | 2 | 30 | 50 | 10 | 1.38 | 0.99 | 5 | 1.3939 | 0.15964 | 0.13494
9201 | 31/01/92 | 7 | 3 | 20 | 50 | 10 | 3.95 | 2.94 | 6 | 1.3435 | 0.15515 | 0.1032
9201 | 31/01/92 | 7 | 4 | 10 | 50 | 10 | 5.02 | 3.49 | 6 | 1.4384 | 0.15035 | 0.15634
9201 | 31/01/92 | 7 | 5 | 0 | 50 | 10 | 2.57 | 1.72 | 5 | 1.4942 | 0.2177 | 0.2941
9201 | 31/01/92 | 8 | 2 | 30 | 50 | 10 | 1.67 | 1.17 | 5 | 1.4274 | 0.17515 | 0.173
9201 | 31/01/92 | 8 | 3 | 20 | 50 | 10 | 2.07 | 1.43 | 5 | 1.4476 | 0.20407 | 0.22144
9201 | 31/01/92 | 8 | 4 | 10 | 50 | 10 | 2.49 | 1.67 | 5 | 1.491 | 0.21321 | 0.28372
9201 | 31/01/92 | 8 | 5 | 0 | 50 | 10 | 2.27 | 1.59 | 5 | 1.4277 | 0.23784 | 0.23528
9201 | 31/01/92 | 9 | 3 | 30 | 50 | 10 | 1.75 | 1.24 | 5 | 1.4113 | 0.19251 | 0.17646
9201 | 31/01/92 | 9 | 4 | 20 | 50 | 10 | 1.43 | 0.98 | 5 | 1.4592 | 0.13591 | 0.1557
9201 | 31/01/92 | 9 | 5 | 10 | 50 | 10 | 1.82 | 1.26 | 5 | 1.4444 | 0.18117 | 0.19376
9201 | 31/01/92 | 9 | 6 | 0 | 50 | 10 | 1.81 | 1.3 | 5 | 1.3923 | 0.21037 | 0.17646
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9207 | CAN NOT |  | 34 |  | 200 | 10 | 2.64 | 1.62 | 5 | 1.6296 | 0.032282 | 0.08823
9207 | LOCATE |  | 39 |  | 200 | 10 | 1.64 | 0.99 | 4 | 1.6566 | 0.062821 | 0.1846
9207 | LOG BOOK |  | CON46 |  | 200 | 10 | 4.12 | 2.34 | 3 | 1.7607 | 0.25337 | 1.6154 | 7.5 | 12.1151 | 1.9003
9207 |  |  | 43 |  | 200 | 10 | 4.11 | 2.57 | 3 | 1.5992 | 0.65485 | 1.3976
9207 |  |  | CON7 |  | 50 | 10 | 2.87 | 1.47 | 6 | 1.9524 | -0.013876 | 0.14305
9207 |  |  | CON38 |  | 200 | 10 | 1.79 | 1.12 | 4 | 1.5982 | 0.08963 | 0.19028
9207 |  |  | 27 |  | 200 | 10 | 1.52 | 0.9 | 4 | 1.6889 | 0.048848 | 0.17608
9207 |  |  | 42 |  | 200 | 10 | 2.37 | 1.43 | 4 | 1.6573 | 0.090426 | 0.26696
9207 |  |  | 6 |  | 200 | 10 | 1.65 | 0.97 | 4 | 1.701 | 0.049302 | 0.19312
9207 |  |  | 9 |  | 50 | 10 | 1.65 | 1.03 | 5 | 1.6019 | 0.091967 | 0.21452
9207 |  |  | CONS18 |  | 200 | 10 | 3.02 | 1.79 | 5 | 1.6872 | 0.026763 | 0.1064
9207 |  |  | 41 |  | 200 | 10 | 4.53 | 2.65 | 5 | 1.7094 | 0.034514 | 0.16262
9207 |  |  | 32 |  | 200 | 10 | 4.67 | 2.84 | 5 | 1.6444 | 0.052973 | 0.15829
9207 |  |  | CONS11 |  | 200 | 10 | 3.81 | 2.24 | 5 | 1.7009 | 0.030829 | 0.13581
9207 |  |  | 33 |  | 200 | 10 | 4.25 | 2.44 | 5 | 1.7418 | 0.024947 | 0.15657
9207 |  |  | CONS21 |  | 200 | 10 | 2.28 | 1.33 | 5 | 1.7143 | 0.016764 | 0.082175
9207 |  |  | CON47 |  | 200 | 10 | 3.53 | 2.3 | 3 | 1.5348 | 0.72055 | 1.1162
9207 |  |  | CON14 |  | 200 | 10 | 1.69 | 1.04 | 4 | 1.625 | 0.075317 | 0.1846
9207 |  |  | CON13 |  | 200 | 10 | 2.06 | 1.36 | 4 | 1.5147 | 0.14109 | 0.1988
9207 |  |  | 28 |  | 200 | 10 | 1.93 | 1.23 | 5 | 1.5691 | 0.03095 | 0.06055
9207 |  |  | CON25 |  | 200 | 10 | 2.99 | 1.83 | 5 | 1.6339 | 0.035794 | 0.10034
9207 |  |  | CON10 |  | 50 | 10 | 3.93 | 2.41 | 6 | 1.6307 | 0.056465 | 0.15531
9207 |  |  | 40 |  | 200 | 10 | 2.47 | 1.49 | 4 | 1.6577 | 0.094061 | 0.27832
9207 |  |  | CONS19 |  | 200 | 10 | 2.86 | 1.7 | 4 | 1.6824 | 0.095424 | 0.32944
9207 |  |  | CON23 |  | 200 | 10 | 2.4 | 1.41 | 5 | 1.7021 | 0.019255 | 0.085635
9207 | 92/07/23 |  | CPF1 |  | 200 | 10 | 4.51 | 2.87 | 4 | 1.5714 | 0.25151 | 0.46576
9207 |  |  | CON12 |  | 200 | 10 | 2.36 | 1.58 | 4 | 1.4937 | 0.17335 | 0.22152
9207 |  |  | CPF2 |  | 200 | 10 | 1.95 | 1.27 | 3 | 1.5354 | 0.39712 | 0.6171
9207 |  |  | 37 |  | 200 | 10 | 3.96 | 2.54 | 5 | 1.5591 | 0.066121 | 0.12283
9207 |  |  | CON44 |  | 200 | 10 | 4.7 | 2.89 | 3 | 1.6263 | 0.66538 | 1.6426
9207 |  |  | CONS17 |  | 200 | 10 | 3.25 | 1.93 | 5 | 1.6839 | 0.029393 | 0.11418
9207 |  |  | CONS15 |  | 200 | 10 | 2.23 | 1.37 | 5 | 1.6277 | 0.027524 | 0.07439
9207 | [9 empty] | #DIV/0! | #N/A | #DIV/0!
9207 |  |  | 30 |  | 200 | 10 | 1.65 | 1.08 | 5 | 1.5278 | 0.031036 | 0.049305
CHECK DATES FOR 9301 AND 9302 |  |  |  |  | ???? |  |  |  |  | #DIV/0! | #N/A | #VALUE!
9301 | 26/01/93 | 8 | 5 |  | 100 | 10 | 3.24 | 2.28 | 5 | 1.4211 | 0.17314 | 0.16608
9301 | 26/01/93 | 8 | 6 |  | 100 | 10 | 2.41 | 1.56 | 4 | 1.5449 | 0.29695 | 0.4828
9301 | 26/01/93 | 8 | 7 |  | 100 | 10 | 2.45 | 1.6 | 4 | 1.5312 | 0.31694 | 0.4828
9301 | 26/01/93 | 8 | 8 |  | 100 | 10 | NO SAMPLE |  |  | #VALUE! | #N/A | #VALUE!
9301 | 26/01/93 | 8 | 10 |  | 100 | 10 | 2.54 | 1.65 | 4 | 1.5394 | 0.31922 | 0.50552
9301 | 26/01/93 | 2 | 8 |  | 100 | 10 | 3.16 | 2.25 | 5 | 1.4044 | 0.17733 | 0.15743
9301 | 26/01/93 | 2 | 9 |  | 100 | 10 | 2.98 | 1.92 | 4 | 1.5521 | 0.35761 | 0.60208
9301 | 26/01/93 | 2 | 10 |  | 100 | 10 | 2.04 | 1.23 | 3 | 1.6585 | 0.49441 | 1.4702
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9302 | 26/01/93 | 3 | 6 |  | 100 | 10 | 4.24 | 2.94 | 6 | 1.4422 | 0.062759 | 0.066417
9302 | 26/01/93 | 3 | 8 |  | 100 | 10 | 1.78 | 1.2 | 4 | 1.4833 | 0.27037 | 0.32944
9302 | 26/01/93 | 3 | 10 |  | 100 | 10 | 3.16 | 2.06 | 4 | 1.534 | 0.40487 | 0.6248
9302 | 26/01/93 | 4 | 6 |  | 100 | 10 | 3.31 | 2.33 | 6 | 1.4206 | 0.052306 | 0.050068
9302 | 26/01/93 | 4 | 7 |  | 100 | 10 | 2.29 | 1.48 | 4 | 1.5473 | 0.27968 | 0.46008
9302 | 26/01/93 | 4 | 8 |  | 100 | 10 | 2.8 | 1.82 | 4 | 1.5385 | 0.35307 | 0.55664
9302 | 26/01/93 | 4 | 9 |  | 100 | 10 | 2.35 | 1.53 | 4 | 1.5359 | 0.299 | 0.46576
9302 | 26/01/93 | 4 | 10 |  | 100 | 10 | 1.69 | 1.12 | 4 | 1.5089 | 0.23606 | 0.32376
9302 | 28/01/93 | 12 | 5 |  | 100 | 10 | 3.37 | 2.37 | 5 | 1.4219 | 0.17961 | 0.173
9302 | 28/01/93 | 12 | 6 |  | 100 | 10 | 1.86 | 1.24 | 4 | 1.5 | 0.26764 | 0.35216
9302 | 28/01/93 | 12 | 7 |  | 100 | 10 | 1.68 | 1.13 | 4 | 1.4867 | 0.25242 | 0.3124
9302 | 28/01/93 | 12 | 8 |  | 100 | 10 | 1.98 | 1.35 | 4 | 1.4667 | 0.31694 | 0.35784
9302 | 28/01/93 | 12 | 9 |  | 100 | 10 | 2.3 | 1.53 | 4 | 1.5033 | 0.3274 | 0.43736
9302 | 28/01/93 | 13 | 4 |  | 100 | 10 | 1.6 | 1.22 | 5 | 1.3115 | 0.11577 | 0.06574
9302 | 28/01/93 | 13 | 5 |  | 100 | 10 | 1.55 | 1.16 | 5 | 1.3362 | 0.10511 | 0.06747
9302 | 28/01/93 | 13 | 7 |  | 100 | 10 | 3.46 | 2.36 | 5 | 1.4661 | 0.16082 | 0.1903
9302 | 28/01/93 | 13 | 8 |  | 100 | 10 | 2.41 | 1.6 | 4 | 1.5063 | 0.33966 | 0.46008
9302 | 28/01/93 | 13 | 9 |  | 100 | 10 | 1.68 | 1.01 | 3 | 1.6634 | 0.39712 | 1.2161
9302 | 28/01/93 | 15 | 5 |  | 100 | 10 | 3.73 | 2.81 | 6 | 1.3274 | 0.076461 | 0.047003
9302 | 28/01/93 | 15 | 6 |  | 100 | 10 | 3.28 | 2.26 | 5 | 1.4513 | 0.15978 | 0.17646
9302 | 28/01/93 | 15 | 7 |  | 100 | 10 | 1.74 | 1.17 | 4 | 1.4872 | 0.26105 | 0.32376
9302 | 28/01/93 | 15 | 9 |  | 100 | 10 | 2.28 | 1.52 | 4 | 1.5 | 0.32808 | 0.43168
9302 | 28/01/93 | 15 | 10 |  | 100 | 10 | 4.16 | 2.65 | 4 | 1.5698 | 0.4669 | 0.85768
9302 | 29/01/93 | SC |  | 0 | 100 | 10 | 1.98 | 1.28 | 4 | 1.5469 | 0.2422 | 0.3976
9302 | 29/01/93 | SC |  | 4 | 100 | 10 | 1.4 | 0.96 | 4 | 1.4583 | 0.22993 | 0.24992
9302 | 29/01/93 | SC |  | 12 | 100 | 10 | 3.88 | 2.71 | 5 | 1.4317 | 0.20078 | 0.20241
9302 | 29/01/93 | SC |  | 20 | 100 | 10 | 3.99 | 2.76 | 5 | 1.4457 | 0.19784 | 0.21279
9302 | 28/01/93 | 11 | 4 |  | 100 | 10 | 1.78 | 1.34 | 5 | 1.3284 | 0.12325 | 0.07612
9302 | 28/01/93 | 11 | 5 |  | 100 | 10 | 4.83 | 3.26 | 5 | 1.4816 | 0.21341 | 0.27161
9302 | 28/01/93 | 11 | 6 |  | 100 | 10 | 1.72 | 1.17 | 4 | 1.4701 | 0.27241 | 0.3124
9302 | 28/01/93 | 11 | 7 |  | 100 | 10 | 2.74 | 1.79 | 4 | 1.5307 | 0.35511 | 0.5396
9302 | 28/01/93 | 11 | 8 |  | 100 | 10 | 3.25 | 2.02 | 4 | 1.6089 | 0.31104 | 0.69864
9302 | 1/2/93 | PB/22 |  | 0 | 100 | 10 | 1.83 | 1.16 | 3 | 1.5776 | 0.6367 | 1.2161
9302 | 1/2/93 | PB/23 |  | 4 | 100 | 10 | 1.73 | 1.16 | 4 | 1.4914 | 0.25605 | 0.32376
9302 | 1/2/93 | PB/24 |  | 12 | 100 | 10 | 4.05 | 2.75 | 5 | 1.4727 | 0.18424 | 0.2249
9302 | 1/2/93 | PB/25 |  | 20 | 100 | 10 | 2.62 | 1.83 | 5 | 1.4317 | 0.1356 | 0.13667
9302 | 2/2/93 | AP/29 |  | 0 | 100 | 10 | 3.53 | 2.25 | 4 | 1.5689 | 0.3976 | 0.72704
9302 | 2/2/93 | AP/29 |  | 12 | 100 | 10 | 2.57 | 1.66 | 4 | 1.5482 | 0.31285 | 0.51688
9302 | 2/2/93 | AP/29 |  | 20 | 100 | 10 | 2.75 | 1.77 | 4 | 1.5537 | 0.32808 | 0.55664
9302 | 2/2/93 | AP/29 |  | 4 | 100 | 10 | 2.85 | 1.84 | 4 | 1.5489 | 0.34603 | 0.57368
9302 | 2/2/93 | GS/35 |  | 0 | 100 | 10 | 3.75 | 2.46 | 4 | 1.5244 | 0.49689 | 0.73272
9302 | 2/2/93 | GS/35 |  | 4 | 100 | 10 | 3.37 | 2.21 | 4 | 1.5249 | 0.44577 | 0.65888
9302 | 2/2/93 | GS/35 |  | 12 | 100 | 10 | 2.54 | 1.63 | 4 | 1.5583 | 0.29786 | 0.51688
9302 | 2/2/93 | GS/35 |  | 20 | 100 | 10 | 1.76 | 1.18 | 4 | 1.4915 | 0.26037 | 0.32944
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9530 | 21/9/95 | 26 | 8 |  | 200 | 10 | 3.93 | 2.54 | 4 | 1.5472 | 0.24004 | 0.39476
9530 | 21/9/95 | 26 | 9 |  | 200 | 10 | 1.5 | 0.93 | 5 | 1.6129 | 0.019878 | 0.049305
9530 | 21/9/95 | 26 | 10 |  | 200 | 10 | 2.62 | 2.56 | 6 | 1.0234 | 0.054707 | 0.0015327
9530 | 21/9/95 | 34 | 8 |  | 200 | 10 | 2.47 | 1.56 | 3 | 1.5833 | 0.41999 | 0.82583
9530 | 21/9/95 | 34 | 9 |  | 200 | 10 | 2.96 | 1.84 | 3 | 1.6087 | 0.45302 | 1.0164
9530 | 21/9/95 | 30 | 8 |  | 200 | 10 | 2.17 | 1.42 | 3 | 1.5282 | 0.45339 | 0.68063
9530 | 21/9/95 | 30 | 9 |  | 200 | 10 | 1.26 | 0.8 | 4 | 1.575 | 0.069296 | 0.13064
9530 | 21/9/95 | 30 | 10 |  | 200 | 10 | 2.91 | 1.79 | 5 | 1.6257 | 0.036278 | 0.09688
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9614 | 8/96 | 20 | 6 | 0 | 150 | 10 | 2.96 | 1.74 | 2 | 1.7011 | 1.0949 | 5.1573 | 2 | 10.3147 | 2.1898
9614 | 8/96 | 20 | 5 | 10 | 150 | 10 | 1.68 | 0.99 | 2 | 1.697 | 0.64044 | 2.9169
9614 | 8/96 | 20 | 4 | 20 | 150 | 10 | 1.67 | 1.08 | 3 | 1.5463 | 0.43608 | 0.7139
9614 | 8/96 | 20 | 3 | 30 | 150 | 10 | 2.48 | 1.65 | 4 | 1.503 | 0.23553 | 0.31429
9614 | 8/96 | 20 | 2 | 50 | 150 | 10 | 2.82 | 2.21 | 4 | 1.276 | 0.50544 | 0.23099
9614 | 8/96 | 18 | 8 | 0 | 150 | 10 | 2.76 | 1.6 | 3 | 1.725 | 0.30008 | 1.4036
9614 | 8/96 | 18 | 7 | 10 | 150 | 10 | 1.74 | 1.06 | 2 | 1.6415 | 0.93424 | 2.8746
9614 | 8/96 | 18 | 6 | 20 | 150 | 10 | 3.89 | 2.52 | 4 | 1.5437 | 0.32096 | 0.51877
9614 | 8/96 | 18 | 4 | 50 | 150 | 10 | 3.25 | 2.49 | 5 | 1.3052 | 0.15932 | 0.087653
9614 | 8/96 | 18 | 5 | 30 | 150 | 10 | 2.49 | 1.7 | 4 | 1.4647 | 0.26734 | 0.29915
9614 | 8/96 | 16 | 10 | 0 | 150 | 10 | 4.29 | 2.65 | 3 | 1.6189 | 0.83732 | 1.9844
9614 | 8/96 | 16 | 9 | 10 | 150 | 10 | 3.28 | 2.1 | 2 | 1.5619 | 2.5575 | 4.9883
9614 | 8/96 | 16 | 8 | 20 | 150 | 10 | 2.64 | 1.67 | 2 | 1.5808 | 1.9002 | 4.1005
9614 | 8/96 | 16 | 7 | 30 | 150 | 10 | 4.35 | 2.8 | 4 | 1.5536 | 0.3461 | 0.58693
9614 | 8/96 | 16 | 6 | 50 | 150 | 10 | 3.58 | 2.47 | 5 | 1.4494 | 0.11697 | 0.12802
9614 | 8/96 | 15 | 10 | 0 | 150 | 10 | 1.7 | 1.18 | 2 | 1.4407 | 2.0418 | 2.1982
9614 | 8/96 | 15 | 9 | 10 | 150 | 10 | 4.14 | 2.83 | 2 | 1.4629 | 4.631 | 5.5378
9614 | 8/96 | 15 | 8 | 20 | 150 | 10 | 2.16 | 1.37 | 2 | 1.5766 | 1.5831 | 3.3396 | 2 | 6.6792 | 3.1663
9614 | 8/96 | 15 | 7 | 30 | 150 | 10 | 1.87 | 1.17 | 2 | 1.5983 | 1.2449 | 2.9591
9614 | 8/96 | 15 | 6 | 50 | 150 | 10 | 4.57 | 3.21 | 5 | 1.4237 | 0.16154 | 0.15685
9614 | 8/96 | 14 | 10 | 0 | 150 | 10 | 1.97 | 1.14 | 3 | 1.7281 | 0.20957 | 1.0043
9614 | 8/96 | 14 | 9 | 10 | 150 | 10 | 1.98 | 1.17 | 3 | 1.6923 | 0.26572 | 0.9801
9614 | 8/96 | 14 | 8 | 20 | 150 | 10 | 1.45 | 0.92 | 3 | 1.5761 | 0.33832 | 0.6413
9614 | 8/96 | 14 | 7 | 30 | 150 | 10 | 2.8 | 1.9 | 4 | 1.4737 | 0.29233 | 0.3408
9614 | 8/96 | 14 | 6 | 50 | 150 | 10 | 1.75 | 1.29 | 4 | 1.3566 | 0.25568 | 0.17419
9614 | 8/96 | LC12 | 10 | 0 | 150 | 10 | 4.92 | 3.19 | 3 | 1.5423 | 1.3034 | 2.0933
9614 | 8/96 | LC12 | 9 | 10 | 150 | 10 | 1.87 | 1.21 | 2 | 1.5455 | 1.5578 | 2.79
9614 | 8/96 | LC12 | 8 | 20 | 150 | 10 | 1.82 | 1.29 | 2 | 1.4109 | 2.3948 | 2.2405
9614 | 8/96 | LC12 | 7 | 30 | 150 | 10 | 1.59 | 1.09 | 3 | 1.4587 | 0.55563 | 0.605
9614 | 8/96 | LC12 | 6 | 50 | 150 | 10 | 1.78 | 1.31 | 4 | 1.3588 | 0.25855 | 0.17797
9614 | 8/96 | 23 | 10 | 0 | 150 | 10 | 2.91 | 1.82 | 2 | 1.5989 | 1.9319 | 4.6078 | 2 | 9.2156 | 3.8638
9614 | 8/96 | 23 | 9 | 10 | 150 | 10 | 5.04 | 3.19 | 2 | 1.5799 | 3.6418 | 7.8206
9614 | 8/96 | 23 | 8 | 20 | 150 | 10 | 1.87 | 1.16 | 3 | 1.6121 | 0.37607 | 0.8591
9614 | 8/96 | 23 | 7 | 30 | 150 | 10 | 1.77 | 1.04 | 3 | 1.7019 | 0.22409 | 0.8833
9614 | 8/96 | 23 | 6 | 50 | 150 | 10 | 1.88 | 1.41 | 4 | 1.3333 | 0.29188 | 0.17797
9614 | 8/96 | 24 | 8 | 0 | 150 | 10 | 2.66 | 1.6 | 2 | 1.6625 | 1.2682 | 4.481 | 2 | 8.9619 | 2.5364
9614 | 8/96 | 24 | 7 | 10 | 150 | 10 | 3.87 | 2.31 | 3 | 1.6753 | 0.57209 | 1.8876
9614 | 8/96 | 24 | 6 | 20 | 150 | 10 | 2.28 | 1.34 | 3 | 1.7015 | 0.28943 | 1.1374
9614 | 8/96 | 24 | 5 | 30 | 150 | 10 | 2.86 | 1.73 | 4 | 1.6532 | 0.14859 | 0.42789
9614 | 8/96 | 24 | 4 | 50 | 150 | 10 | 1.77 | 1.45 | 4 | 1.2207 | 0.36201 | 0.12117
9614 | 8/96 | REP 24 | 7 | 10 | 150 | 10 | 3.51 | 2.12 | 3 | 1.6557 | 0.57548 | 1.6819 | X4.17DIL=7.005
9614 | 8/96 | 25 | 7 | 0 | 150 | 10 | 2.98 | 1.81 | 2 | 1.6464 | 1.5578 | 4.946 | 3 | 14.8379 | 4.6733
9614 | 8/96 | 25 | 6 | 10 | 150 | 10 | 2.78 | 1.64 | 2 | 1.6951 | 1.0737 | 4.8192
9614 | 8/96 | 25 | 5 | 20 | 150 | 10 | 1.78 | 1.08 | 3 | 1.6481 | 0.30298 | 0.847
9614 | 8/96 | 25 | 3 | 50 | 150 | 10 | 1.85 | 1.48 | 4 | 1.25 | 0.35307 | 0.14011
9614 | 8/96 | 26 | 7 | 0 | 150 | 10 | 2.67 | 1.61 | 2 | 1.6584 | 1.3041 | 4.481 | 2 | 8.9619 | 2.6083
9614 | 8/96 | 26 | 6 | 10 | 150 | 10 | 4.61 | 2.72 | 2 | 1.6949 | 1.7839 | 7.9897
9614 | 8/96 | 26 | 5 | 20 | 150 | 10 | 5.14 | 3.08 | 2 | 1.6688 | 2.3589 | 8.7083
9614 | 8/96 | 26 | 4 | 30 | 150 | 10 | 1.82 | 1.25 | 3 | 1.456 | 0.6413 | 0.6897
9614 | 8/96 | 26 | 3 | 50 | 150 | 10 | 3.53 | 2.64 | 4 | 1.3371 | 0.54271 | 0.33701
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9530 | 29/9/95 | LJO6 | 38-1 |  | 200 | 10 | 3.34 | 2.31 | 6 | 1.4459 | 0.024436 | 0.026311
9530 | 29/9/95 | LJO6 | 39-1 |  | 200 | 10 | 2.19 | 1.48 | 5 | 1.4797 | 0.048682 | 0.061415
9530 | 29/9/95 | LJO6 | 40-1 |  | 200 | 10 | 2.65 | 1.92 | 4 | 1.3802 | 0.27253 | 0.20732
9530 | 29/9/95 | LJO6 | 41-1 |  | 200 | 10 | 2.28 | 1.5 | 3 | 1.52 | 0.49005 | 0.70785
9530 | 29/9/95 | LJO6 | 42-1 |  | 200 | 10 | 3.33 | 2.07 | 4 | 1.6087 | 0.15949 | 0.35784
9530 | 29/9/95 | LJO6 | 43-1 |  | 200 | 10 | 2.98 | 1.84 | 4 | 1.6196 | 0.13609 | 0.32376
9530 | 29/9/95 | LJO8 | 31 |  | 200 | 10 | 3.64 | 2.27 | 4 | 1.6035 | 0.17824 | 0.38908
9530 | 29/9/95 | LJO8 | 32 |  | 200 | 10 | 1.75 | 1.09 | 4 | 1.6055 | 0.084973 | 0.18744
9530 | 29/9/95 | LJO8 | 33 |  | 200 | 10 | 1.81 | 1.13 | 4 | 1.6018 | 0.08929 | 0.19312
9530 | 30/9/95 | G | 55-1 |  | 200 | 10 | 2.82 | 2.4 | 6 | 1.175 | 0.041996 | 0.010729
9530 | 30/9/95 | G | 56-1 |  | 200 | 10 | 1.62 | 1.26 | 5 | 1.2857 | 0.062591 | 0.03114
9530 | 30/9/95 | G | 57-1 |  | 200 | 10 | 4.94 | 3.53 | 5 | 1.3994 | 0.14063 | 0.12197
9530 | 30/9/95 | G | 58-1 |  | 200 | 10 | 2.19 | 1.34 | 3 | 1.6343 | 0.29875 | 0.77138
9530 | 30/9/95 | G | 59-1 |  | 200 | 10 | 4.16 | 2.51 | 4 | 1.6574 | 0.1587 | 0.4686
9530 | 30/9/95 | G | 60-1 |  | 200 | 10 | 4.12 | 2.55 | 4 | 1.6157 | 0.19142 | 0.44588
9530 | 30/9/95 | LJO4 | 46-2 |  | 200 | 10 | 3.7 | 2.67 | 5 | 1.3858 | 0.10953 | 0.089095
9530 | 30/9/95 | LJO4 | 47-2 |  | 200 | 10 | 4.2 | 2.9 | 4 | 1.4483 | 0.35557 | 0.3692
9530 | 30/9/95 | LJO4 | 48-2 |  | 200 | 10 | 3.92 | 2.54 | 4 | 1.5433 | 0.24288 | 0.39192
9530 | 30/9/95 | LJO4 | 49-2 |  | 200 | 10 | 1.65 | 1.05 | 4 | 1.5714 | 0.092016 | 0.1704
9530 | 30/9/95 | LJO4 | 50-2 |  | 200 | 10 | 2.02 | 1.26 | 4 | 1.6032 | 0.099059 | 0.21584
9530 | 29/9/95 | LJ10 | 8-1 |  | 200 | 10 | 2.54 | 2.12 | 6 | 1.1981 | 0.035845 | 0.010729
9530 | 29/9/95 | LJ10 | 9-1 |  | 200 | 10 | 2.63 | 1.92 | 5 | 1.3698 | 0.081414 | 0.061415
9530 | 29/9/95 | LJ10 | 10-1 |  | 200 | 10 | 2.88 | 1.94 | 4 | 1.4845 | 0.21788 | 0.26696
9530 | 29/9/95 | LJ10 | 11-1 |  | 200 | 10 | 4.48 | 2.75 | 3 | 1.6291 | 0.62618 | 1.57
9530 | 29/9/95 | LJ10 | 12-1 |  | 200 | 10 | 2.94 | 1.85 | 4 | 1.5892 | 0.15279 | 0.30956
9530 | 29/9/95 | LJ10 | 13-1 |  | 200 | 10 | 2.71 | 1.68 | 4 | 1.6131 | 0.12735 | 0.29252
9530 | 29/9/95 | LJ9 | 18-1 |  | 200 | 10 | 2.75 | 2.57 | 6 | 1.07 | 0.051861 | 0.0045981
9530 | 29/9/95 | LJ9 | 19-1 |  | 200 | 10 | 2.24 | 1.78 | 5 | 1.2584 | 0.092624 | 0.03979
9530 | 29/9/95 | LJ9 | 20-1 |  | 200 | 10 | 2.8 | 1.95 | 4 | 1.4359 | 0.24594 | 0.2414
9530 | 29/9/95 | LJ9 | 21-1 |  | 200 | 10 | 1.67 | 1.06 | 3 | 1.5755 | 0.29294 | 0.55358
9530 | 29/9/95 | LJ9 | 22-1 |  | 200 | 10 | 2.4 | 1.48 | 4 | 1.6216 | 0.1086 | 0.26128
9530 | 29/9/95 | LJ9 | 23-1 |  | 200 | 10 | 1.93 | 1.23 | 4 | 1.5691 | 0.1086 | 0.1988
9530 | 29/9/95 | LJ08 | 28-2 |  | 200 | 10 | 1.72 | 1.52 | 5 | 1.1316 | 0.095773 | 0.0173
9530 | 29/9/95 | LJ08 | 29-2 |  | 200 | 10 | 1.52 | 1.19 | 5 | 1.2773 | 0.059979 | 0.028545
9530 | 29/9/95 | LJ08 | 30-2 |  | 200 | 10 | 2.63 | 1.88 | 4 | 1.3989 | 0.25685 | 0.213
9530 | 30/10/95 | LJO2 | 63-1 |  | 200 | 10 | 2.58 | 1.74 | 4 | 1.4828 | 0.1963 | 0.23856
9530 | 30/10/95 | LJ02 | 64-1 |  | 200 | 10 | 3.54 | 2.14 | 3 | 1.6542 | 0.4385 | 1.2705
9530 | 30/10/95 | LJ02 | 65-1 |  | 200 | 10 | 1.75 | 1.02 | 2 | 1.7157 | 0.43436 | 2.3145
9530 | 30/10/95 | LJ02 | 66-1 |  | 200 | 10 | 1.88 | 1.08 | 2 | 1.7407 | 0.37412 | 2.5364
9530 | 02/10/95 | O | 149-1 | 150 | 200 | 10 | 1.79 | 1.65 | 6 | 1.0848 | 0.032672 | 0.0035763
9530 | 02/10/95 | O | 152-1 | 125 | 200 | 10 | 1.98 | 1.77 | 6 | 1.1186 | 0.03352 | 0.0053644
9530 | 02/10/95 | O | 155-1 | 100 | 200 | 10 | 2.6 | 1.98 | 6 | 1.3131 | 0.02766 | 0.015838
9530 | 02/10/95 | O | 174-1 |  | 200 | 10 | 1.78 | 1.53 | 6 | 1.1634 | 0.027226 | 0.0063863
9530 | 02/10/95 | O | 179-1 |  | 200 | 10 | 2.37 | 1.75 | 5 | 1.3543 | 0.076552 | 0.05363
9530 | 02/10/95 | O | 181-1 |  | 200 | 10 | 2.3 | 1.61 | 4 | 1.4286 | 0.20641 | 0.19596
9530 | 02/10/95 | O | 183-1 |  | 200 | 10 | 3.8 | 2.61 | 4 | 1.4559 | 0.31433 | 0.33796
9530 | 02/10/95 | O | 185-1 |  | 200 | 10 | 4.95 | 3.34 | 4 | 1.482 | 0.37749 | 0.45724
9530 | 02/10/95 | O | 187-1 | 25 | 200 | 10 | 1.71 | 1.09 | 3 | 1.5688 | 0.30782 | 0.56265
9530 | 02/10/95 | O | 189-1 | 20 | 200 | 10 | 3.97 | 2.56 | 4 | 1.5508 | 0.23936 | 0.40044
9530 | 02/10/95 | O | 191-1 | 10 | 200 | 10 | 2.95 | 1.83 | 4 | 1.612 | 0.13927 | 0.31808
9530 | 02/10/95 | O | 193-1 | 0 | 200 | 10 | 2.96 | 1.85 | 4 | 1.6 | 0.14711 | 0.31524
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9608 | 4/96 | 55 | 8 |  | 200 | 10 | 1.68 | 1.16 | 4 | 1.4483 | 0.14223 | 0.14768
9608 | 4/96 | 55 | 9 |  | 200 | 10 | 3.49 | 2.3 | 4 | 1.5174 | 0.23686 | 0.33796
9608 | 4/96 | 55 | 10 |  | 200 | 10 | 1.95 | 1.23 | 3 | 1.5854 | 0.32888 | 0.6534
9608 | 4/96 | 55 | 11 |  | 200 | 10 | 2.34 | 1.54 | 3 | 1.5195 | 0.50384 | 0.726
9608 | 4/96 | 55 | 12 |  | 200 | 10 | 2.4 | 1.53 | 3 | 1.5686 | 0.43233 | 0.78953
9608 | 4/96 | 55 | 13 |  | 200 | 10 | 2.44 | 1.55 | 3 | 1.5742 | 0.43016 | 0.80768
9608 | 4/96 | 53 | 9 |  | 200 | 10 | 1.57 | 0.99 | 3 | 1.5859 | 0.26426 | 0.52635
9608 | 4/96 | 53 | 11 |  | 200 | 10 | 1.78 | 1.08 | 3 | 1.6481 | 0.22724 | 0.63525
9608 | 4/96 | 53 | 12 |  | 200 | 10 | 2.29 | 1.39 | 3 | 1.6475 | 0.2933 | 0.81675
9608 | 4/96 | 53 | 13 |  | 200 | 10 | 1.92 | 1.17 | 3 | 1.641 | 0.25374 | 0.68063
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[5 empty] | V F ?? |  |  |  |  | #DIV/0! | #N/A | #VALUE!
9345 | 08/11/93 | 176 |  | 2 | 150 | 10 | 3.55 | 2.89 | 3 | 1.2284 | 2.2787 | 0.7986
9345 | 08/11/93 | 176 |  | 8 | 150 | 10 | 2.12 | 1.64 | 3 | 1.2927 | 1.1655 | 0.5808
9345 | 08/11/93 | 176 |  | 15 | 150 | 10 | 3.74 | 2.94 | 6 | 1.2721 | 0.058869 | 0.027248
9345 | 08/11/93 | 176 |  | 35 | 150 | 10 | 1.88 | 1.75 | 5 | 1.0743 | 0.15858 | 0.014993
9345 | 11/11/93 |  | 16 | 50 | 150 | 10 | 1.84 | 1.59 | 6 | 1.1572 | 0.038059 | 0.008515
9345 | 11/11/93 |  | 17 | 2 | 150 | 10 | 1.95 | 1.65 | 5 | 1.1818 | 0.12906 | 0.0346
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9317 | 27/06/93 | 99 | 3 | 10 | 100 | 10 | 3.63 | 2.1 | 2 | 1.7286 | 1.617 | 9.7017 | 2 | 19.4035 | 3.2339
9317 | 27/06/93 | 99 | 4 | 0 | 100 | 10 | 2.43 | 1.42 | 2 | 1.7113 | 1.2492 | 6.4044
9317 | 29/06/93 | 0214 | LOOP | SURF | 150 | 10 | 3.66 | 2.27 | 3 | 1.6123 | 0.7352 | 1.6819
9317 | 29/06/93 | 1006 | LOOP | SURF | 150 | 10 | 4 | 2.7 | 5 | 1.4815 | 0.11787 | 0.14993
9317 | 29/06/93 | 1344 | LOOP | SURF | 150 | 10 | 2.1 | 1.33 | 3 | 1.5789 | 0.48448 | 0.9317
9317 | 29/06/93 | 2311 | LOOP | SURF | 150 | 10 | 1.61 | 1.08 | 4 | 1.4907 | 0.15919 | 0.20069
9317 | 30/06/93 | 0018 | LOOP | SURF | 150 | 10 | 3.71 | 2.43 | 4 | 1.5267 | 0.32505 | 0.48469
9317 | 30/06/93 | 0321 | LOOP | SURF | 150 | 10 | 3.22 | 2.23 | 5 | 1.4439 | 0.10701 | 0.11418
9317 | 30/06/93 | 0842 | LOOP | SURF | 150 | 10 | 4.98 | 3.22 | 3 | 1.5466 | 1.2991 | 2.1296
[10 empty] | #DIV/0! | #N/A | #DIV/0!
TOXIC ALGAE | [9 empty] | #DIV/0! | #N/A | #DIV/0!
9311 | 15/09/93 | 160 | PB | 2 | 100 | 10 | 1.84 | 1.23 | 3 | 1.4959 | 0.85741 | 1.1072
9311 | 15/09/93 | 160 | PB | 5 | 100 | 10 | 1.49 | 0.93 | 3 | 1.6022 | 0.469 | 1.0164
9311 | 15/09/93 | 160 | PB | 8 | 100 | 10 | 2.63 | 1.73 | 3 | 1.5202 | 1.1297 | 1.6335
9311 | 15/09/93 | 160 | PB | 35 | 100 | 10 | 2.3 | 1.64 | 5 | 1.4024 | 0.12982 | 0.11418
9311 | 15/09/93 | 161 | SC | 2 | 100 | 10 | 1.74 | 1.06 | 3 | 1.6415 | 0.45883 | 1.2342
9311 | 15/09/93 | 161 | SC | 5 | 100 | 10 | 4.65 | 2.9 | 4 | 1.6034 | 0.45554 | 0.994
9311 | 15/09/93 | 161 | SC | 15 | 100 | 10 | 3.87 | 2.38 | 4 | 1.6261 | 0.3433 | 0.84632
storage study | 20/07/95 | grind | SI | surf | 100 | 19.5 | 4.63 | 2.78 | 3 | 1.6655 | 2.1108 | 6.5476 | long grind
storage study | 20/07/95 | grind | SI | surf | 100 | 16.7 | 2.84 | 1.59 | 2 | 1.7862 | 1.0748 | 13.2368
[10 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
REFERENCE SAMPLES | [9 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
9602 | 2/2/96 | SI |  | 8M | 250 | 10 | 2.68 | 1.63 | 3 | 1.6442 | 0.27907 | 0.7623
[10 empty] | #DIV/0! | #N/A | #DIV/0!
1995 | 20/07/95 | STORAGE |  |  | 100 | 10 | 4.06 | 2.32 | 2 | 1.75 | 1.4711 | 11.0333
SAMPLE FROZEN FOR 2 YEARS | [9 empty] | #DIV/0! | #N/A | #DIV/0!
EXTRACTED BY FREEZER FOR 24 HOURS METHOD | [9 empty] | #DIV/0! | #N/A | #DIV/0!
[10 empty] | #DIV/0! | #N/A | #DIV/0!
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.31 | 2.83 | 4 | 1.523 | 0.57391 | 0.84064
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.37 | 2.84 | 4 | 1.5387 | 0.55051 | 0.86904
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.5 | 2.93 | 4 | 1.5358 | 0.57277 | 0.89176
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.44 | 2.93 | 4 | 1.5154 | 0.60685 | 0.85768
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.67 | 3.03 | 4 | 1.5413 | 0.583 | 0.93152
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.72 | 3.04 | 4 | 1.5526 | 0.56527 | 0.95424
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.44 | 2.91 | 4 | 1.5258 | 0.58549 | 0.86904
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.63 | 2.98 | 4 | 1.5537 | 0.55232 | 0.9372
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.87 | 3.16 | 4 | 1.5411 | 0.60821 | 0.97128
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.33 | 2.85 | 4 | 1.5193 | 0.5839 | 0.84064
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 1.47 | 0.96 | 3 | 1.5312 | 0.60766 | 0.92565
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.52 | 2.9 | 4 | 1.5586 | 0.52938 | 0.92016
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.43 | 2.91 | 4 | 1.5223 | 0.59117 | 0.86336
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.24 | 2.69 | 4 | 1.5762 | 0.46417 | 0.8804
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.38 | 2.86 | 4 | 1.5315 | 0.56618 | 0.86336
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.12 | 2.71 | 4 | 1.5203 | 0.55369 | 0.80088
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.18 | 2.66 | 4 | 1.5714 | 0.46621 | 0.86336
1997 | 02/19/97 | SI |  | SURF | 100 | 10 | 4.47 | 2.95 | 4 | 1.5153 | 0.61117 | 0.86336
[8 empty] | MEAN |  | 1.5374 | 0.5651 | 0.88575
[8 empty] | STDEV |  | 0.018605 | 0.042834 | 0.044861
[8 empty] | %VAR. |  | 1.2102 | 7.5799 | 5.0648
1997 ANAL.BY E.B. | 02/19/97 | SI |  | SURF | 100 | 10
[7 empty] | RB | RA | CODE | RB/RA | CHL A
BLANKS ( 25MM GFF EXTRACTED SAME AS SAMPLES ) | [10 empty] | UG/L
[10 empty] | #DIV/0! | #DIV/0!
08/07/97 | [5 empty] | 10 | 0.3 | 0.22 | 7 | 1.3636 | 0
08/07/97 | [5 empty] | 10 | 0.12 | 0.05 | 7 | 2.4 | 0
08/07/97 | [5 empty] | 10 | 0.13 | 0.05 | 7 | 2.6 | 0
09/07/97 | [5 empty] | 10 | 0.33 | 0.28 | 7 | 1.1786 | 0
09/07/97 | [5 empty] | 10 | 0.36 | 0.27 | 7 | 1.3333 | 0
14//7/97 | [5 empty] | 10 | 0.3 | 0.22 | 7 | 1.3636 | 0
14/07/97 | [5 empty] | 10 | 0.23 | 0.16 | 7 | 1.4375 | 0
15/07/97 | [5 empty] | 10 | 0.58 | 0.54 | 7 | 1.0741 | 0
15/07/97 | [5 empty] | 10 | 0.53 | 0.37 | 7 | 1.4324 | 0
16/07/97 | [5 empty] | 10 | 0.55 | 0.46 | 7 | 1.1957 | 0
16/07/97 | [5 empty] | 10 | 0.38 | 0.34 | 7 | 1.1176 | 0
21/07/97 | [5 empty] | 10 | 0.32 | 0.25 | 7 | 1.28 | 0
21/07/97 | [5 empty] | 10 | 0.19 | 0.17 | 7 | 1.1176 | 0
22/07/97 | [5 empty] | 10 | 0.5 | 0.4 | 7 | 1.25 | 0
22/07/97 | [5 empty] | 10 | 0.31 | 0.27 | 7 | 1.1481 | 0
24/07/97 | [5 empty] | 10 | 0.19 | 0.16 | 7 | 1.1875 | 0
24/07/97 | [5 empty] | 10 | 0.33 | 0.32 | 7 | 1.0312 | 0
29/07/97 | [5 empty] | 10 | 0.51 | 0.12 | 7 | 4.25 | 0
29/07/97 | [5 empty] | 10 | 0.35 | 0.08 | 7 | 4.375 | 0
30/07/97 | [5 empty] | 10 | 0.42 | 0.16 | 7 | 2.625 | 0
30/07/97 | [5 empty] | 10 | 0.2 | 0 | 7 | #DIV/0! | #DIV/0!
18/08/97 | [5 empty] | 10 | 0.22 | 0.18 | 7 | 1.2222 | 0
18/07/97 | [5 empty] | 10 | 0.23 | 0.19 | 7 | 1.2105 | 0
19/08/97
19/08/97 | [9 empty] | MEAN | 0
N=24
STANDARD CHECK
100 UL DILUTED TO 25 MLS = 0.004 DILUTION
CALIBRATED VALUE JAN. 7, 1997 FOR RB AND RA= 2.5O, 1.33, RESPECTIVELY
0.0994UL/25MLS=0.003976DILUTION
DATE | RB | RA | TAU | DIL | CALIBRATION
JAN.7, 1997
08/07/97 | 5.09 | 2.67 | 1.9064 | 0.0008 | 5.1 | 2.74
08/07/97 | 2.96 | 1.57 | 1.8854 | 0.005 | 3.06 | 1.63
08/07/97 | 2.46 | 1.3 | 1.8923 | 0.004 | 2.5 | 1.33
08/07/97 | 2.42 | 1.29 | 1.876 | 0.004 | 2.5 | 1.33
08/07/97 | 3.92 | 2.1 | 1.8667 | 0.002 | 3.88 | 2.07
08/07/97 | 2.47 | 1.31 | 1.8855 | 0.004
09/07/97 | 2.4 | 1.28 | 1.875 | 0.004
14//7/97 | 2.44 | 1.32 | 1.8485 | 0.004
15/07/97 | 2.56 | 1.38 | 1.8551 | 0.004
| 2.46 | 1.3 | 1.8923 | 0.004
16/07/97 | 2.36 | 1.25 | 1.888 | 0.004
21/07/97 | 2.36 | 1.24 | 1.9032 | 0.004
24/07/97 | 2.36 | 1.26 | 1.873 | 0.004
28/07/97 | 2.34 | 1.25 | 1.872 | 0.004
29/07/97 | 2.37 | 1.26 | 1.881 | 0.004
30/07/97 | 2.27 | 1.21 | 1.876 | 0.004
18/08/97 | 2.29 | 1.23 | 1.8618 | 0.004
19/08/97 | 2.48 | 1.32 | 1.8788 | 0.004
MEAN | 2.3969 | 1.2777 | 1.8762
STDEV | 0.081791 | 0.046575 | 0.014989
% | 3.4123 | 3.6452 | 0.79894
PIPET CORRECTED | 2.4105 | 1.2854
PIPETTE CALIBRATION |  |  |  | 0.09940+/-0.00124
SMI MICRO/PIPETTOR 100UL DELIVERY |  |  |  | n=33
GRAVIMETRIC CALIBRATION
|  | screw |  | screw
|  | adjusted |  | adjusted final
1 | 0.0988 | 1 | 0.10077 | 1 | 0.09934
2 | 0.1019 | 2 | 0.10045 | 2 | 0.10054
3 | 0.0978 | 3 | 0.10067 | 3 | 0.09967
4 | 0.0975 | 0 | 0.10079 | 4 | 0.0992
5 | 0.09833 | 5 | 0.10056 | 5 | 0.09904
6 | 0.09855 | 6 | 0.1009 | 6 | 0.09924
7 | 0.09902 | 7 | 0.10044 | 7 | 0.0996
8 | 0.0979 | 8 | 0.10086 | 8 | 0.09953
9 | 0.09726 | 9 | 0.09873 | 9 | 0.1001
10 | 0.09911 | 10 | 0.09827 | 10 | 0.09949
11 | 0.0986 | 11 | 0.09654 | 11 | 0.10072
MEAN | 0.098615 |  | 0.099907 | MEAN | 0.099679
SD | 0.001248 |  | 0.0014286 | SD | 0.00054881
%var | 1.2655 |  | 1.4299 | %var | 0.55057
REPIPETTOR CALIBRATION FOR THE 10MLS OF 90%ACETONE USED
IN EXTRACTION OF FILTERED SEAWATER SAMPLES
CALIBRATED WITH DMQ WATER
WENT TO REASSEMBLE REPIPETTOR WHICH HAD BEEN PACKED TO GO TO
STN P AUG.26TH AND FOUND THAT IT WOULD NOT DELIVER
PROPERLY. SUCKED AIR IN THE LINE SOMEWHERE.
COULD NOT REPAIR IT.
SEDIMENT CALCULATIONS
FD SEDIMENT TRAPS | [10 empty] | #N/A | #N/A
YEAR | DATE | STATION | SAMPLE | SPLIT | DIL FAC | VOL EXT | RB | RA | FS | TAU | CHL a | CHL a
CORRECT
1992 | 7/7/92 | LP1 | 50/2 | 0.0625 | 2 | 10 | 3.14 | 2.66 | 2 | 1.1805 | 0.30437 | 9.7398
1992 | 7/7/92 | LP1 | 50/1 | 0.0625 | 9 | 25 | 3.43 | 3.05 | 2 | 1.1246 | 0.6024 | 86.7449
1992 | 7/7/92 | LP1 | 30/2 | 0.0625 | 9 | 30 | 3.45 | 2.92 | 2 | 1.1815 | 1.0082 | 145.1835
1992 | 7/7/92 | LP1 | 30/2 | 0.0625 | 81 | 30 | 3.98 | 3.36 | 4 | 1.1845 | 0.10565 | 136.9198
1992 | 7/7/92 | LP1 | 30/1 | 0.0625 | 9 | 25.5 | 2.68 | 2.24 | 2 | 1.1964 | 0.71146 | 102.4503
1992 | 7/7/92 | LP2 | 30 1/2 | 0.0625 | 8 | 10 | 4.05 | 3.28 | 2 | 1.2348 | 0.48826 | 62.4969
1992 | 7/7/92 | LP2 | 50/1 | 0.25 | 9 | 23.5 | 4.36 | 3.64 | 2 | 1.1978 | 1.0729 | 38.6243
1992 | 7/7/92 | LP2 | 50/2 | 0.0625 | 9 | 24.5 | 3.51 | 3.15 | 2 | 1.1143 | 0.55928 | 80.5358
1992 | 7/7/92 | LP2 | 30/1 | 0.0625 | 9 | 26.4 | 2.89 | 2.62 | 4 | 1.1031 | 0.040487 | 5.8301
1992 | 7/7/92 | LP3 | 50/1 | 0.0625 | 9 | 27.2 | 4.55 | 3.87 | 3 | 1.1757 | 0.3357 | 48.3411
1992 | 7/7/92 | LP3 | 50/2 | 0.0625 | 9 | 27.3 | 2.41 | 1.83 | 3 | 1.3169 | 0.28739 | 41.3837
1992 | 7/7/92 | LP3 | 30/1 | 0.25 | 81 | 23.6 | 3.75 | 2.8 | 4 | 1.3393 | 0.12735 | 41.26
1992 | 7/7/92 | LP4 | 50/1 | 0.0625 | 9 | 10 | 5.03 | 4.31 | 2 | 1.1671 | 0.45655 | 65.7435
1992 | 7/7/92 | LP4 | 50/2 | 0.25 | 81 | 26.5 | 2.15 | 1.77 | 3 | 1.2147 | 0.18277 | 59.2176
1992 | 7/7/92 | LP4 | 30/1 | 0.25 | 9 | 27.4 | 2.61 | 2.07 | 2 | 1.2609 | 0.93821 | 33.7757
1992 | 7/7/92 | LP4 | 30/1 | 0.25 | 81 | 27.4 | 3.02 | 2.37 | 4 | 1.2743 | 0.10116 | 32.7761
1992 | 7/7/92 | LP4 | 30/2 | 0.0625 | 9 | 25 | 2.91 | 2.13 | 3 | 1.3662 | 0.35392 | 50.9652
1992 | 7/7/92 | SB | 70/2 | 0.25 | 2 | 10 | 4.15 | 3.18 | 2 | 1.305 | 0.61508 | 4.9206
1992 | 7/7/92 | SB | 70/1 | 0.0625 | 9 | 27.9 | 1.84 | 1.56 | 2 | 1.1795 | 0.49536 | 71.3317
1992 | 7/7/92 | SB2 | 55/1 | 0.25 | 9 | 10 | 3.22 | 2.83 | 3 | 1.1378 | 0.070785 | 2.5483
1992 | 7/7/92 | SB2 | 70/2 | 0.25 | 1 | 15 | 3.14 | 2.53 | 3 | 1.2411 | 0.16607 | 0.66429
1992 | 7/7/92 | SB2 | 70/1 | 0.25 | 1 | 26 | 1.78 | 1.48 | 3 | 1.2027 | 0.14157 | 0.56628
1992 | 7/7/92 | SB2 | 55/2 | 0.25 | 1 | 15 | 4.24 | 3.68 | 2 | 1.1522 | 0.53264 | 2.1306
1992 | 7/7/92 | SB3 | 55/1 | 0.25 | 9 | 10 | 2 | 1.72 | 3 | 1.1628 | 0.05082 | 1.8295
1992 | 7/7/92 | SB3 | 55/2 | 0.25 | 1 | 25 | 2.14 | 1.86 | 2 | 1.1505 | 0.44387 | 1.7755
1992 | 7/7/92 | SB3 | 70/2 | 0.25 | 1 | 25.5 | 2.6 | 2.18 | 2 | 1.1927 | 0.67912 | 2.7165
1992 | 7/7/92 | SB3 | 70/1 | 0.25 | 1 | 26.1 | 1.75 | 1.44 | 2 | 1.2153 | 0.51305 | 2.0522
1992 | 7/7/92 | SB55 | 55 | 0.25 | 9 | 10 | 3.38 | 3.11 | 3 | 1.0868 | 0.049005 | 1.7642
THESE SAMPLES WERE EXTRACTED A SECOND TIME BECAUSE PIGMENTS REMAINED
ON THE FILTERS AFTER FIRST EXTRACTION
1992 | 7/7/92 | SB | 70/2 | 0.25 | 1 | 25 | 4.68 | 4.25 | 3 | 1.1012 | 0.19511 | 0.78045
1992 | 7/7/92 | LP1 | 50/2 | 0.0625 | 1 | 24.5 | 1.65 | 1.43 | 3 | 1.1538 | 0.097828 | 1.5653
1992 | 7/7/92 | LP2 | 30 1/2 | 0.0625 | 1 | 21.5 | 4.82 | 4.2 | 3 | 1.1476 | 0.24194 | 3.871
1992 | 7/7/92 | LP3 | 50/1 | 0.0625 | 1 | 23 | 2.56 | 2.36 | 2 | 1.0847 | 0.29169 | 4.667
1992 | 7/7/92 | SB3 | 55/1 | 0.25 | 1 | 26.5 | 3.66 | 3.31 | 4 | 1.1057 | 0.052682 | 0.21073
1992 | 7/7/92 | SB2 | 55/1 | 0.25 | 1 | 23 | 1.87 | 1.691 | 3 | 1.1059 | 0.074724 | 0.29889
1992 | 7/7/92 | SB55 | 55 | 0.25 | 1 | 25.5 | 2.05 | 1.92 | 3 | 1.0677 | 0.060167 | 0.24067