## File List
Number of Files= |  | 5
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 97420002.hyd | 97420002.sac | 11 | 12 | 97420002.hyd & 97420002.sac
2 | 97420004.hyd | 97420004.sac | 14 | 19 | 97420004.hyd & 97420004.sac
3 | 97420035.hyd | 97420035.sac | 21 | 27 | 97420035.hyd & 97420035.sac
4 | 97420043.hyd | 97420043.sac | 29 | 48 | 97420043.hyd & 97420043.sac
5 | 97420047.hyd | 97420047.sac | 50 | 65 | 97420047.hyd & 97420047.sac

## (sal_T0_C0 - sal_bot)
Calculation of Linear Least Squares Fit For
(sal_T0_C0 - sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (sal_T0_C0 - sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 51
# of Values Used in Fit = |  |  | 23
File | Use | Pressure | sal_T0_C0 | sal_T0_C0 | Diff (sal_T0_C0 - sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 162.26 | 33.7183 | 0.00023228 | 0.00028229 | #VALUE! | #VALUE! |  | 162.26 | 0.00028229
1 | YES | 162.717 | 33.7185 | 0.00027565 | 0.00046539 | #VALUE! | #VALUE! |  | 162.717 | 0.00046539
2 | YES | 2061.53 | 34.6129 | 0.00024529 | 0.00046158 | #VALUE! | #VALUE! |  | 2061.53 | 0.00046158
2 | YES | 1751.84 | 34.5698 | 0.00027784 | -0.00073624 | #VALUE! | #VALUE! |  | 1751.84 | -0.00073624
2 | YES | 1499.56 | 34.5171 | 0.00021353 | 0.0011177 | #VALUE! | #VALUE! |  | 1499.56 | 0.0011177
2 | YES | 999.811 | 34.3833 | 0.00028921 | 0.0011139 | #VALUE! | #VALUE! |  | 999.811 | 0.0011139
2 | YES | 801.739 | 34.2987 | 0.00026093 | 0.0014725 | #VALUE! | #VALUE! |  | 801.739 | 0.0014725
2 | YES | 597.994 | 34.1977 | 0.00030025 | 0.00045395 | #VALUE! | #VALUE! |  | 597.994 | 0.00045395
3 | YES | 2463.91 | 34.6342 | 0.00024629 | 0.00060654 | #VALUE! | #VALUE! |  | 2463.91 | 0.00060654
3 | YES | 2002.18 | 34.5988 | 0.00027019 | 0.00045013 | #VALUE! | #VALUE! |  | 2002.18 | 0.00045013
3 | YES | 1499.54 | 34.5157 | 0.00033578 | 0.0018539 | #VALUE! | #VALUE! |  | 1499.54 | 0.0018539
3 | YES | 1201.47 | 34.4351 | 0.0003429 | 0.0019722 | #VALUE! | #VALUE! |  | 1201.47 | 0.0019722
3 | YES | 1001.63 | 34.3637 | 0.00035272 | 0.0032616 | #VALUE! | #VALUE! |  | 1001.63 | 0.0032616
3 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE! |  | 1449.6 | -0.0034256
3 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE! |  | 1196.59 | -0.0080299
4 | YES | 1449.6 | 34.503 | 0.00027596 | -0.0034256 | #VALUE! | #VALUE! |  | 998.003 | -0.00048828
4 | YES | 1196.59 | 34.4372 | 0.0002959 | -0.0080299 | #VALUE! | #VALUE! |  | 799.005 | -0.0004425
4 | YES | 998.003 | 34.3795 | 0.00045623 | -0.00048828 | #VALUE! | #VALUE! |  | 600.604 | -0.0018539
4 | YES | 799.005 | 34.263 | 0.00055969 | -0.0004425 | #VALUE! | #VALUE! |  | 503.927 | 0.00062561
4 | YES | 600.604 | 34.1663 | 0.0014988 | -0.0018539 | #VALUE! | #VALUE! |  | 622.462 | 0.0046921
4 | YES | 503.927 | 34.101 | 0.00031196 | 0.00062561 | #VALUE! | #VALUE! |  | 498.173 | -0.00091553
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE! |  | 399.811 | -0.0015831
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE! |  | 299.764 | -0.0012856
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 149.318 | 33.8631 | 0.008129 | 1.8601 | #VALUE! | #VALUE!
4 | NO | 9.4916 | 31.9949 | 0.00029128 | -0.0043049 | #VALUE! | #VALUE!
4 | NO | 1.6218 | 31.9948 | 0.00029844 | -0.0049896 | #VALUE! | #VALUE!
5 | YES | 622.462 | 34.2123 | 0.00036932 | 0.0046921 | #VALUE! | #VALUE!
5 | YES | 498.173 | 34.1018 | 0.0010256 | -0.00091553 | #VALUE! | #VALUE!
5 | YES | 399.811 | 34.0421 | 0.00034123 | -0.0015831 | #VALUE! | #VALUE!
5 | YES | 299.764 | 34.0107 | 0.00040228 | -0.0012856 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
5 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. sal_T0_C0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | sal_bot | sal_T0_C0 |  | sal_T0_C0 - sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | sal_bot | sal_T0_C0 | sal_T0_C0 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
97420002.hyd | 97420002.sac | 73 | 162.26 | 162.26 | 0.041105 | 0.00045776 | 33.718 | 33.7183 | 0.00023228 | 0.00028229
97420002.hyd | 97420002.sac | 73 | 162.717 | 162.717 | 0.1492 | 0.00036621 | 33.718 | 33.7185 | 0.00027565 | 0.00046539
97420004.hyd | 97420004.sac | 69 | 2061.58 | 2061.53 | 0.35739 | -0.052978 | 34.6124 | 34.6129 | 0.00024529 | 0.00046158
97420004.hyd | 97420004.sac | 73 | 1751.84 | 1751.84 | 0.24084 | -0.00024414 | 34.5705 | 34.5698 | 0.00027784 | -0.00073624
97420004.hyd | 97420004.sac | 73 | 1499.56 | 1499.56 | 0.38595 | 0.00036621 | 34.516 | 34.5171 | 0.00021353 | 0.0011177
97420004.hyd | 97420004.sac | 73 | 999.811 | 999.811 | 0.10169 | 0.00018311 | 34.3822 | 34.3833 | 0.00028921 | 0.0011139
97420004.hyd | 97420004.sac | 73 | 801.739 | 801.739 | 0.47002 | 0.00012207 | 34.2972 | 34.2987 | 0.00026093 | 0.0014725
97420004.hyd | 97420004.sac | 73 | 597.994 | 597.994 | 0.11409 | 0.00018311 | 34.1972 | 34.1977 | 0.00030025 | 0.00045395
97420035.hyd | 97420035.sac | 71 | 2463.94 | 2463.91 | 0.46968 | -0.027344 | 34.6336 | 34.6342 | 0.00024629 | 0.00060654
97420035.hyd | 97420035.sac | 73 | 2002.18 | 2002.18 | 0.27196 | 0.00036621 | 34.5983 | 34.5988 | 0.00027019 | 0.00045013
97420035.hyd | 97420035.sac | 64 | 1499.4 | 1499.54 | 0.42583 | 0.14331 | 34.5138 | 34.5157 | 0.00033578 | 0.0018539
97420035.hyd | 97420035.sac | 73 | 1201.47 | 1201.47 | 0.23453 | -0.00036621 | 34.4331 | 34.4351 | 0.0003429 | 0.0019722
97420035.hyd | 97420035.sac | 73 | 1001.63 | 1001.63 | 0.35141 | 0.00012207 | 34.3604 | 34.3637 | 0.00035272 | 0.0032616
97420035.hyd | 97420035.sac | 0 | 800.536 | 0 | 0 | -800.536 | -99 | 0 | 0 | 99
97420035.hyd | 97420035.sac | 0 | 603.241 | 0 | 0 | -603.241 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 73 | 1449.6 | 1449.6 | 0.1808 | 0 | 34.5064 | 34.503 | 0.00027596 | -0.0034256
97420043.hyd | 97420043.sac | 73 | 1196.59 | 1196.59 | 0.37273 | -0.00036621 | 34.4452 | 34.4372 | 0.0002959 | -0.0080299
97420043.hyd | 97420043.sac | 73 | 998.003 | 998.003 | 0.19614 | 6.1035e-05 | 34.38 | 34.3795 | 0.00045623 | -0.00048828
97420043.hyd | 97420043.sac | 73 | 799.005 | 799.005 | 0.45481 | -0.00036621 | 34.2634 | 34.263 | 0.00055969 | -0.0004425
97420043.hyd | 97420043.sac | 73 | 600.604 | 600.604 | 0.1098 | 0 | 34.1682 | 34.1663 | 0.0014988 | -0.0018539
97420043.hyd | 97420043.sac | 73 | 503.927 | 503.927 | 0.24931 | -0.00033569 | 34.1004 | 34.101 | 0.00031196 | 0.00062561
97420043.hyd | 97420043.sac | 0 | 398.597 | 0 | 0 | -398.597 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 299.953 | 0 | 0 | -299.953 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 249.066 | 0 | 0 | -249.066 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 199.939 | 0 | 0 | -199.939 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 175.074 | 0 | 0 | -175.074 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 149.318 | 0 | 0 | -149.318 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 125.146 | 0 | 0 | -125.146 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 99.529 | 0 | 0 | -99.529 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 75.589 | 0 | 0 | -75.589 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 49.03 | 0 | 0 | -49.03 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 0 | 29.852 | 0 | 0 | -29.852 | -99 | 0 | 0 | 99
97420043.hyd | 97420043.sac | 73 | 20.108 | 149.318 | 0.28715 | 129.21 | 32.003 | 33.8631 | 0.008129 | 1.8601
97420043.hyd | 97420043.sac | 73 | 9.492 | 9.4916 | 0.48167 | -0.00043774 | 31.9992 | 31.9949 | 0.00029128 | -0.0043049
97420043.hyd | 97420043.sac | 73 | 1.622 | 1.6218 | 0.066313 | -0.00021911 | 31.9998 | 31.9948 | 0.00029844 | -0.0049896
97420047.hyd | 97420047.sac | 73 | 622.462 | 622.462 | 0.24781 | -0.00012207 | 34.2076 | 34.2123 | 0.00036932 | 0.0046921
97420047.hyd | 97420047.sac | 64 | 498.044 | 498.173 | 0.37724 | 0.12878 | 34.1027 | 34.1018 | 0.0010256 | -0.00091553
97420047.hyd | 97420047.sac | 73 | 399.811 | 399.811 | 0.1968 | 9.1553e-05 | 34.0437 | 34.0421 | 0.00034123 | -0.0015831
97420047.hyd | 97420047.sac | 61 | 299.968 | 299.764 | 0.38524 | -0.20355 | 34.012 | 34.0107 | 0.00040228 | -0.0012856
97420047.hyd | 97420047.sac | 0 | 249.58 | 0 | 0 | -249.58 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 200.168 | 0 | 0 | -200.168 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 175.715 | 0 | 0 | -175.715 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 149.401 | 0 | 0 | -149.401 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 126.006 | 0 | 0 | -126.006 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 99.732 | 0 | 0 | -99.732 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 74.763 | 0 | 0 | -74.763 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 49.413 | 0 | 0 | -49.413 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 27.949 | 0 | 0 | -27.949 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 17.702 | 0 | 0 | -17.702 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 8.853 | 0 | 0 | -8.853 | -99 | 0 | 0 | 99
97420047.hyd | 97420047.sac | 0 | 1.529 | 0 | 0 | -1.529 | -99 | 0 | 0 | 99
Create Fit Sheet