## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 98010999.ctd | 98010999.edt | 11 | 28 | 98010999.ctd & 98010999.edt

## (Salinity - Sal_Seabird)
Calculation of Linear Least Squares Fit For
(Salinity - Sal_Seabird)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Sal_Seabird), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 18
# of Values Used in Fit = |  |  | 13
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Sal_Seabird) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 10 | 28.528 | 0 | -0.221 | #VALUE! | #VALUE! |  | 10 | -0.221
1 | YES | 20 | 28.9548 | 0 | 0.038099 | #VALUE! | #VALUE! |  | 20 | 0.038099
1 | YES | 30 | 29.0558 | 0 | -0.0224 | #VALUE! | #VALUE! |  | 30 | -0.0224
1 | YES | 50 | 29.3008 | 0 | -0.0107 | #VALUE! | #VALUE! |  | 50 | -0.0107
1 | YES | 75 | 29.7462 | 0 | 0.1707 | #VALUE! | #VALUE! |  | 75 | 0.1707
1 | YES | 100 | 30.707 | 0 | -0.0357 | #VALUE! | #VALUE! |  | 100 | -0.0357
1 | YES | 110 | 30.9354 | 0 | -0.0224 | #VALUE! | #VALUE! |  | 110 | -0.0224
1 | YES | 120 | 31.0255 | 0 | -0.015902 | #VALUE! | #VALUE! |  | 120 | -0.015902
1 | YES | 130 | 31.1024 | 0 | 0.0072994 | #VALUE! | #VALUE! |  | 130 | 0.0072994
1 | YES | 140 | 31.1437 | 0 | 0.0226 | #VALUE! | #VALUE! |  | 140 | 0.0226
1 | YES | 150 | 31.172 | 0 | 0.022902 | #VALUE! | #VALUE! |  | 150 | 0.022902
1 | YES | 160 | 31.1838 | 0 | 0.0154 | #VALUE! | #VALUE! |  | 160 | 0.0154
1 | YES | 170 | 31.1874 | 0 | 0.0076008 | #VALUE! | #VALUE! |  | 170 | 0.0076008
1 | NO | 0 | 0 | 0 | -31.1861 | #VALUE! | #VALUE!
1 | NO | 0 | 0 | 0 | -31.1907 | #VALUE! | #VALUE!
1 | NO | 0 | 0 | 0 | -31.1952 | #VALUE! | #VALUE!
1 | NO | 0 | 0 | 0 | -31.1997 | #VALUE! | #VALUE!
1 | NO | 0 | 0 | 0 | -31.207 | #VALUE! | #VALUE!
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Seabird | Salinity |  | Salinity - Sal_Seabird
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_seabird | Salinity | Salinity | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
98010999.ctd | 98010999.edt | 1 | 10 | 10 | 0 | 0 | 28.749 | 28.528 | 0 | -0.221
98010999.ctd | 98010999.edt | 1 | 20 | 20 | 0 | 0 | 28.9167 | 28.9548 | 0 | 0.038099
98010999.ctd | 98010999.edt | 1 | 30 | 30 | 0 | 0 | 29.0782 | 29.0558 | 0 | -0.0224
98010999.ctd | 98010999.edt | 1 | 50 | 50 | 0 | 0 | 29.3115 | 29.3008 | 0 | -0.0107
98010999.ctd | 98010999.edt | 1 | 75 | 75 | 0 | 0 | 29.5755 | 29.7462 | 0 | 0.1707
98010999.ctd | 98010999.edt | 1 | 100 | 100 | 0 | 0 | 30.7427 | 30.707 | 0 | -0.0357
98010999.ctd | 98010999.edt | 1 | 110 | 110 | 0 | 0 | 30.9578 | 30.9354 | 0 | -0.0224
98010999.ctd | 98010999.edt | 1 | 120 | 120 | 0 | 0 | 31.0414 | 31.0255 | 0 | -0.015902
98010999.ctd | 98010999.edt | 1 | 130 | 130 | 0 | 0 | 31.0951 | 31.1024 | 0 | 0.0072994
98010999.ctd | 98010999.edt | 1 | 140 | 140 | 0 | 0 | 31.1211 | 31.1437 | 0 | 0.0226
98010999.ctd | 98010999.edt | 1 | 150 | 150 | 0 | 0 | 31.1491 | 31.172 | 0 | 0.022902
98010999.ctd | 98010999.edt | 1 | 160 | 160 | 0 | 0 | 31.1684 | 31.1838 | 0 | 0.0154
98010999.ctd | 98010999.edt | 1 | 170 | 170 | 0 | 0 | 31.1798 | 31.1874 | 0 | 0.0076008
98010999.ctd | 98010999.edt | 0 | 180 | 0 | 0 | -180 | 31.1861 | 0 | 0 | -31.1861
98010999.ctd | 98010999.edt | 0 | 190 | 0 | 0 | -190 | 31.1907 | 0 | 0 | -31.1907
98010999.ctd | 98010999.edt | 0 | 200 | 0 | 0 | -200 | 31.1952 | 0 | 0 | -31.1952
98010999.ctd | 98010999.edt | 0 | 210 | 0 | 0 | -210 | 31.1997 | 0 | 0 | -31.1997
98010999.ctd | 98010999.edt | 0 | 219.954 | 0 | 0 | -219.954 | 31.207 | 0 | 0 | -31.207
Create Fit Sheet