## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 98010003.hyd | 98010003.avg | 11 | 18 | 98010003.hyd & 98010003.avg
2 | 98010004.hyd | 98010004.avg | 20 | 27 | 98010004.hyd & 98010004.avg
3 | 98010005.hyd | 98010005.avg | 29 | 36 | 98010005.hyd & 98010005.avg
4 | 98010006.hyd | 98010006.avg | 38 | 47 | 98010006.hyd & 98010006.avg
5 | 98010007.hyd | 98010007.avg | 49 | 58 | 98010007.hyd & 98010007.avg
6 | 98010008.hyd | 98010008.avg | 60 | 70 | 98010008.hyd & 98010008.avg
7 | 98010009.hyd | 98010009.avg | 72 | 79 | 98010009.hyd & 98010009.avg
8 | 98010010.hyd | 98010010.avg | 81 | 86 | 98010010.hyd & 98010010.avg
9 | 98010011.hyd | 98010011.avg | 88 | 96 | 98010011.hyd & 98010011.avg

## 9801COMP
Calculation of Linear Least Squares Fit For
(Salinity - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 78
# of Values Used in Fit = |  |  | 20
File | Use | Pressure | Salinity | Salinity | Diff (Salinity - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE! |  | 100.475 | 0.010849
1 | NO | 10.475 | 30.3841 | 0.010323 | 129.384 | #VALUE! | #VALUE! |  | 150.67 | 0.0099983
1 | NO | 20.485 | 30.528 | 0.0082729 | 129.528 | #VALUE! | #VALUE! |  | 100.48 | -0.019199
1 | NO | 30.49 | 30.6857 | 0.047942 | 129.686 | #VALUE! | #VALUE! |  | 125.8 | -0.0038986
1 | NO | 50.48 | 30.8362 | 0.0036779 | -0.058498 | #VALUE! | #VALUE! |  | 144.96 | 0.0215
1 | NO | 75.515 | 31.7828 | 0.03479 | 0.116 | #VALUE! | #VALUE! |  | 150.49 | -0.0107
1 | YES | 100.475 | 32.0942 | 0.0077092 | 0.010849 | #VALUE! | #VALUE! |  | 201.485 | -0.0090504
1 | YES | 150.67 | 32.544 | 0 | 0.0099983 | #VALUE! | #VALUE! |  | 250.84 | -0.0135
2 | NO | 1.505 | 30.0511 | 0.0056564 | 129.051 | #VALUE! | #VALUE! |  | 101.49 | -0.010151
2 | NO | 10.495 | 30.0907 | 0.00056645 | 129.091 | #VALUE! | #VALUE! |  | 149.993 | 0.018999
2 | NO | 20.495 | 30.1189 | 0.0019799 | 129.119 | #VALUE! | #VALUE! |  | 202.997 | 0.0069332
2 | NO | 30.465 | 30.1438 | 0.0041014 | 129.144 | #VALUE! | #VALUE! |  | 253.415 | 0.02305
2 | NO | 50.51 | 30.5489 | 0.0031816 | -0.07815 | #VALUE! | #VALUE! |  | 289.485 | 0.013598
2 | NO | 76.49 | 31.094 | 0.0029698 | 0.0018997 | #VALUE! | #VALUE! |  | 101.003 | 0.024601
2 | YES | 100.48 | 31.4108 | 0.0060813 | -0.019199 | #VALUE! | #VALUE! |  | 151.495 | 0.0075989
2 | YES | 125.8 | 31.905 | 0 | -0.0038986 | #VALUE! | #VALUE! |  | 251.5 | -0.01165
3 | NO | 2.07 | 30.2626 | 0 | 7.2626 | #VALUE! | #VALUE! |  | 325.3 | 0.014349
3 | NO | 10.485 | 30.2756 | 0.0031816 | 129.276 | #VALUE! | #VALUE! |  | 150.94 | -0.0119
3 | NO | 20.485 | 30.3299 | 0.0007782 | 9.33 | #VALUE! | #VALUE! |  | 150.485 | -0.0019989
3 | NO | 30.5 | 30.332 | 0.00014161 | 129.332 | #VALUE! | #VALUE! |  | 174.96 | -0.024599
3 | NO | 49.49 | 30.3871 | 0.00084833 | 11.3871 | #VALUE! | #VALUE!
3 | NO | 75.495 | 30.6767 | 0.00091846 | 0.0020504 | #VALUE! | #VALUE!
3 | NO | 99.505 | 30.8108 | 0.014001 | 9.9182e-05 | #VALUE! | #VALUE!
3 | YES | 144.96 | 31.2059 | 0 | 0.0215 | #VALUE! | #VALUE!
4 | NO | 0 | 0 | 0 | 99 | #VALUE! | #VALUE!
4 | NO | 10.505 | 29.9727 | 0.0010601 | 128.973 | #VALUE! | #VALUE!
4 | NO | 20.485 | 29.9803 | 0.00049497 | 128.98 | #VALUE! | #VALUE!
4 | NO | 30.51 | 29.9837 | 7.0132e-05 | 128.984 | #VALUE! | #VALUE!
4 | NO | 50.495 | 30.0085 | 0.0019799 | -0.0107 | #VALUE! | #VALUE!
4 | NO | 75.47 | 30.0532 | 0.0069997 | 0.011351 | #VALUE! | #VALUE!
4 | NO | 100.49 | 30.079 | 0.0015551 | -0.1521 | #VALUE! | #VALUE!
4 | YES | 150.49 | 30.3568 | 0.010183 | -0.0107 | #VALUE! | #VALUE!
4 | YES | 201.485 | 30.7514 | 0.020294 | -0.0090504 | #VALUE! | #VALUE!
4 | YES | 250.84 | 30.761 | 0 | -0.0135 | #VALUE! | #VALUE!
5 | NO | 11.5 | 29.7283 | 7.0132e-05 | 128.728 | #VALUE! | #VALUE!
5 | NO | 21.49 | 29.7482 | 0.0075648 | 128.748 | #VALUE! | #VALUE!
5 | NO | 31.475 | 29.8094 | 0.0045249 | 128.809 | #VALUE! | #VALUE!
5 | NO | 51.5 | 29.8579 | 0.00049497 | 128.858 | #VALUE! | #VALUE!
5 | NO | 76.495 | 29.9287 | 0.0012017 | 0.02475 | #VALUE! | #VALUE!
5 | YES | 101.49 | 30.1097 | 0.0041715 | -0.010151 | #VALUE! | #VALUE!
5 | YES | 149.993 | 30.3095 | 0.0036043 | 0.018999 | #VALUE! | #VALUE!
5 | YES | 202.997 | 30.4147 | 0.00089616 | 0.0069332 | #VALUE! | #VALUE!
5 | YES | 253.415 | 30.5476 | 0.0070011 | 0.02305 | #VALUE! | #VALUE!
5 | YES | 289.485 | 30.5921 | 0.00014161 | 0.013598 | #VALUE! | #VALUE!
6 | NO | 1.14 | 29.5721 | 0.091723 | 128.572 | #VALUE! | #VALUE!
6 | NO | 10.49 | 29.7441 | 0.00014161 | 128.744 | #VALUE! | #VALUE!
6 | NO | 20.5 | 29.7481 | 0.00070672 | 128.748 | #VALUE! | #VALUE!
6 | NO | 30.51 | 29.7985 | 0.0012017 | 128.798 | #VALUE! | #VALUE!
6 | NO | 51.01 | 29.8234 | 0.00065518 | 128.823 | #VALUE! | #VALUE!
6 | NO | 75.5 | 29.8177 | 0.00063524 | 0.012348 | #VALUE! | #VALUE!
6 | YES | 101.003 | 29.8271 | 0.0013112 | 0.024601 | #VALUE! | #VALUE!
6 | YES | 151.495 | 30.0776 | 0.00084833 | 0.0075989 | #VALUE! | #VALUE!
6 | NO | 203.49 | 30.1304 | 0 | 0.033499 | #VALUE! | #VALUE!
6 | YES | 251.5 | 30.2236 | 0.00205 | -0.01165 | #VALUE! | #VALUE!
6 | YES | 325.3 | 30.4156 | 7.1481e-05 | 0.014349 | #VALUE! | #VALUE!
7 | NO | 1.2 | 29.0359 | 0 | 128.036 | #VALUE! | #VALUE!
7 | NO | 9.515 | 29.2928 | 0.023334 | 128.293 | #VALUE! | #VALUE!
7 | NO | 20.5 | 29.4103 | 0.043699 | 128.41 | #VALUE! | #VALUE!
7 | NO | 30.495 | 29.6294 | 0.0028997 | 128.629 | #VALUE! | #VALUE!
7 | NO | 50.51 | 29.7252 | 0.0011316 | -0.0788 | #VALUE! | #VALUE!
7 | NO | 75.51 | 29.8391 | 0.00056645 | -0.0422 | #VALUE! | #VALUE!
7 | NO | 100.525 | 29.8903 | 0.0027581 | -0.034149 | #VALUE! | #VALUE!
7 | YES | 150.94 | 30.1728 | 0 | -0.0119 | #VALUE! | #VALUE!
8 | NO | 0.69 | 28.1996 | 0.021496 | 127.2 | #VALUE! | #VALUE!
8 | NO | 10.48 | 28.834 | 0.015061 | 127.834 | #VALUE! | #VALUE!
8 | NO | 20.495 | 29.1767 | 0.0074246 | 128.177 | #VALUE! | #VALUE!
8 | NO | 30.51 | 29.3651 | 0.0024047 | 128.365 | #VALUE! | #VALUE!
8 | NO | 50.51 | 29.5212 | 0.0045262 | -0.022499 | #VALUE! | #VALUE!
8 | NO | 75.61 | 29.6568 | 0 | 0.0039997 | #VALUE! | #VALUE!
9 | NO | 0.63 | 27.0728 | 0.014496 | 126.073 | #VALUE! | #VALUE!
9 | NO | 10.51 | 28.5509 | 0.032456 | 127.551 | #VALUE! | #VALUE!
9 | NO | 20.5 | 28.9624 | 0.010748 | 127.962 | #VALUE! | #VALUE!
9 | NO | 30.49 | 29.0563 | 0.00070807 | 128.056 | #VALUE! | #VALUE!
9 | NO | 50.48 | 29.3076 | 0.0095461 | -0.05925 | #VALUE! | #VALUE!
9 | NO | 75.485 | 29.75 | 0.0054447 | -0.04735 | #VALUE! | #VALUE!
9 | NO | 100.48 | 30.7211 | 0.019869 | -0.077049 | #VALUE! | #VALUE!
9 | YES | 150.485 | 31.1727 | 0.00098995 | -0.0019989 | #VALUE! | #VALUE!
9 | YES | 174.96 | 31.1671 | 0 | -0.024599 | #VALUE! | #VALUE!
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
FIT vs. Pressure
FIT vs. Salinity
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Salinity |  | Salinity - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Salinity | Salinity | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
98010003.hyd | 98010003.avg | 0 | 1.3 | 0 | 0 | -1.3 | -99 | 0 | 0 | 99
98010003.hyd | 98010003.avg | 2 | 10.3 | 10.475 | 0.68589 | 0.175 | -99 | 30.3841 | 0.010323 | 129.384
98010003.hyd | 98010003.avg | 2 | 20.3 | 20.485 | 0.71418 | 0.185 | -99 | 30.528 | 0.0082729 | 129.528
98010003.hyd | 98010003.avg | 2 | 30.6 | 30.49 | 0.70711 | -0.11 | -99 | 30.6857 | 0.047942 | 129.686
98010003.hyd | 98010003.avg | 2 | 50.7 | 50.48 | 0.70711 | -0.22 | 30.8947 | 30.8362 | 0.0036779 | -0.058498
98010003.hyd | 98010003.avg | 2 | 75.8 | 75.515 | 0.74246 | -0.285 | 31.6668 | 31.7828 | 0.03479 | 0.116
98010003.hyd | 98010003.avg | 2 | 100.2 | 100.475 | 0.72832 | 0.275 | 32.0834 | 32.0942 | 0.0077092 | 0.010849
98010003.hyd | 98010003.avg | 1 | 151 | 150.67 | 0 | -0.33 | 32.534 | 32.544 | 0 | 0.0099983
98010004.hyd | 98010004.avg | 2 | 1.1 | 1.505 | 0.65761 | 0.405 | -99 | 30.0511 | 0.0056564 | 129.051
98010004.hyd | 98010004.avg | 2 | 10.3 | 10.495 | 0.70004 | 0.195 | -99 | 30.0907 | 0.00056645 | 129.091
98010004.hyd | 98010004.avg | 2 | 20.7 | 20.495 | 0.65761 | -0.205 | -99 | 30.1189 | 0.0019799 | 129.119
98010004.hyd | 98010004.avg | 2 | 30.3 | 30.465 | 0.74246 | 0.165 | -99 | 30.1438 | 0.0041014 | 129.144
98010004.hyd | 98010004.avg | 2 | 50.4 | 50.51 | 0.74953 | 0.11 | 30.627 | 30.5489 | 0.0031816 | -0.07815
98010004.hyd | 98010004.avg | 2 | 76 | 76.49 | 0.69297 | 0.49001 | 31.0921 | 31.094 | 0.0029698 | 0.0018997
98010004.hyd | 98010004.avg | 2 | 100.6 | 100.48 | 0.67882 | -0.12 | 31.43 | 31.4108 | 0.0060813 | -0.019199
98010004.hyd | 98010004.avg | 1 | 126.2 | 125.8 | 0 | -0.39999 | 31.9089 | 31.905 | 0 | -0.0038986
98010005.hyd | 98010005.avg | 1 | 2 | 2.07 | 0 | 0.07 | 23 | 30.2626 | 0 | 7.2626
98010005.hyd | 98010005.avg | 2 | 10.1 | 10.485 | 0.68589 | 0.385 | -99 | 30.2756 | 0.0031816 | 129.276
98010005.hyd | 98010005.avg | 2 | 20.8 | 20.485 | 0.71418 | -0.315 | 21 | 30.3299 | 0.0007782 | 9.33
98010005.hyd | 98010005.avg | 2 | 30.6 | 30.5 | 0.73539 | -0.1 | -99 | 30.332 | 0.00014161 | 129.332
98010005.hyd | 98010005.avg | 2 | 49.9 | 49.49 | 0.69296 | -0.41 | 19 | 30.3871 | 0.00084833 | 11.3871
98010005.hyd | 98010005.avg | 2 | 75.2 | 75.495 | 0.72832 | 0.29501 | 30.6746 | 30.6767 | 0.00091846 | 0.0020504
98010005.hyd | 98010005.avg | 2 | 99.1 | 99.505 | 0.70003 | 0.40501 | 30.8107 | 30.8108 | 0.014001 | 9.9182e-05
98010005.hyd | 98010005.avg | 1 | 145.6 | 144.96 | 0 | -0.64 | 31.1844 | 31.2059 | 0 | 0.0215
98010006.hyd | 98010006.avg | 0 | 0.8 | 0 | 0 | -0.8 | -99 | 0 | 0 | 99
98010006.hyd | 98010006.avg | 2 | 10.3 | 10.505 | 0.70004 | 0.205 | -99 | 29.9727 | 0.0010601 | 128.973
98010006.hyd | 98010006.avg | 2 | 20.7 | 20.485 | 0.70004 | -0.215 | -99 | 29.9803 | 0.00049497 | 128.98
98010006.hyd | 98010006.avg | 2 | 30.3 | 30.51 | 0.72125 | 0.21 | -99 | 29.9837 | 7.0132e-05 | 128.984
98010006.hyd | 98010006.avg | 2 | 50.7 | 50.495 | 0.71418 | -0.205 | 30.0192 | 30.0085 | 0.0019799 | -0.0107
98010006.hyd | 98010006.avg | 2 | 75.3 | 75.47 | 0.76368 | 0.17 | 30.0418 | 30.0532 | 0.0069997 | 0.011351
98010006.hyd | 98010006.avg | 2 | 100.3 | 100.49 | 0.67882 | 0.19 | 30.2311 | 30.079 | 0.0015551 | -0.1521
98010006.hyd | 98010006.avg | 2 | 150.7 | 150.49 | 0.72125 | -0.21001 | 30.3675 | 30.3568 | 0.010183 | -0.0107
98010006.hyd | 98010006.avg | 2 | 201.9 | 201.485 | 0.71418 | -0.41499 | 30.7605 | 30.7514 | 0.020294 | -0.0090504
98010006.hyd | 98010006.avg | 1 | 251.2 | 250.84 | 0 | -0.36 | 30.7745 | 30.761 | 0 | -0.0135
98010007.hyd | 98010007.avg | 2 | 11.1 | 11.5 | 0.67882 | 0.4 | -99 | 29.7283 | 7.0132e-05 | 128.728
98010007.hyd | 98010007.avg | 2 | 21.8 | 21.49 | 0.70711 | -0.31 | -99 | 29.7482 | 0.0075648 | 128.748
98010007.hyd | 98010007.avg | 2 | 31 | 31.475 | 0.70004 | 0.475 | -99 | 29.8094 | 0.0045249 | 128.809
98010007.hyd | 98010007.avg | 2 | 51.2 | 51.5 | 0.70711 | 0.3 | -99 | 29.8579 | 0.00049497 | 128.858
98010007.hyd | 98010007.avg | 2 | 76.8 | 76.495 | 0.72832 | -0.305 | 29.904 | 29.9287 | 0.0012017 | 0.02475
98010007.hyd | 98010007.avg | 2 | 101 | 101.49 | 0.69297 | 0.49001 | 30.1199 | 30.1097 | 0.0041715 | -0.010151
98010007.hyd | 98010007.avg | 3 | 150 | 149.993 | 1.0001 | -0.0066681 | 30.2905 | 30.3095 | 0.0036043 | 0.018999
98010007.hyd | 98010007.avg | 3 | 203 | 202.997 | 1 | -0.0033264 | 30.4078 | 30.4147 | 0.00089616 | 0.0069332
98010007.hyd | 98010007.avg | 2 | 253 | 253.415 | 0.79902 | 0.41501 | 30.5246 | 30.5476 | 0.0070011 | 0.02305
98010007.hyd | 98010007.avg | 2 | 289.2 | 289.485 | 0.70005 | 0.28497 | 30.5785 | 30.5921 | 0.00014161 | 0.013598
98010008.hyd | 98010008.avg | 3 | 1.1 | 1.14 | 0.8354 | 0.04 | -99 | 29.5721 | 0.091723 | 128.572
98010008.hyd | 98010008.avg | 2 | 10.2 | 10.49 | 0.69296 | 0.29 | -99 | 29.7441 | 0.00014161 | 128.744
98010008.hyd | 98010008.avg | 2 | 20.2 | 20.5 | 0.66468 | 0.3 | -99 | 29.7481 | 0.00070672 | 128.748
98010008.hyd | 98010008.avg | 2 | 30.1 | 30.51 | 0.72125 | 0.41 | -99 | 29.7985 | 0.0012017 | 128.798
98010008.hyd | 98010008.avg | 3 | 51 | 51.01 | 0.97504 | 0.010002 | -99 | 29.8234 | 0.00065518 | 128.823
98010008.hyd | 98010008.avg | 2 | 75.1 | 75.5 | 0.74953 | 0.4 | 29.8054 | 29.8177 | 0.00063524 | 0.012348
98010008.hyd | 98010008.avg | 3 | 101 | 101.003 | 0.97007 | 0.003334 | 29.8025 | 29.8271 | 0.0013112 | 0.024601
98010008.hyd | 98010008.avg | 2 | 151 | 151.495 | 0.71417 | 0.495 | 30.07 | 30.0776 | 0.00084833 | 0.0075989
98010008.hyd | 98010008.avg | 2 | 203 | 203.49 | 0.72125 | 0.48999 | 30.0969 | 30.1304 | 0 | 0.033499
98010008.hyd | 98010008.avg | 2 | 252 | 251.5 | 0.70711 | -0.5 | 30.2353 | 30.2236 | 0.00205 | -0.01165
98010008.hyd | 98010008.avg | 2 | 325.9 | 325.3 | 0.48085 | -0.60001 | 30.4013 | 30.4156 | 7.1481e-05 | 0.014349
98010009.hyd | 98010009.avg | 1 | 0.4 | 1.2 | 0 | 0.8 | -99 | 29.0359 | 0 | 128.036
98010009.hyd | 98010009.avg | 2 | 10 | 9.515 | 0.71418 | -0.485 | -99 | 29.2928 | 0.023334 | 128.293
98010009.hyd | 98010009.avg | 2 | 20.7 | 20.5 | 0.70711 | -0.2 | -99 | 29.4103 | 0.043699 | 128.41
98010009.hyd | 98010009.avg | 2 | 30.6 | 30.495 | 0.71418 | -0.105 | -99 | 29.6294 | 0.0028997 | 128.629
98010009.hyd | 98010009.avg | 2 | 50.4 | 50.51 | 0.70711 | 0.11 | 29.804 | 29.7252 | 0.0011316 | -0.0788
98010009.hyd | 98010009.avg | 2 | 75.3 | 75.51 | 0.70711 | 0.21 | 29.8813 | 29.8391 | 0.00056645 | -0.0422
98010009.hyd | 98010009.avg | 2 | 100.2 | 100.525 | 0.70003 | 0.325 | 29.9244 | 29.8903 | 0.0027581 | -0.034149
98010009.hyd | 98010009.avg | 1 | 151.3 | 150.94 | 0 | -0.36 | 30.1847 | 30.1728 | 0 | -0.0119
98010010.hyd | 98010010.avg | 2 | 0.8 | 0.69 | 0.35355 | -0.11 | -99 | 28.1996 | 0.021496 | 127.2
98010010.hyd | 98010010.avg | 2 | 10.6 | 10.48 | 0.72125 | -0.12 | -99 | 28.834 | 0.015061 | 127.834
98010010.hyd | 98010010.avg | 2 | 20.4 | 20.495 | 0.70004 | 0.094999 | -99 | 29.1767 | 0.0074246 | 128.177
98010010.hyd | 98010010.avg | 2 | 30.7 | 30.51 | 0.70711 | -0.19 | -99 | 29.3651 | 0.0024047 | 128.365
98010010.hyd | 98010010.avg | 2 | 50.4 | 50.51 | 0.73539 | 0.11 | 29.5437 | 29.5212 | 0.0045262 | -0.022499
98010010.hyd | 98010010.avg | 1 | 76.1 | 75.61 | 0 | -0.49 | 29.6528 | 29.6568 | 0 | 0.0039997
98010011.hyd | 98010011.avg | 2 | 0.6 | 0.63 | 0.46669 | 0.03 | -99 | 27.0728 | 0.014496 | 126.073
98010011.hyd | 98010011.avg | 2 | 10.6 | 10.51 | 0.70711 | -0.09 | -99 | 28.5509 | 0.032456 | 127.551
98010011.hyd | 98010011.avg | 2 | 20.4 | 20.5 | 0.72125 | 0.1 | -99 | 28.9624 | 0.010748 | 127.962
98010011.hyd | 98010011.avg | 2 | 30.6 | 30.49 | 0.72125 | -0.11 | -99 | 29.0563 | 0.00070807 | 128.056
98010011.hyd | 98010011.avg | 2 | 50.7 | 50.48 | 0.70711 | -0.22 | 29.3668 | 29.3076 | 0.0095461 | -0.05925
98010011.hyd | 98010011.avg | 2 | 75.3 | 75.485 | 0.71417 | 0.185 | 29.7974 | 29.75 | 0.0054447 | -0.04735
98010011.hyd | 98010011.avg | 2 | 100.3 | 100.48 | 0.70711 | 0.18 | 30.7981 | 30.7211 | 0.019869 | -0.077049
98010011.hyd | 98010011.avg | 2 | 150.7 | 150.485 | 0.70003 | -0.215 | 31.1747 | 31.1727 | 0.00098995 | -0.0019989
98010011.hyd | 98010011.avg | 1 | 175.6 | 174.96 | 0 | -0.64 | 31.1917 | 31.1671 | 0 | -0.024599
Create Fit Sheet