## File List
Number of Files= |  | 9
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 98110001.cln | 98110001.cor | 11 | 31 | 98110001.cln & 98110001.cor
2 | 98110002.cln | 98110002.cor | 33 | 35 | 98110002.cln & 98110002.cor
3 | 98110003.cln | 98110003.cor | 37 | 58 | 98110003.cln & 98110003.cor
4 | 98110005.cln | 98110005.cor | 60 | 81 | 98110005.cln & 98110005.cor
5 | 98110015.cln | 98110015.cor | 83 | 90 | 98110015.cln & 98110015.cor
6 | 98110017.cln | 98110017.cor | 92 | 98 | 98110017.cln & 98110017.cor
7 | 98110019.cln | 98110019.cor | 100 | 109 | 98110019.cln & 98110019.cor
8 | 98110021.cln | 98110021.cor | 111 | 123 | 98110021.cln & 98110021.cor
9 | 98110022.cln | 98110022.cor | 125 | 136 | 98110022.cln & 98110022.cor

## (Sal_CTD - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal_CTD - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal_CTD - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 118
# of Values Used in Fit = |  |  | 67
File | Use | Pressure | Sal_CTD | Sal_CTD | Diff (Sal_CTD - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 2084.75 | 34.6006 | 0.0003177 | -0.0024338 | #VALUE! | #VALUE! |  | 2084.75 | -0.0024338
1 | YES | 1496.75 | 34.5126 | 0.00024474 | -0.0006485 | #VALUE! | #VALUE! |  | 1496.75 | -0.0006485
1 | YES | 1199.48 | 34.4677 | 0.0002267 | -0.00013351 | #VALUE! | #VALUE! |  | 1199.48 | -0.00013351
1 | YES | 1000.35 | 34.3967 | 0.00041336 | 0.00020599 | #VALUE! | #VALUE! |  | 1000.35 | 0.00020599
1 | YES | 802.052 | 34.3041 | 0.00028157 | 0.000103 | #VALUE! | #VALUE! |  | 802.052 | 0.000103
1 | YES | 598.587 | 34.1842 | 0.00030593 | 0.0013313 | #VALUE! | #VALUE! |  | 598.587 | 0.0013313
1 | YES | 496.671 | 34.1064 | 0.00024572 | 0.00078964 | #VALUE! | #VALUE! |  | 496.671 | 0.00078964
1 | YES | 402.9 | 34.0046 | 0.0006654 | -0.00019836 | #VALUE! | #VALUE! |  | 402.9 | -0.00019836
1 | YES | 298.551 | 33.9712 | 0.00021289 | 0.0015526 | #VALUE! | #VALUE! |  | 298.551 | 0.0015526
1 | YES | 251.25 | 33.9532 | 0.00038137 | 0.0017853 | #VALUE! | #VALUE! |  | 251.25 | 0.0017853
1 | YES | 199.703 | 33.9325 | 0.00061125 | 0.001236 | #VALUE! | #VALUE! |  | 199.703 | 0.001236
1 | YES | 172.695 | 33.8957 | 0.00025201 | 0.00094604 | #VALUE! | #VALUE! |  | 172.695 | 0.00094604
1 | YES | 149.591 | 33.8143 | 0.001518 | 0.0065117 | #VALUE! | #VALUE! |  | 149.591 | 0.0065117
1 | YES | 123.636 | 33.6513 | 0.00029088 | 0.0032921 | #VALUE! | #VALUE! |  | 123.636 | 0.0032921
1 | YES | 101.063 | 33.3466 | 0.0020207 | -0.0031738 | #VALUE! | #VALUE! |  | 101.063 | -0.0031738
1 | NO | 73.8098 | 32.7506 | 0.0033851 | -0.0077705 | #VALUE! | #VALUE! |  | 2503.43 | -0.00067139
1 | NO | 48.9901 | 32.5589 | 0.00025306 | -0.00012207 | #VALUE! | #VALUE! |  | 1001.31 | 0.00039673
1 | NO | 29.886 | 32.4128 | 0.0080217 | 0.041038 | #VALUE! | #VALUE! |  | 503.942 | 0.0047836
1 | NO | 18.9744 | 31.9111 | 0.0012842 | -0.0092106 | #VALUE! | #VALUE! |  | 2510.93 | 0.0012283
1 | NO | 10.2646 | 31.9127 | 0.0002847 | 0.00070953 | #VALUE! | #VALUE! |  | 2001.86 | -0.00103
1 | NO | 1.9794 | 31.9095 | 0.0034555 | -0.00065231 | #VALUE! | #VALUE! |  | 1500.55 | 0.00042725
2 | YES | 2503.43 | 34.6336 | 0.00025415 | -0.00067139 | #VALUE! | #VALUE! |  | 1199.66 | -0.00020218
2 | YES | 1001.31 | 34.3757 | 0.00033773 | 0.00039673 | #VALUE! | #VALUE! |  | 999.543 | 0.0015793
2 | YES | 503.942 | 34.0944 | 0.00074578 | 0.0047836 | #VALUE! | #VALUE! |  | 802.216 | 0.0013008
3 | YES | 2510.93 | 34.6328 | 0.00026742 | 0.0012283 | #VALUE! | #VALUE! |  | 599.564 | 0.00072861
3 | YES | 2001.86 | 34.5852 | 0.0002287 | -0.00103 | #VALUE! | #VALUE! |  | 498.818 | 0.0012016
3 | YES | 1500.55 | 34.5174 | 0.00033571 | 0.00042725 | #VALUE! | #VALUE! |  | 401.494 | 0.0010185
3 | YES | 1199.66 | 34.454 | 0.00020221 | -0.00020218 | #VALUE! | #VALUE! |  | 300.541 | 0.00041199
3 | YES | 999.543 | 34.3868 | 0.00025903 | 0.0015793 | #VALUE! | #VALUE! |  | 250.22 | 0.0021248
3 | YES | 802.216 | 34.3211 | 0.00036768 | 0.0013008 | #VALUE! | #VALUE! |  | 202.086 | 0.00072861
3 | YES | 599.564 | 34.1809 | 0.00023216 | 0.00072861 | #VALUE! | #VALUE! |  | 175.162 | 0.0026627
3 | YES | 498.818 | 34.1074 | 0.00045886 | 0.0012016 | #VALUE! | #VALUE! |  | 149.23 | -0.0052605
3 | YES | 401.494 | 34.0331 | 0.00026492 | 0.0010185 | #VALUE! | #VALUE! |  | 124.462 | 0.012024
3 | YES | 300.541 | 33.9767 | 0.00060337 | 0.00041199 | #VALUE! | #VALUE! |  | 2090.68 | -0.00035477
3 | YES | 250.22 | 33.9539 | 0.00043748 | 0.0021248 | #VALUE! | #VALUE! |  | 1998.59 | -0.0010185
3 | YES | 202.086 | 33.9125 | 0.00021039 | 0.00072861 | #VALUE! | #VALUE! |  | 1499.74 | 0.00069427
3 | YES | 175.162 | 33.8619 | 0.00029267 | 0.0026627 | #VALUE! | #VALUE! |  | 1199.39 | 0.00014114
3 | YES | 149.23 | 33.7117 | 0.00032366 | -0.0052605 | #VALUE! | #VALUE! |  | 999.366 | 0.0013542
3 | YES | 124.462 | 33.4696 | 0.0021636 | 0.012024 | #VALUE! | #VALUE! |  | 796.201 | 0.0015488
3 | NO | 99.9847 | 32.926 | 0.00074715 | -1.0048 | #VALUE! | #VALUE! |  | 600.263 | 0.00086594
3 | NO | 73.8045 | 32.6376 | 0.00069382 | -0.00022888 | #VALUE! | #VALUE! |  | 501.159 | -9.1553e-05
3 | NO | 48.5859 | 32.4832 | 0.0033063 | 0.0038338 | #VALUE! | #VALUE! |  | 400.436 | 0.0013809
3 | NO | 30.6547 | 31.8353 | 0.000499 | -0.027002 | #VALUE! | #VALUE! |  | 249.555 | 0.00071716
3 | NO | 20.196 | 31.7848 | 0.0010373 | -0.00049973 | #VALUE! | #VALUE! |  | 199.486 | 0.0014648
3 | NO | 10.5163 | 31.7873 | 0.0002033 | -5.722e-05 | #VALUE! | #VALUE! |  | 174.577 | -0.00022507
3 | NO | 1.9217 | 31.7867 | 0.00028357 | -0.00089836 | #VALUE! | #VALUE! |  | 149.608 | 0.0026436
4 | YES | 2090.68 | 34.605 | 0.00025988 | -0.00035477 | #VALUE! | #VALUE! |  | 124.43 | 0.0020142
4 | YES | 1998.59 | 34.5882 | 0.0002361 | -0.0010185 | #VALUE! | #VALUE! |  | 100.454 | -0.00076294
4 | YES | 1499.74 | 34.5037 | 0.00023243 | 0.00069427 | #VALUE! | #VALUE! |  | 125.486 | -0.0020218
4 | YES | 1199.39 | 34.4405 | 0.00037775 | 0.00014114 | #VALUE! | #VALUE! |  | 101.153 | -0.041344
4 | YES | 999.366 | 34.3791 | 0.00030399 | 0.0013542 | #VALUE! | #VALUE! |  | 101.385 | 0.01004
4 | YES | 796.201 | 34.2831 | 0.00025984 | 0.0015488 | #VALUE! | #VALUE! |  | 173.475 | -0.00096512
4 | YES | 600.263 | 34.1725 | 0.00023248 | 0.00086594 | #VALUE! | #VALUE! |  | 153.934 | 0.0006485
4 | YES | 501.159 | 34.1155 | 0.0002451 | -9.1553e-05 | #VALUE! | #VALUE! |  | 123.757 | -0.00072479
4 | YES | 400.436 | 34.0424 | 0.00059798 | 0.0013809 | #VALUE! | #VALUE! |  | 101.158 | 0.0068283
4 | NO | 299.353 | 33.9691 | 0.00023936 | -1.0009 | #VALUE! | #VALUE! |  | 280.123 | -0.0015984
4 | YES | 249.555 | 33.9599 | 0.0002356 | 0.00071716 | #VALUE! | #VALUE! |  | 248.714 | -0.0033722
4 | YES | 199.486 | 33.9333 | 0.0010313 | 0.0014648 | #VALUE! | #VALUE! |  | 198.59 | -0.0024567
4 | YES | 174.577 | 33.9082 | 0.00074843 | -0.00022507 | #VALUE! | #VALUE! |  | 174.591 | -0.00354
4 | YES | 149.608 | 33.8742 | 0.00038452 | 0.0026436 | #VALUE! | #VALUE! |  | 149.893 | -0.0026398
4 | YES | 124.43 | 33.7848 | 0.00058309 | 0.0020142 | #VALUE! | #VALUE! |  | 125.925 | -0.0010033
4 | YES | 100.454 | 33.5532 | 0.0002691 | -0.00076294 | #VALUE! | #VALUE! |  | 249.847 | -0.00077438
4 | NO | 74.8286 | 33.2847 | 0.001415 | 0.027737 | #VALUE! | #VALUE! |  | 200.749 | -0.0026131
4 | NO | 50.8586 | 32.7365 | 0.00035192 | -0.0099068 | #VALUE! | #VALUE! |  | 174.384 | -0.0062027
4 | NO | 30.9916 | 32.5897 | 0.00028922 | -0.0066528 | #VALUE! | #VALUE! |  | 150.729 | 0.01931
4 | NO | 20.5336 | 32.4632 | 0.011457 | -0.0028114 | #VALUE! | #VALUE! |  | 125.138 | -0.0033722
4 | NO | 10.1836 | 32.0636 | 0.015082 | -0.11243 | #VALUE! | #VALUE! |  | 101.058 | -0.0053139
4 | NO | 1.4167 | 31.994 | 0.00034259 | -0.0014305 | #VALUE! | #VALUE!
5 | YES | 125.486 | 33.4992 | 0.00056832 | -0.0020218 | #VALUE! | #VALUE!
5 | YES | 101.153 | 32.9993 | 0.0069016 | -0.041344 | #VALUE! | #VALUE!
5 | NO | 75.7316 | 32.6064 | 0.0016573 | -0.015339 | #VALUE! | #VALUE!
5 | NO | 49.4883 | 32.5435 | 0.00090144 | -0.0068321 | #VALUE! | #VALUE!
5 | NO | 30.534 | 32.4658 | 0.0014012 | -0.0067329 | #VALUE! | #VALUE!
5 | NO | 21.1676 | 32.2155 | 0.0074957 | 0.001091 | #VALUE! | #VALUE!
5 | NO | 10.9354 | 31.7059 | 0.00055465 | -0.025682 | #VALUE! | #VALUE!
5 | NO | 2.0847 | 31.7031 | 0.00043243 | -0.0028629 | #VALUE! | #VALUE!
6 | YES | 101.385 | 33.6618 | 0.00074113 | 0.01004 | #VALUE! | #VALUE!
6 | NO | 77.3092 | 33.1479 | 0.0049365 | 0.043644 | #VALUE! | #VALUE!
6 | NO | 49.8273 | 32.563 | 0.0034796 | -0.0019607 | #VALUE! | #VALUE!
6 | NO | 29.2297 | 32.4106 | 0.0015271 | 0.034405 | #VALUE! | #VALUE!
6 | NO | 20.9289 | 32.1986 | 0.0087978 | 0.03262 | #VALUE! | #VALUE!
6 | NO | 10.187 | 31.876 | 0.018434 | 0.07258 | #VALUE! | #VALUE!
6 | NO | 2.0043 | 31.5783 | 0.0037207 | -0.040152 | #VALUE! | #VALUE!
7 | YES | 173.475 | 33.82 | 0.00036501 | -0.00096512 | #VALUE! | #VALUE!
7 | YES | 153.934 | 33.8002 | 0.00067338 | 0.0006485 | #VALUE! | #VALUE!
7 | YES | 123.757 | 33.7697 | 0.00035606 | -0.00072479 | #VALUE! | #VALUE!
7 | YES | 101.158 | 33.7244 | 0.0010534 | 0.0068283 | #VALUE! | #VALUE!
7 | NO | 74.9699 | 33.4516 | 0.0015255 | 0.0024071 | #VALUE! | #VALUE!
7 | NO | 51.233 | 32.8348 | 0.00061633 | -0.030003 | #VALUE! | #VALUE!
7 | NO | 30.1973 | 32.4815 | 0.0036164 | 0.054016 | #VALUE! | #VALUE!
7 | NO | 20.3419 | 32.2598 | 0.01016 | -0.061958 | #VALUE! | #VALUE!
7 | NO | 10.6465 | 31.7492 | 0.015348 | -0.15425 | #VALUE! | #VALUE!
7 | NO | 2.017 | 31.7292 | 0.0013694 | -0.0059223 | #VALUE! | #VALUE!
8 | YES | 280.123 | 33.9002 | 0.00024479 | -0.0015984 | #VALUE! | #VALUE!
8 | YES | 248.714 | 33.882 | 0.0010825 | -0.0033722 | #VALUE! | #VALUE!
8 | YES | 198.59 | 33.8295 | 0.0011481 | -0.0024567 | #VALUE! | #VALUE!
8 | YES | 174.591 | 33.7983 | 0.00033718 | -0.00354 | #VALUE! | #VALUE!
8 | YES | 149.893 | 33.7353 | 0.0004775 | -0.0026398 | #VALUE! | #VALUE!
8 | YES | 125.925 | 33.6877 | 0.00024174 | -0.0010033 | #VALUE! | #VALUE!
8 | NO | 99.9564 | 33.2716 | 0.0041263 | -0.032494 | #VALUE! | #VALUE!
8 | NO | 76.1033 | 32.6879 | 0.0048514 | -0.026508 | #VALUE! | #VALUE!
8 | NO | 50.5715 | 32.3483 | 0.00070847 | -0.023273 | #VALUE! | #VALUE!
8 | NO | 30.6811 | 32.2631 | 0.00025516 | -0.0049438 | #VALUE! | #VALUE!
8 | NO | 20.5441 | 32.1875 | 0.0076203 | 0.0040245 | #VALUE! | #VALUE!
8 | NO | 9.2985 | 32.1605 | 0.00025287 | 0.0046844 | #VALUE! | #VALUE!
8 | NO | 1.7647 | 32.0036 | 0.0029751 | -0.01638 | #VALUE! | #VALUE!
9 | YES | 249.847 | 33.8968 | 0.0012175 | -0.00077438 | #VALUE! | #VALUE!
9 | YES | 200.749 | 33.8508 | 0.00026548 | -0.0026131 | #VALUE! | #VALUE!
9 | YES | 174.384 | 33.7683 | 0.00037582 | -0.0062027 | #VALUE! | #VALUE!
9 | YES | 150.729 | 33.6819 | 0.0040505 | 0.01931 | #VALUE! | #VALUE!
9 | YES | 125.138 | 33.376 | 0.00074219 | -0.0033722 | #VALUE! | #VALUE!
9 | YES | 101.058 | 33.1272 | 0.00043921 | -0.0053139 | #VALUE! | #VALUE!
9 | NO | 74.5686 | 32.7026 | 0.007341 | -0.015953 | #VALUE! | #VALUE!
9 | NO | 50.3074 | 32.3958 | 0.00027172 | -0.00098419 | #VALUE! | #VALUE!
9 | NO | 29.6987 | 31.6833 | 0.0037967 | -0.01228 | #VALUE! | #VALUE!
9 | NO | 19.0702 | 31.505 | 0.0010417 | 0.012751 | #VALUE! | #VALUE!
9 | NO | 11.3779 | 31.3786 | 0.0037505 | 0.011427 | #VALUE! | #VALUE!
9 | NO | 1.6468 | 31.1704 | 0.0046421 | -0.00099945 | #VALUE! | #VALUE!
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal_CTD
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal_CTD |  | Sal_CTD - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal_CTD | Salinity:T0:C0 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
98110001.cln | 98110001.cor | 73 | 2084.75 | 2084.75 | 0.028229 | 0.001709 | 34.603 | 34.6006 | 0.0003177 | -0.0024338
98110001.cln | 98110001.cor | 73 | 1497.07 | 1496.75 | 0.1855 | -0.32471 | 34.5132 | 34.5126 | 0.00024474 | -0.0006485
98110001.cln | 98110001.cor | 73 | 1199.55 | 1199.48 | 0.07993 | -0.06958 | 34.4678 | 34.4677 | 0.0002267 | -0.00013351
98110001.cln | 98110001.cor | 48 | 999.839 | 1000.35 | 0.35334 | 0.51233 | 34.3965 | 34.3967 | 0.00041336 | 0.00020599
98110001.cln | 98110001.cor | 64 | 801.266 | 802.052 | 0.19716 | 0.78644 | 34.304 | 34.3041 | 0.00028157 | 0.000103
98110001.cln | 98110001.cor | 73 | 599.073 | 598.587 | 0.27238 | -0.48614 | 34.1829 | 34.1842 | 0.00030593 | 0.0013313
98110001.cln | 98110001.cor | 73 | 497.011 | 496.671 | 0.37187 | -0.34039 | 34.1056 | 34.1064 | 0.00024572 | 0.00078964
98110001.cln | 98110001.cor | 73 | 402.54 | 402.9 | 0.46689 | 0.35992 | 34.0048 | 34.0046 | 0.0006654 | -0.00019836
98110001.cln | 98110001.cor | 73 | 298.818 | 298.551 | 0.20992 | -0.26739 | 33.9696 | 33.9712 | 0.00021289 | 0.0015526
98110001.cln | 98110001.cor | 69 | 250.471 | 251.25 | 0.20119 | 0.7794 | 33.9514 | 33.9532 | 0.00038137 | 0.0017853
98110001.cln | 98110001.cor | 73 | 200.142 | 199.703 | 0.18359 | -0.43907 | 33.9313 | 33.9325 | 0.00061125 | 0.001236
98110001.cln | 98110001.cor | 53 | 172.999 | 172.695 | 0.44722 | -0.30426 | 33.8948 | 33.8957 | 0.00025201 | 0.00094604
98110001.cln | 98110001.cor | 73 | 150.017 | 149.591 | 0.32962 | -0.42627 | 33.8078 | 33.8143 | 0.001518 | 0.0065117
98110001.cln | 98110001.cor | 73 | 123.858 | 123.636 | 0.14931 | -0.22152 | 33.648 | 33.6513 | 0.00029088 | 0.0032921
98110001.cln | 98110001.cor | 73 | 100.619 | 101.063 | 0.22192 | 0.44431 | 33.3498 | 33.3466 | 0.0020207 | -0.0031738
98110001.cln | 98110001.cor | 73 | 74.333 | 73.8098 | 0.27979 | -0.52323 | 32.7584 | 32.7506 | 0.0033851 | -0.0077705
98110001.cln | 98110001.cor | 73 | 48.9 | 48.9901 | 0.24099 | 0.090095 | 32.559 | 32.5589 | 0.00025306 | -0.00012207
98110001.cln | 98110001.cor | 73 | 29.692 | 29.886 | 0.32296 | 0.194 | 32.3718 | 32.4128 | 0.0080217 | 0.041038
98110001.cln | 98110001.cor | 73 | 19.259 | 18.9744 | 0.26449 | -0.28456 | 31.9203 | 31.9111 | 0.0012842 | -0.0092106
98110001.cln | 98110001.cor | 73 | 10.085 | 10.2646 | 0.18678 | 0.17958 | 31.912 | 31.9127 | 0.0002847 | 0.00070953
98110001.cln | 98110001.cor | 73 | 2.064 | 1.9794 | 0.11131 | -0.084562 | 31.9102 | 31.9095 | 0.0034555 | -0.00065231
98110002.cln | 98110002.cor | 73 | 2503.17 | 2503.43 | 0.31434 | 0.26294 | 34.6343 | 34.6336 | 0.00025415 | -0.00067139
98110002.cln | 98110002.cor | 73 | 1001.04 | 1001.31 | 0.32621 | 0.26227 | 34.3753 | 34.3757 | 0.00033773 | 0.00039673
98110002.cln | 98110002.cor | 73 | 503.384 | 503.942 | 0.20636 | 0.55847 | 34.0896 | 34.0944 | 0.00074578 | 0.0047836
98110003.cln | 98110003.cor | 73 | 2510.87 | 2510.93 | 0.062212 | 0.067383 | 34.6316 | 34.6328 | 0.00026742 | 0.0012283
98110003.cln | 98110003.cor | 73 | 2001.2 | 2001.86 | 0.16636 | 0.66467 | 34.5862 | 34.5852 | 0.0002287 | -0.00103
98110003.cln | 98110003.cor | 73 | 1500.44 | 1500.55 | 0.48107 | 0.1084 | 34.517 | 34.5174 | 0.00033571 | 0.00042725
98110003.cln | 98110003.cor | 73 | 1200 | 1199.66 | 0.11987 | -0.34558 | 34.4542 | 34.454 | 0.00020221 | -0.00020218
98110003.cln | 98110003.cor | 73 | 999.6 | 999.543 | 0.23685 | -0.056763 | 34.3852 | 34.3868 | 0.00025903 | 0.0015793
98110003.cln | 98110003.cor | 73 | 801.867 | 802.216 | 0.14289 | 0.349 | 34.3198 | 34.3211 | 0.00036768 | 0.0013008
98110003.cln | 98110003.cor | 73 | 599.755 | 599.564 | 0.15564 | -0.19098 | 34.1802 | 34.1809 | 0.00023216 | 0.00072861
98110003.cln | 98110003.cor | 73 | 498.345 | 498.818 | 0.10852 | 0.47345 | 34.1062 | 34.1074 | 0.00045886 | 0.0012016
98110003.cln | 98110003.cor | 73 | 401.226 | 401.494 | 0.228 | 0.26779 | 34.0321 | 34.0331 | 0.00026492 | 0.0010185
98110003.cln | 98110003.cor | 73 | 300.275 | 300.541 | 0.22881 | 0.26575 | 33.9763 | 33.9767 | 0.00060337 | 0.00041199
98110003.cln | 98110003.cor | 73 | 250.238 | 250.22 | 0.33881 | -0.017639 | 33.9518 | 33.9539 | 0.00043748 | 0.0021248
98110003.cln | 98110003.cor | 73 | 202.326 | 202.086 | 0.10838 | -0.24036 | 33.9118 | 33.9125 | 0.00021039 | 0.00072861
98110003.cln | 98110003.cor | 73 | 174.955 | 175.162 | 0.15262 | 0.207 | 33.8592 | 33.8619 | 0.00029267 | 0.0026627
98110003.cln | 98110003.cor | 73 | 149.35 | 149.23 | 0.1531 | -0.11974 | 33.717 | 33.7117 | 0.00032366 | -0.0052605
98110003.cln | 98110003.cor | 73 | 124.526 | 124.462 | 0.10942 | -0.064369 | 33.4576 | 33.4696 | 0.0021636 | 0.012024
98110003.cln | 98110003.cor | 73 | 100.016 | 99.9847 | 0.37902 | -0.031303 | 33.9308 | 32.926 | 0.00074715 | -1.0048
98110003.cln | 98110003.cor | 73 | 73.773 | 73.8045 | 0.12628 | 0.031448 | 32.6378 | 32.6376 | 0.00069382 | -0.00022888
98110003.cln | 98110003.cor | 73 | 48.825 | 48.5859 | 0.14688 | -0.23907 | 32.4794 | 32.4832 | 0.0033063 | 0.0038338
98110003.cln | 98110003.cor | 73 | 30.617 | 30.6547 | 0.043935 | 0.037657 | 31.8623 | 31.8353 | 0.000499 | -0.027002
98110003.cln | 98110003.cor | 73 | 20.063 | 20.196 | 0.34313 | 0.133 | 31.7853 | 31.7848 | 0.0010373 | -0.00049973
98110003.cln | 98110003.cor | 73 | 10.462 | 10.5163 | 0.10077 | 0.054342 | 31.7874 | 31.7873 | 0.0002033 | -5.722e-05
98110003.cln | 98110003.cor | 73 | 1.944 | 1.9217 | 0.0691 | -0.022329 | 31.7876 | 31.7867 | 0.00028357 | -0.00089836
98110005.cln | 98110005.cor | 73 | 2090 | 2090.68 | 0.09283 | 0.67407 | 34.6054 | 34.605 | 0.00025988 | -0.00035477
98110005.cln | 98110005.cor | 73 | 1999 | 1998.59 | 0.2566 | -0.4093 | 34.5892 | 34.5882 | 0.0002361 | -0.0010185
98110005.cln | 98110005.cor | 73 | 1500.22 | 1499.74 | 0.12593 | -0.47571 | 34.503 | 34.5037 | 0.00023243 | 0.00069427
98110005.cln | 98110005.cor | 73 | 1199.32 | 1199.39 | 0.36259 | 0.070923 | 34.4404 | 34.4405 | 0.00037775 | 0.00014114
98110005.cln | 98110005.cor | 67 | 998.96 | 999.366 | 0.32406 | 0.40607 | 34.3777 | 34.3791 | 0.00030399 | 0.0013542
98110005.cln | 98110005.cor | 73 | 796.125 | 796.201 | 0.12489 | 0.075745 | 34.2815 | 34.2831 | 0.00025984 | 0.0015488
98110005.cln | 98110005.cor | 73 | 600.058 | 600.263 | 0.19826 | 0.20514 | 34.1716 | 34.1725 | 0.00023248 | 0.00086594
98110005.cln | 98110005.cor | 66 | 500.372 | 501.159 | 0.15745 | 0.78705 | 34.1156 | 34.1155 | 0.0002451 | -9.1553e-05
98110005.cln | 98110005.cor | 73 | 400.031 | 400.436 | 0.20968 | 0.40457 | 34.041 | 34.0424 | 0.00059798 | 0.0013809
98110005.cln | 98110005.cor | 73 | 299.497 | 299.353 | 0.16214 | -0.14447 | 34.97 | 33.9691 | 0.00023936 | -1.0009
98110005.cln | 98110005.cor | 69 | 249.789 | 249.555 | 0.42452 | -0.23448 | 33.9592 | 33.9599 | 0.0002356 | 0.00071716
98110005.cln | 98110005.cor | 73 | 199.907 | 199.486 | 0.36144 | -0.42064 | 33.9318 | 33.9333 | 0.0010313 | 0.0014648
98110005.cln | 98110005.cor | 73 | 174.234 | 174.577 | 0.19287 | 0.34277 | 33.9084 | 33.9082 | 0.00074843 | -0.00022507
98110005.cln | 98110005.cor | 73 | 149.454 | 149.608 | 0.22596 | 0.15361 | 33.8716 | 33.8742 | 0.00038452 | 0.0026436
98110005.cln | 98110005.cor | 73 | 124.353 | 124.43 | 0.22967 | 0.077385 | 33.7828 | 33.7848 | 0.00058309 | 0.0020142
98110005.cln | 98110005.cor | 73 | 100.65 | 100.454 | 0.23101 | -0.19577 | 33.554 | 33.5532 | 0.0002691 | -0.00076294
98110005.cln | 98110005.cor | 73 | 74.83 | 74.8286 | 0.069843 | -0.001358 | 33.257 | 33.2847 | 0.001415 | 0.027737
98110005.cln | 98110005.cor | 73 | 50.415 | 50.8586 | 0.047841 | 0.44363 | 32.7464 | 32.7365 | 0.00035192 | -0.0099068
98110005.cln | 98110005.cor | 73 | 30.809 | 30.9916 | 0.081842 | 0.18256 | 32.5964 | 32.5897 | 0.00028922 | -0.0066528
98110005.cln | 98110005.cor | 73 | 20.464 | 20.5336 | 0.23587 | 0.06963 | 32.466 | 32.4632 | 0.011457 | -0.0028114
98110005.cln | 98110005.cor | 73 | 10.065 | 10.1836 | 0.13267 | 0.11859 | 32.176 | 32.0636 | 0.015082 | -0.11243
98110005.cln | 98110005.cor | 73 | 1.666 | 1.4167 | 0.22884 | -0.2493 | 31.9954 | 31.994 | 0.00034259 | -0.0014305
98110015.cln | 98110015.cor | 73 | 125.575 | 125.486 | 0.2023 | -0.089172 | 33.5012 | 33.4992 | 0.00056832 | -0.0020218
98110015.cln | 98110015.cor | 73 | 100.765 | 101.153 | 0.15236 | 0.38831 | 33.0406 | 32.9993 | 0.0069016 | -0.041344
98110015.cln | 98110015.cor | 73 | 75.504 | 75.7316 | 0.16921 | 0.22762 | 32.6217 | 32.6064 | 0.0016573 | -0.015339
98110015.cln | 98110015.cor | 73 | 50.001 | 49.4883 | 0.22902 | -0.51271 | 32.5503 | 32.5435 | 0.00090144 | -0.0068321
98110015.cln | 98110015.cor | 73 | 30.754 | 30.534 | 0.18489 | -0.22 | 32.4725 | 32.4658 | 0.0014012 | -0.0067329
98110015.cln | 98110015.cor | 73 | 21.026 | 21.1676 | 0.049953 | 0.14163 | 32.2144 | 32.2155 | 0.0074957 | 0.001091
98110015.cln | 98110015.cor | 73 | 10.787 | 10.9354 | 0.14868 | 0.14844 | 31.7316 | 31.7059 | 0.00055465 | -0.025682
98110015.cln | 98110015.cor | 73 | 1.855 | 2.0847 | 0.087269 | 0.22973 | 31.706 | 31.7031 | 0.00043243 | -0.0028629
98110017.cln | 98110017.cor | 18 | 102.047 | 101.385 | 0.20267 | -0.66206 | 33.6518 | 33.6618 | 0.00074113 | 0.01004
98110017.cln | 98110017.cor | 39 | 76.77 | 77.3092 | 0.27144 | 0.53924 | 33.1043 | 33.1479 | 0.0049365 | 0.043644
98110017.cln | 98110017.cor | 73 | 50.2 | 49.8273 | 0.28576 | -0.37272 | 32.565 | 32.563 | 0.0034796 | -0.0019607
98110017.cln | 98110017.cor | 73 | 29.233 | 29.2297 | 0.21424 | -0.003315 | 32.3762 | 32.4106 | 0.0015271 | 0.034405
98110017.cln | 98110017.cor | 73 | 20.66 | 20.9289 | 0.17594 | 0.26886 | 32.166 | 32.1986 | 0.0087978 | 0.03262
98110017.cln | 98110017.cor | 73 | 10.249 | 10.187 | 0.38416 | -0.061973 | 31.8034 | 31.876 | 0.018434 | 0.07258
98110017.cln | 98110017.cor | 73 | 1.898 | 2.0043 | 0.13905 | 0.10629 | 31.6185 | 31.5783 | 0.0037207 | -0.040152
98110019.cln | 98110019.cor | 55 | 174.22 | 173.475 | 0.22289 | -0.74481 | 33.821 | 33.82 | 0.00036501 | -0.00096512
98110019.cln | 98110019.cor | 72 | 153.249 | 153.934 | 0.28183 | 0.68459 | 33.7996 | 33.8002 | 0.00067338 | 0.0006485
98110019.cln | 98110019.cor | 73 | 123.928 | 123.757 | 0.17773 | -0.1712 | 33.7704 | 33.7697 | 0.00035606 | -0.00072479
98110019.cln | 98110019.cor | 73 | 100.827 | 101.158 | 0.16183 | 0.33105 | 33.7176 | 33.7244 | 0.0010534 | 0.0068283
98110019.cln | 98110019.cor | 73 | 74.941 | 74.9699 | 0.31556 | 0.028885 | 33.4492 | 33.4516 | 0.0015255 | 0.0024071
98110019.cln | 98110019.cor | 73 | 51.048 | 51.233 | 0.12647 | 0.18504 | 32.8648 | 32.8348 | 0.00061633 | -0.030003
98110019.cln | 98110019.cor | 73 | 30.432 | 30.1973 | 0.15617 | -0.23467 | 32.4275 | 32.4815 | 0.0036164 | 0.054016
98110019.cln | 98110019.cor | 73 | 20.275 | 20.3419 | 0.14155 | 0.066904 | 32.3218 | 32.2598 | 0.01016 | -0.061958
98110019.cln | 98110019.cor | 73 | 10.626 | 10.6465 | 0.28039 | 0.020479 | 31.9035 | 31.7492 | 0.015348 | -0.15425
98110019.cln | 98110019.cor | 73 | 1.715 | 2.017 | 0.13523 | 0.30204 | 31.7351 | 31.7292 | 0.0013694 | -0.0059223
98110021.cln | 98110021.cor | 73 | 280.296 | 280.123 | 0.16012 | -0.17279 | 33.9018 | 33.9002 | 0.00024479 | -0.0015984
98110021.cln | 98110021.cor | 73 | 249.023 | 248.714 | 0.39767 | -0.30885 | 33.8854 | 33.882 | 0.0010825 | -0.0033722
98110021.cln | 98110021.cor | 46 | 199.288 | 198.59 | 0.26386 | -0.6982 | 33.832 | 33.8295 | 0.0011481 | -0.0024567
98110021.cln | 98110021.cor | 73 | 174.219 | 174.591 | 0.22951 | 0.3719 | 33.8018 | 33.7983 | 0.00033718 | -0.00354
98110021.cln | 98110021.cor | 73 | 150.273 | 149.893 | 0.21376 | -0.37952 | 33.7379 | 33.7353 | 0.0004775 | -0.0026398
98110021.cln | 98110021.cor | 73 | 125.196 | 125.925 | 0.18418 | 0.72937 | 33.6887 | 33.6877 | 0.00024174 | -0.0010033
98110021.cln | 98110021.cor | 73 | 100.159 | 99.9564 | 0.069474 | -0.2026 | 33.3041 | 33.2716 | 0.0041263 | -0.032494
98110021.cln | 98110021.cor | 73 | 76.078 | 76.1033 | 0.3676 | 0.025261 | 32.7144 | 32.6879 | 0.0048514 | -0.026508
98110021.cln | 98110021.cor | 73 | 50.337 | 50.5715 | 0.20636 | 0.23445 | 32.3716 | 32.3483 | 0.00070847 | -0.023273
98110021.cln | 98110021.cor | 73 | 30.26 | 30.6811 | 0.1307 | 0.42107 | 32.268 | 32.2631 | 0.00025516 | -0.0049438
98110021.cln | 98110021.cor | 73 | 20.58 | 20.5441 | 0.44431 | -0.035931 | 32.1835 | 32.1875 | 0.0076203 | 0.0040245
98110021.cln | 98110021.cor | 73 | 9.545 | 9.2985 | 0.18555 | -0.24649 | 32.1558 | 32.1605 | 0.00025287 | 0.0046844
98110021.cln | 98110021.cor | 73 | 1.716 | 1.7647 | 0.078071 | 0.048712 | 32.02 | 32.0036 | 0.0029751 | -0.01638
98110022.cln | 98110022.cor | 73 | 250.091 | 249.847 | 0.42815 | -0.24396 | 33.8976 | 33.8968 | 0.0012175 | -0.00077438
98110022.cln | 98110022.cor | 73 | 200.447 | 200.749 | 0.17008 | 0.30151 | 33.8534 | 33.8508 | 0.00026548 | -0.0026131
98110022.cln | 98110022.cor | 73 | 174.177 | 174.384 | 0.039516 | 0.20711 | 33.7745 | 33.7683 | 0.00037582 | -0.0062027
98110022.cln | 98110022.cor | 73 | 150.522 | 150.729 | 0.10793 | 0.20671 | 33.6626 | 33.6819 | 0.0040505 | 0.01931
98110022.cln | 98110022.cor | 73 | 125.158 | 125.138 | 0.11396 | -0.020256 | 33.3794 | 33.376 | 0.00074219 | -0.0033722
98110022.cln | 98110022.cor | 73 | 100.479 | 101.058 | 0.24893 | 0.57932 | 33.1325 | 33.1272 | 0.00043921 | -0.0053139
98110022.cln | 98110022.cor | 73 | 75 | 74.5686 | 0.21479 | -0.4314 | 32.7186 | 32.7026 | 0.007341 | -0.015953
98110022.cln | 98110022.cor | 73 | 50.296 | 50.3074 | 0.053974 | 0.011437 | 32.3968 | 32.3958 | 0.00027172 | -0.00098419
98110022.cln | 98110022.cor | 73 | 29.964 | 29.6987 | 0.12926 | -0.26533 | 31.6956 | 31.6833 | 0.0037967 | -0.01228
98110022.cln | 98110022.cor | 73 | 19.521 | 19.0702 | 0.12339 | -0.45082 | 31.4922 | 31.505 | 0.0010417 | 0.012751
98110022.cln | 98110022.cor | 73 | 11.127 | 11.3779 | 0.15422 | 0.25089 | 31.3672 | 31.3786 | 0.0037505 | 0.011427
98110022.cln | 98110022.cor | 73 | 1.593 | 1.6468 | 0.092171 | 0.053836 | 31.1714 | 31.1704 | 0.0046421 | -0.00099945
Create Fit Sheet