Organization of files for 1998-12

This data was reprocessed in February/March 2002. The preliminary steps from the original processing were reused.

9812\Bot\

*.bot – bottle files, converted only

*.cob – bottle files, calibrated

*.rac – bottle files, calibrated, averaged by bottle number

bot-bio.xls & bot-bio1.xls – chemistry files

autosal1.cal & autosal2.cal – salinity files

9812\DOC

9812_proc_March2002.doc – processing notes

9812file.doc – this document

9812_delete_study – comparison of maximum pressure before and after DELETE

9812surf_press.xls – surface pressure study

1998-12 ICTD conductivity calibration  bottle levels – description of comparison done by H. Melling

9812\Fluor-Trans\

*.ctf – merge of re2 files and CTD files from 9812/Processed

*.re2 – files with Padj, Transmissivity and Fluorescence, -Converted but otherwise unprocessed

special_data_files_for F_McLaughlin.doc – description of preparation of CTF files

9812\Original\

Data files from original acquisition:

BT1, C00, EDT, HDR, RAW

9812\Original\Seabird – should not go to Data_Lib

*.HEX – original data files

*.CNV – files converted in 1998

NOW98.CON – conversion file used to create CNV files

9812\Processed\

9812rcal.txt – calibration control file for initial calibration

9812_cond_cal.ccf – calibration control file for correction of conductivity based on bottle sampling

delete.log – record of warnings issued by DELETE

*.ra1 – converted data

*.edt – after editing in VIEWEDIT to remove spikes

*.edu – after VIEWEDIT plus fixing of headers

*.adj – after time compensation

*.cal – after calibration of T and P and unit conversion of C

*.edf – after CTDEDIT

*.log – CTDEDIT logs

*.cor – after final calibration of conductivity

*.ctd – final files

Programs prepared by Humfrey Melling for time compensation

C-WGTS.lis

ICTD-lmR.lis

ICTD-ADJ.exe