PROCESSING NOTES

Cruise: 9813

Agency: IOS

Project: Line P

Party Chief: Doug Anderson

Platform: Laurier

Date: 7 April 1998 - 10 April 1998

Processed by: Germaine Gatien

Date of Processing : 2 June 1998 - 11 June 1998

Number of original CTD casts: 13

Number of casts processed:  12

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD  (#0443).

SUMMARY OF QUALITY AND CONCERNS

The two sets of sensors were in reasonable agreement except for cast #1 which was deleted. There are no rosette salinities available for comparison and repeat casts were only done at P1; these were not useful as a quality check since one of them was cast #1. Several of the casts display a jittery salinity trace; the associated descent rates are fairly steady so the shakiness does not appear to be associated with shed wakes. A note in the log speculates that this may be due to vibration in the winch.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.dat.

2. Preliminary Steps

The Log Book was obtained and  note was made of problems that occurred during the cruise.

The cruise summary sheet was completed.

The log indicates that one salinity sample was taken per CTD cast. This data was not available at the time of processing; it is assumed that these were surface samples and of little value for calibration.

- Conversion of Raw Data

The raw data was converted using conversion file 98130004.con. Files 98130001.con, 98130002.con and 98130003.con contain an error which was corrected before the 4th cast.

4. Preparing  a set of data for further processing

Files *.cnv were copied into sub-directory CONVERT; this set of files was left unprocessed. All casts contain both up and down traces.

- ALIGNCTD

The secondary conductivity channel was advanced by 0.073. (The primary channel was aligned at sea by the deck unit). A check shows the two channels track more closely after this step.

6. WILDEDIT

Program WILDEDIT was used to remove spikes in Pressure.  Parameters used were:

Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

7. CELLTM

The conductivity cell thermal mass correction was done for both channels (alpha = 0.03 and 1/beta = 7.0.)

8. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on a selection of casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity.

9. Test Plots and Channel Check

A sample of casts (#3,5,9,12) was plotted to check for agreement between the pairs of  T and C sensors. The temperature variations are <0.002 C° around  950 dbars while the conductivity  difference varies by <0.0005 units. Salinity values varied by about 0.004 psu.

The secondary salinity is noisy in casts #1,8,10 and 11. The primary salinity is spiky near the surface in cast #4.  Primary values will be used.

10. Conversion to IOS Headers

The latitude and longitude data were not in the headers; positions taken from the log were added to the files before conversion to IOS HEADERS..

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

11. Checking Headers

A header summary was produced and two errors in positions were found and fixed.

The surface check was run. The average surface pressure is 3.1 dbars.

The header check was produced.

The cruise track was plotted.

12. DELETE

The following DELETE parameters were used:

Surface Record Removal:  Last Press Min

Maximum Surface Pressure (relative):      20.00

Surface Swell Pressure Tolerance:        .50

Pressure filtered over width:   11

Swells deleted. Warning message if pressure difference of      2.00

Drop rates<    .33 m/s (calculated over  11 points) was deleted.

Sample interval =       .04 seconds.

13. BOX CAR FILTER

While the salinity data was noisy during some casts, it was not spiky and a test run filtering cast #10 did not improve the quality.

14. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure

Averaging interval =      1.000

Minimum bin value =       .000

Average value will be used

Interpolated values are NOT used for empty bins

15. Test Plots

Profiles of all casts were examined (on screen) for large inconsistencies between primary and secondary values and for any evidence of problems with the processing. Cast #1 presents the only major problem with differences of ~0.5 C° and ~0.5 p.s.u. at 50dbars.

Page plots were produced using T0,S0 for all casts. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

16. CTDEDIT

CTDEDIT was used to clean noise in S and T near the surface in the following casts: 3 and 13.

CTDEDIT was used for more extensive cleaning in the following casts: 2,4,5,9,10,12.

Note was made of the editing details in the relevant files.

- Other intercomparisons

Repeat casts - Only P1 was occupied twice, and to only 100dbars. Cast #1 and 13 are not in good agreement. The log noted problems with secondary temperature at #1 and the two sets of sensors for #1 are not in good agreement. Cast #13 looks reliable. The secondary values are obviously bad for cast #1 and the primary ones are suspect. The primary salinity is >1 p.s.u. lower for cast 1 than for cast 13 at most depths.

Historic ranges - The salinities for cast #1 at a depth of 100m were more than 1 p.s.u. below the minimum historic value. The salinity trace at cast #9 from 500-600m lies a little below historic values (~0.05psu). Casts #7, 8, 10 and 11 lie very close to the lower limits of salinity around 600m.

19. Final Plots

Page plots were prepared using the edited data.

20. REMOVE

The following channels were removed from all casts: Secondary Temperature, Secondary Salinity, Scan_Number, Conductivity:Primary, Conductivity:Secondary Flag and Bottle_Number.

21. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced.

- Particulars

The cast numbers do not agree with the numbers used in the log; they are the numbers given in the “CONSEC SAMPLE #” column in the log.

Casts #1,2 and 3 - Con file is incorrect. Use 98030004.con for these files.

Cast #1 - Log note: CTD Problems, secondary temperature unstable, CTD hit bottom, some hysteresis. Since the data was of questionable quality and since another cast was made at this site, this cast was deleted.

Cast #2 - Log note: some hysteresis in the early casts, especially casts #1 and 2.

Cast #4 - Primary salinity noisy in top 100m.

Cast #5 - All channels quite noisy.

Cast #8 - Secondary channels noisy.

Cast #10 -  Log note: vibration in the winch. The salinity while not spiky is noisy in both channels. This may be related to the vibration in the winch. The descent rate was fairly steady, and the features do not appear to be associated with shed wakes.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:		9813

Dates: 	Start:		7 April 1998		    End:	10 April 1998

Location:		Line P

Vessel:			Laurier

Chief Scientist:		Doug Anderson

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SeaBird | 411+ | 0443 | no | yes |

Institute of Ocean Sciences

CTD Calibration Information

Make/Model/Serial#:		SeaBird / 411+ / 0443

Cruise ID#:		9813

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2095 | 26 Sept 1996 | factory |  |  |
| Conductivity | 1729 | 23 July 1996 | factory |  |  |
| Secondary Temp. | 2142 | 23 July 1996 | factory |  |  |
| Secondary Cond. | 1766 | 23 July 1996 | factory |  |  |
| Pressure Sensor | 63507 |  | factory |  |  |

Pumps - Primary: 1523; Secondary: 1601

Data archived on tapes DLT046 and DLT047 in saveset 9813_all.bak.

# Moving files to new archive. April 29, 2003 – Joe Linguanti

- Program HEADER EDIT was used to change non-standard channel names and units and add additional metadata to the CTD files.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

- The loop file was obtained from Frank Whitney. The latitude and longitude values were computed to 3 decimal places. The spreadsheet file was then converted to IOS Header format with meta-data added to it. The original .XLS file is in the DOC directory.