## a
File last modified: Log data, salinities, and nutrients entered August 10, 1998.
Ricker Cruise #9816: June, 1998
Salinity, Nutrient, and Temperature Data
Date |  |  | Time | SN | Lat.(N) |  | N/S | d. Lat. | W/E | Long. |  | d. Long. | Salinity | CTD | CTD | NO3 | Si | PO4 |  | Notes
yy | mm | dd | (UTC) |  | dd | mm | +/- | dd.dd | -/+ | ddd | mm | dd.dd | sw loop | Temp | Sal | umol/L | umol/L | umol/L | 10x PO4
1998 | 6 | 2 |  | 1 | 51 | 15 | 1 | 51.25 | -1 | 128 | 12.73 | 128.2122 | 29.7178 |  |  | 0.1 | 0.59368 |  |  | P: poor data
1998 | 6 | 2 |  | 2 | 51 | 9 | 1 | 51.15 | -1 | 128 | 23.1 | 128.385 | 30.0723 |  |  | 0 | 1.4589 | 0.21357 | 2.1357 | analyzed 980805
1998 | 6 | 2 |  | 3 | 51 | 7.23 | 1 | 51.1205 | -1 | 128 | 29.42 | 128.4903 | 30.8569 |  |  | 0 | 2.6968 | 0.30088 | 3.0088 | samples 1-18silicate channel extremely noisy signal
1998 | 6 | 4 | 1918 | 14 | 51 | 0.93 | 1 | 51.0155 | -1 | 128 | 43.75 | 128.7292 | 30.1754 |  |  | 0 | 0.98217 | 0.21835 | 2.1835
1998 | 6 | 3 | 2307 | 12 | 50 | 52.014 | 1 | 50.8669 | -1 | 129 | 7.288 | 129.1215 | 31.2996 |  |  | 0 | 2.9854 | 0.33631 | 3.3631
1998 | 6 | 3 | 2155 | 11 | 50 | 46.25 | 1 | 50.7708 | -1 | 129 | 17.986 | 129.2998 | 31.227 |  |  | 0 | 1.3388 | 0.24697 | 2.4697
1998 | 6 | 3 | 1932 | 10 | 50 | 40.85 | 1 | 50.6808 | -1 | 129 | 27.562 | 129.4594 | 32.1185 |  |  | 0 | 2.4753 | 0.33768 | 3.3768
1998 | 6 | 3 | 1825 | 9 | 50 | 36.496 | 1 | 50.6083 | -1 | 129 | 38.595 | 129.6432 | 31.8997 |  |  | 0 | 4.6982 | 0.37608 | 3.7608
1998 | 6 | 3 | 1705 | 8 | 50 | 33.47 | 1 | 50.5578 | -1 | 129 | 44.27 | 129.7378 | 31.824 |  |  | 0 | 4.9103 | 0.392 | 3.92
1998 | 6 | 2 |  | 4 | 51 | 0.67 | 1 | 51.0112 | -1 | 129 | 44.36 | 129.7393 | 30.2368 |  |  | 0 | 1.4054 | 0.24643 | 2.4643
1998 | 6 | 3 | 1435 | 7 | 50 | 27.6 | 1 | 50.46 | -1 | 129 | 59.4 | 129.99 | 31.7908 |  |  | 0 | 4.7385 | 0.36648 | 3.6648
1998 | 6 | 3 | 1152 | 5 | 50 | 18.559 | 1 | 50.3093 | -1 | 130 | 9.61 | 130.1602 | 32.1232 |  |  | 0 | 3.1075 | 0.38089 | 3.8089
1998 | 6 | 3 | 1312 | 6 | 50 | 22.83 | 1 | 50.3805 | -1 | 130 | 9.61 | 130.1602 | 31.7873 |  |  | 0 | 4.4905 | 0.35917 | 3.5917
1998 | 6 | 4 | 26 | 13 | [8 empty] | 30.3322 |  |  | 0 | 0.85383 | 0.18897 | 1.8897
1998 | 6 | 4 | 1300 | 15 | 52 | 9.6 | 1 | 52.16 | -1 | 129 |  | 129 | 31.507 |  |  | 0 | 5.602 | 0.37068 | 3.7068
1998 | 6 | 4 | 1531 | 16 | 52 | 13.799 | 1 | 52.23 | -1 | 129 | 42.601 | 129.71 | 31.5565 |  |  | 0 | 3.7214 | 0.36711 | 3.6711
1998 | 6 | 4 | 1621 | 17 | 52 | 18 | 1 | 52.3 | -1 | 129 | 53.2 | 129.8867 | 31.5878 |  |  | 0 | 6.2692 | 0.38167 | 3.8167
1998 | 6 | 4 | 1805 | 18 | 52 | 22.8 | 1 | 52.38 | -1 | 129 | 22.8 | 129.38 | 31.1689 |  |  | 0 | 4.8775 | 0.33459 | 3.3459
1998 | 6 | 17 | 430 | 19 | 54 | 34.9 | 1 | 54.5817 | -1 | 132 | 20 | 132.3333 | 30.1521 |  |  | 0.18 | 1.023 | 0.35415 | 3.5415 | analyzed 980730
1998 | 6 | 17 | 315 | 20 | 54 | 31.8 | 1 | 54.53 | -1 | 132 | 32.2 | 132.5367 | 30.6861 |  |  | 0.07 | 0.76195 | 0.35464 | 3.5465
1998 | 6 | 17 | 155 | 21 | 54 | 28.6 | 1 | 54.4767 | -1 | 132 | 45.4 | 132.7567 | 31.5596 |  |  | 0.07 | 1.3776 | 0.40191 | 4.0191
1998 | 6 | 17 | 35 | 22 | 54 | 25.7 | 1 | 54.4283 | -1 | 132 | 58.1 | 132.9683 | 31.3006 |  |  | 0 | 0.59158 | 0.36645 | 3.6645
1998 | 6 | 16 | 2300 | 23 | 54 | 22.2 | 1 | 54.37 | -1 | 133 | 11.1 | 133.185 | 31.2349 |  |  | 0.2 | 1.3986 | 0.4405 | 4.405
1998 | 6 | 16 | 1900 | 24 | 54 | 19.07 | 1 | 54.3178 | -1 | 133 | 24.06 | 133.401 | 31.9188 |  |  | 0 | 6.9708 | 0.4613 | 4.613
1998 | 6 | 17 | 1850 | 26 | 54 | 11.4 | 1 | 54.19 | -1 | 133 | 48.9 | 133.815 | 32.2147 |  |  | 0.04 | 3.9128 | 0.45891 | 4.5891
1998 | 6 | 17 | 2022 | 27 | 54 | 9.55 | 1 | 54.1592 | -1 | 134 | 2.34 | 134.039 | 32.1804 |  |  | 0 | 4.8694 | 0.44504 | 4.4504
1998 | 6 | 17 | 1000 | 28 | 54 | 6.39 | 1 | 54.1065 | -1 | 134 | 15.17 | 134.2528 | 32.2752 |  |  | 0.36 | 4.5196 | 0.46738 | 4.6738
1998 | 6 | 18 | 9 | 29 | 54 | 3.2 | 1 | 54.0533 | -1 | 134 | 28.1 | 134.4683 | 32.3432 |  |  | 0.5317 | 3.8229 | 0.49338 | 4.9338
1998 | 6 | 18 | 205 | 30 | 54 | 0.1 | 1 | 54.0017 | -1 | 134 | 40.9 | 134.6817 | 32.3443 |  |  | 1.7301 | 6.5131 | 0.60292 | 6.0292
1998 | 6 | 18 | 355 | 31 | 53 | 56.9 | 1 | 53.9483 | -1 | 134 | 53.7 | 134.895 | 32.3171 |  |  | 2.0471 | 7.2036 | 0.61456 | 6.1456 | salty around lid
1998 | 6 | 18 | 505 | 32 | 53 | 53.8 | 1 | 53.8967 | -1 | 135 | 6.5 | 135.1083 | 32.0434 |  |  | 0.35623 | 4.5131 | 0.56078 | 5.6078 | new analysis day, machine recalibrated
1998 | 6 | 18 | 651 | 33 | 53 | 50.33 | 1 | 53.8388 | -1 | 135 | 19.61 | 135.3268 | 32.0228 |  |  | 0 | 3.6462 | 0.49231 | 4.9231
1998 | 6 | 17 |  | 25 | no sample #25 | [14 empty] | no #25
[20 empty] | 1 132 | 1000m 98/06/17 CTD calibration sample; different type bottle
[20 empty] | haul 7 | 0m | samples analyzed by J. Love
[20 empty] | haul 1 | 105 m | samples analyzed by J. Love
[20 empty] | haul 39 | 0m | samples analyzed by J. Love

## comments
Cruise 9816: Ricker Nutrient Data.
File storage and data processing:
980730 | .aaz | .anz | .wk4 | .xls | data analyzed July 30, 1998
980805 | .aaz | .anz | .wk4 | .xls | Data analyzed August 5, 1998
9816nutr |  |  |  | .xls | combined nutrient file
Samples were measured using an Autoanalyzer II, following the procedures outlined in Barwell-Clarke and Whitney, 1997.
All samples were defrosted for about 1-2 h before analysis in moving room temperature air.
Temperature at time of analysis was around 25.5 C
Calibration
Standards used for these samples had been previously prepared and compared to commercially
prepared standards. An Eppendorf maxipettor was used to pipette volumes greater than 1 ml.
It was calibrated on July 28, 1998 for each tip. The pipettors delivered very close to the volumes
dialed, but have been corrected for delivery. An Eppendorf 100-1000 ul pipettor was used to deliver
volumes less than 1 ml.
The silicate standard (#97-5JEBC) was a 5000.3 uM solution of Na2SiF6 prepared from
preweighed chemicals on Jan 26, 1998. Nitrate standard, #97-5JEBC, was a 2500.4 uM solution
prepared on Jan 26, 1998. Phosphate standard, #97-4JEB-C, was a 2500.3 uM solution of KH2PO4,
prepared on May 29, 1998 and diluted to 250.03 uM in June, 1998. The 250.03 uM solution was used
to prepare the working standards.
An Eppendorf maxipettor (Whitney's #3) was used to pipette volumes greater than 1 ml. The pipettor
was calibrated on Oct 29, 1997 for each pipette tip. The same tips were used throughout.
The pipettor delivered very close to the volume dialed.
Variability
Variability of standards inserted in the run as unknowns, and pooled deviation of replicate samples
is reported on the page, 'data control'. Variability is not exceptional for these samples.
Factors affecting data quality:
Samples were frozen in duplicate plastic tubes. All three nutrients were sampled from a single
tube. Phosphate levels may be lower than expected due to adsorption onto the plastic tube.
Samples 19-33 were defrosted for 1-2 h; samples 1-18 were defrosted for 5h. Ordinarily, N/Si samples are defrosted for 24 h to allow
the Si to completely dissolve (low salinity samples are more susceptible).
Note that samples 19-33 were just beginning to thaw when received. Placed in freezer
until analyzed.
Log data:
The first 18 stations on the log sheets were assumed to be samples 1-18. After those stations
the handwriting changed, and I have assumed that the groundfish group did those.
At station #124, sample number are handwritten on the log sheets which seem to
correspond to the sample numbers, e.g., no #25. I have entered the log, nutrient, and
salinity data using those handwritten numbers.