File List for Guildline Data

Cruise Number:__9817

ORIGINAL FILES PROVIDED:

*.hdr - original files from SeaSave

*.acq - 		“

*.raw -      	“

*.acq		“

Readme.txt - file with message about calibration constants

9817loop.xls - loop salinities and nutrient values.

FILES CREATED BY G. GATIEN

9817proc.doc - processing notes

9817xref.lis - cross-reference listing

post_cal.doc - notes on post-cruise calibration (not used in processing)

guildfile.doc - this document

9817cal.ccf - calibration control file used to create *.cal files

9817rcal.ccf -  calibration control file with post-cruise calibrations for CTD #43825 (not used in processing)

9817newc.ccf - calibration control file with correction of pressure for CTD #43825.

surfsal.xls - comparison on surface CTD salinity and loop samples.

Delete.log - log from the running of DELETE

*.avg - data after metre-averaging using BINAVE

*.cal - calibrated files using original pre-cruise calibration control file 9817cal.ccf

*.del - after DELETE was run

*.cor - corrected *.del files recalibrated using 9817newc.ccf with a pressure correction for CTD #43825

*.ctd - final files

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.log and *.lo* - log files created by CTDEDIT