Post-Cruise Calibration by Doug Anderson

CTD # 43825

Temperature: y=9.98904E-01x + 1.23857E-02

Conductivity: y=1.00047E+00x - 4.52327E-04