File List for SeaBird Data

Cruise Number:__9834_

[work2.ctd.----] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.dir - subdirectories

9834proc.doc - processing notes

9834file.doc - this document

[work2.ctd.----.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.----.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.----.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del - data after delete removes swells and upcast

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo* - log files created by CTDEDIT.