## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 27-Sep-2017 | Corrected MISSION metadata field in header. R.H. |
| 18-Dec-2013 | Changed units for Flag:Oxygen:Dissolved channel. J.L. |
| 6 Dec. 2005 | Bottle files prepared. See notes at end of report |

PROCESSING NOTES

Cruise: 9835

Agency: IOS

Project: LaPerouse/Globec/CTD/El Nino/Barkley Canyon/Juan de Fuca

Party Chief: Tom Juhasz

Platform: J.P.Tully

Date: September 21, 1998 - October 5, 1998

Processed by: Germaine Gatien

Date of Processing : March 25, 1999 -  March 30, 1999

Number of original CTD casts: 78

Number of casts processed: 77

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD  (#0443) was used.

SUMMARY OF QUALITY AND CONCERNS

This data required minimal editing and was relatively trouble-free. The CTD behaved consistently with previous use.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.dat.

2. Preliminary Steps

The Log Book was obtained and note was made of problems that occurred during the cruise. The header for cast #42 was changed in accordance with a note in the log.

The salinity data was obtained.

The cruise summary sheet was completed.

- Conversion of Raw Data

The raw data was converted using conversion file 9835CTD.con which is identical to the other con files except in the transmissivity section; the calibrations for transmissivity do not agree with the records on file nor with the cruises before and after this one. ROS files were created separately to get salinity.

4. ALIGNCTD

A test run was done on one cast comparing the results of advancing the secondary conductivity channel by 0.060, 0.070 and 0.000 and the best results were obtained for 0.060 so that was applied to all casts. The primary channel was aligned at sea by the deck unit.

5. WILDEDIT

Program WILDEDIT was used to remove spikes in Pressure.  Parameters used were:

Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

6. CELLTM

The conductivity cell thermal mass correction was done for both channels (alpha = 0.03 and 1/beta = 9.0.)

7. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on a selection of casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity.

8. Test Plots

Two casts (#16 and 48) were plotted to check for agreement between the pairs of  T and C sensors. The temperature differences are very noisy but average about 0.0002 C° around 2000db while the conductivity  difference varies by ~0.0015 units. Salinity values varied by about 0.018psu. In each case the primary values are higher than the secondary. A quick check against bottle salinity values suggests that the primary salinity is high by about 0.004psu and the secondary low by about 0.014psu. These observations are very similar to those during cruise 98-29 which immediately preceded 98-35. The primary  values will be selected.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

10. Checking Headers

A header summary was produced and there were a number of inconsistencies between the station names in the CTD log and the headers (casts #13,19-23,37). The positions are consistent so were used to establish that the correct station names were those in the log; the headers were corrected.

The surface check was run. The average surface pressure is 2.05db; upcast surface values are close to zero so the CTD was probably started below the surface on purpose. No correction will be made to pressure.

The header check was produced and no errors found.

The cruise track was plotted and looks fine.

11. DELETE

The following DELETE parameters were used:

Surface Record Removal:  Last Press Min

Maximum Surface Pressure (relative):      20.00

Surface Swell Pressure Tolerance:        .50

Pressure filtered over width:   11

Swells deleted. Warning message if pressure difference of      2.00

Drop rates<    .33 m/s (calculated over  11 points) was deleted.

Sample interval =       .04 seconds.

Warnings for the following casts were investigated:

#5 - shallow station in quiet waters so DELETE was rerun with LOW DROP RATE feature turned off.

#37 and 43 - warnings correspond to reversals of CTD - DELETE functioned as intended.

#42 - many warnings; pressures are bad from record #3027 to the end. DELETE kept many bad points. Used text editor to remove bad values from the *.ios file and reran DELETE.

#55 - test station for WASP with drop rate of 0.2m/s so DELETE was rerun with choice of 1m/s as cut-off.

Profiles were plotted at this stage.

- BOX CAR FILTER

The salinities are reasonable smooth so this step was skipped.

13. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure

Averaging interval =      1.000

Minimum bin value =       .000

Average value will be used

Interpolated values are NOT used for empty bins

14. Test Plots

Profiles of all casts were examined (on screen) for large inconsistencies between primary and secondary values and for any evidence of problems with the processing. Cast #34 looks odd. There was a large spike in T0 and C0 resulting in bad salinities from 25 to 30db. For this cast only T1,S1 will be used.

Page plots were produced using T1,S1 for cast #34 and T0,S0 for all others. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

15. CTDEDIT

CTDEDIT was used to clean noise in S and/or T near the surface in the following casts: 2,4,5,6, 8,9,18,19,20,22,23,25,31,34,37,39, and 66.

CTDEDIT was used for more extensive cleaning in the following casts: 35,43,64 and 70.

Note was made of the editing details in the relevant files.

- COMPARE

There was a large scatter in differences between the primary CTD salinity and the bottles but the average difference was found to be about 0.0037psu, the CTD being high.

17. Other intercomparisons

Repeat casts - There were no repeat casts.

Previous experience with these sensors - The cruise immediately before this one (98-29) used the same primary sensors and found the resulting salinity to be high by 0.003psu. A later cruise (98-39) used the same primary sensors and the salinity was higher than the bottles by 0.0046psu. The observations of this cruise fall between the two.

Historic ranges - The primary temperature and salinity fall comfortably within the historic ranges for casts #13, 14, 15, 16, 48 and 50.

18. RECALIBRATION

Based on the observations of sections 8, 16 and 17 all casts except #34 were recalibrated with an offset of -0.0037psu. Cast #34 was recalibrated with an offset of +0.014psu. The rosette files (*.bot) were also recalibrated and called *.cab. A second run of COMPARE gave an average value of 1.4E-5 and most differences are within +/- 0.004psu.

19. Final Plots

Page plots were prepared using the edited data.

- REMOVE

The following channels were removed from cast #34: Primary Temperature, Primary Salinity, Scan_Number, Conductivity:Primary, Conductivity:Secondary and Flag.

The following channels were removed from all other casts: Secondary Temperature, Secondary Salinity, Scan_Number, Conductivity:Primary, Conductivity:Secondary and Flag.

20. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced.

Particulars

- Possible bottom contact

5.  Shallow station in quiet waters so DELETE was rerun with LOW DROP RATE feature turned off

14. Sounder malfunctioning

- There was no cast with this number

34. The primary temperature had a large spike that corrupted the salinity data for 5db; secondary values were selected for this cast.

37 & 38. Rough sea conditions

42. Many warnings; pressures are bad from record #3027 to the end. DELETE kept many bad points. Used text editor to remove bad values from the *.ios file and reran DELETE.

55. WASP calibration; instrument attached below Rosette frame. The CTD was lowered at 0.2m/s. DELETE run with low drop rate limit of 0.1m/s

DEC. 6, 2005: PREPARATION OF  BOTTLE FILES

The CHE files in the archive contained only sample number, pressure and bottle salinity, but there is some salinity sampling that is not included and there were many more rosette files from this cruise.

Data was found in OSDCOMMON in a folder named “Bernard Minkely’s Data Drives”. That included a spreadsheet with more salinity data, *.ros files and *.oxy files with dissolved oxygen analysis.

The spreadsheet was simplified and converted to SAL files. I included a flag channel and entered flag “d” for sample #104, cast #14 that had the comment “no lid on sample”. The bottle salinity value is out of line with the CTD salinity for that sample.

The OXY files contain sample number and 2 oxygen channels. There are no flags in the file, but there are comments on the rosette sheets. The comments were discussed with Frank Whitney, who advises that we add “c” flags to all samples with comments related to quality since we do not have sufficient information to judge whether the flags should be removed or changed to “d”. The “c” flag will alert researchers to be careful. There was one file (cast #52) which did contain a comment and the value is way out of line with all other values, so a “d” flag was inserted for that sample only.

The first step is to fix the headers in the OXY files. They have dummy entries that make IOS SHELL programs bomb. HEADEDIT was used to create DOXX files with the latitude and longitude as n/a. Then it was used a second time to rename the DO file names. Finally ADD CHANNEL was used to create ADD files with a DO flag channel removed. That file was edited to add flags and comments as noted in the previous paragraph.

The ROS files were bin-averaged on bottle number. An addsamp file was prepared and it was edited to add sample numbers. These were used to create SAM files. Those files were then merged with the SAL and ADD files, without files named MRG.

Those files were put through CALIBRATE to subtract 0.0037psu from the primary salinity. For the full CTD files the secondary sensors were chosen for cast #34 due to a large spike in primary salinity, but this does not appear to have affected the rosette file.

Remove was used to remove the following channels: scan_number, temperature:secondary, Salinity:T0:C0, conductivity:primary, conductivity:secondary, flag.

REORDER was used to reorganize the order of channels, and SORT was run to arrange data by increasing pressure.

Finally, put the files through HEADEDIT to fix headers, channel names, formats and pad values and the files were saved as CHE.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	9835

Dates: 	Start:	Sept.  21, 1998	    End:	Oct. 5, 1998

Location: Juan de Fuca /  West Coast Vancouver Island

Vessel:		J.P.Tully

Chief Scientist:		Tom Juhasz

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | yes | yes |

Institute of Ocean Sciences

CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/0443

Cruise ID#:		9835

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2095 | 15Aug98 | factory |  |  |
| Conductivity | 1766 | 18Aug98 | factory |  |  |
| Secondary Temp. | 2038 | 1May98 | factory |  |  |
| Secondary Cond. | 1762 | 7May98 | factory |  |  |
| Transmissometer | 182D | 7Aug98 | IOS |  |  |
| PAR | 4495 |  |  |  |  |
| Fluorometer | WS3S-417P |  |  |  |  |
| Pressure Sensor | 63507 | 11Jan96 |  |  |  |

Sensor Calibration Notes:

The configuration file used is attached; this includes the sensor calibrations.