File List for SeaBird Data

Cruise Number: 9836

[work2.ctd.----] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.bl -		“

*.dir - subdirectories

9836proc.doc - processing notes

9836file.doc - this document

9836cal.ccf - recalibration file for all casts except #101 (primary salinity offset)

cast101.ccf - recalibration file for cast #101 (secondary salinity offset)

9836ctd.con - same as the other con files except for transmissivity calibration

[work2.ctd.----.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.----.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.----.ios]

*.avg - data after metre-averaging using BINAVE

*.cor - recalibration after COMPARE

*.ctd - final files

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo* - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[work2.ctd.----.hydro]

*.bot  - files created by converting *.ros files to IOS HEADERS

*.cab - *.bot files after recalibration

*.cln  - bottle files provided by Bernard Minkley

*.ros  - rosette files created by DATCNV, no other processing done.

*.sam - files created by adding sample numbers to *.cab files

9836comp.csv  - import file created in IOS SHELL as input to COMPARE

9836comp.xls   - EXCEL file created in COMPARE

9836com2.csv - import file for COMPARE after recalibration

9836com2.xls - EXCEL file created in COMPARE after recalibration