File List for SeaBird Data

Cruise Number:__9839

[work2.ctd.----] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.bl -		“

*.dir - subdirectories

9839proc.doc - processing notes

9839rcal.ccf - recalibration file

9839comp.csv - import file created in IOS SHELL as input to COMPARE

9839com1.csv - as above but after recalibration

9839comp.xls - output of COMPARE

9839com1.xls - as above but after recalibration

9839file.doc - this document

[work2.ctd.----.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

*.ros - rosette files created by DATCNV, no other processing done.

[work2.ctd.----.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.----.ios]

*.avg - data after metre-averaging using BINAVE

*.cor - after recalibration with 9839rcal.ccf

*.ctd - final files

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT.

Delete.log - ouput of DELETE

[work2.ctd.----.compare]

*.bot - files created by converting *.ros files to IOS HEADERS

*.cor - after recalibration of *.sam files

*.hyd - bottle files provided by Bernard Minkley

*.sam - files created by adding sample numbers to *.bot files

[work2.ctd------.upcast] Note that these cast names have a 9 in the fifth digit to indicate that they are upcasts. These files were produced only for casts during which rosette was used.

*.avg - metre-averaged upcast files

*.del - this step produces upcast only files

*.cor - the files resulting from the recalibration of *.avg files with 9839rcal.ccf

*.ctd - final files (*.cor files with some channels removed); no editing was done to these files.

*.rev - these are the main converted files reversed

delete.log - output of DELETE for the upcast files