## Final Data 1999-01
Iron III Data for Cruise 1999-01 | [33 empty] | For Graphing:
Cruise: | [5 empty] | 1999-01
Ship | [5 empty] | CCGS John P Tully
Dates | [5 empty] | February 8-28, 1999
Chief Scientist | [5 empty] | Frank Whitney
Iron Analyst |  |  | IOS: |  |  | Nes Sutherland and Keith Johnson
|  |  | Criepi: |  |  | Jun Nishioka
For Methods, Comments, and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
S,O,F | The 0.1u FB sample was collected through 3 types of filters: S=Steropore (pump smp only), O=Opti Cartridge, F=Duropore membrane Filter; unless noted samples are from Optis
200kDa and 0.22u fractions were filtered in the clean room from separate unfiltered samples collected by Jun Nishioka
Comment on TR15: this station roughly replaces P12 in distance from shore, but is located further north. A SAR mission and extremely stormy conditions necessitated the diversion.
Nutrients not collected
[9 empty] | GF= goflo, LA= lever action |  | Sample_Number | Depth | Iron:Filtered:Buffered 200kDalton | Flag FB | Iron:Filtered:Buffered 0.03u | Flag FB | Iron:Filtered:Buffered 0.1u | Flag FB | Iron:Filtered:Buffered 0.22u | Flag FB | Iron:Filtered:Buffered 0.45u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB |  | Salinity | Salinity flag | Nitrate | Nitrate flag | Silicate | Silicate flag | Phosphate | Phosphate flag
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB200kDa | FB | FB 0.03 | FB | FB 0.1 | FB | FB 0.22 | FB | FB 0.45 | FB | UFB | UFB | Analysis Comments | Sal |  | NO3 |  | Si |  | PO4
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | Flag | uM | Flag | uM | Flag | uM | Flag
1999-02-10 | 0915 | 8001 | 48 39 | N | 126 40 | W | P04 | 10 | LA10 |  | 10 | 10 | 0.55839 |  |  |  | 1.6159 | O | 1.0186 | 3 | 1.7203 |  | 6.2071 |  | 3 FB0.22: ??0.22u values less than 0.1u. Suspect filter problem
1999-02-10 | 0841 | 8001 | 48 39 | N | 126 40 | W | P04 | 9 | GF10 | #5 | 9 | 25 | 0.69653 |  |  |  | 1.3568 | O | 0.91699 | 3 | 1.5469 |  | 6.928
1999-02-10 | 0835 | 8001 | 48 39 | N | 126 40 | W | P04 | 8 | LA10 |  | 8 | 40 | 0.44814 |  |  |  | 1.2365 | O | 0.65923 | 3 | 1.3589 |  | 4.9785
1999-02-10 | 0520 | 8001 | 48 39 | N | 126 40 | W | P04 | 3 | GF10 | #5 | 3 | 75 | 0.55188 |  |  |  | 1.8507 | 3 O | 0.76447 | 3 | 1.3409 |  | 6.6392
1999-02-10 | 0622 | 8001 | 48 39 | N | 126 40 | W | P04 | 5 | GF10 | #5 | 5 | 100 | 0.81487 |  |  |  | 1.5277 | O | 0.94878 | 3 | 1.5979 |  | 8.4504 | 4 | 4 UF: >high std (>7.1nM)
1999-02-10 | 0737 | 8001 | 48 39 | N | 126 40 | W | P04 | 7 | GF10 | #5 | 7 | 200 | 1.4821 |  |  |  | 2.5643 | O | 1.65 | 3 | 2.5726 |  | 8.282 | 4 | 4 UF: >high std (>7.1nM)
1999-02-10 | 0607 | 8001 | 48 39 | N | 126 40 | W | P04 | 4 | LA10 |  | 4 | 300 | 0.70726 |  |  |  | 1.2864 | O | 0.81494 | 3 | 1.3557 |  | 2.7443
1999-02-10 | 0506 | 8001 | 48 39 | N | 126 40 | W | P04 | 2 | LA10 |  | 2 | 400 | 1.5285 |  |  |  | 3.3145 | O | 2.3921 | 3 | 3.3232 |  | 6.6765
1999-02-10 | 0711 | 8001 | 48 39 | N | 126 40 | W | P04 | 6 | LA10 |  | 6 | 600 | 2.4412 |  |  |  | 3.4487 | O | 2.3239 | 3 | 3.3828 |  | 6.4414 |  | High wire angle
1999-02-10 | 0350 | 8001 | 48 39 | N | 126 40 | W | P04 | 1 | LA10 |  | 1 | 800 | 1.7993 |  |  |  | 2.5939 | O | 1.9146 | 3 | 2.6207 |  | 5.3584
1999-02-14 | 2030 | 8002 | 50 01 | N | 130 59 | W | TR15 | 11 | Zodiac | Dip | 11 | 0 |  |  |  |  | 1.3325 |  |  |  | 0.92324 |  | 2.1528
1999-02-15 | 0419 | 8002 | 50 01 | N | 130 59 | W | TR15 | 19 | GF30 | Wilma | 20 | 10 | 0.55583 |  |  |  | 2.148 | 6 O,F | 1.2629 | 3 | 2.3774 |  | 5.2731 |  | 6 FB0.1: avg of 2 different filter types | 32.5223
1999-02-15 | 0340 | 8002 | 50 01 | N | 130 59 | W | TR15 | 17 | GF30 | Wilbur | 18 | 25 | 0.50711 |  |  |  | 2.216 | 6 O,F | 1.2685 | 3 | 2.6538 |  | 5.1312 |  | 3 FB0.22: ??0.22u values less than 0.1u. Suspect filter problem | 32.5216
1999-02-15 | 0301 | 8002 | 50 01 | N | 130 59 | W | TR15 | 16 | GF30 | Wilbur | 17 | 40 | 0.4086 |  |  |  | 1.5863 | 6 O,F | 0.82691 | 3 | 1.7485 |  | 3.2771 |  |  | 32.5551
1999-02-15 | 0250 | 8002 | 50 01 | N | 130 59 | W | TR15 | 15 | GF30 | Wilma | 16 | 75 | 0.68271 |  |  |  | 2.2451 | 6 O,F | 1.4049 | 3 | 2.4708 |  | 6.0286 |  |  | 32.9754
1999-02-15 | 0030 | 8002 | 50 01 | N | 130 59 | W | TR15 | 13 | GF30 | Wilbur | 14 | 100 | 0.60208 |  |  |  | 2.0597 | O | 1.1611 | 3 | 2.3194 |  | 5.5727 |  |  | 33.4355
1999-02-15 | 0049 | 8002 | 50 01 | N | 130 59 | W | TR15 | 14 | GF30 | Wilma | 15 | 200 | 1.021 |  |  |  | 3.7752 | 6 O,F | 1.9507 | 3 | 3.9474 |  | 7.1978 |  |  | 33.8984
1999-02-15 | 0353 | 8002 | 50 01 | N | 130 59 | W | TR15 | 18 | GF30 | Wilma | 19 | 300 | 0.93417 |  |  |  | 3.0333 | 6 O,F | 1.5553 | 3 | 2.8126 |  | 5.3024 |  |  | 33.9159
1999-02-14 | 2314 | 8002 | 50 01 | N | 130 59 | W | TR15 | 12 | GF30 | Wilbur | 12 | 400 | 1.3646 |  |  |  | 3.7949 | O | 2.208 | 3 | 4.2048 |  | 5.5651
1999-02-14 | 2314 | 8002 | 50 01 | N | 130 59 | W | TR15 | 12 | GF30 | Wilma | 13 | 600 | 1.759 |  |  |  | 6.1426 | O | 3.1569 | 3 | 6.1767 |  | 7.0251
1999-02-15 | 0507 | 8002 | 50 01 | N | 130 59 | W | TR15 | 20 | GF30 | Wilbur | 21 | 800 | 1.2515 |  |  |  | 2.8569 | 6 O,F | 2.2462 | 3 | 3.4761 |  | 5.0831 |  |  | 34.2916
1999-02-15 | 0507 | 8002 | 50 01 | N | 130 59 | W | TR15 | 20 | GF30 | Wilbur | 22 | 1000 | 1.3006 |  |  |  | 3.5454 | 6 O,F | 2.3009 | 3 | 4.2034 |  | 6.3206 |  |  | 34.3818
1999-02-17 | ~1115 | 8003 | 50 00. | N | 145 00. | W | P26 | 21 | Pump | Asti | 25 | 10 | 0.24842 |  | 0.20412 |  | 0.22103 | 6 O,S | 0.24205 |  | 0.22767 |  | 0.31818 |  |  | 32.824
1999-02-17 | ~1030 | 8003 | 50 00. | N | 145 00. | W | P26 | 21 | Pump | Asti | 24 | 25 | 0.22132 |  | 0.20567 |  | 0.2178 | 6 O,S | 0.22077 |  | 0.20722 |  | 0.29381 |  |  | 32.8249
1999-02-17 | ~0930 | 8003 | 50 00. | N | 145 00. | W | P26 | 21 | Pump | Asti | 23 | 40 | 0.20998 |  | 0.18015 |  | 0.2332 | 6 O,S | 0.24476 |  | 0.24941 |  | 0.38422 |  |  | 32.8234
1999-02-18 | 1019 | 8003 | 50 00. | N | 145 00. | W | P26 | 27 | GF30 | Wilma | 33 | 75 | 0.23564 |  |  |  | 0.26147 | O | 0.24519 |  | 0.24307 |  | 0.33759 |  |  | 32.8391
1999-02-18 | 1009 | 8003 | 50 00. | N | 145 00. | W | P26 | 26 | GF30 | Wilbur | 32 | 100 | 0.20778 |  |  |  | 0.21693 | O | 0.33347 |  | 0.23095 |  | 0.31937 |  |  | 32.8408
1999-02-18 | 0812 | 8003 | 50 00. | N | 145 00. | W | P26 | 23 | GF30 | Wilma | 28 | 200 | 0.38181 |  |  |  | 0.61575 | O | 0.58906 |  | 0.64932 |  | 0.65765 |  |  | 33.7767
1999-02-18 | 0823 | 8003 | 50 00. | N | 145 00. | W | P26 | 24 | GF30 | Wilbur | 29 | 300 | 0.49757 |  |  |  | 0.65749 | O | 0.61283 |  | 0.66072 |  | 0.79916 |  |  | 33.8931
1999-02-18 | 0913 | 8003 | 50 00. | N | 145 00. | W | P26 | 25 | GF30 | Jun | 31 | 400 | 0.47169 |  |  |  | 0.68136 | O | 0.59472 |  | 0.64438 |  | 0.78777 |  |  | 34.0292
1999-02-18 | 0913 | 8003 | 50 00. | N | 145 00. | W | P26 | 25 | GF30 | Wilbur | 30 | 600 | 0.50761 |  |  |  | 0.8103 | O | 0.70171 |  | 0.82441 |  | 0.9506 |  |  | 34.1956
1999-02-18 | 0653 | 8003 | 50 00. | N | 145 00. | W | P26 | 22 | GF30 | Wilbur | 27 | 800 | 0.46957 |  |  |  | 0.83134 | O | 0.70034 |  | 0.84866 |  | 1.1259 |  |  | 34.3018
1999-02-18 | 0653 | 8003 | 50 00. | N | 145 00. | W | P26 | 22 | GF30 | Wilma | 26 | 1000 | 0.54768 |  |  |  | 0.921 | O | 0.70933 |  | 1.0818 |  | 1.2869 |  |  | 34.3781
1999-02-20 | 2100 | 8004 | 49 34 | N | 138 40 | W | P20 | 35 | Zodiac | Dip | 43 | 0 |  |  |  |  | 0.22938 | D |  |  | 0.22803 |  | 0.28029 |  | Rough Seas: Wilbur smashed on ship's roll partway through
1999-02-20 | 1205 | 8004 | 49 34 | N | 138 40 | W | P20 | 34 | GF30 | Wilma | 42 | 10 |  |  |  |  | 0.23302 | D |  |  | 0.21596 |  | 0.27053 |  |  | 32.7564
1999-02-20 | 1118 | 8004 | 49 34 | N | 138 40 | W | P20 | 32 | GF30 | Wilma | 40 | 25 |  |  |  |  | 0.19055 | D |  |  | 0.16428 |  | 0.74818 |  |  | 32.7511
1999-02-20 | 1126 | 8004 | 49 34 | N | 138 40 | W | P20 | 33 | GF30 | Wilbur | 41 | 40 |  |  |  |  | 0.19475 | D |  |  | 0.40937 | 3 | 0.28876 |  |  | 32.7504
1999-02-20 | 1043 | 8004 | 49 34 | N | 138 40 | W | P20 | 31 | GF30 | Wilbur | 39 | 75 |  |  |  |  | 0.18864 | D |  |  | 0.18734 |  | 0.26428 |  |  | 32.7715
1999-02-20 | 1034 | 8004 | 49 34 | N | 138 40 | W | P20 | 30 | GF30 | Wilma | 38 | 100 |  |  |  |  | 0.30514 | 3 D |  |  | 0.24218 |  | 0.35557 |  |  | 32.775
1999-02-20 | 0944 | 8004 | 49 34 | N | 138 40 | W | P20 | 29 | GF30 | Wilma | 36 | 200 |  |  |  |  | 0.57279 | D |  |  | 0.54183 |  | 0.70547 |  |  | 33.8944
1999-02-20 | 0840 | 8004 | 49 34 | N | 138 40 | W | P20 | 28 | GF30 | Wilma | 34 | 300 |  |  |  |  | 0.76777 | D |  |  | 0.86786 |  | 0.9935 |  |  | 33.9207
1999-02-20 | 0944 | 8004 | 49 34 | N | 138 40 | W | P20 | 29 | GF30 | Wilbur | 37 | 400 |  |  |  |  | 0.90065 | D |  |  | 0.87192 |  | 1.0444 |  |  | 33.9922
1999-02-20 | 0840 | 8004 | 49 34 | N | 138 40 | W | P20 | 28 | GF30 | Wilbur | 35 | 600 |  |  |  |  | 1.264 | D |  |  | 1.2534 |  | 3.0259 |  |  | 34.157
1999-02-20 | 2143 | 8004 | 49 34 | N | 138 40 | W | P20 | 30 | GF30 | Wilma | 44 | 800 |  |  |  |  | 1.3568 | D |  |  | 1.3554 |  | 1.5305 |  |  | 34.2877
1999-02-20 | 2143 | 8004 | 49 34 | N | 138 40 | W | P20 | 30 | GF30 | Wilbur | 45 | 1000 |  |  |  |  | 2.3155 | D |  |  | >4 |  | 2.7489 |  |  | 34.3599
1999-02-23 | ~0200 | 8005 | 49 17 | N | 134 40 | W | P16 | 44 | Pump | Asti | 54 | 10 |  |  | 0.267 |  | 0.26127 | O |  |  | 0.25419 |  | 0.31902 |  | Rough Seas: filtered GF samples in clean room to speed up sampling
1999-02-23 | ~0130 | 8005 | 49 17 | N | 134 40 | W | P16 | 44 | Pump | Asti | 53 | 25 |  |  | 0.22476 |  | 0.22136 | O |  |  | 0.21578 |  | 0.25815
1999-02-23 | ~0100 | 8005 | 49 17 | N | 134 40 | W | P16 | 44 | Pump | Asti | 52 | 40 |  |  | 0.20128 |  | 0.18083 | O |  |  | 0.22302 |  | 0.38628
1999-02-23 | 0624 | 8005 | 49 17 | N | 134 40 | W | P16 | 38 | GF30 | Wilma | 46 | 75 | [8 empty] | 0.29562 | F | 0.31467 |  | F: filtered in CleanRoom thru 0.45 flat Duropore filter | 32.8312
1999-02-23 | 0612 | 8005 | 49 17 | N | 134 40 | W | P16 | 37 | GF30 | Wilma | 45 | 100 | [8 empty] | 0.29706 | F | 0.34914 |  |  | 33.2024
1999-02-23 | 0558 | 8005 | 49 17 | N | 134 40 | W | P16 | 36 | GF30 | Wilma | 44 | 200 | [8 empty] | 0.46679 | F | 0.59457 |  |  | 33.9271
1999-02-23 | 0638 | 8005 | 49 17 | N | 134 40 | W | P16 | 39 | GF30 | Wilma | 47 | 300 | [8 empty] | 0.59092 | F | 0.68974 |  |  | 33.9267
1999-02-23 | 0657 | 8005 | 49 17 | N | 134 40 | W | P16 | 40 | GF30 | Wilma | 48 | 400 | [8 empty] | 0.92725 | F | 1.1469 |  |  | 34.0017
1999-02-23 | 0720 | 8005 | 49 17 | N | 134 40 | W | P16 | 41 | GF30 | Wilma | 49 | 600 | [8 empty] | 1.1472 | F | 1.3275 |  |  | 34.1543
1999-02-23 | 0756 | 8005 | 49 17 | N | 134 40 | W | P16 | 42 | GF30 | Wilma | 50 | 800 | [8 empty] | 1.6591 | F | 2.2302 |  |  | 34.2832
1999-02-23 | 0835 | 8005 | 49 17 | N | 134 40 | W | P16 | 43 | GF30 | Wilma | 51 | 1000 | [8 empty] | 1.4629 | F | 1.6631 |  |  | 34.3522

## Metadata
Metadata for Fe III - Cruise 1999-01
Cruise |  |  | 1999-01
Ship |  |  | CCGS John P Tully
Dates |  |  | February 8-28, 1999
Chief Scientist |  |  | Frank Whitney
Iron Analysts | IOS: |  | Nes Sutherland and Keith Johnson
| Criepi: |  | Jun Nishioka
This cruise did not use IOS iron instrumentation - the Japanese system was used instead
The objective of the iron team was to sample and analyse Iron(III) at regularly visited/monitored stations along Line P, and in addition, to provide support for incubation and iron addition to in situ bag experiments by Japanese scientists
A variety of filter sizes were used to differentiate various particulate fractions.
The cruise was marked by numerous storms, and a SAR callout to tend a freighter in distress. As a result, P12 was sacrificed, with TR15 (a more northerly stn) subbed in. That we got the data we did was an amazing feat, some sampling occuring during winds to 55 knots.
Rough seas broke some of the iron equipment, and limited the work done on some stations.
Sample Collection:
Iron near surface samples were collected from a zodiac away from the ship, by hand (dipping bottles only opened and closed while totally submerged, depth~ 0.1m)
Deeper samples were collected by a Teflon compressed air activated Asti pump with Teflon tubing (5-40m), or by 10L GoFlos or LeverAction Niskins (numbered), or 30L GoFlos(GF named Wilbur and Wilma)
on a Kevlar line spooled over a Delrin block (50-1000m).
LDPE bottles had been previously acid cleaned to Geotraces standards.
Some samples were filtered on Teflon apparatus in the clean room - all of the 0.22u and 200kDalton (using a mop type filter provided by Japanese scientist), and surface collected samples, using 0.1u, 0.22u or 0.45u Duropore 47mm filters
The rest were filtered by cartidge type filters direct from the pump or Goflos: these included sampling through 0.03u Steropore units, or 0.1u Steropore, Opti cartridge or 90mm Flat Duropore filters, or 0.45u Opti Duropore cartidges.
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and analysis.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach (pH 3.2), measured onboard, as well
as a strongly acidic leach (pH ~1.6 / 2.25 ml of 6N purified HCl to 250ml SW) measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
However, for this cruise, only the mild buffered onboard treatment was used.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | Filtered & Buffered samples, usually 0.22u. In this cruise the following filters were used: 200kDa & 0.03u filtration for soluble fraction, and 0.1u, 0.22u and 0.45u filters for dissolved fraction.
|  |  |  | FB200kDa | This fraction is considered to represent the soluble Fe, the difference between it and FB0.1u, FB0.22u or 0.45u and represents the small colloidal fraction
|  |  |  | FB0.03u | This fraction is also considered to represent the soluble Fe, these samples are easier to filter than the 200kDa equipment
The 0.03u filter used was a hollow fibre Steropore cartidge type, from Jun Nishioka (Japanese scientist)
|  |  |  | FB0.1u | either a hollow fibre Steropore cartidge or a 0.1u Duropore Opti cartridge was used direct from pump or Goflo, else Duropore Filter from GF or in clean room for zodiac samples
The 0.1u fraction appeared quite similar to the 0.45u fraction, and higher than the 0.22u, despite using different types of filters to determine if contamination might be a culprit
Near the end of the cruise, Nishioka did test runs using different 0.22u filters - his usual Teflon filters, Duropore and PC (polycarbonate) filters. He did find the Teflon ones
gave the lowest values, the rest were similar to the 0.1u filters. This raises the possibility of the pore size of the Teflon filters having changed in the hot acid cleaning step, as Teflon becomes less stable with heat..
|  |  |  | FB0.22u | 0.22u 47mm Teflon flat filter in clean room.
|  |  |  | FB0.45u | 0.45u 90mm Duropore membrane Filter, or 47mm filter in clean lab
The range of filters used was to provide detailed information of different forms of iron, in particular how it could relate to phytoplankton utilization
in the bag and incubation experiments. Jun Nishioka was particularly interested in the 200kDa, 0.22u and unfiltered fractions for his experiments
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
In Later Years (included for info only):
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, only filtered and unfiltered buffered samples (FB & UFB) were collected.
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
In general, duplicate runs are taken from one sample bottle. On the Japanese system, flushing between samples was not as thorough as on the IOS system, and in many cases, only the second run
of the sample was reported, due to the carryover effect. Duplicate stats are only reported where the difference between samples was ~ < 0.5nM, else carryover variation was greater
When running the IOS system, samples are buffered and then run within ~2 hours; on this cruise, using the CRIEPI system, no effort to keep leach times constant was made, this could result in higher iron levels with increasing leach time, particularly for particle rich unfiltered samples.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a certified standard at 1000ppm. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected from Stn Papa in previous cruises
Some regressions gave poor curves, and data was carefully reviewed afterwards by the Japanese and IOS team. It was decided to combine the best of the std data points to create an average std curve for each station, or change of luminol.
As a result data is considered to be best fit, but not necessarily best accuracy.
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe, although in this cruise iron content varied from ~0.05 to 0.30nM for the blanks.
For more on blanks, see separate section below.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
As might be expected, samples with high Fe content, >2nmol, the majority of which are unfiltered, tend to be more variable than filtered, possibly due to unequal particulate loading.
Replicate samples reflect a comparison of different sampling methods: different Goflos, different filters of same pore size, and duplicate samples from same sampler bottle.
|  | Replicate Analysis within a Sample Bottle | [8 empty] | Replicate Bottles
Rep btls compare different filters (0.1u Opti, Steropore or Duropore Flat Filter)
|  | All samples: |  | <0.2nmol (for D.L.): | [6 empty] | All Reps:
Pooled Variance (sp): |  | 0.051133 |  | 0.0089153 |  |  |  |  | Average Abs(Diff): |  | 0.11037
Detection Limit: |  |  |  | 0.026746
Average Fe: |  | 1.6323 |  | 0.25727 | [6 empty] | 2.0115
Sum d^2: |  | 0.9674 |  | 0.0054048 | [6 empty] | 0.26801
Rsp% |  | 3.1325 |  | 3.4654 | [6 empty] | 5.4871
n: |  | 185 |  | 34 | [6 empty] | 11
Daily Reference Standards (DRS)
The check SW std was created by Jun Nishioka, and IOS does not have the documentation for it: the source, or whether the concentration was the same for all stds run
As such, although variability seems high, no comment can be made on the data.
Station | Date | ID | Fe(III)
P04 | 9-12 Feb 1999 | 1019 | 1.2286 |  | high, possibly P04 0.1u high too
|  | 1053 | 0.76579
|  | 1100 | 0.69755
TR15 | 14 Feb 1999 | 1135 | 0.52024 |  | previous check SW
|  | 1140 | 1.7018 |  | fresh check SW
|  | 1168 | 2.4908 |  | old
|  | 1192 | 1.9509
P26, P20, P16 |  |  |  |  | none run
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In this cruise, low iron seawater was run through the resin column and collected for use as zero water. It is referred to as "rc0" or resin-cleaned zero water, and its response is subtracted from samples for the instrument correction.
This zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but corrected with the zero blank to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for rc0 and Standards 0 . Note that Std 0 reflects the concentration of the low iron seawater used for std addition, and varies with batches of water.
Low iron seawater used was higher than desired, ~0.1-0.3nmol, depending on seawater source.
| Date | Standard rc0: |  |  | Standard 0:
|  | ID | Fe(III) |  | ID | Fe(III) | Whether lumping batches of sea water stock together or not does not make much difference - high variablilty likely due to regression difficulties
w/o old rc:
Average: |  |  | 0.017064 | 0.0074461 |  | 0.18908 |  | 0.073612 | =avg stdev of batches
Stdev: |  |  | 0.041186 | 0.018231 |  | 0.089157
DL: |  |  | 0.12356 | 0.054694 |  |  |  | 0.22084
Count: |  |  | 15 | 14 |  | 21 |  | 5
%RSD: |  |  | 241.357 | 244.8437
P04 | 9-12 Feb 1999 | 1010 | -0.0041462 |  | 1009 | 0.062609 | 0.12694 | 0.10671 |  | initial SW
|  | 1052 | 0.15172 |  | 1051 | 0.31306 |  |  |  | rc0 from yesterday, possibly contaminated, else regression could be off, seeing as Std 0 is also high
|  | 1059 | 0 |  | 1058 | 0.1096
[5 empty] | 1085 | 0.052256
[5 empty] | 1099 | 0.097156
TR15 | 14 Feb 1999 | 1132 | -0.016429 |  | 1131 | 0.095112 | 0.22027 | 0.095064 |  | mix old&new SW
|  | 1160 | 0.038742 |  | 1159 | 0.26159
[5 empty] | 1194 | 0.35153
|  | 1215 | 0.015169 |  | 1214 | 0.18199
[5 empty] | 1235 | 0.21113
P26 | 18-19 Feb 1999 | 1287 | 0.039806 |  | 1286 | 0.2081 | 0.20824 | 0.053002 |  | fresh SW added
|  | 1316 | -0.0040083 |  | 1317 | 0.18156
[5 empty] | 1349 | 0.22289
|  | 1376 | 0.01402 |  | 1377 | 0.14278
P20 | 20-22 Feb 1999 | 1426 | 0.00060987 |  | 1427 | 0.28586
|  | 1453 | -0.015883 |  | 1452 | 0.1788 | 0.26325 | 0.07781 |  | fresh SW added
|  | 1479 | 0.027611 |  | 1478 | 0.27892
P16 | 23-24 Feb 1999 | 1542 | -0.008356 |  | 1541 | 0.33204
[5 empty] | 1562 | 0.13038 | 0.13458 | 0.03548 |  | new SW added
|  | 1569 | 0.013595 |  | 1568 | 0.10139
|  | 1595 | 0.0035161 |  | 1599 | 0.17198
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
The standard deviation of the blanks can be used instead to determine DL : in this case, for rc0 (resin cleaned water) DL~0.05nM; the std 0 seawater showed high variablilty, DL~0.22nM, reflecting regresion difficulties with the Japanese system
However, as there were several very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
Using the data for this cruise, DL is ~0.03nM
| Avg: | 0.25727
| n: | 34
| sp: | 0.0089153
| DL: | 0.026746
Overall Detection Limit ~0.03-0.05nM

## P4 Fe
<12hrs
39-42 hrs
15-18 hrs
3-7hrs, filter not seated well
45-50hrs
Times are period from buffering to analysis

## Summary
Cruise 9901 - Line P in February 1999 - Filtered Buffered (FB xxu) and Unfiltered Buffered (UFB) data | [19 empty] | Fraction of Unfiltered Sample, in %
Summary Table of Fe(III), in nanomoles/L - Using Combined regressions where possible | [17 empty] | All: |  | <0.2
All data tied in to calculation sheets
|  |  | 0.039093 |  | 0.0074162 |  | 0.05436 |  | 0.05068 |  | 0.11037 |  | 0.042407 |  | 0.039594 |  | 0.04707 |  | 0.051133 |  | 0.0089153
|  | 0.93068 | 0.073355 | 0.30324 | 0.00054999 |  | 0.15366 |  | 0.097603 |  | 0.26801 | 1.3898 | 0.079127 |  | 0.12228 |  | 0.17282 | 1.6323 | 0.9674 |  | 0.0054048
|  |  | 24 |  | 5 | 1.8952 | 26 | 1.4658 | 19 | 2.0115 | 11 |  | 22 | 1.4228 | 39 | 2.3797 | 39 |  | 185 | 0.25727 | 34
Station | Depth | 200 kDa |  | 0.03u |  | 0.1u Opti |  | 0.1u Duro |  | 0.1 combo |  | 0.2u |  | 0.45u |  | UFB |  | Salinity |  | 200 kDa | 0.2u | 0.03u | 0.1u Opti | 0.1u Duro | 0.45u | UF | Depth, for graph purposes
P04 | 0 | [25 empty] | 0
one reg | 10 | 0.55839 |  |  |  | 1.6159 | 0.00036076 |  |  |  |  | 1.0186 |  | 1.7203 |  | 6.2071 |  |  |  | 8.9959 |  |  | 26.0327 |  | 27.7154 |  | 10
| 25 | 0.69653 | 0.0016495 |  |  | 1.3568 | 0.0026397 |  |  |  |  | 0.91699 | 0.00014658 | 1.5469 | 0.0016337 | 6.928 |  |  |  | 10.0538 |  |  | 19.5839 |  | 22.3286 |  | 25
| 40 | 0.44814 | 0.0014786 |  |  | 1.2365 | 0.0023552 |  |  |  |  | 0.65923 | 0.00031623 | 1.3589 | 5.5876e-05 | 4.9785 |  |  |  | 9.0016 |  |  | 24.8377 |  | 27.2956 |  | 40
some changes | 75 | 0.55188 | 0.0029762 |  |  | 1.8507 | 0.022386 |  |  |  |  | 0.76447 | 0.00011299 | 1.3409 | 9.1127e-05 | 6.6392 |  |  |  | 8.3125 |  |  | 27.8761 |  | 20.1967 |  | 75
| 100 | 0.81487 | 0.0053224 |  |  | 1.5277 | 4.6327e-05 |  |  |  |  | 0.94878 | 0.00028921 | 1.5979 | 0.00068048 | 8.4504 |  |  | >7.1Std | 9.643 |  |  | 18.0784 |  | 18.909 |  | 100
| 200 | 1.4821 | 0.0033166 |  |  | 2.5643 | [5 empty] | 1.65 | 0.0074504 | 2.5726 |  | 8.282 | 0 |  | >7.1Std | 17.8956 | 19.9232 |  | 30.9619 |  | 31.0624 |  | 200
| 300 | 0.70726 |  |  |  | 1.2864 | [5 empty] | 0.81494 |  | 1.3557 |  | 2.7443 |  |  |  | 25.7715 | 29.6953 |  | 46.8753 |  | 49.399 |  | 300
| 400 | 1.5285 | 0.01075 |  |  | 3.3145 | [5 empty] | 2.3921 |  | 3.3232 |  | 6.6765 |  |  |  | 22.8932 | 35.8293 |  | 49.6447 |  | 49.7748 |  | 400
| 600 | 2.4412 | 0.004302 |  |  | 3.4487 | 0.010792 |  |  |  |  | 2.3239 | 0.0080148 | 3.3828 | 0.0063426 | 6.4414 | 9.1613e-05 |  |  | 37.8984 | 36.0766 |  | 53.5387 |  | 52.516 |  | 600
| 800 | 1.7993 | 0.0034341 |  |  | 2.5939 | 1.119e-06 |  |  |  |  | 1.9146 | 0.0027641 | 2.6207 |  | 5.3584 |  |  |  | 33.5784 | 35.731 |  | 48.4077 |  | 48.9084 |  | 800
| 1000 | [25 empty] | 1000
TR15 | 0 | [6 empty] | 1.3325 | 0.0058268 |  |  |  |  | 0.92324 |  | 2.1528 | 0.0033364 | [6 empty] | 61.8946 | 42.8857 |  | 0
combined | 10 | 0.55583 |  |  |  | 2.2034 | 6.6299e-05 | 2.0926 | 0.0021115 | 2.148 | 0.012272 | 1.2629 |  | 2.3774 | 0.0019569 | 5.2731 | 0.027797 |  | 6 OD | 10.5409 | 23.9505 |  | 41.7855 | 39.6846 | 45.0848 |  | 10
regressions | 25 | 0.50711 | 0.0014251 |  |  | 2.2672 | 1.0263e-05 | 2.1648 | 0.002501 | 2.216 | 0.010473 | 1.2685 | 0.00076111 | 2.6538 | 0.054066 | 5.1312 | 0.00099205 |  | 6 OD | 9.883 | 24.7217 |  | 44.1846 | 42.1901 | 51.7189 |  | 25
| 40 | 0.4086 | 0.00010378 |  |  | 1.5942 |  | 1.5785 | 0.014754 | 1.5863 | 0.00024714 | 0.82691 | 0.00094764 | 1.7485 | 0.0007483 | 3.2771 |  |  | 6 OD | 12.4684 | 25.2328 |  | 48.6458 | 48.1661 | 53.3551 |  | 40
| 75 | 0.68271 | 1.6838e-06 |  |  | 2.2782 | 8.8087e-05 | 2.212 |  | 2.2451 | 0.0043752 | 1.4049 | 0.006443 | 2.4708 | 0.0021129 | 6.0286 |  |  | 6 OD | 11.3245 | 23.3044 |  | 37.7892 | 36.6921 | 40.985 |  | 75
no changes | 100 | 0.60208 | 0.00012556 |  |  | 2.0597 | 0.0035474 |  |  | 2.0597 |  | 1.1611 | 0.00079554 | 2.3194 | 0.0005472 | 5.5727 | 0.0031202 |  | O | 10.8042 | 20.836 |  | 36.961 |  | 41.6202 |  | 100
| 200 | 1.021 | 0.0016823 |  |  | 3.9375 | 0.086046 | 3.6129 | 0.015433 | 3.7752 | 0.1054 | 1.9507 | 0.0022827 | 3.9474 | 0.00019717 | 7.1978 | 0.0042759 |  | 6 OD | 14.1848 | 27.1011 |  | 54.704 | 50.1937 | 54.8417 |  | 200
| 300 | 0.93417 | 0.002245 |  |  | 3.1888 |  | 2.8777 | 0.00036499 | 3.0333 | 0.096799 | 1.5553 | 0.00133 | 2.8126 |  | 5.3024 | 5.7577e-07 |  | 6 OD | 17.618 | 29.3332 |  | 60.1402 | 54.2726 | 53.0446 |  | 300
| 400 | 1.3646 | 0.00014638 |  |  | 3.7949 | 0.00045751 |  |  | 3.7949 |  | 2.208 | 0.0024449 | 4.2048 |  | 5.5651 | 0.00099572 |  | O | 24.5201 | 39.6762 |  | 68.1899 |  | 75.5554 |  | 400
| 600 | 1.759 | 0.00053899 |  |  | 6.1426 | 0.0015273 |  |  | 6.1426 |  | 3.1569 | 0.0031417 | 6.1767 | 0.0085136 | 7.0251 | 0.0046484 |  | O | 25.0391 | 44.9377 |  | 87.4371 |  | 87.9231 |  | 600
| 800 | 1.2515 | 4.2307e-05 |  |  | 2.9501 | 0.003759 | 2.7636 | 0.020745 | 2.8569 | 0.034808 | 2.2462 | 0.019093 | 3.4761 | 0.0020439 | 5.0831 | 0.0051958 |  | 6 OD | 24.6201 | 44.189 |  | 58.0384 | 54.368 | 68.3854 |  | 800
| 1000 | 1.3006 | 0.0017456 |  |  | 3.5717 | 0.0116 | 3.5191 | 0.017893 | 3.5454 | 0.0027658 | 2.3009 | 0.018564 | 4.2034 | 0.019063 | 6.3206 | 0.01716 |  | 6 OD | 20.5775 | 36.4029 |  | 56.5096 | 55.6775 | 66.5028 |  | 1000
P16 | 0 | [25 empty] | 0
combined | 10 |  |  | 0.267 | 0.00043576 | 0.26127 | 0.00084626 | [6 empty] | 0.25419 | 5.1269e-05 | 0.31902 | 2.8365e-06 |  |  |  |  | 83.6954 | 81.8977 |  | 79.6796 |  | 10
regressions | 25 |  |  | 0.22476 | 0.00010567 | 0.22136 | 1.7525e-05 | [6 empty] | 0.21578 | 0.00099498 | 0.25815 | 0.00028225 |  |  |  |  | 87.0657 | 85.7503 |  | 83.5872 |  | 25
| 40 |  |  | 0.20128 | 6.4837e-06 | 0.18083 | 0.00020261 | [6 empty] | 0.22302 |  | 0.38628 | 0 |  |  |  |  | 52.1077 | 46.8139 |  | 57.7358 |  | 40
| 75 | [12 empty] | 0.29562 | 4.1717e-06 | 0.31467 | 1.6095e-06 | [7 empty] | 93.9471 |  | 75
no change | 100 | [12 empty] | 0.29706 | 8.4397e-05 | 0.34914 | 0.00020458 | [7 empty] | 85.0837 |  | 100
| 200 | [12 empty] | 0.46679 | 4.0549e-05 | 0.59457 | 0.00014634 | [7 empty] | 78.5099 |  | 200
| 300 | [12 empty] | 0.59092 | 0.0011934 | 0.68974 | 0.00095602 | [7 empty] | 85.6735 |  | 300
| 400 | [12 empty] | 0.92725 | 0.0051917 | 1.1469 | 0.00032111 | [7 empty] | 80.8461 |  | 400
| 600 | [12 empty] | 1.1472 | 0.0026787 | 1.3275 | 0.026535 | [7 empty] | 86.4178 |  | 600
| 800 | [12 empty] | 1.6591 | 0.00215 | 2.2302 | 0.047883 | [7 empty] | 74.3955 |  | 800
| 1000 | [12 empty] | 1.4629 | 0.0019324 | 1.6631 | 0.0066015 | [7 empty] | 87.9649 |  | 1000
P20 | 0 | [6 empty] | 0.22938 | 2.5982e-06 |  |  |  |  | 0.22803 | 3.8887e-05 | 0.28029 | 0.00028337 | [6 empty] | 81.8364 | 81.3564 |  | 0
combined | 10 | [6 empty] | 0.23302 | 0.00014703 |  |  |  |  | 0.21596 | 0.00016249 | 0.27053 | 6.9903e-06 | [6 empty] | 86.1367 | 79.8284 |  | 10
regressions | 25 | [6 empty] | 0.19055 | 9.2204e-05 |  |  |  |  | 0.16428 | 0.00016645 | 0.74818 | 0.0045242 | [6 empty] | 25.4691 | 21.9574 |  | 25
| 40 | [6 empty] | 0.19475 | 0.0001914 |  |  |  |  | 0.40937 | 2.8309e-05 | 0.28876 | 8.9335e-07 | [6 empty] | 67.4431 | 141.77 |  | 40
no change | 75 | [6 empty] | 0.18864 | 0.00014692 |  |  |  |  | 0.18734 | 4.3093e-06 | 0.26428 | 4.4605e-05 | [6 empty] | 71.3803 | 70.887 |  | 75
| 100 | [6 empty] | 0.30514 | 6.6268e-05 |  |  |  |  | 0.24218 | 0.00013335 | 0.35557 | 0.00036278 | [6 empty] | 85.8164 | 68.1103 |  | 100
| 200 | [6 empty] | 0.57279 | 8.2702e-05 |  |  |  |  | 0.54183 | 0.00018487 | 0.70547 | 0.0018358 | [6 empty] | 81.1923 | 76.8043 |  | 200
| 300 | [6 empty] | 0.76777 | 0.0012106 |  |  |  |  | 0.86786 | 0.0014573 | 0.9935 | 0.00020011 | [6 empty] | 77.2791 | 87.3535 |  | 300
| 400 | [6 empty] | 0.90065 | 0.0073884 |  |  |  |  | 0.87192 | 0.0011344 | 1.0444 | 0.00029275 | [6 empty] | 86.2393 | 83.4887 |  | 400
| 600 | [6 empty] | 1.264 | 0.0049307 |  |  |  |  | 1.2534 | 8.9523e-06 | 3.0259 | [7 empty] | 41.7729 | 41.4204 |  | 600
| 800 | [6 empty] | 1.3568 | [5 empty] | 1.3554 | 0.00052783 | 1.5305 | 0.00014653 | [6 empty] | 88.6486 | 88.5597 |  | 800
| 1000 | [6 empty] | 2.3155 | 0.0037135 |  |  |  |  | 4.4136 |  | 2.7489 | 0.00033849 | [6 empty] | 84.2353 |  |  | 1000
measured 24Feb99:
P26 | 0 | [25 empty] | 0 | 0.03u | 0.45u
combined | 10 | 0.24842 | 0.00028431 | 0.20412 | 1.2271e-06 | 0.22822 |  | 0.21384 |  | 0.22103 | 0.00020664 | 0.24205 |  | 0.22767 |  | 0.31818 |  |  |  | 78.0746 | 76.0729 | 64.1538 | 71.7271 | 67.2092 | 71.5553 |  | 10 |  | 0.28733
regressions | 25 | 0.22132 |  | 0.20567 |  | 0.21484 |  | 0.22077 |  | 0.2178 | 3.5238e-05 | 0.22077 |  | 0.20722 |  | 0.29381 |  |  |  | 75.3283 | 75.1416 | 70.0026 | 73.1212 | 75.1416 | 70.5297 |  | 25 |  | 0.27912
| 40 | 0.20998 |  | 0.18015 |  | 0.24573 |  | 0.22066 |  | 0.2332 | 0.00062845 | 0.24476 |  | 0.24941 |  | 0.38422 |  |  |  | 54.6516 | 63.7016 | 46.8856 | 63.9552 | 57.4307 | 64.9121 |  | 40 | 0.26748 | 0.31988
| 75 | 0.23564 |  |  |  | 0.26147 | [5 empty] | 0.24519 |  | 0.24307 |  | 0.33759 |  |  |  | 69.7992 | 72.6291 |  | 77.4507 |  | 72.0024 |  | 75 |  | 0.27968
| 100 | 0.20778 |  |  |  | 0.21693 | [5 empty] | 0.33347 |  | 0.23095 |  | 0.31937 |  |  |  | 65.0583 | 104.4143 |  | 67.9239 |  | 72.3148 |  | 100 |  | 0.39065
no change | 200 | 0.38181 |  |  |  | 0.61575 | [5 empty] | 0.58906 |  | 0.64932 |  | 0.65765 |  |  |  | 58.0568 | 89.571 |  | 93.6288 |  | 98.7348 |  | 200 |  | 0.82186
| 300 | 0.49757 | 0.001279 |  |  | 0.65749 | 0.00029654 |  |  |  |  | 0.61283 | 0.00054048 | 0.66072 | 0.00025195 | 0.79916 | 0.00017 |  |  | 62.2618 | 76.6844 |  | 82.2726 |  | 82.6759 |  | 300 |  | 0.95425
| 400 | 0.47169 | 0.028625 |  |  | 0.68136 | 1.4964e-06 |  |  |  |  | 0.59472 | 1.8575e-06 | 0.64438 | 0.002803 | 0.78777 | 0.010161 |  |  | 59.8769 | 75.4941 |  | 86.4916 |  | 81.7972 |  | 400 |  | 1.1004
| 600 | 0.50761 | 0.00032092 |  |  | 0.8103 | 0.00036145 |  |  |  |  | 0.70171 | 0.00011162 | 0.82441 |  | 0.9506 | 0.0017518 |  |  | 53.3993 | 73.8174 |  | 85.2408 |  | 86.7253 |  | 600 |  | 1.2921
| 800 | 0.46957 | 0.00087276 |  |  | 0.83134 | 0.0031004 |  |  |  |  | 0.70034 | 0.0034933 | 0.84866 | 0.0013197 | 1.1259 | 0.0014504 |  |  | 41.7045 | 62.2002 |  | 73.8347 |  | 75.3728 |  | 800 |  | 1.3973
| 1000 | 0.54768 | 0.00068703 |  |  | 0.921 | 0.0020244 |  |  |  |  | 0.70933 | 8.1052e-05 | 1.0818 | 0.0016813 | 1.2869 | 0.00070023 |  |  | 42.5584 | 55.1197 |  | 71.5681 |  | 84.0596 |  | 1000 |  | 1.5777
Results of 24 hour GoFlo soak:
Sample
|  |  |  | 0hr |  | 24hr |  | Comb reg |  |  |  | Reg 3B |  | Reg 2
P26 | 100 | Wilbur |  | 0.26463 | 8.5514e-07 | 0.65223 | 0.0010785 | 0.31937 |  |  |  | 0.72312 |  | 0.3067
| 200 | Wilma |  | 0.65765 |  | 1.2232 | 4.7702e-05 | 1.2851 |  |  |  | 1.3124 |  | 1.3124 |  | Note 0hr test result used in table