## Data
Update history:
[14 empty] | Dec 06 2005 |  | - Adapted from Frank Whitney file PROD-99.XLS (J.Page)
by adding column "Prim Prod mg.C.m-3.day-1
[14 empty] | Apr 12 2006 |  | - negative PP values set to "0.0" (J.Page)
Last updated: Apr 18 2006 @0915
Note: Values of PP < 0 to be set to 0.00 in final file.
Date |  |  | Time | Cruz | Stn | Cast | La | itud |  | Lng | tude
Year | Mo | Dy | HrMn | ID | ID | ID | dd | mm.m | h | ddd | mm.m | h
aaaa | bb | cc | ddee | fffff | gggggg | HHHH | ii | jj.j | k | lll | mm.m | n
Line P Cruises Primary Productivity by in situ incubations
Starting in Feb 1996, batch 96-01 of NaH14CO3 was used.
Batch 99-01 was used starting Sept/99.
The Ecology LS Counter is now used to count samples. Counting efficiency = 90%.
Scintisafe 50% LS Cocktail is now our standard cocktail.
Standard curve, May 20, 1999, shows activity of batch 96-01 is now 18.6 uCi per mL (4.65 uCi per innoculum).
[13 empty] | cruise: | 9901
[13 empty] | date: | 1999-02-18
[13 empty] | time: | 0830-1410
[13 empty] | station: | P26 | [10 empty] | POC | PON
[12 empty] | W | sample | av. light | dark | prod. | Prim Prod | chl a | NO3 | PO4 | Si | POC | PON | vol filt | ug/L | ug/L | C/N | C:chl | COMMENTS
[13 empty] | depth | cpm | cpm | mg m-3 | mgC m-3 day-1 | mg m-3 | uM | uM | uM | ug | ug | (L) | (corr. for filt blank) |  |  | wt/wt
[13 empty] | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - |  | -
1999 | 2 | 18 | 0 | 1999-01 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 2 | 1235 | 296 | 2.7452 | 4.7361 | 0.38439 | 14.3247 | 1.2995 | 21.1004 | 276.83 | 41.96 | 4.56 | 57.1996 | 8.8289 | 6.4786 | 148.8069
1999 | 2 | 18 | 0 | 1999-01 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 5 | 1325 | 306 | 2.9791 | 5.1396 | 0.3761 | 14.4777 | 1.3082 | 20.8763 | 251.65 | 35.63 | 4.56 | 51.6776 | 7.4408 | 6.9452 | 137.4031
1999 | 2 | 18 | 0 | 1999-01 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 10 | 1375 | 303 | 3.134 | 5.4069 | 0.37538 | 14.3209 | 1.2949 | 21.0063 | 259.01 | 33.72 | 4.3 | 56.514 | 7.4465 | 7.5893 | 150.5518
1999 | 2 | 18 | 0 | 1999-01 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 20 | 1212 | 316 | 2.6195 | 4.5192 | 0.36526 | 14.4222 | 1.2948 | 20.9592 | 285.43 | 35.26 | 4.56 | 59.0855 | 7.3596 | 8.0283 | 161.7617 | ? Spill ?
1999 | 2 | 18 | 0 | 1999-01 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 30 | 887 | 335 | 1.6138 | 2.7842 | 0.36227 | 14.3686 | 1.3035 | 20.7362 | 287.86 | 43.09 | 4.56 | 59.6184 | 9.0768 | 6.5683 | 164.5695
1999 | 2 | 18 | 0 | 1999-01 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 50 | 515 | 289 | 0.66072 | 1.1399 | 0.37424 | 14.4183 | 1.2903 | 20.5138 | 200.19 | 30 | 4.56 | 40.3925 | 6.2061 | 6.5085 | 107.9308
1999 | 2 | 18 | 0 | 1999-01 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 70 | 362 | 297 | 0.19003 | 0.32784 | 0.36036 | 14.3648 | 1.3033 | 20.6428 | 291.56 | 46.51 | 4.56 | 60.4298 | 9.8268 | 6.1495 | 167.6912
1999 | 2 | 18 | 0 | 1999-01 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 100 | 311 | 296 | 0.043853 | 0.075656 | 0.34535 | 14.3629 | 1.2857 | 20.5961 | 212.66 | 27.76 | 4.4 | 44.6955 | 5.9227 | 7.5464 | 129.4213
[13 empty] | Gross daily production, 0-80 m |  |  | 193.9954 |  | 29.4439 | 1150.8655 | 103.8651 | 1658.6704 | 20925.28 | 3071.43 | 362.85 | 4332.3426
---Solar Radiation---
[13 empty] | daily = | 7.66 | I.P.= | 4.44 |  | hours
(2.4*10^4*1.05/0.92)/(5*2.22*10^6)*(B21-C21)
formula for calc of primary prod has following terms:
1. mg TCO2 x C isotope fractionation of 1.05 / counting eff. of 14C
2. / strength of 14C addition (5uCi) x dpm per uCi
3. x avg light cpm - dark cpm
recounts of PP samples after 1 week, higher counting efficiency (87%)
[13 empty] | cruise: | 9901
[13 empty] | date: | 1999-02-18 | Same Cast as above - which one should we use? J.Page Apr 12 2006
[13 empty] | time: | 0830-1410 | I assume the one below is better? Frank confirmed that these are the ones to use. Feb 15, 2012.
[13 empty] | station: | P26 | [10 empty] | POC | PON
[13 empty] | sample | av. light | dark | prod. | Prim Prod | chl a | NO3 | PO4 | Si | POC | PON | vol filt | ug/L | ug/L | C/N |  | COMMENTS
[13 empty] | depth | cpm | cpm | mg m-3 | mgC m-3 day-1 | mg m-3 | uM | uM | uM | ug | ug | (L) | (corr. for filt blank)
[13 empty] | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - |  | -
[13 empty] | 2 | 1340 | 323 | 2.8536 | 4.9231 | 0.38439 | 14.3247 | 1.2995 | 21.1004
[13 empty] | 5 | 1426 | 311 | 3.1286 | 5.3975 | 0.3761 | 14.4777 | 1.3082 | 20.8763
[13 empty] | 10 | 1437 | 311 | 3.1595 | 5.4508 | 0.37538 | 14.3209 | 1.2949 | 21.0063
[13 empty] | 20 | 1298 | 324 | 2.733 | 4.715 | 0.36526 | 14.4222 | 1.2948 | 20.9592
[13 empty] | 30 | 933 | 359 | 1.6106 | 2.7786 | 0.36227 | 14.3686 | 1.3035 | 20.7362
[13 empty] | 50 | 536 | 306 | 0.64536 | 1.1134 | 0.37424 | 14.4183 | 1.2903 | 20.5138
[13 empty] | 70 | 379 | 316 | 0.17677 | 0.30497 | 0.36036 | 14.3648 | 1.3033 | 20.6428
[13 empty] | 100 | 319 | 309 | 0.028059 | 0.048408 | 0.34535 | 14.3629 | 1.2857 | 20.5961
[13 empty] | Gross daily production, 0-80 m |  |  | 196.8989 |  | 29.4439
---Solar Radiation---
[13 empty] | daily = | 7.66 | I.P.= | 4.44 |  | E m-2
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | Counting efficiency = 90% on Wallac using Scintisafe 50%
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | cruise: | 9910 |  | Batch 96-01 used
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | date: | Jun 12
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | time: | 0725-1440
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | station: | P26 | [10 empty] | POC | PON
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | sample | av. light | dark | prod. | Prim Prod | chl a | NO3 | PO4 | Si | POC | PON | vol filt | ug/L | ug/L | C/N | c:chl | COMMENTS
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | depth | cpm | cpm | mg m-3 | mgC m-3 day-1 | mg m-3 | uM | uM | uM | ug | ug | (L) | (corr. for filt blank)
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - |  | -
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 0 | 2670 | 84 | 7.0142 | 12.3519 | 0.36637 | 13.7623 | 1.2677 | 19.8981 | 322.95 | 48.8 | 4.28 | 71.7173 | 11.0047 | 6.517 | 195.7512
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 2 | 2322 | 92 | 6.0486 | 10.6515 | 0.36198 | 13.8211 | 1.272 | 19.7239 | 282.08 | 45.89 | 4.57 | 58.2232 | 9.6696 | 6.0213 | 160.8455
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 5 | 2526 | 94 | 6.5965 | 11.6164 | 0.32531 | 13.7623 | 1.2549 | 19.7239 | 254.43 | 42.58 | 4.56 | 52.2873 | 8.9649 | 5.8324 | 160.7291
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 10 | 2557 | 89 | 6.6942 | 11.7883 | 0.37424 | 13.8211 | 1.2635 | 19.5497 | 386.16 | 57.54 | 4.57 | 80.9978 | 12.2188 | 6.6289 | 216.4301
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 15 | 2390 | 94 | 6.2276 | 10.9668 | 0.35135 | 13.7623 | 1.2635 | 19.7239 | 504.9 | 64.26 | 4.56 | 107.2149 | 13.7193 | 7.8149 | 305.1474
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 30 | 1745 | 112 | 4.4293 | 7.8 | 0.36748 | 13.7623 | 1.2849 | 19.8981 | 326.23 | 43.72 | 4.46 | 69.5583 | 9.4215 | 7.3829 | 189.2829
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 50 | 684 | 74 | 1.6546 | 2.9136 | 0.37838 | 14.1742 | 1.2935 | 19.8981 | 288.41 | 42.13 | 4.56 | 59.739 | 8.8662 | 6.7378 | 157.8803
1998 | 6 | 13 | 0 | 1998-15 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 70 | 214 | 70 | 0.39058 | 0.68781 | 0.31832 | 14.7038 | 1.3407 | 20.2466 | 242.3 | 28.02 | 4.57 | 49.5186 | 5.7593 | 8.598 | 155.5617
[13 empty] | 100 | 83 | 66 | 0.046111 | 0.0812 | 0.16156 | 15.9395 | 1.4265 | 21.8157 | 171.37 | 20.41 | 4.46 | 34.8363 | 4.1951 | 8.3041 | 215.6302
[13 empty] | Gross daily production, 0-80 m |  |  | 462.5838 |  | 28.3349 | 1128.7008 | 103.5396 | 1593.1557 | 25457.85 | 3463.885 | 363.61 | 5321.0901
---Solar Radiation---
[13 empty] | daily = | 20.85 | I.P.= | 11.84 |  | E m-2
[13 empty] | cruise: | 9921 |  | Used Batch 99-01, 20 uCi/mL
[13 empty] | date: | Sep 2
[13 empty] | time: | 0750-1755
[13 empty] | station: | P26 | [10 empty] | POC | PON
[13 empty] | sample | av. light | dark | prod. | Prim Prod | chl a | NO3 | PO4 | Si | POC | PON | vol filt | ug/L | ug/L | C/N |  | COMMENTS
[13 empty] | depth | cpm | cpm | mg m-3 | mgC m-3 day-1 | mg m-3 | uM | uM | uM | ug | ug | (L) | (corr. for filt blank)
[13 empty] | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - |  | -
[13 empty] | 2 | 3743 | 101 | 9.5038 | 12.0313 | 0.34307 | 11.4 | 1.09 | 21 | 553.88 | 89.1 | 4.56 | 117.9561 | 19.1667 | 6.1542 | 343.823 | no volume recorded
[13 empty] | 5 | 5855 | 84 | 15.0595 | 19.0644 | 0.35545 | 11.4 | 1.11 | 20.7 | 555.59 | 89.35 | 4.56 | 118.3311 | 19.2215 | 6.1562 | 332.9009
[13 empty] | 10 | 5165 | 99 | 13.2198 | 16.7354 | 0.37348 | 11.3 | 1.12 | 19.4 | 485.49 | 77.95 | 4.56 | 102.9583 | 16.7215 | 6.1572 | 275.6694
[13 empty] | 20 | 3486 | 129 | 8.7601 | 11.0898 | 0.36833 | 11.3 | 1.12 | 20.2 | 520.83 | 82.26 | 4.56 | 110.7083 | 17.6667 | 6.2665 | 300.5656
[13 empty] | 30 | 2250 | 105 | 5.5974 | 7.086 | 0.35843 | 11.2 | 1.13 | 22 | 390.49 | 61.09 | 4.56 | 82.125 | 13.0241 | 6.3056 | 229.1218
[13 empty] | 50 | 317 | 76 | 0.62889 | 0.79614 | 0.24718 | 13.4 | 1.32 | 19.6 | 271.44 | 36.38 | 4.56 | 56.0175 | 7.6053 | 7.3656 | 226.6256
[13 empty] | 70 | 149 | 48 | 0.26356 | 0.33365 | 0.16898 | 14.4 | 1.42 | 20.5 | 204.76 | 27.25 | 4.56 | 41.3947 | 5.6031 | 7.3879 | 244.9742
1998 | 9 | 4 | 0 | 1998-29 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | 100 | 190 | 71 | 0.31053 | 0.39311 | 0.064671 | 16.3 | 1.47 | 22.9 | 243.91 | 28.77 | 4.18 | 54.5239 | 6.4761 | 8.4193 | 843.1009
1998 | 9 | 4 | 0 | 1998-29 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W
1998 | 9 | 4 | 0 | 1998-29 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | Gross daily production, 0-80 m |  |  | 483.6652 |  | 22.8067 | 1007.25 | 99.605 | 1635.8 | 28391.765 | 4265.425 | 364.8 | 5945.5625
1998 | 9 | 4 | 0 | 1998-29 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W |  | ---Solar Radiation---
1998 | 9 | 4 | 0 | 1998-29 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W | daily = | 22.04 | I.P.= | 17.41 |  | E m-2
1998 | 9 | 4 | 0 | 1998-29 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W
1998 | 9 | 4 | 0 | 1998-29 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W
1998 | 9 | 4 | 0 | 1998-29 | MP26 | 9001 | 50 | 0 | N | 145 | 0 | W