## Comments
Cruise 9905: Georgia Strait, January, 1999. Nutrient Data.
File storage and data processing:
990223 | .aaz | .anz | .xls |  | data analyzed January 23, 1999
990224 | .aaz | .anz | .xls |  | data analyzed January 24, 1999
990225 | .aaz | .anz | .xls |  | data analyzed January 25, 1999
9905nutr |  |  | .xls |  | combined nutrient file
Samples were measured using an Autoanalyzer II, following the procedures outlined in Barwell-Clarke and Whitney, 1997.
Nitrate/silicate samples were defrosted for about 24 h before analysis. Phosphate samples were rapidly defrosted
in moving room temperature air or warm water. Lab temperature was noted periodically, and may be found
on the original data sheets; it was generally around 23 C.
Samples were inverted and shaken before analysis.
Note that Ocean Chemistry's Autoanalyzer was used for these measurements. The chart
recorder graphs are appended to the original copy of this report.
Calibration
The silicate standard (#98-4) was a 4999.89 uM solution of Na2SiF6 prepared from
preweighed chemicals on October 16, 1998. The nitrate standard was a 2501.04 uM solution
prepared on November 25, 1998. The phosphate standard, was a 250.19 uM solution of KH2PO4,
prepared on November 25, 1998. The standards were compared to previously prepared standards
and to commercially prepared standards on Feb 19, 1999 by Linda White.
An Eppendorf maxi pipettor (Ocean Chemistry #2) was used to pipette the standards. It was calibrated on Feb 23, 1999,
and delivered very close to the dialed volume for each tip, but the delivery volumes have been corrected
in calculating the concentrations of the standards.
Variability Estimates
A total of 189 samples were measured; of these, 25 samples were measured in duplicate to
estimate variability.
Sample pooled deviation
| Nitrate | 0.37174
| Silicate | 0.71455
| Phosphate | 0.042181
Pooled deviation was low for these samples.
Variability of standards analyzed as unknowns:
To estimate machine variability, 29 standards were analyzed as unknowns periodically throughout the analysis.
|  | nitrate | silicate | phosphate
| mean | 30.0148 | 60.1191 | 2.9966
| std dev | 0.32526 | 0.25662 | 0.02184
| expected | 29.92 | 59.74 | 3.003
| %diff from exp | -0.31689 | -0.63455 | 0.21149
Nitrate and silicate were reading a bit higher than expected.
Factors affecting data quality:
The 0 and 10 m samples for all stations (N/Si and P tubes) were centrifuged at 3500 rpm for 15 min before analysis
to eliminate interference from particulates.
The data were not corrected for turbidity. The blanks and samples for the turbidity measurements were too variable to be credible.
Salinity was generally above 20 ppt (.001 correction for salt effect in phosphate), so the correction
for salt effect would be minimal. Since the samples were centrifuged, correction for turbidity would be
minimal.
These samples were frozen using an aluminum cooling block. Variability in duplicate samples is low.
Some N/Si samples were transferred to fresh, clean test tubes because the original tubes did not fit in the
sample tray. This can incorporate contamination errors.
Some N/Si samples with wide tubes were stored with the wrong sized cap. If they were allowed to
defrost, sample could have extruded from the tube, affecting the nutrient concentration.

## iosshell
* | Cruise 9905: Georgia Strait, January, 1999. Nutrient Data
*
* | N/Si samples in white capped tubes did not fit in sample tray; transferred to fresh tube: 215, 214, 213, 212, 211, 208, 307, 205, 204, 204, 196, 195, 194, 193, 187, 182
* | N/Si samples 130-136 were transferred to smaller diameter plastic tubes
* | N/Si samples 137, 143, 149 had the wrong sized cap; were also transferred to fresh plastic tubes.
* | PO4: crystals present in samples 162, 160, 151, 150, 143, 140.
* | crystals in PO4 samples: 203, 194, 194, 193, 188, 187, 185, 184, 182, 181, 173.
* | Crystals in PO4 samples: 104, 74-66, 57, 52-41, 38-34, 28-18.
* | 213: PO4: lid loose
* | 190: PO4 : lid cracked
* | N/Si samples: 108-142 had 6-8 h defrost time instead of the usual 18-24 h.
* | N/Si: 215: salt around cap.
* | Room temperature about 22-23 C.
! | Station | Sample | Nitrate 1 | Nitrate 2 | Avg. NO3 | Silicate | Silicate 2 | Avg. Si | PO4 1 | PO4 2 | Avg. PO4
! | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| SI03 | 217 | 25.1598 |  | 25.1598 | 55.9729 |  | 55.9729 | 1.8477 |  | 1.8477
| SI03 | 216 | 26.4355 |  | 26.4355 | 53.1214 |  | 53.1214 | 2.0944 |  | 2.0944
| SI03 | 215 | 26.5373 | 26.611 | 26.5741 | 51.2847 | 51.4672 | 51.376 | 2.1878 | 2.1756 | 2.1817
| SI03 | 214 | 26.7404 | 26.3957 | 26.5681 | 51.2773 | 50.5044 | 50.8908 | 2.2082 | 2.1716 | 2.1899
| SI03 | 213 | 26.776 |  | 26.776 | 51.3218 |  | 51.3218 | 2.2082 |  | 2.2082
| SI03 | 212 | 26.9226 |  | 26.9226 | 50.6246 |  | 50.6246 | 2.1757 |  | 2.1757
| SI03 | 211 | 26.2725 |  | 26.2725 | 49.853 |  | 49.853 | 2.245 |  | 2.245
| SI03 | 210 | 26.6517 |  | 26.6517 | 50.7221 |  | 50.7221 | 2.192 |  | 2.192
| SI03 | 209 | 26.6415 |  | 26.6415 | 50.6386 |  | 50.6386 | 2.1921 |  | 2.1921
| MI03 | 208 | 26.4743 |  | 26.4743 | 54.003 |  | 54.003 | 2.0944 |  | 2.0944
| MI03 | 207 | 26.9658 |  | 26.9658 | 52.3718 |  | 52.3718 | 2.1512 |  | 2.1512
| MI03 | 206 | 26.8696 |  | 26.8696 | 51.5923 |  | 51.5923 | 2.1675 |  | 2.1675
| MI03 | 205 | 26.9132 |  | 26.9132 | 50.7077 |  | 50.7077 | 2.1716 |  | 2.1716
| MI03 | 204 | 26.6219 | 26.6655 | 26.6437 | 50.195 | 50.9013 | 50.5481 | 2.2611 | 2.2327 | 2.2469
| MI03 | 203 | 26.6412 |  | 26.6412 | 50.5649 |  | 50.5649 | 2.1676 |  | 2.1676
| MI03 | 202 | 26.7406 |  | 26.7406 | 50.8469 |  | 50.8469 | 2.2124 |  | 2.2124
| MI03 | 201 | 26.645 |  | 26.645 | 50.6523 |  | 50.6523 | 1.2857 |  | 1.2857
| GI01 | 200 | 25.5729 | 25.5235 | 25.5482 | 57.3491 | 57.3303 | 57.3397 | 1.884 | 1.8557 | 1.8699
| GI01 | 199 | 26.6108 |  | 26.6108 | 54.5575 |  | 54.5575 | 2.1309 |  | 2.1309
| GI01 | 198 | 26.9499 |  | 26.9499 | 51.795 |  | 51.795 | 2.2366 |  | 2.2366
| GI01 | 197 | 26.8448 |  | 26.8448 | 51.7811 |  | 51.7811 | 2.2 |  | 2.2
| GI01 | 196 | 26.7953 |  | 26.7953 | 51.7673 |  | 51.7673 | 2.1838 |  | 2.1838
| GI01 | 195 | 26.6408 |  | 26.6408 | 50.3212 |  | 50.3212 | 2.1635 |  | 2.1635
| GI01 | 194 | 26.7021 | 26.7081 | 26.7051 | 50.151 | 50.1909 | 50.171 | 2.1757 | 2.135 | 2.1554
| GI01 | 193 | 26.6586 |  | 26.6586 | 50.1783 |  | 50.1783 | 2.1228 |  | 2.1228
| GI01 | 192 | 26.9143 |  | 26.9143 | 51.3182 |  | 51.3182 | 2.3267 |  | 2.3267
| GI01 | 191 | 26.9481 |  | 26.9481 | 53.138 |  | 53.138 | 2.4372 |  | 2.4372
| GI02 | 190 | 24.2694 |  | 24.2694 | 63.8416 |  | 63.8416 | 1.5664 |  | 1.5664
| GI02 | 189 | 25.4934 |  | 25.4934 | 56.056 |  | 56.056 | 1.9365 |  | 1.9365
| GI02 | 188 | 26.9969 |  | 26.9969 | 53.4994 |  | 53.4994 | 2.1796 |  | 2.1796
| GI02 | 187 | 27.1693 | 27.286 | 27.2276 | 53.1681 | 53.1541 | 53.1611 | 2.2611 | 2.3182 | 2.2896
| GI02 | 186 | 27.0973 |  | 27.0973 | 51.4536 |  | 51.4536 | 2.2856 |  | 2.2856
| GI02 | 185 | 27.0255 |  | 27.0255 | 51.3755 |  | 51.3755 | 2.2367 |  | 2.2367
| GI02 | 184 | 26.8925 |  | 26.8925 | 50.3647 |  | 50.3647 | 2.2531 |  | 2.2531
| GI02 | 183 | 26.9815 |  | 26.9815 | 50.4061 |  | 50.4061 | 2.3143 |  | 2.3143
| GI02 | 182 | 27.015 |  | 27.015 | 50.499 |  | 50.499 | 2.3103 |  | 2.3103
| GI02 | 181 | 27.0484 |  | 27.0484 | 50.9586 |  | 50.9586 | 2.3757 |  | 2.3757
| GI02 | 180 | 27.5818 |  | 27.5818 | 53.3045 |  | 53.3045 | 2.5151 |  | 2.5151
| GI02 | 179 | 27.8654 |  | 27.8654 | 57.1188 |  | 57.1188 | 2.7086 |  | 2.7086
| NI01 | 178 | 26.0713 |  | 26.0713 | 55.5913 |  | 55.5913 | 1.9971 |  | 1.9971
| NI01 | 177 | 26.1616 |  | 26.1616 | 55.4656 |  | 55.4656 | 2.066 |  | 2.066
| NI01 | 176 | 26.8067 | 26.8971 | 26.8519 | 54.4409 | 54.6864 | 54.5637 | 2.2366 | 2.2531 | 2.2448
| NI01 | 175 | 27.043 | 27.0505 | 27.0467 | 54.1399 | 54.1531 | 54.1465 | 2.2899 |  | 2.2899
| NI01 | 174 | 27.3 | 27.2797 | 27.2899 | 54.6486 | 54.3968 | 54.5227 | 2.3512 |  | 2.3512
| NI01 | 173 | 27.4182 |  | 27.4182 | 54.1031 |  | 54.1031 | 2.3469 |  | 2.3469
| NI01 | 172 | 27.2586 |  | 27.2586 | 52.5077 |  | 52.5077 | 2.3919 |  | 2.3919
| NI02 | 171 | 25.9257 |  | 25.9257 | 55.3059 |  | 55.3059 | 2.0252 |  | 2.0252
|  | 170 | 26.7012 |  | 26.7012 | 54.1096 |  | 54.1096 | 2.224 |  | 2.224
|  | 169 | 26.8459 |  | 26.8459 | 53.6581 |  | 53.6581 | 2.2693 |  | 2.2693
|  | 168 | 27.3207 |  | 27.3207 | 54.0031 |  | 54.0031 | 2.339 |  | 2.339
|  | 167 | 27.3897 |  | 27.3897 | 53.2336 |  | 53.2336 | 2.3763 |  | 2.3763
|  | 166 | 26.8681 |  | 26.8681 | 53.1277 |  | 53.1277 | 2.4104 |  | 2.4104
|  | 165 | 27.3008 |  | 27.3008 | 52.5715 |  | 52.5715 | 2.4235 |  | 2.4235
|  | 164 | 27.0425 |  | 27.0425 | 50.3756 |  | 50.3756 | 2.4325 |  | 2.4325
|  | 163 | 27.1461 |  | 27.1461 | 50.6146 |  | 50.6146 | 2.4333 |  | 2.4333
|  | 162 | 27.3573 |  | 27.3573 | 51.858 |  | 51.858 | 2.4829 |  | 2.4829
|  | 161 | 27.0628 |  | 27.0628 | 52.2566 |  | 52.2566 | 2.5569 |  | 2.5569
|  | 160 | 27.3378 |  | 27.3378 | 54.4784 |  | 54.4784 | 2.4612 |  | 2.4612
|  | 159 | 26.9735 |  | 26.9735 | 55.5098 |  | 55.5098 | 2.6449 |  | 2.6449
|  | 158 | 24.2542 |  | 24.2542 | 51.7386 |  | 51.7386 | 2.0738 |  | 2.0738
|  | 157 | 26.3726 |  | 26.3726 | 53.9996 |  | 53.9996 | 2.1471 |  | 2.1471
|  | 156 | 27.0873 |  | 27.0873 | 54.3233 |  | 54.3233 | 2.2211 |  | 2.2211
|  | 155 | 26.7251 |  | 26.7251 | 52.6001 |  | 52.6001 | 2.2055 |  | 2.2055
|  | 154 | 27.2083 |  | 27.2083 | 53.4785 |  | 53.4785 | 2.4206 |  | 2.4206
|  | 153 | 26.8104 |  | 26.8104 | 52.4466 |  | 52.4466 | 2.4253 |  | 2.4253
|  | 152 | 27.2182 |  | 27.2182 | 51.0982 |  | 51.0982 | 2.3814 |  | 2.3814
|  | 151 | 27.6249 |  | 27.6249 | 50.8632 |  | 50.8632 | 2.3942 |  | 2.3942
|  | 150 | 27.4507 |  | 27.4507 | 50.6587 |  | 50.6587 | 2.44 |  | 2.44
|  | 149 | 27.4908 |  | 27.4908 | 50.9001 |  | 50.9001 | 2.4163 |  | 2.4163
|  | 148 | 27.422 |  | 27.422 | 51.3 |  | 51.3 | 2.4737 |  | 2.4737
|  | 147 | 27.3535 |  | 27.3535 | 52.7579 |  | 52.7579 | 2.4379 |  | 2.4379
|  | 146 | 27.4299 |  | 27.4299 | 53.7925 |  | 53.7925 | 2.5156 |  | 2.5156
|  | 145 | 27.1095 |  | 27.1095 | 54.5623 |  | 54.5623 | 2.6177 |  | 2.6177
|  | 144 | 27.4037 |  | 27.4037 | 57.2671 |  | 57.2671 | 2.6231 |  | 2.6231
|  | 143 | 27.7999 | 27.3382 | 27.5691 | 59.6819 | 59.6559 | 59.6689 | 2.7376 | 2.7179 | 2.7277
|  | 142 | 26.6398 |  | 26.6398 | 53.294 |  | 53.294 | 2.1495 |  | 2.1495
|  | 141 | 26.8241 |  | 26.8241 | 53.6334 |  | 53.6334 | 2.2215 |  | 2.2215
|  | 140 | 27.4493 |  | 27.4493 | 53.6561 |  | 53.6561 | 2.3586 |  | 2.3586
|  | 139 | 27.592 |  | 27.592 | 54.5751 | 54.6414 | 54.6082 | 2.4348 | 2.4411 | 2.4379
|  | 138 | 27.7383 |  | 27.7383 | 54.7553 |  | 54.7553 | 2.4704 |  | 2.4704
|  | 137 | 27.5155 |  | 27.5155 | 51.1456 |  | 51.1456 | 2.3716 |  | 2.3716
|  | 136 | 27.3664 | 27.2906 | 27.3285 | 50.3288 | 50.3006 | 50.3147 | 2.3542 | 2.3857 | 2.37
|  | 135 | 27.6201 | 27.6478 | 27.634 | 54.3466 | 53.2143 | 53.7804 | 2.4237 | 2.2796 | 2.3516
|  | 134 | 27.4947 |  | 27.4947 | 50.7636 |  | 50.7636 | 2.4468 |  | 2.4468
|  | 133 | 27.2749 |  | 27.2749 | 51.5746 |  | 51.5746 | 2.409 |  | 2.409
|  | 132 | 27.4861 |  | 27.4861 | 52.0168 |  | 52.0168 | 2.4897 |  | 2.4897
|  | 131 | 27.4815 |  | 27.4815 | 53.6633 |  | 53.6633 | 2.4846 |  | 2.4846
|  | 130 | 27.4767 |  | 27.4767 | 55.3097 |  | 55.3097 | 2.6023 |  | 2.6023
| NI05 | 129 | 26.5347 |  | 26.5347 | 54.0808 |  | 54.0808 | 2.0685 |  | 2.0685
|  | 128 | 27.2224 |  | 27.2224 | 53.9226 |  | 53.9226 | 2.2431 |  | 2.2431
|  | 127 | 27.0848 |  | 27.0848 | 53.0977 |  | 53.0977 | 2.3759 |  | 2.3759
|  | 126 | 26.8588 |  | 26.8588 | 52.3798 |  | 52.3798 | 2.4356 |  | 2.4356
|  | 125 | 27.6252 |  | 27.6252 | 52.2948 |  | 52.2948 | 2.4182 |  | 2.4182
|  | 124 | 27.4717 |  | 27.4717 | 50.5793 |  | 50.5793 | 2.3559 |  | 2.3559
|  | 123 | 27.64 |  | 27.64 | 50.1493 |  | 50.1493 | 2.3861 |  | 2.3861
|  | 122 | 27.6333 |  | 27.6333 | 50.2756 |  | 50.2756 | 2.4053 |  | 2.4053
|  | 121 | 27.3718 | 27.2921 | 27.3319 | 50.4018 | 50.5277 | 50.4648 | 2.4123 | 2.4274 | 2.4198
|  | 120 | 27.2847 |  | 27.2847 | 50.9678 |  | 50.9678 | 2.4303 |  | 2.4303
|  | 119 | 27.2771 |  | 27.2771 | 51.8265 |  | 51.8265 | 2.4945 |  | 2.4945
|  | 118 | 27.4486 |  | 27.4486 | 53.9966 |  | 53.9966 | 2.608 |  | 2.608
| NI06 | 116 | 27.403 |  | 27.403 | 53.574 |  | 53.574 | 2.1973 |  | 2.1973
|  | 115 | 25.1858 |  | 25.1858 | 48.3302 |  | 48.3302 | 2.3464 |  | 2.3464
|  | 114 | 27.393 |  | 27.393 | 51.8775 |  | 51.8775 | 2.2314 |  | 2.2314
|  | 113 | 26.9475 | 24.4908 | 25.7191 | 50.7947 | 46.2516 | 48.5231 | 2.1896 | 2.3267 | 2.2581
|  | 112 | 27.0125 |  | 27.0125 | 50.2092 |  | 50.2092 | 2.3215 |  | 2.3215
|  | 111 | 23.0776 |  | 23.0776 | 42.565 |  | 42.565 | 2.1726 |  | 2.1726
|  | 110 | 27.5404 |  | 27.5404 | 50.0685 |  | 50.0685 | 2.2651 |  | 2.2651
|  | 109 | 26.6305 |  | 26.6305 | 50.4577 |  | 50.4577 | 2.4678 |  | 2.4678
|  | 108 | 26.8059 |  | 26.8059 | 51.6847 |  | 51.6847 | 2.3076 |  | 2.3076
|  | 107 | 26.0942 |  | 26.0942 | 54.9137 |  | 54.9137 | 2.1372 |  | 2.1372
|  | 106 | 27.2203 |  | 27.2203 | 53.3675 |  | 53.3675 | 2.3516 |  | 2.3516
|  | 105 | 24.7391 | 24.5418 | 24.6404 | 48.1589 | 47.8047 | 47.9818 | 2.3393 | 2.3808 | 2.3601
|  | 104 | 25.6305 |  | 25.6305 | 49.1939 |  | 49.1939 | 2.3619 |  | 2.3619
|  | 103 | 26.1675 |  | 26.1675 | 50.2122 |  | 50.2122 | 2.3752 |  | 2.3752
|  | 77 | 26.3635 |  | 26.3635 | 54.9511 |  | 54.9511 | 2.1634 |  | 2.1634
|  | 76 | 26.6258 | 26.5626 | 26.5942 | 54.8655 | 54.4702 | 54.6679 | 2.2069 | 2.2017 | 2.2043
|  | 75 | 26.2854 |  | 26.2854 | 54.2007 |  | 54.2007 | 2.1761 |  | 2.1761
|  | 74 | 26.9682 |  | 26.9682 | 54.5293 |  | 54.5293 | 2.3507 |  | 2.3507
|  | 73 | 27.3201 |  | 27.3201 | 54.699 |  | 54.699 | 2.3802 |  | 2.3802
|  | 72 | 27.2682 |  | 27.2682 | 54.2881 |  | 54.2881 | 2.442 |  | 2.442
|  | 71 | 26.5571 | 26.7254 | 26.6413 | 49.6123 | 50.7308 | 50.1716 | 2.3868 | 2.3557 | 2.3712
|  | 70 | 27.2961 | 27.0464 | 27.1712 | 50.1855 | 50.6135 | 50.3995 | 2.4653 | 2.4484 | 2.4569
|  | 69 | 27.1592 |  | 27.1592 | 50.7344 | 50.8255 | 50.78 | 2.4739 | 2.495 | 2.4845
|  | 68 | 27.144 | 26.9106 | 27.0273 | 52.1639 | 51.9349 | 52.0494 | 2.544 | 2.5572 | 2.5506
|  | 67 | 27.1105 |  | 27.1105 | 53.75 |  | 53.75 | 2.5939 |  | 2.5939
|  | 66 | 27.0953 |  | 27.0953 | 53.9711 |  | 53.9711 | 2.6235 |  | 2.6235
|  | 65 | 27.1894 |  | 27.1894 | 54.5588 |  | 54.5588 | 2.6208 |  | 2.6208
|  | 64 | 27.2106 |  | 27.2106 | 58.294 |  | 58.294 | 2.764 |  | 2.764
|  | 62 | 26.3902 |  | 26.3902 | 53.9682 |  | 53.9682 | 2.1396 |  | 2.1396
|  | 61 | 27.0546 |  | 27.0546 | 53.0504 |  | 53.0504 | 2.3049 |  | 2.3049
|  | 60 | 26.5242 |  | 26.5242 | 53.7152 |  | 53.7152 | 2.3354 |  | 2.3354
|  | 59 | 27.089 |  | 27.089 | 52.2714 |  | 52.2714 | 2.3858 |  | 2.3858
|  | 58 | 27.0013 |  | 27.0013 | 51.3069 |  | 51.3069 | 2.3717 |  | 2.3717
|  | 57 | 26.986 | 26.1031 | 26.5446 | 51.0307 | 49.4902 | 50.2604 | 2.3939 | 2.392 | 2.3929
|  | 56 | 26.7601 |  | 26.7601 | 50.8886 |  | 50.8886 | 2.4123 |  | 2.4123
|  | 55 | 26.8533 |  | 26.8533 | 50.6134 |  | 50.6134 | 2.4427 |  | 2.4427
|  | 54 | 26.9463 | 27.0752 | 27.0108 | 51.9663 | 52.1624 | 52.0643 | 2.5256 | 2.5197 | 2.5226
|  | 53 | 27.0959 |  | 27.0959 | 52.8298 |  | 52.8298 | 2.5583 |  | 2.5583
|  | 52 | 27.1889 |  | 27.1889 | 53.237 |  | 53.237 | 2.5888 |  | 2.5888
|  | 51 | 26.9935 |  | 26.9935 | 54.4257 |  | 54.4257 | 2.6437 |  | 2.6437
|  | 50 | 27.3019 |  | 27.3019 | 60.5402 |  | 60.5402 | 2.9177 |  | 2.9177
|  | 49 | 26.1526 |  | 26.1526 | 56.1408 |  | 56.1408 | 2.0277 |  | 2.0277
|  | 48 | 27.1479 |  | 27.1479 | 52.9329 |  | 52.9329 | 2.3065 |  | 2.3065
|  | 47 | 27.0507 |  | 27.0507 | 53.591 |  | 53.591 | 2.3002 |  | 2.3002
|  | 46 | 27.18 | 27.3452 | 27.2626 | 53.7045 | 53.8702 | 53.7873 | 2.3878 | 2.3425 | 2.3652
|  | 45 | 27.3997 |  | 27.3997 | 53.8768 |  | 53.8768 | 2.3981 |  | 2.3981
|  | 44 | 27.0891 |  | 27.0891 | 52.83 |  | 52.83 | 2.4456 |  | 2.4456
|  | 43 | 26.6707 | 26.7256 | 26.6981 | 50.9985 | 51.2707 | 51.1346 | 2.3396 | 2.3303 | 2.335
|  | 42 | 24.9362 |  | 24.9362 | 59.0461 |  | 59.0461 | 1.8343 |  | 1.8343
|  | 41 | 26.3296 |  | 26.3296 | 54.6386 |  | 54.6386 | 2.1862 |  | 2.1862
|  | 40 | 27.4204 |  | 27.4204 | 53.2061 |  | 53.2061 | 2.3733 |  | 2.3733
|  | 39 | 27.3216 |  | 27.3216 | 52.9197 |  | 52.9197 | 2.3601 |  | 2.3601
|  | 38 | 27.6918 |  | 27.6918 | 52.5814 |  | 52.5814 | 2.3917 |  | 2.3917
|  | 37 | 27.0145 |  | 27.0145 | 50.4747 |  | 50.4747 | 2.3176 |  | 2.3176
|  | 36 | 27.2766 |  | 27.2766 | 50.814 |  | 50.814 | 2.3614 |  | 2.3614
|  | 35 | 27.0679 |  | 27.0679 | 50.2171 |  | 50.2171 | 2.3483 |  | 2.3483
|  | 34 | 25.5519 |  | 25.5519 | 47.3363 |  | 47.3363 | 2.4569 |  | 2.4569
|  | 33 | 27.7041 |  | 27.7041 | 51.623 |  | 51.623 | 2.5331 |  | 2.5331
|  | 32 | 27.6139 |  | 27.6139 | 52.7682 |  | 52.7682 | 2.592 |  | 2.592
|  | 31 | 28.0996 |  | 28.0996 | 54.9273 |  | 54.9273 | 2.6965 |  | 2.6965
|  | 30 | 25.6244 |  | 25.6244 | 58.6975 |  | 58.6975 | 1.7877 |  | 1.7877
|  | 29 | 25.8805 |  | 25.8805 | 56.9517 |  | 56.9517 | 2.2836 |  | 2.2836
|  | 28 | 27.3993 | 27.4111 | 27.4052 | 53.33 | 53.6569 | 53.4935 | 2.3886 | 2.3993 | 2.3939
|  | 27 | 26.9467 |  | 26.9467 | 51.6072 |  | 51.6072 | 2.1588 |  | 2.1588
|  | 26 | 27.6769 |  | 27.6769 | 51.9009 |  | 51.9009 | 2.024 |  | 2.024
|  | 25 | 27.4292 |  | 27.4292 | 51.518 |  | 51.518 | 2.3606 |  | 2.3606
|  | 24 | 27.3989 |  | 27.3989 | 50.7714 |  | 50.7714 | 2.3477 |  | 2.3477
|  | 23 | 27.2595 |  | 27.2595 | 49.7656 |  | 49.7656 | 2.3592 |  | 2.3592
|  | 22 | 27.1925 |  | 27.1925 | 50.319 |  | 50.319 | 2.3828 |  | 2.3828
|  | 21 | 27.4534 |  | 27.4534 | 51.4958 |  | 51.4958 | 2.5038 |  | 2.5038
|  | 20 | 27.7575 |  | 27.7575 | 52.966 |  | 52.966 | 2.5429 |  | 2.5429
|  | 19 | 27.8005 |  | 27.8005 | 54.0392 |  | 54.0392 | 2.603 |  | 2.603
|  | 18 | 27.9168 |  | 27.9168 | 56.1018 |  | 56.1018 | 2.6591 |  | 2.6591
|  | 17 | 26.0194 |  | 26.0194 | 51.8184 |  | 51.8184 | 2.8408 |  | 2.8408
|  | 16 | 27.1671 |  | 27.1671 | 53.4246 |  | 53.4246 | 1.9829 |  | 1.9829
|  | 15 | 27.2459 |  | 27.2459 | 53.4095 |  | 53.4095 | 2.267 |  | 2.267
|  | 14 | 27.4403 |  | 27.4403 | 53.0145 |  | 53.0145 | 2.3548 |  | 2.3548
|  | 13 | 27.0859 |  | 27.0859 | 52.2178 |  | 52.2178 | 2.3581 |  | 2.3581
|  | 12 | 27.4184 | 27.4617 | 27.44 | 51.5259 | 51.4591 | 51.4925 | 2.3735 | 2.3727 | 2.3731
|  | 11 | 27.0333 |  | 27.0333 | 50.6123 |  | 50.6123 | 2.3557 |  | 2.3557
|  | 10 | 27.1125 | 27.192 | 27.1523 | 50.2338 | 50.2193 | 50.2266 | 2.3549 | 2.3622 | 2.3586
|  | 9 | 26.8345 |  | 26.8345 | 50.3089 |  | 50.3089 | 2.3533 |  | 2.3533
|  | 8 | 26.5915 |  | 26.5915 | 49.3449 |  | 49.3449 | 2.303 |  | 2.303
|  | 7 | 27.1457 |  | 27.1457 | 50.3695 |  | 50.3695 | 2.3063 |  | 2.3063
|  | 6 | 27.2623 |  | 27.2623 | 51.1863 |  | 51.1863 | 2.3947 |  | 2.3947
|  | 4 | 27.3258 |  | 27.3258 | 51.5065 |  | 51.5065 | 2.3198 |  | 2.3198
|  | 3 | 27.234 | 27.0689 | 27.1515 | 51.336 | 51.4252 | 51.3806 | 2.3587 | 2.1661 | 2.2624
|  | 2 | 27.0848 |  | 27.0848 | 50.4762 |  | 50.4762 | 2.3351 |  | 2.3351
|  | 1 | 27.0272 |  | 27.0272 | 50.1504 |  | 50.1504 | 2.3334 |  | 2.3334

## variability
Cruise 9905: Georgia Strait, January, 1999. Nutrient Data
Variability
1. Regression Coefficients (C2)
Date | Nitrate | Silicate | Phosphate
990223 | 0.02676 | 0.051414 | 0.0038538
| 0.026735 | 0.050735 | 0.0041891
| 0.026922 | 0.05101 | 0.0038492
990224 | 0.036886 | 0.051645 | 0.0039964 | NO3: changed std cal
| 0.036536 | 0.05106 | 0.0040328
|  | 0.05055 | 0.0039394
990225 | 0.035995 | 0.051892 | 0.0040223
| 0.035257 | 0.050625 | 0.004096
| 0.034704 | 0.050183 | 0.0040561
2. Variability of standards analyzed as unknowns
| nitrate | silicate | phosphate
| 29.7262 | 60.0075 | 2.9977
| 29.8941 | 60.009 | 3.01
| 29.6067 | 59.8076 | 3.0047
| 29.8076 | 59.9716 | 3.0129
| 29.9969 | 60.3099 | 2.9902
| 29.809 | 60.2739
| 29.9137 | 59.5845 | 3.0292
| 29.7031 | 60.1278 | 2.9993
| 29.916 | 59.9322 | 2.9184
| 29.8142 | 60.8237 | 3.0034
| 29.517 | 60.1044 | 2.9922
| 30.0239 | 60.2018 | 3.022
| 29.9721 | 60.0065 | 2.9978
| 30.0942 | 60.3492 | 2.9914
| 29.6898 | 59.8942 | 3.0055
| 30.64 | 59.779 | 3.0108
| 30.2462 | 60.3376 | 3.0024
| 30.4076 | 60.2063 | 2.9888
| 30.6047 | 60.3352 | 2.998
| 30.4309 | 60.2403 | 2.9729
| 30.4972 | 60.1985 | 2.9853
average | 30.0148 | 60.1191 | 2.9966
std dev | 0.32526 | 0.25662 | 0.02184
expected | 29.92 | 59.74 | 3.003
%diff from exp | -0.31689 | -0.63455 | 0.21149
3. Pooled deviation of duplicate samples
Nitrate
Sample | n1 | n2 | (n1-n2) | (n1-n2)^2
215 | 26.5373 | 26.611 | -0.07371 | 0.0054332
214 | 26.7404 | 26.3957 | 0.34474 | 0.11885
204 | 26.6219 | 26.6655 | -0.04365 | 0.0019053
200 | 25.5729 | 25.5235 | 0.04945 | 0.0024453
194 | 26.7021 | 26.7081 | -0.00598 | 3.576e-05
187 | 27.1693 | 27.286 | -0.11671 | 0.013621
176 | 26.8067 | 26.8971 | -0.09037 | 0.0081667
175 | 27.043 | 27.0505 | -0.00753 | 5.6701e-05
174 | 27.3 | 27.2797 | 0.02026 | 0.00041047
143 | 27.7999 | 27.3382 | 0.46171 | 0.21318
136 | 27.3664 | 27.2906 | 0.07575 | 0.0057381
135 | 27.6201 | 27.6478 | -0.02776 | 0.00077062
121 | 27.3718 | 27.2921 | 0.07968 | 0.0063489
113 | 26.9475 | 24.4908 | 2.4566 | 6.0351
105 | 24.7391 | 24.5418 | 0.19731 | 0.038931
76 | 26.6258 | 26.5626 | 0.06317 | 0.0039904
71 | 26.5571 | 26.7254 | -0.16827 | 0.028315
70 | 27.2961 | 27.0464 | 0.24969 | 0.062345
68 | 27.144 | 26.9106 | 0.23335 | 0.054452
57 | 26.986 | 26.1031 | 0.88294 | 0.77958
54 | 26.9463 | 27.0752 | -0.12896 | 0.016631
46 | 27.18 | 27.3452 | -0.16514 | 0.027271
43 | 26.6707 | 26.7256 | -0.0549 | 0.003014
28 | 27.3993 | 27.4111 | -0.01186 | 0.00014066
12 | 27.4184 | 27.4617 | -0.04336 | 0.0018801
10 | 27.1125 | 27.192 | -0.07944 | 0.0063107
3 | 27.234 | 27.0689 | 0.16505 | 0.027242
|  |  | Sum of squared differences | 7.4621
|  |  | No. of samples | 27
|  |  | Pooled deviation | 0.37174
Silicate
Sample | n1 | n2 | (n1-n2) | (n1-n2)^2
215 | 51.2847 | 51.4672 | -0.18253 | 0.033317
214 | 51.2773 | 50.5044 | 0.77291 | 0.59739
204 | 50.195 | 50.9013 | -0.70626 | 0.4988
200 | 57.3491 | 57.3303 | 0.01878 | 0.00035269
194 | 50.151 | 50.1909 | -0.03989 | 0.0015912
187 | 53.1681 | 53.1541 | 0.01409 | 0.00019853
176 | 54.4409 | 54.6864 | -0.2455 | 0.06027
175 | 54.1399 | 54.1531 | -0.0132 | 0.00017424
174 | 54.6486 | 54.3968 | 0.25182 | 0.063413
143 | 59.6819 | 59.6559 | 0.02603 | 0.00067756
136 | 50.3288 | 50.3006 | 0.02827 | 0.00079919
135 | 54.3466 | 53.2143 | 1.1323 | 1.2822
121 | 50.4018 | 50.5277 | -0.12596 | 0.015866
113 | 50.7947 | 46.2516 | 4.5432 | 20.6403
105 | 48.1589 | 47.8047 | 0.35422 | 0.12547
76 | 54.8655 | 54.4702 | 0.39524 | 0.15621
71 | 49.6123 | 50.7308 | -1.1185 | 1.2512
70 | 50.1855 | 50.6135 | -0.42795 | 0.18314
69 | 50.7344 | 50.8255 | -0.09107 | 0.0082937
68 | 52.1639 | 51.9349 | 0.22903 | 0.052455
57 | 51.0307 | 49.4902 | 1.5405 | 2.3731
54 | 51.9663 | 52.1624 | -0.19607 | 0.038443
46 | 53.7045 | 53.8702 | -0.1657 | 0.027456
43 | 50.9985 | 51.2707 | -0.27228 | 0.074136
28 | 53.33 | 53.6569 | -0.32692 | 0.10688
12 | 51.5259 | 51.4591 | 0.06674 | 0.0044542
10 | 50.2338 | 50.2193 | 0.01443 | 0.00020822
3 | 51.336 | 51.4252 | -0.08918 | 0.0079531
|  |  | Sum of squared differences | 27.5714
|  |  | No. of samples | 27
|  |  | Pooled deviation | 0.71455
Phosphate
Sample | n1 | n2 | (n1-n2) | (n1-n2)^2
215 | 2.1878 | 2.1756 | 0.012178 | 0.0001483
214 | 2.2082 | 2.1716 | 0.036595 | 0.0013392
204 | 2.2611 | 2.2327 | 0.028482 | 0.00081122
200 | 1.884 | 1.8557 | 0.028276 | 0.00079953
194 | 2.1757 | 2.135 | 0.040663 | 0.0016535
187 | 2.2611 | 2.3182 | -0.057111 | 0.0032617
176 | 2.2366 | 2.2531 | -0.016505 | 0.00027242
143 | 2.7376 | 2.7179 | 0.019629 | 0.0003853
136 | 2.3542 | 2.3857 | -0.031506 | 0.00099263
135 | 2.4237 | 2.2796 | 0.14408 | 0.020758
121 | 2.4123 | 2.4274 | -0.01513 | 0.00022892
113 | 2.1896 | 2.3267 | -0.13709 | 0.018795
105 | 2.3393 | 2.3808 | -0.041479 | 0.0017205
76 | 2.2069 | 2.2017 | 0.005244 | 2.75e-05
71 | 2.3868 | 2.3557 | 0.031072 | 0.00096547
70 | 2.4653 | 2.4484 | 0.016964 | 0.00028778
69 | 2.4739 | 2.495 | -0.021096 | 0.00044504
68 | 2.544 | 2.5572 | -0.013179 | 0.00017369
57 | 2.3939 | 2.392 | 0.00196 | 3.8416e-06
54 | 2.5256 | 2.5197 | 0.005937 | 3.5248e-05
46 | 2.3878 | 2.3425 | 0.045284 | 0.0020506
43 | 2.3396 | 2.3303 | 0.009242 | 8.5415e-05
28 | 2.3886 | 2.3993 | -0.010751 | 0.00011558
12 | 2.3735 | 2.3727 | 0.0008 | 6.4e-07
10 | 2.3549 | 2.3622 | -0.007322 | 5.3612e-05
3 | 2.3587 | 2.1661 | 0.19264 | 0.037109
|  |  | Sum of squared differences | 0.092519
|  |  | No. of samples | 26
|  |  | Pooled deviation | 0.042181