## Final Data 1999-10
Iron III Data for Cruise 1999-10 | [27 empty] | For Graphing:
Cruise: | [6 empty] | 1999-10
Ship | [6 empty] | CCGS John P Tully
Dates | [6 empty] | June 1-24, 1999
Chief Scientist | [6 empty] | Ron Perkin
Iron Analyst |  |  |  | IOS: |  |  | Nes Sutherland
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
Salinity was collected from iron sampling bottles.
[9 empty] | GF= goflo |  | Sample_Number | Depth | Iron:Filtered:Buffered 0.1u | Flag FB | Iron:Filtered:Buffered 0.45u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB |  | Salinity | Salinity flag | Nitrate | Nitrate flag | Silicate | Silicate flag | Phosphate | Phosphate flag
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB 0.1 | FB | FB 0.45 | FB | UFB | UFB | Analysis Comments | Sal |  | NO3 |  | Si |  | PO4
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | Flag | uM | Flag | uM | Flag | uM | Flag
1999-06-12 | 0630 | 8001 | 50 00. | N | 145 00. | W | P26 | 1 | Pump | Asti | 1 | 15 |  |  |  |  | 0.089662 |  | // pump coll'n by UBC students
1999-06-13 | 0710 | 8001 | 50 00. | N | 145 00. | W | P26 | 5 | GF30 | Wilbur | 9 | 75 | 0.037059 |  | 0.13428 |  | 0.089543 |  |  | 32.916
1999-06-13 | 0440 | 8001 | 50 00. | N | 145 00. | W | P26 | 4 | GF30 | Wilma | 7 | 100 | 0.07566 |  | 0.09573 |  | 0.25142 |  | GF slipped down line a bit at surface | 33.044
1999-06-13 | 0710 | 8001 | 50 00. | N | 145 00. | W | P26 | 5 | GF30 | Wilma | 8 | 200 | 0.20857 |  | 0.22424 |  | 0.42142 |  |  | 33.827
1999-06-13 | 0440 | 8001 | 50 00. | N | 145 00. | W | P26 | 4 | GF30 | Wilbur | 6 | 300 | 0.33038 |  | 0.33312 |  | 0.53026 |  | GF slipped down line a bit at surface | 33.903
1999-06-13 | 0220 | 8001 | 50 00. | N | 145 00. | W | P26 | 3 | GF30 | Wilbur | 5 | 400 | 0.53585 |  | 0.54378 |  | 0.69096 |  |  | 34.015
1999-06-13 | 0220 | 8001 | 50 00. | N | 145 00. | W | P26 | 3 | GF30 | Wilma | 4 | 600 | 0.58881 |  | 0.60957 |  | 0.77072 |  |  | 34.167
1999-06-12 | 2345 | 8001 | 50 00. | N | 145 00. | W | P26 | 2 | GF30 | Wilma | 3 | 800 | 0.64485 | 4 | 0.61033 | 4 | 0.70137 | 4 | 4 All: realized from salinity that 800&1000 were reversed | 34.286 | 4
1999-06-12 | 2345 | 8001 | 50 00. | N | 145 00. | W | P26 | 2 | GF30 | Wilbur | 2 | 1000 | 0.60503 | 4 | 0.72566 | 4 | 0.74972 | 4 | Correctly entered in this table | 34.363 | 4
1999-06-18 | 1020 | 8002 | 49 34 | N | 138 40 | W | P20 | 11 | Pump | Asti | 20 | 10 | 0.038173 |  | 0.037492 |  | 0.056274
1999-06-18 | 0935 | 8002 | 49 34 | N | 138 40 | W | P20 | 11 | Pump | Asti | 19 | 25 | 0.041569 |  | 0.054194 |  | 0.06582
1999-06-18 | 0920 | 8002 | 49 34 | N | 138 40 | W | P20 | 11 | Pump | Asti | 18 | 40 | 0.037273 |  | 0.04149 |  | 0.078602
1999-06-18 | 0530 | 8002 | 49 34 | N | 138 40 | W | P20 | 9 | GF30 | Wilbur | 16 | 75 | 0.04542 |  | 0.053753 |  | 0.055139 |  |  | 32.816
1999-06-18 | 0421 | 8002 | 49 34 | N | 138 40 | W | P20 | 8 | GF30 | Wilma | 14 | 100 | 0.11409 |  | 0.12687 |  | 0.30186 |  |  | 33.741
1999-06-18 | 0610 | 8002 | 49 34 | N | 138 40 | W | P20 | 10 | GF30 | Wilma | 17 | 200 | 0.2007 |  | 0.22344 |  | 0.29334 |  |  | 33.862
1999-06-18 | 0421 | 8002 | 49 34 | N | 138 40 | W | P20 | 8 | GF30 | Wilbur | 15 | 300 | 0.37006 |  | 0.35424 |  | 0.38453 |  |  | 33.948
1999-06-18 | 0250 | 8002 | 49 34 | N | 138 40 | W | P20 | 7 | GF30 | Wilbur | 12 | 400 | 0.36274 |  | 0.42412 |  | 0.47177 |  |  | 33.994
1999-06-18 | 0250 | 8002 | 49 34 | N | 138 40 | W | P20 | 7 | GF30 | Wilma | 13 | 600 | 0.32477 |  | 0.324 |  | 0.33427 |  |  | 34.157
1999-06-17 | 2300 | 8002 | 49 34 | N | 138 40 | W | P20 | 6 | GF30 | Wilma | 10 | 800 | 0.37191 |  | 0.53895 |  | 0.6208 |  | //sal depth ~ 730m (compared to CTD data)/ GF slid ~17m down wire on surface retrieval | 34.238
1999-06-17 | 2300 | 8002 | 49 34 | N | 138 40 | W | P20 | 6 | GF30 | Wilbur | 11 | 1000 | 0.58851 | 3 | 0.53493 |  | 0.61185 |  | 3 FB0.1u: possible contamination? //sal depth ~ 945m (compared to CTD data) | 34.351
1999-06-20 | 0100 | 8003 | 49 17 | N | 134 40 | W | P16 | 15 | Zodiac | Dip | 29 | 0 |  |  |  |  | 0.1638 |  | // Zod coll'n by sampler inexperienced with ultra-trace metal sampling
1999-06-19 | 2130 | 8003 | 49 17 | N | 134 40 | W | P16 | 12 | Pump | Asti | 24 | 10 | 0.039087 |  | 0.034139 |  | 0.048238
1999-06-19 | 2115 | 8003 | 49 17 | N | 134 40 | W | P16 | 12 | Pump | Asti | 23 | 25 | 0.045343 |  | 0.028108 |  | 0.037984
1999-06-19 | 2100 | 8003 | 49 17 | N | 134 40 | W | P16 | 12 | Pump | Asti | 22 | 30 |  |  |  |  | 0.045221 |  | // 30m pump coll'n by UBC students
1999-06-19 | 2045 | 8003 | 49 17 | N | 134 40 | W | P16 | 12 | Pump | Asti | 21 | 40 | 0.075066 |  | 0.024978 |  | 0.036901
1999-06-20 | 0110 | 8003 | 49 17 | N | 134 40 | W | P16 | 16 | GF30 | Wilma | 30 | 75 | 0.0324 |  | 0.027018 |  | 0.077588 |  |  | 32.768
1999-06-19 | 2355 | 8003 | 49 17 | N | 134 40 | W | P16 | 14 | GF30 | Wilbur | 27 | 100 | 0.058612 |  | 0.049668 |  | 0.1026 |  |  | 33.057
1999-06-20 | 0110 | 8003 | 49 17 | N | 134 40 | W | P16 | 16 | GF30 | Wilbur | 31 | 200 | 0.20032 |  | 0.2104 |  | 0.31747 |  |  | 33.923
1999-06-19 | 2355 | 8003 | 49 17 | N | 134 40 | W | P16 | 14 | GF30 | Wilma | 28 | 300 | 0.2756 |  | 0.26579 |  | 0.37941 |  |  | 33.931
1999-06-19 | 2220 | 8003 | 49 17 | N | 134 40 | W | P16 | 13 | GF30 | Wilma | 25 | 400 | 0.43012 |  | 0.41447 |  | 0.54438 |  |  | 34.024
1999-06-19 | 2220 | 8003 | 49 17 | N | 134 40 | W | P16 | 13 | GF30 | Wilbur | 26 | 600 | 0.44457 |  | 0.41274 |  | 0.47886 |  |  | 34.178
1999-06-20 | 0200 | 8003 | 49 17 | N | 134 40 | W | P16 | 17 | GF30 | Wilbur | 32 | 800 | 0.47666 |  | 0.45114 |  | 0.52158 |  |  | 34.258
1999-06-20 | 0200 | 8003 | 49 17 | N | 134 40 | W | P16 | 17 | GF30 | Wilma | 33 | 1000 | 0.51269 |  | 0.50261 |  | 0.56202 |  |  | 34.358
1999-06-20 | 2053 | 8004 | 49 00.1 | N | 131 08.2 | W | Test | 18 | Pump | Bat | 34 | 2-3m |  |  |  |  | 0.050785 |  | //4-6m out from ship
1999-06-20 | 2055 | 8004 | 49 00.1 | N | 131 08.2 | W | of | 18 | Pump | Bat | 35 | 2-3m |  |  |  |  | 0.053707 |  | //4-6m out from ship
1999-06-20 | 2100 | 8004 | 49 00.1 | N | 131 08.2 | W | Bat | 18 | Pump | Bat | 36 | 2-3m |  |  | 0.037173 |  |  |  | //4-6m out from ship
1999-06-20 | 2110 | 8004 | 49 00.0 | N | 131 05.9 | W | while | 18 | Pump | Bat | 37 | 3-4m |  |  |  |  | 0.047584 |  | //2-3m out from ship
1999-06-20 | 2135 | 8004 | 49 00.2 | N | 131 05.7 | W | underway | 19 | Zodiac | Dip | 38 | 0.2 |  |  |  |  | 0.059798 |  | //far away from ship
1999-06-21 | 1545 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 25 | Zodiac | Dip | 50 | 0 |  |  |  |  | 0.23963 |  | // Zod coll'n by sampler inexperienced with ultra-trace metal sampling
1999-06-21 | 0245 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 20 | Pump | Asti | 41 | 10 | 0.049373 |  | 0.038228 |  | 0.06088 |  |  | 32.815
1999-06-21 | 0225 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 20 | Pump | Asti | 40 | 25 | 0.043469 |  | 0.031236 |  | 0.037874 |  |  | 32.795
1999-06-21 | 0150 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 20 | Pump | Asti | 39 | 40 | 0.068077 |  | 0.026598 |  | 0.033641 |  |  | 32.826
1999-06-21 | 0815 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 24 | GF30 | Wilma | 48 | 75 | 0.065817 |  | 0.056305 |  | 0.10171 |  |  | 32.854
1999-06-21 | 0650 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 23 | GF30 | Wilbur | 46 | 100 | 0.096066 |  | 0.062559 |  | 0.10702 |  |  | 33.057
1999-06-21 | 0815 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 24 | GF30 | Wilbur | 49 | 200 | 0.24805 |  | 0.25353 |  | 0.34813 |  |  | 33.935
1999-06-21 | 0650 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 23 | GF30 | Wilma | 47 | 300 | 0.27734 |  | 0.26668 |  | 0.37269 |  |  | 33.934
1999-06-21 | 0515 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 22 | GF30 | Wilbur | 44 | 400 | 0.52695 |  | 0.55161 |  | 0.73544 |  |  | 33.999
1999-06-21 | 0515 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 22 | GF30 | Wilma | 45 | 600 | 1.2053 |  | 1.3345 |  | 1.9669 | 4 | 4 UFB: >high std (1.6) | 34.185
1999-06-21 | 0340 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 21 | GF30 | Wilma | 42 | 800 | 0.85067 |  | 0.76083 |  | 1.0964 |  |  | 34.284
1999-06-21 | 0340 | 8005 | 48 58.2 | N | 130 40. | W | P12 | 21 | GF30 | Wilbur | 43 | 1000 | 0.92963 |  |  | 5 | 1.3859 |  | 5 FB0.45u: bad peak, smp lost | 34.384
1999-06-23 | 0245 | 8006 | 48 39 | N | 126 40 | W | P04 | 26 | Pump | Asti | 53 | 10 |  |  | 0.18276 |  | 0.40843 |  |  | 31.702
1999-06-23 | 0230 | 8006 | 48 39 | N | 126 40 | W | P04 | 26 | Pump | Asti | 52 | 25 |  |  | 0.26253 |  | 0.47703 |  |  | 31.756
1999-06-23 | 0215 | 8006 | 48 39 | N | 126 40 | W | P04 | 26 | Pump | Asti | 51 | 40 |  |  | 0.50677 |  | 1.0428 |  |  | 32.607
1999-06-23 | 0945 | 8006 | 48 39 | N | 126 40 | W | P04 | 30 | GF10 | #5 | 60 | 75 |  |  | 0.44316 |  | 1.2096 |  |  | 32.923
1999-06-23 | 0820 | 8006 | 48 39 | N | 126 40 | W | P04 | 29 | GF10 | #5 | 58 | 100 |  |  | 0.54435 |  | 1.3395 |  |  | 33.259
1999-06-23 | 0945 | 8006 | 48 39 | N | 126 40 | W | P04 | 30 | GF10 | #6 | 61 | 200 |  |  | 1.139 |  | 1.7618 |  |  | 33.957
1999-06-23 | 0820 | 8006 | 48 39 | N | 126 40 | W | P04 | 29 | GF10 | #6 | 59 | 300 |  |  | 1.5956 |  | 2.3196 |  |  | 34.004
1999-06-23 | 0605 | 8006 | 48 39 | N | 126 40 | W | P04 | 28 | GF10 | #5 | 56 | 400 |  |  | 2.028 |  | 3.2126 |  | //wire angle 30`, adjusted to let out 690m total, but sals indicate line likely vertical below surface, thus these depths possibly deeper than anticipated: possibly 490m | 34.109
1999-06-23 | 0605 | 8006 | 48 39 | N | 126 40 | W | P04 | 28 | GF10 | #6 | 57 | 600 |  |  | 1.6261 |  | 2.938 |  | //see above, depth possibly ~690m | 34.235
1999-06-23 | 0345 | 8006 | 48 39 | N | 126 40 | W | P04 | 27 | GF10 | #5 | 54 | 800 |  |  | 1.3797 |  | 2.7101 |  | //wire angle 22` | 34.282
1999-06-23 | 0345 | 8006 | 48 39 | N | 126 40 | W | P04 | 27 | GF10 | #6 | 55 | 1000 |  |  | 2.0207 |  | 4.2238 |  | //wire angle 22` | 34.384
Note on M83: XP: poss ~490m, see comments
Note on M84: XP: poss ~690m, see comments

## Metadata
Metadata for Fe III - Cruise 1999-10
Cruise |  |  | 1999-10
Ship |  |  | CCGS John P Tully
Dates |  |  | June 1-24, 1999
Chief Scientist |  |  | Ron Perkin
Iron Analysts | IOS: |  | Nes Sutherland
The objective of the iron team was to sample and analyse Iron(III) at regularly visited/monitored stations along Line P, and to test near surface collection of trace metal clean samples by a "batfish" (described below).
Initially the cruise steamed out Line P1E, along 47N focussing on CFCs and general water chemistry, then was to return via Line P, starting at OSP. Unfortunately a medivac necessitated a premature departure from Line P,
so some shallow samples were not collected. Upon returning from port, P20 was the next stn, then P16 into P04 and Juan de Fuca
Some support was also provided for incubation experiments by UBC students; as well iron samples were collected for Jun Nishioka (CRIEPI Japan)
Samples for acidification and freezing were collected and stored for future analysis at the IOS lab, in order to compare different methods
A variety of filter sizes were used to differentiate various particulate fractions.
Sample Collection:
Iron near surface samples were collected from a zodiac away from the ship, by hand (dipping bottles only opened and closed while totally submerged, depth~ 0.1m)
Deeper samples were collected by a Teflon compressed air activated Asti pump with Teflon tubing (5-40m), or by 10L GoFlos or LeverAction Niskins (numbered), or 30L GoFlos(GF named Wilbur and Wilma)
on a Kevlar line spooled over a Delrin block (50-1000m).
LDPE bottles had been previously acid cleaned to Geotraces standards.
Filtration was by cartidge type filters direct from the pump or Goflos: these included sampling through 0.1u or 0.45u Opti Duropore cartidges.
On this cruise we also experimented with collecting near surface iron samples by use of a "Batfish", a device capable of skimming along the surface to about 4m depth while being towed by the ship
from a crane arm extended over the side. With a small vane attachment the bat could veer out to ca. 6m from the ship, past the zone of influence of the metal hull.
The actual depths and distance out depended on ship speed - the faster the tow, up to a maximum of 10 knots, the further out and shallower the bat skimmed.
A short piece of polyethylene tube was fitted into the sampling tube guide at the front of the bat, and connected to the Teflon pump tubing. Because the pump and tubing were already set up by the chains,
it was decided to suspend the bat from this point rather than the crane on the aft deck. A test of this system was carried out between P16 and P12 with unfiltered samples collected via the bat and pump compared with a Zodiac sample.
Although slight differences in Fe concentration were noted, possibly due to the differences in depths collected - ranging from 3-4m deep at 2-3m from the ship, to ca. 2m at 4-6m from the hull,
to 0.2m collected by hand from a zodiac - all concentrations were less than 0.1 nM.
Sea conditions were relatively calm at the time, but it was noted in an earlier cruise that the bat could potentially work well in swells to roughly 3m.
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and analysis.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach (pH 3.2), measured onboard, as well
as a strongly acidic leach (pH ~1.6 / 2.25 ml of 6N purified HCl to 250ml SW) measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
| Iron:Filtered:Buffered |  | FB | usually 0.22u filtered, buffered, also called dissolved Fe - in this cruise, 0.1u and 0.45u filters were used
|  |  |  | FB0.1u | Could be considered to be the dissolved fraction; a 0.1u Duropore Opti cartridge was used direct from pump or Goflo.
|  |  |  | FB0.45u | Could also be considered as the dissolved fraction; 0.45u 90mm Duropore membrane Filter
The results of the two filter sizes used to represent the dissolved fraction can be compared in the individual station graphs - mostly they are quite similar
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
For info only:
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, only filtered and unfiltered buffered samples (FB & UFB) were analysed. Some FA and UFA samples were collected at P26 for storage, but have not yet been analysed
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
Station Z19 was very near the coast of Alaska, and had high unfiltered (UFB) iron concentrations, that required very small preconcentration times, and for some samples, required the additional step of lowering the PMT voltage
in order to find a suitable range for analysis.
In general, duplicate runs are taken from one sample bottle. For some depths, duplicate bottles were taken, comparing pumped vs goflo samplers
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR FeCl3 in dilute HCl sol'n, certified at 1007ppm. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected from Stn Papa in previous cruises
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
As might be expected, samples with high Fe content, >2nmol, the majority of which are unfiltered, tend to be more variable than filtered, possibly due to unequal particulate loading.
Replicate samples reflect a comparison of different sampling methods: Goflo vs Pump, at 40m depth, using filtered and unfiltered sample types where available.
Unfortunately no replicate bottles were collected. However, considering how similar the 0.1u and 0.45u fractions are, one could do the sp stats on the difference to obtain a rough idea of replicate bottles:
|  | Replicate Analysis within a Sample Bottle | [5 empty] | Replicate Bottles, comparing 0.1u and 0.45u samples, for rough precision only:
|  | All samples: |  |  | <0.2nmol (for D.L.):
Pooled Variance (sp): |  | 0.014733 |  |  | 0.0040982 |  |  | 0.035057 | The average difference, 0.45u - 0.1u, was 0.01 nM +/- 0.05 nM
Detection Limit: |  |  |  |  | 0.012295
Average Fe: |  | 0.54139 |  |  | 0.095941 |  |  | 0.2917
Sum d^2: |  | 0.028218 |  |  | 0.00060463 |  |  | 0.095859
Rsp% |  | 2.7213 |  |  | 4.2716 |  |  | 12.0179
n: |  | 65 |  |  | 18 |  |  | 39
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. In this cruise several sample bottles were filled with a common source of seawater combined from previous analysed filtered samples.
DRS Bottle: | #1 | #2 | #3 | #4 | #7 | #8
All Bottles:
Avg: | 0.38543 | 0.34197 | 0.37351 | 0.43507 | 0.43146 | 0.39627 | 0.39395
Stdev: | #1: 0.021103; #3: 0.026501 | 0.035486
n: | 3 | 1 | 4 | 1 | 1 | 1 | 6
061599: | #1: 0.40979
| 0.37335 | 0.34197
061799: | #3: 0.39484
0.36442
061899: | #1: 0.37313; #3: 0.34006; #4: 0.43507
0.39473
062299: | #7: 0.43146
062399: | #8: 0.39627
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In this cruise, low iron seawater was run through the resin column and collected for use as zero water. It is referred to as "rc0" or resin-cleaned zero water, and its response is subtracted from samples for the instrument correction.
The zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but corrected with the zero blank to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for rc0 and Standards 0 . Note that Std 0 reflects the concentration of the low iron seawater used for std addition.
The average blank for the standard seawater was 0.03 +/- 0.01nM Fe
| Date | Standard rc0: |  |  | Standard 0:
|  | Time | Fe(III) |  | Time | Fe(III)
Average: | #3: 0.01341; #8: 0.03393
Stdev: | #3: 0.0066479; #8: 0.0091038
DL: | #3: 0.019944; #8: 0.027312
Count: | #3: 11; #8: 14
%RSD: | #3: 49.5751; #8: 26.8316
|  |  | rc0 |  |  | 0
240s only used | 061399: | 2117 | 0 |  | 2136 | 0.019528
sample formula used |  | 2212 | 0.0060591 |  | 2154 | 0.021018
|  | 2230 | 0.019456
| 061499: | 937 | 0.022786 |  | 919 | 0.047639
|  | 955 | 0.015877
| 061599: |  |  |  | 204 | 0.033482
[5 empty] | 222 | 0.029954
| 061899: | 1720 | 0.011768 |  | 1702 | 0.026886
|  | 1738 | 0.0073903
| 061999: |  |  |  | 2320 | 0.028638
|  | 2357 | 0.015351 |  | 2339 | 0.023473
| 062099: | 15 | 0.01385
| 062199: | 339 | 0.018331 |  | 321 | 0.042488
|  | 358 | 0.01664
[5 empty] | 1825 | 0.039559
[5 empty] | 1843 | 0.03944
[5 empty] | 1902 | 0.041359
[5 empty] | 1920 | 0.037019
| 062299: |  |  |  | 2227 | 0.044531
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
The standard deviation of the blanks can be used instead to determine DL : in this case, for rc0 (resin cleaned water) DL~0.02nM; for Seawater calibration stock, DL~0.03nM
However, as there were numerous very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
Using the data for this cruise, DL is ~0.01nM
| Avg: | 0.095941
| n: | 18
| sp: | 0.0040982
| DL: | 0.012295
Overall Detection Limit ~0.01-0.03nM

## Sum d^2
WorkingSummarySheet with duplication results & Misc Info
Replicate Analysis within a Sample Bottle
|  | 0.1u |  | 0.45u |  | UF |  | All Samples: |  |  | Samples <0.2nmol (for D.L.):
Pooled Variance (sp): |  | 0.010745 |  | 0.017962 |  | 0.015297 |  | 0.014733 |  |  | 0.0040982 |  |  |  | Avg Diff: | 0.00668 | sp: | 0.035057
Detection Limit: | [7 empty] | 0.044199 |  |  | 0.012295
Average Fe: |  | 0.3405 |  | 0.71008 |  | 0.60108 |  | 0.54139 |  |  | 0.095941 |  |  |  | Stdev: | 0.049768 | Avg Fe: | 0.2917
Sum d^2: |  | 0.00508 |  | 0.010969 |  | 0.012168 |  | 0.028218 |  |  | 0.00060463 | [5 empty] | Sum d^2: | 0.095859
Rsp% |  | 3.1557 |  | 2.5295 |  | 2.545 |  | 2.7213 |  |  | 4.2716 |  |  |  | Rsp% |  | Rsp% | 12.0179
n: |  | 22 |  | 17 |  | 26 |  | 65 |  |  | 18 |  |  |  | n: | 39 | n: | 39
Diff 0.45-0.1u
|  | 0.1u |  | 0.45u |  | UF
P26 | 0
| 15 |  |  |  |  | 0.089662 | 2.8781e-08 |  | 061399 1hr |  |  | P-MLipsen | 1
| 75 | 0.037059 | 9.3982e-10 | 0.13428 | 5.6158e-07 | 0.089543 | 9.3234e-12 |  | 061399 1hr |  |  | Wilbur | 9 |  |  | 0.097223 |  | 0.0094524
| 100 | 0.07566 | 1.0915e-06 | 0.09573 | 9.3826e-06 | 0.25142 | 0.00040445 |  | 061399 1hr, linear only->0.28 too high for std |  |  | Wilma | 7 |  |  | 0.02007 |  | 0.00040281
| 200 | 0.20857 | 8.0424e-05 | 0.22424 | 3.1678e-07 | 0.42142 | 5.0941e-05 |  | 061599 1hr |  |  | Wilma | 8 |  |  | 0.015676 |  | 0.00024574
| 300 | 0.33038 | 3.4082e-08 | 0.33312 | 2.4014e-06 | 0.53026 | 8.9044e-05 |  | 061599 1hr |  |  | Wilbur | 6 |  |  | 0.0027423 |  | 7.5202e-06
| 400 | 0.53585 | 4.7092e-06 | 0.54378 |  | 0.69096 | 0.0001191 |  | 061599 1hr |  |  | Wilbur | 5 |  |  | 0.0079376 |  | 6.3005e-05
| 600 | 0.58881 | 9.1922e-07 | 0.60957 |  | 0.77072 | 0.0011944 |  | 061599 1hr |  |  | Wilma | 4 |  |  | 0.020761 |  | 0.00043102
| 800 | 0.60503 | 0.00016187 | 0.72566 | 8.9335e-05 | 0.74972 | 0.00058856 |  | 061599 1hr |  |  | Wilma | 3 |  |  | 0.12063 |  | 0.014553
| 1000 | 0.64485 | 0.00012842 | 0.61033 | 0.00010066 | 0.70137 | 5.8261e-06 |  | 061599 1hr |  |  | Wilbur | 2 | Reversed 800+1000m all fractions, as found salinities were reversed, GF's sampled in wrong order |  | -0.034517 |  | 0.0011914
P20 | 0
| 10 | 0.038173 | 4.0044e-06 | 0.037492 |  | 0.056274 |  |  | 06189901hr |  |  | P | 11 |  |  | -0.00068149 |  | 4.6443e-07
| 25 | 0.041569 |  | 0.054194 |  | 0.06582 |  |  | 06189901hr |  |  | P | 10 |  |  | 0.012626 |  | 0.0001594
| 40 | 0.037273 |  | 0.04149 |  | 0.078602 |  |  | 06189901hr |  |  | P | 9 |  |  | 0.0042169 |  | 1.7782e-05
| 75 | 0.04542 |  | 0.053753 |  | 0.055139 |  |  | 06189901hr |  |  | Wilbur | 7 |  |  | 0.008333 |  | 6.9439e-05
| 100 | 0.11409 |  | 0.12687 |  | 0.38453 | 0.00097109 |  | 061899 1hr |  |  | Wilma | 5 |  |  | 0.012778 |  | 0.00016327
| 200 | 0.2007 | 3.6596e-06 | 0.22344 | 9.4911e-05 | 0.29334 |  |  | 061899 1hr |  |  | Wilma | 8 |  |  | 0.022745 |  | 0.00051731
| 300 | 0.37006 |  | 0.35424 |  | 0.30186 | 0.00016981 |  | 061999 1hr |  |  | Wilbur | 6 |  |  | -0.01582 |  | 0.00025029
| 400 | 0.36274 | 0.0001484 | 0.42412 |  | 0.47177 |  |  | 061899 1hr,0619,0619 |  |  | Wilbur | 3 |  |  | 0.061383 |  | 0.0037678
| 600 | 0.32477 |  | 0.324 |  | 0.33427 |  |  | 061999 1hr |  |  | Wilma | 4 |  |  | -0.00077006 |  | 5.9299e-07
| 800 | 0.37191 | 0.00011049 | 0.53895 |  | 0.6208 |  |  | 061999 1hr |  |  | Wilma | 1 |  |  | 0.16704 |  | 0.027902
| 1000 | 0.58851 | 0.0012221 | 0.53493 |  | 0.61185 | 6.0307e-05 |  | 061999 1hr |  |  | Wilbur | 2 |  |  | -0.053585 |  | 0.0028713
P16 | 0 |  |  |  |  | 0.1638 |  |  | collected by Ron, 062099 |  |  | Z-Ron | 12
| 10 | 0.039087 |  | 0.034139 |  | 0.048238 |  |  | 062099 1hr |  |  | P | 3 |  |  | -0.0049475 |  | 2.4477e-05
| 25 | 0.045343 |  | 0.028108 |  | 0.037984 |  |  | 062099 1hr |  |  | P | 2 |  |  | -0.017235 |  | 0.00029706
| 30 |  |  |  |  | 0.045221 |  | 061999 1hr | fresh buffered |  |  | P-MLipsen |  | run within 15min
| 40 | 0.075066 |  | 0.024978 |  | 0.036901 |  |  | 062099 1hr |  |  | P | 1 |  |  | -0.050088 |  | 0.0025088
| 75 | 0.0324 |  | 0.027018 |  | 0.077588 | 2.4849e-06 |  | 062099 1hr |  |  | Wilma | 9 |  |  | -0.0053825 |  | 2.8971e-05
| 100 | 0.058612 | 9.6955e-08 | 0.049668 |  | 0.1026 |  |  | 062099 1hr |  |  | Wilbur | 7 |  |  | -0.008944 |  | 7.9995e-05
| 200 | 0.20032 | 2.5815e-05 | 0.2104 |  | 0.31747 | 5.8128e-05 |  | 062099 1hr |  |  | Wilbur | 8 |  |  | 0.010076 |  | 0.00010152
| 300 | 0.2756 | 3.5435e-05 | 0.26579 |  | 0.37941 | 0.00020064 |  | 062099 1hr |  |  | Wilma | 6 |  |  | -0.0098063 |  | 9.6164e-05
| 400 | 0.43012 | 8.2387e-06 | 0.41447 |  | 0.54438 | 5.4264e-05 |  | 062099 1hr |  |  | Wilma | 5 |  |  | -0.015653 |  | 0.00024502
| 600 | 0.44457 |  | 0.41274 |  | 0.47886 |  |  | 062299a |  |  | Wilbur | 4 |  |  | -0.031826 |  | 0.0010129
| 800 | 0.47666 |  | 0.45114 |  | 0.52158 |  |  | 062299a |  |  | Wilbur | 11 |  |  | -0.025521 |  | 0.00065131
| 1000 | 0.51269 | 0.00058028 | 0.50261 |  | 0.56202 |  |  | 062299a |  |  | Wilma | 10
Batfish Comparison with Zodiac Sampling, Papa Cruise 9910
?20June
|  | Fe(III) | [5 empty] | Time Collected |  | Depth |  | Location
|  | nM | [5 empty] | 19June99
Bat 1 | Unfiltered | 0.05885 |  |  |  | 0.050785 |  | 1353 |  | 4-6m out from ship, 2-3m deep |  | 49 00.1N | 131 08.2W
Bat 2 | 0.45u | 0.030861 |  | 0.037173 | 2.2016e-06 |  |  | 1400 |  | "
Bat 3 | Unfiltered | 0.047939 |  |  |  | 0.053707 | 4.0703e-06 | 1355 |  | "
Bat 4 | Unfiltered | 0.041643 |  |  |  | 0.047584 |  | 1410 |  | 2-3m out from ship, 3-4m deep |  | 49 00.0N | 131 05.9W
Zodiac | Unfiltered | 0.062246 |  |  |  | 0.059798 | 0.00011402 | 1435 |  | far away from ship, 0.2m deep |  | 49 00.2N | 131 05.7W
P12 | 0 |  |  |  |  | 0.23963 |  |  |  | collected by Ron | Z-Ron | 12
1hr | 10 | 0.049373 | 2.1576e-05 | 0.038228 | 0.0001863 | 0.06088 |  |  |  |  | P | 3 |  |  |  | -0.011145 |  | 0.00012421
| 25 | 0.043469 |  | 0.031236 |  | 0.037874 |  |  |  |  | P | 2 |  |  |  | -0.012233 |  | 0.00014964
| 40 | 0.068077 |  | 0.026598 |  | 0.033641 |  |  |  |  | P | 1 |  |  |  | -0.041479 |  | 0.0017205
| 75 | 0.065817 |  | 0.056305 |  | 0.10171 |  |  |  |  | Wilma | 11 |  |  |  | -0.009512 |  | 9.0478e-05
| 100 | 0.096066 |  | 0.062559 |  | 0.10702 |  |  |  |  | Wilbur | 9 |  |  |  | -0.033506 |  | 0.0011227
| 200 | 0.24805 | 0.00014206 | 0.25353 |  | 0.34813 | 0.0004164 |  |  |  | Wilbur | 10 |  |  |  | 0.0054837 |  | 3.0071e-05
| 300 | 0.27734 | 8.6609e-05 | 0.26668 |  | 0.37269 | 0.0003225 |  |  |  | Wilma | 8 |  |  |  | -0.010661 |  | 0.00011365
| 400 | 0.52695 |  | 0.55161 |  | 0.73544 | 0.00064349 |  |  |  | Wilbur | 7 |  |  |  | 0.02466 |  | 0.00060811
| 600 | 1.2053 |  | 1.3345 |  | 1.9669 |  |  | 0622 1hr240s | > high std of 1.6 | Wilma | 6 |  |  |  | 0.12929 |  | 0.016716
| 800 | 0.85067 | 0.0023138 | 0.76083 | 0.00012779 | 1.0964 | 2.4981e-05 |  |  |  | Wilma | 5 | ?jelly on PE spigot |  |  | -0.089839 |  | 0.0080711
| 1000 | 0.92963 |  |  |  | 1.3859 | 0.00021137 |  |  |  | Wilbur | 4
P4 | 10 |  |  | 0.18276 | 0.00014891 | 0.40843 | 0.00020943 |  |  |  | P | 3
1hr | 25 |  |  | 0.26253 | 0.00028586 | 0.47703 |  |  |  |  | P | 2 | ?15m
| 40 |  |  | 0.50677 | 0.00099007 | 1.0428 | 4.419e-06 |  |  |  | P | 1 | ?30m
| 75 |  |  | 0.44316 | 0.00017156 | 1.2096 |  |  |  |  | #5GF | 11
| 100 |  |  | 0.54435 | 0.00075776 | 1.3395 |  |  |  |  | #5GF | 9
| 200 |  |  | 1.139 | 0.00082727 | 1.7618 |  |  |  |  | #6GF | 10
| 300 |  |  | 1.5956 |  | 2.3196 |  |  |  |  | #6GF | 8
| 400 |  |  | 2.028 |  | 3.2126 | 0.0062486 |  |  |  | #5GF | 7
| 600 |  |  | 1.6261 | 0.007174 | 2.938 |  |  |  |  | #6GF | 6
| 800 |  |  | 1.3797 |  | 2.7101 |  |  |  |  | #5GF | 5
| 1000 |  |  | 2.0207 |  | 4.2238 |  |  |  |  | #6GF | 4