Ocean Science and Productivity Division

Line P Cruises 9829, 9901 and 9910

CFC Data Report

Wendy Richardson

Ocean Science and Productivity Division

Institute of Ocean Sciences

Sidney, B.C., Canada

March 2000

Introduction	3

Methods	3

Sampling	3

Analysis	3

Calibration	4

Results	4

Cruise 9829 Station Data	7

Station P15  September 7, 1998	7

Station P160S  September 13, 1998	9

Station P12  September 16, 1998	11

Cruise 9901 Station Data	13

Station P26  February 18, 1999	13

Cruise 9910 Station Data	15

Station P04  June 22, 1999	15

Station P12  June 21, 1999	17

Station P16   June19, 1999	19

Station P20  June 17, 1999	21

Station P26  June 13, 1999	23

Line P CFC-11 Summary Plot	25

Line P CFC-12 Summary Plot	26

Precision by Pooled Standard Deviation of Duplicates	26

Comparison of Cruises	27

Air	28

CFC Levels of Air from Cruise 9910	28

Discussion	28

Comparison of different CFC analysis systems	28

Comparison of earlier data	28

Comparison of CFC-11 at Station Papa over time	31

Comparison of CFC-12 at Station Papa over time	32

References	33

# Introduction

During the August-September 1998 COCC cruise to Station Papa Chloroflorocarbon analysis was carried out at P15, P160S and P12.  Station P26 was sampled for Chloroflorocarbons on the February Cruise 9901.  The full P Line was sampled during the June Cruise 9910 including P04, P12, P16, P20, and Station P26.

# Methods

## Sampling

A Rosette sampling system was used during this cruise.  It was operated from the aft deck using an 'A' Frame.  CFC samples were taken from 10 liter Niskin bottles that were fairly well aged, having been used for a couple of years and multiple cruises, and have nylon coated steel springs.  No specific precaution had been taken to lessen contamination of CFC’s from O-rings.  The CFC samples were the first samples drawn from the Niskin since they are the most easily contaminated by air entering the headspace of the bottle.  The samples were drawn directly into 100 cc precision ground glass syringes

Once the Niskin bottle was on deck, the integrity of the bottle was verified by pushing in the drain valve while the vent remained closed.  If there was no leakage, the syringe valve was inserted into the drain valve and the vent opened.  The syringe was filled with about 10 ml of seawater.  The hydrostatic pressure of the water in the Niskin bottle forced the syringe plunger outward. This reduces the chance of drawing an air bubble into the syringe, which is likely, if the plunger was pulled out.  The syringe was then removed while the water was still flowing and emptied into the outflow (but not into the Niskin).  This 10 ml rinse was repeated three times.  Then the syringe was filled with approximately 100 ml and the plunger was rinsed with the Niskin outflow while expelling the first 80 ml of the large draw.  The three 10 ml rinse technique was repeated and the syringe then filled to about 100 ml, and stopcock closed.  If an air bubble was drawn into the syringe while sampling, the rinses were started all over again.  The syringe was placed in a sample bucket filled with fresh seawater at least one inch above the syringe barrel.

Due to the intense sample load during Cruise 9910, volunteer samplers as well as CFC Analysts drew CFC samples.  None of the 24 Niskin bottles showed a CFC contamination problem.  Carrier blanks, stripper blanks, and restripped samples were also analyzed throughout the cruise.  Syringe air samples were taken from the helicopter deck forward of the Bridge.  The designated air syringe was flushed ten times, then a sample drawn, and the stopcock closed.

## Analysis

Analyses of CFC-11, CFC-12, CCl4, CFC-113 during Cruise 9829 in August-September 1998 and Cruise 9901 in February 1999 were carried out using the Chloroflorocarbon Analytical system built by Contaminant Chemistry, Institute of Ocean Sciences.  This system is based on the Bedford Institute of Oceanography Halocarbon system.  A Water’s ‘Baseline’ program is used to control values, acquire chromatograms, store and compute data.  Wendy Richardson and Nes Sutherland were the analysts on these two cruises.

Analyses of CFC-11 and CFC-12 during cruise 9910 in June 1999 were carried out using the Chloroflorocarbon Analytical System built by Glenn Smith, Centre for Ocean Climate Chemistry, Institute of Ocean Sciences.  The COCC analytical system is a modified version of the one described by Bullister and Weiss (1988).  A ‘Peak Simple’ program was used to log and display the chromatograms.  Wendy Richardson was the analyst for Line P Stations on this cruise.

## Calibration

Standard tank number S14 was used throughout cruises 9829 and 9901.  The tank values as calibrated by Weiss at SIO were: CFC-11, 319.5 ppt; CFC-12, 131.5 ppt; CFC-113, 70.3ppt and CCl4, 392.6 ppt on SIO 1993 scales.  Calibration curves used to determine sample concentrations were generated by multiple injections of predetermined volumes of standard gas.  A suite of Blank, 15, 5, 1, 10, and 3cc loops were run every day.

Standard tank number 87098 was used throughout cruise 9910.  The tank values as calibrated by Weiss at SIO were: CFC-11, 266.01 ppt, standard deviation 0.46; and CFC-12, 502.78 ppt, standard deviation 0.77 on SIO 1993 scales.  Calibration curves used to determine sample concentrations were generated by multiple injections of predetermined volumes of standard gas.  A suite of S(small loop)*1, S*2, S*3, S*4, and L(large loop)*1, L*2, L*3 was run every day or two.

# Results

Data reduction for Cruises 9829 and 9901 was done using the ‘Baseline’ Program.

Data reduction for Cruise 9901 was carried out using an Excel Spreadsheet based on formulas from the Scripps computer program (Weiss).  This program requires salinity and temperature for calculations; the former was taken from Salinometer data; and the latter was read from the sample bucket when the syringe was removed and attached to the extraction system. The restrips of the water samples on this cruise demonstrated the high stripper efficiency of the CFC analysis system.  The mean of values below 1500 meters was used as a blank subtraction when needed for a station.  The standard deviation of these values was calculated, and three times the standard deviation was used as the limit of detection and applied to report results.  Twenty duplicate samples were run during the WOCE line during the first half of Cruise 9910.  These results are given in this report to indicate system behavior during Cruise 9910.  CFC-11 had a precision of 0.103 over a range of 0.04 to 5.04nM, while the precision of CFC-12 was 0.051 over a range of 0 to 2.48nM.

Quality Definition

| Value | Definition |
| --- | --- |
| 1 | Sample not analyzed |
| 2 | Acceptable measurement |
| 3 | Questionable measurement |
| 4 | Bad Measurement |
| 5 | Not reported |
| 6 | Mean of Duplicate |
| 9 | Sample not drawn from bottle |

Results that do not have a quality of 2 (acceptable) or 6 (mean of duplicate) have been omitted from the subsequent plots.

There were a few problems that affected the data.  During Cruise 9829 station P15 the water trap became saturated and interfered with the CFC-113 peaks, resulting with no CFC-113 data from this cast.  At station P15 there were small air bubbles in the syringes from samples below 700 meters, and no parameter went to a zero value perhaps for this reason.  No blank corrections were applied to CFC-113 or CCl4 since the analysts did not have many deep-water blanks or experience of these parameters behavior to reference.  For cruise 9829 both analysts were new to this extraction system.  Therefore there may be variation due to interpretaion and manual integration of merging chromatographic peaks.

On Cruise 9910 there was an interfering peak along Line P that smothered low CFC-12 peaks, preventing integration.  For a peak to not be integrated it was a small enough value to be at the limit of detection and so the result has been given a zero value.  Therefore CFC-12 goes to zero before CFC-11 on the plots of Line P.

Station Location

| Cruise | Station | Cast | UTC Date | Latitude N | Longitude W |
| --- | --- | --- | --- | --- | --- |
| 9829 | P15 | 63 | 98/09/07 | 49 10.60 | 133 40.95 |
| 9829 | P160S | 93 | 98/09/13 | 47 22.78 | 133 25.95 |
| 9829 | P12 | 94 | 98/09/16 | 48 56.96 | 130 39.08 |
| 9901 | P26 | 23 | 99/02/18 | 50 01.16 | 144 57.06 |
| 9910 | P04 | 58 | 99/06/22 | 48 38.98 | 126 40.92 |
| 9910 | P12 | 49 | 99/06/21 | 48 58.45 | 130 40.43 |
| 9910 | P16 | 43 | 99/06/19 | 49 16.11 | 134 41.15 |
| 9910 | P20 | 36 | 99/06/17 | 49 34.04 | 138 40.03 |
| 9910 | P26 | 34 | 99/06/13 | 49 59.12 | 145 01.59 |

## Cruise 9829 Station Data

### Station P15  September 7, 1998

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | CFC-113 Pmol/Kg | CCl4 Pmol/Kg | Q12 | Q11 | Q113 | QCCl4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 213 | 2.2 | 1.77 | 4.43 |  | 10.89 | 2 | 2 | 5 | 2 |
| 212 | 10.2 | 1.77 | 2.74 |  | 7.53 | 2 | 2 | 5 | 2 |
| 211 | 24.6 | 1.75 | 2.71 |  | 9.66 | 2 | 2 | 5 | 2 |
| 210 | 50.1 | 2.13 | 6.24 |  | 9.57 | 2 | 2 | 5 | 2 |
| 209 | 74.8 | 2.18 | 5.81 |  | 9.83 | 2 | 2 | 5 | 2 |
| 207 | 124.8 | 1.81 | 3.47 |  | 3.46 | 2 | 2 | 5 | 2 |
| 206 | 150.5 | 1.68 | 3.16 |  | 2.26 | 2 | 2 | 5 | 2 |
| 205 | 199.9 | 1.25 | 2.86 |  | 1.15 | 2 | 2 | 5 | 3 |
| 204 | 250.9 | 1.07 | 2.06 |  | 1.50 | 2 | 2 | 5 | 2 |
| 203 | 299.3 | 0.95 | 1.88 |  | 1.56 | 2 | 2 | 5 | 2 |
| 202 | 397.6 | 0.83 | 1.61 |  | 1.38 | 2 | 2 | 5 | 2 |
| 201 | 500.3 | 0.69 | 2.49 |  | 1.01 | 2 | 3 | 5 | 2 |
| 200 | 599.7 | 0.50 | 1.03 |  | 0.96 | 2 | 2 | 5 | 2 |
| 199 | 649.5 | 0.38 | 0.82 |  | 0.65 | 2 | 2 | 5 | 2 |
| 198 | 701.2 | 0.18 | 0.60 |  | 0.51 | 2 | 2 | 5 | 2 |
| 197 | 752.9 | 2.12 | 0.38 |  | 0.48 | 4 | 2 | 5 | 2 |
| 196 | 800.9 | 2.24 | 0.41 |  | 0.50 | 4 | 2 | 5 | 2 |
| 195 | 900.8 | 2.20 | 0.32 |  | 0.52 | 4 | 2 | 5 | 2 |
| 194 | 1001.2 | 0.59 | 0.31 |  | 6.14 | 4 | 2 | 5 | 4 |
| 193 | 1203.1 | 3.27 | 0.29 |  | 0.69 | 4 | 2 | 5 | 2 |
| 192 | 1499.5 | 2.92 | 0.63 |  | 2.59 | 4 | 2 | 5 | 4 |

### Station P160S  September 13, 1998

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | CFC-113 Pmol/Kg | CCl4 Pmol/Kg | Q12 | Q11 | Q113 | QCCl4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 301 | 9.9 | 1.59 | 2.47 | 0.34 | 3.72 | 2 | 2 | 2 | 2 |
| 300 | 49.2 | 2.04 | 3.65 | 0.40 | 3.70 | 2 | 2 | 2 | 2 |
| 299 | 49.3 | 2.03 | 3.73 | 0.41 | 3.93 | 2 | 2 | 2 | 3 |
| 298 | 100.2 | 1.94 | 3.79 | 0.37 | 2.50 | 2 | 2 | 2 | 2 |
| 297 | 200.1 | 1.57 | 2.81 | 0.36 | 1.50 | 2 | 2 | 2 | 2 |
| 296 | 400.9 | 0.82 | 1.02 | 0.26 | 1.11 | 2 | 2 | 2 | 2 |
| 295 | 600.1 | 0.24 | 0.17 | 0.15 | 0.61 | 2 | 2 | 2 | 2 |
| 294 | 799.3 | 0.07 | 0.03 | 0.12 | 0.24 | 2 | 2 | 2 | 2 |
| 293 | 999.9 | 0.00 | 0.00 | 0.12 | 1.02 | 2 | 2 | 2 | 4 |
| 292 | 1502.8 | 0.00 | 0.00 | 0.15 | 0.98 | 2 | 2 | 2 | 4 |
| 291 | 1502.6 | 0.00 | 0.00 | 0.13 | 0.68 | 2 | 2 | 2 | 4 |
| 288 | 1503.0 | 0.00 | 0.00 | 0.14 | 0.45 | 2 | 2 | 2 | 4 |
| 287 | 1502.7 | 0.00 | 0.00 | 0.13 | 0.60 | 2 | 2 | 2 | 4 |
| 284 | 1502.9 | 0.00 | 0.00 | 0.12 | 0.39 | 2 | 2 | 2 | 2 |
| 283 | 1502.7 | 0.00 | 0.00 | 0.12 | 0.60 | 2 | 2 | 2 | 4 |

### Station P12  September 16, 1998

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | CFC-113 Pmol/Kg | CCl4 Pmol/Kg | Q12 | Q11 | Q113 | QCCl4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 323 | 1.7 | 1.57 | 3.00 | 0.21 | 3.35 | 2 | 2 | 2 | 2 |
| 322 | 10.2 | 1.58 | 3.05 | 0.27 | 4.26 | 2 | 2 | 2 | 2 |
| 321 | 25.6 | 1.58 | 3.11 | 0.39 | 3.96 | 2 | 2 | 2 | 2 |
| 320 | 50.8 | 2.03 | 4.22 | 0.43 | 3.60 | 2 | 2 | 2 | 2 |
| 319 | 75.2 | 2.10 | 4.37 | 0.25 | 3.90 | 2 | 2 | 2 | 2 |
| 318 | 98.3 | 2.19 | 4.57 | 0.34 | 4.49 | 2 | 2 | 2 | 2 |
| 316 | 149.5 | 2.06 | 4.49 | 0.50 | 2.61 | 2 | 2 | 2 | 2 |
| 315 | 198.5 | 1.73 | 3.93 | 0.37 | 2.02 | 2 | 2 | 2 | 2 |
| 314 | 250.5 | 1.43 | 3.09 | 0.18 | 1.60 | 2 | 2 | 2 | 2 |
| 313 | 303.9 | 1.23 | 2.61 | 0.22 | 1.56 | 2 | 2 | 2 | 2 |
| 312 | 403.6 | 0.60 | 1.58 | 0.32 | 1.25 | 2 | 2 | 2 | 2 |
| 311 | 503.6 | 0.28 | 0.74 | 0.04 | 0.88 | 2 | 2 | 2 | 2 |
| 310 | 601.1 | 0.04 | 0.17 | 0.00 | 0.39 | 2 | 2 | 2 | 2 |
| 309 | 649.8 | 0.01 | 0.10 | 0.04 | 0.35 | 2 | 2 | 2 | 2 |
| 308 | 697.2 | 0.00 | 0.06 | 1.10 | 0.24 | 2 | 2 | 4 | 2 |
| 307 | 748.4 | 0.00 | 0.00 | 0.00 | 0.21 | 2 | 2 | 2 | 2 |
| 306 | 801.3 | 0.00 | 0.00 | 0.00 | 0.17 | 2 | 2 | 2 | 2 |
| 305 | 899.9 | 0.00 | 0.00 | 0.05 | 0.00 | 2 | 2 | 2 | 2 |
| 304 | 1000.5 | 0.00 | 0.01 | 0.69 | 0.16 | 2 | 2 | 4 | 2 |
| 303 | 1201.3 | 0.00 | 0.00 | 0.00 | 0.16 | 2 | 2 | 2 | 2 |
| 302 | 1502.4 | 0.00 | 0.00 | 0.00 | 0.00 | 2 | 2 | 2 | 2 |

## Cruise 9901 Station Data

### Station P26  February 18, 1999

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | CFC-113 Pmol/Kg | CCl4 Pmol/Kg | Q12 | Q11 | Q113 | QCCl4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 115 | 1501.1 | 0.00 | 0.00 | 0.12 | 0.07 | 2 | 2 | 2 | 2 |
| 117 | 898.6 | 0.00 | 0.05 | 0.13 | 0.07 | 2 | 2 | 2 | 2 |
| 118 | 798.1 | 0.00 | 0.07 | 0.17 | 0.17 | 2 | 2 | 2 | 2 |
| 119 | 752.5 | 0.00 | 0.08 | 0.11 | 0.16 | 2 | 2 | 2 | 2 |
| 120 | 699.6 | 0.00 | 0.12 | 0.11 | 0.22 | 2 | 2 | 2 | 2 |
| 121 | 649.6 | 0.01 | 0.17 | 0.13 | 0.29 | 2 | 2 | 2 | 2 |
| 122 | 598.3 | 0.17 | 0.24 | 0.20 | 0.35 | 2 | 2 | 2 | 2 |
| 123 | 552.0 | 0.22 | 0.30 | 0.13 | 0.47 | 2 | 2 | 2 | 2 |
| 124 | 501.2 | 0.30 | 0.41 | 0.13 | 0.50 | 2 | 2 | 2 | 2 |
| 125 | 398.1 | 0.59 | 1.05 | 0.19 | 1.14 | 2 | 2 | 2 | 2 |
| 126 | 296.2 | 0.98 | 1.99 | 0.31 | 1.59 | 2 | 2 | 2 | 2 |
| 127 | 248.6 | 1.19 | 2.58 | 0.26 | 1.72 | 2 | 2 | 2 | 2 |
| 128 | 198.1 | 1.43 | 3.25 | 0.33 | 2.06 | 2 | 2 | 2 | 2 |
| 129 | 148.6 | 1.73 | 4.06 | 0.41 | 2.69 | 2 | 2 | 2 | 2 |
| 130 | 125.5 | 1.95 | 4.40 | 0.52 | 2.89 | 2 | 2 | 2 | 2 |
| 131 | 98.5 | 2.33 | 4.88 | 0.46 | 5.93 | 2 | 2 | 2 | 2 |
| 132 | 75.3 | 2.34 | 4.90 | 0.48 | 6.48 | 2 | 2 | 2 | 2 |
| 133 | 46.7 | 2.35 | 4.92 | 0.51 | 6.37 | 2 | 2 | 2 | 2 |
| 134 | 22.7 | 2.35 | 4.87 | 0.55 | 5.88 | 2 | 2 | 2 | 3 |
| 135 | 7.3 | 2.34 | 4.90 | 0.47 | 6.44 | 2 | 2 | 2 | 2 |

## Cruise 9910 Station Data

### Station P04  June 22, 1999

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | Q12 | Q11 |
| --- | --- | --- | --- | --- | --- |
| 788 | 1335.4 | 0.00 | 0.00 | 2 | 2 |
| 789 | 1250.0 | 0.00 | 0.00 | 2 | 2 |
| 790 | 1002.5 | 0.00 | 0.00 | 2 | 2 |
| 791 | 801.1 | 0.00 | 0.04 | 2 | 2 |
| 792 | 602.1 | 0.00 | 0.20 | 2 | 2 |
| 793 | 400.4 | 0.17 | 0.76 | 2 | 2 |
| 794 | 300.3 | 0.44 | 1.29 | 2 | 2 |
| 795 | 199.8 | 0.93 | 2.36 | 2 | 2 |
| 796 | 149.2 | 1.14 | 2.71 | 2 | 2 |
| 797 | 99.9 | 1.47 | 3.21 | 2 | 2 |
| 798 | 76.2 | 1.94 | 3.96 | 2 | 2 |
| 799 | 50.9 | 1.96 | 4.13 | 2 | 2 |
| 800 | 24.8 | 2.01 | 4.10 | 2 | 2 |
| 801 | 11.5 | 1.84 | 3.75 | 2 | 2 |
| 802 | 1.6 | 1.80 | 3.68 | 2 | 2 |

### Station P12  June 21, 1999

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | Q12 | Q11 |
| --- | --- | --- | --- | --- | --- |
| 748 | 3277.5 | 0.00 | 0.00 | 2 | 2 |
| 753 | 1998.9 | 0.00 | 0.00 | 2 | 2 |
| 754 | 1751.1 | 0.00 | 0.00 | 2 | 2 |
| 755 | 1499.4 | 0.00 | 0.00 | 2 | 2 |
| 756 | 1251.9 | 0.00 | 0.00 | 2 | 2 |
| 757 | 999.0 | 0.00 | 0.00 | 2 | 2 |
| 758 | 799.5 | 0.00 | 0.04 | 2 | 2 |
| 759 | 599.8 | 0.00 | 0.18 | 2 | 2 |
| 760 | 399.5 | 0.28 | 1.04 | 2 | 2 |
| 761 | 299.2 | 0.88 | 1.89 | 2 | 2 |
| 762 | 200.1 | 1.10 | 2.68 | 2 | 2 |
| 763 | 150.2 | 1.54 | 3.20 | 2 | 2 |
| 764 | 100.6 | 1.95 | 4.11 | 2 | 2 |
| 765 | 75.0 | 2.24 | 4.68 | 2 | 2 |
| 766 | 50.0 | 2.29 | 4.53 | 2 | 2 |
| 767 | 26.2 | 2.19 | 4.34 | 2 | 2 |
| 768 | 10.8 | 2.16 | 4.20 | 2 | 2 |
| 769 | 1.0 | 2.05 | 4.12 | 6 | 6 |

### Station P16   June19, 1999

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | Q12 | Q11 |
| --- | --- | --- | --- | --- | --- |
| 707 | 3679.1 | 0.00 | 0.00 | 2 | 2 |
| 713 | 1999.5 | 0.00 | 0.00 | 2 | 2 |
| 714 | 1748.1 | 0.00 | 0.00 | 2 | 2 |
| 715 | 1499.0 | 0.00 | 0.00 | 2 | 2 |
| 716 | 1249.3 | 0.00 | 0.00 | 2 | 2 |
| 717 | 1001.0 | 0.00 | 0.00 | 2 | 2 |
| 718 | 802.5 | 0.00 | 0.05 | 2 | 2 |
| 719 | 598.8 | 0.00 | 0.24 | 2 | 2 |
| 720 | 401.4 | 0.26 | 1.03 | 2 | 2 |
| 721 | 301.9 | 0.51 | 1.65 | 2 | 2 |
| 722 | 200.0 | 1.22 | 2.65 | 2 | 2 |
| 723 | 152.0 | 1.32 | 3.08 | 2 | 2 |
| 724 | 101.0 | 1.90 | 3.96 | 2 | 2 |
| 725 | 76.0 | 1.63 | 3.54 | 4 | 4 |
| 726 | 50.8 | 2.32 | 4.60 | 2 | 2 |
| 727 | 26.2 | 2.23 | 4.62 | 2 | 2 |
| 728 | 10.6 | 2.29 | 4.59 | 2 | 2 |
| 729 | 0.7 | 2.15 | 4.48 | 2 | 6 |

### Station P20  June 17, 1999

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | Q12 | Q11 |
| --- | --- | --- | --- | --- | --- |
| 639 | 4014.1 | 0.00 | 0.00 | 2 | 2 |
| 645 | 1998.3 | 0.00 | 0.00 | 2 | 2 |
| 646 | 1750.0 | 0.00 | 0.00 | 2 | 2 |
| 647 | 1496.8 | 0.00 | 0.00 | 2 | 2 |
| 648 | 1249.6 | 0.09 | 0.00 | 3 | 2 |
| 649 | 999.5 | 0.09 | 0.01 | 3 | 2 |
| 650 | 798.0 | 0.10 | 0.04 | 3 | 2 |
| 651 | 597.4 | 0.21 | 0.28 | 2 | 2 |
| 652 | 398.3 | 0.40 | 1.08 | 2 | 2 |
| 653 | 300.4 | 0.89 | 2.06 | 2 | 2 |
| 654 | 200.2 | 1.18 | 2.63 | 2 | 2 |
| 655 | 149.5 | 1.38 | 3.18 | 2 | 2 |
| 656 | 95.2 | 2.34 | 4.82 | 2 | 2 |
| 657 | 76.1 | 2.35 | 4.81 | 2 | 2 |
| 658 | 51.3 | 2.20 | 4.51 | 2 | 2 |
| 659 | 24.9 | 2.20 | 4.53 | 2 | 2 |
| 660 | 8.8 | 2.26 | 4.57 | 2 | 2 |
| 661 | 1.7 | 2.17 | 4.55 | 2 | 2 |

### Station P26  June 13, 1999

| Sample Number | Depth db | CFC-12 Pmol/Kg | CFC-11 Pmol/Kg | Q12 | Q11 |
| --- | --- | --- | --- | --- | --- |
| 574 | 4282.1 | 0.00 | 0.00 | 2 | 2 |
| 575 | 3995.8 | 0.00 | 0.00 | 2 | 2 |
| 581 | 2000.6 | 0.00 | 0.00 | 2 | 2 |
| 582 | 1752.2 | 0.00 | 0.00 | 2 | 2 |
| 583 | 1503.9 | 0.00 | 0.00 | 2 | 2 |
| 584 | 1237.9 | 0.00 | 0.00 | 2 | 2 |
| 585 | 1000.8 | 0.00 | 0.03 | 2 | 2 |
| 586 | 801.6 | 0.04 | 0.08 | 2 | 2 |
| 587 | 602.4 | 0.20 | 0.36 | 2 | 2 |
| 588 | 402.5 | 0.48 | 0.94 | 2 | 2 |
| 589 | 302.5 | 1.03 | 2.09 | 2 | 2 |
| 590 | 202.4 | 1.42 | 2.93 | 2 | 2 |
| 591 | 151.2 | 1.70 | 3.41 | 2 | 2 |
| 592 | 102.8 | 2.58 | 4.92 | 2 | 2 |
| 593 | 74.5 | 2.67 | 5.17 | 2 | 2 |
| 594 | 48.6 | 2.60 | 5.00 | 2 | 2 |
| 595 | 1.4 | 2.52 | 4.99 | 2 | 2 |

### Line P CFC-11 Summary Plot

### Line P CFC-12 Summary Plot

## Precision by Pooled Standard Deviation of Duplicates

x−y22k

Using the above equation to calculate the precision by the pooled standard deviation of duplicates, where k is the number of duplicates, the results were as follows.

CFC-11  For the range  0.04 – 5.04 Pmol/Kg, the pooled standard deviation for duplicates was 0.103 Pmol/kg.

CFC-12  For the range 0.051 - 2.48 Pmol/Kg; the pooled standard deviation for duplicates was 0.051 Pmol/Kg.

Duplicates for this cruise were taken during the first part of the cruise while analyzing WOCE Line P1E.  These results are given in this report to indicate system behavior during cruise 9910.

### Comparison of Cruises

|  | CFC | 11 | CFC | 12 |
| --- | --- | --- | --- | --- |
| CRUISE | Range | Pooled STD | Range | Pooled STD |
| COCC9201 Stn PAPA | .070 - 4.571 | .021 | .074 - 2.090 | .025 |
| COCC9203 Russian N.Pac | .617 - 2.778 | .094 | .346 - 1.470 | .061 |
| COCC9303 Stn PAPA | .059 - 2.65 | .020 | 0 - 1.054 | .018 |
| COCC9316 Sea of Okhotsk | .058 - 7.33 | .053 | .068 - 3.948 | .073 |
| COCC9403 WOCE P15N | .415 - 2.587 | .076 | .263 - 1.359 | .039 |
| COCC9505 Stn PAPA | .321 - 5.033 | .071 | .288-2.438 | .046 |
| COCC9910 WOCE P1E | .04 - 5.04 | .103 | 0 – 2.48 | .051 |

## Air

### CFC Levels of Air from Cruise 9910

| Run ID | Date | Station | CFC-12 ppt | CFC-11 ppt | CFC-12/CFC-11 ratio |
| --- | --- | --- | --- | --- | --- |
| 10013 | June 2 | Line P1E 115 | 435.6 | 195.5 | 2.23 |
| 10585 | June 9 | Line P1E 94 | 413.8 | 188.5 | 2.20 |
| 10666 | June 10 | Line P1E 92 | 422.4 | 188.5 | 2.24 |
| 10806 | June 21 | Line P P12 | 463.4 | 189.3 | 2.45 |

# Discussion

## Comparison of different CFC analysis systems

Comparison plots of Station P12 and Station Papa data from different cruises using two different extraction and analysis systems are shown on the following pages.

## Comparison of earlier data

Comparison plots of CFC-11 and CFC-12 results from Station Papa over several years are shown on the following pages.  These data are from Gammon (1982), Schwarz (1988) and the data presented in the COCC Cruise 9201 Freon Data Report (Richardson 1993), COCC Cruise 9303 Freon Data Report (Richardson 1993), COCC Cruise 9402 Freon Data Report (Richardson 1995), COCC Cruise 9505 Freon Data Report (Richardson 1995) and Cruise 9910.

### Comparison of CFC-11 at Station Papa over time

### Comparison of CFC-12 at Station Papa over time

# References

Bullister J.L., Weiss R.F. (1987)  Determination of CCl3F and CCl2F2 in Seawater and Air. Deep-Sea Research Vol. 35 No. 5, 839-853.

Gammon R.H., Cline J.D., Wisegarver (1982)  Chlorofluoromethanes in the Northeast Pacific Ocean: Measured Vertical Distributions and Application as Transient Tracers of Upper Ocean Mixing. J. Geophys. Res. 87(C12), 9441-9454.

Richardson W. (1993)  Centre for Ocean Climate Chemistry Cruise 9201 Freon Data Report, Unpublished manuscript, Institute of Ocean Sciences. Sidney, B.C. Canada.

Richardson W. (1993)  Centre for Ocean Climate Chemistry Cruise 9303 Freon Data Report, Unpublished manuscript, Institute of Ocean Sciences. Sidney, B.C. Canada.

Richardson W. (1995)  Centre for Ocean Climate Chemistry Cruise 9402 Freon Data Report, Unpublished manuscript, Institute of Ocean Sciences. Sidney, B.C. Canada.

Richardson W. (1995)  Centre for Ocean Climate Chemistry Cruise 9505 Freon Data Report, Unpublished manuscript, Institute of Ocean Sciences. Sidney, B.C. Canada.

Schwarz U. (1988)  Freon data for OC-85-OS-02 and OC-85-OS-03, Unpublished manuscript, Institute of Ocean Sciences. Sidney, B.C. Canada.

Schwarz U. (1989)  Freon Manual, Unpublished manuscript, Institute of Ocean Sciences, Sidney, B.C. Canada.

Weiss R.F.  Freon Lab Manual, Unpublished manuscript, Scripps Institute of Oceanography, San Diego, California, USA