File List for SeaBird Data

Cruise Number: _9911____

[work2.ctd.----] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.bl -		“

*.dir - subdirectories

9911proc.doc - processing notes

9911file.doc - this document

0437ctd.con - con file with incorrect transmissivity calibrations – used for all casts

0443ctd.con – con file for CTD #0443 – not used for this cruise

182tr.con – con file with corrected transmissivity – used to correct transmissivity for all casts

9911comp.xls   - EXCEL file showing bottle comparison data copied from notebook of Doug Anderson.

9911rcal.ccf – recalibration file to fix transmissivity.

[work2.ctd.9911.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.9911.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.9911.ios]

*.avg - data after metre-averaging using BINAVE

*.avt – file with pressure and corrected transmissivity only after metre-averaging.

*.ctd - final files (Merge of *.avt and *.rem)

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log - log files created by CTDEDIT

Delete.log - log from routine DELETE

*.rem - *.edt files with unnecessary channels + Transmissivity channel removed

[work2.ctd.9911.hydro]

*.hyd  - original hydro files (contain no salinity data)