## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 10-Jan-2006 | Surface loop data was added to the archive. The data was acquired from John Morris at PBS. The data archived in August 2005 was replaced with this new set since chlorophyll was included. The original spreadsheet file from John and more detailed processing notes can be found in the “Cruise_Data\Documents” directory. Any questions regarding this data should be directed to John Morris. J.L. |
| Aug 2, 2005 | Added loop data to the archive. J.L. |

PROCESSING NOTES

Cruise: 9914

Agency: OSAP

Location: Gulf of Alaska

Project: High Seas Salmon

Chief Scientist: John Morris

Platform: W.E. Ricker

Date: 17 June 1999 – 27 June 1999

Processed by: Germaine Gatien

Date of Processing: 5 August 1999 – 19 August 1999

Number of original CTD casts: 49

Number of casts processed: 49

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD  (#506) was used.

SUMMARY OF QUALITY AND CONCERNS

Casts #64 and #67 are unreliable in the top 50m because the pumps were not turned on.

The differences between primary and secondary values are larger than usual; this appears to be due to a drift in the primary conductivity that follows the pattern observed during cruise 9913 using the same sensors. No bottles were available at the time of processing.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.dat.

2. Preliminary Steps

The CTD Log was obtained.

Surface salinity bottles were taken but the data was not available at the time of processing.

The cruise summary sheet was completed.

The configuration file was obtained and the calibration constants were checked.

- Conversion of Raw Data

The raw data was converted using conversion file 99140005.con.

4. ALIGNCTD

The primary conductivity channel was advanced by –0.038s and the secondary conductivity advanced by 0.035s. The primary channel was aligned by +0.073 by the acquisition system, so the net effect is that both channels are advanced by +0.035s. These choices were made based on an analysis of the same sensors for cruise 9913.

5. WILDEDIT

Program WILDEDIT was used to remove spikes in Pressure.  Parameters used were:

Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

6. CELLTM

A study was made of the effect of varying the thermal mass corrections for two casts. Plotting the up and down traces on a T-S plot indicated that  = 0.025 and 1/ = 7.0 led to the closest fit of the two traces. The conductivity cell thermal mass correction was done for both channels using those parameters.

7. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on a selection of casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity.

8. Test Plots and Channel Check

A sample of casts (#5,8,9,10,16,50,66 and 67) was plotted to check for agreement between the pairs of T and C sensors. The temperature variations are very noisy but ignoring spikes are <0.0015C° below 100db while the conductivity differences range from 0.0008 to 0.0012units. Salinity values varied by ~0.006 to 0.014psu increasing with depth. The primary values were lower in all cases. These are larger differences than were found during the previous use of these sensors during cruise 9913, and there is a suggestion that the differences in conductivity are increasing during the cruise. During cast #9 the secondary sensors drifted sharply during the upcast returning to normal values before reaching the surface. They appear to have functioned normally on subsequent casts.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

10. Checking Headers

A header summary was produced and errors found in the headers were fixed.

The surface check was run. The average surface pressure is 5.258db.

The header check was produced.

The cruise track was plotted and looks reasonable.

- DELETE

The following DELETE parameters were used:

Surface Record Removal: low Salt & Last Press Min

Maximum Surface Pressure (relative): 20.00

Minimum Surface Salinity: 25.000

Surface Swell Pressure Tolerance: 1.0

Pressure filtered over width: 15

Swells deleted. Warning message if pressure difference of 2.00

Drop rates<  .33m/s (calculated over 11 points) was deleted.

Sample interval =       .04 seconds.

The Delete log was checked and all warnings concerned data from the bottom or the upcast.

12. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure

Averaging interval =   1.000

Minimum bin value =   .000

Average value will be used

Interpolated values are NOT used for empty bins

13. Intercomparisons

Previous experience with these sensors – These sensors were all used during 9913 (May 99) when the secondary sensors were considered the more accurate. No deep bottle data was available, but the differences in salinity between the secondary CTD sensors and the loop bottles averaged  –0.0003psu. The secondary conductivity sensor was also used during 9839 (Nov. 98) with a different temperature sensor; the salinities were high by 0.015psu compared to bottles.

COMPARE – No deep bottles were taken. The surface loop bottles were not available at the time of processing. COMPARE was used to study the differences between the primary and secondary sensors as a function of depth and time. There was a clear trend in the differences versus file # continuing the trend noted during 9913. There is also a slight trend to higher differences at depth.

Repeat casts – There were no repeat casts.

Historic ranges - Plots were examined with historic ranges superimposed for casts #16, 17, 48, 49, 50, 65 and 66. All traces fell within those bounds.

14. Test Plots

Profiles of all casts were examined for any evidence of problems with the processing.

The thermosalinograph values as recorded in the log were not considered reliable enough to choose between primary and secondary sensors. The results of 9913 were used to justify the choice of secondary sensors as the more reliable, and those were chosen for further processing.

Page plots were produced using T1,S1 for all casts. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

15. CTDEDIT

CTDEDIT was used to clean noise in S and T in the top 30m for the following casts: #39, 40,  and 64. Casts # 45 and 67 were not edited but note that the data in the top 50m is not reliable because the pumps were not turned on until about the 30m point.

Note was made in the relevant files of the editing details and the pump problem.

- Recalibration

No recalibration was done.

17. Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data.

18. REMOVE

The following channels were removed from all casts: Scan_Number, Primary Temperature, Primary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

19. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced.

Particulars

Cast #9 – During the upcast the secondary conductivity and temperature moved sharply away from the downcast values and from the upcast primary values. Before reaching the surface both had reverted to normal values, and behaved normally on the next cast. The CTD Log notes that no debris was found in the cell and that it did not appear to have touched bottom.

Cast #46 – The pumps were not operating in the top 30m or so. The primary and secondary traces look different from each other in the top 50m.

Cast #67 – The pumps were not operating in the top 30m or so. The primary and secondary traces look spiky and different from each other in the top 50m.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	  9914

Dates: 	Start: 18 June 1999 	  End:	27 June 1999

Location:   Gulf of Alaska

Vessel:		W.E. Ricker

Chief Scientist:	 John Morris

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0506 | no | yes |

Institute of Ocean Sciences

CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0506

Cruise ID#:		9914

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2710 | 24Mar99 | factory |  |  |
| Conductivity | 2280 | 19Mar99 | factory |  |  |
| Secondary Temp. | 2449 | 8May98 | factory |  |  |
| Secondary Cond. | 1763 | 18Aug98 | factory |  |  |
| Transmissometer | 197 | 14Jan99 | IOS |  |  |
| Pressure Sensor | 69698 | 11Dec97 | Factory |  |  |

Sensor Calibration Notes:

The configuration file used is attached; this includes the sensor calibrations.