File List for SeaBird Data

Cruise Number: 9916

[work2.ctd.9916] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.bl -		“

*.dir - subdirectories

9916proc.doc - processing notes

9916file.doc - this document

04379916.con -  con file used for processing

compare.xls – comparison of bottle salinities and CTD salinities for a few casts.

[work2.ctd.9916.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.9916.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.9916.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo* - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[work2.ctd.9916.hydro]

*.ros  - rosette files created by DATCNV, no other processing done.

*.bot – rosette files converted to IOS HEADERS

[work2.ctd.9916.thermo]

directory created before current processing – left unaltered

[work2.ctd.9916.oxygen]

directory created before current processing – left unaltered