## Comments
Cruise 9920: Georgia Strait, August, 1999. Nutrient Data.
File storage and data processing:
991103 | .aaz | .anz | .wk4 |  | data analyzed Nov 3, 1999
991104 | .aaz | .anz | .wk4 |  | data analyzed Nov 4
991105 | .aaz | .anz | .xls |  | data analyzed Nov 5
991108 | .aaz | .anz | .xls |  | data analyzed Nov 8
9920nutr |  |  | .xls |  | combined nutrient file
Samples were measured using an Autoanalyzer II, following the procedures outlined in Barwell-Clarke and Whitney, 1996.
Files with a .aaz extension are the original data output from the Autoanalyzer, the peaks are analyzed relative to standard
concentrations (.anz), then labelled and collated (.xls).
Water was collected in single plastic and glass test tubes and frozen on board the ship.
Nitrate/silicate samples were defrosted for 18-24 h before analysis; phosphate samples were defrosted for 1 hour
before analysis. Lab temperature was noted periodically, and may be found
on the original data sheets; it was generally around 23 C.
Samples were inverted and shaken before analysis. Samples from 0 and 5m were centrifuged for 15 min at 3500RPM.
Calibration
Standards used for these samples were freshly prepared from stocks, which had been compared to previously prepared
standards or commercially prepared standards.
The silicate standard (#99-6) was a 5000.0 uM solution of Na2SiF6 prepared from
preweighed chemicals on Oct 26, 1999. Nitrate standard, #99-4, was a 2499.9 uM solution
prepared on July 29, 1999. Phosphate standard #99-3, was a 248.3 uM solution of KH2PO4,
prepared on Oct 26, 1999, 1999. Intercomparison of the Silicate and phosphate standards was done on Oct 28, 1999.
The nitrate standard was compared to Sagami standards prior to Line P cruise, September, 1999.
An Eppendorf maxi pipettor was used to pipette the standards. It was calibrated on Oct 28, 1999,
and delivered very close to the dialed volume for each tip, but the delivery volumes have been corrected
in calculating the concentrations of the standards. For volumes less than 1.0 ml, a 100-1000 uL Eppendorf
pipettor (#107106) was used. It also was calibrated on Oct 28.
Variability Estimates
Pooled deviation of paired samples
No duplicate samples were taken for this cruise.
Sample pooled deviation
| Nitrate | 0.1408
| Silicate | 0.27967
Phosphate
Since no duplicate samples were taken, there is no measure of variability between samples. Those
samples which were remeasured indicate the machine variability, which is low.
Variability of an unknown sample measured periodically throughout the analysis period.
|  | nitrate | silicate | phosphate
| mean | 26.5517 | 39.0393 | 2.0064
| std dev | 1.0387 | 0.57596 | 0.016556
Variability of the unknown was low for silicate and phosphate.
Factors affecting data quality:
The 0 and 5 m samples for all stations were centrifuged at 3500 rpm on a Sorvall centrifuge for 15 min before analysis
to eliminate interference from particulates. Turbidity measurements were made for some 0 m samples
for phosphate and silicate.
Some of the frozen samples as received were in poor shape due to overfilling the test tubes and
subsequent extrusion of the sample. This was particularly true for the glass (phosphate) tubes,
and where particularly severe, the cast has been analyzed from the plastic tubes. This may affect
phosphate concentrations due to adsorption of phosphate to the plastic, and to the longer time at
room temperature prior to analysis. However, in remeasured samples the phosphate data were
more consistent (and somewhat higher) when sampled from the plastic tubes.
Analysis notes:
991103: | Analyzed samples 1-68
Crystals present in most of the phosphate samples; see data sheets for which of them contained crystals.
Salt around lid area of: N/Si: 12, 8, 4, 65; PO4: 8, ;lid loose for samples (PO4):1,6, 24, 30, 27,42. Sample 54 N/Si was
cracked, transferred to fresh tube. The PO4 sample #54 was lost.
Phosphate samples from stations 69, 65, and 62 were overfilled, with the possibility of extrusion of brine. These were sampled from
the N/Si tube. Station 75 samples were re-run in this manner; the outlying phosphate data were better in the re-ran samples.
Lid cracked for sample 51 and 55 (PO4).
991104: | Analyzed samples 69-134
Crystals present in phosphate samples station 56, 46, and 39. See original analysis sheets.
Phosphate samples from stations 59, 42, and 72 were overfilled; sampled from plastic tube.
Salt around lid area of: N/Si: 120, 119, 31, 82, 121; P: 82, 123, 122, 121. No glass tube #128.
Particulate was observed in sample 134, especially after centrifuging.
Lid not screwed on properly sample #76 (PO4).
991105: | Analyzed samples 135-203
Phosphate samples from station 27 were overfilled; sampled from plastic tube.
Crystals present in phosphate samples from station 2, 3, 6. See original analysis sheets.
There was obvious partiuclate in the surface sample at Howe Sound. The cadmium column was disconnected
for the deeper samples in Howe Sound, to avoid contaminating it with H2S. Some were remeasured.
Unfortunately, samples 136 and 135 from Howe Sound were not shaken, and although I remeasured them
using the glass test tube, the silicate data will be erroneous.
Salt around lid area of: N/Si: 138, 137, 160, 167, 165, 182. Lid loose PO4 samples: 153, 157, 161.
Frozen upside down (but no obvious leakage):135, 138, 140.
Overfilled sample N/Si: 177.
991108: | Analyzed samples 204-253; and turbidities.
Crystals in phosphate samples from station 9, 14, and N/Si samples from station 9.
Phosphate samples from station 12 were overfilled; sampled from plastic tube.
Salt around lid area of: N/Si: 237, 251, 250, 247, 248, 244. PO4: 244.
Turbidity was measured relative to double-run Milli-Q water (DMQ)
Lid was loose PO4 sample 205, 240, 236, 245.

## iosshell
Cruise 9920: Georgia Strait, August, 1999. Nutrient Data.
corrected for turbidity
Station | Event | sample | nitrate | silicate | phosphate | Notes
102 | 2 | 1 | 34.6834 | 54.1699 | 2.5216
102 | 2 | 2 | 34.4356 | 53.847 | 2.6054
102 | 2 | 3 | 34.5937 | 53.1858 | 2.5562
102 | 2 | 4 | 32.2002 | 48.4659 | 2.3597
102 | 2 | 5 | 31.8112 | 45.2687 | 2.2497
102 | 2 | 6 | 28.1428 | 38.1031 | 2.0586
102 | 2 | 7 | 23.8939 | 30.5205 | 1.8092
102 | 2 | 8 | 25.0726 | 36.2698 | 1.9957
102 | 2 | 9 | 27.6495 | 46.0005 | 2.1848
102 | 2 | 10 | 25.6064 | 44.2383 | 2.0272
102 | 2 | 11 | 20.5684 | 37.9106 | 1.7747
102 | 2 | 12 | 17.831 | 36.993 | 1.7348
102 | 2 | 13 | 18.9347 | 37.0894 | 1.7017
75 | 5 | 14 | 35.3401 | 56.4011 | 2.7486
75 | 5 | 15 | 35.2345 | 56.248 | 2.7247
75 | 5 | 16 | 35.1771 | 56.095 | 2.7273
75 | 5 | 17 | 34.5193 | 53.3246 | 2.6304
75 | 5 | 18 | 33.3108 | 49.9646 | 2.5764
75 | 5 | 19 | 30.8602 | 44.3306 | 2.3753
75 | 5 | 20 | 26.3655 | 39.2909 | 2.1392
75 | 5 | 21 | 27.4321 | 46.4657 | 2.2833
75 | 5 | 22 | 21.9808 | 39.737 | 1.9551
75 | 5 | 23 | 21.3126 | 38.9915 | 1.9171
75 | 5 | 24 | 20.8109 | 38.5828 | 1.9097
75 | 5 | 25 | 19.5049 | 37.3314 | 1.8207
75 | 5 | 26 | 19.1467 | 37.0906 | 1.9186
72 | 8 | 27 | 35.5919 | 56.2638 | 2.6687
72 | 8 | 28 | 35.6919 | 56.2131 | 2.7138
72 | 8 | 29 | 35.5516 | 56.1623 | 2.6923
72 | 8 | 30 | 35.6273 | 55.9424 | 2.6675
72 | 8 | 31 | 33.5722 | 52.3417 | 2.5958
72 | 8 | 32 | 32.5032 | 51.0219 | 2.5073
72 | 8 | 33 | 28.1739 | 44.5489 | 2.3421
72 | 8 | 34 | 25.1449 | 41.2004 | 2.152
72 | 8 | 35 | 24.9916 | 43.1709 | 2.1267
72 | 8 | 36 | 23.9152 | 41.5092 | 2.0506
72 | 8 | 37 | 23.6213 | 41.4511 | 2.0353
72 | 8 | 38 | 22.8553 | 40.5485 | 1.9692
69 | 11 | 39 | 33.1775 | 51.2365
69 | 11 | 40 | 34.0331 | 52.2153 | 2.6267
69 | 11 | 41 | 34.0979 | 52.0952 | 2.616
69 | 11 | 42 | 33.5866 | 50.6237 | 2.4854
69 | 11 | 43 | 30.7969 | 47.0438 | 2.4179
69 | 11 | 44 | 27.0303 | 42.9628 | 2.2295
69 | 11 | 45 | 25.611 | 43.4361 | 2.0874
69 | 11 | 46 | 24.6464 | 42.8142 | 2.1407
69 | 11 | 47 | 24.0879 | 42.8662 | 2.0422
69 | 11 | 48 | 23.8159 | 42.6657 | 2.028
69 | 11 | 49 | 22.9001 | 41.961 | 2.0509
65 | 19 | 50 | 30.1329 | 49.4937 | 2.3753
65 | 19 | 51 | 27.6601 | 46.8414 | 2.3175
65 | 19 | 52 | 25.8104 | 44.7825 | 2.1518
65 | 19 | 53 | 20.2929 | 36.6594 | 1.8935
65 | 19 | 54 | 16.0272 | 29.3901 | 1.5816 | tt cracked
65 | 19 | 55 | 22.0538 | 40.8793 | 2.021
65 | 19 | 56 | 21.9721 | 41.0163 | 1.9966
65 | 19 | 57 | 21.938 | 40.9009 | 2.0197
65 | 19 | 58 | 21.4276 | 40.7856 | 1.9138
62 | 22 | 59 | 26.7328 | 43.7582 | 2.3121
62 | 22 | 60 | 29.2172 | 47.788 | 2.4085
62 | 22 | 61 | 27.0587 | 45.2447 | 2.2738
62 | 22 | 62 | 23.5432 | 41.8622 | 2.0948
62 | 22 | 63 | 24.135 | 44.3727 | 2.1077
62 | 22 | 64 | 23.0333 | 43.0113 | 2.0429
62 | 22 | 65 | 21.4324 | 39.9693 | 1.9407
62 | 22 | 66 | 23.0242 | 43.0662 | 2.0281
62 | 22 | 67 | 22.6144 | 42.8834 | 2.0004
62 | 22 | 68 | 22.3953 | 42.1123 | 1.9727
59 | 26 | 69 | 28.5766 | 47.4704 | 2.3308
59 | 26 | 70 | 28.477 | 47.7331 | 2.3303
59 | 26 | 71 | 28.3059 | 47.996 | 2.3063
59 | 26 | 72 | 26.7032 | 46.1256 | 2.2419
59 | 26 | 73 | 27.0329 | 46.9002 | 2.2112
59 | 26 | 74 | 26.4796 | 46.3945 | 2.1938 | no #75
59 | 26 | 76 | 24.6364 | 45.8887 | 2.0753
59 | 26 | 77 | 23.7242 | 45.6388 | 2.0208
59 | 26 | 78 | 23.5524 | 45.5589 | 2.0001
59 | 26 | 79 | 23.3805 | 45.4797 | 2.0097
59 | 26 | 80 | 22.0091 | 45.4066 | 1.9784
59 | 26 | 81 | 22.125 | 44.5567 | 1.9112 | plastic tube only
56 | 29 | 82 | 26.8222 | 47.138 | 2.1265
56 | 29 | 83 | 27.0077 | 46.5413 | 2.1361
56 | 29 | 84 | 26.6901 | 46.7929 | 2.2199
56 | 29 | 85 | 26.4446 | 47.0445 | 2.2429
56 | 29 | 86 | 25.8686 | 46.6319 | 2.2382
56 | 29 | 87 | 26.8168 | 44.7488 | 2.1813 | glass tube only
56 | 29 | 88 | 25.5179 | 46.4421 | 2.164
56 | 29 | 89 | 25.0101 | 46.2697 | 2.177
56 | 29 | 90 | 24.4308 | 46.3516 | 2.1022
56 | 29 | 91 | 21.0987 | 43.72 | 1.8782
56 | 29 | 92 | 17.9056 | 40.7501 | 1.6973
56 | 29 | 93 | 12.4689 | 40.2151 | 1.2649
56 | 29 | 94 | 10.6358 | 40.7124 | 1.0815
46 | 35 | 97 | 27.3841 | 48.9573 | 2.3114
46 | 35 | 98 | 27.0643 | 47.5121 | 2.2874
46 | 35 | 99 | 27.275 | 46.2366 | 2.3104
46 | 35 | 100 | 25.3893 | 46.5731 | 2.1686
46 | 35 | 101 | 23.9623 | 45.8915 | 2.0634
46 | 35 | 102 | 23.6926 | 45.3797 | 2.1609
46 | 35 | 103 | 22.0258 | 46.2251 | 1.9235
46 | 35 | 104 | 19.6603 | 43.5079 | 1.8142
46 | 35 | 105 | 15.871 | 41.3001 | 1.5814
46 | 35 | 106 | 10.3622 | 37.5971 | 1.2297
42 | 40 | 107 | 27.492 | 52.2999 | 2.4982
42 | 40 | 108 | 27.5831 | 51.2037 | 2.4476
42 | 40 | 109 | 27.0785 | 50.3619 | 2.4035
42 | 40 | 110 | 26.5497 | 49.0947 | 2.3762
42 | 40 | 111 | 26.9506 | 49.017 | 2.3422
42 | 40 | 112 | 26.9462 | 48.0889 | 2.3518
42 | 40 | 113 | 27.228 | 45.8848 | 2.3245
42 | 40 | 114 | 27.0567 | 46.2314 | 2.3374
42 | 40 | 115 | 25.1441 | 45.8975 | 2.2327 | no #116
42 | 40 | 117 | 20.7427 | 45.7337 | 1.9486
42 | 40 | 118 | 15.9001 | 40.5499 | 1.5912
42 | 40 | 119 | 9.5565 | 32.7811 | 1.0806
42 | 40 | 120 | 5.9201 | 32.3198 | 0.74712
39 | 43 | 121 | 28.2812 | 55.1459 | 2.5807
39 | 43 | 122 | 27.7646 | 50.2191 | 2.3427
39 | 43 | 123 | 26.9361 | 48.6873 | 2.1636
39 | 43 | 124 | 27.3345 | 48.9368 | 2.3712
39 | 43 | 125 | 27.0121 | 48.2531 | 2.3268
39 | 43 | 126 | 27.0018 | 47.7391 | 2.2857
39 | 43 | 127 | 27.0635 | 47.2251 | 2.3319
39 | 43 | 128 | 26.7897 | 45.1845 | 2.3234
39 | 43 | 129 | 27.5695 | 46.4518 | 2.3973
39 | 43 | 130 | 25.8124 | 44.9202 | 2.3194
39 | 43 | 131 | 25.0375 | 47.4597 | 2.2143
39 | 43 | 132 | 22.7316 | 48.3029 | 2.1225
39 | 43 | 133 | 11.6512 | 31.8866 | 1.3619
39 | 43 | 134 | 4.4728 | 48.8536 | 0.47186
Howe Sd. | 46 | 135 | 7.5186 | 34.9666 | 3.4063
Howe Sd. | 46 | 136 | 12.7893 | 65.4481 | 4.1893
Howe Sd. | 46 | 137 |  | 83.6658 | 3.3884
Howe Sd. | 46 | 138 |  | 80.9078 | 3.1167
Howe Sd. | 46 | 139 | 23.9611 | 76.8109 | 2.9516
Howe Sd. | 46 | 140 | 26.7928 | 69.2721 | 2.58
Howe Sd. | 46 | 141 | 28.8518 | 60.7411 | 2.5458
Howe Sd. | 46 | 142 | 30.2611 | 54.246 | 2.2062
Howe Sd. | 46 | 143 | 27.7348 | 47.9252 | 2.4163
Howe Sd. | 46 | 144 | 25.4211 | 41.8583 | 2.1578
Howe Sd. | 46 | 145 | 23.6102 | 39.4215 | 2.1166
Howe Sd. | 46 | 146 | 18.6394 | 36.1399 | 1.7855
Howe Sd. | 46 | 147 | 5.0311 | 37.0542 | 0.58121
Howe Sd. | 46 | 148 | 1.6518 | 34.6098 | 0.13856
27 | 48 | 149 | 27.5577 | 51.6957 | 2.4222
27 | 48 | 150 | 27.3592 | 51.614 | 2.4286
27 | 48 | 151 | 26.9685 | 52.8871 | 2.3537
27 | 48 | 152 | 27.0103 | 51.5355 | 2.4278
27 | 48 | 153 | 26.8357 | 50.7777 | 2.4072
27 | 48 | 154 | 26.7332 | 49.4296 | 2.3729
27 | 48 | 155 | 26.6788 | 48.6743 | 2.359
27 | 48 | 156 | 27.297 | 49.0173 | 2.4264
27 | 48 | 157 | 27.8429 | 49.2754 | 2.4734
27 | 48 | 158 | 26.1548 | 48.6904 | 2.3918
27 | 48 | 159 | 24.4885 | 48.1061 | 2.3846
27 | 48 | 160 | 22.6755 | 48.1961 | 2.1465
27 | 48 | 161 | 19.4595 | 44.8348 | 1.8666
27 | 48 | 162 | 11.6029 | 41.6042 | 1.2453
27 | 48 | 163 | 0.37841 | 45.1297 | 0.39133
2 | 51 | 164 | 27.3179 | 55.8097 | 2.5405
2 | 51 | 165 | 27.239 | 55.8069 | 2.4867
2 | 51 | 166 | 27.1359 | 54.5299 | 2.2468
2 | 51 | 167 | 26.9126 | 52.7426 | 2.2943
2 | 51 | 168 | 26.9543 | 51.2946 | 2.1859
2 | 51 | 169 | 27.1646 | 49.6762 | 2.3926
2 | 51 | 170 | 27.2303 | 48.0575 | 2.3081
2 | 51 | 171 | 28.4984 | 47.1184 | 2.3522
2 | 51 | 172 | 25.893 | 47.1139 | 2.3862
2 | 51 | 173 | 24.7302 | 49.83 | 2.2338
2 | 51 | 174 | 23.8804 | 49.911 | 2.1524
2 | 51 | 175 | 15.2265 | 39.6219 | 1.5234
2 | 51 | 176 | 0.83981 | 21.4265 | 0.38462
2 | 51 | 177 | 0.051328 | 31.977 | 0.23716
3 | 56 | 178 | 27.7731 | 56.9142 | 2.4746
3 | 56 | 179 | 27.2609 | 56.8267 | 2.5218
3 | 56 | 180 | 27.3514 | 57.249 | 2.458
3 | 56 | 181 | 26.6946 | 53.5078 | 2.5221
3 | 56 | 182 | 27.0504 | 52.5698 | 2.4111
3 | 56 | 183 | 26.9481 | 50.9516 | 2.3876
3 | 56 | 184 | 26.4846 | 48.8231 | 2.4012
3 | 56 | 185 | 27.3216 | 48.8189 | 2.3642
3 | 56 | 186 | 27.436 | 47.1997 | 2.3576
3 | 56 | 187 | 27.3098 | 50.5961 | 2.3779
3 | 56 | 188 | 24.4624 | 50.252 | 2.1988
3 | 56 | 189 | 24.168 | 49.9928 | 2.1345
3 | 56 | 190 | 11.9356 | 34.0139 | 1.2758
3 | 56 | 191 | 0.39576 | 16.9513 | 0.30093
3 | 56 | 192 | 0.051352 | 23.1265 | 0.25872
6 | 62 | 193 | 27.5599 | 58.7779 | 2.5229
6 | 62 | 194 | 27.5055 | 56.9909 | 2.3849
6 | 62 | 195 | 27.4991 | 56.053 | 2.2701
6 | 62 | 196 | 28.0461 | 50.6945 | 2.2127
6 | 62 | 197 | 27.4623 | 53.4106 | 2.3449
6 | 62 | 198 | 26.3731 | 51.876 | 2.2841
6 | 62 | 199 | 23.5951 | 50.171 | 1.9001
6 | 62 | 200 | 22.2136 | 48.9758 | 2.0399
6 | 62 | 201 | 19.2572 | 43.9546 | 1.7567
6 | 62 | 202 | 8.5112 | 26.3784 | 1.054
6 | 62 | 203 | 0.051387 | 7.8182 | 0.2653
9 | 65 | 204 | 27.7149 | 68.327 | 2.4511
9 | 65 | 205 | 27.6629 | 63.6489 | 2.6246
9 | 65 | 206 | 27.4217 | 49.8342 | 2.427
9 | 65 | 207 | 27.7008 | 50.5918 | 2.3996
9 | 65 | 208 | 27.8848 | 49.1512 | 2.4096
9 | 65 | 209 | 26.4173 | 52.4454 | 2.263
9 | 65 | 210 | 23.6012 | 50.4969 | 2.1129
9 | 65 | 211 | 22.1789 | 49.1413 | 2.0105
9 | 65 | 212 | 17.9001 | 44.5787 | 1.7004
9 | 65 | 213 | 10.2298 | 34.3817 | 1.159
12 | 68 | 214 | 27.4818 | 60.932 | 2.5453
12 | 68 | 215 | 27.5021 | 58.1231 | 2.44
12 | 68 | 216 | 27.3091 | 56.5904 | 2.4873
12 | 68 | 217 | 27.3295 | 55.8224 | 2.4872
12 | 68 | 218 | 27.1844 | 54.037 | 2.4463
12 | 68 | 219 | 27.323 | 52.1682 | 2.4156
12 | 68 | 220 | 27.5794 | 51.4867 | 2.4222
12 | 68 | 221 | 28.0475 | 50.4668 | 2.4085
12 | 68 | 222 | 28.1378 | 51.3949 | 2.4355
12 | 68 | 223 | 27.2154 | 52.4077 | 2.313
12 | 68 | 224 | 25.4206 | 51.8111 | 2.2381
12 | 68 | 225 | 24.3326 | 51.5535 | 2.0951
12 | 68 | 226 | 15.6794 | 39.38 | 1.5028
12 | 68 | 227 | 2.3937 | 12.9575 | 0.41584
12 | 68 | 228 | 0.024344 | 5.7842 | 0.15329
14 | 70 | 229 | 28.1235 | 62.4548 | 2.6297
14 | 70 | 230 | 27.3376 | 62.3617 | 2.599
14 | 70 | 231 | 27.2632 | 58.7004 | 2.5105
14 | 70 | 232 | 27.5678 | 57.7594 | 2.5714
14 | 70 | 233 | 27.2332 | 56.6493 | 2.4659
14 | 70 | 234 | 27.6791 | 52.8281 | 2.3671
14 | 70 | 235 | 27.6993 | 51.2977 | 2.4722
14 | 70 | 236 | 28.0025 | 50.6147 | 2.1692
14 | 70 | 237 | 28.1165 | 52.471 | 2.4683
14 | 70 | 238 | 26.1794 | 51.7032 | 2.2945
14 | 70 | 239 | 24.2162 | 50.6821 | 2.1239
14 | 70 | 240 | 21.918 | 48.7319 | 2.0146
14 | 70 | 241 | 9.3552 | 30.9403 | 1.0237
14 | 70 | 242 | 1.9526 | 17.5768 | 0.45549
14 | 70 | 243 | 1.2465 | 15.7345 | 0.48248
16 | 72 | 244 | 25.1284 | 55.05 | 2.4803
16 | 72 | 245 | 26.9282 | 57.6709 | 2.48
16 | 72 | 246 | 27.3266 | 54.7782 | 2.4627
16 | 72 | 247 | 26.0927 | 50.281 | 2.5031
16 | 72 | 248 | 24.7645 | 47.1442 | 2.4008
16 | 72 | 249 | 26.5353 | 56.5314 | 2.363
16 | 72 | 250 | 21.1339 | 51.1889 | 1.835
16 | 72 | 251 | 17.4915 | 44.9283 | 1.4702
16 | 72 | 252 | 12.392 | 34.8079 | 1.3879
16 | 72 | 253 | 9.7467 | 31.6918 | 0.93828

## turb corrections
Cruise 9920: Georgia Strait, August, 1999. Nutrient Data.
Corrections due to turbidity in Phosphate and Silicate channels
Turbidity of the sample was measured on the autoanalyzer relative to a DMQ baseline.
A correction for salinity was applied from predetermined data, and the total turbidity has been added to
the reported data.
Silicate |  |  |  | zero value: | 1.46
1.5511
1.633
1.6218
|  |  |  | avg zero: | 1.5665
| sample | Salinity | measured | salt corr | partic | turb
| 94 | 23.8 | 0.71873 | 0.26892 | 0.58235 | 0.85127
| zero | 34 | 1.5511 | 0 | 0.018933 | 0.018933
| 93 | 24.7 | 1.2127 | 0.22518 | 0.13211 | 0.35729
| 106 | 24.8 | 1.3747 | 0.22032 | -0.025023 | 0.1953
| 120 | 21.2 | 0.95258 | 0.39528 | 0.22214 | 0.61742
| 119 | 24.7 | 1.3 | 0.22518 | 0.044802 | 0.26998
| 134 | 15.7 | 0.70988 | 0.66258 | 0.19754 | 0.86012
| 133 | 26.7 | 1.3709 |  | 0.19907 | 0.19907
| 148 | 3.09 | 0.1355 | 1.2754 | 0.15907 | 1.4345
| 147 | 15.6 | 0.63402 | 0.66744 | 0.26854 | 0.93598
| zero |  | 1.633 | 0 | -0.063001 | -0.063001
| 163 | 15.4 | 0.88112 |  | 0.68888 | 0.68888
| 162 | 20.5 | 1.2966 | 0.4293 | -0.1559 | 0.2734
| 177 | 19.4 | 0.96156 | 0.48276 | 0.12568 | 0.60844
| 176 | 22.4 | 1.2937 | 0.33696 | -0.060697 | 0.27626
| 192 | 20.4 | 1.2089 |  | 0.36112 | 0.36112
| 191 | 21.9 | 1.2074 | 0.36126 | 0.001305 | 0.36257
| 190 | 23.8 | 1.5398 | 0.26892 | -0.2387 | 0.03022
| zero |  | 1.6218 | 0 | -0.051836 | -0.051836
| 203 | 22.8 | 1.2031 |  | 0.3669 | 0.3669
| 228 | 22.3 | 1.2017 |  | 0.36834 | 0.36834
| 227 | 22.8 | 1.3014 |  | 0.26864 | 0.26864
| 243 | 23.3 | 1.2144 |  | 0.35561 | 0.35561
| 242 | 23.5 | 1.2108 |  | 0.35922 | 0.35922
| zero |  | 1.4575 | 0 | 0.11251 | 0.11251
PO4 | [6 empty] | salinity | salt factor
|  | zero value | 0.0070151 |  |  |  | 15 | 0.007
|  |  | 0.0033515 |  |  |  | 10 | 0.016
|  |  | 0.0031124 |  |  |  | 13 | 0.01
|  |  | 0.0029331 |  |  |  | 12 | 0.012
|  | avg zero: | 0.004103 |  |  |  | 11 | 0.014
[7 empty] | 5 | 0.029
sample | measured | Salinity | salt corr | partic | turb
94 | 0.0034013 | 23.8 | 0.0006752 | 2.3492e-05 | 0.00069869
zero | 0.0070151 | 34 | 0.00908 | -0.011995 | -0.0029151
93 | 0.0069862 | 24.7 | 0.0007472 | -0.0036334 | -0.0028862
106 | 0.0035607 | 24.8 | 0.0007632 | -0.00022387 | 0.00053933
120 | 0.010328 | 21.2 | 0.0011952 | -0.0074229 | -0.0062277
119 | 0.0307 | 24.7 | 0.0007472 | -0.027347 | -0.0266
134 | 0.013675 | 15.7 | 0.0058592 | -0.015434 | -0.0095746
133 | 0.0034411 | 26.7 | 0.0013712 | -0.00071233 | 0.00065887
148 | 0.0034112 | 3.09 | 0.034822 | -0.034133 | 0.00068876
147 | 0.023813 | 15.6 | 0.0059888 | -0.025702 | -0.019713
zero | 0.0033515 |  | 0.0458 | -0.045051 | 0.00074853
163 | 0.054442 | 15.4 | 0.0062528 | -0.056595 | -0.050342
162 | 0.020339 | 20.5 | 0.00152 | -0.017759 | -0.016239
177 | 0.013494 | 19.4 | 0.0021888 | -0.011583 | -0.0093944
176 | 0.010056 | 22.4 | 0.0008208 | -0.0067772 | -0.0059564
192 | 0.0066157 | 20.4 | 0.0015728 | -0.0040885 | -0.0025157
191 | 0.0065872 | 21.9 | 0.0009488 | -0.003436 | -0.0024872
190 | 0.0065587 | 23.8 | 0.0006752 | -0.0031339 | -0.0024587
zero | 0.0031124 |  | 0.0458 | -0.044812 | 0.00098761
203 | 0.0099208 | 22.8 | 0.0007472 | -0.006568 | -0.0058208
228 | 0.013314 | 22.3 | 0.0008432 | -0.010057 | -0.0092141
227 | 0.0098665 | 22.8 | 0.0007472 | -0.0065137 | -0.0057665
243 | 0.0098394 | 23.3 | 0.0006912 | -0.0064306 | -0.0057394
242 | 0.016661 | 23.5 | 0.00068 | -0.013241 | -0.012561
zero | 0.0029331 |  | 0.0458 | -0.044633 | 0.0011669

## var. of samples
Variability of remeasured samples (machine consistency)
Nitrate
|  | n1 | N2 | N1-n2 | (n1-n2)^2
| 26 | 19.1467 | 19.0653 | 0.08137 | 0.0066211
| 25 | 19.5049 | 19.4264 | 0.07853 | 0.006167
| 24 | 20.8109 | 20.93 | -0.11911 | 0.014187
| 23 | 21.3126 | 21.4584 | -0.14587 | 0.021278
| 22 | 21.9808 | 22.0109 | -0.03009 | 0.00090541
| 21 | 27.4321 | 27.5047 | -0.07263 | 0.0052751
| 20 | 26.3655 | 26.3142 | 0.05132 | 0.0026337
| 19 | 30.8602 | 30.6714 | 0.18882 | 0.035653
| 18 | 33.3108 | 33.2392 | 0.07164 | 0.0051323
| 17 | 34.5193 | 34.3219 | 0.19742 | 0.038975
| 16 | 35.1771 | 34.9968 | 0.18025 | 0.03249
| 15 | 35.2345 | 35.192 | 0.04249 | 0.0018054
| 14 | 35.3401 | 35.1233 | 0.21678 | 0.046994
| 38 | 23.106 | 22.8553 | 0.2507 | 0.06285
| 37 | 24.079 | 23.6213 | 0.45765 | 0.20944
| 36 | 24.3591 | 23.9152 | 0.44399 | 0.19713
| 35 | 25.24 | 24.9916 | 0.24844 | 0.061722
| 34 | 25.3542 | 25.1449 | 0.20929 | 0.043802
| 33 | 28.235 | 28.1739 | 0.0611 | 0.0037332
| 32 | 32.8079 | 32.5032 | 0.30468 | 0.09283
| 31 | 33.5354 | 33.5722 | -0.03676 | 0.0013513
| 30 | 35.665 | 35.6273 | 0.0377 | 0.0014213
| 29 | 35.5091 | 35.5516 | -0.04248 | 0.0018046
| 28 | 35.8757 | 35.6919 | 0.18377 | 0.033771
| 27 | 35.3405 | 35.5919 | -0.25144 | 0.063222
|  |  |  | sum of squared differences | 0.9912
|  |  |  | no of pairs | 25
|  |  |  | pooled deviation | 0.1408
Silicate
|  | S1 | S2 | S1-S2 | (S1-S2)^2
| 26 | 37.0906 | 36.6289 | 0.4617 | 0.21317
| 25 | 37.3314 | 36.9788 | 0.35258 | 0.12431
| 24 | 38.5828 | 38.3395 | 0.24324 | 0.059166
| 23 | 38.9915 | 38.8586 | 0.13295 | 0.017676
| 22 | 39.737 | 39.5465 | 0.19051 | 0.036294
| 21 | 46.4657 | 46.0552 | 0.41054 | 0.16854
| 20 | 39.2909 | 39.0682 | 0.22271 | 0.0496
| 19 | 44.3306 | 43.9753 | 0.35532 | 0.12625
| 18 | 49.9646 | 49.901 | 0.06356 | 0.0040399
| 17 | 53.3246 | 53.8885 | -0.56391 | 0.31799
| 16 | 56.095 | 56.272 | -0.17699 | 0.031325
| 15 | 56.248 | 56.204 | 0.04403 | 0.0019386
| 14 | 56.4011 | 56.3898 | 0.01134 | 0.0001286
| 38 | 40.5819 | 40.5485 | 0.03341 | 0.0011162
| 37 | 41.778 | 41.4511 | 0.32688 | 0.10685
| 36 | 41.7026 | 41.5092 | 0.19348 | 0.037435
| 35 | 44.2561 | 43.1709 | 1.0852 | 1.1776
| 34 | 41.3823 | 41.2004 | 0.18188 | 0.03308
| 33 | 44.6995 | 44.5489 | 0.15056 | 0.022668
| 32 | 51.6436 | 51.0219 | 0.62173 | 0.38655
| 31 | 52.8104 | 52.3417 | 0.46873 | 0.21971
| 30 | 56.3681 | 55.9424 | 0.42572 | 0.18124
| 29 | 56.7578 | 56.1623 | 0.59556 | 0.35469
| 28 | 56.6347 | 56.2131 | 0.42164 | 0.17778
| 27 | 56.5119 | 56.2638 | 0.24802 | 0.061514
|  |  |  | sum of squared differences | 3.9107
|  |  |  | no of pairs | 25
|  |  |  | pooled deviation | 0.27967
Identification of Outlying Data in Glass Tubes:
|  | P1(Glass) | P2 (Plastic) | P1-P2
| 26 | 1.7195 | 1.9186 | -0.19918
| 25 | 1.7184 | 1.8207 | -0.10225
| 24 | 2.1925 | 1.9097 | 0.28282
| 23 | 1.8448 | 1.9171 | -0.072379
| 22 | 1.8302 | 1.9551 | -0.12489
| 21 | 2.1563 | 2.2833 | -0.12705
| 20 | 2.0139 | 2.1392 | -0.12528
| 19 | 2.3122 | 2.3753 | -0.063083
| 18 | 2.4519 | 2.5764 | -0.12453
| 17 | 2.6244 | 2.6304 | -0.005939
| 16 | 2.5234 | 2.7273 | -0.20394
| 15 | 2.6323 | 2.7247 | -0.092386
| 14 | 2.6977 | 2.7486 | -0.050873
| 38 | 1.9238 | 1.9692 | -0.045434
| 37 | 1.9839 | 2.0353 | -0.051442
| 36 | 1.9731 | 2.0506 | -0.077443
| 35 | 2.0938 | 2.1267 | -0.032841
| 34 | 2.1235 | 2.152 | -0.028509
| 33 | 2.0792 | 2.3421 | -0.26294
| 32 | 2.4846 | 2.5073 | -0.022778
| 31 | 2.3266 | 2.5958 | -0.26918
| 30 | 2.65 | 2.6675 | -0.017489
| 29 | 2.4693 | 2.6923 | -0.223
| 28 | 2.3985 | 2.7138 | -0.31529
| 27 | 2.6877 | 2.6687 | 0.019044
Note that all of the plastic samples are higher than the glass ones (except #24). Is this through some contamination in the cleaning process?
No. 24 must have had some of the water escape through the loose lid.
Average decrease of phosphate in glass tube:
-0.09345

## var. of unknown
Cruise 9920: Georgia Strait, August, 1999. Nutrient Data.
Variability of an unknown sample measured periodically throughout the analysis period.
The unknown was a sample of water taken from 125m at station P4, June, 1999.
date |  | nitrate | silicate | phosphate
991103 | P4 | 27.0502 | 39.2871 | 2.0139
991104 | P4 | 26.7817 | 38.9706 | 1.9939
| P4 | 26.5224 | 38.5787 | 2.0193
| P4 | 24.5059 | 38.1831 | 1.9937
991105 | P4 | 27.2047 | 39.5915 | 2.029
991108 | P4 | 27.2451 | 39.6245 | 1.9885
mean |  | 26.5517 | 39.0393 | 2.0064
std dev |  | 1.0387 | 0.57596 | 0.016556
expected |  | 29.9 | 38.7 | 2.16
%diff from exp |  | -11.1984 | 0.87663 | -7.1113
Standard deviation among unknowns is low for silicate and phosphate. The nutrient content of the water, since it was
collected in June, 1999 (the 'expected' value), is slowly decreasing.
Since no duplicate samples were taken, there is no measure of variability between samples. Those
samples which were remeasured indicate the machine variability, which is low.