## Final Data 1999-21
Iron III Data for Cruise 1999-21 | [26 empty] | For Graphing:
Cruise: | [6 empty] | 1999-21
Ship | [6 empty] | CCGS John P Tully
Dates | [6 empty] | Aug 24 - Sep 14, 1999
Chief Scientist | [6 empty] | Frank Whitney
Iron Analyst |  |  |  | IOS: |  |  | No Iron Analyst on board, samples taken by David Crawford, Southampton Oceanography Centre
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
Note: Sampling not by IOS, much sampling detail missing.
[9 empty] | GF= goflo |  | Sample_Number | Depth | Iron:Filtered:Buffered 0.45u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB |  | Salinity | Salinity flag | Nitrate | Nitrate flag | Silicate | Silicate flag | Phosphate | Phosphate flag
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB 0.45 | FB | UFB | UFB | Analysis Comments | Sal |  | NO3 |  | Si |  | PO4
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | Flag | uM | Flag | uM | Flag | uM | Flag
1999-08-25 |  | 8001 | 48 39 | N | 126 40 | W | P04 |  | ? |  |  | 10 | 0.13902 |  | 0.3257
1999-08-25 |  | 8001 | 48 39 | N | 126 40 | W | P04 |  | ? |  |  | 40 | 0.1962 |  | 0.21181
1999-08-25 |  | 8001 | 48 39 | N | 126 40 | W | P04 |  | GF30 | Wilbur |  | 100 | 0.24315 |  | 1.4121 | 4 | 4: >> high std (>0.8nM)
1999-08-25 |  | 8001 | 48 39 | N | 126 40 | W | P04 |  | GF30 | Wilma |  | 200 | 1.5338 |  | 8.7368
1999-08-27 |  | 8002 | 49 58.2 | N | 130 40. | W | P12 |  | ? |  |  | 10 | 0.060923 |  | 0.11343
1999-08-27 |  | 8002 | 49 58.2 | N | 130 40. | W | P12 |  | ? |  |  | 40 | 0.096729 |  | 0.056937
1999-08-29 |  | 8003 | 49 17 | N | 134 40 | W | P16 |  | ? |  |  | 10 | 0.069864 |  | 0.10914
1999-08-29 |  | 8003 | 49 17 | N | 134 40 | W | P16 |  | ? |  |  | 40 | 0.053219 |  | 0.06593
1999-08-29 |  | 8003 | 49 17 | N | 134 40 | W | P16 |  | GF30 | Wilbur |  | 100 | 0.098579 |  | 0.1368
1999-08-29 |  | 8003 | 49 17 | N | 134 40 | W | P16 |  | GF30 | Wilma |  | 200 | 0.17895 |  | 0.2637
1999-08-30 |  | 8004 | 49 34 | N | 138 40 | W | P20 |  | ? |  |  | 10 | 0.070111 |  | 0.054348
1999-08-30 |  | 8004 | 49 34 | N | 138 40 | W | P20 |  | ? |  |  | 40 | 0.056901 |  | 0.05376
1999-08-30 |  | 8004 | 49 34 | N | 138 40 | W | P20 |  | GF30 | Wilbur |  | 100 | 0.057001 |  | 0.083346
1999-08-30 |  | 8004 | 49 34 | N | 138 40 | W | P20 |  | GF30 | Wilma |  | 200 | 0.29236 |  | 0.76032
1999-09-01 |  | 8005 | 50 00. | N | 145 00. | W | P26 |  | ? |  |  | 10 | 0.09319 |  | 0.063165
1999-09-01 |  | 8005 | 50 00. | N | 145 00. | W | P26 |  | ? |  |  | 40 | 0.144 |  | 0.033189
1999-09-01 |  | 8005 | 50 00. | N | 145 00. | W | P26 |  | GF30 | Wilbur |  | 100 | 0.19231 |  | 0.33538
1999-09-01 |  | 8005 | 50 00. | N | 145 00. | W | P26 |  | GF30 | Wilma |  | 200 | 0.22685 |  | 0.4007
1999-09-04 |  | 8006 | 52 39. | N | 145 00. | W | Z04 |  | ? |  |  | 10 | 0.054903 |  | 0.045539
1999-09-04 |  | 8006 | 52 39. | N | 145 00. | W | Z04 |  | ? |  |  | 40 | 0.049186 |  | 0.035173
1999-09-04 |  | 8006 | 52 39. | N | 145 00. | W | Z04 |  | GF30 | Wilbur |  | 100 | 0.063564 |  | 0.12331
1999-09-04 |  | 8006 | 52 39. | N | 145 00. | W | Z04 |  | GF30 | Wilma |  | 200 | 0.19419 |  | 0.33669
1999-09-05 |  | 8007 | 55 00. | N | 145 00. | W | Z09 |  | ? |  |  | 10 | 0.10475 |  | 0.078496
1999-09-05 |  | 8007 | 55 00. | N | 145 00. | W | Z09 |  | ? |  |  | 40 |  | 5 | 0.049492 |  | 5: obvious contamination
1999-09-05 |  | 8007 | 55 00. | N | 145 00. | W | Z09 |  | GF30 | Wilbur |  | 100 | 0.11953 |  | 0.34289
1999-09-05 |  | 8007 | 55 00. | N | 145 00. | W | Z09 |  | GF30 | Wilma |  | 200 | 0.34728 |  | 0.43999
1999-09-06 |  | 8008 | 57 30. | N | 145 00. | W | Z14 |  | ? |  |  | 10 | 0.1545 |  | 0.98613 | 3 | 3: ~>high std (0.8)
1999-09-06 |  | 8008 | 57 30. | N | 145 00. | W | Z14 |  | ? |  |  | 40 | 0.40107 |  | 19.2808
1999-09-06 |  | 8008 | 57 30. | N | 145 00. | W | Z14 |  | GF30 | Wilbur |  | 100 | 0.63939 |  | 34.9247
1999-09-06 |  | 8008 | 57 30. | N | 145 00. | W | Z14 |  | GF30 | Wilma |  | 200 | 1.293 |  | 10.9036
1999-09-08 |  | 8009 | 59 26.3 | N | 145 00. | W | Z19 |  | ? |  |  | 10 | 0.65389 |  | 25.5162 | [10 empty] | 25.5162
1999-09-08 |  | 8009 | 59 26.3 | N | 145 00. | W | Z19 |  | ? |  |  | 40 | 1.6787 | 4 | 39.5196 |  | 4: <<lowest std (<<6.4 nM) | [8 empty] | 39.5196
1999-09-08 |  | 8009 | 59 26.3 | N | 145 00. | W | Z19 |  | GF30 | Wilbur |  | 100 | 2.8356 | 4 | >>70 | 4 | 4FB: <<lowest std (<<6.4 nM); 4UFB: >> high std(70nM), not calculable | [8 empty] | 150
1999-09-08 |  | 8009 | 59 26.3 | N | 145 00. | W | Z19 |  | GF30 | Wilma |  | 200 | 2.0338 | 4 | 33.3223 |  | 4: <<lowest std (<<6.4 nM) | [8 empty] | 33.3223

## Metadata
Metadata for Iron III Data for Cruise 1999-21 | [6 empty] | For Graphing:
Cruise: |  |  | 1999-21
Ship |  |  | CCGS John P Tully
Dates |  |  | Aug 24 - Sep 14, 1999
Chief Scientist |  |  | Frank Whitney
Iron Analyst |  |  | No Iron Analyst on board, samples taken by David Crawford, Southampton Oceanography Centre
As the iron could not be analysed onboard this cruise, the objective of the iron team was limited to abbreviated collection of seawater samples for Iron(III) at regularly monitored stations along Line P, as well as Line Z
Some support was also provided for incubation experiments by UBC students, collected during the cruise
All samples were analysed as soon as possible after the ship returned to IOS
Sample Collection:
Iron(III) samples were collected by 30L GoFlos (GF named Wilbur and Wilma) on a Kevlar line spooled over a Delrin block (10-200m).
LDPE bottles had been previously acid cleaned to Geotraces standards. Filtration was through 0.45u Opti Duropore cartridge direct from the pump or Goflos
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and nomenclature.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach, measured onboard, as well as a strongly acidic leach measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours; thought to be immediate bioavailable iron
Unfortunately iron could not be analysed onboard within 2 hours of buffering to 3.2. The samples were treated with buffer, as acidification prevents iron from sticking to the wall,
and so they sat until analysed on shore, within four to seven weeks of collection. From storage tests, we have found that with a long waiting period, more iron is released from particulate matter, especially
in unfiltered buffered nearshore stations (P4, Z14&Z19); whereas very little effect of storage time is noted for offshore filtered buffered samples.
Select samples from Cruise 1999-10 and 1998-15 were re-analysed, after 3 and 15 months, respectively - filtered samples and offshore unfiltered samples showed no significant change,
but nearshore UFB samples at Z19 (1998) rose significantly, 2-3 times.
This results in data that may not be directly comparable to previous or subsequent Line P cruises.
| Iron:Filtered:Buffered |  | FB | Filtered, buffered sample, also called dissolved Fe - in this cruise, 0.45u filters were used
|  |  |  | FB0.45u | 0.45u Opti Duropore cartridge Filter
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
For info only:
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, only filtered and unfiltered buffered samples (FB & UFB) were collected.
See comments above under Sample treatment/Buffered sample analysis!
Sample Analysis:
Samples were analysed at IOS using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
FB and UFB samples are buffered and then run within ~2 hours; however, on this cruise, samples could not be analysed onboard. Instead they were buffered and brought back to the IOS lab and analysed over a period of 4-7 weeks following collection.
Station Z19 was very near the coast of Alaska, and had high unfiltered (UFB) iron concentrations, that required very small preconcentration times, and for some samples, required the additional step of lowering the PMT voltage
in order to find a suitable range for analysis. However for Z19 100m, these steps were not enough, the sample should have been diluted to fall in the range, but was not.
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR FeCl3 in dilute HCl sol'n, certified at 1007ppm. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected from Stn Papa in previous cruises
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC Samples & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
As might be expected, samples with high Fe content, >2nmol, the majority of which are unfiltered, tend to be more variable than filtered, possibly due to unequal particulate loading. These have been separated out, as in this
cruise they include only samples >10nM, which would markedly skew the pooled data.
Replicate Analysis within a Sample Bottle
|  | All samples (<1nM): |  |  | Sample >10nM:
Pooled Variance (sp): |  | 0.006413 |  |  | 0.61898
Detection Limit: |  | 0.019239
Average Fe: |  | 0.26062 |  |  | 30.5127
Sum d^2: |  | 0.001316 |  |  | 3.8314
Rsp% |  | 2.4607 |  |  | 2.0286
n: |  | 16 |  |  | 5
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. For this analysis, a stock of seawater combined from previous analysed filtered buffered samples was used.
Avg: |  | 0.50102
Stdev: |  | 0.044887
n: |  | 6
n:
1999-09-21 |  | 0.49286 | 2
1999-09-22 |  | 0.46886
1999-09-23 |  | 0.44067 | 2
1999-10-07 |  | 0.57
1999-10-08 |  | 0.52281 | 2
1999-10-12 |  | 0.51091 | 2
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In this cruise, low iron seawater was run through the resin column and collected for use as zero water. It is referred to as "rc0" or resin-cleaned zero water, and its response is subtracted from samples for the instrument correction.
This zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but corrected with the zero blank to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for rc0 and Standards 0 . Note that Std 0 reflects the concentration of the low iron seawater used for std addition.
The average blank for the standard seawater was 0.02 +/- 0.01nM Fe
| Date | Standard rc0: |  |  | Standard 0:
|  | Time | Fe(III) |  | Time | Fe(III)
Average: |  |  | 0 |  |  | 0.02406
Stdev: | [5 empty] | 0.0099242
DL: | [5 empty] | 0.029772
Count: |  |  | 1 |  |  | 9
%RSD: | [5 empty] | 41.2467
| 1999-09-21 | 240s | 0 |  | 1240 | 0.020129
| 1999-09-22 | 240s |  |  | 1229 | 0.013485
[5 empty] | 1248 | 0.017697
[5 empty] | 1307 | 0.018881
| 1999-09-23 | 240s |  |  | 1328 | 0.013212
topped up SW carboy | 1999-10-07 | 240s |  |  | 1241 | 0.035456
[5 empty] | 1301 | 0.03748
[5 empty] | 1319 | 0.036908
| 1999-10-08 | 240s |  |  | 1216 | 0.023298
| 1999-10-12 | 60s
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
The standard deviation of the blanks can be used instead to determine DL : in this case, for Seawater calibration stock, DL~0.03nM
However, as there were numerous very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
For this cruise there were not many samples <0.2nmol, therefore used stats for <1nM, DL is ~0.02nM
| Avg: | 0.26062
| n: | 16
| sp: | 0.006413
| DL: | 0.019239
Overall Detection Limit ~0.02-0.03nM

## LineZ UFB
>>70nM