## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 26-Jan-2004 | CFCs and O18 data was added to the rosette files by Mary O’Brien. |

# PROCESSING NOTES

## Cruise: 9924

Agency: IOS

Project: Arctic Archipelago

Geographic Area: Arctic Archipelago

Scientific Party Chief: Fiona McLaughlin

Platform: CCGS Laurier

Date of Cruise: 26 August 1999 – 20 September 1999

Processed by: Germaine Gatien

Date of Processing: 3 February 2000 – 26 May 2000

Number of original casts: 92

Number of casts processed:  86

# INSTRUMENT SUMMARY

## Two CTDs were used during this cruise: a Guildline 8715 / SN# 43825 and a SeaBird SBE-19/SN# 2688 were mounted together.

# SUMMARY OF QUALITY AND CONCERNS

There are many problems with the temperature data. The problems appeared as shifted values, either single or in groups, and were probably associated with a malfunction of the Range/Suppression encoding of temperature by the A/D converter in the CTD. Every cast needed editing to remove such bad points.

# PROCESSING SUMMARY - GUILDLINE ONLY

1. PRELIMINARY STEPS

The data files ( *.acq and *.hdr) were obtained. The Log Book was obtained and note was made of problems that occurred during the cruise. The cruise summary sheet and calibration sheet were completed. The consecutive numbers found in the log do not correspond to the event numbers and cast names. By matching times, station names, positions and depths a table (9924cast.xls) was prepared linking the two sets of numbers. There remains some slight doubt about cast 99240017.

The header summary, header check and cruise track plot were examined. Many errors were found in the headers and the following corrections were made:

wrong times for casts #14 – 50. The time is stated to be UTC but is not; the CTD log was used to correct the times.

wrong positions for casts 31-33, 37, 54-57,70-74, 69, 109, 110.

no header files for casts 46 and 86; headers were created by copying other headers and editing the positions, times etc to match the CTD log.

wrong station names for casts 61-63.

format error in depth for cast 76.

Analysis of the pressure calibration and checks for hysteresis is hampered by the lack of zero reference pressures. The CTD was apparently turned on and off in the water. The CTD was held at the surface for some time for equilibration and a few data points were found when the CTD came very close to the surface judging by the near-zero conductivity. There were also a few casts where near-zero conductivity values were found in the upcasts. For this cruise these near-suface downcasts had pressures of about –0.1db and upcasts about –0.4db. The surface check for all casts after pressure spikes were removed found an average 0.5db, but the CTD sensors were probably about a metre below the surface when these values were recorded. One cast during 9923 recorded values with extremely low salinity at -0.1db on the upcast. A check of 9925 suggests about 0.0 to -0.3db on the upcasts with the larger errors associated with lower temperatures. There do not appear to be large problems with the pressure in either absolute value or hysteresis, but it is likely that the pressures are low so a recalibration will be done to increase pressures by 0.5db. The pressures should be considered to be within +/-0.5db.

2. CONVERSION

The data was converted using the IOS SHELL program ACQCONV. There was no useful data for casts 24,30,31,32,33.

3. CALIBRATION

There are pre-cruise and post-cruise calibrations available for temperature for this CTD,  pre-cruise calibrations for conductivity and post-cruise calibrations for pressure. File 9923cal.ccf contains pre-cruise calibrations for T and C, post-cruise calibrations for P.

4. VIEW EDIT

The calibrated data was full of spikes. A first attempt at using SIMPLE DESPIKE proved unsatisfactory, producing large steps in the data. These arose because very steep natural gradients in C and T in the seasonal pycnocline could not be distinguished automatically from erroneous data spikes.

VIEW EDIT was used to clean pressure, temperature and conductivity channels. Auto-despiking removed some of the bad data including most problems in conductivity. However, the temperature record was corrupted by bad points that tended to come in small groups where the sensor seemed to get stuck for a few records (typically 5-10 points); these had to be interpolated individually in a very time-consuming process.

Following VIEW EDIT the files were put through CLEAN to update the headers and then DERIVED QUANTITIES was used to recalculate salinity. Several runs were sometimes required for this process. Plots of T, S, P and C versus record # were produced to determine when editing was satisfactory. All casts were run through Time Compensation and Delete and Page Plots produced to check editing as well. For many cast further editing was needed so VIEW EDIT was used a second time (and occasionally a third time). There remained much bad data in surface records and some bad data at greater depth. These will be cleaned after the Time Compensation step by removing bad surface records and editing salinity for deeper noise.

Profiles of T and S (DQT files) were examined on screen to check that the up and down casts are similar. Casts #35, 91 and 92 were examined more closely since there were large differences.  There were a lot of spikes in the upcast data which was not edited. For casts #91 and 92 data files were checked and T and S values at 100db are very similar in the upcast and downcast and the T-S curves reasonably similar at depth. For cast #35 there are large differences at 100db but on a T-S diagram there is no significant difference; this cast was in a narrow channel.

6. TIME COMPENSATION

The following parameters were used for most casts:

Temp. probe Dist (m):   .0000  Sample period (sec):   .0400

7. REVERSE

Casts #25,74, 103,107 and 110 were put through CLEAN to fix headers and then REVERSE because the upcast data was to be used.

8. DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 20.00

Surface Swell Pressure Tolerance:  0.50

Pressure was not filtered.

Swells deleted. Warning message if pressure difference of 2.00

Drop rates<    .30m/s (calculated over 15 points) will be deleted

Sample interval =       .04 seconds.

The Delete log was examined to check that the full depth was maintained and to examine warnings. All warnings referred to the surface, the bottom or the upcast.

9. CTD EDIT

Page plots were prepared to guide editing of remaining problems.

Records were removed or salinity edited in the top 20m for casts:18,23,39,41-47,49, 51-54,56,57,60,69,71,72,75,77,78,83,88,89,99,100,104,107,110,112,114,117,188-122,124.

Salinity was edited below 20m for casts: 19,22,25-37,61,67,70,74,84-87,91,92,96-98,101,103,108,111.

Details of this editing are noted in each data file.

10. COMPARISON WITH BOTTLES

An SBE 19 was mounted with the Guildline and was used with a rosette. The bottle salinities and the pressures from which they were collected were provided by Bon van Hardenberg. The salinities from the rosette were matched with the values in the Guildline DQT files for pressures at which the temperature and salinity gradients were low (typically below 100m) to study the stability and accuracy of the instrument calibration. This information was entered into a table saved as 9924comp.xls.

The deepest value (about 600m) was rejected because the bottle salinity is lower than that at 550m; neither the Guildline CTD nor the SeaBird CTD support the idea of salinity decreasing at that depth.

Averaging the 11 bottles from 200m – 550m the Guildline CTD was found to give salinities high by 0.014psu. All differences were within +/- 0.007psu of that value.

11. OTHER INTERCOMPARISONS

Repeat Casts – Casts 88 and 89 are at the same site. From 350-450db the differences along gamma lines are less than the noise level in temperature and salinity

Casts from Amundsen Gulf were compared with each other and with historic deep values and show consistent and reasonable values at depth.

12.BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure

Averaging interval =   0.500

Minimum bin value =    .000

Average value will be used

Interpolated values are NOT used for empty bins

## 13. RECALIBRATION

Recalibration was done with file 9924rcal.ccf which lowered the salinities by 0.014psu and raised the pressure 0.5db.

14. FINAL PLOTS

Page plots were prepared using the edited data.

15.REMOVE CHANNELS

The following channel was removed from all casts: Conductivity_Ratio

16. PRODUCE FINAL FILES

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced.

### PARTICULARS

24 – No useful data; deleted.

25 – Use upcast

30,31,32,33 - No useful data; deleted.

46 – Header file missing. Dummy header file prepared with information from CTD Log.

74 – Use Upcast

86 - Header file missing. Dummy header file prepared with information from CTD Log.

103 – Use Upcast

107 – Use Upcast

110 – Use Upcast

124 – No CTD Log entry for this cast.

#### Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	9924

Dates: 	Start:	26 August 1999	 End: 20 September 1999

Location:	Arctic Archipelago

Vessel:			CCGS Laurier

Scientific Party Chief:	Fiona McLaughlin

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
|  | Guildline | 8715 | 43825 | Yes | Yes |

Institute of Ocean Sciences

CTD Calibration Information

Make/Model/Serial#:	Guildline /8715/43825

Cruise ID#:	9924

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Pressure | 113368 |  |  | Feb2000 | IOS |
| Temperature | 57915 | June 99 | IOS | 11Feb2000 | IOS |
| Conductivity | 58814 | June 99 | IOS |  | IOS |

| Calibration Coefficients |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Channel | Formula | Coefficients |  |  |  |  |  |
| Name | # | C1 | C2 | C3 | C4 | C5 | C6 |
| Temperature | 10 | .0104305 | .9999472 |  |  |  |  |
| Conductivity | 10 | .001018911 | .998756 |  |  |  |  |