## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

PROCESSING NOTES

Cruise: 9928

Agency: IOS

Project: LaPerouse/Globec/MPA/Pelagic Fish/PERD

Chief Scientist: Rick Thompson

Platform: J. P. TULLY

Date: 28 June 1999 – 9 July 1999

Processed by: Germaine Gatien

Date of Processing: 3 August 1999 – 9 September 1999

Number of original CTD casts: 142

Number of casts processed: 137

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD (#0437) was used. A Wet Labs fluorometer (#WSIS097), Seatech fluorometer (EDR8850), Seatech Transmissometer (#182D) and Par Sensor (GSP-200L4S) were mounted on the CTD.

# SUMMARY OF QUALITY AND CONCERNS

Pressure spikes were present near the surface and during upcasts for 4 casts.

The CTD began to behave erratically near the end of the cruise with some casts showing much larger differences between primary and secondary salinities than others.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.dat.

2. Preliminary Steps

The CTD Log Book, Bridge log, salinity sheets and hydro files were obtained.

The cruise summary sheet was completed.

Configuration file 0437CTD.con was prepared using the information from the con files provided with a correction to the calibration for transmissivity.

- Conversion of Raw Data

The raw data were converted (without salinity) using con file 0437ctd.con. (Later in the processing it was discovered that there were two fluorometers on some casts – the Wet Labs fluorometer data was included in the first conversion; the Sea Tech fluorometer (Chl_fluorescence) data was converted later and merged with the other data.) (The Wet Labs data is identified in the files as Chl_fluorescence2 and the Sea Tech data as Chl_fluorescence)

File 99280022.dat was empty so was deleted.

A separate conversion was done to create ROS files with salinity for those casts for which bottle salinities were collected.

4. ALIGNCTD

The primary conductivity was advanced by –0.013s and the secondary by +0.060s. The primary channel was advanced by +0.073s at sea so the net effect is to advance both channels by +0.060s. A check of cast #12 before and after alignment showed that spikes were reduced in areas of large temperature gradient.

5. WILDEDIT

Program WILDEDIT was used to remove spikes in Pressure.  Parameters used were:

Pass 1    Std Dev = 2		Pass 2    Std Dev = 5		Points per block = 50

6. CELLTM

The conductivity cell thermal mass correction was done for both channels ( = 0.025; 1/ = 7.0.) A check of cast #12 comparing up and downcasts on a T-S surface with no correction, (0.025 & 7.0) or (0.03 & 9.0) showed notable improvement with the second choice.

7. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on a selection of casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity.

8. Test Plots and Channel Check

A sample of casts (#12, 51 and 106) was plotted to check for agreement between the pairs of sensors. The temperature variations are very noisy but ignoring spikes are <0.001C° below 400db while the conductivity differences are about 0.0008 units. Salinity values varied by about –0.009psu. Primary values were higher in each case. This is similar to the differences during previous use of these sensors.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers. Casts # 120, 140, 142 and 143 needed editing before conversion was successful. Pressure spikes at the surface (<2db) were removed by replacing bad records with a copy of the previous record. The upcasts were removed because they contained many pressure spikes.

10. Checking Headers

A header summary was produced and errors corrected in station names for casts # 69, 106, 126, 127, 128 and 146-153.

The surface check was run. The average surface pressure is 1.060db.

The header check was produced. The cruise track was plotted and looks reasonable.

- DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 20.00

Surface Swell Pressure Tolerance: 1.0

Pressure filtered over width: 15

Swells deleted. Warning message if pressure difference of  2.00

Drop rates<  .3 m/s (calculated over 15 points) was deleted.

Sample interval =       .04 seconds.

The log was examined and all warnings found to pertain to the surface or upcast.

12. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure

Averaging interval = 1.000

Minimum bin value =  .000

Average value will be used

Interpolated values are NOT used for empty bins.

Cast #76 was a continuation of cast #75 so was added to cast #75 by using the IOSSHELL COMBINE routine.

A number of casts were deleted because they contained little or no data (casts #18,82,83,93.)

13. Intercomparisons

Previous experience with these sensors: All sensors were used on cruises 9910 and 9916. The data from 9910 has not yet been processed; the results of 9916 suggest that the primary salinities were high by 0.008psu and the secondary salinities low by about 0.0005psu. The secondary sensors were used during 9911 and 9906 in May 1999 when they were found to be low by 0.0003psu.

COMPARE: Hydro bottle salinities were compared with those from the CTD using the IOS SHELL routine COMPARE. The primary sensors were found to be high by 0.008psu and the secondary low by 0.0008psu.

Historic ranges: Plots were examined with historic ranges superimposed for casts #16, 45, 74, 75, 84 and 102; all fell within those bounds although the temperature from 1000-1100db was at the upper limit of the range for the two more southerly casts (16 and 45).

14. Test Plots

Profiles of all casts were examined for large differences between sets of sensors.

For casts #121 and 122 there were large differences near the surface. In the former case the CTD log notes that the pumps were not turned on until the 20db level because of low salinities. The same is probably true for #122, but the log does not say so.

Casts # 143,144,145,147 and 152 have differences in salinity on the order of 0.04psu. These casts are shallow (50m – 250m) and there are no salinity bottles to use for comparison. Comparing the salinity at 100m for casts in adjacent areas suggests that the problem is with the secondary sensors. It was decided to use the primary sensors for casts #143-153 and the salinity will be recalibrated by –0.008psu to bring it into line with the secondary salinity which will be used for casts #1-142.

Page plots were produced using T1,S1 for casts #1-142 and T0,S0 for casts #143-153. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

15. CTDEDIT

CTDEDIT was used to clean noise in S and/or T near the surface or at the bottom for the following casts: #24, 113,114,120,140,142,143,147,150,152.

CTDEDIT was used for mid-depth editing of the following casts: #7,8,9,12,26,38,57,61,64,68, 69,75,100,132,109,

Note was made of the editing details in the relevant files.

16.Recalibration

Casts #143 through 153 were recalibrated using file 9928rcal.ccf.

17. Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data.

18. REMOVE

The following channels were removed from the *.edt files for casts 1-142: Scan number, Primary Temperature, Primary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

The following channels were removed from the *.cor files for casts 143-153: Scan number, Secondary Temperature, Secondary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

The PAR sensor channel was removed from casts: 1-5,14-16,19,28,45-59,64-86,88-91,96-99,101-153.

The Wet Labs fluorometer channel was removed from casts: 12-25,64-104,112-153.

All files were named *.re1 at the end of this process.

19. Adding Channel

The Sea Tech fluorometer channel was not included in the original conversion, so a second conversion was done to obtain that channel plus pressure. This data was converted to IOS Headers, run through DELETE and BIN AVERAGE, named *.av1 and then merged with the *.re1 files from the previous step.

20. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced.

Particulars

File 99280018 – Upcast only for station LB16. Delete.

File 99280022 – A file exists (with no data in it) but the CTD Log mentions no such cast. Delete.

File 99280041 – Hit bottom. No problem seen in next cast.

File 99280075 – First part of cast at station ER01 – continued in file 99280076.

File 99280076 – Continuation of cast #75; merged with that file.

File 99280083 – upcast only. Delete

File 99280093 – upcast only. Delete

File 99280120 – editing required to remove pressure spikes near surface and in upcast (upcast records deleted).

File 99280121 – pump started at 20m because of low surface salinity

File 99280122 – no note in CTD log but looks like pump not turned on for first 50m.

File 99180129 – cast mentioned in CTD log but not present in data set

File 99280140 – editing required to remove pressure spikes near surface and in upcast (upcast records deleted).

File 99280142 – editing used to remove pressure spikes near surface and in upcast (upcast records deleted).

File 99280142 – editor was used to remove upcast records because they contained many pressure spikes.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#:	9928

Dates: 	Start: 28 June 1999 	  End:	9 July 1999

Location: West Coast Vancouver Island and Juan de Fuca Strait

Vessel:		CCGS  TULLY

Chief Scientist:	Rick Thompson

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0437 | Yes | Yes |

Institute of Ocean Sciences

CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0437

Cruise ID#:		9928

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2062 | 5 May1999 | Factory |  |  |
| Conductivity | 1748 | 5 May1999 | Factory |  |  |
| Secondary Temp. | 2142 | 13 Mar1999 | Factory |  |  |
| Secondary Cond. | 1762 | 16 Mar1999 | Factory |  |  |
| Transmissometer | 182D | 15 Mar1999 | IOS |  |  |
| SeaTech fluorometer | EDR8850 |  |  |  |  |
| Wet Labs Fluorometer | WS1S-097 | 30July1997 |  |  |  |
| PAR Sensor GSP-200L4S | 4495 |  |  |  |  |
| Pressure Sensor | 63502 | 11 Jan1996 | Factory |  |  |

Sensor Calibration Notes:

The configuration file used is attached; this includes the sensor calibrations.