File List for SeaBird Data

Cruise Number: __9929___

[work2.ctd.9929] * dsp – files provided, but not used in processing

*.zip -            “

*.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.dir - subdirectories

9929proc.doc - processing notes

9929file.doc - this document

9929cal.ccf - recalibration file

[work2.ctd.9929.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.9929.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.9929.ios]

*.avg - data after metre-averaging using BINAVE

*.cor - recalibration after COMPARE

*.ctd - final files

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo* - log files created by CTDEDIT.

Delete.log - log from routine DELETE