## Comments
Cruise 9931: Inlets, August, 1999. Nutrient Data.
File storage and data processing:
990812 | .aaz | .anz | .wk4 |  | data analyzed August 12
990815 | .aaz | .anz | .wk4 |  | data analyzed August 15
990816 | .aaz | .anz | .wk4 |  | data analyzed August 16
990817 | .aaz | .anz | .wk4 |  | data analyzed August 17
990818 | .aaz | .anz | .xls |  | data analyzed August 18
990819 | .aaz | .anz | .xls |  | data analyzed August 19
9909nutr |  |  | .xls |  | combined nutrient file
Samples were measured using an Autoanalyzer II, following the procedures outlined in Barwell-Clarke and Whitney, 1997.
Files with a .aaz extension are the original data output from the Autoanalyzer, the peaks are analyzed relative to standard
concentrations (.anz), then labelled and collated (.xls).
Water was collected in single plastic test tubes and frozen on board the ship. Samples were defrosted for about 24 h
before analysis. Lab temperature was noted periodically, and may be found
on the original data sheets; it was generally around 27 C.
Samples were inverted and shaken before analysis. Samples from 0 m were centrifuged for 15 min at 3500RPM.
Calibration
Standards used for these samples were freshly prepared from stocks, which had been compared to previously prepared standards or
commercially prepared standards.
The silicate standard (#99-8) was a 7500.3 uM solution of Na2SiF6 prepared from
preweighed chemicals on July 28, 1999. Nitrate standard, #99-2, was a 2498 uM solution
prepared on May 26, 1999. Phosphate standard #99-2, was a 250.03 uM solution of KH2PO4,
prepared on July 24, 1999. Intercomparison of the standards was done in July, 1999.
An Eppendorf maxi pipettor was used to pipette the standards. It was calibrated on July 13, 1999,
and delivered very close to the dialed volume for each tip, but the delivery volumes have been corrected
in calculating the concentrations of the standards. For volumes less than 1.0 ml, a 100-1000 uL Eppendorf
pipettor (#107106) was used. It also was calibrated on July 13.
Variability Estimates
Pooled deviation of paired samples
A total of 369 samples were measured; of these, 22 samples were measured in duplicate to
estimate variability.
Sample pooled deviation
| Nitrate | 0.17999
| Silicate | 0.82847
| Phosphate | 0.022127
Pooled deviation values are within acceptable limits for frozen samples. Silicate is a little high.
Variability of an unknown sample measured periodically throughout the analysis period.
|  | nitrate | silicate | phosphate
| mean | 29.1064 | 39.5829 | 2.1197
| std dev | 0.34969 | 0.25541 | 0.010708
Variability of the unknown is low.
Factors affecting data quality:
The 0 m samples for all stations were centrifuged at 3500 rpm for 15 min before analysis
to eliminate interference from particulates. Turbidity measurements were made for some 0 m samples
for phosphate and silicate. Unfortunately, the phosphate channel was malfunctioning at the time, so
turbidity due to low salinity has been calculated from a previously determined correction factor.
The frozen samples as received were in unusually good shape, which accounts for the low variability.
Analysis notes:
990812: some leakage from caps during shaking; tubes were thereafter inverted several times rather
than shaken. Station KIN1 samples were taken out about 4 h before reading. Station BE5 samples were defrosted
for about 2 h before reading. Frozen silicate samples are ordinarily defrosted for about 18 h to enable
all the silicate to redissolve, particularly for high silicate concentrations or samples frozen for more than one month.
These samples should not be adversely affected by a shorter defrost time.
990819: ran out of silicate molybdate reagent partway through run, samples were remeasured.
Note that anoxic samples occurred in middle of water column! Subsequent standards measured
indicated no harm was done to the cadmium column, values look OK.
Phosphate turbidity values not good, air was getting into the system; there was some imbalance.
Not enough sample to remeasure turbidity.
Previous pooled deviation values:
Cruise | nitrate | silicate | phosphate
9603 | 1.3 | 1.695 | 0.102
9611 | 0.786 | 1.619 | 0.052
9636 | 0.216 | 0.691 | 0.051
9703 | 0.255 | 0.421 | 0.075
9725 | 0.369 | 0.977 | 0.068
9742 | 0.413 | 1.232 | 0.066
9805 | 0.434 | 0.922 | 0.045
9814 | 1.13 | 1.92 | 0.086
9836 | 0.486 | 0.771 | 0.051
9839 | 0.858 | 1.632 | 0.036
9909 | 0.63464 | 1.0701 | 0.043392
9931 | 0.17999 | 0.82847 | 0.022127
B-C&W | 0.7 | 1.1 | 0.11

## data
Cruise 9931: Inlets, August, 1999. Nutrient Data.
Station | Event | Sample | Nitrate | Nitrate | avg NO3 | Silicate | Silicate | avg Si | Phosphate | Phosphate | avg PO4 | Comments
PA 13 | 157 | 1942 | 0.55293 |  | 0.55293 | 23.1309 |  | 23.6809 | 0.27656 |  | 0.28856 | corrected for turbidity
PA 13 | 157 | 1941 | 12.3906 |  | 12.3906 | 28.4942 |  | 28.4942 | 1.4583 |  | 1.4583
PA 13 | 157 | 1940 | 14.5836 |  | 14.5836 | 30.762 |  | 30.762 | 1.5468 |  | 1.5468
PA 13 | 157 | 1939 | 16.0285 |  | 16.0285 | 33.1342 |  | 33.1342 | 1.6502 |  | 1.6502
PA 13 | 157 | 1938 | 17.0256 |  | 17.0256 | 35.0941 |  | 35.0941 | 1.7535 |  | 1.7535
PA 13 | 157 | 1937 | 17.94 |  | 17.94 | 39.3177 |  | 39.3177 | 1.9386 |  | 1.9386
PA 13 | 157 | 1936 | 17.7556 |  | 17.7556 | 43.6642 |  | 43.6642 | 2.0533 |  | 2.0533
PA 13 | 157 | 1935 | 18.6815 |  | 18.6815 | 44.1744 |  | 44.1744 | 2.1349 |  | 2.1349
PA 13 | 157 | 1934 | 18.6076 | 18.6225 | 18.6151 | 46.1375 | 46.44 | 46.2887 | 2.2536 | 2.2725 | 2.2631
U 5 | 153 | 1899 | 8.6796 |  | 8.6796 | 34.7025 |  | 34.7025 | 1.8036 |  | 1.8036
U 5 | 153 | 1898 | 9.3801 |  | 9.3801 | 36.4616 |  | 36.4616 | 1.9758 |  | 1.9758
U 5 | 153 | 1897 | 11.6015 |  | 11.6015 | 40.7931 |  | 40.7931 | 2.1819 |  | 2.1819
U 5 | 153 | 1896 | 13.2336 |  | 13.2336 | 42.662 |  | 42.662 | 2.2047 |  | 2.2047
U 5 | 153 | 1895 | 14.5079 |  | 14.5079 | 43.3317 |  | 43.3317 | 2.2244 |  | 2.2244
U 5 | 153 | 1894 | 16.1688 |  | 16.1688 | 43.0396 |  | 43.0396 | 2.0223 |  | 2.0223
U 5 | 153 | 1893 | 16.5428 |  | 16.5428 | 43.4694 |  | 43.4694 | 2.0339 |  | 2.0339
U 5 | 153 | 1892 | 17.2284 |  | 17.2284 | 43.8994 |  | 43.8994 | 2.0454 |  | 2.0454
U 5 | 153 | 1891 | 17.4245 | 17.3757 | 17.4001 | 43.7105 | 44.1409 | 43.9257 | 2.0307 | 2.0422 | 2.0364
U1 | 151 | 1881 | 2.2785 |  | 2.2785 | 28.3536 |  | 28.3536 | 0.5027 |  | 0.5027
U1 | 151 | 1880 | 4.3882 |  | 4.3882 | 30.2116 |  | 30.2116 | 0.75545 |  | 0.75545
U1 | 151 | 1879 | 5.6311 |  | 5.6311 | 31.5598 |  | 31.5598 | 0.95631 |  | 0.95631
U1 | 151 | 1878 | 14.8244 |  | 14.8244 | 39.7955 |  | 39.7955 | 1.6825 |  | 1.6825
U1 | 151 | 1877 | 17.4294 |  | 17.4294 | 42.1833 |  | 42.1833 | 1.8319 |  | 1.8319
U1 | 151 | 1876 | 17.7605 |  | 17.7605 | 42.4099 |  | 42.4099 | 1.806 |  | 1.806
U1 | 151 | 1875 | 18.293 |  | 18.293 | 42.5337 |  | 42.5337 | 1.8473 |  | 1.8473
U1 | 151 | 1874 | 20.3056 |  | 20.3056 | 44.1018 |  | 44.1018 | 1.9147 |  | 1.9147
U1 | 151 | 1873 | 20.9746 | 21.0594 | 21.017 | 44.4329 | 44.6608 | 44.5468 | 1.9937 |  | 1.9937 | P: no duplicate
MUC 3 | 147 | 1840 | 0.0043439 |  | 0.0043439 | 22.2576 |  | 22.6576 | 0.09024 |  | 0.09424 | measured 990817. Corrected for turbidity
MUC 3 | 147 | 1839 | 3.1286 |  | 3.1286 | 20.0433 |  | 20.0433 | 0.765 |  | 0.765
MUC 3 | 147 | 1838 | 4.7036 |  | 4.7036 | 19.1535 |  | 19.1535 | 1.0004 |  | 1.0004
MUC 3 | 147 | 1837 | 8.5522 |  | 8.5522 | 17.8608 |  | 17.8608 | 1.4437 |  | 1.4437
MUC 3 | 147 | 1836 | 14.8371 |  | 14.8371 | 27.3409 |  | 27.3409 | 1.7746 |  | 1.7746
MUC 3 | 147 | 1835 | 19.4233 |  | 19.4233 | 44.1641 |  | 44.1641 | 2.3747 |  | 2.3747
MUC 3 | 147 | 1834 | 15.677 |  | 15.677 | 49.4793 |  | 49.4793 | 2.4497 |  | 2.4497 | NO3 low
MUC 3 | 147 | 1833 | 19.4738 |  | 19.4738 | 42.6983 |  | 42.6983 | 2.1995 |  | 2.1995
MUC 3 | 147 | 1832 | 20.0517 |  | 20.0517 | 45.1666 |  | 45.1666 | 2.3006 |  | 2.3006
MUC 3 | 147 | 1831 | 20.7877 |  | 20.7877 | 45.705 |  | 45.705 | 2.2869 |  | 2.2869
MUC 3 | 147 | 1830 | 20.8916 |  | 20.8916 | 45.1239 |  | 45.1239 | 2.2695 |  | 2.2695
MUC 3 | 147 | 1829 | 21.1215 |  | 21.1215 | 45.3868 |  | 45.3868 | 2.2791 |  | 2.2791
MUC 3 | 147 | 1828 | 21.2702 |  | 21.2702 | 46.2324 |  | 46.2324 | 2.3025 |  | 2.3025
MUC 3 | 147 | 1827 | 21.3511 |  | 21.3511 | 46.1604 |  | 46.1604 | 2.2962 |  | 2.2962
MUC 3 | 147 | 1826 | 21.5448 |  | 21.5448 | 46.701 |  | 46.701 | 2.3346 |  | 2.3346
MUC 3 | 147 | 1825 | 21.6933 |  | 21.6933 | 47.2422 |  | 47.2422 | 2.3618 |  | 2.3618
TLU 2 | 144 | 1799 | 0.046363 |  | 0.046363 | 8.6675 |  | 9.1175 | 0.083111 |  | 0.089111 | measured 990818. Corrected for turbidity
TLU 2 | 144 | 1798 | 0.023792 |  | 0.023792 | 5.5185 |  | 5.5185 | 0.24649 |  | 0.24649
TLU 2 | 144 | 1797 | 0.13093 |  | 0.13093 | 6.4344 |  | 6.4344 | 0.43964 |  | 0.43964
TLU 2 | 144 | 1796 | 0.60576 |  | 0.60576 | 9.7961 |  | 9.7961 | 0.71839 |  | 0.71839
TLU 2 | 144 | 1795 | 12.8001 |  | 12.8001 | 25.1293 |  | 25.1293 | 1.6231 |  | 1.6231
TLU 2 | 144 | 1794 | 21.8219 |  | 21.8219 | 44.3661 |  | 44.3661 | 2.2691 |  | 2.2691 | Si, P: high
TLU 2 | 144 | 1793 | 24.254 |  | 24.254 | 39.3362 |  | 39.3362 | 2.1424 |  | 2.1424
TLU 2 | 144 | 1792 | 26.9227 |  | 26.9227 | 41.0039 |  | 41.0039 | 2.225 |  | 2.225
TLU 2 | 144 | 1791 | 27.0973 |  | 27.0973 | 47.733 |  | 47.733 | 2.3264 |  | 2.3264
TLU 2 | 144 | 1790 | 27.7493 |  | 27.7493 | 50.2364 |  | 50.2364 | 2.3979 |  | 2.3979
TAH 3 | 142 | 1776 | 0.35996 |  | 0.35996 | 12.6338 |  | 12.6338 | 0.23209 |  | 0.23209
TAH 3 | 142 | 1775 | 2.0898 |  | 2.0898 | 16.4091 |  | 16.4091 | 0.58875 |  | 0.58875
TAH 3 | 142 | 1774 | 8.7177 |  | 8.7177 | 25.8171 |  | 25.8171 | 1.2852 |  | 1.2852
TAH 3 | 142 | 1773 | 13.4089 |  | 13.4089 | 31.568 |  | 31.568 | 1.6512 |  | 1.6512
TAH 3 | 142 | 1772 | 15.3339 |  | 15.3339 | 34.0461 |  | 34.0461 | 1.7861 |  | 1.7861
TAH 3 | 142 | 1771 | 18.2859 |  | 18.2859 | 38.0875 |  | 38.0875 | 1.985 |  | 1.985
TAH 3 | 142 | 1770 | 19.1967 |  | 19.1967 | 39.1339 |  | 39.1339 | 2.0603 |  | 2.0603
TAH 3 | 142 | 1769 | 20.9368 |  | 20.9368 | 41.5215 |  | 41.5215 | 2.1919 |  | 2.1919
TAH 3 | 142 | 1768 | 20.9763 | 21.0381 | 21.0072 | 43.2932 | 43.5181 | 43.4057 | 2.2636 | 2.2564 | 2.26
ZEB 2 | 138 | 1738 | 0.0043439 |  | 0.0043439 | 10.219 |  | 10.219 | 0.14665 |  | 0.14665
ZEB 2 | 138 | 1737 | 0.33724 |  | 0.33724 | 15.1395 |  | 15.1395 | 0.43203 |  | 0.43203
ZEB 2 | 138 | 1736 | 2.1525 |  | 2.1525 | 16.5588 |  | 16.5588 | 0.84766 |  | 0.84766
ZEB 2 | 138 | 1735 | 8.3726 |  | 8.3726 | 26.2413 |  | 26.2413 | 1.4333 |  | 1.4333
ZEB 2 | 138 | 1734 | 14.2041 |  | 14.2041 | 34.1481 |  | 34.1481 | 1.8203 |  | 1.8203
ZEB 2 | 138 | 1733 | 18.2193 |  | 18.2193 | 38.3318 |  | 38.3318 | 1.9993 |  | 1.9993
ZEB 2 | 138 | 1732 | 20.0121 |  | 20.0121 | 38.3628 |  | 38.3628 | 2.0523 |  | 2.0523
ZEB 2 | 138 | 1731 | 20.1131 |  | 20.1131 | 38.5969 |  | 38.5969 | 2.0942 |  | 2.0942
ZEB 2 | 138 | 1730 | 19.9209 |  | 19.9209 | 39.641 |  | 39.641 | 2.0842 |  | 2.0842
ZEB 2 | 138 | 1729 | 19.5261 |  | 19.5261 | 40.7921 |  | 40.7921 | 2.0853 |  | 2.0853
ZEB 2 | 138 | 1728 | 19.4697 |  | 19.4697 | 43.1677 |  | 43.1677 | 2.1236 |  | 2.1236
ZEB 2 | 138 | 1727 | 19.8182 | 19.9414 | 19.8798 | 48.2019 | 48.2392 | 48.2205 | 2.2439 | 2.2527 | 2.2483
KAS 1 | 133 | 1687 | 0.027202 |  | 0.027202 | 3.0266 |  | 3.0266 | 0.2143 |  | 0.2143
KAS 1 | 133 | 1686 | 1.4661 |  | 1.4661 | 12.3382 |  | 12.3382 | 0.6792 |  | 0.6792
KAS 1 | 133 | 1685 | 4.3485 |  | 4.3485 | 14.2522 |  | 14.2522 | 0.9857 |  | 0.9857
KAS 1 | 133 | 1684 | 4.0586 |  | 4.0586 | 11.8505 |  | 11.8505 | 1.1239 |  | 1.1239
KAS 1 | 133 | 1683 | 11.6062 |  | 11.6062 | 23.1393 |  | 23.1393 | 1.6567 |  | 1.6567
KAS 1 | 133 | 1682 | 20.7533 |  | 20.7533 | 29.3142 |  | 29.3142 | 1.9133 |  | 1.9133
KAS 1 | 133 | 1681 | 25.9825 |  | 25.9825 | 41.3775 |  | 41.3775 | 2.1697 |  | 2.1697
KAS 1 | 133 | 1680 | 28.0217 |  | 28.0217 | 48.1362 |  | 48.1362 | 2.3187 |  | 2.3187
KAS 1 | 133 | 1679 | 28.8096 |  | 28.8096 | 51.4328 |  | 51.4328 | 2.3862 |  | 2.3862
KAS 1 | 133 | 1678 | 28.7083 |  | 28.7083 | 53.1987 |  | 53.1987 | 2.4057 |  | 2.4057
KAS 1 | 133 | 1677 | 28.9718 |  | 28.9718 | 53.6042 |  | 53.6042 | 2.4067 |  | 2.4067
KAS 1 | 133 | 1676 | 29.0985 |  | 29.0985 | 53.7328 |  | 53.7328 | 2.4188 |  | 2.4188
KAS 1 | 133 | 1675 | 29.0202 |  | 29.0202 | 57.9514 |  | 57.9514 | 2.5014 |  | 2.5014
KAS 1 | 133 | 1674 | 28.8961 |  | 28.8961 | 60.9455 |  | 60.9455 | 2.5692 |  | 2.5692
HOL 2 | 130 | 1660 | 0.0095141 |  | 0.0095141 | 8.8718 |  | 8.8718 | 0.18421 |  | 0.18421 | measured 990819
HOL 2 | 130 | 1659 | 6.1184 |  | 6.1184 | 11.9455 |  | 11.9455 | 0.85646 |  | 0.85646 | N/P high
HOL 2 | 130 | 1658 | 15.9997 |  | 15.9997 | 29.2035 |  | 29.2035 | 1.55 |  | 1.55
HOL 2 | 130 | 1657 | 16.8008 |  | 16.8008 | 30.4577 |  | 30.4577 | 1.5763 |  | 1.5763
HOL 2 | 130 | 1656 | 16.3354 |  | 16.3354 | 30.8883 |  | 30.8883 | 1.5402 |  | 1.5402
HOL 2 | 130 | 1655 | 16.937 |  | 16.937 | 31.5258 |  | 31.5258 | 1.5959 |  | 1.5959
HOL 2 | 130 | 1654 | 18.0736 |  | 18.0736 | 32.3707 |  | 32.3707 | 1.7798 |  | 1.7798
HOL 2 | 130 | 1653 | 17.5407 | 17.4753 | 17.508 | 40.2566 | 40.1746 | 40.2156 | 2.2054 | 2.1659 | 2.1857
Neurotsos | 121 | 1596 | 4.2817 |  | 4.2817 | 9.8889 |  | 9.8889 | 0.408 |  | 0.408
Neurotsos | 121 | 1595 | 27.5065 |  | 27.5065 | 24.238 |  | 24.238 | 1.8858 |  | 1.8858
Neurotsos | 121 | 1594 | 20.6073 |  | 20.6073 | 25.998 |  | 25.998 | 1.6811 |  | 1.6811
Neurotsos | 121 | 1593 | 20.1841 |  | 20.1841 | 28.3784 |  | 28.3784 | 1.7001 |  | 1.7001
Neurotsos | 121 | 1592 | 21.0164 |  | 21.0164 | 29.9531 |  | 29.9531 | 1.8078 |  | 1.8078
Neurotsos | 121 | 1591 | 22.0948 |  | 22.0948 | 31.8254 |  | 31.8254 | 1.9187 |  | 1.9187
Neurotsos | 121 | 1590 | 23.4002 |  | 23.4002 | 34.9408 |  | 34.9408 | 2.1579 |  | 2.1579
Neurotsos | 121 | 1589 | 26.5811 |  | 26.5811 | 43.036 |  | 43.036 | 2.43 |  | 2.43
Neurotsos | 121 | 1588 | 27.4662 |  | 27.4662 | 44.1977 |  | 44.1977 | 2.3428 |  | 2.3428
Neurotsos | 121 | 1587 | 27.5149 | 27.7448 | 27.6299 | 45.2569 | 45.2779 | 45.2674 | 2.3546 | 2.3553 | 2.3549
SM 4 | 112 | 1495 | 0.010226 | 0.030407 | 0.020316 | 11.0851 | 11.3903 | 12.8877 | 0.12111 | 0.13217 | 0.14587 | corrected for turbidity
SM 4 | 112 | 1494 | 0.81181 |  | 0.81181 | 7.6923 |  | 7.6923 | 0.39846 |  | 0.39846
SM 4 | 112 | 1493 | 12.2846 |  | 12.2846 | 19.3018 |  | 19.3018 | 1.2886 |  | 1.2886
SM 4 | 112 | 1492 | 20.4581 |  | 20.4581 | 33.8485 |  | 33.8485 | 1.8311 |  | 1.8311
SM 4 | 112 | 1491 | 21.3407 |  | 21.3407 | 39.1213 |  | 39.1213 | 1.9642 |  | 1.9642
SM 4 | 112 | 1490 | 22.8259 |  | 22.8259 | 55.842 |  | 55.842 | 2.5882 |  | 2.5882
SM 4 | 112 | 1489 | 9.4253 |  | 9.4253 | 83.7818 |  | 83.7818 | 3.996 |  | 3.996
SM 4 | 112 | 1488 | 0.67236 |  | 0.67236 | 92.0871 |  | 92.0871 | 4.7233 |  | 4.7233
SM 4 | 112 | 1487 | 21.9293 |  | 21.9293 | 72.7313 |  | 72.7313 | 3.1049 |  | 3.1049
SM 4 | 112 | 1486 | 23.6822 |  | 23.6822 | 72.0894 |  | 72.0894 | 3.0691 |  | 3.0691
SM 4 | 112 | 1485 | 21.8665 |  | 21.8665 | 73.5751 |  | 73.5751 | 3.1615 |  | 3.1615
SM 4 | 112 | 1484 | 21.7007 |  | 21.7007 | 74.22 |  | 74.22 | 3.1802 |  | 3.1802
Ri 4 | 104 | 1395 | 2.229 |  | 2.229 | 31.1101 |  | 32.6101 | 0.077798 |  | 0.11231 | particulate observed. Corrected for turbidity
Ri 4 | 104 | 1394 | 13.8941 |  | 13.8941 | 24.8484 |  | 24.8484 | 1.3191 |  | 1.3191
Ri 4 | 104 | 1393 | 18.1153 |  | 18.1153 | 32.3699 |  | 32.3699 | 1.6426 |  | 1.6426
Ri 4 | 104 | 1392 | 19.9466 |  | 19.9466 | 35.1665 |  | 35.1665 | 1.7755 |  | 1.7755
Ri 4 | 104 | 1391 | 20.3739 |  | 20.3739 | 35.6957 |  | 35.6957 | 1.7912 |  | 1.7912
Ri 4 | 104 | 1390 | 22.4141 |  | 22.4141 | 41.2908 |  | 41.2908 | 1.9498 |  | 1.9498
Ri 4 | 104 | 1389 | 25.3386 |  | 25.3386 | 48.7677 |  | 48.7677 | 2.2037 |  | 2.2037
Ri 4 | 104 | 1388 | 27.3952 |  | 27.3952 | 53.9785 |  | 53.9785 | 2.3807 |  | 2.3807
Ri 4 | 104 | 1387 | 27.92 |  | 27.92 | 52.4373 |  | 52.4373 | 2.3049 |  | 2.3049
Ri 4 | 104 | 1386 | 28.174 |  | 28.174 | 54.432 |  | 54.432 | 2.3134 |  | 2.3134
Ri 4 | 104 | 1385 | 29.0398 |  | 29.0398 | 55.8043 |  | 55.8043 | 2.3439 |  | 2.3439
Ri 4 | 104 | 1384 | 29.3174 |  | 29.3174 | 56.2402 |  | 56.2402 | 2.3524 |  | 2.3524
Ri 4 | 104 | 1383 | 29.8905 |  | 29.8905 | 56.7805 |  | 56.7805 | 2.3792 |  | 2.3792
Ri 4 | 104 | 1382 | 29.8963 | 29.9931 | 29.9447 | 59.4076 | 59.532 | 59.4698 | 2.4941 | 2.4879 | 2.491
LA 14 | 99 | 1334 | 0.0095099 |  | 0.0095099 | 3.7991 |  | 3.7991 | 0.18775 |  | 0.18775
LA 14 | 99 | 1333 | 0.29205 |  | 0.29205 | 9.6443 |  | 9.6443 | 0.47626 |  | 0.47626
LA 14 | 99 | 1332 | 6.7326 |  | 6.7326 | 14.8822 |  | 14.8822 | 0.90852 |  | 0.90852
LA 14 | 99 | 1331 | 17.7372 |  | 17.7372 | 29.6198 |  | 29.6198 | 1.6022 |  | 1.6022
LA 14 | 99 | 1330 | 20.1736 |  | 20.1736 | 34.8839 |  | 34.8839 | 1.7609 |  | 1.7609
LA 14 | 99 | 1329 | 22.7068 |  | 22.7068 | 41.4052 |  | 41.4052 | 1.9307 |  | 1.9307
LA 14 | 99 | 1328 | 26.5572 |  | 26.5572 | 52.308 |  | 52.308 | 2.2371 |  | 2.2371
LA 14 | 99 | 1327 | 28.9351 |  | 28.9351 | 55.4245 |  | 55.4245 | 2.3113 |  | 2.3113
LA 14 | 99 | 1326 | 30.2781 |  | 30.2781 | 57.2924 |  | 57.2924 | 2.3596 |  | 2.3596
LA 14 | 99 | 1325 | 30.6022 |  | 30.6022 | 58.4311 |  | 58.4311 | 2.3933 |  | 2.3933
LA 14 | 99 | 1324 | 30.6087 |  | 30.6087 | 58.6314 |  | 58.6314 | 2.3863 |  | 2.3863
LA 14 | 99 | 1323 | 31.0015 |  | 31.0015 | 58.8321 |  | 58.8321 | 2.4089 |  | 2.4089
LA 14 | 99 | 1322 | 31.1901 |  | 31.1901 | 59.4494 |  | 59.4494 | 2.4204 |  | 2.4204
LA 14 | 99 | 1321 | 31.2196 |  | 31.2196 | 60.484 |  | 60.484 | 2.4431 |  | 2.4431
LA 14 | 99 | 1320 | 31.0669 |  | 31.0669 | 59.4327 |  | 59.4327 | 2.4324 |  | 2.4324
LS | 96 | 1295 | 0.056073 |  | 0.056073 | 10.1045 |  | 10.1045 | 0.22934 |  | 0.22934
LS | 96 | 1294 | 1.164 |  | 1.164 | 11.9069 |  | 11.9069 | 0.40167 |  | 0.40167
LS | 96 | 1293 | 2.9378 |  | 2.9378 | 13.6089 |  | 13.6089 | 0.52628 |  | 0.52628
LS | 96 | 1292 | 12.1719 |  | 12.1719 | 23.0364 |  | 23.0364 | 1.1555 |  | 1.1555
LS | 96 | 1291 | 16.1282 |  | 16.1282 | 27.9598 |  | 27.9598 | 1.4112 |  | 1.4112
LS | 96 | 1290 | 20.3092 |  | 20.3092 | 36.5217 |  | 36.5217 | 1.6849 |  | 1.6849
LS | 96 | 1289 | 25.5646 |  | 25.5646 | 47.9462 |  | 47.9462 | 2.0239 |  | 2.0239
LS | 96 | 1288 | 30.0087 |  | 30.0087 | 56.7779 |  | 56.7779 | 2.3152 |  | 2.3152
LS | 96 | 1287 | 32.7491 |  | 32.7491 | 62.0757 |  | 62.0757 | 2.5227 |  | 2.5227
LS | 96 | 1286 | 33.0945 |  | 33.0945 | 63.5091 |  | 63.5091 | 2.5337 |  | 2.5337
LS | 96 | 1286 | 33.0935 |  | 33.0935 | 63.6171 |  | 63.6171 | 2.5193 |  | 2.5193
LS | 96 | 1285 | 33.2082 |  | 33.2082 | 64.2361 |  | 64.2361 | 2.534 |  | 2.534
LS | 96 | 1284 | 33.2535 |  | 33.2535 | 63.7313 |  | 63.7313 | 2.5159 |  | 2.5159
SU 3 | 95 | 1283 | 0.47826 |  | 0.47826 | 12.7102 |  | 12.7102 | 0.32475 |  | 0.32475
SU 3 | 95 | 1282 | 6.7401 |  | 6.7401 | 15.0139 |  | 15.0139 | 0.77152 |  | 0.77152
SU 3 | 95 | 1281 | 10.4684 |  | 10.4684 | 18.4217 |  | 18.4217 | 1.0203 |  | 1.0203
SU 3 | 95 | 1280 | 13.4935 |  | 13.4935 | 22.6352 |  | 22.6352 | 1.2432 |  | 1.2432
SU 3 | 95 | 1279 | 18.813 |  | 18.813 | 31.5846 |  | 31.5846 | 1.6083 |  | 1.6083
SU 3 | 95 | 1278 | 23.0545 |  | 23.0545 | 42.3802 |  | 42.3802 | 1.9219 |  | 1.9219
SU 3 | 95 | 1277 | 24.8976 |  | 24.8976 | 45.7172 |  | 45.7172 | 2.0167 |  | 2.0167
SU 3 | 95 | 1276 | 25.282 |  | 25.282 | 47.4381 |  | 47.4381 | 2.0751 |  | 2.0751
SU 3 | 95 | 1275 | 25.3697 |  | 25.3697 | 48.2483 |  | 48.2483 | 2.1262 |  | 2.1262
SU 3 | 95 | 1274 | 25.1144 | 25.3392 | 25.2268 | 48.5519 | 48.5512 | 48.5515 | 2.1226 | 2.1264 | 2.1245
PC8 | 90 | 1226 | 0.029732 |  | 0.029732 | 8.7925 |  | 10.3925 | 0.047775 |  | 0.063363 | corrected for turbidity
PC8 | 90 | 1225 | 0.22875 |  | 0.22875 | 6.098 |  | 7.598 | 0.1504 |  | 0.1584 | corrected for turbidity
PC8 | 90 | 1224 | 15.1769 |  | 15.1769 | 23.042 |  | 23.042 | 1.3099 |  | 1.3099
PC8 | 90 | 1223 | 21.0075 |  | 21.0075 | 35.0662 |  | 35.0662 | 1.7188 |  | 1.7188
PC8 | 90 | 1222 | 22.5513 |  | 22.5513 | 38.7339 |  | 38.7339 | 1.8539 |  | 1.8539
PC8 | 90 | 1221 | 25.015 |  | 25.015 | 45.1513 |  | 45.1513 | 2.0291 |  | 2.0291
PC8 | 90 | 1220 | 27.7898 |  | 27.7898 | 51.6882 |  | 51.6882 | 2.1969 |  | 2.1969
PC8 | 90 | 1219 | 29.3089 |  | 29.3089 | 54.6705 |  | 54.6705 | 2.321 |  | 2.321
PC8 | 90 | 1218 | 29.8383 |  | 29.8383 | 56.3298 |  | 56.3298 | 2.3248 |  | 2.3248
PC8 | 90 | 1217 | 30.0445 |  | 30.0445 | 56.5599 |  | 56.5599 | 2.3396 |  | 2.3396
PC8 | 90 | 1216 | 30.1353 |  | 30.1353 | 57.0977 |  | 57.0977 | 2.3616 |  | 2.3616
PC8 | 90 | 1215 | 30.5041 |  | 30.5041 | 57.4316 |  | 57.4316 | 2.3837 |  | 2.3837
PC8 | 90 | 1214 | 30.8968 | 30.9882 | 30.9425 | 58.7861 | 59.018 | 58.9021 | 2.4204 | 2.4133 | 2.4168
OB 4 | 86 | 1172 | 0.074342 |  | 0.074342 | 6.6973 |  | 7.0973 | 0.2053 |  | 0.2093 | corrected for turbidity
OB 4 | 86 | 1171 | 0.84368 | 0.033757 | 0.43872 | 7.0962 | 6.9964 | 7.2463 | 0.35914 | 0.27129 | 0.31822 | N: poor replicates. Si/P correcected for turbidity
OB 4 | 86 | 1170 | 11.8078 |  | 11.8078 | 22.0348 |  | 22.0348 | 1.1492 |  | 1.1492
OB 4 | 86 | 1169 | 22.2103 |  | 22.2103 | 40.0193 |  | 40.0193 | 1.8611 |  | 1.8611
OB 4 | 86 | 1168 | 22.7541 |  | 22.7541 | 41.6596 |  | 41.6596 | 1.945 |  | 1.945
OB 4 | 86 | 1167 | 24.4185 |  | 24.4185 | 46.4504 |  | 46.4504 | 2.0509 |  | 2.0509
OB 4 | 86 | 1166 | 24.6444 |  | 24.6444 | 47.2833 |  | 47.2833 | 2.0547 |  | 2.0547
OB 4 | 86 | 1165 | 24.6873 |  | 24.6873 | 46.2862 |  | 46.2862 | 2.011 |  | 2.011
OB 4 | 86 | 1164 | 25.0051 |  | 25.0051 | 47.0176 |  | 47.0176 | 2.0513 |  | 2.0513
OB 4 | 86 | 1163 | 25.6903 |  | 25.6903 | 47.3424 |  | 47.3424 | 2.0733 |  | 2.0733
OB 4 | 86 | 1162 | 25.9401 |  | 25.9401 | 48.3798 |  | 48.3798 | 2.0916 |  | 2.0916
OB 4 | 86 | 1161 | 26.2592 |  | 26.2592 | 48.3997 |  | 48.3997 | 2.1063 |  | 2.1063
OB 4 | 86 | 1160 | 26.2566 |  | 26.2566 | 49.2341 |  | 49.2341 | 2.121 |  | 2.121
OB 4 | 86 | 1159 | 26.622 |  | 26.622 | 49.8653 |  | 49.8653 | 2.1576 |  | 2.1576
OB 4 | 86 | 1158 | 26.8268 |  | 26.8268 | 50.3948 |  | 50.3948 | 2.1724 |  | 2.1724
OB 4 | 86 | 1157 | 27.193 |  | 27.193 | 51.1284 |  | 51.1284 | 2.198 |  | 2.198
OB 4 | 86 | 1156 | 27.2367 |  | 27.2367 | 51.4545 |  | 51.4545 | 2.22 |  | 2.22
WC 3 | 79 | 1079 | 1.2292 |  | 1.2292 | 6.6952 |  | 6.6952 | 0.2315 |  | 0.2315
WC 3 | 79 | 1078 | 10.0703 |  | 10.0703 | 18.5472 |  | 18.5472 | 1.0475 |  | 1.0475
WC 3 | 79 | 1077 | 13.552 |  | 13.552 | 21.4873 |  | 21.4873 | 1.3217 |  | 1.3217
WC 3 | 79 | 1076 |  |  |  | 23.9194 |  | 23.9194 | 1.4752 |  | 1.4752 | NO3: no data
WC 3 | 79 | 1075 |  |  |  | 26.2517 |  | 26.2517 | 1.574 |  | 1.574 | NO3: no data
WC 3 | 79 | 1074 |  |  |  | 41.9063 |  | 41.9063 | 2.0318 |  | 2.0318 | NO3: no data
WC 3 | 79 | 1073 | 20.9265 |  | 20.9265 | 42.9229 |  | 42.9229 | 1.988 |  | 1.988
WC 3 | 79 | 1072 | 20.9516 |  | 20.9516 | 43.5323 |  | 43.5323 | 1.9661 |  | 1.9661
WC 3 | 79 | 1071 | 20.4527 |  | 20.4527 | 39.8636 |  | 39.8636 | 1.8562 |  | 1.8562
WC 3 | 79 | 1070 | 20.637 |  | 20.637 | 39.4543 |  | 39.4543 | 1.8453 |  | 1.8453
WC 3 | 79 | 1069 | 20.5481 |  | 20.5481 | 39.4522 |  | 39.4522 | 1.8417 |  | 1.8417
WC 3 | 79 | 1068 | 20.7781 |  | 20.7781 | 39.8573 |  | 39.8573 | 1.8638 |  | 1.8638
WC 3 | 79 | 1067 | 21.0766 |  | 21.0766 | 40.6699 |  | 40.6699 | 1.886 |  | 1.886
WC 3 | 79 | 1066 | 21.056 | 21.0583 | 21.0572 | 40.6679 | 41.1752 | 40.9215 | 1.8898 | 1.8825 | 1.8861
GA11 | 71 | 974 | 1.2014 |  | 1.2014 | 9.3367 |  | 10.8367 | 0.022736 |  | 0.065515 | corrected for turbidity
GA11 | 71 | 973 | 11.0935 |  | 11.0935 | 25.3224 |  | 25.3224 | 0.79873 |  | 0.79873 | this station samples not completely frozen.
GA11 | 71 | 972 | 17.6724 |  | 17.6724 | 24.814 |  | 24.814 | 1.318 |  | 1.318
GA11 | 71 | 971 | 23.0412 |  | 23.0412 | 38.9671 |  | 38.9671 | 1.6947 |  | 1.6947
GA11 | 71 | 970 | 22.5405 |  | 22.5405 | 41.6112 |  | 41.6112 | 1.7569 |  | 1.7569
GA11 | 71 | 969 | 22.2458 |  | 22.2458 | 42.6272 |  | 42.6272 | 1.8704 |  | 1.8704
GA11 | 71 | 968 | 22.0653 |  | 22.0653 | 43.1343 |  | 43.1343 | 1.9181 |  | 1.9181
GA11 | 71 | 967 | 21.5654 |  | 21.5654 | 42.1136 |  | 42.1136 | 1.8633 |  | 1.8633
GA11 | 71 | 966 | 21.3166 |  | 21.3166 | 41.3986 |  | 41.3986 | 1.8524 |  | 1.8524
GA11 | 71 | 965 | 21.3187 |  | 21.3187 | 41.4981 |  | 41.4981 | 1.8488 |  | 1.8488
GA11 | 71 | 964 | 21.2979 |  | 21.2979 | 41.2922 |  | 41.2922 | 1.8452 |  | 1.8452
GA11 | 71 | 963 | 21.7791 |  | 21.7791 | 41.3918 |  | 41.3918 | 1.8636 |  | 1.8636
GA11 | 71 | 962 | 21.3933 |  | 21.3933 | 41.3895 |  | 41.3895 | 1.8491 |  | 1.8491
GA11 | 71 | 961 | 21.6692 | 21.5115 | 21.5904 | 41.3873 | 41.385 | 41.3862 | 1.8712 | 1.8382 | 1.8547
DO7 | 65 | 902 | 1.7837 | 1.7604 | 1.772 | 20.0322 | 19.6201 | 20.4761 | 0.24789 | 0.24045 | 0.25817 | measured 990816. Corrected for turbidity
DO7 | 65 | 901 | 11.4565 |  | 11.4565 | 26.4279 |  | 26.4279 | 1.0612 |  | 1.0612
DO7 | 65 | 900 | 14.735 |  | 14.735 | 28.1208 |  | 28.1208 | 1.3346 |  | 1.3346
DO7 | 65 | 899 | 20.2118 |  | 20.2118 | 35.6459 |  | 35.6459 | 1.6966 |  | 1.6966
DO7 | 65 | 898 | 20.6112 |  | 20.6112 | 37.6426 |  | 37.6426 | 1.7559 |  | 1.7559
DO7 | 65 | 897 | 21.1687 |  | 21.1687 | 39.6397 |  | 39.6397 | 1.7969 |  | 1.7969
DO7 | 65 | 896 | 22.9481 |  | 22.9481 | 41.2341 |  | 41.2341 | 1.849 |  | 1.849
DO7 | 65 | 895 | 24.1147 |  | 24.1147 | 43.4338 |  | 43.4338 | 1.9233 |  | 1.9233
DO7 | 65 | 894 | 24.6918 |  | 24.6918 | 44.7272 |  | 44.7272 | 1.9607 |  | 1.9607
DO7 | 65 | 892 | 25.1777 |  | 25.1777 | 45.2125 |  | 45.2125 | 1.9908 |  | 1.9908
DO7 | 65 | 891 | 25.392 |  | 25.392 | 45.496 |  | 45.496 | 1.995 |  | 1.995
DO7 | 65 | 890 | 25.4027 |  | 25.4027 | 46.082 |  | 46.082 | 2.0065 |  | 2.0065
DO7 | 65 | 889 | 25.842 |  | 25.842 | 46.3653 |  | 46.3653 | 2.0293 |  | 2.0293
DO7 | 65 | 888 | 25.6721 |  | 25.6721 | 46.245 |  | 46.245 | 2.026 |  | 2.026
BUR 6 | 54 | 748 | 0.045839 | 0.045518 | 0.045678 | 24.3565 | 24.5472 | 26.0018 | 0.059066 | 0.092379 | 0.10223 | corrected for turbidity
BUR 6 | 54 | 747 | 3.0927 |  | 3.0927 | 16.4177 |  | 16.4177 | 0.59191 |  | 0.59291
BUR 6 | 54 | 746 | 18.9602 |  | 18.9602 | 37.7026 |  | 37.7026 | 1.788 |  | 1.788
BUR 6 | 54 | 745 | 24.0163 |  | 24.0163 | 45.5611 |  | 45.5611 | 1.9873 |  | 1.9873
BUR 6 | 54 | 744 | 25.325 |  | 25.325 | 47.6689 |  | 47.6689 | 2.0946 |  | 2.0946
BUR 6 | 54 | 743 | 26.6457 |  | 26.6457 | 49.5599 |  | 49.5599 | 2.1655 |  | 2.1655
BUR 6 | 54 | 742 | 25.5703 |  | 25.5703 | 46.9158 |  | 46.9158 | 2.1143 |  | 2.1143
BUR 6 | 54 | 741 | 25.8558 |  | 25.8558 | 47.0017 |  | 47.0017 | 2.0999 |  | 2.0999
BUR 6 | 54 | 740 | 27.4098 |  | 27.4098 | 51.233 |  | 51.233 | 2.2185 |  | 2.2185
BUR 6 | 54 | 739 | 27.6261 |  | 27.6261 | 51.4196 |  | 51.4196 | 2.219 |  | 2.219
BUR 6 | 54 | 738 | 27.8421 |  | 27.8421 | 52.011 |  | 52.011 | 2.2343 |  | 2.2343
BUR 6 | 54 | 737 | 28.0126 |  | 28.0126 | 54.0196 |  | 54.0196 | 2.2717 |  | 2.2717
BUR 6 | 54 | 736 | 28.0925 |  | 28.0925 | 53.1937 |  | 53.1937 | 2.2426 |  | 2.2426
BUR 6 | 54 | 735 | 28.1499 |  | 28.1499 | 52.5705 |  | 52.5705 | 2.2394 |  | 2.2394
BUR 6 | 54 | 734 | 28.749 |  | 28.749 | 53.769 |  | 53.769 | 2.2807 |  | 2.2807
BUR 6 | 54 | 733 | 29.6409 |  | 29.6409 | 54.3603 |  | 54.3603 | 2.2737 |  | 2.2737
BUR 6 | 54 | 732 | 29.1781 |  | 29.1781 | 54.9517 |  | 54.9517 | 2.3002 |  | 2.3002
SE 6 | 43 | 594 | 0.011287 |  | 0.011287 | 7.0994 |  | 7.7494 | 0.064357 |  | 0.076357 | measured 990815. Corrected for turbidity
SE 6 | 43 | 593 | 0.63203 |  | 0.63203 | 8.6009 |  | 9.0009 | 0.29176 |  | 0.29876 | corrected for turbidity
SE 6 | 43 | 592 | 15.8954 |  | 15.8954 | 24.954 |  | 24.954 | 1.4292 |  | 1.4292
SE 6 | 43 | 591 | 20.6427 |  | 20.6427 | 33.9108 |  | 33.9108 | 1.8778 |  | 1.8778
SE 6 | 43 | 590 | 22.5702 |  | 22.5702 | 39.4568 |  | 39.4568 | 2.0418 |  | 2.0418
SE 6 | 43 | 589 | 22.0437 |  | 22.0437 | 40.2625 |  | 40.2625 | 2.0236 |  | 2.0236
SE 6 | 43 | 588 | 20.7681 |  | 20.7681 | 39.6542 |  | 39.6542 | 1.9436 |  | 1.9436
SE 6 | 43 | 587 | 20.6057 |  | 20.6057 | 42.4818 |  | 42.4818 | 2.0274 |  | 2.0274
SE 6 | 43 | 586 | 22.0105 |  | 22.0105 | 50.6834 |  | 50.6834 | 2.2787 |  | 2.2787
SE 6 | 43 | 585 | 22.8034 |  | 22.8034 | 66.6554 |  | 66.6554 | 2.6752 |  | 2.6752
SE 6 | 43 | 584 | 23.2327 |  | 23.2327 | 72.793 |  | 72.793 | 2.8425 |  | 2.8425
SE 6 | 43 | 583 | 23.1382 |  | 23.1382 | 74.6455 |  | 74.6455 | 2.9189 |  | 2.9189
SE 6 | 43 | 582 | 21.7464 |  | 21.7464 | 62.795 |  | 62.795 | 2.541 |  | 2.541 | low!
SE 6 | 43 | 581 | 23.7471 |  | 23.7471 | 88.5478 |  | 88.5478 | 3.1515 |  | 3.1515
SE 6 | 43 | 580 | 23.5613 |  | 23.5613 | 93.3185 |  | 93.3185 | 3.2678 |  | 3.2678
SE 6 | 43 | 579 | 22.6918 | 22.5062 | 22.599 | 100.0765 | 98.5454 | 99.311 | 3.4204 | 3.3987 | 3.4096
BE 5 | 37 | 516 | 1.5034 | 1.4587 | 1.4811 | 13.5087 | 13.1073 | 13.758 | 0.32923 | 0.34027 | 0.34175 | less than 24 h defrost time. Bot 16. Corrected for turbidity
BE 5 | 37 | 515 | 17.9536 |  | 17.9536 | 33.2478 |  | 33.2478 | 1.6748 |  | 1.6748 | Bot 14
BE 5 | 37 | 514 | 18.8047 |  | 18.8047 | 32.5438 |  | 32.5438 | 1.6861 |  | 1.6861
BE 5 | 37 | 513 | 19.4533 |  | 19.4533 | 33.5613 |  | 33.5613 | 1.7562 |  | 1.7562
BE 5 | 37 | 512 | 21.6424 |  | 21.6424 | 41.8734 |  | 41.8734 | 2.0728 |  | 2.0728
BE 5 | 37 | 511 | 26.7592 |  | 26.7592 | 57.4904 |  | 57.4904 | 2.8582 |  | 2.8582
BE 5 | 37 | 510 | 25.4127 |  | 25.4127 | 65.4163 |  | 65.4163 | 2.9533 |  | 2.9533
BE 5 | 37 | 509 | 24.79 |  | 24.79 | 68.5654 |  | 68.5654 | 2.9235 |  | 2.9235
BE 5 | 37 | 508 | 24.9879 |  | 24.9879 | 71.5114 |  | 71.5114 | 3.0189 |  | 3.0189
BE 5 | 37 | 507 | 24.7529 |  | 24.7529 | 72.2255 |  | 72.2255 | 2.9744 |  | 2.9744
BE 5 | 37 | 506 | 24.3359 |  | 24.3359 | 73.0408 |  | 73.0408 | 2.9962 |  | 2.9962
BE 5 | 37 | 505 | 23.8055 |  | 23.8055 | 73.7543 |  | 73.7543 | 3.0179 |  | 3.0179
BE 5 | 37 | 504 | 23.2078 |  | 23.2078 | 80.2487 |  | 80.2487 | 3.315 |  | 3.315
BE 5 | 37 | 503 | 22.9738 | 22.9215 | 22.9477 | 82.9897 | 83.4994 | 83.2446 | 3.4723 | 3.4312 | 3.4518
KIN 1 | 35 | 489 | 0.012369 |  | 0.012369 | 14.4609 |  | 15.8609 | 0.2448 |  | 0.27786 | less than 24 h defrost;corrected for turb
KIN 1 | 35 | 488 | 4.3438 |  | 4.3438 | 9.0347 |  | 9.0347 | 0.58451 |  | 0.58451
KIN 1 | 35 | 487 | 17.9928 |  | 17.9928 | 31.4685 |  | 31.4685 | 1.6085 |  | 1.6085
KIN 1 | 35 | 486 | 23.2062 |  | 23.2062 | 38.6216 |  | 38.6216 | 1.9457 |  | 1.9457
KIN 1 | 35 | 485 | 24.1359 |  | 24.1359 | 41.5527 |  | 41.5527 | 2.0009 |  | 2.0009
KIN 1 | 35 | 484 | 23.5391 |  | 23.5391 | 41.465 |  | 41.465 | 1.9572 |  | 1.9572
KIN 1 | 35 | 483 | 24.9027 |  | 24.9027 | 44.8033 |  | 44.8033 | 2.0309 |  | 2.0309
KIN 1 | 35 | 482 | 26.9094 |  | 26.9094 | 49.1531 |  | 49.1531 | 2.2222 |  | 2.2222
KIN 1 | 35 | 481 | 26.7677 |  | 26.7677 | 51.2883 |  | 51.2883 | 2.3035 |  | 2.3035
KIN 1 | 35 | 480 | 26.3515 |  | 26.3515 | 50.3976 |  | 50.3976 | 2.2745 |  | 2.2745
KIN 1 | 35 | 479 | 26.187 |  | 26.187 | 51.2227 |  | 51.2227 | 2.3117 |  | 2.3117
KIN 1 | 35 | 478 | 26.5027 |  | 26.5027 | 52.5543 |  | 52.5543 | 2.36 |  | 2.36 | N, Si: sudden decrease
KIN 1 | 35 | 477 | 25.584 |  | 25.584 | 46.9121 |  | 46.9121 | 2.1543 |  | 2.1543
KIN 1 | 35 | 476 | 26.2652 |  | 26.2652 | 48.2421 |  | 48.2421 | 2.1878 |  | 2.1878
KIN 1 | 35 | 475 | 26.4438 |  | 26.4438 | 49.4724 |  | 49.4724 | 2.2288 |  | 2.2288
KIN 1 | 35 | 474 | 26.485 | 26.6407 | 26.5629 | 49.4892 | 49.6072 | 49.5482 | 2.2329 | 2.2517 | 2.2423
CA Bay | 28 | 403 | 8.9989 |  | 8.9989 | 22.0193 |  | 22.0193 | 1.076 |  | 1.076
CA Bay | 28 | 402 | 17.7863 |  | 17.7863 | 32.0221 |  | 32.0221 | 1.6458 |  | 1.6458
CA Bay | 28 | 401 | 19.206 |  | 19.206 | 33.9775 |  | 33.9775 | 1.7408 |  | 1.7408
CA Bay | 28 | 400 | 20.8509 |  | 20.8509 | 37.4958 |  | 37.4958 | 1.8689 |  | 1.8689
CA Bay | 28 | 399 | 21.6869 |  | 21.6869 | 39.4634 |  | 39.4634 | 1.9494 |  | 1.9494
CA Bay | 28 | 398 | 21.8861 |  | 21.8861 | 39.7062 |  | 39.7062 | 1.9679 |  | 1.9679
CA Bay | 28 | 397 | 22.0628 |  | 22.0628 | 40.458 |  | 40.458 | 1.9901 |  | 1.9901
PT EL | 27 | 396 | 1.758 |  | 1.758 | 21.4304 |  | 21.4304 | 0.38523 |  | 0.38523 | measured 990812
PT EL | 27 | 395 | 10.4537 |  | 10.4537 | 33.0865 |  | 33.0865 | 1.1133 |  | 1.1133
PT EL | 27 | 394 | 19.2548 |  | 19.2548 | 41.947 |  | 41.947 | 1.7622 |  | 1.7622
PT EL | 27 | 393 | 22.1361 |  | 22.1361 | 43.9485 |  | 43.9485 | 1.9895 |  | 1.9895
PT EL | 27 | 392 | 23.3645 |  | 23.3645 | 45.9512 |  | 45.9512 | 2.023 |  | 2.023
PT EL | 27 | 391 | 23.8427 |  | 23.8427 | 45.7676 |  | 45.7676 | 2.0638 |  | 2.0638
PT EL | 27 | 390 | 23.7286 |  | 23.7286 | 44.7879 |  | 44.7879 | 2.0607 |  | 2.0607
PT EL | 27 | 389 | 24.0703 |  | 24.0703 | 45.0017 |  | 45.0017 | 2.0905 |  | 2.0905
KN 5 | 23 | 350 | 0.36365 |  | 0.36365 | 24.3292 |  | 26.1292 | 0.099363 |  | 0.13555 | corrected for turbidity
KN 5 | 23 | 349 | 19.1713 |  | 19.1713 | 40.8406 |  | 40.8406 | 1.5571 |  | 1.5571
KN 5 | 23 | 348 | 24.9252 |  | 24.9252 | 44.4969 |  | 44.4969 | 2.0579 |  | 2.0579
KN 5 | 23 | 347 | 26.7181 |  | 26.7181 | 47.2864 |  | 47.2864 | 2.1927 |  | 2.1927
KN 5 | 23 | 346 | 26.2606 |  | 26.2606 | 47.8013 |  | 47.8013 | 2.2152 |  | 2.2152
KN 5 | 23 | 345 | 26.0547 |  | 26.0547 | 48.117 |  | 48.117 | 2.2157 |  | 2.2157
KN 5 | 23 | 344 | 25.0495 |  | 25.0495 | 46.8343 |  | 46.8343 | 2.1613 |  | 2.1613
KN 5 | 23 | 343 | 24.8211 |  | 24.8211 | 47.0499 |  | 47.0499 | 2.1362 |  | 2.1362
KN 5 | 23 | 342 | 23.8632 |  | 23.8632 | 45.2653 |  | 45.2653 | 2.1038 |  | 2.1038
KN 5 | 23 | 341 | 23.9541 |  | 23.9541 | 43.6791 |  | 43.6791 | 2.0458 |  | 2.0458
KN 5 | 23 | 340 | 23.7033 |  | 23.7033 | 43.5932 |  | 43.5932 | 2.0537 |  | 2.0537
KN 5 | 23 | 339 | 23.931 |  | 23.931 | 44.008 |  | 44.008 | 2.0725 |  | 2.0725
KN 5 | 23 | 338 | 23.9536 |  | 23.9536 | 44.2228 |  | 44.2228 | 2.0694 |  | 2.0694
KN 5 | 23 | 337 | 24.4551 |  | 24.4551 | 45.7408 |  | 45.7408 | 2.1249 |  | 2.1249
KN 5 | 23 | 336 | 24.4549 | 24.5688 | 24.5119 | 45.6556 | 45.771 | 45.7133 | 2.1144 | 2.126 | 2.1202
BU 5 | 15 | 225 | 0.013826 | 0.012696 | 0.013261 | 27.6976 | 23.0338 | 26.7657 | 0.11397 | 0.099347 | 0.14117 | corrected for turbidity
BU 5 | 15 | 224 | 8.2033 |  | 8.2033 | 37.125 |  | 37.125 | 0.71825 |  | 0.71925
BU 5 | 15 | 223 | 22.4915 |  | 22.4915 | 49.396 |  | 49.396 | 1.9852 |  | 1.9852 | tt cracked
BU 5 | 15 | 222 | 24.686 |  | 24.686 | 50.8438 |  | 50.8438 | 2.2071 |  | 2.2071
BU 5 | 15 | 221 | 26.7646 |  | 26.7646 | 53.2542 |  | 53.2542 | 2.3472 |  | 2.3472
BU 5 | 15 | 220 | 30.7554 |  | 30.7554 | 59.4453 |  | 59.4453 | 2.6159 |  | 2.6159
BU 5 | 15 | 219 | 31.4916 |  | 31.4916 | 62.6577 |  | 62.6577 | 2.7451 |  | 2.7451
BU 5 | 15 | 218 | 30.7322 |  | 30.7322 | 65.2766 |  | 65.2766 | 2.7972 |  | 2.7972
BU 5 | 15 | 217 | 30.4562 |  | 30.4562 | 66.9033 |  | 66.9033 | 2.7868 |  | 2.7868
BU 5 | 15 | 216 | 29.9275 |  | 29.9275 | 66.1414 |  | 66.1414 | 2.7875 |  | 2.7875
BU 5 | 15 | 215 | 29.8585 |  | 29.8585 | 67.1728 |  | 67.1728 | 2.7844 |  | 2.7844
BU 5 | 15 | 214 | 29.6516 |  | 29.6516 | 67.6072 |  | 67.6072 | 2.7814 |  | 2.7814
BU 5 | 15 | 213 | 29.6286 |  | 29.6286 | 67.8424 |  | 67.8424 | 2.7967 |  | 2.7967
BU 5 | 15 | 212 | 29.3988 |  | 29.3988 | 68.1778 |  | 68.1778 | 2.7863 |  | 2.7863
BU 5 | 15 | 211 | 30.3177 |  | 30.3177 | 70.6133 |  | 70.6133 | 2.8346 |  | 2.8346
BU 5 | 15 | 210 | 30.0188 |  | 30.0188 | 74.8528 |  | 74.8528 | 2.9598 |  | 2.9598
BU 5 | 15 | 209 | 29.9038 |  | 29.9038 | 77.791 |  | 77.791 | 3.0886 |  | 3.0886
JE 7 | 5 | 71 | 0.033784 |  | 0.033784 | 5.2408 |  | 6.6408 | 0.062681 |  | 0.074681 | corrected for turbidity
JE 7 | 5 | 70 | 0.7299 |  | 0.7299 | 10.61 |  | 10.61 | 0.31203 |  | 0.31603 | corrected for turbidity
JE 7 | 5 | 69 | 9.0652 |  | 9.0652 | 27.5314 |  | 27.5314 | 1.1086 |  | 1.1096 | corrected for turbidity
JE 7 | 5 | 68 | 23.2331 |  | 23.2331 | 42.5341 |  | 42.5341 | 2.2276 |  | 2.2276
JE 7 | 5 | 67 | 27.7744 |  | 27.7744 | 49.9948 |  | 49.9948 | 2.5215 |  | 2.5215
JE 7 | 5 | 66 | 31.0314 |  | 31.0314 | 55.3489 |  | 55.3489 | 2.7167 |  | 2.7167
JE 7 | 5 | 65 | 32.7788 |  | 32.7788 | 59.8024 |  | 59.8024 | 2.8792 |  | 2.8792
JE 7 | 5 | 64 | 34.4613 |  | 34.4613 | 68.2941 |  | 68.2941 | 3.1781 |  | 3.1781
JE 7 | 5 | 63 | 33.3012 |  | 33.3012 | 71.8534 |  | 71.8534 | 3.1718 |  | 3.1718
JE 7 | 5 | 62 | 31.9585 |  | 31.9585 | 72.7924 |  | 72.7924 | 3.0437 |  | 3.0437
JE 7 | 5 | 61 | 31.3089 |  | 31.3089 | 73.2275 |  | 73.2275 | 3.0372 |  | 3.0372
JE 7 | 5 | 60 | 30.6829 |  | 30.6829 | 73.0565 |  | 73.0565 | 3.0086 |  | 3.0086
JE 7 | 5 | 59 | 29.6895 |  | 29.6895 | 73.4922 |  | 73.4922 | 2.9688 |  | 2.9688
JE 7 | 5 | 58 | 30.306 |  | 30.306 | 83.5483 |  | 83.5483 | 3.2137 |  | 3.2137
JE 7 | 5 | 57 | 29.7727 |  | 29.7727 | 84.3973 |  | 84.3973 | 3.1999 |  | 3.1999 | N:oddly shaped peak
JE 7 | 5 | 56 | 29.1709 |  | 29.1709 | 87.0736 |  | 87.0736 | 3.2269 |  | 3.2269
JE 7 | 5 | 55 | 28.5926 | 27.9231 | 28.2579 | 94.731 | 92.8459 | 93.7884 | 3.3689 | 3.2958 | 3.3323

## variability
9931: Inlets, July, 1999
Variability of an unknown sample measured periodically throughout the analysis period.
The unknown was a sample of water taken from 125m at station P4, June, 1999.
date |  | nitrate | silicate | phosphate
990812 | P4 | 28.5049 | 40.2607 | 2.1068
| P4 | 29.0678 | 39.6035 | 2.1391
990815 | P4 | 29.5605 | 39.6602 | 2.1219
| P4 | 28.9409 | 39.5871 | 2.1167
| P4 | 28.8823 | 39.6725 | 2.1227
990816 | P4 | 29.9271 | 39.7786 | 2.1245
990817 | P4 | 29.0466 | 39.7589 | 2.1368
| P4 | 29.3165 | 39.5026 | 2.1156
990818 | P4 | 29.0614 | 39.3058 | 2.1084
| P4 | 28.6793 | 39.2984 | 2.1117
990819 | P4 | 29.1233 | 39.5401 | 2.1153
| P4 | 29.1605 | 39.551 | 2.1035
| P4 | 28.9792 | 39.3334 | 2.1299
| P4 | 29.2386 | 39.3079 | 2.1232
mean |  | 29.1064 | 39.5829 | 2.1197
std dev |  | 0.34969 | 0.25541 | 0.010708
expected |  | 29.9 | 38.7 | 2.16
%diff from exp |  | -2.6543 | 2.2814 | -1.865
Standard deviation among unknowns is low. The nutrient content of the water, since it was
collected in June, 1999, is slowly decreasing.
Pooled Deviation of pairs of duplicate samples
Nitrate
Sample | n1 | n2 | (n2-n2) | (n2-n1)^2
336 | 24.4549 | 24.5688 | -0.11389 | 0.012971
225 | 0.013826 | 0.012696 | 0.0011305 | 1.2781e-06
55 | 28.5926 | 27.9231 | 0.66952 | 0.44826
474 | 26.485 | 26.6407 | -0.15572 | 0.024249
516 | 1.5034 | 1.4587 | 0.044668 | 0.0019952
503 | 22.9738 | 22.9215 | 0.05235 | 0.0027405
579 | 22.6918 | 22.5062 | 0.18564 | 0.034462
1274 | 25.1144 | 25.3392 | -0.22481 | 0.05054
1171 | 0.84368 | 0.033757 | 0.80992 | 0.65597
1214 | 30.8968 | 30.9882 | -0.09135 | 0.0083448
961 | 21.6692 | 21.5115 | 0.15769 | 0.024866
902 | 1.7837 | 1.7604 | 0.023353 | 0.00054536
1727 | 19.8182 | 19.9414 | -0.12321 | 0.015181
1768 | 20.9763 | 21.0381 | -0.06183 | 0.0038229
1873 | 20.9746 | 21.0594 | -0.08474 | 0.0071809
1891 | 17.4245 | 17.3757 | 0.04876 | 0.0023775
1653 | 17.5407 | 17.4753 | 0.06534 | 0.0042693
1587 | 27.5149 | 27.7448 | -0.22983 | 0.052822
1382 | 29.8963 | 29.9931 | -0.09678 | 0.0093664
1934 | 18.6076 | 18.6225 | -0.01492 | 0.00022261
1495 | 0.010226 | 0.030407 | -0.020181 | 0.00040729
|  |  | sum of squared differences | 1.3606
|  |  | no. of pairs | 21
|  |  | pooled deviation | 0.17999
Silicate
Sample | n1 | n2 | (n2-n2) | (n2-n1)^2
336 | 45.6556 | 45.771 | -0.11536 | 0.013308
225 | 27.6976 | 23.0338 | 4.6639 | 21.7515
55 | 94.731 | 92.8459 | 1.8851 | 3.5535
474 | 49.4892 | 49.6072 | -0.11803 | 0.013931
516 | 13.5087 | 13.1073 | 0.40142 | 0.16114
503 | 82.9897 | 83.4994 | -0.50963 | 0.25972
579 | 100.0765 | 98.5454 | 1.5311 | 2.3443
1274 | 48.5519 | 48.5512 | 0.00071 | 5.041e-07
1171 | 7.0962 | 6.9964 | 0.099784 | 0.0099568
1214 | 58.7861 | 59.018 | -0.23193 | 0.053792
961 | 41.3873 | 41.385 | 0.00226 | 5.1076e-06
902 | 20.0322 | 19.6201 | 0.41209 | 0.16982
1727 | 48.2019 | 48.2392 | -0.03729 | 0.0013905
1768 | 43.2932 | 43.5181 | -0.22494 | 0.050598
1873 | 44.4329 | 44.6608 | -0.22799 | 0.051979
1891 | 43.7105 | 44.1409 | -0.43042 | 0.18526
1653 | 40.2566 | 40.1746 | 0.08205 | 0.0067322
1587 | 45.2569 | 45.2779 | -0.02106 | 0.00044352
1382 | 59.4076 | 59.532 | -0.12447 | 0.015493
1934 | 46.1375 | 46.44 | -0.30249 | 0.0915
1495 | 11.0851 | 11.3903 | -0.30524 | 0.093171
|  |  | sum of squared differences | 28.8275 | 7.076
|  |  | no. of pairs | 21 | 20
|  |  | pooled deviation | 0.82847 | 0.4206
Phosphate
Sample | n1 | n2 | (n2-n2) | (n2-n1)^2
336 | 2.1144 | 2.126 | -0.011521 | 0.00013273
225 | 0.11397 | 0.099347 | 0.014621 | 0.00021377
55 | 3.3689 | 3.2958 | 0.073121 | 0.0053467
474 | 2.2329 | 2.2517 | -0.01886 | 0.0003557
516 | 0.32923 | 0.34027 | -0.011042 | 0.00012192
503 | 3.4723 | 3.4312 | 0.04101 | 0.0016818
579 | 3.4204 | 3.3987 | 0.021612 | 0.00046708
1274 | 2.1226 | 2.1264 | -0.003745 | 1.4025e-05
1171 | 0.35914 | 0.27129 | 0.087846 | 0.0077169
1214 | 2.4204 | 2.4133 | 0.007098 | 5.0382e-05
961 | 1.8712 | 1.8382 | 0.03297 | 0.001087
902 | 0.24789 | 0.24045 | 0.0074328 | 5.5247e-05
1727 | 2.2439 | 2.2527 | -0.008716 | 7.5969e-05
1768 | 2.2636 | 2.2564 | 0.007134 | 5.0894e-05
1891 | 2.0307 | 2.0422 | -0.011534 | 0.00013303
1653 | 2.2054 | 2.1659 | 0.039536 | 0.0015631
1587 | 2.3546 | 2.3553 | -0.000772 | 5.9598e-07
1382 | 2.4941 | 2.4879 | 0.006137 | 3.7663e-05
1934 | 2.2536 | 2.2725 | -0.018912 | 0.00035766
1495 | 0.12111 | 0.13217 | -0.011062 | 0.00012236
|  |  | sum of squared differences | 0.019585
|  |  | no. of pairs | 20
|  |  | pooled deviation | 0.022127

## turbidity calculations
Cruise 9931: Inlets, August 1999
Corrections due to turbidity in Phosphate and Silicate channels
Turbidity of the sample was measured on the autoanalyzer relative to a DMQ baseline.
A correction for salinity was applied from predetermined data, and the total turbidity has been added to
the reported data.
Phosphate have only been corrected for salinity, because of a malfunction in the phosphate channel
during analysis.
Silicate |  |  |  | avg NaCl: 1.5
| sample | Salinity | measured | salt corr | turb
| 0 |  | 1.3367
| 225 | 3.1 | 0.11875 | 1.2749 | 1.3937
| 71 | 12.3 | 0.53019 | 0.82782 | 1.358
| 489 | 3.5 | 0.12385 | 1.2555 | 1.3793
| air |  | -0.078137
| 1226 | 8.3 | 0.53815 | 1.0222 | 1.5604
| 1225 | 14.6 | 0.74549 | 0.71604 | 1.4615
| 0 |  | 1.6404
| 974 | 0.83 | 0.11169 | 1.3853 | 1.4969
| 748 | 5.3 | 0.42104 | 1.168 | 1.5891
| 748 | 5.3 | 0.32186 | 1.168 | 1.4899
| 1395 | 3.1 | 0.22555 | 1.2749 | 1.5005
| 1495 | 7.3 | 0.53532 | 1.0708 | 1.6061
| 1495 | 7.3 | 0.64066 | 1.0708 | 1.7115
| 0 |  | 1.6674
| 350 | 2.6 | 0.53463 | 1.2992 | 1.8339
| 225 | 3.1 | 0.22976 | 1.2749 | 1.5047
| bkg |  | 0.028998 | 1.4256 | 1.4546
PO4
Sample | avg PO4 | salinity | salt factor |  | PO4+salt | salinity | salt factor
396 | 0.38523 | 19.17 | 0.001 |  | 0.38623 | 15 | 0.007
350 | 0.099363 | 2.64 | 0.03619 |  | 0.13555 | 10 | 0.016
225 | 0.10666 | 3.1 | 0.034516 |  | 0.14117 | 13 | 0.01
224 | 0.71825 | 20.8 | 0.001 |  | 0.71925 | 12 | 0.012
71 | 0.062681 | 12.3 | 0.012 |  | 0.074681 | 11 | 0.014
70 | 0.31203 | 17.1 | 0.004 |  | 0.31603 | 5 | 0.029
69 | 1.1086 | 23.4 | 0.001 |  | 1.1096
489 | 0.2448 | 3.5 | 0.03306 |  | 0.27786
516 | 0.33475 | 15.2 | 0.007 |  | 0.34175
594 | 0.064357 | 11.6 | 0.012 |  | 0.076357
593 | 0.29176 | 15.7 | 0.007 |  | 0.29876
1283 | 0.32475
1295 | 0.22934
1172 | 0.2053 | 16.8 | 0.004 |  | 0.2093
1171 | 0.31522 | 18.5 | 0.003 |  | 0.31822
403 | 1.076
1226 | 0.047775 | 8.3 | 0.015588 |  | 0.063363
1225 | 0.1504 | 14.6 | 0.008 |  | 0.1584
1079 | 0.2315
974 | 0.022736 | 0.83 | 0.042779 |  | 0.065515
973 | 0.79873
902 | 0.24417 | 11.1 | 0.014 |  | 0.25817
748 | 0.075722 | 5.3 | 0.026508 |  | 0.10223
747 | 0.59191 | 21.5 | 0.001 |  | 0.59291
1840 | 0.09024 | 16.6 | 0.004 |  | 0.09424
1738 | 0.14665
1799 | 0.083111 | 15.6 | 0.006 |  | 0.089111
1776 | 0.23209
1395 | 0.077798 | 3.1 | 0.034516 |  | 0.11231
1942 | 0.27656 | 12.1 | 0.012 |  | 0.28856
1495 | 0.12664 | 7.3 | 0.019228 |  | 0.14587