## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 10-Jan-2006 | Surface loop data was added to the archive. The data was acquired from John Morris at PBS. The original spreadsheet file from John and more detailed processing notes can be found in the “Cruise_Data\Documents” directory. Any questions regarding this data should be directed to John Morris. J.L. |

PROCESSING NOTES

Cruise: 9938

Agency: OSAP

Location: Gulf of Alaska

Project: High Seas Salmon

Party Chief: John Morris

Platform: W.E.Ricker

Date: 1 October 1999 – 17 October 1999

Processed by: Germaine Gatien

Date of Processing: 21 January 2000 – 28 January 2000

Number of original CTD casts: 63

Number of casts processed: 63

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD  (#506) was used.

SUMMARY OF QUALITY AND CONCERNS

The data was in good order. The descent rate of the CTD was very noisy.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files are *.dat.

2. Preliminary Steps

The Log Book was obtained.

The surface salinity data (from loop samples) was obtained.

The cruise summary sheet was completed. The configuration file was obtained and the calibration constants were checked. The sensor history was found.

- Conversion of Raw Data

The raw data was converted (without salinity) using conversion file 99380001.con. There were no rosette casts. An error in the station name in the header of cast #2 was corrected.

4. ALIGNCTD

The primary conductivity channel was advanced by –0.018s and the secondary conductivity advanced by 0.055s. The primary channel was aligned by +0.073 by the acquisition system, so the net effect is that both channels are advanced by +0.055s. Comparing casts #9 and 14 before and after this step showed that it was effective at removing spikes from the salinity where the temperature gradient was large. A few spikes remained, but these were associated with shed wakes.

5. WILDEDIT

Program WILDEDIT was used to remove spikes in Pressure.  Parameters used were:

Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

6. CELLTM

The conductivity cell thermal mass correction was done for both channels (alpha = 0.03; 1/beta = 9.0.)

7. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on a selection of casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity.

8. Test Plots and Channel Check

A sample of casts (#10, 30 and 55) was plotted to check for agreement between the pairs of T and C sensors. The temperature variations are very noisy but ignoring spikes are <0.001C° at 1000db while the conductivity differences range from 0.0002 to 0.0003units. Salinity values varied by 0.002psu to 0.003psu. In each case the primary sensors were higher than the secondary. These results are similar to those during 9933; while the conductivity and salinity differences are a little larger this is probably because the descent rate was very noisy during this cruise.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

10. Checking Headers

A header summary was produced and no errors found.

The surface check was run. The average surface pressure is 4.18db.

The header check was produced.

The cruise track was plotted and looks reasonable.

11. Test Plots

Profiles of all casts were examined for any evidence of problems with the processing. Cast #54 showed bad primary data on the downcast to about 300m. The log notes problems in salinity but in fact the primary temperature, conductivity and salinity were all bad.

- DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 20.00

Surface Swell Pressure Tolerance: 1.0

Pressure filtered over width: 15

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 15 points) was deleted.

Sample interval =       .04 seconds.

COMMENTS ON WARNINGS

Most warnings refer to surface and bottom depths only. Mid-depth downcast warnings were investigated for casts #30,52,53,54,55; all pertained to reversals of the CTD.

- CTDEDIT

A quick check of surface loop samples suggests that the primary salinity is closer to the bottles than the secondary. However, there was some question of drift in the primary conductivity sensor during 9909 and the primary sensors behaved badly during cast #54, so secondary sensors were chosen for further processing.

Page plots were produced using T1,S1 for all casts. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

CTDEDIT was used to clean noise in S and T near the surface and bottom for cast #1.

CTDEDIT was used for more extensive cleaning in the following casts: #2,9,10,30,35,36,43,48.

Note was made of the editing details in the relevant files.

14. BIN AVERAGE

The following Bin Average values were used:

Bin channel = pressure

Averaging interval = 1.000

Minimum bin value =   .000

Average value will be used

Interpolated values are NOT used for empty bins

15. Intercomparisons

Previous experience with these sensors – The primary conductivity sensor was used during 9913 and 9933 with the same temperature sensor as during this cruise. During 9913 surface salinity comparisons showed it producing results low by about 0.007psu and there was evidence of drift in the sensor. During 9933 the comparison with only 2 deep bottles gave salinity values low by 0.013psu. The secondary sensor was used during 9909 and 9933. During 9909 with a different temperature sensor the salinities were low by about 0.016psu and during 9933 with the same temperature sensor as this cruise the results were low by about 0.018psu.

COMPARE – There was no rosette samples from this cruise. Comparison of the loop samples with the shallowest data available in the metre-averaged files is given in file 9938loop.xls. The secondary salinity is lower than the loop samples by about 0.024psu.

Historic ranges - Plots were examined with historic ranges superimposed for several casts #28, 29, 36, 37 and 42. All traces were within the limits, but at 1000db the salinity is at or near the lower limit.

- Recalibration

The secondary salinity was found to be low by 0.016psu in 9909, 0.018psu in 9933 and 0.024psu using loop samples during this cruise. The edited CTD files were all recalibrated using file 9938rcal.ccf to raise the salinity by 0.020psu.

17. Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data.

- REMOVE

The following channels were removed from all casts: Primary Temperature, Primary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

19. Producing final files

a.) The final files were renamed *.ctd.

b.) A cross-reference listing was produced.

Particulars

14 – Slower descent due to wire angle

26 – Lot of loops in pressure because of motion

28 – Descent rate bad, lot of rolling motion

38 – CTD hit bottom

47 – Long time at surface, low descent rate

53 – Downcast and upcast T and S (both sets of sensors) quite different around 350db. The descent rate was very noisy with large reversals. The downcast looks better than the upcast.

54 – Primary salinity and temperature bad

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 9938

Dates: 	Start:   1 October 1999		  End:	17 October 1999

Location:   North-East Pacific

Vessel:   W.E.Ricker

Chief Scientist:	  John Morris (David Welch)

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0506 | no | yes |

Institute of Ocean Sciences

CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0506

Cruise ID#:		9938

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2710 | 24-MAR-99 | factory |  |  |
| Conductivity | 2280 | 19-MAR-99 | factory |  |  |
| Secondary Temp. | 2371 | 16-JUN-99 | factory |  |  |
| Secondary Cond. | 2278 | 19-MAR-99 | factory |  |  |
| Transmissometer | 197 | 14-JAN-99 | IOS |  |  |
| Pressure Sensor | 69698 | 12-NOV-97 | factory |  |  |

Sensor Calibration Notes:

The configuration file used is attached; this includes the sensor calibrations.