File List for SeaBird Data

Cruise Number: __9938___

[work2.ctd.9938] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.dir - subdirectories

9938proc.doc - processing notes

9938file.doc - this document

9938cal.ccf - recalibration file

9938loop.xls – comparison of loop samples and CTD

[work2.ctd.9938.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.9938.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.9938.ios2]

*.avg - data after metre-averaging using BINAVE

*.cor - recalibration after COMPARE

*.ctd - final files

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo* - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[work2.ctd.9938.hs9938ts] – files prepared at sea. Not used in processing.