## Sheet5
Column1
Mean | 0.00031804
Standard Error | 0.0027889
Median | -0.00142
Mode | #N/A
Standard Deviation | 0.01422
Sample Variance | 0.00020222
Kurtosis | -0.90908
Skewness | -0.14107
Range | 0.048143
Minimum | -0.024628
Maximum | 0.023515
Sum | 0.0082689
Count | 26
Confidence Level(95.0%) | 0.0057438

## Salinity Checks
|  | From CTD | [7 empty] | Alignment |  | From Bottle
ConsecNo | BottleNo | Pressure | T-Cell | C-Ratio | dS/dp | Salinity | SalErr |  | Cell Factor | Cast | Depth | Cast | SampleNo | NomDepth | BotSal | BotCR | Outlier | Centre | Bin | Frequency | Cumulative %
99390013 | 14 | 207.57 | -0.6472 | 0.64484 | 0.003 | #NAME? | #NAME? | #NAME? | #NAME? | ok | ok | 13 | 14 | 204.6 | 33.8157 | #NAME? | #NAME? |  | -0.41 | 5 | 0.026455 | -0.41
99390017 | 13 | 205.29 | -0.0304 | 0.65801 | 0.001 | #NAME? | #NAME? | #NAME? | #NAME? | ok | ok | 17 | 13 | 202.3 | 33.8856 | #NAME? | #NAME? |  | -0.41 | 5 | 0.026455 | -0.41
99390019 | 2 | 205.24 | 0.1403 | 0.66473 | 0 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 19 | 2 | 202.2 | 34.078 | #NAME? | #NAME? |  | -0.41 | 5 | 0.026455 | -0.41
99390023 | 7 | 204.81 | -0.7579 | 0.64426 | 0.002 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 23 | 7 | 201.8 | 33.8674 | #NAME? | #NAME? |  | -0.41 | 5 | 0.026455 | -0.41
99390025 | 8 | 204.69 | 0.4942 | 0.67149 | 0 | #NAME? | #NAME? | #NAME? | #NAME? | ok | ok | 25 | 8 | 201.7 | 34.051 | #NAME? | #NAME? |  | -0.41 | 5 | 0.026455 | -0.41
99390027 | 10 | 204 | -0.3162 | 0.65477 | 0.007 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 27 | 10 | 200.9 | 34.028 | #NAME? | #NAME? |  | -0.41 | 5 | 0.026455 | -0.41
99390030 | 2 | 204.87 | 0.4067 | 0.66516 | -0.001 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 30 | 2 | 201.7 | 33.7956 | #NAME? | #NAME? |  | -0.41 | 5 | 0.026455 | -0.41
99390033 | 4 | 205.31 | -0.4603 | 0.65057 | 0.005 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 33 | 4 | 202.2 | 33.9463 | #NAME? | #NAME? |  | -0.41 | 5 | 0.026455 | -0.41
99390035 | 4 | 205.26 | -0.7156 | 0.64581 | 0.008 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 35 | 4 | 202.2 | 33.9181 | #NAME? | #NAME?
99390054 | 12 | 205.71 | -0.0996 | 0.65929 | 0.005 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 54 | 12 | 202.6 | 34.023 | #NAME? | #NAME?
99390056 | 5 | 204.63 | 1.088 | 0.68232 | 0.005 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 56 | 5 | 201.5 | 33.9941 | #NAME? | #NAME?
99390058 | 2 | 204.11 | -0.0245 | 0.65415 | 0.004 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 58 | 2 | 201 | 33.64 | #NAME? | #NAME?
99390059 | 5 | 205.52 | 0.5988 | 0.6698 | 0.003 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 59 | 5 | 202.4 | 33.837 | #NAME? | #NAME?
99390065 | 3 | 205.26 | 0.2014 | 0.66539 | 0.001 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 65 | 3 | 202.2 | 34.029 | #NAME? | #NAME?
99390067 | 7 | 204.89 | 0.4937 | 0.6709 | 0.003 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 67 | 7 | 201.8 | 34.0313 | #NAME? | #NAME?
99390069 | 7 | 204.17 | -0.9188 | 0.63752 | 0.006 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 69 | 7 | 201.1 | 33.666 | #NAME? | #NAME?
99390072 | 3 | 155.2 | -1.0757 | 0.62974 | 0.003 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 72 | 3 | 152.1 | 33.448 | #NAME? | #NAME?
99390074 | 2 | 134.03 | -1.028 | 0.63179 | 0.011 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 74 | 2 | 131 | 33.4977 | #NAME? | #NAME?
99390076 | 3 | 133.79 | -0.7863 | 0.63813 | 0.015 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 76 | 3 | 130.7 | 33.59 | #NAME? | #NAME?
99390080 | 5 | 204.15 | -0.597 | 0.64976 | 0.006 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 80 | 5 | 201 | 34.042 | #NAME? | #NAME?
99390081 | 4 | 204.97 | -0.7031 | 0.64687 | 0.002 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 81 | 4 | 201.8 | 33.995 | #NAME? | #NAME?
99390083 | 12 | 205.63 | -0.7541 | 0.64448 | 0.003 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 83 | 12 | 202.5 | 33.897 | #NAME? | #NAME?
99390084 | 4 | 206.11 | -0.1018 | 0.65757 | 0.014 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 84 | 4 | 202.8 | 33.9289 | #NAME? | #NAME?
99390086 | 8 | 203.42 | 0.8964 | 0.68037 | 0.002 | #NAME? | #NAME? | #NAME? | #NAME? | ok | ok | 86 | 8 | 200.5 | 34.1038 | #NAME? | #NAME?
99390094 | 5 | 205.87 | 1.36 | 0.69024 | 0.005 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 94 | 5 | 202.8 | 34.1398 | #NAME? | #NAME?
99390097 | 9 | 205.22 | 1.6951 | 0.69771 | 0.009 | #NAME? | #NAME? | #NAME? | #NAME? | ok | Check | 97 | 9 | 202.2 | 34.1596 | #NAME? | #NAME?
[7 empty] | #NAME? | 0.01422
std dev
|  |  |  | leg 1 | #NAME?
|  |  |  | leg 2 | #NAME?
|  |  |  | all data | #NAME?