## File List
Number of Files= |  | 6
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 99400009.hyd | 99400009.sam | 12 | 23 | 99400009.hyd & 99400009.sam
2 | 99400010.hyd | 99400010.sam | 25 | 37 | 99400010.hyd & 99400010.sam
3 | 99400011.hyd | 99400011.sam | 39 | 51 | 99400011.hyd & 99400011.sam
4 | 99400021.hyd | 99400021.sam | 53 | 72 | 99400021.hyd & 99400021.sam
5 | 99400023.hyd | 99400023.sam | 74 | 88 | 99400023.hyd & 99400023.sam
6 | 99400042.hyd | 99400042.sam | 90 | 91 | 99400042.hyd & 99400042.sam

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.019656 |  | X | CALC Y
m= | -2.2164e-05 | 4.9498e-05 |  | Std Dev of Resid |  | 0.0013166 |  | 168.97 | 0.0014779
b= | 0.005223 | 0.0092306 |  | Resid Sum of Squares |  | 1.7335e-05 |  | 199.914 | 0.00079208
# of Values Extracted = |  |  | 75
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 186.288 | 32.9261 | 0.0006665 | 0.00064468 | 0.0010941 | 0.00044941 |  | 186.288 | 0.00064468
1 | YES | 180.013 | 32.925 | 0.00030198 | -0.00035477 | 0.0012332 | 0.0015879 |  | 180.013 | -0.00035477
1 | NO | 169.989 | 32.9225 | 0.00034126 | 131.922 | 0.0014553 | -131.9205 |  | 191.439 | 0.0002861
1 | NO | 160.012 | 32.9202 | 0.00031998 | 131.92 | 0.0016765 | -131.9183 |  | 180.229 | -0.001194
1 | NO | 149.742 | 32.9167 | 0.00029112 | 131.917 | 0.0019041 | -131.9151 |  | 199.914 | 0.0006218
1 | NO | 100.243 | 32.8369 | 0.00030312 | 131.837 | 0.0030012 | -131.834 |  | 189.401 | 0.00082398
1 | NO | 75.3882 | 32.7492 | 0.00031428 | 131.749 | 0.0035521 | -131.7454 |  | 195.415 | 0.001667
1 | NO | 50.1197 | 32.2778 | 0.0093882 | 131.278 | 0.0041121 | -131.2739 |  | 189.796 | 0.0011406
1 | NO | 29.9809 | 31.8626 | 0.00057417 | 130.863 | 0.0045585 | -130.8584 |  | 184.51 | 0.0010872
1 | NO | 19.9619 | 31.6837 | 0.0028992 | 130.684 | 0.0047805 | -130.6792 |  | 186.903 | 0.0030823
1 | NO | 10.316 | 31.3839 | 0.12706 | 130.384 | 0.0049943 | -130.379 |  | 183.044 | 0.0025368
1 | NO | 1.1406 | 28.0701 | 0.039949 | 127.07 | 0.0051977 | -127.0648 |  | 168.97 | 0.0027771 | 0.0010932
2 | YES | 191.439 | 32.9311 | 0.00033992 | 0.0002861 | 0.00097992 | 0.00069382
2 | YES | 180.229 | 32.9274 | 0.0002959 | -0.001194 | 0.0012284 | 0.0024224
2 | NO | 169.841 | 32.9236 | 0.00028422 | 131.924 | 0.0014586 | -131.9225
2 | NO | 160.478 | 32.9214 | 0.00047958 | 131.921 | 0.0016661 | -131.9193
2 | NO | 150.642 | 32.9154 | 0.00033158 | 131.915 | 0.0018841 | -131.9131
2 | NO | 124.927 | 32.8991 | 0.00048078 | 131.899 | 0.0024541 | -131.8965
2 | NO | 100.118 | 32.8452 | 0.00096437 | 131.845 | 0.003004 | -131.842
2 | NO | 75.5298 | 32.7633 | 0.0014335 | 131.763 | 0.0035489 | -131.7595
2 | NO | 50.2022 | 32.2898 | 0.0075897 | 131.29 | 0.0041103 | -131.2859
2 | NO | 30.3556 | 31.8745 | 0.0012383 | 130.874 | 0.0045502 | -130.8694
2 | NO | 20.5441 | 31.6981 | 0.017603 | 130.698 | 0.0047676 | -130.6932
2 | NO | 10.4755 | 31.2743 | 0.012018 | 130.274 | 0.0049908 | -130.269
2 | NO | 0.88773 | 27.5519 | 0.2701 | 126.552 | 0.0052033 | -126.5468
3 | YES | 199.914 | 32.9339 | 0.00029956 | 0.0006218 | 0.00079208 | 0.00017029
3 | YES | 189.401 | 32.9337 | 0.00030214 | 0.00082398 | 0.0010251 | 0.00020112
3 | NO | 179.891 | 32.9326 | 0.00037622 | 131.933 | 0.0012359 | -131.9318
3 | NO | 170.069 | 32.9317 | 0.00030521 | 131.932 | 0.0014536 | -131.9305
3 | NO | 159.565 | 32.9217 | 0.0003372 | 131.922 | 0.0016864 | -131.9203
3 | NO | 124.784 | 32.8946 | 0.00039644 | 131.895 | 0.0024573 | -131.8925
3 | NO | 99.0941 | 32.8499 | 0.00031602 | 131.85 | 0.0030266 | -131.847
3 | NO | 74.8465 | 32.7931 | 0.00465 | 131.793 | 0.0035641 | -131.7894
3 | NO | 48.9209 | 32.2083 | 0.0074353 | 131.208 | 0.0041387 | -131.2039
3 | NO | 29.55 | 31.8587 | 0.00051002 | 130.859 | 0.004568 | -130.8544
3 | NO | 19.9326 | 31.6923 | 0.00061937 | 130.692 | 0.0047812 | -130.6872
3 | NO | 9.861 | 31.3955 | 0.0015656 | 130.396 | 0.0050044 | -130.391
3 | NO | 1.0614 | 27.2993 | 0.17989 | 126.299 | 0.0051994 | -126.2938
4 | YES | 195.415 | 32.9354 | 0.00042344 | 0.001667 | 0.0008918 | -0.00077522
4 | YES | 189.796 | 32.9347 | 0.00044901 | 0.0011406 | 0.0010163 | -0.00012425
4 | YES | 184.51 | 32.934 | 0.00034687 | 0.0010872 | 0.0011335 | 4.6306e-05
4 | NO | 180.07 | 32.9334 | 0.00038278 | 131.933 | 0.0012319 | -131.9318
4 | NO | 174.695 | 32.933 | 0.00038101 | 131.933 | 0.001351 | -131.9316
4 | NO | 170.14 | 32.9309 | 0.00045103 | 131.931 | 0.001452 | -131.9295
4 | NO | 159.835 | 32.9236 | 0.00042723 | 131.924 | 0.0016804 | -131.9223
4 | NO | 149.759 | 32.9193 | 0.00046004 | 131.919 | 0.0019037 | -131.9171
4 | NO | 140.173 | 32.9133 | 0.0003417 | 131.913 | 0.0021162 | -131.9109
4 | NO | 130.182 | 32.9036 | 0.00036937 | 131.904 | 0.0023376 | -131.9017
4 | NO | 119.777 | 32.8926 | 0.00037399 | 131.893 | 0.0025682 | -131.8904
4 | NO | 110.039 | 32.8792 | 0.0003093 | 131.879 | 0.0027841 | -131.8762
4 | NO | 100.008 | 32.8566 | 0.00032117 | 131.857 | 0.0030064 | -131.854
4 | NO | 89.9937 | 32.8484 | 0.0008726 | 131.848 | 0.0032283 | -131.8448
4 | NO | 75.0761 | 32.8039 | 0.0014465 | 131.804 | 0.003559 | -131.8004
4 | NO | 49.9551 | 32.2144 | 0.0028392 | 131.214 | 0.0041158 | -131.2099
4 | NO | 29.8517 | 31.7611 | 0.0012546 | 130.761 | 0.0045613 | -130.7564
4 | NO | 20.4823 | 31.6841 | 0.0014398 | 130.684 | 0.004769 | -130.6792
4 | NO | 9.0426 | 31.3029 | 0.015124 | 130.303 | 0.0050225 | -130.298
4 | NO | 1.0484 | 24.495 | 0.8778 | 123.495 | 0.0051997 | -123.4898
5 | YES | 186.903 | 32.9334 | 0.00033348 | 0.0030823 | 0.0010805 | -0.0020018
5 | YES | 183.044 | 32.9335 | 0.00041487 | 0.0025368 | 0.001166 | -0.0013708
5 | NO | 175.117 | 32.9318 | 0.00033722 | 131.932 | 0.0013417 | -131.9307
5 | NO | 170.141 | 32.9298 | 0.00032603 | 131.93 | 0.001452 | -131.9285
5 | NO | 160.184 | 32.9269 | 0.00033059 | 131.927 | 0.0016727 | -131.9253
5 | NO | 150.267 | 32.9196 | 0.00029561 | 131.92 | 0.0018925 | -131.9181
5 | NO | 130.237 | 32.9031 | 0.00032433 | 131.903 | 0.0023364 | -131.9007
5 | NO | 110.348 | 32.8849 | 0.0011412 | 131.885 | 0.0027772 | -131.8822
5 | NO | 90.3169 | 32.8476 | 0.002822 | 131.848 | 0.0032212 | -131.8448
5 | NO | 74.9782 | 32.7688 | 0.0003319 | 131.769 | 0.0035611 | -131.7654
5 | NO | 50.3562 | 32.2189 | 0.0031277 | 131.219 | 0.0041069 | -131.2149
5 | NO | 30.3308 | 31.8453 | 0.025793 | 130.845 | 0.0045507 | -130.8404
5 | NO | 20.3721 | 31.6336 | 0.0023692 | 130.634 | 0.0047714 | -130.6292
5 | NO | 10.3874 | 31.2617 | 0.003454 | 130.262 | 0.0049927 | -130.257
5 | NO | 1.0539 | 23.0871 | 0.75338 | 122.087 | 0.0051996 | -122.0818
6 | YES | 168.97 | 33.768 | 0.00034798 | 0.0027771 | 0.0014779 | -0.0012992
6 | NO | 146.681 | 33.7703 | 0.00096543 | 0.0050545 | 0.0019719 | -0.0030825
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.33119 |  | X | CALC Y
m= | 5.1456e-05 | 2.3123e-05 |  | Std Dev of Resid |  | 0.00061507 |  | 168.97 | -0.013494
b= | -0.022188 | 0.0043121 |  | Resid Sum of Squares |  | 3.7831e-06 |  | 199.914 | -0.011902
# of Values Extracted = |  |  | 75
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 186.288 | 32.9133 | 0.0002978 | -0.012234 | -0.012603 | -0.0003692 |  | 186.288 | -0.012234
1 | YES | 180.013 | 32.9125 | 0.00027985 | -0.01289 | -0.012926 | -3.5883e-05 |  | 180.013 | -0.01289
1 | NO | 169.989 | 32.9098 | 0.0002621 | 131.91 | -0.013442 | -131.9234 |  | 191.439 | -0.012463
1 | NO | 160.012 | 32.9075 | 0.00025407 | 131.907 | -0.013955 | -131.921 |  | 180.229 | -0.014008
1 | NO | 149.742 | 32.9038 | 0.00027824 | 131.904 | -0.014483 | -131.9185 |  | 199.914 | -0.012291
1 | NO | 100.243 | 32.8242 | 0.0002758 | 131.824 | -0.01703 | -131.841 |  | 189.401 | -0.012184
1 | NO | 75.3882 | 32.7365 | 0.00027769 | 131.737 | -0.018309 | -131.7553 |  | 195.415 | -0.012013
1 | NO | 50.1197 | 32.2632 | 0.012178 | 131.263 | -0.01961 | -131.2826 |  | 189.796 | -0.012608
1 | NO | 29.9809 | 31.8513 | 0.0026058 | 130.851 | -0.020646 | -130.8716 |  | 184.51 | -0.013107
1 | NO | 19.9619 | 31.6736 | 0.0031227 | 130.674 | -0.021161 | -130.6952 |  | 186.903 | -0.012436
1 | NO | 10.316 | 31.4361 | 0.062962 | 130.436 | -0.021658 | -130.4577 |  | 183.044 | -0.011368
1 | NO | 1.1406 | 28.0735 | 0.010491 | 127.073 | -0.02213 | -127.0951 |  | 168.97 | -0.013611
2 | YES | 191.439 | 32.9183 | 0.00027989 | -0.012463 | -0.012338 | 0.00012475 |  |  |  | -0.012601
2 | YES | 180.229 | 32.9146 | 0.00029457 | -0.014008 | -0.012915 | 0.0010929
2 | NO | 169.841 | 32.9108 | 0.00029121 | 131.911 | -0.013449 | -131.9244
2 | NO | 160.478 | 32.9085 | 0.00027712 | 131.909 | -0.013931 | -131.9229
2 | NO | 150.642 | 32.9026 | 0.00027104 | 131.903 | -0.014437 | -131.9174
2 | NO | 124.927 | 32.8855 | 0.00095095 | 131.885 | -0.01576 | -131.9008
2 | NO | 100.118 | 32.8314 | 0.00062837 | 131.831 | -0.017037 | -131.848
2 | NO | 75.5298 | 32.7482 | 0.00048121 | 131.748 | -0.018302 | -131.7663
2 | NO | 50.2022 | 32.3184 | 0.019462 | 131.318 | -0.019605 | -131.3376
2 | NO | 30.3556 | 31.8569 | 0.00043727 | 130.857 | -0.020627 | -130.8776
2 | NO | 20.5441 | 31.6702 | 0.00054204 | 130.67 | -0.021131 | -130.6911
2 | NO | 10.4755 | 31.2524 | 0.015955 | 130.252 | -0.021649 | -130.2736
2 | NO | 0.88773 | 27.84 | 0.14324 | 126.84 | -0.022143 | -126.8621
3 | YES | 199.914 | 32.921 | 0.00024705 | -0.012291 | -0.011902 | 0.00038924
3 | YES | 189.401 | 32.9207 | 0.00027266 | -0.012184 | -0.012443 | -0.00025862
3 | NO | 179.891 | 32.9193 | 0.00031374 | 131.919 | -0.012932 | -131.9319
3 | NO | 170.069 | 32.9186 | 0.00028236 | 131.919 | -0.013437 | -131.9324
3 | NO | 159.565 | 32.9088 | 0.00028279 | 131.909 | -0.013978 | -131.923
3 | NO | 124.784 | 32.8816 | 0.0003627 | 131.882 | -0.015768 | -131.8978
3 | NO | 99.0941 | 32.8419 | 0.0024898 | 131.842 | -0.01709 | -131.8591
3 | NO | 74.8465 | 32.7848 | 0.0033147 | 131.785 | -0.018337 | -131.8033
3 | NO | 48.9209 | 32.2224 | 0.046686 | 131.222 | -0.019671 | -131.2417
3 | NO | 29.55 | 31.8456 | 0.0011991 | 130.846 | -0.020668 | -130.8667
3 | NO | 19.9326 | 31.679 | 0.00060853 | 130.679 | -0.021163 | -130.7002
3 | NO | 9.861 | 31.3633 | 0.0039503 | 130.363 | -0.021681 | -130.3847
3 | NO | 1.0614 | 26.9143 | 0.092994 | 125.914 | -0.022134 | -125.9361
4 | YES | 195.415 | 32.9217 | 0.0003006 | -0.012013 | -0.012133 | -0.00012076
4 | YES | 189.796 | 32.921 | 0.00028051 | -0.012608 | -0.012422 | 0.00018521
4 | YES | 184.51 | 32.9198 | 0.0021088 | -0.013107 | -0.012694 | 0.00041291
4 | NO | 180.07 | 32.9197 | 0.0007374 | 131.92 | -0.012923 | -131.9329
4 | NO | 174.695 | 32.9192 | 0.00030567 | 131.919 | -0.013199 | -131.9322
4 | NO | 170.14 | 32.917 | 0.00027583 | 131.917 | -0.013434 | -131.9304
4 | NO | 159.835 | 32.9103 | 0.00036285 | 131.91 | -0.013964 | -131.924
4 | NO | 149.759 | 32.9054 | 0.00034862 | 131.905 | -0.014483 | -131.9195
4 | NO | 140.173 | 32.8997 | 0.00027141 | 131.9 | -0.014976 | -131.915
4 | NO | 130.182 | 32.8902 | 0.00026856 | 131.89 | -0.01549 | -131.9055
4 | NO | 119.777 | 32.879 | 0.00026762 | 131.879 | -0.016025 | -131.895
4 | NO | 110.039 | 32.8656 | 0.00024216 | 131.866 | -0.016526 | -131.8825
4 | NO | 100.008 | 32.8422 | 0.0002659 | 131.842 | -0.017042 | -131.859
4 | NO | 89.9937 | 32.8337 | 0.0012685 | 131.834 | -0.017558 | -131.8516
4 | NO | 75.0761 | 32.7831 | 0.0022787 | 131.783 | -0.018325 | -131.8013
4 | NO | 49.9551 | 32.2017 | 0.001969 | 131.202 | -0.019618 | -131.2216
4 | NO | 29.8517 | 31.7535 | 0.0077357 | 130.754 | -0.020652 | -130.7747
4 | NO | 20.4823 | 31.6715 | 0.002486 | 130.672 | -0.021135 | -130.6931
4 | NO | 9.0426 | 31.2386 | 0.016325 | 130.239 | -0.021723 | -130.2607
4 | NO | 1.0484 | 28.6166 | 0.80772 | 127.617 | -0.022135 | -127.6391
5 | YES | 186.903 | 32.9179 | 0.00040703 | -0.012436 | -0.012571 | -0.00013535
5 | YES | 183.044 | 32.9196 | 0.00040966 | -0.011368 | -0.01277 | -0.001402
5 | NO | 175.117 | 32.9183 | 0.00031038 | 131.918 | -0.013178 | -131.9312
5 | NO | 170.141 | 32.9161 | 0.0002567 | 131.916 | -0.013434 | -131.9294
5 | NO | 160.184 | 32.9132 | 0.00031096 | 131.913 | -0.013946 | -131.9269
5 | NO | 150.267 | 32.9059 | 0.00028696 | 131.906 | -0.014456 | -131.9205
5 | NO | 130.237 | 32.8891 | 0.0002607 | 131.889 | -0.015487 | -131.9045
5 | NO | 110.348 | 32.8711 | 0.0012198 | 131.871 | -0.01651 | -131.8875
5 | NO | 90.3169 | 32.8351 | 0.0017759 | 131.835 | -0.017541 | -131.8525
5 | NO | 74.9782 | 32.7551 | 0.00030686 | 131.755 | -0.01833 | -131.7733
5 | NO | 50.3562 | 32.2085 | 0.0064589 | 131.209 | -0.019597 | -131.2286
5 | NO | 30.3308 | 31.7892 | 0.014122 | 130.789 | -0.020628 | -130.8096
5 | NO | 20.3721 | 31.6179 | 0.001924 | 130.618 | -0.02114 | -130.6391
5 | NO | 10.3874 | 31.2568 | 0.0049448 | 130.257 | -0.021654 | -130.2787
5 | NO | 1.0539 | 23.3882 | 0.85658 | 122.388 | -0.022134 | -122.4101
6 | YES | 168.97 | 33.7516 | 0.00028182 | -0.013611 | -0.013494 | 0.00011679
6 | NO | 146.681 | 33.7514 | 0.0019897 | -0.013794 | -0.014641 | -0.000847
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal0 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.74396 |  | X | CALC Y
m= | 0.00067742 | 0.00012567 |  | Std Dev of Resid |  | 0.00067287 |  | 1 | -0.00048742
b= | -0.0011648 | 0.00046175 |  | Resid Sum of Squares |  | 4.5275e-06 |  | 6 | 0.0028997
# of Values Extracted = |  |  | 75
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 186.288 | 32.9261 | 0.0006665 | 0.00064468 | -0.00048742 | -0.0011321 |  | 1 | 0.00064468
1 | YES | 180.013 | 32.925 | 0.00030198 | -0.00035477 | -0.00048742 | -0.00013265 |  | 1 | -0.00035477
1 | NO | 169.989 | 32.9225 | 0.00034126 | 131.922 | -0.00048742 | -131.9225 |  | 2 | 0.0002861
1 | NO | 160.012 | 32.9202 | 0.00031998 | 131.92 | -0.00048742 | -131.9205 |  | 2 | -0.001194
1 | NO | 149.742 | 32.9167 | 0.00029112 | 131.917 | -0.00048742 | -131.9175 |  | 3 | 0.0006218
1 | NO | 100.243 | 32.8369 | 0.00030312 | 131.837 | -0.00048742 | -131.8375 |  | 3 | 0.00082398
1 | NO | 75.3882 | 32.7492 | 0.00031428 | 131.749 | -0.00048742 | -131.7495 |  | 4 | 0.001667
1 | NO | 50.1197 | 32.2778 | 0.0093882 | 131.278 | -0.00048742 | -131.2785 |  | 4 | 0.0011406
1 | NO | 29.9809 | 31.8626 | 0.00057417 | 130.863 | -0.00048742 | -130.8635 |  | 4 | 0.0010872
1 | NO | 19.9619 | 31.6837 | 0.0028992 | 130.684 | -0.00048742 | -130.6845 |  | 5 | 0.0030823
1 | NO | 10.316 | 31.3839 | 0.12706 | 130.384 | -0.00048742 | -130.3845 |  | 5 | 0.0025368
1 | NO | 1.1406 | 28.0701 | 0.039949 | 127.07 | -0.00048742 | -127.0705 |  | 6 | 0.0027771
2 | YES | 191.439 | 32.9311 | 0.00033992 | 0.0002861 | 0.00019 | -9.6099e-05
2 | YES | 180.229 | 32.9274 | 0.0002959 | -0.001194 | 0.00019 | 0.001384
2 | NO | 169.841 | 32.9236 | 0.00028422 | 131.924 | 0.00019 | -131.9238
2 | NO | 160.478 | 32.9214 | 0.00047958 | 131.921 | 0.00019 | -131.9208
2 | NO | 150.642 | 32.9154 | 0.00033158 | 131.915 | 0.00019 | -131.9148
2 | NO | 124.927 | 32.8991 | 0.00048078 | 131.899 | 0.00019 | -131.8988
2 | NO | 100.118 | 32.8452 | 0.00096437 | 131.845 | 0.00019 | -131.8448
2 | NO | 75.5298 | 32.7633 | 0.0014335 | 131.763 | 0.00019 | -131.7628
2 | NO | 50.2022 | 32.2898 | 0.0075897 | 131.29 | 0.00019 | -131.2898
2 | NO | 30.3556 | 31.8745 | 0.0012383 | 130.874 | 0.00019 | -130.8738
2 | NO | 20.5441 | 31.6981 | 0.017603 | 130.698 | 0.00019 | -130.6978
2 | NO | 10.4755 | 31.2743 | 0.012018 | 130.274 | 0.00019 | -130.2738
2 | NO | 0.88773 | 27.5519 | 0.2701 | 126.552 | 0.00019 | -126.5518
3 | YES | 199.914 | 32.9339 | 0.00029956 | 0.0006218 | 0.00086742 | 0.00024563
3 | YES | 189.401 | 32.9337 | 0.00030214 | 0.00082398 | 0.00086742 | 4.3447e-05
3 | NO | 179.891 | 32.9326 | 0.00037622 | 131.933 | 0.00086742 | -131.9321
3 | NO | 170.069 | 32.9317 | 0.00030521 | 131.932 | 0.00086742 | -131.9311
3 | NO | 159.565 | 32.9217 | 0.0003372 | 131.922 | 0.00086742 | -131.9211
3 | NO | 124.784 | 32.8946 | 0.00039644 | 131.895 | 0.00086742 | -131.8941
3 | NO | 99.0941 | 32.8499 | 0.00031602 | 131.85 | 0.00086742 | -131.8491
3 | NO | 74.8465 | 32.7931 | 0.00465 | 131.793 | 0.00086742 | -131.7921
3 | NO | 48.9209 | 32.2083 | 0.0074353 | 131.208 | 0.00086742 | -131.2071
3 | NO | 29.55 | 31.8587 | 0.00051002 | 130.859 | 0.00086742 | -130.8581
3 | NO | 19.9326 | 31.6923 | 0.00061937 | 130.692 | 0.00086742 | -130.6911
3 | NO | 9.861 | 31.3955 | 0.0015656 | 130.396 | 0.00086742 | -130.3951
3 | NO | 1.0614 | 27.2993 | 0.17989 | 126.299 | 0.00086742 | -126.2981
4 | YES | 195.415 | 32.9354 | 0.00042344 | 0.001667 | 0.0015448 | -0.00012218
4 | YES | 189.796 | 32.9347 | 0.00044901 | 0.0011406 | 0.0015448 | 0.00040425
4 | YES | 184.51 | 32.934 | 0.00034687 | 0.0010872 | 0.0015448 | 0.00045765
4 | NO | 180.07 | 32.9334 | 0.00038278 | 131.933 | 0.0015448 | -131.9315
4 | NO | 174.695 | 32.933 | 0.00038101 | 131.933 | 0.0015448 | -131.9315
4 | NO | 170.14 | 32.9309 | 0.00045103 | 131.931 | 0.0015448 | -131.9295
4 | NO | 159.835 | 32.9236 | 0.00042723 | 131.924 | 0.0015448 | -131.9225
4 | NO | 149.759 | 32.9193 | 0.00046004 | 131.919 | 0.0015448 | -131.9175
4 | NO | 140.173 | 32.9133 | 0.0003417 | 131.913 | 0.0015448 | -131.9115
4 | NO | 130.182 | 32.9036 | 0.00036937 | 131.904 | 0.0015448 | -131.9025
4 | NO | 119.777 | 32.8926 | 0.00037399 | 131.893 | 0.0015448 | -131.8915
4 | NO | 110.039 | 32.8792 | 0.0003093 | 131.879 | 0.0015448 | -131.8775
4 | NO | 100.008 | 32.8566 | 0.00032117 | 131.857 | 0.0015448 | -131.8555
4 | NO | 89.9937 | 32.8484 | 0.0008726 | 131.848 | 0.0015448 | -131.8465
4 | NO | 75.0761 | 32.8039 | 0.0014465 | 131.804 | 0.0015448 | -131.8025
4 | NO | 49.9551 | 32.2144 | 0.0028392 | 131.214 | 0.0015448 | -131.2125
4 | NO | 29.8517 | 31.7611 | 0.0012546 | 130.761 | 0.0015448 | -130.7595
4 | NO | 20.4823 | 31.6841 | 0.0014398 | 130.684 | 0.0015448 | -130.6825
4 | NO | 9.0426 | 31.3029 | 0.015124 | 130.303 | 0.0015448 | -130.3015
4 | NO | 1.0484 | 24.495 | 0.8778 | 123.495 | 0.0015448 | -123.4935
5 | YES | 186.903 | 32.9334 | 0.00033348 | 0.0030823 | 0.0022223 | -0.00086002
5 | YES | 183.044 | 32.9335 | 0.00041487 | 0.0025368 | 0.0022223 | -0.00031451
5 | NO | 175.117 | 32.9318 | 0.00033722 | 131.932 | 0.0022223 | -131.9298
5 | NO | 170.141 | 32.9298 | 0.00032603 | 131.93 | 0.0022223 | -131.9278
5 | NO | 160.184 | 32.9269 | 0.00033059 | 131.927 | 0.0022223 | -131.9248
5 | NO | 150.267 | 32.9196 | 0.00029561 | 131.92 | 0.0022223 | -131.9178
5 | NO | 130.237 | 32.9031 | 0.00032433 | 131.903 | 0.0022223 | -131.9008
5 | NO | 110.348 | 32.8849 | 0.0011412 | 131.885 | 0.0022223 | -131.8828
5 | NO | 90.3169 | 32.8476 | 0.002822 | 131.848 | 0.0022223 | -131.8458
5 | NO | 74.9782 | 32.7688 | 0.0003319 | 131.769 | 0.0022223 | -131.7668
5 | NO | 50.3562 | 32.2189 | 0.0031277 | 131.219 | 0.0022223 | -131.2168
5 | NO | 30.3308 | 31.8453 | 0.025793 | 130.845 | 0.0022223 | -130.8428
5 | NO | 20.3721 | 31.6336 | 0.0023692 | 130.634 | 0.0022223 | -130.6318
5 | NO | 10.3874 | 31.2617 | 0.003454 | 130.262 | 0.0022223 | -130.2598
5 | NO | 1.0539 | 23.0871 | 0.75338 | 122.087 | 0.0022223 | -122.0848
6 | YES | 168.97 | 33.768 | 0.00034798 | 0.0027771 | 0.0028997 | 0.00012258
6 | NO | 146.681 | 33.7703 | 0.00096543 | 0.0050545 | 0.0028997 | -0.0021548
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_Bot) (2)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
3
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=File Pair #
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0056104 |  | X | CALC Y
m= | 3.3272e-05 | 0.00014007 |  | Std Dev of Resid |  | 0.00074998 |  | 1 | -0.012679
b= | -0.012712 | 0.00051467 |  | Resid Sum of Squares |  | 5.6247e-06 |  | 6 | -0.012512
# of Values Extracted = |  |  | 75
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | File Pair #
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | YES | 186.288 | 32.9133 | 0.0002978 | -0.012234 | -0.012679 | -0.00044483 |  | 1 | -0.012234
1 | YES | 180.013 | 32.9125 | 0.00027985 | -0.01289 | -0.012679 | 0.00021137 |  | 1 | -0.01289
1 | NO | 169.989 | 32.9098 | 0.0002621 | 131.91 | -0.012679 | -131.9227 |  | 2 | -0.012463
1 | NO | 160.012 | 32.9075 | 0.00025407 | 131.907 | -0.012679 | -131.9197 |  | 2 | -0.014008
1 | NO | 149.742 | 32.9038 | 0.00027824 | 131.904 | -0.012679 | -131.9167 |  | 3 | -0.012291
1 | NO | 100.243 | 32.8242 | 0.0002758 | 131.824 | -0.012679 | -131.8367 |  | 3 | -0.012184
1 | NO | 75.3882 | 32.7365 | 0.00027769 | 131.737 | -0.012679 | -131.7497 |  | 4 | -0.012013
1 | NO | 50.1197 | 32.2632 | 0.012178 | 131.263 | -0.012679 | -131.2757 |  | 4 | -0.012608
1 | NO | 29.9809 | 31.8513 | 0.0026058 | 130.851 | -0.012679 | -130.8637 |  | 4 | -0.013107
1 | NO | 19.9619 | 31.6736 | 0.0031227 | 130.674 | -0.012679 | -130.6867 |  | 5 | -0.012436
1 | NO | 10.316 | 31.4361 | 0.062962 | 130.436 | -0.012679 | -130.4487 |  | 5 | -0.011368
1 | NO | 1.1406 | 28.0735 | 0.010491 | 127.073 | -0.012679 | -127.0857 |  | 6 | -0.013611
2 | YES | 191.439 | 32.9183 | 0.00027989 | -0.012463 | -0.012645 | -0.00018266
2 | YES | 180.229 | 32.9146 | 0.00029457 | -0.014008 | -0.012645 | 0.0013623
2 | NO | 169.841 | 32.9108 | 0.00029121 | 131.911 | -0.012645 | -131.9236
2 | NO | 160.478 | 32.9085 | 0.00027712 | 131.909 | -0.012645 | -131.9216
2 | NO | 150.642 | 32.9026 | 0.00027104 | 131.903 | -0.012645 | -131.9156
2 | NO | 124.927 | 32.8855 | 0.00095095 | 131.885 | -0.012645 | -131.8976
2 | NO | 100.118 | 32.8314 | 0.00062837 | 131.831 | -0.012645 | -131.8436
2 | NO | 75.5298 | 32.7482 | 0.00048121 | 131.748 | -0.012645 | -131.7606
2 | NO | 50.2022 | 32.3184 | 0.019462 | 131.318 | -0.012645 | -131.3306
2 | NO | 30.3556 | 31.8569 | 0.00043727 | 130.857 | -0.012645 | -130.8696
2 | NO | 20.5441 | 31.6702 | 0.00054204 | 130.67 | -0.012645 | -130.6826
2 | NO | 10.4755 | 31.2524 | 0.015955 | 130.252 | -0.012645 | -130.2646
2 | NO | 0.88773 | 27.84 | 0.14324 | 126.84 | -0.012645 | -126.8526
3 | YES | 199.914 | 32.921 | 0.00024705 | -0.012291 | -0.012612 | -0.00032099
3 | YES | 189.401 | 32.9207 | 0.00027266 | -0.012184 | -0.012612 | -0.00042789
3 | NO | 179.891 | 32.9193 | 0.00031374 | 131.919 | -0.012612 | -131.9316
3 | NO | 170.069 | 32.9186 | 0.00028236 | 131.919 | -0.012612 | -131.9316
3 | NO | 159.565 | 32.9088 | 0.00028279 | 131.909 | -0.012612 | -131.9216
3 | NO | 124.784 | 32.8816 | 0.0003627 | 131.882 | -0.012612 | -131.8946
3 | NO | 99.0941 | 32.8419 | 0.0024898 | 131.842 | -0.012612 | -131.8546
3 | NO | 74.8465 | 32.7848 | 0.0033147 | 131.785 | -0.012612 | -131.7976
3 | NO | 48.9209 | 32.2224 | 0.046686 | 131.222 | -0.012612 | -131.2346
3 | NO | 29.55 | 31.8456 | 0.0011991 | 130.846 | -0.012612 | -130.8586
3 | NO | 19.9326 | 31.679 | 0.00060853 | 130.679 | -0.012612 | -130.6916
3 | NO | 9.861 | 31.3633 | 0.0039503 | 130.363 | -0.012612 | -130.3756
3 | NO | 1.0614 | 26.9143 | 0.092994 | 125.914 | -0.012612 | -125.9266
4 | YES | 195.415 | 32.9217 | 0.0003006 | -0.012013 | -0.012579 | -0.00056622
4 | YES | 189.796 | 32.921 | 0.00028051 | -0.012608 | -0.012579 | 2.8881e-05
4 | YES | 184.51 | 32.9198 | 0.0021088 | -0.013107 | -0.012579 | 0.00052858
4 | NO | 180.07 | 32.9197 | 0.0007374 | 131.92 | -0.012579 | -131.9326
4 | NO | 174.695 | 32.9192 | 0.00030567 | 131.919 | -0.012579 | -131.9316
4 | NO | 170.14 | 32.917 | 0.00027583 | 131.917 | -0.012579 | -131.9296
4 | NO | 159.835 | 32.9103 | 0.00036285 | 131.91 | -0.012579 | -131.9226
4 | NO | 149.759 | 32.9054 | 0.00034862 | 131.905 | -0.012579 | -131.9176
4 | NO | 140.173 | 32.8997 | 0.00027141 | 131.9 | -0.012579 | -131.9126
4 | NO | 130.182 | 32.8902 | 0.00026856 | 131.89 | -0.012579 | -131.9026
4 | NO | 119.777 | 32.879 | 0.00026762 | 131.879 | -0.012579 | -131.8916
4 | NO | 110.039 | 32.8656 | 0.00024216 | 131.866 | -0.012579 | -131.8786
4 | NO | 100.008 | 32.8422 | 0.0002659 | 131.842 | -0.012579 | -131.8546
4 | NO | 89.9937 | 32.8337 | 0.0012685 | 131.834 | -0.012579 | -131.8466
4 | NO | 75.0761 | 32.7831 | 0.0022787 | 131.783 | -0.012579 | -131.7956
4 | NO | 49.9551 | 32.2017 | 0.001969 | 131.202 | -0.012579 | -131.2146
4 | NO | 29.8517 | 31.7535 | 0.0077357 | 130.754 | -0.012579 | -130.7666
4 | NO | 20.4823 | 31.6715 | 0.002486 | 130.672 | -0.012579 | -130.6846
4 | NO | 9.0426 | 31.2386 | 0.016325 | 130.239 | -0.012579 | -130.2516
4 | NO | 1.0484 | 28.6166 | 0.80772 | 127.617 | -0.012579 | -127.6296
5 | YES | 186.903 | 32.9179 | 0.00040703 | -0.012436 | -0.012545 | -0.00010955
5 | YES | 183.044 | 32.9196 | 0.00040966 | -0.011368 | -0.012545 | -0.0011776
5 | NO | 175.117 | 32.9183 | 0.00031038 | 131.918 | -0.012545 | -131.9305
5 | NO | 170.141 | 32.9161 | 0.0002567 | 131.916 | -0.012545 | -131.9285
5 | NO | 160.184 | 32.9132 | 0.00031096 | 131.913 | -0.012545 | -131.9255
5 | NO | 150.267 | 32.9059 | 0.00028696 | 131.906 | -0.012545 | -131.9185
5 | NO | 130.237 | 32.8891 | 0.0002607 | 131.889 | -0.012545 | -131.9015
5 | NO | 110.348 | 32.8711 | 0.0012198 | 131.871 | -0.012545 | -131.8835
5 | NO | 90.3169 | 32.8351 | 0.0017759 | 131.835 | -0.012545 | -131.8475
5 | NO | 74.9782 | 32.7551 | 0.00030686 | 131.755 | -0.012545 | -131.7675
5 | NO | 50.3562 | 32.2085 | 0.0064589 | 131.209 | -0.012545 | -131.2215
5 | NO | 30.3308 | 31.7892 | 0.014122 | 130.789 | -0.012545 | -130.8015
5 | NO | 20.3721 | 31.6179 | 0.001924 | 130.618 | -0.012545 | -130.6305
5 | NO | 10.3874 | 31.2568 | 0.0049448 | 130.257 | -0.012545 | -130.2695
5 | NO | 1.0539 | 23.3882 | 0.85658 | 122.388 | -0.012545 | -122.4005
6 | YES | 168.97 | 33.7516 | 0.00028182 | -0.013611 | -0.012512 | 0.0010986
6 | NO | 146.681 | 33.7514 | 0.0019897 | -0.013794 | -0.012512 | 0.0012817
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
99400009.hyd | 99400009.sam | 121 | 186.293 | 186.288 | 0.024969 | -0.0050354 | 32.9255 | 32.9261 | 0.0006665 | 0.00064468 | 32.9255 | 32.9133 | 0.0002978 | -0.012234
99400009.hyd | 99400009.sam | 121 | 180.013 | 180.013 | 0.023091 | -0.00042725 | 32.9254 | 32.925 | 0.00030198 | -0.00035477 | 32.9254 | 32.9125 | 0.00027985 | -0.01289
99400009.hyd | 99400009.sam | 121 | 169.99 | 169.989 | 0.025647 | -0.00064087 | -99 | 32.9225 | 0.00034126 | 131.922 | -99 | 32.9098 | 0.0002621 | 131.91
99400009.hyd | 99400009.sam | 121 | 160.011 | 160.012 | 0.022435 | 0.00059509 | -99 | 32.9202 | 0.00031998 | 131.92 | -99 | 32.9075 | 0.00025407 | 131.907
99400009.hyd | 99400009.sam | 121 | 149.742 | 149.742 | 0.025569 | 0.00022888 | -99 | 32.9167 | 0.00029112 | 131.917 | -99 | 32.9038 | 0.00027824 | 131.904
99400009.hyd | 99400009.sam | 121 | 100.242 | 100.243 | 0.024126 | 0.00060272 | -99 | 32.8369 | 0.00030312 | 131.837 | -99 | 32.8242 | 0.0002758 | 131.824
99400009.hyd | 99400009.sam | 121 | 75.388 | 75.3882 | 0.025725 | 0.00018311 | -99 | 32.7492 | 0.00031428 | 131.749 | -99 | 32.7365 | 0.00027769 | 131.737
99400009.hyd | 99400009.sam | 121 | 50.12 | 50.1197 | 0.022636 | -0.00028992 | -99 | 32.2778 | 0.0093882 | 131.278 | -99 | 32.2632 | 0.012178 | 131.263
99400009.hyd | 99400009.sam | 121 | 29.979 | 29.9809 | 0.022034 | 0.0018673 | -99 | 31.8626 | 0.00057417 | 130.863 | -99 | 31.8513 | 0.0026058 | 130.851
99400009.hyd | 99400009.sam | 121 | 19.961 | 19.9619 | 0.026002 | 0.00085831 | -99 | 31.6837 | 0.0028992 | 130.684 | -99 | 31.6736 | 0.0031227 | 130.674
99400009.hyd | 99400009.sam | 121 | 10.313 | 10.316 | 0.026844 | 0.0029507 | -99 | 31.3839 | 0.12706 | 130.384 | -99 | 31.4361 | 0.062962 | 130.436
99400009.hyd | 99400009.sam | 121 | 1.143 | 1.1406 | 0.030023 | -0.0024133 | -99 | 28.0701 | 0.039949 | 127.07 | -99 | 28.0735 | 0.010491 | 127.073
99400010.hyd | 99400010.sam | 121 | 191.441 | 191.439 | 0.022154 | -0.0019989 | 32.9308 | 32.9311 | 0.00033992 | 0.0002861 | 32.9308 | 32.9183 | 0.00027989 | -0.012463
99400010.hyd | 99400010.sam | 121 | 180.228 | 180.229 | 0.023545 | 0.00086975 | 32.9286 | 32.9274 | 0.0002959 | -0.001194 | 32.9286 | 32.9146 | 0.00029457 | -0.014008
99400010.hyd | 99400010.sam | 121 | 169.841 | 169.841 | 0.026136 | -3.0518e-05 | -99 | 32.9236 | 0.00028422 | 131.924 | -99 | 32.9108 | 0.00029121 | 131.911
99400010.hyd | 99400010.sam | 121 | 160.478 | 160.478 | 0.023867 | -0.00030518 | -99 | 32.9214 | 0.00047958 | 131.921 | -99 | 32.9085 | 0.00027712 | 131.909
99400010.hyd | 99400010.sam | 121 | 150.641 | 150.642 | 0.023621 | 0.00053406 | -99 | 32.9154 | 0.00033158 | 131.915 | -99 | 32.9026 | 0.00027104 | 131.903
99400010.hyd | 99400010.sam | 121 | 124.927 | 124.927 | 0.023883 | 0.00037384 | -99 | 32.8991 | 0.00048078 | 131.899 | -99 | 32.8855 | 0.00095095 | 131.885
99400010.hyd | 99400010.sam | 121 | 100.115 | 100.118 | 0.028022 | 0.0026474 | -99 | 32.8452 | 0.00096437 | 131.845 | -99 | 32.8314 | 0.00062837 | 131.831
99400010.hyd | 99400010.sam | 121 | 75.529 | 75.5298 | 0.025325 | 0.00080872 | -99 | 32.7633 | 0.0014335 | 131.763 | -99 | 32.7482 | 0.00048121 | 131.748
99400010.hyd | 99400010.sam | 121 | 50.202 | 50.2022 | 0.022182 | 0.00021362 | -99 | 32.2898 | 0.0075897 | 131.29 | -99 | 32.3184 | 0.019462 | 131.318
99400010.hyd | 99400010.sam | 121 | 30.355 | 30.3556 | 0.029279 | 0.00063705 | -99 | 31.8745 | 0.0012383 | 130.874 | -99 | 31.8569 | 0.00043727 | 130.857
99400010.hyd | 99400010.sam | 121 | 20.543 | 20.5441 | 0.019524 | 0.0010738 | -99 | 31.6981 | 0.017603 | 130.698 | -99 | 31.6702 | 0.00054204 | 130.67
99400010.hyd | 99400010.sam | 121 | 10.475 | 10.4755 | 0.021079 | 0.00051212 | -99 | 31.2743 | 0.012018 | 130.274 | -99 | 31.2524 | 0.015955 | 130.252
99400010.hyd | 99400010.sam | 121 | 0.893 | 0.88773 | 0.03768 | -0.0052727 | -99 | 27.5519 | 0.2701 | 126.552 | -99 | 27.84 | 0.14324 | 126.84
99400011.hyd | 99400011.sam | 121 | 199.914 | 199.914 | 0.025134 | -0.00033569 | 32.9333 | 32.9339 | 0.00029956 | 0.0006218 | 32.9333 | 32.921 | 0.00024705 | -0.012291
99400011.hyd | 99400011.sam | 121 | 189.4 | 189.401 | 0.024 | 0.0014801 | 32.9329 | 32.9337 | 0.00030214 | 0.00082398 | 32.9329 | 32.9207 | 0.00027266 | -0.012184
99400011.hyd | 99400011.sam | 121 | 179.891 | 179.891 | 0.02595 | -0.00041199 | -99 | 32.9326 | 0.00037622 | 131.933 | -99 | 32.9193 | 0.00031374 | 131.919
99400011.hyd | 99400011.sam | 121 | 170.07 | 170.069 | 0.023365 | -0.00061035 | -99 | 32.9317 | 0.00030521 | 131.932 | -99 | 32.9186 | 0.00028236 | 131.919
99400011.hyd | 99400011.sam | 121 | 159.565 | 159.565 | 0.02404 | 3.0518e-05 | -99 | 32.9217 | 0.0003372 | 131.922 | -99 | 32.9088 | 0.00028279 | 131.909
99400011.hyd | 99400011.sam | 121 | 124.781 | 124.784 | 0.025746 | 0.003212 | -99 | 32.8946 | 0.00039644 | 131.895 | -99 | 32.8816 | 0.0003627 | 131.882
99400011.hyd | 99400011.sam | 121 | 99.092 | 99.0941 | 0.026156 | 0.002121 | -99 | 32.8499 | 0.00031602 | 131.85 | -99 | 32.8419 | 0.0024898 | 131.842
99400011.hyd | 99400011.sam | 121 | 74.844 | 74.8465 | 0.027028 | 0.0024643 | -99 | 32.7931 | 0.00465 | 131.793 | -99 | 32.7848 | 0.0033147 | 131.785
99400011.hyd | 99400011.sam | 121 | 48.919 | 48.9209 | 0.026848 | 0.0019341 | -99 | 32.2083 | 0.0074353 | 131.208 | -99 | 32.2224 | 0.046686 | 131.222
99400011.hyd | 99400011.sam | 121 | 29.554 | 29.55 | 0.025758 | -0.0040245 | -99 | 31.8587 | 0.00051002 | 130.859 | -99 | 31.8456 | 0.0011991 | 130.846
99400011.hyd | 99400011.sam | 121 | 19.929 | 19.9326 | 0.025176 | 0.0035706 | -99 | 31.6923 | 0.00061937 | 130.692 | -99 | 31.679 | 0.00060853 | 130.679
99400011.hyd | 99400011.sam | 121 | 9.857 | 9.861 | 0.027439 | 0.0040407 | -99 | 31.3955 | 0.0015656 | 130.396 | -99 | 31.3633 | 0.0039503 | 130.363
99400011.hyd | 99400011.sam | 108 | 1.059 | 1.0614 | 0.032845 | 0.0023795 | -99 | 27.2993 | 0.17989 | 126.299 | -99 | 26.9143 | 0.092994 | 125.914
99400021.hyd | 99400021.sam | 121 | 195.416 | 195.415 | 0.020136 | -0.0013275 | 32.9337 | 32.9354 | 0.00042344 | 0.001667 | 32.9337 | 32.9217 | 0.0003006 | -0.012013
99400021.hyd | 99400021.sam | 121 | 189.798 | 189.796 | 0.022746 | -0.0015869 | 32.9336 | 32.9347 | 0.00044901 | 0.0011406 | 32.9336 | 32.921 | 0.00028051 | -0.012608
99400021.hyd | 99400021.sam | 121 | 184.506 | 184.51 | 0.023909 | 0.0041351 | 32.9329 | 32.934 | 0.00034687 | 0.0010872 | 32.9329 | 32.9198 | 0.0021088 | -0.013107
99400021.hyd | 99400021.sam | 121 | 180.07 | 180.07 | 0.022978 | 0.00022888 | -99 | 32.9334 | 0.00038278 | 131.933 | -99 | 32.9197 | 0.0007374 | 131.92
99400021.hyd | 99400021.sam | 121 | 174.695 | 174.695 | 0.027951 | 0.00022888 | -99 | 32.933 | 0.00038101 | 131.933 | -99 | 32.9192 | 0.00030567 | 131.919
99400021.hyd | 99400021.sam | 121 | 170.141 | 170.14 | 0.027277 | -0.00067139 | -99 | 32.9309 | 0.00045103 | 131.931 | -99 | 32.917 | 0.00027583 | 131.917
99400021.hyd | 99400021.sam | 121 | 159.835 | 159.835 | 0.024307 | 0.0004425 | -99 | 32.9236 | 0.00042723 | 131.924 | -99 | 32.9103 | 0.00036285 | 131.91
99400021.hyd | 99400021.sam | 121 | 149.76 | 149.759 | 0.023033 | -0.0009613 | -99 | 32.9193 | 0.00046004 | 131.919 | -99 | 32.9054 | 0.00034862 | 131.905
99400021.hyd | 99400021.sam | 121 | 140.176 | 140.173 | 0.024664 | -0.0032501 | -99 | 32.9133 | 0.0003417 | 131.913 | -99 | 32.8997 | 0.00027141 | 131.9
99400021.hyd | 99400021.sam | 121 | 130.181 | 130.182 | 0.023093 | 0.0014954 | -99 | 32.9036 | 0.00036937 | 131.904 | -99 | 32.8902 | 0.00026856 | 131.89
99400021.hyd | 99400021.sam | 121 | 119.777 | 119.777 | 0.02412 | 0.00037384 | -99 | 32.8926 | 0.00037399 | 131.893 | -99 | 32.879 | 0.00026762 | 131.879
99400021.hyd | 99400021.sam | 121 | 110.04 | 110.039 | 0.023663 | -0.00069427 | -99 | 32.8792 | 0.0003093 | 131.879 | -99 | 32.8656 | 0.00024216 | 131.866
99400021.hyd | 99400021.sam | 121 | 100.006 | 100.008 | 0.022939 | 0.001976 | -99 | 32.8566 | 0.00032117 | 131.857 | -99 | 32.8422 | 0.0002659 | 131.842
99400021.hyd | 99400021.sam | 121 | 89.993 | 89.9937 | 0.026733 | 0.00074768 | -99 | 32.8484 | 0.0008726 | 131.848 | -99 | 32.8337 | 0.0012685 | 131.834
99400021.hyd | 99400021.sam | 121 | 75.076 | 75.0761 | 0.011818 | 0.0001297 | -99 | 32.8039 | 0.0014465 | 131.804 | -99 | 32.7831 | 0.0022787 | 131.783
99400021.hyd | 99400021.sam | 121 | 49.955 | 49.9551 | 0.020904 | 0.00012207 | -99 | 32.2144 | 0.0028392 | 131.214 | -99 | 32.2017 | 0.001969 | 131.202
99400021.hyd | 99400021.sam | 121 | 29.85 | 29.8517 | 0.026474 | 0.0016766 | -99 | 31.7611 | 0.0012546 | 130.761 | -99 | 31.7535 | 0.0077357 | 130.754
99400021.hyd | 99400021.sam | 121 | 20.482 | 20.4823 | 0.026342 | 0.00030518 | -99 | 31.6841 | 0.0014398 | 130.684 | -99 | 31.6715 | 0.002486 | 130.672
99400021.hyd | 99400021.sam | 121 | 9.041 | 9.0426 | 0.026483 | 0.001545 | -99 | 31.3029 | 0.015124 | 130.303 | -99 | 31.2386 | 0.016325 | 130.239
99400021.hyd | 99400021.sam | 121 | 1.05 | 1.0484 | 0.023699 | -0.0016033 | -99 | 24.495 | 0.8778 | 123.495 | -99 | 28.6166 | 0.80772 | 127.617
99400023.hyd | 99400023.sam | 121 | 186.904 | 186.903 | 0.020478 | -0.0011291 | 32.9303 | 32.9334 | 0.00033348 | 0.0030823 | 32.9303 | 32.9179 | 0.00040703 | -0.012436
99400023.hyd | 99400023.sam | 121 | 183.045 | 183.044 | 0.024734 | -0.00067139 | 32.931 | 32.9335 | 0.00041487 | 0.0025368 | 32.931 | 32.9196 | 0.00040966 | -0.011368
99400023.hyd | 99400023.sam | 121 | 175.117 | 175.117 | 0.025273 | -9.1553e-05 | -99 | 32.9318 | 0.00033722 | 131.932 | -99 | 32.9183 | 0.00031038 | 131.918
99400023.hyd | 99400023.sam | 121 | 170.141 | 170.141 | 0.02288 | 0.00035095 | -99 | 32.9298 | 0.00032603 | 131.93 | -99 | 32.9161 | 0.0002567 | 131.916
99400023.hyd | 99400023.sam | 121 | 160.183 | 160.184 | 0.027022 | 0.00093079 | -99 | 32.9269 | 0.00033059 | 131.927 | -99 | 32.9132 | 0.00031096 | 131.913
99400023.hyd | 99400023.sam | 121 | 150.269 | 150.267 | 0.022646 | -0.0015411 | -99 | 32.9196 | 0.00029561 | 131.92 | -99 | 32.9059 | 0.00028696 | 131.906
99400023.hyd | 99400023.sam | 121 | 130.236 | 130.237 | 0.026239 | 0.00088501 | -99 | 32.9031 | 0.00032433 | 131.903 | -99 | 32.8891 | 0.0002607 | 131.889
99400023.hyd | 99400023.sam | 121 | 110.347 | 110.348 | 0.02396 | 0.00050354 | -99 | 32.8849 | 0.0011412 | 131.885 | -99 | 32.8711 | 0.0012198 | 131.871
99400023.hyd | 99400023.sam | 121 | 90.317 | 90.3169 | 0.024481 | -5.3406e-05 | -99 | 32.8476 | 0.002822 | 131.848 | -99 | 32.8351 | 0.0017759 | 131.835
99400023.hyd | 99400023.sam | 121 | 74.978 | 74.9782 | 0.022274 | 0.00022888 | -99 | 32.7688 | 0.0003319 | 131.769 | -99 | 32.7551 | 0.00030686 | 131.755
99400023.hyd | 99400023.sam | 121 | 50.356 | 50.3562 | 0.023613 | 0.0002327 | -99 | 32.2189 | 0.0031277 | 131.219 | -99 | 32.2085 | 0.0064589 | 131.209
99400023.hyd | 99400023.sam | 121 | 30.331 | 30.3308 | 0.024932 | -0.00021362 | -99 | 31.8453 | 0.025793 | 130.845 | -99 | 31.7892 | 0.014122 | 130.789
99400023.hyd | 99400023.sam | 121 | 20.373 | 20.3721 | 0.025091 | -0.00087547 | -99 | 31.6336 | 0.0023692 | 130.634 | -99 | 31.6179 | 0.001924 | 130.618
99400023.hyd | 99400023.sam | 121 | 10.386 | 10.3874 | 0.016643 | 0.0013971 | -99 | 31.2617 | 0.003454 | 130.262 | -99 | 31.2568 | 0.0049448 | 130.257
99400023.hyd | 99400023.sam | 121 | 1.055 | 1.0539 | 0.024681 | -0.0010909 | -99 | 23.0871 | 0.75338 | 122.087 | -99 | 23.3882 | 0.85658 | 122.388
99400042.hyd | 99400042.sam | 119 | 168.824 | 168.97 | 0.43176 | 0.1461 | 33.7652 | 33.768 | 0.00034798 | 0.0027771 | 33.7652 | 33.7516 | 0.00028182 | -0.013611
99400042.hyd | 99400042.sam | 121 | 146.676 | 146.681 | 0.22656 | 0.0050964 | 33.7652 | 33.7703 | 0.00096543 | 0.0050545 | 33.7652 | 33.7514 | 0.0019897 | -0.013794
Create Fit Sheet