## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |
| 17-Feb-2012 | Replaced Alkalinity and DIC data with values from Jim Christian’s DIC files since they contained quality flags, for bottle cast numbers 14, 57, 68 and 90. Jim Christian’s DIC file is located in the \DOC directory. For more information, including quality control analysis see John Page’s spreadsheet files in directory \\OSD_Data_Archive\Cruise_Data\Documents\Station Papa Data Archiving\Alkalinity and DIC. |
| July 29, 2005 | Added DIC, Alkalinity and pH data from the Haida project to rosette files. J.L. |
| April 21, 2003 | Moved files to new archive. |
| 29 October 2001 | Reprocessed SeaPoint FL channel applying median filter and adding offset correction to calibration. CHE files recalibrated only. Formats corrected. |

PROCESSING NOTES

Cruise: 2000-01

Agency: OSAP

Location: Queen Charlotte Sound / Hecate Strait / North-East Pacific

Project: Haida Eddy -1

Party Chief: Marie Robert

Platform: CCGS John P. Tully

Date: 7 February 2000 – 18 February 2000

Processed by: Germaine Gatien

Date of Processing: 25 May 2000 – 15 June 2000

Number of original CTD casts: 80

Number of casts processed: 79

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD  (#0443) was used.

SUMMARY OF QUALITY AND CONCERNS

There were many spikes in all channels. The descent rate was very noisy for most casts. The PAR sensor, transmissivity and fluorometer channels have had wild points removed, but are otherwise unedited. The fluorometer data is considered to be unreliable for casts #1-30 & #38-92.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files have extension DAT.

2. Preliminary Steps

The Log Book was obtained. There is mention of spikes in many casts and problems with the winch.

Salinity calibration data was obtained. The cruise summary sheet was completed.

The configuration file was obtained and the calibration constants were checked.

The sensor history was found.

- Conversion of Raw Data

The file names were changed for the first two casts to the same format used for the rest of the cruise. So files 2000001.* and 2000002.* became 20010001.* and 20010002.*.

A header error was noted in cast #34 and was corrected.

The raw data was converted (without salinity) using conversion file 2001ctd.con. Rosette files were created in a separate conversion.

An initial examination of the data suggests that the pairs of sensors are in reasonable agreement and the up and down casts similar, but there appear to be problems in the SeaPoint fluorometry channel. In casts with a noisy descent rate there are large and broad spikes at the minima in descent rate. The PAR and Transmissivity channels look reasonably smooth.

4. ALIGNCTD

Examination of casts #10 and 31 using different alignments shows that the best choice is to advance the conductivity by 0.060s. The primary conductivity was advanced by 0.073s by the acquisition system so ALIGNCTD was set to advance the primary by –0.013s and the secondary by +0.060s, so that both channels have a net advancement of +0.060s.

5. WILDEDIT

Program WILDEDIT was used to remove spikes in Pressure.  Parameters used were:

Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

6. CELLTM

The conductivity cell thermal mass correction was done for both channels (alpha = 0.03; 1/beta = 9.0.)

7. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on all casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

8. Test Plots and Channel Check

A sample of casts (#35, 83 and 92) was plotted to check for agreement between the pairs of T and C sensors. Cast #35 was fairly shallow and in an inlet. The descent rate is very steady. The temperature variations are less than 0.0002C°, the conductivity within 0.0002units and the salinity about 0.002units. These results are very similar to those noted for these sensors during cruise 2000-02. Casts #83 and 92 were deep casts during which the descent rate was extremely noisy. The temperature differences are extremely noisy but generally < 0.001C° at 1400db while the conductivity differences are about 0.00015units. Salinity values varied by 0.002psu. In each case the primary sensors were higher than the secondary. The results for casts #83 and 92 are poor for such deep observations, but the noisy descent rate appears to be the cause, not faulty sensors. A few early casts were checked; these were all shallow, but it is noted that those that did not occur in inlets were subject to very noisy differences, while those in inlets are much like #35.

The fluorometry channel was investigated because there was a lot of noise in 2m to 5m-wide bands. It was found to be associated with sharp minima in the descent rate even when the descent rate was fairly high. The same pattern of noise was found in the upcasts, and for both up and downcasts the values in the noisy sections were always higher than the values in the quieter sections. There may also be a pattern of low values in Chl_Fluorescence associated with the maxima in the descent rate, but the maxima are not so sharp and the correlation is not as obvious. Angelica Pena has also expressed some concerns about the deep values. The Chl_Fluorescence channel appears to be reliable for casts #31-37 and #93-101 which were done in inlets where the descent rate of the CTD was very quiet.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers. Header errors in casts #34, 46,47,62,63 had to be corrected to enable conversion.

The ROS files were converted to IOS files, and the extensions were changed to BOT.

10. Checking Headers

A header summary was produced and one small header error was found and corrected.

The surface check was run. The average surface pressure is 1.2db.

The header check was produced and no errors were found.

The cruise track was plotted and looks reasonable.

11. Test Plots

Profiles of all casts were examined for any evidence of problems with the processing.

- DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 20.00

Surface Swell Pressure Tolerance: 1.0

Swells deleted. Warning message if pressure difference of 2.00

Drop rates < 0.3m/s (calculated over 15 points) was deleted.

Sample interval =  .04 seconds.

COMMENTS ON WARNINGS

Most warnings refer to surface and upcasts only. A mid-depth downcast warning was investigated for cast #82 and found to refer to a depth at which the CTD was stopped to realign the winch. All pressure range warnings were for casts that were less than 20m deep. The maximum depth is wrong for cast #11, because it was an upcast. This cast will be deleted.

All DEL files were copied to EDT files.

- DETAILED EDITING

Page plots were produced using T0,S0 for all casts. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT.

CTDEDIT was used to clean noise in S and T near the surface and bottom for cast #1,2,17,18,20, 23,31,32,34,37,39,53,100.

CTDEDIT was used for more extensive cleaning in the following casts: #5-7,10,19,25,27-30, 33, 38,40,42-45,47,49-52,54,60,62-64,66-92,94-99,101.

Note was made of the editing details in the relevant files. The edited files were copied to EDT files so that a complete set of files exists with either edited data or data that does not require editing.

Plots of temperature and salinity vs depth for the BOT files were examined to check for any bad values in these files. Problems were found in cast #31 (bad secondary salinity) and cast #33 (all values bad except for primary temperature). These bad values were replaced with pad values (-9.99) using a text editor.

REVISION: (Oct. 29, 2001) The Fluorometer channel was put through a median filter, size 11.

14. BIN AVERAGE

The following Bin Average values were used for EDT files:

Bin channel = pressure

Averaging interval = 1.000

Minimum bin value =   .000

Average value will be used

Interpolated values are NOT used for empty bins

The same values were used for the BOT files except that the Bin Channel = Bottle Number.

15. Intercomparisons

Previous experience with these sensors – All of these sensors were used during mission 2000-02 but for only 6 casts. The primary sensors gave salinity results low by 0.004units and the secondary salinity was low by 0.006units. During cruise 9929 the secondary sensors were used but no useful data was obtained. No other information about these sensors is available since they were last calibrated.

COMPARE – Comparison with the rosette bottle salinities shows that the primary sensors gave values low by 0.0039units at the surface to 0.0038 at 1500db with an average value of –0.0039. The secondary sensors were low by 0.0047units at the surface and 0.0042units at 1500db with an average value of –0.0046. These results are close to those found during 2000-02.

Historic ranges - Plots were examined with historic ranges superimposed for casts #49, 50, 74, 75, 86, 87 and 88. All data was within the limits with the exception of temperature for cast #74 which is a little higher than the historic ranges between 1200 and 1400db. The salinities are near the bottom of the ranges around 1200db for the deeper casts to the west of Moresby Island. However, there is not enough known about this region to justify questioning the calibration.

Comparison of nearby casts – Casts 83 to 90 were plotted together on a T-S surface and the range of T and S along gamma=27.51 (about 1400m) was about 0.012Cº and <0.01units, respectively. The casts were along an east-west line and were separated by 1º 40’ of longitude. These values seem reasonably close.

- Recalibration

File 2001rcal.ccf was used to increase the primary salinity by 0.0039units and the secondary salinity by 0.0049units.

REVISION (Oct. 29, 2001): 2001rcal.ccf was edited adding an offset to the fluorescence channel (decreasing the fluorescence by 0.052μg/l, the “dark” value.)

FL was recalibrated in the CHE files from the archive using 2001fcal.ccf .

17. Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data.

- REMOVE

A decision was made to leave the Chl_fluorescence channel even for casts where it was very noisy. The following note was entered in the headers for casts whose values are considered to be unreliable:

*****NOTE: CHL_FLUORESCENCE data is very noisy for this cast.

The problem is associated with a noisy descent rate.

This channel should be used with caution.*****

The following channels were removed from all casts: Secondary Temperature, Secondary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

REVISION (Oct. 29, 2001): The formats were corrected in the final files using HEADER EDIT.

19. Producing final files

a.) The final files were renamed CTD.

b.) A cross-reference listing was produced.

### Particulars

Casts 1-30 – Chl_fluorescence channel very noisy; problem associated with noisy descent rate.

Casts 38-92 – Chl_fluorescence channel very noisy; problem associated with noisy descent rate.

20010010 – downcast only.

20010011 – upcast only, continuation of cast 10. Deleted.

20010034 – header error of the sort caused by pressure spikes, corrected.

20010046&47 – header errors of the sort caused by pressure spikes, corrected.

20010049 – hit bottom; bottom records cleaned with CTDEDIT.

20010062&63 – header errors of the sort caused by pressure spikes, corrected.

20010065 – error in station name – edited.

20010068 – full cast, then down to 25m to trip bottle.

Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2000-01

Dates: 	Start: 7 February 2000		  End:	18 February 2000

Location:   QC.Sound/ Hecate Strait/ NE Pacific

Vessel:   CCGS John P. Tully

Chief Scientist:	Marie Robert

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0443 | Yes | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0443

Cruise ID#:		2000-01

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2106 | 05-May-1999 | Factory |  |  |
| Conductivity | 2128 | 24-Jun-1999 | “ |  |  |
| Secondary Temp. | 2449 | 27-Jul-1999 | “ |  |  |
| Secondary Cond. | 1763 | 28-Jul-1999 | “ |  |  |
| Transmissometer | 192D | 20-Jul-1999 | IOS |  |  |
| Fluorometer | 2229 | ? | ? |  |  |
| PAR Sensor | 4565 | 7-Sep-1999 | ? |  |  |
| Pressure Sensor | 63507 | 1-Nov-1999 | Factory |  |  |

Sensor Calibration Notes:

The configuration file used is attached; this includes the sensor calibrations.

# Moving files to new archive. April 21, 2003 – Joe Linguanti

- Program HEADER EDIT was used to change non-standard channel names and units and add additional metadata to the CTD and Rosette files.

- Program Clean was used to;

- reset number of records, minimum and maximum values

- delete empty channels where applicable

- set channel name initial letters to uppercase

- Files .CLN were copied to new archive and renamed to the new file convention “YYYY-CC-NNNN.* “.

- The loop file was obtained from Frank Whitney. The latitude and longitude values were computed to 3 decimal places. The spreadsheet file was then converted to IOS Header format with meta-data added to it. The original .XLS file is in the DOC directory.