## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20020002.hyd | 20020002.sac | 12 | 24 | 20020002.hyd & 20020002.sac

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 13
# of Values Used in Fit = |  |  | 3
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 219.45 | 31.3378 | 0.00018207 | 0.0066605 | #VALUE! | #VALUE! |  | 200.414 | 0.00033569
1 | YES | 200.414 | 31.3252 | 0.00016354 | 0.00033569 | #VALUE! | #VALUE! |  | 175.396 | -0.00057411
1 | YES | 175.396 | 31.3079 | 0.00021546 | -0.00057411 | #VALUE! | #VALUE! |  | 149.862 | -0.00010109
1 | YES | 149.862 | 31.2895 | 0.00021344 | -0.00010109 | #VALUE! | #VALUE!
1 | NO | 125.174 | 31.2455 | 0.00034199 | 130.245 | #VALUE! | #VALUE!
1 | NO | 100.306 | 30.8387 | 0.0009464 | 129.839 | #VALUE! | #VALUE!
1 | NO | 75.0856 | 30.0523 | 0.00023215 | 129.052 | #VALUE! | #VALUE!
1 | NO | 50.0328 | 29.8701 | 0.00020324 | 128.87 | #VALUE! | #VALUE!
1 | NO | 40.2332 | 29.7215 | 0.00030272 | 128.722 | #VALUE! | #VALUE!
1 | NO | 30.1474 | 29.6299 | 0.00053457 | 128.63 | #VALUE! | #VALUE!
1 | NO | 19.9119 | 29.4511 | 0.00019406 | 128.451 | #VALUE! | #VALUE!
1 | NO | 10.3228 | 29.3276 | 0.00068062 | 128.328 | #VALUE! | #VALUE!
1 | NO | 2.1043 | 28.8537 | 0.023177 | 127.854 | #VALUE! | #VALUE!
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Comp 2 | Sal_Bot | SAl1 |  | SAl1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20020002.hyd | 20020002.sac | 73 | 219.448 | 219.45 | 0.024332 | 0.0016632 | 31.3311 | 31.3378 | 0.00018207 | 0.0066605 | 31.3311 | 31.3318 | 0.00023984 | 0.00073242
20020002.hyd | 20020002.sac | 73 | 200.412 | 200.414 | 0.043142 | 0.0018616 | 31.3249 | 31.3252 | 0.00016354 | 0.00033569 | 31.3249 | 31.3194 | 0.00021288 | -0.0055485
20020002.hyd | 20020002.sac | 73 | 175.395 | 175.396 | 0.030436 | 0.00053406 | 31.3085 | 31.3079 | 0.00021546 | -0.00057411 | 31.3085 | 31.302 | 0.00022203 | -0.0064602
20020002.hyd | 20020002.sac | 73 | 149.861 | 149.862 | 0.029108 | 0.0010529 | 31.2896 | 31.2895 | 0.00021344 | -0.00010109 | 31.2896 | 31.2836 | 0.0002334 | -0.0060425
20020002.hyd | 20020002.sac | 73 | 125.173 | 125.174 | 0.035265 | 0.00075531 | -99 | 31.2455 | 0.00034199 | 130.245 | -99 | 31.2398 | 0.00031659 | 130.24
20020002.hyd | 20020002.sac | 73 | 100.306 | 100.306 | 0.028595 | 0.00041199 | -99 | 30.8387 | 0.0009464 | 129.839 | -99 | 30.8309 | 0.00094018 | 129.831
20020002.hyd | 20020002.sac | 73 | 75.085 | 75.0856 | 0.030025 | 0.00057221 | -99 | 30.0523 | 0.00023215 | 129.052 | -99 | 30.0458 | 0.00052199 | 129.046
20020002.hyd | 20020002.sac | 73 | 50.032 | 50.0328 | 0.042108 | 0.0007782 | -99 | 29.8701 | 0.00020324 | 128.87 | -99 | 29.864 | 0.00018424 | 128.864
20020002.hyd | 20020002.sac | 73 | 40.231 | 40.2332 | 0.030899 | 0.0021629 | -99 | 29.7215 | 0.00030272 | 128.722 | -99 | 29.7156 | 0.0002576 | 128.716
20020002.hyd | 20020002.sac | 73 | 30.148 | 30.1474 | 0.036837 | -0.00060463 | -99 | 29.6299 | 0.00053457 | 128.63 | -99 | 29.6251 | 0.00027172 | 128.625
20020002.hyd | 20020002.sac | 73 | 19.913 | 19.9119 | 0.022031 | -0.0011368 | -99 | 29.4511 | 0.00019406 | 128.451 | -99 | 29.4451 | 0.00019308 | 128.445
20020002.hyd | 20020002.sac | 73 | 10.322 | 10.3228 | 0.022466 | 0.00076771 | -99 | 29.3276 | 0.00068062 | 128.328 | -99 | 29.3205 | 0.00073054 | 128.32
20020002.hyd | 20020002.sac | 73 | 2.102 | 2.1043 | 0.032737 | 0.0023286 | -99 | 28.8537 | 0.023177 | 127.854 | -99 | 28.87 | 0.01978 | 127.87
Create Fit Sheet