## File List
Number of Files= |  | 1
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20020002.hyd | 20020002.sam | 12 | 24 | 20020002.hyd & 20020002.sam

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 13
# of Values Used in Fit = |  |  | 3
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 219.45 | 31.3338 | 0.00018235 | 0.0026607 | #VALUE! | #VALUE! |  | 200.414 | -0.003664
1 | YES | 200.414 | 31.3212 | 0.00016366 | -0.003664 | #VALUE! | #VALUE! |  | 175.396 | -0.0045738
1 | YES | 175.396 | 31.3039 | 0.00021538 | -0.0045738 | #VALUE! | #VALUE! |  | 149.862 | -0.0041008
1 | YES | 149.862 | 31.2855 | 0.00021358 | -0.0041008 | #VALUE! | #VALUE!
1 | NO | 125.174 | 31.2415 | 0.00034202 | 130.241 | #VALUE! | #VALUE!
1 | NO | 100.306 | 30.8347 | 0.00094635 | 129.835 | #VALUE! | #VALUE! |  |  | -0.0041129
1 | NO | 75.0856 | 30.0483 | 0.00023222 | 129.048 | #VALUE! | #VALUE!
1 | NO | 50.0328 | 29.8661 | 0.00020333 | 128.866 | #VALUE! | #VALUE!
1 | NO | 40.2332 | 29.7175 | 0.00030276 | 128.718 | #VALUE! | #VALUE!
1 | NO | 30.1474 | 29.6259 | 0.00053473 | 128.626 | #VALUE! | #VALUE!
1 | NO | 19.9119 | 29.4471 | 0.00019388 | 128.447 | #VALUE! | #VALUE!
1 | NO | 10.3228 | 29.3236 | 0.00068054 | 128.324 | #VALUE! | #VALUE!
1 | NO | 2.1043 | 28.8497 | 0.023177 | 127.85 | #VALUE! | #VALUE!
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | #VALUE! |  | X | CALC Y
m= | #VALUE! | #VALUE! |  | Std Dev of Resid |  | #VALUE! |  | #NAME? | #NAME?
b= | #VALUE! | #VALUE! |  | Resid Sum of Squares |  | #VALUE! |  | #NAME? | #NAME?
# of Values Extracted = |  |  | 13
# of Values Used in Fit = |  |  | 3
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 219.45 | 31.3318 | 0.00023984 | 0.00073242 | #VALUE! | #VALUE! |  | 200.414 | -0.0055485
1 | YES | 200.414 | 31.3194 | 0.00021288 | -0.0055485 | #VALUE! | #VALUE! |  | 175.396 | -0.0064602
1 | YES | 175.396 | 31.302 | 0.00022203 | -0.0064602 | #VALUE! | #VALUE! |  | 149.862 | -0.0060425
1 | YES | 149.862 | 31.2836 | 0.0002334 | -0.0060425 | #VALUE! | #VALUE!
1 | NO | 125.174 | 31.2398 | 0.00031659 | 130.24 | #VALUE! | #VALUE! |  |  | -0.0060171
1 | NO | 100.306 | 30.8309 | 0.00094018 | 129.831 | #VALUE! | #VALUE!
1 | NO | 75.0856 | 30.0458 | 0.00052199 | 129.046 | #VALUE! | #VALUE!
1 | NO | 50.0328 | 29.864 | 0.00018424 | 128.864 | #VALUE! | #VALUE!
1 | NO | 40.2332 | 29.7156 | 0.0002576 | 128.716 | #VALUE! | #VALUE!
1 | NO | 30.1474 | 29.6251 | 0.00027172 | 128.625 | #VALUE! | #VALUE!
1 | NO | 19.9119 | 29.4451 | 0.00019308 | 128.445 | #VALUE! | #VALUE!
1 | NO | 10.3228 | 29.3205 | 0.00073054 | 128.32 | #VALUE! | #VALUE!
1 | NO | 2.1043 | 28.87 | 0.01978 | 127.87 | #VALUE! | #VALUE!
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20020002.hyd | 20020002.sam | 73 | 219.448 | 219.45 | 0.024332 | 0.0016632 | 31.3311 | 31.3338 | 0.00018235 | 0.0026607 | 31.3311 | 31.3318 | 0.00023984 | 0.00073242
20020002.hyd | 20020002.sam | 73 | 200.412 | 200.414 | 0.043142 | 0.0018616 | 31.3249 | 31.3212 | 0.00016366 | -0.003664 | 31.3249 | 31.3194 | 0.00021288 | -0.0055485
20020002.hyd | 20020002.sam | 73 | 175.395 | 175.396 | 0.030436 | 0.00053406 | 31.3085 | 31.3039 | 0.00021538 | -0.0045738 | 31.3085 | 31.302 | 0.00022203 | -0.0064602
20020002.hyd | 20020002.sam | 73 | 149.861 | 149.862 | 0.029108 | 0.0010529 | 31.2896 | 31.2855 | 0.00021358 | -0.0041008 | 31.2896 | 31.2836 | 0.0002334 | -0.0060425
20020002.hyd | 20020002.sam | 73 | 125.173 | 125.174 | 0.035265 | 0.00075531 | -99 | 31.2415 | 0.00034202 | 130.241 | -99 | 31.2398 | 0.00031659 | 130.24
20020002.hyd | 20020002.sam | 73 | 100.306 | 100.306 | 0.028595 | 0.00041199 | -99 | 30.8347 | 0.00094635 | 129.835 | -99 | 30.8309 | 0.00094018 | 129.831
20020002.hyd | 20020002.sam | 73 | 75.085 | 75.0856 | 0.030025 | 0.00057221 | -99 | 30.0483 | 0.00023222 | 129.048 | -99 | 30.0458 | 0.00052199 | 129.046
20020002.hyd | 20020002.sam | 73 | 50.032 | 50.0328 | 0.042108 | 0.0007782 | -99 | 29.8661 | 0.00020333 | 128.866 | -99 | 29.864 | 0.00018424 | 128.864
20020002.hyd | 20020002.sam | 73 | 40.231 | 40.2332 | 0.030899 | 0.0021629 | -99 | 29.7175 | 0.00030276 | 128.718 | -99 | 29.7156 | 0.0002576 | 128.716
20020002.hyd | 20020002.sam | 73 | 30.148 | 30.1474 | 0.036837 | -0.00060463 | -99 | 29.6259 | 0.00053473 | 128.626 | -99 | 29.6251 | 0.00027172 | 128.625
20020002.hyd | 20020002.sam | 73 | 19.913 | 19.9119 | 0.022031 | -0.0011368 | -99 | 29.4471 | 0.00019388 | 128.447 | -99 | 29.4451 | 0.00019308 | 128.445
20020002.hyd | 20020002.sam | 73 | 10.322 | 10.3228 | 0.022466 | 0.00076771 | -99 | 29.3236 | 0.00068054 | 128.324 | -99 | 29.3205 | 0.00073054 | 128.32
20020002.hyd | 20020002.sam | 73 | 2.102 | 2.1043 | 0.032737 | 0.0023286 | -99 | 28.8497 | 0.023177 | 127.85 | -99 | 28.87 | 0.01978 | 127.87
Create Fit Sheet