File List for SeaBird Data

Cruise Number: _2000-02____

[work2.ctd.2000-02] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.bl -		“

*.dir - subdirectories

2000-02proc.doc - processing notes

2002file.doc - this document

2002rcal.ccf - recalibration file for S0 and FL channels

2002fcal.ccf – recalibration file for FL channel only applied to CHE files

CTD0443.con -  con file for casts #2-7

CTD055E.con -  con file for casts #9-40

CTD055L.con -  con file for casts #41-146

[work2.ctd.2000-02.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2000-02.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.2000-02.ios]

*.avg - data after metre-averaging using BINAVE

*.cor - recalibration after COMPARE

*.ctd - final files

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo* - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[work2.ctd.2000-02.hydro]

*.bav – metre-averaged *.bot files

*.bot  - files created by converting *.ros files to IOS HEADERS

*.hyd  - bottle files provided by Bernard Minkley

*.rac  - metre-averaged and recalibrated *.bot files

*.ros  - rosette files created by DATCNV, no other processing done.

*.sac -  recalibrated *.sam files

*.sam - files created by adding sample numbers to *.cab files

0443comp.csv  - import file created in IOS SHELL as input to COMPARE for CTD #0443

0443comp.xls   - EXCEL file created in COMPARE for CTD #0443

0443com2.csv - import file for COMPARE after recalibration for CTD #0443

0443com2.xls - EXCEL file created in COMPARE after recalibration for CTD #0443

0550comp.csv  - import file created in IOS SHELL as input to COMPARE for CTD #0550

0550comp.xls   - EXCEL file created in COMPARE for CTD #0550

0550com2.csv - import file for COMPARE after recalibration for CTD #0550

0550com2.xls - EXCEL file created in COMPARE after recalibration for CTD #0550