## File List
Number of Files= |  | 8
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20030003.hyd | 20030003.cor | 12 | 21 | 20030003.hyd & 20030003.cor
2 | 20030004.hyd | 20030004.cor | 23 | 33 | 20030004.hyd & 20030004.cor
3 | 20030005.hyd | 20030005.cor | 35 | 44 | 20030005.hyd & 20030005.cor
4 | 20030012.hyd | 20030012.cor | 46 | 58 | 20030012.hyd & 20030012.cor
5 | 20030013.hyd | 20030013.cor | 60 | 80 | 20030013.hyd & 20030013.cor
6 | 20030014.hyd | 20030014.cor | 82 | 92 | 20030014.hyd & 20030014.cor
7 | 20030018.hyd | 20030018.cor | 94 | 106 | 20030018.hyd & 20030018.cor
8 | 20030019.hyd | 20030019.cor | 108 | 117 | 20030019.hyd & 20030019.cor

## (Sal0 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.61732 |  | X | CALC Y
m= | -3.7057e-06 | 9.2263e-07 |  | Std Dev of Resid |  | 0.0010153 |  | 253.369 | 0.00098056
b= | 0.0019195 | 0.0005543 |  | Resid Sum of Squares |  | 1.0309e-05 |  | 1249.34 | -0.0027102
# of Values Extracted = |  |  | 99
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 81.5552 | 32.6503 | 0.0091586 | 0.010849 | 0.0016172 | -0.0092318 |  | 303.595 | 0.0020599
1 | NO | 80.0706 | 32.6442 | 0.0012613 | 131.644 | 0.0016227 | -131.6424 |  | 301.568 | 0.00054932
1 | NO | 60.3162 | 32.6247 | 0.00022428 | 131.625 | 0.0016959 | -131.6233 |  | 1249.34 | -0.0029831
1 | NO | 39.9684 | 32.6238 | 0.00023539 | 131.624 | 0.0017713 | -131.6222 |  | 998.345 | -0.0018654
1 | NO | 30.4372 | 32.6231 | 0.00024249 | 131.623 | 0.0018067 | -131.6212 |  | 796.486 | -0.00097275
1 | NO | 19.9269 | 32.6231 | 0.00025147 | 131.623 | 0.0018456 | -131.6212 |  | 602.341 | -0.0001297
1 | NO | 12.9956 | 32.6232 | 0.00021563 | 131.623 | 0.0018713 | -131.6211 |  | 403.875 | 0.0014915
1 | NO | 10.0482 | 32.6231 | 0.00023345 | 131.623 | 0.0018822 | -131.6211 |  | 300.27 | 0.0012283
1 | NO | 2.5936 | 32.6097 | 0.020379 | -0.014065 | 0.0019098 | 0.015975 |  | 253.369 | -0.0015411
1 | NO | 1.5836 | 32.502 | 0.23597 | 131.502 | 0.0019136 | -131.5001 |  | 304.419 | 0.00028229
2 | YES | 303.595 | 33.9881 | 0.00079494 | 0.0020599 | 0.00079444 | -0.0012655 |  | 304.51 | 0.0015488
2 | NO | 81.5272 | 32.9524 | 0.017949 | 131.952 | 0.0016173 | -131.9504 |  | 300.877 | 0.00069046
2 | NO | 66.6902 | 32.6364 | 0.00055651 | 131.636 | 0.0016723 | -131.6343
2 | NO | 60.7637 | 32.6244 | 0.00037353 | 131.624 | 0.0016943 | -131.6223 |  | average | 2.9882e-05
2 | NO | 39.4975 | 32.624 | 0.00028352 | 131.624 | 0.0017731 | -131.6222
2 | NO | 30.1499 | 32.6243 | 0.00023056 | 131.624 | 0.0018077 | -131.6222
2 | NO | 20.3601 | 32.6242 | 0.00023978 | 131.624 | 0.001844 | -131.6222
2 | NO | 14.9193 | 32.6243 | 0.0002352 | 131.624 | 0.0018642 | -131.6221
2 | NO | 11.4542 | 32.6244 | 0.00026961 | 0.00035477 | 0.001877 | 0.0015222
2 | NO | 4.9552 | 32.6222 | 0.0071116 | 131.622 | 0.0019011 | -131.6201
2 | NO | 1.066 | 32.6239 | 0.0003965 | 131.624 | 0.0019155 | -131.6221
3 | YES | 301.568 | 33.9795 | 0.0002649 | 0.00054932 | 0.00080195 | 0.00025263
3 | NO | 80.7647 | 32.9951 | 0.03411 | 131.995 | 0.0016202 | -131.9934
3 | NO | 59.8192 | 32.6239 | 0.00024452 | 131.624 | 0.0016978 | -131.6223
3 | NO | 39.4755 | 32.6243 | 0.00029386 | 131.624 | 0.0017732 | -131.6222
3 | NO | 28.2887 | 32.6242 | 0.00026187 | 131.624 | 0.0018146 | -131.6222
3 | NO | 20.371 | 32.6235 | 0.00046343 | 131.623 | 0.001844 | -131.6212
3 | NO | 14.8707 | 32.6234 | 0.00032464 | 131.623 | 0.0018644 | -131.6211
3 | NO | 11.674 | 32.6228 | 0.00024457 | 0.00047684 | 0.0018762 | 0.0013994
3 | NO | 3.5881 | 32.6223 | 0.0016823 | 131.622 | 0.0019062 | -131.6201
3 | NO | 3.3741 | 32.622 | 0.0038997 | 131.622 | 0.001907 | -131.6201
4 | NO | 0 | 0 | 0 | -33.9775 | 0.0019195 | 33.9794
4 | NO | 80.7726 | 32.8824 | 0.0048456 | 131.882 | 0.0016201 | -131.8804
4 | NO | 81.0253 | 32.8815 | 0.0046801 | 131.881 | 0.0016192 | -131.8794
4 | NO | 65.0828 | 32.6254 | 0.00087738 | 131.625 | 0.0016783 | -131.6233
4 | NO | 65.0828 | 32.6254 | 0.00087738 | 131.625 | 0.0016783 | -131.6233
4 | NO | 45.1758 | 32.6226 | 0.0002431 | 131.623 | 0.0017521 | -131.6212
4 | NO | 44.0743 | 32.6226 | 0.00022561 | 131.623 | 0.0017561 | -131.6212
4 | NO | 24.7065 | 32.6214 | 0.00027663 | 131.621 | 0.0018279 | -131.6192
4 | NO | 24.3588 | 32.6214 | 0.00027372 | 131.621 | 0.0018292 | -131.6192
4 | NO | 16.7451 | 32.621 | 0.00023129 | 131.621 | 0.0018574 | -131.6191
4 | NO | 14.4566 | 32.6211 | 0.00025186 | 0.00056839 | 0.0018659 | 0.0012975
4 | NO | -0.018688 | 32.4586 | 0.21295 | 131.459 | 0.0019195 | -131.4571
4 | NO | -0.018688 | 32.4586 | 0.21295 | 131.459 | 0.0019195 | -131.4571
5 | NO | 1348.99 | 34.4195 | 0.10993 | -0.06945 | -0.0030794 | 0.066371
5 | YES | 1249.34 | 34.4639 | 0.00023553 | -0.0029831 | -0.0027102 | 0.00027292
5 | YES | 998.345 | 34.3936 | 0.00029675 | -0.0018654 | -0.0017801 | 8.5323e-05
5 | YES | 796.486 | 34.3096 | 0.00037009 | -0.00097275 | -0.001032 | -5.9299e-05
5 | YES | 602.341 | 34.1733 | 0.00039553 | -0.0001297 | -0.00031261 | -0.00018291
5 | YES | 403.875 | 34.0319 | 0.00088871 | 0.0014915 | 0.00042283 | -0.0010687
5 | YES | 300.27 | 33.9856 | 0.00029247 | 0.0012283 | 0.00080676 | -0.00042157
5 | YES | 253.369 | 33.9677 | 0.00041473 | -0.0015411 | 0.00098056 | 0.0025217
5 | NO | 198.413 | 33.942 | 0.00094096 | -0.00057983 | 0.0011842 | 0.001764
5 | NO | 155.097 | 33.8037 | 0.0096552 | 0.016628 | 0.0013447 | -0.015284
5 | NO | 151.081 | 33.8094 | 0.00081828 | 132.809 | 0.0013596 | -132.8076
5 | NO | 103.453 | 33.3656 | 0.0054651 | 0.010666 | 0.0015361 | -0.0091298
5 | NO | 84.2675 | 32.895 | 0.0041238 | -0.00354 | 0.0016072 | 0.0051472
5 | NO | 63.7388 | 32.626 | 0.000233 | 0.0014725 | 0.0016833 | 0.00021079
5 | NO | 38.5442 | 32.6242 | 0.00026594 | -0.00017166 | 0.0017766 | 0.0019483
5 | NO | 29.3708 | 32.6232 | 0.00026617 | 0.00078583 | 0.0018106 | 0.0010248
5 | NO | 19.9169 | 32.6234 | 0.0002266 | 0.00055695 | 0.0018457 | 0.0012887
5 | NO | 14.7546 | 32.6237 | 0.00022731 | 0.00050736 | 0.0018648 | 0.0013574
5 | NO | 10.1106 | 32.6233 | 0.00022484 | 0.00062561 | 0.001882 | 0.0012564
5 | NO | 5.2227 | 32.6236 | 0.00025929 | 0.00024796 | 0.0019001 | 0.0016521
5 | NO | 1.9525 | 32.6143 | 0.014425 | -0.0087585 | 0.0019122 | 0.010671
6 | YES | 304.419 | 33.9824 | 0.00037889 | 0.00028229 | 0.00079138 | 0.0005091
6 | NO | 78.2172 | 32.6373 | 0.0056219 | 131.637 | 0.0016296 | -131.6354
6 | NO | 60.7653 | 32.6222 | 0.0003466 | 131.622 | 0.0016943 | -131.6203
6 | NO | 40.9422 | 32.622 | 0.0002598 | 131.622 | 0.0017677 | -131.6202
6 | NO | 32.0361 | 32.6215 | 0.000243 | 131.621 | 0.0018007 | -131.6192
6 | NO | 20.4802 | 32.6212 | 0.00026245 | 131.621 | 0.0018436 | -131.6192
6 | NO | 15.7558 | 32.6213 | 0.00021479 | 131.621 | 0.0018611 | -131.6191
6 | NO | 10.4911 | 32.6214 | 0.00025901 | -0.00081635 | 0.0018806 | 0.0026969
6 | NO | 4.9024 | 32.6211 | 0.000282 | 131.621 | 0.0019013 | -131.6191
6 | NO | 1.0814 | 32.6076 | 0.036439 | 131.608 | 0.0019154 | -131.6061
6 | NO | 1.3684 | 32.6095 | 0.035527 | 131.609 | 0.0019144 | -131.6071
7 | YES | 304.51 | 33.9842 | 0.00047 | 0.0015488 | 0.00079105 | -0.00075772
7 | NO | 81.5219 | 32.7773 | 0.028579 | 131.777 | 0.0016174 | -131.7754
7 | NO | 81.5586 | 32.7782 | 0.027391 | 131.778 | 0.0016172 | -131.7764
7 | NO | 60.7968 | 32.6199 | 0.00027697 | 131.62 | 0.0016942 | -131.6183
7 | NO | 60.5796 | 32.6199 | 0.00027779 | 131.62 | 0.001695 | -131.6183
7 | NO | 44.1687 | 32.6186 | 0.00032631 | 131.619 | 0.0017558 | -131.6172
7 | NO | 44.1406 | 32.6186 | 0.00032535 | 131.619 | 0.0017559 | -131.6172
7 | NO | 25.5278 | 32.6123 | 0.0019496 | 131.612 | 0.0018249 | -131.6102
7 | NO | 25.5278 | 32.6123 | 0.0019496 | 131.612 | 0.0018249 | -131.6102
7 | NO | 15.0319 | 32.606 | 0.00071833 | 0.0016098 | 0.0018638 | 0.00025395
7 | NO | 15.0319 | 32.606 | 0.00071833 | 131.606 | 0.0018638 | -131.6041
7 | NO | 2.0508 | 32.604 | 0.0075204 | 131.604 | 0.0019119 | -131.6021
7 | NO | 1.1742 | 32.5921 | 0.034456 | 131.592 | 0.0019151 | -131.5901
8 | YES | 300.877 | 33.9883 | 0.0005184 | 0.00069046 | 0.00080451 | 0.00011405
8 | NO | 81.9886 | 33.0673 | 0.0082935 | 132.067 | 0.0016156 | -132.0654
8 | NO | 60.7028 | 32.6147 | 0.00045545 | 131.615 | 0.0016945 | -131.6133
8 | NO | 38.3025 | 32.6082 | 0.00045561 | 131.608 | 0.0017775 | -131.6062
8 | NO | 29.4355 | 32.6041 | 0.00026809 | 131.604 | 0.0018104 | -131.6022
8 | NO | 18.781 | 32.6041 | 0.00031729 | 131.604 | 0.0018499 | -131.6022
8 | NO | 13.1084 | 32.6044 | 0.00026508 | 131.604 | 0.0018709 | -131.6021
8 | NO | 8.2754 | 32.6037 | 0.00031167 | -0.0003128 | 0.0018888 | 0.0022016
8 | NO | 3.9259 | 32.6019 | 0.00052519 | 131.602 | 0.0019049 | -131.6001
8 | NO | 0.82275 | 32.6016 | 0.00035862 | 131.602 | 0.0019164 | -131.6001
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Sal1 - Sal_bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.001212 |  | X | CALC Y
m= | 2.9884e-07 | 2.7128e-06 |  | Std Dev of Resid |  | 0.0029854 |  | 253.369 | -0.0003828
b= | -0.00045852 | 0.0016298 |  | Resid Sum of Squares |  | 8.9129e-05 |  | 1249.34 | -8.5158e-05
# of Values Extracted = |  |  | 99
# of Values Used in Fit = |  |  | 12
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 81.5552 | 32.6603 | 0.01226 | 0.02084 | -0.00043414 | -0.021274 |  | 303.595 | 0.0058518
1 | NO | 80.0706 | 32.6494 | 0.0029051 | 131.649 | -0.00043459 | -131.6494 |  | 301.568 | -0.00068665
1 | NO | 60.3162 | 32.6292 | 0.00024758 | 131.629 | -0.00044049 | -131.6294 |  | 1249.34 | -0.00068283
1 | NO | 39.9684 | 32.6283 | 0.00019981 | 131.628 | -0.00044657 | -131.6284 |  | 998.345 | -0.00057221
1 | NO | 30.4372 | 32.6277 | 0.00023915 | 131.628 | -0.00044942 | -131.6284 |  | 796.486 | 0.0001297
1 | NO | 19.9269 | 32.6279 | 0.00021892 | 131.628 | -0.00045256 | -131.6285 |  | 602.341 | 0.00052643
1 | NO | 12.9956 | 32.6279 | 0.00021182 | 131.628 | -0.00045463 | -131.6285 |  | 403.875 | 0.0034065
1 | NO | 10.0482 | 32.628 | 0.00021502 | 131.628 | -0.00045551 | -131.6285 |  | 300.27 | 0.00077438
1 | NO | 2.5936 | 32.5907 | 0.067374 | -0.033085 | -0.00045774 | 0.032627 |  | 253.369 | -0.0016861
1 | NO | 1.5836 | 32.5126 | 0.25807 | 131.513 | -0.00045804 | -131.5135 |  | 304.419 | -0.0043526
2 | YES | 303.595 | 33.9919 | 0.010547 | 0.0058518 | -0.00036779 | -0.0062195 |  | 304.51 | -0.0035095
2 | NO | 81.5272 | 32.9506 | 0.023243 | 131.951 | -0.00043415 | -131.9514 |  | 300.877 | -0.0028725
2 | NO | 66.6902 | 32.641 | 0.0012424 | 131.641 | -0.00043859 | -131.6414
2 | NO | 60.7637 | 32.6292 | 0.00041889 | 131.629 | -0.00044036 | -131.6294 |  | average | -0.00030613
2 | NO | 39.4975 | 32.6291 | 0.00027708 | 131.629 | -0.00044671 | -131.6294
2 | NO | 30.1499 | 32.6294 | 0.00022716 | 131.629 | -0.00044951 | -131.6294
2 | NO | 20.3601 | 32.6294 | 0.0002021 | 131.629 | -0.00045243 | -131.6295
2 | NO | 14.9193 | 32.6295 | 0.00022485 | 131.63 | -0.00045406 | -131.6305
2 | NO | 11.4542 | 32.6298 | 0.00023436 | 0.0058136 | -0.00045509 | -0.0062687
2 | NO | 4.9552 | 32.6263 | 0.0085671 | 131.626 | -0.00045703 | -131.6265
2 | NO | 1.066 | 32.6294 | 0.00037075 | 131.629 | -0.0004582 | -131.6295
3 | YES | 301.568 | 33.9783 | 0.00027526 | -0.00068665 | -0.00036839 | 0.00031825
3 | NO | 80.7647 | 33.0162 | 0.041742 | 132.016 | -0.00043438 | -132.0164
3 | NO | 59.8192 | 32.6242 | 0.00023869 | 131.624 | -0.00044064 | -131.6244
3 | NO | 39.4755 | 32.6251 | 0.0002739 | 131.625 | -0.00044672 | -131.6254
3 | NO | 28.2887 | 32.6252 | 0.00024428 | 131.625 | -0.00045006 | -131.6255
3 | NO | 20.371 | 32.6246 | 0.00043013 | 131.625 | -0.00045243 | -131.6255
3 | NO | 14.8707 | 32.6249 | 0.00029857 | 131.625 | -0.00045407 | -131.6255
3 | NO | 11.674 | 32.6244 | 0.00024668 | 0.0021095 | -0.00045503 | -0.0025646
3 | NO | 3.5881 | 32.6122 | 0.040142 | 131.612 | -0.00045744 | -131.6125
3 | NO | 3.3741 | 32.6156 | 0.033881 | 131.616 | -0.00045751 | -131.6165
4 | NO | 0 | 0 | 0 | -33.9775 | -0.00045852 | 33.977
4 | NO | 80.7726 | 32.8868 | 0.0044026 | 131.887 | -0.00043438 | -131.8874
4 | NO | 81.0253 | 32.8865 | 0.0045274 | 131.887 | -0.0004343 | -131.8874
4 | NO | 65.0828 | 32.6273 | 0.0012687 | 131.627 | -0.00043907 | -131.6274
4 | NO | 65.0828 | 32.6273 | 0.0012687 | 131.627 | -0.00043907 | -131.6274
4 | NO | 45.1758 | 32.6251 | 0.00026506 | 131.625 | -0.00044501 | -131.6254
4 | NO | 44.0743 | 32.6251 | 0.00020625 | 131.625 | -0.00044534 | -131.6254
4 | NO | 24.7065 | 32.6241 | 0.00023994 | 131.624 | -0.00045113 | -131.6245
4 | NO | 24.3588 | 32.6241 | 0.0002382 | 131.624 | -0.00045124 | -131.6245
4 | NO | 16.7451 | 32.6239 | 0.00024071 | 131.624 | -0.00045351 | -131.6245
4 | NO | 14.4566 | 32.6239 | 0.00017603 | 0.0034103 | -0.0004542 | -0.0038645
4 | NO | -0.018688 | 32.4305 | 0.29059 | 131.431 | -0.00045852 | -131.4315
4 | NO | -0.018688 | 32.4305 | 0.29059 | 131.431 | -0.00045852 | -131.4315
5 | NO | 1348.99 | 34.3755 | 0.14023 | -0.11348 | -5.5378e-05 | 0.11343
5 | YES | 1249.34 | 34.4662 | 0.00034611 | -0.00068283 | -8.5158e-05 | 0.00059767
5 | YES | 998.345 | 34.3949 | 0.0002396 | -0.00057221 | -0.00016017 | 0.00041204
5 | YES | 796.486 | 34.3107 | 0.00039422 | 0.0001297 | -0.00022049 | -0.00035019
5 | YES | 602.341 | 34.1739 | 0.00055837 | 0.00052643 | -0.00027851 | -0.00080494
5 | YES | 403.875 | 34.0338 | 0.001588 | 0.0034065 | -0.00033782 | -0.0037443
5 | YES | 300.27 | 33.9852 | 0.00089915 | 0.00077438 | -0.00036878 | -0.0011432
5 | YES | 253.369 | 33.9675 | 0.00044128 | -0.0016861 | -0.0003828 | 0.0013033
5 | NO | 198.413 | 33.9413 | 0.0011334 | -0.0012894 | -0.00039922 | 0.00089015
5 | NO | 155.097 | 33.8054 | 0.0087229 | 0.018299 | -0.00041217 | -0.018711
5 | NO | 151.081 | 33.8081 | 0.0015102 | 132.808 | -0.00041337 | -132.8084
5 | NO | 103.453 | 33.3675 | 0.0053723 | 0.012619 | -0.0004276 | -0.013047
5 | NO | 84.2675 | 32.9055 | 0.016035 | 0.0070457 | -0.00043333 | -0.0074791
5 | NO | 63.7388 | 32.6263 | 0.0003446 | 0.0017548 | -0.00043947 | -0.0021942
5 | NO | 38.5442 | 32.6253 | 0.00030711 | 0.00094604 | -0.000447 | -0.001393
5 | NO | 29.3708 | 32.6242 | 0.00022966 | 0.0018311 | -0.00044974 | -0.0022808
5 | NO | 19.9169 | 32.6241 | 0.00026234 | 0.0012627 | -0.00045256 | -0.0017152
5 | NO | 14.7546 | 32.6248 | 0.0001941 | 0.0016022 | -0.00045411 | -0.0020563
5 | NO | 10.1106 | 32.6243 | 0.00020946 | 0.0016441 | -0.00045549 | -0.0020996
5 | NO | 5.2227 | 32.6246 | 0.00022732 | 0.0012398 | -0.00045695 | -0.0016967
5 | NO | 1.9525 | 32.6156 | 0.016964 | -0.007515 | -0.00045793 | 0.007057
6 | YES | 304.419 | 33.9777 | 0.00075472 | -0.0043526 | -0.00036754 | 0.003985
6 | NO | 78.2172 | 32.6292 | 0.0040235 | 131.629 | -0.00043514 | -131.6294
6 | NO | 60.7653 | 32.6182 | 0.00029956 | 131.618 | -0.00044036 | -131.6184
6 | NO | 40.9422 | 32.6186 | 0.00020654 | 131.619 | -0.00044628 | -131.6194
6 | NO | 32.0361 | 32.6183 | 0.00082583 | 131.618 | -0.00044894 | -131.6184
6 | NO | 20.4802 | 32.6183 | 0.00022951 | 131.618 | -0.00045239 | -131.6185
6 | NO | 15.7558 | 32.6185 | 0.00036564 | 131.619 | -0.00045381 | -131.6195
6 | NO | 10.4911 | 32.6187 | 0.00031362 | -0.0035248 | -0.00045538 | 0.0030694
6 | NO | 4.9024 | 32.6183 | 0.00030773 | 131.618 | -0.00045705 | -131.6185
6 | NO | 1.0814 | 32.6009 | 0.067728 | 131.601 | -0.00045819 | -131.6015
6 | NO | 1.3684 | 32.6014 | 0.067286 | 131.601 | -0.00045811 | -131.6015
7 | YES | 304.51 | 33.9792 | 0.00039934 | -0.0035095 | -0.00036751 | 0.003142
7 | NO | 81.5219 | 32.7995 | 0.033212 | 131.8 | -0.00043415 | -131.8004
7 | NO | 81.5586 | 32.8013 | 0.031492 | 131.801 | -0.00043414 | -131.8014
7 | NO | 60.7968 | 32.6156 | 0.00031824 | 131.616 | -0.00044035 | -131.6164
7 | NO | 60.5796 | 32.6156 | 0.00033065 | 131.616 | -0.00044041 | -131.6164
7 | NO | 44.1687 | 32.6153 | 0.00037962 | 131.615 | -0.00044532 | -131.6154
7 | NO | 44.1406 | 32.6153 | 0.00037614 | 131.615 | -0.00044532 | -131.6154
7 | NO | 25.5278 | 32.6097 | 0.0018005 | 131.61 | -0.00045089 | -131.6105
7 | NO | 25.5278 | 32.6097 | 0.0018005 | 131.61 | -0.00045089 | -131.6105
7 | NO | 15.0319 | 32.6033 | 0.00056271 | -0.0010948 | -0.00045402 | 0.0006408
7 | NO | 15.0319 | 32.6033 | 0.00056271 | 131.603 | -0.00045402 | -131.6035
7 | NO | 2.0508 | 32.6022 | 0.0023246 | 131.602 | -0.0004579 | -131.6025
7 | NO | 1.1742 | 32.5982 | 0.012987 | 131.598 | -0.00045816 | -131.5985
8 | YES | 300.877 | 33.9847 | 0.00039269 | -0.0028725 | -0.0003686 | 0.0025039
8 | NO | 81.9886 | 33.0691 | 0.0073641 | 132.069 | -0.00043401 | -132.0694
8 | NO | 60.7028 | 32.6114 | 0.00069131 | 131.611 | -0.00044037 | -131.6114
8 | NO | 38.3025 | 32.6055 | 0.00055191 | 131.605 | -0.00044707 | -131.6054
8 | NO | 29.4355 | 32.6013 | 0.00029669 | 131.601 | -0.00044972 | -131.6014
8 | NO | 18.781 | 32.6014 | 0.00025861 | 131.601 | -0.0004529 | -131.6015
8 | NO | 13.1084 | 32.6018 | 0.00032349 | 131.602 | -0.0004546 | -131.6025
8 | NO | 8.2754 | 32.6011 | 0.00040974 | -0.0028725 | -0.00045604 | 0.0024164
8 | NO | 3.9259 | 32.599 | 0.0016449 | 131.599 | -0.00045734 | -131.5995
8 | NO | 0.82275 | 32.6 | 0.00065516 | 131.6 | -0.00045827 | -131.6005
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_bot | Sal0 |  | Sal0 - Sal_bot
Comp 2 | Sal_bot | Sal1 |  | Sal1 - Sal_bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_bot | Sal0 | Sal0 | (S-P) | Sal_bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20030003.hyd | 20030003.cor | 118 | 81.673 | 81.5552 | 0.58679 | -0.11783 | 32.6395 | 32.6503 | 0.0091586 | 0.010849 | 32.6395 | 32.6603 | 0.01226 | 0.02084
20030003.hyd | 20030003.cor | 83 | 79.811 | 80.0706 | 0.56541 | 0.25956 | -99 | 32.6442 | 0.0012613 | 131.644 | -99 | 32.6494 | 0.0029051 | 131.649
20030003.hyd | 20030003.cor | 95 | 60.332 | 60.3162 | 0.44864 | -0.015759 | -99 | 32.6247 | 0.00022428 | 131.625 | -99 | 32.6292 | 0.00024758 | 131.629
20030003.hyd | 20030003.cor | 71 | 40.034 | 39.9684 | 0.45648 | -0.065605 | -99 | 32.6238 | 0.00023539 | 131.624 | -99 | 32.6283 | 0.00019981 | 131.628
20030003.hyd | 20030003.cor | 78 | 30.403 | 30.4372 | 0.61224 | 0.03418 | -99 | 32.6231 | 0.00024249 | 131.623 | -99 | 32.6277 | 0.00023915 | 131.628
20030003.hyd | 20030003.cor | 64 | 20.018 | 19.9269 | 0.48843 | -0.091063 | -99 | 32.6231 | 0.00025147 | 131.623 | -99 | 32.6279 | 0.00021892 | 131.628
20030003.hyd | 20030003.cor | 60 | 13.185 | 12.9956 | 0.54937 | -0.18938 | -99 | 32.6232 | 0.00021563 | 131.623 | -99 | 32.6279 | 0.00021182 | 131.628
20030003.hyd | 20030003.cor | 97 | 9.837 | 10.0482 | 0.28239 | 0.21125 | -99 | 32.6231 | 0.00023345 | 131.623 | -99 | 32.628 | 0.00021502 | 131.628
20030003.hyd | 20030003.cor | 73 | 2.492 | 2.5936 | 0.58447 | 0.10163 | 32.6238 | 32.6097 | 0.020379 | -0.014065 | 32.6238 | 32.5907 | 0.067374 | -0.033085
20030003.hyd | 20030003.cor | 115 | 1.84 | 1.5836 | 0.56595 | -0.25644 | -99 | 32.502 | 0.23597 | 131.502 | -99 | 32.5126 | 0.25807 | 131.513
20030004.hyd | 20030004.cor | 97 | 303.494 | 303.595 | 0.43701 | 0.10107 | 33.986 | 33.9881 | 0.00079494 | 0.0020599 | 33.986 | 33.9919 | 0.010547 | 0.0058518
20030004.hyd | 20030004.cor | 101 | 81.186 | 81.5272 | 0.3063 | 0.34121 | -99 | 32.9524 | 0.017949 | 131.952 | -99 | 32.9506 | 0.023243 | 131.951
20030004.hyd | 20030004.cor | 92 | 66.398 | 66.6902 | 0.25595 | 0.29219 | -99 | 32.6364 | 0.00055651 | 131.636 | -99 | 32.641 | 0.0012424 | 131.641
20030004.hyd | 20030004.cor | 65 | 60.718 | 60.7637 | 0.59225 | 0.045662 | -99 | 32.6244 | 0.00037353 | 131.624 | -99 | 32.6292 | 0.00041889 | 131.629
20030004.hyd | 20030004.cor | 121 | 39.411 | 39.4975 | 0.22103 | 0.086506 | -99 | 32.624 | 0.00028352 | 131.624 | -99 | 32.6291 | 0.00027708 | 131.629
20030004.hyd | 20030004.cor | 113 | 30.166 | 30.1499 | 0.36232 | -0.016142 | -99 | 32.6243 | 0.00023056 | 131.624 | -99 | 32.6294 | 0.00022716 | 131.629
20030004.hyd | 20030004.cor | 121 | 20.352 | 20.3601 | 0.27178 | 0.0081329 | -99 | 32.6242 | 0.00023978 | 131.624 | -99 | 32.6294 | 0.0002021 | 131.629
20030004.hyd | 20030004.cor | 121 | 15.126 | 14.9193 | 0.37391 | -0.20665 | -99 | 32.6243 | 0.0002352 | 131.624 | -99 | 32.6295 | 0.00022485 | 131.63
20030004.hyd | 20030004.cor | 102 | 11.251 | 11.4542 | 0.52529 | 0.20319 | 32.624 | 32.6244 | 0.00026961 | 0.00035477 | 32.624 | 32.6298 | 0.00023436 | 0.0058136
20030004.hyd | 20030004.cor | 111 | 5.068 | 4.9552 | 0.3683 | -0.11281 | -99 | 32.6222 | 0.0071116 | 131.622 | -99 | 32.6263 | 0.0085671 | 131.626
20030004.hyd | 20030004.cor | 121 | 1.241 | 1.066 | 0.24531 | -0.17496 | -99 | 32.6239 | 0.0003965 | 131.624 | -99 | 32.6294 | 0.00037075 | 131.629
20030005.hyd | 20030005.cor | 113 | 301.236 | 301.568 | 0.20406 | 0.33164 | 33.979 | 33.9795 | 0.0002649 | 0.00054932 | 33.979 | 33.9783 | 0.00027526 | -0.00068665
20030005.hyd | 20030005.cor | 64 | 80.731 | 80.7647 | 0.62001 | 0.033684 | -99 | 32.9951 | 0.03411 | 131.995 | -99 | 33.0162 | 0.041742 | 132.016
20030005.hyd | 20030005.cor | 121 | 59.939 | 59.8192 | 0.43753 | -0.11984 | -99 | 32.6239 | 0.00024452 | 131.624 | -99 | 32.6242 | 0.00023869 | 131.624
20030005.hyd | 20030005.cor | 84 | 39.33 | 39.4755 | 0.51184 | 0.14547 | -99 | 32.6243 | 0.00029386 | 131.624 | -99 | 32.6251 | 0.0002739 | 131.625
20030005.hyd | 20030005.cor | 85 | 28.168 | 28.2887 | 0.48037 | 0.12072 | -99 | 32.6242 | 0.00026187 | 131.624 | -99 | 32.6252 | 0.00024428 | 131.625
20030005.hyd | 20030005.cor | 99 | 20.219 | 20.371 | 0.51457 | 0.15203 | -99 | 32.6235 | 0.00046343 | 131.623 | -99 | 32.6246 | 0.00043013 | 131.625
20030005.hyd | 20030005.cor | 121 | 15.055 | 14.8707 | 0.24811 | -0.18433 | -99 | 32.6234 | 0.00032464 | 131.623 | -99 | 32.6249 | 0.00029857 | 131.625
20030005.hyd | 20030005.cor | 121 | 11.608 | 11.674 | 0.33235 | 0.065959 | 32.6223 | 32.6228 | 0.00024457 | 0.00047684 | 32.6223 | 32.6244 | 0.00024668 | 0.0021095
20030005.hyd | 20030005.cor | 166 | 3.997 | 3.5881 | 0.46432 | -0.4089 | -99 | 32.6223 | 0.0016823 | 131.622 | -99 | 32.6122 | 0.040142 | 131.612
20030005.hyd | 20030005.cor | 242 | 3.393 | 3.3741 | 0.49869 | -0.018934 | -99 | 32.622 | 0.0038997 | 131.622 | -99 | 32.6156 | 0.033881 | 131.616
20030012.hyd | 20030012.cor | 0 | 300.102 | 0 | 0 | -300.102 | 33.9775 | 0 | 0 | -33.9775 | 33.9775 | 0 | 0 | -33.9775
20030012.hyd | 20030012.cor | 207 | 80.511 | 80.7726 | 0.56779 | 0.26164 | -99 | 32.8824 | 0.0048456 | 131.882 | -99 | 32.8868 | 0.0044026 | 131.887
20030012.hyd | 20030012.cor | 165 | 81.167 | 81.0253 | 0.28292 | -0.1417 | -99 | 32.8815 | 0.0046801 | 131.881 | -99 | 32.8865 | 0.0045274 | 131.887
20030012.hyd | 20030012.cor | 242 | 65.188 | 65.0828 | 0.32733 | -0.10516 | -99 | 32.6254 | 0.00087738 | 131.625 | -99 | 32.6273 | 0.0012687 | 131.627
20030012.hyd | 20030012.cor | 242 | 65.023 | 65.0828 | 0.32733 | 0.059837 | -99 | 32.6254 | 0.00087738 | 131.625 | -99 | 32.6273 | 0.0012687 | 131.627
20030012.hyd | 20030012.cor | 112 | 45.174 | 45.1758 | 0.59845 | 0.0018501 | -99 | 32.6226 | 0.0002431 | 131.623 | -99 | 32.6251 | 0.00026506 | 131.625
20030012.hyd | 20030012.cor | 86 | 44.013 | 44.0743 | 0.64863 | 0.061268 | -99 | 32.6226 | 0.00022561 | 131.623 | -99 | 32.6251 | 0.00020625 | 131.625
20030012.hyd | 20030012.cor | 168 | 24.88 | 24.7065 | 0.53026 | -0.17349 | -99 | 32.6214 | 0.00027663 | 131.621 | -99 | 32.6241 | 0.00023994 | 131.624
20030012.hyd | 20030012.cor | 145 | 24.285 | 24.3588 | 0.45817 | 0.073835 | -99 | 32.6214 | 0.00027372 | 131.621 | -99 | 32.6241 | 0.0002382 | 131.624
20030012.hyd | 20030012.cor | 150 | 16.607 | 16.7451 | 0.32723 | 0.13806 | -99 | 32.621 | 0.00023129 | 131.621 | -99 | 32.6239 | 0.00024071 | 131.624
20030012.hyd | 20030012.cor | 62 | 14.747 | 14.4566 | 0.489 | -0.29042 | 32.6205 | 32.6211 | 0.00025186 | 0.00056839 | 32.6205 | 32.6239 | 0.00017603 | 0.0034103
20030012.hyd | 20030012.cor | 231 | 0.161 | -0.018688 | 0.30531 | -0.17969 | -99 | 32.4586 | 0.21295 | 131.459 | -99 | 32.4305 | 0.29059 | 131.431
20030012.hyd | 20030012.cor | 231 | 0.062 | -0.018688 | 0.30531 | -0.080688 | -99 | 32.4586 | 0.21295 | 131.459 | -99 | 32.4305 | 0.29059 | 131.431
20030013.hyd | 20030013.cor | 54 | 1348.88 | 1348.99 | 0.56061 | 0.10803 | 34.489 | 34.4195 | 0.10993 | -0.06945 | 34.489 | 34.3755 | 0.14023 | -0.11348
20030013.hyd | 20030013.cor | 62 | 1249.44 | 1249.34 | 0.48202 | -0.10242 | 34.4669 | 34.4639 | 0.00023553 | -0.0029831 | 34.4669 | 34.4662 | 0.00034611 | -0.00068283
20030013.hyd | 20030013.cor | 121 | 998.224 | 998.345 | 0.38849 | 0.12109 | 34.3955 | 34.3936 | 0.00029675 | -0.0018654 | 34.3955 | 34.3949 | 0.0002396 | -0.00057221
20030013.hyd | 20030013.cor | 90 | 796.603 | 796.486 | 0.3398 | -0.11694 | 34.3106 | 34.3096 | 0.00037009 | -0.00097275 | 34.3106 | 34.3107 | 0.00039422 | 0.0001297
20030013.hyd | 20030013.cor | 76 | 602.687 | 602.341 | 0.54261 | -0.34625 | 34.1734 | 34.1733 | 0.00039553 | -0.0001297 | 34.1734 | 34.1739 | 0.00055837 | 0.00052643
20030013.hyd | 20030013.cor | 68 | 403.667 | 403.875 | 0.49636 | 0.20767 | 34.0304 | 34.0319 | 0.00088871 | 0.0014915 | 34.0304 | 34.0338 | 0.001588 | 0.0034065
20030013.hyd | 20030013.cor | 78 | 300.483 | 300.27 | 0.45959 | -0.21258 | 33.9844 | 33.9856 | 0.00029247 | 0.0012283 | 33.9844 | 33.9852 | 0.00089915 | 0.00077438
20030013.hyd | 20030013.cor | 121 | 253.094 | 253.369 | 0.27554 | 0.27509 | 33.9692 | 33.9677 | 0.00041473 | -0.0015411 | 33.9692 | 33.9675 | 0.00044128 | -0.0016861
20030013.hyd | 20030013.cor | 50 | 198.773 | 198.413 | 0.60528 | -0.35962 | 33.9426 | 33.942 | 0.00094096 | -0.00057983 | 33.9426 | 33.9413 | 0.0011334 | -0.0012894
20030013.hyd | 20030013.cor | 120 | 155.055 | 155.097 | 0.45251 | 0.041824 | 33.7871 | 33.8037 | 0.0096552 | 0.016628 | 33.7871 | 33.8054 | 0.0087229 | 0.018299
20030013.hyd | 20030013.cor | 62 | 151.163 | 151.081 | 0.58897 | -0.082275 | -99 | 33.8094 | 0.00081828 | 132.809 | -99 | 33.8081 | 0.0015102 | 132.808
20030013.hyd | 20030013.cor | 68 | 103.34 | 103.453 | 0.40966 | 0.11346 | 33.3549 | 33.3656 | 0.0054651 | 0.010666 | 33.3549 | 33.3675 | 0.0053723 | 0.012619
20030013.hyd | 20030013.cor | 73 | 84.139 | 84.2675 | 0.39199 | 0.12852 | 32.8985 | 32.895 | 0.0041238 | -0.00354 | 32.8985 | 32.9055 | 0.016035 | 0.0070457
20030013.hyd | 20030013.cor | 32 | 63.567 | 63.7388 | 0.61724 | 0.17181 | 32.6245 | 32.626 | 0.000233 | 0.0014725 | 32.6245 | 32.6263 | 0.0003446 | 0.0017548
20030013.hyd | 20030013.cor | 57 | 38.741 | 38.5442 | 0.55068 | -0.19684 | 32.6244 | 32.6242 | 0.00026594 | -0.00017166 | 32.6244 | 32.6253 | 0.00030711 | 0.00094604
20030013.hyd | 20030013.cor | 92 | 29.488 | 29.3708 | 0.36281 | -0.11725 | 32.6224 | 32.6232 | 0.00026617 | 0.00078583 | 32.6224 | 32.6242 | 0.00022966 | 0.0018311
20030013.hyd | 20030013.cor | 60 | 19.941 | 19.9169 | 0.59863 | -0.024134 | 32.6228 | 32.6234 | 0.0002266 | 0.00055695 | 32.6228 | 32.6241 | 0.00026234 | 0.0012627
20030013.hyd | 20030013.cor | 52 | 14.703 | 14.7546 | 0.55366 | 0.051616 | 32.6232 | 32.6237 | 0.00022731 | 0.00050736 | 32.6232 | 32.6248 | 0.0001941 | 0.0016022
20030013.hyd | 20030013.cor | 33 | 10.232 | 10.1106 | 0.58749 | -0.12136 | 32.6227 | 32.6233 | 0.00022484 | 0.00062561 | 32.6227 | 32.6243 | 0.00020946 | 0.0016441
20030013.hyd | 20030013.cor | 109 | 5.748 | 5.2227 | 0.35323 | -0.52529 | 32.6234 | 32.6236 | 0.00025929 | 0.00024796 | 32.6234 | 32.6246 | 0.00022732 | 0.0012398
20030013.hyd | 20030013.cor | 121 | 2.089 | 1.9525 | 0.26988 | -0.13647 | 32.6231 | 32.6143 | 0.014425 | -0.0087585 | 32.6231 | 32.6156 | 0.016964 | -0.007515
20030014.hyd | 20030014.cor | 57 | 304.145 | 304.419 | 0.50239 | 0.27368 | 33.9821 | 33.9824 | 0.00037889 | 0.00028229 | 33.9821 | 33.9777 | 0.00075472 | -0.0043526
20030014.hyd | 20030014.cor | 85 | 78.401 | 78.2172 | 0.44184 | -0.18382 | -99 | 32.6373 | 0.0056219 | 131.637 | -99 | 32.6292 | 0.0040235 | 131.629
20030014.hyd | 20030014.cor | 81 | 60.781 | 60.7653 | 0.46869 | -0.015713 | -99 | 32.6222 | 0.0003466 | 131.622 | -99 | 32.6182 | 0.00029956 | 131.618
20030014.hyd | 20030014.cor | 58 | 41.023 | 40.9422 | 0.52945 | -0.080776 | -99 | 32.622 | 0.0002598 | 131.622 | -99 | 32.6186 | 0.00020654 | 131.619
20030014.hyd | 20030014.cor | 85 | 32.099 | 32.0361 | 0.36526 | -0.062893 | -99 | 32.6215 | 0.000243 | 131.621 | -99 | 32.6183 | 0.00082583 | 131.618
20030014.hyd | 20030014.cor | 66 | 20.415 | 20.4802 | 0.53092 | 0.065212 | -99 | 32.6212 | 0.00026245 | 131.621 | -99 | 32.6183 | 0.00022951 | 131.618
20030014.hyd | 20030014.cor | 111 | 15.354 | 15.7558 | 0.50063 | 0.4018 | -99 | 32.6213 | 0.00021479 | 131.621 | -99 | 32.6185 | 0.00036564 | 131.619
20030014.hyd | 20030014.cor | 65 | 10.59 | 10.4911 | 0.53977 | -0.098939 | 32.6222 | 32.6214 | 0.00025901 | -0.00081635 | 32.6222 | 32.6187 | 0.00031362 | -0.0035248
20030014.hyd | 20030014.cor | 101 | 4.73 | 4.9024 | 0.61803 | 0.17236 | -99 | 32.6211 | 0.000282 | 131.621 | -99 | 32.6183 | 0.00030773 | 131.618
20030014.hyd | 20030014.cor | 194 | 1.118 | 1.0814 | 0.44037 | -0.036639 | -99 | 32.6076 | 0.036439 | 131.608 | -99 | 32.6009 | 0.067728 | 131.601
20030014.hyd | 20030014.cor | 197 | 1.628 | 1.3684 | 0.53076 | -0.25956 | -99 | 32.6095 | 0.035527 | 131.609 | -99 | 32.6014 | 0.067286 | 131.601
20030018.hyd | 20030018.cor | 35 | 303.78 | 304.51 | 0.18683 | 0.73032 | 33.9827 | 33.9842 | 0.00047 | 0.0015488 | 33.9827 | 33.9792 | 0.00039934 | -0.0035095
20030018.hyd | 20030018.cor | 195 | 81.271 | 81.5219 | 0.48473 | 0.25088 | -99 | 32.7773 | 0.028579 | 131.777 | -99 | 32.7995 | 0.033212 | 131.8
20030018.hyd | 20030018.cor | 194 | 81.382 | 81.5586 | 0.46249 | 0.17662 | -99 | 32.7782 | 0.027391 | 131.778 | -99 | 32.8013 | 0.031492 | 131.801
20030018.hyd | 20030018.cor | 192 | 61.142 | 60.7968 | 0.38684 | -0.34519 | -99 | 32.6199 | 0.00027697 | 131.62 | -99 | 32.6156 | 0.00031824 | 131.616
20030018.hyd | 20030018.cor | 188 | 60.384 | 60.5796 | 0.40609 | 0.19564 | -99 | 32.6199 | 0.00027779 | 131.62 | -99 | 32.6156 | 0.00033065 | 131.616
20030018.hyd | 20030018.cor | 225 | 44.189 | 44.1687 | 0.25532 | -0.020332 | -99 | 32.6186 | 0.00032631 | 131.619 | -99 | 32.6153 | 0.00037962 | 131.615
20030018.hyd | 20030018.cor | 231 | 44.025 | 44.1406 | 0.30537 | 0.11558 | -99 | 32.6186 | 0.00032535 | 131.619 | -99 | 32.6153 | 0.00037614 | 131.615
20030018.hyd | 20030018.cor | 242 | 25.37 | 25.5278 | 0.48539 | 0.15783 | -99 | 32.6123 | 0.0019496 | 131.612 | -99 | 32.6097 | 0.0018005 | 131.61
20030018.hyd | 20030018.cor | 242 | 25.558 | 25.5278 | 0.48539 | -0.030167 | -99 | 32.6123 | 0.0019496 | 131.612 | -99 | 32.6097 | 0.0018005 | 131.61
20030018.hyd | 20030018.cor | 242 | 15.031 | 15.0319 | 0.45547 | 0.00092506 | 32.6044 | 32.606 | 0.00071833 | 0.0016098 | 32.6044 | 32.6033 | 0.00056271 | -0.0010948
20030018.hyd | 20030018.cor | 242 | 14.988 | 15.0319 | 0.45547 | 0.043925 | -99 | 32.606 | 0.00071833 | 131.606 | -99 | 32.6033 | 0.00056271 | 131.603
20030018.hyd | 20030018.cor | 146 | 2.292 | 2.0508 | 0.53759 | -0.24124 | -99 | 32.604 | 0.0075204 | 131.604 | -99 | 32.6022 | 0.0023246 | 131.602
20030018.hyd | 20030018.cor | 162 | 1.138 | 1.1742 | 0.50769 | 0.036148 | -99 | 32.5921 | 0.034456 | 131.592 | -99 | 32.5982 | 0.012987 | 131.598
20030019.hyd | 20030019.cor | 86 | 300.553 | 300.877 | 0.49687 | 0.32425 | 33.9876 | 33.9883 | 0.0005184 | 0.00069046 | 33.9876 | 33.9847 | 0.00039269 | -0.0028725
20030019.hyd | 20030019.cor | 62 | 81.827 | 81.9886 | 0.58214 | 0.16156 | -99 | 33.0673 | 0.0082935 | 132.067 | -99 | 33.0691 | 0.0073641 | 132.069
20030019.hyd | 20030019.cor | 121 | 61.041 | 60.7028 | 0.40777 | -0.33821 | -99 | 32.6147 | 0.00045545 | 131.615 | -99 | 32.6114 | 0.00069131 | 131.611
20030019.hyd | 20030019.cor | 76 | 38.471 | 38.3025 | 0.60362 | -0.16854 | -99 | 32.6082 | 0.00045561 | 131.608 | -99 | 32.6055 | 0.00055191 | 131.605
20030019.hyd | 20030019.cor | 86 | 29.414 | 29.4355 | 0.41882 | 0.02149 | -99 | 32.6041 | 0.00026809 | 131.604 | -99 | 32.6013 | 0.00029669 | 131.601
20030019.hyd | 20030019.cor | 74 | 18.878 | 18.781 | 0.57266 | -0.096987 | -99 | 32.6041 | 0.00031729 | 131.604 | -99 | 32.6014 | 0.00025861 | 131.601
20030019.hyd | 20030019.cor | 96 | 12.995 | 13.1084 | 0.48479 | 0.11338 | -99 | 32.6044 | 0.00026508 | 131.604 | -99 | 32.6018 | 0.00032349 | 131.602
20030019.hyd | 20030019.cor | 121 | 8.128 | 8.2754 | 0.30394 | 0.14745 | 32.604 | 32.6037 | 0.00031167 | -0.0003128 | 32.604 | 32.6011 | 0.00040974 | -0.0028725
20030019.hyd | 20030019.cor | 93 | 3.895 | 3.9259 | 0.48881 | 0.030946 | -99 | 32.6019 | 0.00052519 | 131.602 | -99 | 32.599 | 0.0016449 | 131.599
20030019.hyd | 20030019.cor | 107 | 0.919 | 0.82275 | 0.35387 | -0.096252 | -99 | 32.6016 | 0.00035862 | 131.602 | -99 | 32.6 | 0.00065516 | 131.6
Create Fit Sheet