## Comments
Cruise 2000-07: Georgia Strait Nutrient Data
File storage and data processing:
000530 | .aaz | .anz | .xls | Samples analyzed May 30, 2000
000531 | .aaz | .anz | .xls | 2000-05-31
000601 | .aaz | .anz | .xls | 2000-06-01
000602 | .aaz | .anz | .xls | 2000-06-02
2000-7nutr |  |  | .xls | Summary file
Samples were measured using an Autoanalyzer II, following the procedures outlined in Barwell-Clarke
and Whitney (1997). Nitrate/silicate samples were defrosted about 24 h before analysis. Phosphate
samples were rapidly defrosted in moving room temperature air or warm water. Lab temperature was
noted periodically, and may be found on the original data sheets; it was generally around 25C.
Ocean Chemistry's Autoanalyzer was used for this series of samples.
Calibration:
Nitrate and Silicate standards used for these samples had been previously prepared and compared to Sagami Standards
in February, 2000. They also were used for an interlaboratory comparison, in which they scored well.
The silicate standard (#2000-2) was a 4980.96 uM (.93672 gm/l) solution of Na2SiF6 prepared from
preweighed chemicals on Jan 11, 2000. Nitrate standard, was a 2500.45 uM (0.25282 gm/l) solution of KN03
prepared on Feb 14, 2000. Phosphate standard was a 248.3 uM (0.3402 gm/l; diluted 100:1000) solution of KH2PO4,
prepared on Oct 26, 1999. It was compared with previously prepared standards on Oct 27, 1999.
An Eppendorf maxipettor (Ocean Chemistry #2) was used to pipette volumes greater than 1 ml. The pipettor
was calibrated on May 31, 2000 for each pipette tip. The delivery rate was very close to the volume dialed,
but corrections were made for the actual volume delivered.
The same tips were used throughout the run.
Variability
A sample of water which had been collected at Station P4, 125m, on Cruise 2000-07
is analyzed 1 or 2 times per day, to be used as an external standard.
Station P4 water (std dev)
| N | 0.1369
| Si | 0.28733
| P | 0.020848
Standards analyzed as unknowns (std dev)
| N | 0.10759
| Si | 0.2204
| P | 0.026418
Pooled deviation of duplicate samples (n=10)
| N | 0.23144
| Si | 0.43648
| P | 0.071216
Phosphate is a bit high.
Analysis notes:
See also .xls files for each analysis date.
Samples generally in very good shape; the profiles reflect this, except for the final about 70 samples,
where crystals may have interefered with phosphate concentrations.
The samplers noted that the first days' samples did not get frozen until the next day.
000530:
63: no silicate data (glass tube was used)
Stn 59: many PO4 lids loose.
Sample 22, 17: N/Si extruded salt
Sample 3, 2, 1: Nitrate no data (disconnected Cd column because of possible H2S)
000531
Overfilled PO4 samples: 96-93, 107-103, 128-122, 146-144 (lids loose), 138-135 (lids loose)
000601 | Some PO4 samples overfull. PO4 220 extruded sample.
Crystals in 220-217 may be associated with low PO4.
Crystals in PO4 samples: 163, 152, 150, 200, 199, 220-217
000602 | Crystals in many of the samples this analysis date; seemed to be correlated with a lowered phosphate concentration

## 2000-07
Cruise 2000-07
Georgia Strait Nutrient Data
Analysis date | cast | Sample_Number | Nitrate | silicate | Phosphate
| n/a | n/a | uM | uM | uM
| 1 | 1 |  | 70.14 | 3.49
| 1 | 2 |  | 46.8194 | 2.2787
| 1 | 3 |  | 43.1459 | 2.101
| 1 | 4 | 22.2563 | 43.0466 | 2.1165
| 1 | 5 | 19.3101 | 38.2435 | 1.9483
| 1 | 6 | 15.5759 | 30.9994 | 1.715
| 1 | 7 | 15.2195 | 30.2676 | 1.5898
| 1 | 8 | 6.7189 | 15.5856 | 0.98332
| 1 | 9 | 0.77858 | 7.6626 | 0.79552
| 3 | 10 | 26.4912 | 43.5164 | 2.2032
| 3 | 11 | 26.4246 | 43.9438 | 2.1931
| 3 | 12 | 25.9079 | 43.6149 | 2.1546
| 3 | 13 | 24.9722 | 41.649 | 2.1823
| 3 | 14 | 24.7866 | 42.3911 | 2.1344
| 3 | 15 | 23.6437 | 41.3707 | 2.0724
| 3 | 16 | 22.8314 | 40.3511 | 2.0671
| 3 | 17 | 21.8713 | 39.3957 | 1.9912
| 3 | 18 | 22.1344 | 40.5772 | 2.0189
| 3 | 19 | 22.1887 | 40.4384 | 2.0277
| 3 | 20 | 22.1535 | 40.1741 | 2.0271
| 3 | 21 | 22.059 | 40.0983 | 2.0219
| 3 | 22 | 21.9941 | 40.2738 | 2.0072
000530 | 3 | 23 | 21.7507 | 39.6331 | 2.0302
| 7 | 24 | 33.1925 | 51.503 | 2.5195
| 7 | 25 | 33.1234 | 51.1081 | 2.5283
| 7 | 26 | 32.3856 | 50.3337 | 2.5131
| 7 | 27 | 32.2561 | 50.0656 | 2.4547
| 7 | 28 | 30.338 | 47.3321 | 2.3678
| 7 | 29 | 28.6976 | 44.9154 | 2.2763
| 7 | 30 | 26.3384 | 42.4393 | 2.1566
| 7 | 31 | 25.2191 | 41.2895 | 2.0847
| 7 | 32 | 24.6422 | 41.5287 | 2.0415
| 7 | 33 | 24.4562 | 40.6322 | 2.0173
| 7 | 34 | 24.2703 | 41.3139 | 2.0309
| 7 | 35 | 24.2344 | 41.553 | 1.9878
| 7 | 36 | 24.1387 | 41.2245 | 2.044
| 10 | 37 | 33.4385 | 51.7979 | 2.5279
| 10 | 38 | 32.6645 | 50.8835 | 2.5126
| 10 | 39 | 33.2883 | 51.5502 | 2.5215
| 10 | 40 | 33.2435 | 51.3949 | 2.4869
| 10 | 41 | 30.4427 | 45.0506 | 2.3317
| 10 | 42 | 23.1804 | 34.8091 | 1.8956
| 10 | 43 | 20.3031 | 31.3253 | 1.7622
| 10 | 44 | 16.0742 | 25.4596 | 1.4929
| 10 | 45 | 14.5522 | 23.2337 | 1.4594
| 10 | 46 | 11.7447 | 19.587 | 1.1974
| 10 | 47 | 11.1811 | 19.4512 | 1.1552
| 10 | 48 | 8.3306 | 15.6295 | 0.91415
| 10 | 49 | 5.347 | 11.5067 | 0.80337
| 10 | 50 | 3.656 | 9.138 | 0.72968
| 13 | 51 | 33.786 | 52.2973 | 2.5719
| 13 | 52 | 33.0505 | 51.0804 | 2.4173
| 13 | 53 | 31.1276 | 45.7747 | 2.3863
| 13 | 54 | 30.0615 | 43.4231 | 2.303
| 13 | 55 | 27.1794 | 39.1209 | 2.1388
| 13 | 56 | 22.9555 | 32.1775 | 1.8757
| 13 | 57 | 26.9969 | 44.0991 | 2.1997
| 13 | 58 | 19.0281 | 30.6615 | 1.6479
| 13 | 59 | 12.2451 | 21.1253 | 1.0843
| 13 | 60 | 11.861 | 20.5774 | 1.1594
| 13 | 61 | 5.5572 | 11.5906 | 1.1045
| 13 | 62 | 2.3118 | 6.5289 | 0.42466
| 13 | 63 | 1.0838 |  | 0.35228
| 13 | 64 | 0.29664 | 3.7229 | 0.26642
| 16 | 65 | 30.6948 | 46.9421 | 2.3446
| 16 | 66 | 30.388 | 46.4028 | 2.3462
| 16 | 67 | 29.5629 | 44.7292 | 2.2857
| 16 | 68 | 27.2188 | 40.7238 | 2.1917
| 16 | 69 | 26.854 | 42.1351 | 2.136
| 16 | 70 | 25.2778 | 42.1845 | 2.1148
| 16 | 71 | 25.2474 | 42.2731 | 2.1114
| 16 | 72 | 25.217 | 42.2987 | 2.1174
| 16 | 73 | 25.2471 | 42.577 | 2.1331
| 16 | 74 | 25.126 | 41.9075 | 2.1297
| 16 | 75 | 24.7633 | 42.1858 | 2.0975
| 16 | 76 | 24.6122 | 42.2113 | 2.1084
| 19 | 77 | 28.9718 | 43.8369 | 2.2879
| 19 | 78 | 28.3998 | 43.5805 | 2.3017
| 19 | 79 | 27.3392 | 43.764 | 2.1552
| 19 | 81 | 24.8783 | 40.9336 | 2.1597
| 19 | 82 | 23.0308 | 38.6081 | 2.1077
| 19 | 83 | 21.6716 | 37.8522 | 1.9998
| 19 | 84 | 21.011 | 38.0369 | 1.9529
| 19 | 85 | 20.7444 | 37.9709 | 1.9481
000531 | 19 | 86 | 20.4778 | 37.5917 | 1.9433
| 23 | 97 | 28.6952 | 45.0262 | 2.3396
| 23 | 98 | 26.3297 | 41.9323 | 2.3008
| 23 | 99 | 27.1873 | 43.7564 | 2.2479
| 23 | 100 | 25.0067 | 41.7991 | 2.1952
| 23 | 101 | 23.7394 | 40.5993 | 2.1238
| 23 | 102 | 23.4424 | 40.0296 | 1.8742
| 23 | 103 | 22.8784 | 40.0233 | 2.0192
| 23 | 104 | 22.1271 | 38.7627 | 1.8364
| 23 | 105 | 21.3156 | 38.1942 | 1.9671
| 23 | 106 | 20.2326 | 36.8096 | 1.8782
| 23 | 107 | 17.2821 | 32.2887 | 1.8827
| 24 | 87 | 28.784 | 44.5227 | 2.3069 |  | 87 | 28.9719 | 44.2149 | 2.3116 | Duplicate
| 24 | 88 | 27.8793 | 43.7607 | 2.2826 |  | 88 | 27.7876 | 43.7079 | 2.2727 | Duplicate
| 24 | 89 | 26.8838 | 42.6843 | 2.5211 | PO4 is high! | 89 | 27.5503 | 43.3269 | 2.2387 | Duplicate
| 24 | 90 | 25.3728 | 41.7348 | 2.1772 |  | 90 | 25.4529 | 42.632 | 2.1622 | Duplicate
| 24 | 91 | 24.6217 | 41.0379 | 2.1106 |  | 91 | 24.5764 | 41.4354 | 2.1192 | Duplicate
| 24 | 92 | 23.3254 | 40.5303 | 2.0867 |  | 92 | 23.4022 | 40.0483 | 2.09 | Duplicate
| 24 | 93 | 21.0629 | 38.011 | 2.0345 |  | 93 | 21.2826 | 37.8506 | 1.9488 | Duplicate
| 24 | 94 | 20.4346 | 37.2536 | 1.9214 |  | 94 | 20.3482 | 37.2838 | 1.8971 | Duplicate
| 24 | 95 | 19.7462 | 36.9364 | 1.879 |  | 95 | 19.9291 | 37.2186 | 1.8503 | Duplicate
| 24 | 96 | 18.666 | 35.4265 | 1.7104 |  | 96 | 19.3587 | 36.8401 | 1.8222 | Duplicate
| 33 | 108 | 26.705 | 43.9132 | 2.2272
| 33 | 109 | 26.0558 | 42.9775 | 2.2636
| 33 | 110 | 26.3387 | 43.6773 | 2.2338
| 33 | 111 | 25.9596 | 43.1189 | 2.2371
| 33 | 112 | 25.7609 | 43.3158 | 2.2594
| 33 | 113 | 25.0798 | 42.3794 | 2.2107
| 33 | 114 | 23.7962 | 41.3169 | 2.1618
| 33 | 115 | 23.2349 | 41.3245 | 2.1367
| 33 | 116 | 23.0947 | 41.3321 | 2.1684
| 33 | 117 | 23.0146 | 41.7807 | 2.1481
| 33 | 118 | 22.9946 | 41.4104 | 2.1798
| 33 | 119 | 22.7331 | 41.0399 | 2.0455
| 33 | 120 | 22.2605 | 40.0392 | 2.1389
| 33 | 121 | 22.5116 | 41.2441 | 2.0377
| 40 | 122 | 24.1656 | 41.9726 | 2.2284
| 40 | 123 | 20.9704 | 36.9069 | 2.1805
| 40 | 124 | 23.1175 | 41.0478 | 2.1704
| 40 | 125 | 23.9609 | 43.6269 | 2.2451
| 40 | 126 | 24.5191 | 44.2706 | 2.2343
| 40 | 127 | 25.1272 | 45.4095 | 2.2809
| 40 | 128 | 27.8604 | 49.8197 | 2.4603
| 40 | 129 | 28.6834 | 52.2849 | 2.5405
| 40 | 130 | 27.0484 | 49.3982 | 2.4306
| 40 | 131 | 24.1977 | 44.9492 | 2.3628
| 40 | 132 | 20.8014 | 39.6159 | 2.1582
| 40 | 133 | 17.9781 | 36.6101 | 1.9259
| 42 | 134 | 26.3891 | 52.1018 | 2.5767
| 42 | 135 | 29.2481 | 65.4238 | 2.9995
| 42 | 136 | 29.1532 | 61.0242 | 2.8034
| 42 | 137 | 28.069 | 55.6811 | 2.5835
| 42 | 138 | 24.9187 | 46.5671 | 2.3971
| 42 | 139 | 24.6989 | 44.6949 | 2.2727
| 42 | 140 | 25.5574 | 45.6525 | 2.2667
| 42 | 141 | 27.681 | 50.7063 | 2.3939
| 42 | 142 | 28.7282 | 53.1826 | 2.493
| 42 | 143 | 29.3858 | 54.9052 | 2.5829
| 42 | 144 | 26.7229 | 49.2399 | 2.4193
| 42 | 145 | 26.1409 | 47.8043 | 2.4804
| 42 | 146 | 23.6283 | 43.1533 | 2.1882
| 42 | 147 | 19.7962 | 37.8769 | 2.0729
| 42 | 148 | 13.5857 | 33.6117 | 1.5485
| 42 | 149 | 10.5272 | 36.2631 | 1.1842
| 45 | 150 | 30.3335 | 72.0592 | 2.9154
| 45 | 151 | 30.1373 | 70.8619 | 3.1833
| 45 | 152 | 29.7897 | 62.515 | 2.4992
| 45 | 153 | 27.9013 | 54.2374 | 2.5815
| 45 | 154 | 25.2884 | 46.406 | 2.3248
| 45 | 155 | 24.9964 | 45.5069 | 2.2472
| 45 | 156 | 25.3985 | 46.1841 | 2.2822
| 45 | 157 | 25.1667 | 45.5336 | 2.2563
| 45 | 158 | 25.9329 | 46.8443 | 2.2772
| 45 | 159 | 27.8842 | 51.5788 | 2.4061
| 45 | 160 | 29.1432 | 53.851 | 2.5822
| 45 | 161 | 29.4919 | 55.4291 | 2.5985
| 45 | 162 | 29.3838 | 55.293 | 2.5535
| 45 | 163 | 25.9544 | 47.9103 | 2.3631
| 45 | 164 | 15.4133 | 31.0694 | 1.76
| 45 | 165 | 9.6088 | 27.3569 | 1.2889
000601 | 45 | 166 | 9.9974 | 36.5928 | 1.1867
| 48 | 167 | 22.1622 | 77.7293 | 3.4401
| 48 | 168 | 22.5888 | 75.9816 | 3.3048
| 48 | 169 | 23.2275 | 72.0646 | 3.1603
| 48 | 171 | 24.8363 | 68.2756 | 2.945
| 48 | 172 | 26.1155 | 67.4181 | 2.844
| 48 | 173 | 28.6152 | 59.9975 | 2.6111
| 48 | 174 | 29.4455 | 55.6998 | 2.539
| 48 | 175 | 29.9798 | 55.1219 | 2.5549
| 48 | 176 | 30.2935 | 55.1511 | 2.5629
| 48 | 177 | 30.6689 | 54.8616 | 2.5944
| 48 | 178 | 30.8917 | 54.1893 | 2.6071
| 48 | 179 | 27.0462 | 42.3685 | 2.6292
| 48 | 180 | 19.005 | 29.3596 | 2.024
| 48 | 181 | 11.3722 | 19.6676 | 1.1355
| 50 | 182 | 29.9036 | 64.669 | 2.8983
| 50 | 183 | 29.8513 | 63.1242 | 2.8779
| 50 | 184 | 29.6181 | 60.8213 | 2.7912
| 50 | 186 | 27.7572 | 52.9061 | 2.4924
| 50 | 187 | 24.3931 | 43.6813 | 2.2136
| 50 | 188 | 25.6919 | 46.5996 | 2.2779
| 50 | 189 | 28.2904 | 52.676 | 2.7618
| 50 | 190 | 28.7878 | 53.4273 | 2.091
| 50 | 191 | 28.9463 | 53.3928 | 2.5309
| 50 | 192 | 29.3774 | 54.3697 | 2.6048
| 50 | 193 | 27.5387 | 50.0994 | 2.5327
| 50 | 194 | 17.7857 | 34.2912 | 1.9921
| 50 | 195 | 8.9477 | 27.1361 | 1.2677
| 50 | 196 | 8.9481 | 26.8996 | 1.2436
| 50 | 197 | 8.5618 | 26.1585 | 1.2334
| 54 | 198 | 30.0219 | 68.4492 | 2.5339
| 54 | 199 | 29.9275 | 66.8398 | 2.5766
| 54 | 200 | 28.651 | 56.2708 | 2.2592
| 54 | 201 | 28.4063 | 55.2238 | 2.1988
| 54 | 202 | 27.8295 | 53.8635 | 2.4705
| 54 | 203 | 27.8879 | 52.5026 | 2.4288
| 54 | 204 | 28.7921 | 53.5201 | 2.4856
| 54 | 205 | 29.1519 | 54.6012 | 2.4955
| 54 | 206 | 29.3604 | 55.6207 | 2.6229
| 54 | 207 | 27.4278 | 52.44 | 2.5435
| 54 | 208 | 19.7721 | 37.8178 | 2.1545
| 54 | 209 | 14.7582 | 29.1608 | 1.8087
| 54 | 210 | 14.5225 | 28.7329 | 1.7856
| 54 | 211 | 14.6145 | 29.1771 | 1.8138
| 54 | 212 | 14.4385 | 28.8736 | 1.7906
| 57 | 213 | 29.9318 | 68.4687 | 2.8661
| 57 | 214 | 30.1391 | 63.4162 | 2.787
| 57 | 215 | 29.8001 | 60.6838 | 2.7173
| 57 | 217 | 27.7985 | 54.5052 | 2.2826
| 57 | 218 | 28.8829 | 55.3419 | 2.1755
| 57 | 219 | 28.4562 | 52.7953 | 2.1058
| 57 | 220 | 29.6289 | 56.5776 | 2.2509
| 57 | 221 | 28.2077 | 52.962 | 2.5276
| 57 | 222 | 27.753 | 51.1019 | 2.5328
| 57 | 223 | 14.9142 | 29.3642 | 1.8174
| 57 | 224 | 14.8313 | 29.4287 | 1.8228
| 57 | 225 | 14.7191 | 29.3848 | 1.571
| 57 | 226 | 13.7431 | 28.1581 | 1.7204
| 57 | 227 | 12.5899 | 26.6812 | 1.6318
| 59 | 228 | 29.2157 | 60.6333 | 2.5837
| 59 | 229 | 28.1109 | 57.4175 | 2.6352
| 59 | 230 | 29.058 | 56.3591 | 2.4786
| 59 | 232 | 29.0395 | 56.2515 | 2.2097
| 59 | 233 | 29.5955 | 56.5881 | 2.5861
| 59 | 234 | 30.1824 | 57.1792 | 2.6424
| 59 | 235 | 27.8941 | 51.9942 | 2.2783
| 59 | 236 | 23.525 | 44.7386 | 2.32
| 59 | 237 | 20.8214 | 40.0889 | 1.9446
| 59 | 238 | 19.2035 | 36.7681 | 2
| 59 | 239 | 16.0246 | 31.6987 | 1.8316
| 59 | 240 | 15.0094 | 29.5789 | 1.5993
000602 | 59 | 241 | 14.6541 | 29.2105 | 1.6912
| 62 | 241 | 29.4409 | 67.4607 | 2.7431
| 62 | 242 | 29.4529 | 62.1172 | 2.6716
| 62 | 243 | 28.8953 | 55.9017 | 2.3317
| 62 | 244 | 29.7768 | 56.8652 | 2.5712
| 62 | 245 | 29.9091 | 56.1919 | 2.6462
| 62 | 246 | 26.4703 | 48.9159 | 2.4851
| 62 | 247 | 25.1317 | 46.6089 | 2.461
| 62 | 248 | 23.9426 | 45.3688 | 2.3145
| 62 | 249 | 23.6519 | 45.0688 | 2.3327
| 62 | 250 | 23.3996 | 44.6563 | 2.2422
| 62 | 251 | 23.5584 | 44.7323 | 2.3073
| 62 | 252 | 23.1467 | 45.2482 | 2.3162
| 65 | 253 | 29.6351 | 77.9587 | 2.8988
| 65 | 254 | 29.6216 | 78.5772 | 2.6754
| 65 | 255 | 29.6982 | 66.231 | 2.774
| 65 | 256 | 29.5044 | 62.2133 | 2.688
| 65 | 257 | 29.3405 | 59.5247 | 2.3523
| 65 | 258 | 29.1759 | 58.0995 | 2.5116
| 65 | 259 | 29.3726 | 57.8743 | 2.4213
| 65 | 260 | 28.5456 | 53.5402 | 2.4487
| 65 | 261 | 29.8272 | 56.1561 | 2.3443
| 65 | 262 | 29.874 | 56.3088 | 2.6266
| 65 | 263 | 25.5175 | 47.363 | 2.4557
| 65 | 264 | 22.371 | 43.9191 | 2.009
| 65 | 265 | 21.6711 | 43.1355 | 1.9093
| 65 | 266 | 19.6967 | 39.4406 | 1.8665
| 65 | 267 | 19.1647 | 38.324 | 1.8564
| 65 | 268 | 19.625 | 38.8409 | 2.0607
| 65 | 269 | 19.5741 | 38.7923 | 2.0458
| 65 | 270 | 19.4328 | 38.1142 | 2.0309
| 67 | 271 | 29.5034 | 69.5718 | 2.4352
| 67 | 272 | 29.5187 | 63.9 | 2.7412
| 67 | 273 | 29.2654 | 59.4016 | 2.6451
| 67 | 274 | 29.1314 | 59.1782 | 2.6201
| 67 | 275 | 29.0422 | 57.1164 | 2.5654
| 67 | 276 | 28.938 | 56.2695 | 2.2955
| 67 | 277 | 27.6995 | 53.9907 | 2.2848
| 67 | 278 | 26.1339 | 49.9067 | 2.5094
| 67 | 279 | 21.4462 | 43.898 | 2.1132
| 67 | 280 | 19.3511 | 40.0022 | 1.9109
| 67 | 281 | 18.8888 | 38.4625 | 2.0639
| 67 | 282 | 18.2481 | 37.604 | 1.7734
| 67 | 283 | 18.2898 | 38.2337 | 1.9867
| 67 | 284 | 18.2425 | 38.057 | 1.9948
| 67 | 285 | 18.0762 | 37.7559 | 1.9982
| 69 | 286 | 26.4636 | 52.8142 | 2.2901
| 69 | 287 | 22.7177 | 45.7884 | 2.2613
| 69 | 288 | 17.853 | 37.6615 | 1.9796
| 69 | 289 | 20.0558 | 42.0119 | 1.7784
| 69 | 290 | 19.9139 | 41.2109 | 2.0811
| 69 | 291 | 19.9504 | 41.5277 | 2.0805
| 69 | 292 | 19.9868 | 41.2856 | 1.7347
| 69 | 293 | 20.1124 | 42.3498 | 1.7109
| 69 | 294 | 19.9705 | 41.4232 | 2.0692
| 69 | 295 | 19.9772 | 41.7411 | 2.0592
| 69 | 296 | 19.8054 | 41.6232 | 2.0725

## Variability
Variability
Variability of Water Sampled at 125 m , Station P4, Cruise 2000-01
Date | Sample | nitrate | silicate | phosphate
530 | P4 | 25.7467 | 37.6702 | 1.7696 | plastic volumetrics
1.7961
| P4 | 25.7926 | 37.8725 | 1.7626
531 | P4 | 26.028 | 37.1338 | 1.7992
| P4 | 25.8624 | 37.092 | 1.8154
601 | P4 | 26.1328 | 37.4329 | 1.7999
602 | P4 | 25.941 | 37.3831 | 1.7992
| P4 | 25.8369 | 37.2213 | 1.8245
| mean | 25.9058 | 37.4008 | 1.7958
| std dev | 0.1369 | 0.28733 | 0.020848
Variability of Standards analyzed as unknowns.
Date | Sample | nitrate | silicate | phosphate
530 | std | 19.9589 | 39.5275 | 1.9606
| std | 19.9809 | 39.3577 | 2.0099
531 | med std | 20.0179 | 39.8717 | 2.0274
601 | std | 20.2312 | 39.9147 | 1.9707
602 | med | 20.1057 | 39.8381 | 1.9714
| std | 20.1582 | 39.6624 | 1.9754
| mean | 20.0755 | 39.6954 | 1.9859
| std dev | 0.10759 | 0.2204 | 0.026418
Pooled deviation of Duplicates
| sample | n1 | n2 | (n1-n2) | (n1-n2)^2 | average
Nitrate | 96 | 18.666 | 19.3587 | -0.69272 | 0.47986 | 19.0123
| 95 | 19.7462 | 19.9291 | -0.18287 | 0.033441 | 19.8377
| 94 | 20.4346 | 20.3482 | 0.08646 | 0.0074753 | 20.3914
| 93 | 21.0629 | 21.2826 | -0.21963 | 0.048237 | 21.1727
| 92 | 23.3254 | 23.4022 | -0.07678 | 0.0058952 | 23.3638
| 91 | 24.6217 | 24.5764 | 0.04536 | 0.0020575 | 24.599
| 90 | 25.3728 | 25.4529 | -0.08012 | 0.0064192 | 25.4129
| 89 | 26.8838 | 27.5503 | -0.66647 | 0.44418 | 27.2171
| 88 | 27.8793 | 27.7876 | 0.0917 | 0.0084089 | 27.8335
| 87 | 28.784 | 28.9719 | -0.18784 | 0.035284 | 28.8779
|  |  |  | sum of squared differences | 1.0713
|  |  |  | no. of pairs | 10
|  |  |  | pooled deviation | 0.23144
Silicate | 96 | 35.4265 | 36.8401 | -1.4136 | 1.9983 | 36.1333
| 95 | 36.9364 | 37.2186 | -0.28217 | 0.07962 | 37.0775
| 94 | 37.2536 | 37.2838 | -0.03019 | 0.00091144 | 37.2687
| 93 | 38.011 | 37.8506 | 0.16044 | 0.025741 | 37.9308
| 92 | 40.5303 | 40.0483 | 0.48201 | 0.23233 | 40.2893
| 91 | 41.0379 | 41.4354 | -0.39744 | 0.15796 | 41.2366
| 90 | 41.7348 | 42.632 | -0.8972 | 0.80497 | 42.1834
| 89 | 42.6843 | 43.3269 | -0.64258 | 0.41291 | 43.0056
| 88 | 43.7607 | 43.7079 | 0.05283 | 0.002791 | 43.7343
| 87 | 44.5227 | 44.2149 | 0.30783 | 0.094759 | 44.3688
|  |  |  | sum of squared differences | 3.8103
|  |  |  | no. of pairs | 10
|  |  |  | pooled deviation | 0.43648
Phosphate
| 96 | 1.7104 | 1.8222 | -0.11183 | 0.012506 | 1.7663
| 95 | 1.879 | 1.8503 | 0.028695 | 0.0008234 | 1.8646
| 94 | 1.9214 | 1.8971 | 0.024226 | 0.0005869 | 1.9092
| 93 | 2.0345 | 1.9488 | 0.085713 | 0.0073467 | 1.9917
| 92 | 2.0867 | 2.09 | -0.003301 | 1.0897e-05 | 2.0883
| 91 | 2.1106 | 2.1192 | -0.008606 | 7.4063e-05 | 2.1149
| 90 | 2.1772 | 2.1622 | 0.014993 | 0.00022479 | 2.1697
| 89 | 2.5211 | 2.2387 | 0.28239 | 0.079742 | 2.3799
| 88 | 2.2826 | 2.2727 | 0.009904 | 9.8089e-05 | 2.2776
| 87 | 2.3069 | 2.3116 | -0.00472 | 2.2278e-05 | 2.3092
|  |  |  | sum of squared differences | 0.10144
|  |  |  | no. of pairs | 10
|  |  |  | pooled deviation | 0.071216