## File List
Number of Files= |  | 28
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20080002.hyd | 20080002.sam | 12 | 15 | 20080002.hyd & 20080002.sam
2 | 20080004.hyd | 20080004.sam | 17 | 20 | 20080004.hyd & 20080004.sam
3 | 20080006.hyd | 20080006.sam | 22 | 24 | 20080006.hyd & 20080006.sam
4 | 20080009.hyd | 20080009.sam | 26 | 26 | 20080009.hyd & 20080009.sam
5 | 20080022.hyd | 20080022.sam | 28 | 29 | 20080022.hyd & 20080022.sam
6 | 20080024.hyd | 20080024.sam | 31 | 32 | 20080024.hyd & 20080024.sam
7 | 20080028.hyd | 20080028.sam | 34 | 34 | 20080028.hyd & 20080028.sam
8 | 20080029.hyd | 20080029.sam | 36 | 37 | 20080029.hyd & 20080029.sam
9 | 20080038.hyd | 20080038.sam | 39 | 40 | 20080038.hyd & 20080038.sam
10 | 20080043.hyd | 20080043.sam | 42 | 43 | 20080043.hyd & 20080043.sam
11 | 20080046.hyd | 20080046.sam | 45 | 49 | 20080046.hyd & 20080046.sam
12 | 20080047.hyd | 20080047.sam | 51 | 55 | 20080047.hyd & 20080047.sam
13 | 20080049.hyd | 20080049.sam | 57 | 61 | 20080049.hyd & 20080049.sam
14 | 20080050.hyd | 20080050.sam | 63 | 64 | 20080050.hyd & 20080050.sam
15 | 20080063.hyd | 20080063.sam | 66 | 70 | 20080063.hyd & 20080063.sam
16 | 20080068.hyd | 20080068.sam | 72 | 75 | 20080068.hyd & 20080068.sam
17 | 20080071.hyd | 20080071.sam | 77 | 80 | 20080071.hyd & 20080071.sam
18 | 20080073.hyd | 20080073.sam | 82 | 83 | 20080073.hyd & 20080073.sam
19 | 20080076.hyd | 20080076.sam | 85 | 89 | 20080076.hyd & 20080076.sam
20 | 20080097.hyd | 20080097.sam | 91 | 91 | 20080097.hyd & 20080097.sam
21 | 20080104.hyd | 20080104.sam | 93 | 94 | 20080104.hyd & 20080104.sam
22 | 20080113.hyd | 20080113.sam | 96 | 97 | 20080113.hyd & 20080113.sam
23 | 20080120.hyd | 20080120.sam | 99 | 99 | 20080120.hyd & 20080120.sam
24 | 20080128.hyd | 20080128.sam | 101 | 104 | 20080128.hyd & 20080128.sam
25 | 20080130.hyd | 20080130.sam | 106 | 109 | 20080130.hyd & 20080130.sam
26 | 20080132.hyd | 20080132.sam | 111 | 114 | 20080132.hyd & 20080132.sam
27 | 20080134.hyd | 20080134.sam | 116 | 119 | 20080134.hyd & 20080134.sam
28 | 20080142.hyd | 20080142.sam | 121 | 122 | 20080142.hyd & 20080142.sam

## (Salinity00 - Salinityb)
Calculation of Linear Least Squares Fit For
(Salinity00 - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity00 - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.0013491 |  | X | CALC Y
m= | 1.4278e-07 | 4.8557e-07 |  | Std Dev of Resid |  | 0.001361 |  | 140.371 | -0.012372
b= | -0.012392 | 0.00040016 |  | Resid Sum of Squares |  | 0.00011854 |  | 1677.38 | -0.012153
# of Values Extracted = |  |  | 76 |  |  |  |  | Mean |  | -0.012285
# of Values Used in Fit = |  |  | 66
File | Use | Pressure | Salinity00 | Salinity00 | Diff (Salinity00 - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
3 | NO | 488.034 | 34.0816 | 0.00025613 | -0.015938 | -0.012322 | 0.0036153 |  | 401.04 | -0.014934
3 | YES | 401.04 | 34.0405 | 0.00026688 | -0.014934 | -0.012335 | 0.0025996 |  | 300.602 | -0.014782
3 | YES | 300.602 | 33.9756 | 0.00024135 | -0.014782 | -0.012349 | 0.0024328 |  | 141.205 | -0.01302
4 | YES | 141.205 | 33.8835 | 0.00057192 | -0.01302 | -0.012372 | 0.00064762 |  | 140.371 | -0.013641
5 | YES | 140.371 | 33.8176 | 0.00022742 | -0.013641 | -0.012372 | 0.0012693 |  | 185.334 | -0.013794
5 | NO | 99.1681 | 33.7231 | 0.00026759 | -0.013657 | -0.012378 | 0.0012786 |  | 175.234 | -0.014198
6 | NO | 104.827 | 33.7743 | 0.0030453 | -0.0083656 | -0.012377 | -0.0040115 |  | 599.771 | -0.013004
6 | NO | 76.9881 | 33.3622 | 0.002801 | -0.011433 | -0.012381 | -0.00094855 |  | 501.281 | -0.014011
7 | NO | 50.3878 | 31.8477 | 0.0024347 | 0.0029449 | -0.012385 | -0.01533 |  | 1607.47 | -0.014625
8 | NO | 104.443 | 33.4504 | 0.0043854 | -0.001461 | -0.012377 | -0.010916 |  | 1200.73 | -0.014233
8 | NO | 75.3495 | 32.9753 | 0.0054653 | 0.0059891 | -0.012381 | -0.01837 |  | 1000.1 | -0.014332
9 | YES | 185.334 | 33.9327 | 0.00022745 | -0.013794 | -0.012366 | 0.0014282 |  | 800.794 | -0.013794
9 | YES | 175.234 | 33.9325 | 0.00025374 | -0.014198 | -0.012367 | 0.0018312 |  | 600.188 | -0.013302
10 | YES | 599.771 | 34.2048 | 0.00063395 | -0.013004 | -0.012307 | 0.00069779 |  | 1677.38 | -0.014091
10 | YES | 501.281 | 34.0854 | 0.00025494 | -0.014011 | -0.012321 | 0.0016908 |  | 1201.07 | -0.013317
11 | YES | 1607.47 | 34.526 | 0.00022195 | -0.014625 | -0.012163 | 0.0024629 |  | 998.235 | -0.013573
11 | YES | 1200.73 | 34.4471 | 0.00029304 | -0.014233 | -0.012221 | 0.0020119 |  | 801.396 | -0.012394
11 | YES | 1000.1 | 34.3716 | 0.00023502 | -0.014332 | -0.012249 | 0.0020824 |  | 599.977 | -0.011555
11 | YES | 800.794 | 34.2904 | 0.00022002 | -0.013794 | -0.012278 | 0.0015161 |  | 1499.99 | -0.014641
11 | YES | 600.188 | 34.1597 | 0.00026351 | -0.013302 | -0.012306 | 0.00099535 |  | 1202.39 | -0.013603
12 | YES | 1677.38 | 34.5336 | 0.00022267 | -0.014091 | -0.012153 | 0.0019388 |  | 1003.1 | -0.01244
12 | YES | 1201.07 | 34.4441 | 0.00021794 | -0.013317 | -0.012221 | 0.0010964 |  | 801.868 | -0.01326
12 | YES | 998.235 | 34.385 | 0.0002647 | -0.013573 | -0.01225 | 0.0013231 |  | 600.604 | -0.012939
12 | YES | 801.396 | 34.2761 | 0.00031197 | -0.012394 | -0.012278 | 0.00011628 |  | 1002.87 | -0.012695
12 | YES | 599.977 | 34.1426 | 0.00050848 | -0.011555 | -0.012306 | -0.00075178 |  | 800.106 | -0.012501
13 | YES | 1499.99 | 34.4872 | 0.00037217 | -0.014641 | -0.012178 | 0.0024628 |  | 999.969 | -0.012241
13 | YES | 1202.39 | 34.4206 | 0.00026194 | -0.013603 | -0.01222 | 0.0013827 |  | 800.064 | -0.012497
13 | YES | 1003.1 | 34.3749 | 0.00030055 | -0.01244 | -0.012249 | 0.00019078 |  | 597.037 | -0.013725
13 | YES | 801.868 | 34.2846 | 0.00025763 | -0.01326 | -0.012278 | 0.00098224 |  | 502.673 | -0.011059
13 | YES | 600.604 | 34.1338 | 0.00023151 | -0.012939 | -0.012306 | 0.00063311 |  | 401.63 | -0.010277
14 | YES | 1002.87 | 34.3663 | 0.00023172 | -0.012695 | -0.012249 | 0.00044634 |  | 1002.55 | -0.010696
14 | YES | 800.106 | 34.2879 | 0.00024454 | -0.012501 | -0.012278 | 0.00022289 |  | 801.392 | -0.011169
15 | YES | 999.969 | 34.3799 | 0.00029358 | -0.012241 | -0.012249 | -7.9713e-06 |  | 600.498 | -0.011795
15 | YES | 800.064 | 34.2842 | 0.00027128 | -0.012497 | -0.012278 | 0.00021899 |  | 500.763 | -0.011906
15 | YES | 597.037 | 34.1513 | 0.0003181 | -0.013725 | -0.012307 | 0.0014184 |  | 1502.47 | -0.010559
15 | YES | 502.673 | 34.0626 | 0.00070168 | -0.011059 | -0.01232 | -0.0012616 |  | 1201.73 | -0.011105
15 | YES | 401.63 | 34.0187 | 0.0011191 | -0.010277 | -0.012335 | -0.002058 |  | 1000.7 | -0.0099831
16 | YES | 1002.55 | 34.3829 | 0.00025751 | -0.010696 | -0.012249 | -0.0015526 |  | 799.835 | -0.01247
16 | YES | 801.392 | 34.2956 | 0.00029609 | -0.011169 | -0.012278 | -0.0011083 |  | 600.76 | -0.011311
16 | YES | 600.498 | 34.1799 | 0.0004177 | -0.011795 | -0.012306 | -0.00051141 |  | 1111.37 | -0.01033
16 | YES | 500.763 | 34.1073 | 0.0002911 | -0.011906 | -0.012321 | -0.00041495 |  | 998.504 | -0.011612
17 | YES | 1502.47 | 34.5006 | 0.00024413 | -0.010559 | -0.012178 | -0.0016185 |  | 798.318 | -0.012672
17 | YES | 1201.73 | 34.4329 | 0.00026925 | -0.011105 | -0.012221 | -0.001116 |  | 599.337 | -0.012512
17 | YES | 1000.7 | 34.3737 | 0.00070995 | -0.0099831 | -0.012249 | -0.0022662 |  | 499.825 | -0.011608
17 | YES | 799.835 | 34.2889 | 0.0011994 | -0.01247 | -0.012278 | 0.00019225 |  | 221.507 | -0.014244
18 | NO | 705.501 | 34.2649 | 0.0022601 | -0.0023994 | -0.012291 | -0.009892 |  | 174.827 | -0.013104
18 | YES | 600.76 | 34.1799 | 0.00023444 | -0.011311 | -0.012306 | -0.00099577 |  | 500.982 | -0.010464
19 | YES | 1111.37 | 34.4144 | 0.00068208 | -0.01033 | -0.012233 | -0.0019033 |  | 401.263 | -0.013138
19 | YES | 998.504 | 34.3843 | 0.00038487 | -0.011612 | -0.01225 | -0.00063768 |  | 952.948 | -0.010452
19 | YES | 798.318 | 34.2834 | 0.00031133 | -0.012672 | -0.012278 | 0.00039424 |  | 799.569 | -0.0117
19 | YES | 599.337 | 34.197 | 0.00020462 | -0.012512 | -0.012307 | 0.00020563 |  | 601.029 | -0.01078
19 | YES | 499.825 | 34.11 | 0.00037027 | -0.011608 | -0.012321 | -0.00071268 |  | 499.399 | -0.011814
20 | NO | 65.4001 | 31.9991 | 0.0025931 | 0.0033093 | -0.012383 | -0.015692 |  | 1002.38 | -0.010662
21 | YES | 221.507 | 33.9414 | 0.00036243 | -0.014244 | -0.012361 | 0.0018836 |  | 800.497 | -0.010147
21 | YES | 174.827 | 33.8967 | 0.00023923 | -0.013104 | -0.012367 | 0.00073632 |  | 599.471 | -0.010353
22 | YES | 500.982 | 34.0604 | 0.00020877 | -0.010464 | -0.012321 | -0.0018569 |  | 499.162 | -0.011417
22 | YES | 401.263 | 33.9871 | 0.00028697 | -0.013138 | -0.012335 | 0.00080295 |  | 1000.17 | -0.011608
23 | NO | 211.452 | 33.9215 | 0.0010376 | -0.0071526 | -0.012362 | -0.0052094 |  | 802.223 | -0.011082
24 | YES | 952.948 | 34.3519 | 0.00081677 | -0.010452 | -0.012256 | -0.0018038 |  | 600.215 | -0.011208
24 | YES | 799.569 | 34.2837 | 0.00022723 | -0.0117 | -0.012278 | -0.00057828 |  | 502.229 | -0.011498
24 | YES | 601.029 | 34.1607 | 0.0006755 | -0.01078 | -0.012306 | -0.001526 |  | 1002.54 | -0.011463
24 | YES | 499.399 | 34.0868 | 0.00030277 | -0.011814 | -0.012321 | -0.00050674 |  | 801.096 | -0.011478
25 | YES | 1002.38 | 34.3662 | 0.00026986 | -0.010662 | -0.012249 | -0.0015869 |  | 601.216 | -0.011475
25 | YES | 800.497 | 34.2941 | 0.00033717 | -0.010147 | -0.012278 | -0.0021308 |  | 500.261 | -0.011684
25 | YES | 599.471 | 34.1715 | 0.00032924 | -0.010353 | -0.012307 | -0.0019535 |  | 770.908 | -0.011219
25 | YES | 499.162 | 34.0987 | 0.00054577 | -0.011417 | -0.012321 | -0.00090347 |  | 598.892 | -0.011631
26 | YES | 1000.17 | 34.3858 | 0.00023408 | -0.011608 | -0.012249 | -0.00064124
26 | YES | 802.223 | 34.3072 | 0.00032295 | -0.011082 | -0.012278 | -0.0011959
26 | YES | 600.215 | 34.1685 | 0.00037264 | -0.011208 | -0.012306 | -0.0010988
26 | YES | 502.229 | 34.0966 | 0.00053694 | -0.011498 | -0.01232 | -0.00082294
27 | YES | 1002.54 | 34.3727 | 0.00024129 | -0.011463 | -0.012249 | -0.0007858
27 | YES | 801.096 | 34.3002 | 0.00037401 | -0.011478 | -0.012278 | -0.00079937
27 | YES | 601.216 | 34.1783 | 0.00047438 | -0.011475 | -0.012306 | -0.0008317
27 | YES | 500.261 | 34.1049 | 0.00052993 | -0.011684 | -0.012321 | -0.00063632
28 | YES | 770.908 | 34.3005 | 0.00026033 | -0.011219 | -0.012282 | -0.0010631
28 | YES | 598.892 | 34.1895 | 0.00035322 | -0.011631 | -0.012307 | -0.00067564
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity00
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Salinity11 - Salinityb)
Calculation of Linear Least Squares Fit For
(Salinity11 - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity11 - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.028152 |  | X | CALC Y
m= | 5.0238e-07 | 3.6612e-07 |  | Std Dev of Resid |  | 0.0010445 |  | 140.371 | -0.0059843
b= | -0.0060548 | 0.00029961 |  | Resid Sum of Squares |  | 7.0917e-05 |  | 1677.38 | -0.0052122
# of Values Extracted = |  |  | 76 |  |  |  |  | Mean |  | -0.0056829
# of Values Used in Fit = |  |  | 67
File | Use | Pressure | Salinity11 | Salinity11 | Diff (Salinity11 - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
3 | NO | 488.034 | 34.0897 | 0.00026116 | -0.0078163 | -0.0058097 | 0.0020067 |  | 401.04 | -0.0065155
3 | YES | 401.04 | 34.0489 | 0.00031201 | -0.0065155 | -0.0058534 | 0.00066214 |  | 300.602 | -0.0063324
3 | YES | 300.602 | 33.9841 | 0.00030893 | -0.0063324 | -0.0059038 | 0.00042858 |  | 141.205 | -0.0052605
4 | YES | 141.205 | 33.8912 | 0.0005933 | -0.0052605 | -0.0059839 | -0.00072343 |  | 140.371 | -0.0062408
5 | YES | 140.371 | 33.825 | 0.00023746 | -0.0062408 | -0.0059843 | 0.00025653 |  | 185.334 | -0.0058556
5 | NO | 99.1681 | 33.7306 | 0.00038017 | -0.0062485 | -0.006005 | 0.00024346 |  | 175.234 | -0.0061951
6 | NO | 104.827 | 33.7821 | 0.0035372 | -0.00064468 | -0.0060022 | -0.0053575 |  | 599.771 | -0.0044022
6 | NO | 76.9881 | 33.3709 | 0.0032085 | -0.002697 | -0.0060162 | -0.0033192 |  | 501.281 | -0.0055809
7 | NO | 50.3878 | 31.8555 | 0.0015764 | 0.010714 | -0.0060295 | -0.016743 |  | 1607.47 | -0.0064545
8 | NO | 104.443 | 33.4623 | 0.0026711 | 0.010353 | -0.0060024 | -0.016355 |  | 1200.73 | -0.0059357
8 | NO | 75.3495 | 32.9802 | 0.0072644 | 0.010929 | -0.006017 | -0.016946 |  | 1000.1 | -0.0060234
9 | YES | 185.334 | 33.9406 | 0.00025376 | -0.0058556 | -0.0059617 | -0.00010617 |  | 800.794 | -0.0056457
9 | YES | 175.234 | 33.9405 | 0.00029615 | -0.0061951 | -0.0059668 | 0.00022827 |  | 600.188 | -0.005146
10 | YES | 599.771 | 34.2134 | 0.00059727 | -0.0044022 | -0.0057535 | -0.0013514 |  | 1677.38 | -0.0060654
10 | YES | 501.281 | 34.0938 | 0.00030505 | -0.0055809 | -0.005803 | -0.0002221 |  | 1201.07 | -0.0051689
11 | YES | 1607.47 | 34.5341 | 0.00029553 | -0.0064545 | -0.0052473 | 0.0012072 |  | 998.235 | -0.0053978
11 | YES | 1200.73 | 34.4554 | 0.00039241 | -0.0059357 | -0.0054516 | 0.00048405 |  | 801.396 | -0.0044212
11 | YES | 1000.1 | 34.3799 | 0.00027725 | -0.0060234 | -0.0055524 | 0.000471 |  | 599.977 | -0.0034599
11 | YES | 800.794 | 34.2986 | 0.00029733 | -0.0056457 | -0.0056525 | -6.7836e-06 |  | 1499.99 | -0.0065918
11 | YES | 600.188 | 34.1679 | 0.00029674 | -0.005146 | -0.0057533 | -0.00060728 |  | 1202.39 | -0.0055924
12 | YES | 1677.38 | 34.5416 | 0.0003322 | -0.0060654 | -0.0052122 | 0.00085321 |  | 1003.1 | -0.0044861
12 | YES | 1201.07 | 34.4522 | 0.00033886 | -0.0051689 | -0.0054514 | -0.00028253 |  | 801.868 | -0.0054398
12 | YES | 998.235 | 34.3932 | 0.00032253 | -0.0053978 | -0.0055533 | -0.00015554 |  | 600.604 | -0.0051842
12 | YES | 801.396 | 34.2841 | 0.0002946 | -0.0044212 | -0.0056522 | -0.001231 |  | 1002.87 | -0.0053062
12 | YES | 599.977 | 34.1507 | 0.00051776 | -0.0034599 | -0.0057534 | -0.0022935 |  | 800.106 | -0.0048561
13 | YES | 1499.99 | 34.4952 | 0.00045643 | -0.0065918 | -0.0053013 | 0.0012905 |  | 999.969 | -0.0051079
13 | YES | 1202.39 | 34.4286 | 0.0002698 | -0.0055924 | -0.0054508 | 0.00014157 |  | 800.064 | -0.0052605
13 | YES | 1003.1 | 34.3828 | 0.00039883 | -0.0044861 | -0.0055509 | -0.0010648 |  | 597.037 | -0.0053863
13 | YES | 801.868 | 34.2925 | 0.00030073 | -0.0054398 | -0.005652 | -0.00021223 |  | 502.673 | -0.0044479
13 | YES | 600.604 | 34.1415 | 0.00028309 | -0.0051842 | -0.0057531 | -0.00056893 |  | 401.63 | -0.0030785
14 | YES | 1002.87 | 34.3737 | 0.0003072 | -0.0053062 | -0.005551 | -0.00024478 |  | 1002.55 | -0.0046921
14 | YES | 800.106 | 34.2955 | 0.00025965 | -0.0048561 | -0.0056529 | -0.00079677 |  | 801.392 | -0.0047226
15 | YES | 999.969 | 34.387 | 0.00027931 | -0.0051079 | -0.0055525 | -0.00044459 |  | 600.498 | -0.0054169
15 | YES | 800.064 | 34.2914 | 0.00043246 | -0.0052605 | -0.0056529 | -0.00039243 |  | 500.763 | -0.0056419
15 | YES | 597.037 | 34.1596 | 0.00037244 | -0.0053863 | -0.0057549 | -0.00036855 |  | 1502.47 | -0.0044479
15 | YES | 502.673 | 34.0693 | 0.00043325 | -0.0044479 | -0.0058023 | -0.0013544 |  | 1201.73 | -0.004837
15 | YES | 401.63 | 34.0259 | 0.00033695 | -0.0030785 | -0.0058531 | -0.0027746 |  | 1000.7 | -0.003437
16 | YES | 1002.55 | 34.3889 | 0.00028669 | -0.0046921 | -0.0055512 | -0.0008591 |  | 799.835 | -0.0056076
16 | YES | 801.392 | 34.3021 | 0.00031172 | -0.0047226 | -0.0056522 | -0.00092963 |  | 600.76 | -0.0053291
16 | YES | 600.498 | 34.1863 | 0.00038051 | -0.0054169 | -0.0057532 | -0.00033629 |  | 1111.37 | -0.0051002
16 | YES | 500.763 | 34.1136 | 0.00031335 | -0.0056419 | -0.0058033 | -0.00016132 |  | 998.504 | -0.0055924
17 | YES | 1502.47 | 34.5068 | 0.00028887 | -0.0044479 | -0.0053 | -0.00085209 |  | 798.318 | -0.0065765
17 | YES | 1201.73 | 34.4392 | 0.00033419 | -0.004837 | -0.0054511 | -0.00061407 |  | 599.337 | -0.0065537
17 | YES | 1000.7 | 34.3803 | 0.00045305 | -0.003437 | -0.0055521 | -0.0021151 |  | 499.825 | -0.0055809
17 | YES | 799.835 | 34.2958 | 0.00064866 | -0.0056076 | -0.005653 | -4.5415e-05 |  | 221.507 | -0.0091667
18 | NO | 705.501 | 34.2704 | 0.00080133 | 0.003109 | -0.0057004 | -0.0088094 |  | 174.827 | -0.0079842
18 | YES | 600.76 | 34.1859 | 0.00028213 | -0.0053291 | -0.005753 | -0.0004239 |  | 500.982 | -0.005516
19 | YES | 1111.37 | 34.4196 | 0.00034745 | -0.0051002 | -0.0054965 | -0.00039626 |  | 401.263 | -0.0079613
19 | YES | 998.504 | 34.3903 | 0.00030283 | -0.0055924 | -0.0055532 | 3.9141e-05 |  | 211.452 | -0.003521
19 | YES | 798.318 | 34.2895 | 0.00028652 | -0.0065765 | -0.0056538 | 0.00092276 |  | 952.948 | -0.0055199
19 | YES | 599.337 | 34.2029 | 0.00026889 | -0.0065537 | -0.0057537 | 0.00079991 |  | 799.569 | -0.0065079
19 | YES | 499.825 | 34.116 | 0.00039214 | -0.0055809 | -0.0058037 | -0.00022283 |  | 601.029 | -0.0058479
20 | NO | 65.4001 | 32.002 | 0.0010048 | 0.006176 | -0.006022 | -0.012198 |  | 499.399 | -0.0066795
21 | YES | 221.507 | 33.9464 | 0.00039065 | -0.0091667 | -0.0059436 | 0.0032232 |  | 1002.38 | -0.005825
21 | YES | 174.827 | 33.9018 | 0.00027508 | -0.0079842 | -0.005967 | 0.0020172 |  | 800.497 | -0.004982
22 | YES | 500.982 | 34.0654 | 0.00030072 | -0.005516 | -0.0058032 | -0.0002871 |  | 599.471 | -0.0053215
22 | YES | 401.263 | 33.9922 | 0.00026053 | -0.0079613 | -0.0058532 | 0.002108 |  | 499.162 | -0.0066986
23 | YES | 211.452 | 33.9252 | 0.0011266 | -0.003521 | -0.0059486 | -0.0024276 |  | 1000.17 | -0.0066567
24 | YES | 952.948 | 34.3569 | 0.00049031 | -0.0055199 | -0.0055761 | -5.6225e-05 |  | 802.223 | -0.0060997
24 | YES | 799.569 | 34.2889 | 0.00029689 | -0.0065079 | -0.0056531 | 0.00085472 |  | 600.215 | -0.0061646
24 | YES | 601.029 | 34.1657 | 0.00051683 | -0.0058479 | -0.0057529 | 9.5039e-05 |  | 502.229 | -0.0068512
24 | YES | 499.399 | 34.0919 | 0.00030141 | -0.0066795 | -0.0058039 | 0.00087558 |  | 1002.54 | -0.0066643
25 | YES | 1002.38 | 34.3711 | 0.00034406 | -0.005825 | -0.0055513 | 0.00027378 |  | 801.096 | -0.006485
25 | YES | 800.497 | 34.2992 | 0.00037199 | -0.004982 | -0.0056527 | -0.00067069 |  | 601.216 | -0.0066452
25 | YES | 599.471 | 34.1766 | 0.00027925 | -0.0053215 | -0.0057537 | -0.00043217 |  | 500.261 | -0.0066643
25 | YES | 499.162 | 34.1034 | 0.00047105 | -0.0066986 | -0.0058041 | 0.00089454 |  | 770.908 | -0.0063171
26 | YES | 1000.17 | 34.3907 | 0.00027609 | -0.0066567 | -0.0055524 | 0.0011043 |  | 598.892 | -0.0062981
26 | YES | 802.223 | 34.3122 | 0.00032035 | -0.0060997 | -0.0056518 | 0.00044788
26 | YES | 600.215 | 34.1735 | 0.00029896 | -0.0061646 | -0.0057533 | 0.00041125
26 | YES | 502.229 | 34.1012 | 0.00031787 | -0.0068512 | -0.0058025 | 0.0010487
27 | YES | 1002.54 | 34.3775 | 0.00026292 | -0.0066643 | -0.0055512 | 0.0011131
27 | YES | 801.096 | 34.3052 | 0.0003504 | -0.006485 | -0.0056524 | 0.00083261
27 | YES | 601.216 | 34.1832 | 0.00032752 | -0.0066452 | -0.0057528 | 0.0008924
27 | YES | 500.261 | 34.1099 | 0.00040997 | -0.0066643 | -0.0058035 | 0.00086077
28 | YES | 770.908 | 34.3054 | 0.00032265 | -0.0063171 | -0.0056675 | 0.00064959
28 | YES | 598.892 | 34.1948 | 0.00044644 | -0.0062981 | -0.005754 | 0.00054411
NO
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity11
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Salinity00 |  | Salinity00 - Salinityb
Comp 2 | Salinityb | Salinity11 |  | Salinity11 - Salinityb
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinityb | Salinity00 | Salinity00 | (S-P) | Salinityb | Salinity11 | Salinity11 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20080002.hyd | 20080002.sam | 121 | 1730.73 | 1730.76 | 0.20468 | 0.033569 | 34.5545 | 34.5362 | 0.0003123 | -0.018337 | 34.5545 | 34.5451 | 0.00026348 | -0.0094414
20080002.hyd | 20080002.sam | 120 | 1500.22 | 1500.07 | 0.42989 | -0.14673 | 34.5195 | 34.5016 | 0.00026727 | -0.01786 | 34.5195 | 34.5104 | 0.00026587 | -0.0091057
20080002.hyd | 20080002.sam | 118 | 1200.31 | 1200.36 | 0.42293 | 0.05896 | 34.4638 | 34.4434 | 0.00026621 | -0.020428 | 34.4638 | 34.4521 | 0.00029388 | -0.011684
20080002.hyd | 20080002.sam | 104 | 1000.84 | 1000.99 | 0.50498 | 0.15655 | 34.3952 | 34.3761 | 0.00028041 | -0.019066 | 34.3952 | 34.3848 | 0.0003236 | -0.010426
20080004.hyd | 20080004.sam | 98 | 1168.79 | 1168.8 | 0.41897 | 0.010864 | 34.4546 | 34.4397 | 0.00048615 | -0.014877 | 34.4546 | 34.4478 | 0.00034341 | -0.0068474
20080004.hyd | 20080004.sam | 115 | 999.54 | 999.575 | 0.43047 | 0.035095 | 34.4133 | 34.3973 | 0.00026053 | -0.01601 | 34.4133 | 34.4057 | 0.00029717 | -0.0075874
20080004.hyd | 20080004.sam | 120 | 798.369 | 798.176 | 0.63032 | -0.19299 | 34.3212 | 34.3047 | 0.00031445 | -0.01648 | 34.3212 | 34.3132 | 0.00044537 | -0.0080261
20080004.hyd | 20080004.sam | 91 | 596.648 | 596.578 | 0.47859 | -0.070374 | 34.1679 | 34.152 | 0.00064655 | -0.015911 | 34.1679 | 34.1602 | 0.00064448 | -0.0076866
20080006.hyd | 20080006.sam | 121 | 488.096 | 488.034 | 0.21595 | -0.062103 | 34.0975 | 34.0816 | 0.00025613 | -0.015938 | 34.0975 | 34.0897 | 0.00026116 | -0.0078163
20080006.hyd | 20080006.sam | 121 | 401.09 | 401.04 | 0.224 | -0.049713 | 34.0554 | 34.0405 | 0.00026688 | -0.014934 | 34.0554 | 34.0489 | 0.00031201 | -0.0065155
20080006.hyd | 20080006.sam | 110 | 300.697 | 300.602 | 0.33151 | -0.095093 | 33.9904 | 33.9756 | 0.00024135 | -0.014782 | 33.9904 | 33.9841 | 0.00030893 | -0.0063324
20080009.hyd | 20080009.sam | 121 | 141.256 | 141.205 | 0.36115 | -0.05072 | 33.8965 | 33.8835 | 0.00057192 | -0.01302 | 33.8965 | 33.8912 | 0.0005933 | -0.0052605
20080022.hyd | 20080022.sam | 121 | 140.278 | 140.371 | 0.30731 | 0.093018 | 33.8312 | 33.8176 | 0.00022742 | -0.013641 | 33.8312 | 33.825 | 0.00023746 | -0.0062408
20080022.hyd | 20080022.sam | 121 | 99.3 | 99.1681 | 0.32416 | -0.13192 | 33.7368 | 33.7231 | 0.00026759 | -0.013657 | 33.7368 | 33.7306 | 0.00038017 | -0.0062485
20080024.hyd | 20080024.sam | 95 | 104.802 | 104.827 | 0.51307 | 0.024925 | 33.7827 | 33.7743 | 0.0030453 | -0.0083656 | 33.7827 | 33.7821 | 0.0035372 | -0.00064468
20080024.hyd | 20080024.sam | 92 | 77.049 | 76.9881 | 0.44261 | -0.06086 | 33.3736 | 33.3622 | 0.002801 | -0.011433 | 33.3736 | 33.3709 | 0.0032085 | -0.002697
20080028.hyd | 20080028.sam | 121 | 50.292 | 50.3878 | 0.26578 | 0.095818 | 31.8448 | 31.8477 | 0.0024347 | 0.0029449 | 31.8448 | 31.8555 | 0.0015764 | 0.010714
20080029.hyd | 20080029.sam | 121 | 104.381 | 104.443 | 0.18382 | 0.062294 | 33.4519 | 33.4504 | 0.0043854 | -0.001461 | 33.4519 | 33.4623 | 0.0026711 | 0.010353
20080029.hyd | 20080029.sam | 121 | 75.383 | 75.3495 | 0.22115 | -0.033455 | 32.9693 | 32.9753 | 0.0054653 | 0.0059891 | 32.9693 | 32.9802 | 0.0072644 | 0.010929
20080038.hyd | 20080038.sam | 119 | 185.37 | 185.334 | 0.38268 | -0.036469 | 33.9465 | 33.9327 | 0.00022745 | -0.013794 | 33.9465 | 33.9406 | 0.00025376 | -0.0058556
20080038.hyd | 20080038.sam | 121 | 175.128 | 175.234 | 0.27538 | 0.10623 | 33.9467 | 33.9325 | 0.00025374 | -0.014198 | 33.9467 | 33.9405 | 0.00029615 | -0.0061951
20080043.hyd | 20080043.sam | 121 | 599.897 | 599.771 | 0.41165 | -0.12567 | 34.2178 | 34.2048 | 0.00063395 | -0.013004 | 34.2178 | 34.2134 | 0.00059727 | -0.0044022
20080043.hyd | 20080043.sam | 121 | 501.213 | 501.281 | 0.19992 | 0.068146 | 34.0994 | 34.0854 | 0.00025494 | -0.014011 | 34.0994 | 34.0938 | 0.00030505 | -0.0055809
20080046.hyd | 20080046.sam | 97 | 1607.47 | 1607.47 | 0.48221 | 0.00073242 | 34.5406 | 34.526 | 0.00022195 | -0.014625 | 34.5406 | 34.5341 | 0.00029553 | -0.0064545
20080046.hyd | 20080046.sam | 121 | 1200.61 | 1200.73 | 0.30988 | 0.12537 | 34.4613 | 34.4471 | 0.00029304 | -0.014233 | 34.4613 | 34.4554 | 0.00039241 | -0.0059357
20080046.hyd | 20080046.sam | 121 | 1000.12 | 1000.1 | 0.22472 | -0.016174 | 34.3859 | 34.3716 | 0.00023502 | -0.014332 | 34.3859 | 34.3799 | 0.00027725 | -0.0060234
20080046.hyd | 20080046.sam | 121 | 800.927 | 800.794 | 0.35441 | -0.13318 | 34.3042 | 34.2904 | 0.00022002 | -0.013794 | 34.3042 | 34.2986 | 0.00029733 | -0.0056457
20080046.hyd | 20080046.sam | 121 | 600.282 | 600.188 | 0.36728 | -0.094116 | 34.173 | 34.1597 | 0.00026351 | -0.013302 | 34.173 | 34.1679 | 0.00029674 | -0.005146
20080047.hyd | 20080047.sam | 99 | 1677.02 | 1677.38 | 0.44285 | 0.35938 | 34.5477 | 34.5336 | 0.00022267 | -0.014091 | 34.5477 | 34.5416 | 0.0003322 | -0.0060654
20080047.hyd | 20080047.sam | 121 | 1201.13 | 1201.07 | 0.13833 | -0.059448 | 34.4574 | 34.4441 | 0.00021794 | -0.013317 | 34.4574 | 34.4522 | 0.00033886 | -0.0051689
20080047.hyd | 20080047.sam | 110 | 998.356 | 998.235 | 0.50918 | -0.12097 | 34.3986 | 34.385 | 0.0002647 | -0.013573 | 34.3986 | 34.3932 | 0.00032253 | -0.0053978
20080047.hyd | 20080047.sam | 89 | 801.491 | 801.396 | 0.46764 | -0.094604 | 34.2885 | 34.2761 | 0.00031197 | -0.012394 | 34.2885 | 34.2841 | 0.0002946 | -0.0044212
20080047.hyd | 20080047.sam | 119 | 600.075 | 599.977 | 0.48297 | -0.097839 | 34.1542 | 34.1426 | 0.00050848 | -0.011555 | 34.1542 | 34.1507 | 0.00051776 | -0.0034599
20080049.hyd | 20080049.sam | 121 | 1500.04 | 1499.99 | 0.16226 | -0.045898 | 34.5018 | 34.4872 | 0.00037217 | -0.014641 | 34.5018 | 34.4952 | 0.00045643 | -0.0065918
20080049.hyd | 20080049.sam | 121 | 1202.3 | 1202.39 | 0.26927 | 0.084839 | 34.4342 | 34.4206 | 0.00026194 | -0.013603 | 34.4342 | 34.4286 | 0.0002698 | -0.0055924
20080049.hyd | 20080049.sam | 110 | 1003.2 | 1003.1 | 0.38411 | -0.10162 | 34.3873 | 34.3749 | 0.00030055 | -0.01244 | 34.3873 | 34.3828 | 0.00039883 | -0.0044861
20080049.hyd | 20080049.sam | 121 | 802.006 | 801.868 | 0.42561 | -0.13751 | 34.2979 | 34.2846 | 0.00025763 | -0.01326 | 34.2979 | 34.2925 | 0.00030073 | -0.0054398
20080049.hyd | 20080049.sam | 121 | 600.551 | 600.604 | 0.20124 | 0.05304 | 34.1467 | 34.1338 | 0.00023151 | -0.012939 | 34.1467 | 34.1415 | 0.00028309 | -0.0051842
20080050.hyd | 20080050.sam | 121 | 1002.8 | 1002.87 | 0.25536 | 0.066223 | 34.379 | 34.3663 | 0.00023172 | -0.012695 | 34.379 | 34.3737 | 0.0003072 | -0.0053062
20080050.hyd | 20080050.sam | 121 | 800.177 | 800.106 | 0.33027 | -0.07074 | 34.3004 | 34.2879 | 0.00024454 | -0.012501 | 34.3004 | 34.2955 | 0.00025965 | -0.0048561
20080063.hyd | 20080063.sam | 121 | 999.983 | 999.969 | 0.20265 | -0.014404 | 34.3921 | 34.3799 | 0.00029358 | -0.012241 | 34.3921 | 34.387 | 0.00027931 | -0.0051079
20080063.hyd | 20080063.sam | 121 | 799.969 | 800.064 | 0.24883 | 0.095154 | 34.2967 | 34.2842 | 0.00027128 | -0.012497 | 34.2967 | 34.2914 | 0.00043246 | -0.0052605
20080063.hyd | 20080063.sam | 121 | 597.217 | 597.037 | 0.49815 | -0.1803 | 34.165 | 34.1513 | 0.0003181 | -0.013725 | 34.165 | 34.1596 | 0.00037244 | -0.0053863
20080063.hyd | 20080063.sam | 121 | 502.592 | 502.673 | 0.28511 | 0.080994 | 34.0737 | 34.0626 | 0.00070168 | -0.011059 | 34.0737 | 34.0693 | 0.00043325 | -0.0044479
20080063.hyd | 20080063.sam | 121 | 401.63 | 401.63 | 0.11625 | -0.00030518 | 34.029 | 34.0187 | 0.0011191 | -0.010277 | 34.029 | 34.0259 | 0.00033695 | -0.0030785
20080068.hyd | 20080068.sam | 121 | 1002.55 | 1002.55 | 0.081504 | -0.00012207 | 34.3936 | 34.3829 | 0.00025751 | -0.010696 | 34.3936 | 34.3889 | 0.00028669 | -0.0046921
20080068.hyd | 20080068.sam | 121 | 801.482 | 801.392 | 0.23764 | -0.089783 | 34.3068 | 34.2956 | 0.00029609 | -0.011169 | 34.3068 | 34.3021 | 0.00031172 | -0.0047226
20080068.hyd | 20080068.sam | 121 | 600.434 | 600.498 | 0.19338 | 0.064026 | 34.1917 | 34.1799 | 0.0004177 | -0.011795 | 34.1917 | 34.1863 | 0.00038051 | -0.0054169
20080068.hyd | 20080068.sam | 121 | 500.866 | 500.763 | 0.28052 | -0.1029 | 34.1192 | 34.1073 | 0.0002911 | -0.011906 | 34.1192 | 34.1136 | 0.00031335 | -0.0056419
20080071.hyd | 20080071.sam | 121 | 1502.48 | 1502.47 | 0.10582 | -0.006958 | 34.5112 | 34.5006 | 0.00024413 | -0.010559 | 34.5112 | 34.5068 | 0.00028887 | -0.0044479
20080071.hyd | 20080071.sam | 121 | 1201.74 | 1201.73 | 0.086727 | -0.010376 | 34.444 | 34.4329 | 0.00026925 | -0.011105 | 34.444 | 34.4392 | 0.00033419 | -0.004837
20080071.hyd | 20080071.sam | 121 | 1000.67 | 1000.7 | 0.23069 | 0.028687 | 34.3837 | 34.3737 | 0.00070995 | -0.0099831 | 34.3837 | 34.3803 | 0.00045305 | -0.003437
20080071.hyd | 20080071.sam | 120 | 799.987 | 799.835 | 0.37279 | -0.15241 | 34.3014 | 34.2889 | 0.0011994 | -0.01247 | 34.3014 | 34.2958 | 0.00064866 | -0.0056076
20080073.hyd | 20080073.sam | 121 | 705.567 | 705.501 | 0.38043 | -0.066162 | 34.2673 | 34.2649 | 0.0022601 | -0.0023994 | 34.2673 | 34.2704 | 0.00080133 | 0.003109
20080073.hyd | 20080073.sam | 121 | 600.748 | 600.76 | 0.23615 | 0.012146 | 34.1912 | 34.1799 | 0.00023444 | -0.011311 | 34.1912 | 34.1859 | 0.00028213 | -0.0053291
20080076.hyd | 20080076.sam | 121 | 1111.42 | 1111.37 | 0.14233 | -0.05542 | 34.4247 | 34.4144 | 0.00068208 | -0.01033 | 34.4247 | 34.4196 | 0.00034745 | -0.0051002
20080076.hyd | 20080076.sam | 121 | 998.572 | 998.504 | 0.19915 | -0.06781 | 34.3959 | 34.3843 | 0.00038487 | -0.011612 | 34.3959 | 34.3903 | 0.00030283 | -0.0055924
20080076.hyd | 20080076.sam | 120 | 798.376 | 798.318 | 0.43437 | -0.058472 | 34.2961 | 34.2834 | 0.00031133 | -0.012672 | 34.2961 | 34.2895 | 0.00028652 | -0.0065765
20080076.hyd | 20080076.sam | 121 | 599.349 | 599.337 | 0.091833 | -0.011841 | 34.2095 | 34.197 | 0.00020462 | -0.012512 | 34.2095 | 34.2029 | 0.00026889 | -0.0065537
20080076.hyd | 20080076.sam | 121 | 499.771 | 499.825 | 0.15693 | 0.053864 | 34.1216 | 34.11 | 0.00037027 | -0.011608 | 34.1216 | 34.116 | 0.00039214 | -0.0055809
20080097.hyd | 20080097.sam | 121 | 65.391 | 65.4001 | 0.13208 | 0.0090942 | 31.9958 | 31.9991 | 0.0025931 | 0.0033093 | 31.9958 | 32.002 | 0.0010048 | 0.006176
20080104.hyd | 20080104.sam | 121 | 221.457 | 221.507 | 0.20044 | 0.050079 | 33.9556 | 33.9414 | 0.00036243 | -0.014244 | 33.9556 | 33.9464 | 0.00039065 | -0.0091667
20080104.hyd | 20080104.sam | 121 | 174.825 | 174.827 | 0.075063 | 0.0016174 | 33.9098 | 33.8967 | 0.00023923 | -0.013104 | 33.9098 | 33.9018 | 0.00027508 | -0.0079842
20080113.hyd | 20080113.sam | 121 | 501.033 | 500.982 | 0.13843 | -0.051056 | 34.0709 | 34.0604 | 0.00020877 | -0.010464 | 34.0709 | 34.0654 | 0.00030072 | -0.005516
20080113.hyd | 20080113.sam | 121 | 401.295 | 401.263 | 0.25009 | -0.032318 | 34.0002 | 33.9871 | 0.00028697 | -0.013138 | 34.0002 | 33.9922 | 0.00026053 | -0.0079613
20080120.hyd | 20080120.sam | 121 | 211.484 | 211.452 | 0.087682 | -0.031784 | 33.9287 | 33.9215 | 0.0010376 | -0.0071526 | 33.9287 | 33.9252 | 0.0011266 | -0.003521
20080128.hyd | 20080128.sam | 119 | 953.043 | 952.948 | 0.44541 | -0.095276 | 34.3624 | 34.3519 | 0.00081677 | -0.010452 | 34.3624 | 34.3569 | 0.00049031 | -0.0055199
20080128.hyd | 20080128.sam | 95 | 799.115 | 799.569 | 0.39427 | 0.45435 | 34.2954 | 34.2837 | 0.00022723 | -0.0117 | 34.2954 | 34.2889 | 0.00029689 | -0.0065079
20080128.hyd | 20080128.sam | 52 | 600.992 | 601.029 | 0.63232 | 0.037109 | 34.1715 | 34.1607 | 0.0006755 | -0.01078 | 34.1715 | 34.1657 | 0.00051683 | -0.0058479
20080128.hyd | 20080128.sam | 121 | 499.341 | 499.399 | 0.26793 | 0.0578 | 34.0986 | 34.0868 | 0.00030277 | -0.011814 | 34.0986 | 34.0919 | 0.00030141 | -0.0066795
20080130.hyd | 20080130.sam | 86 | 1002.2 | 1002.38 | 0.56227 | 0.17371 | 34.3769 | 34.3662 | 0.00026986 | -0.010662 | 34.3769 | 34.3711 | 0.00034406 | -0.005825
20080130.hyd | 20080130.sam | 121 | 800.441 | 800.497 | 0.20766 | 0.055725 | 34.3042 | 34.2941 | 0.00033717 | -0.010147 | 34.3042 | 34.2992 | 0.00037199 | -0.004982
20080130.hyd | 20080130.sam | 88 | 599.602 | 599.471 | 0.45331 | -0.13062 | 34.1819 | 34.1715 | 0.00032924 | -0.010353 | 34.1819 | 34.1766 | 0.00027925 | -0.0053215
20080130.hyd | 20080130.sam | 108 | 499.302 | 499.162 | 0.45756 | -0.13959 | 34.1101 | 34.0987 | 0.00054577 | -0.011417 | 34.1101 | 34.1034 | 0.00047105 | -0.0066986
20080132.hyd | 20080132.sam | 68 | 1000.7 | 1000.17 | 0.56881 | -0.53314 | 34.3974 | 34.3858 | 0.00023408 | -0.011608 | 34.3974 | 34.3907 | 0.00027609 | -0.0066567
20080132.hyd | 20080132.sam | 59 | 802.395 | 802.223 | 0.61564 | -0.17224 | 34.3183 | 34.3072 | 0.00032295 | -0.011082 | 34.3183 | 34.3122 | 0.00032035 | -0.0060997
20080132.hyd | 20080132.sam | 89 | 600.416 | 600.215 | 0.60152 | -0.20129 | 34.1797 | 34.1685 | 0.00037264 | -0.011208 | 34.1797 | 34.1735 | 0.00029896 | -0.0061646
20080132.hyd | 20080132.sam | 26 | 501.872 | 502.229 | 0.58266 | 0.35657 | 34.1081 | 34.0966 | 0.00053694 | -0.011498 | 34.1081 | 34.1012 | 0.00031787 | -0.0068512
20080134.hyd | 20080134.sam | 39 | 1002.19 | 1002.54 | 0.62107 | 0.35211 | 34.3842 | 34.3727 | 0.00024129 | -0.011463 | 34.3842 | 34.3775 | 0.00026292 | -0.0066643
20080134.hyd | 20080134.sam | 106 | 800.744 | 801.096 | 0.57331 | 0.3523 | 34.3117 | 34.3002 | 0.00037401 | -0.011478 | 34.3117 | 34.3052 | 0.0003504 | -0.006485
20080134.hyd | 20080134.sam | 89 | 601.335 | 601.216 | 0.50152 | -0.11871 | 34.1898 | 34.1783 | 0.00047438 | -0.011475 | 34.1898 | 34.1832 | 0.00032752 | -0.0066452
20080134.hyd | 20080134.sam | 116 | 500.42 | 500.261 | 0.52052 | -0.15897 | 34.1166 | 34.1049 | 0.00052993 | -0.011684 | 34.1166 | 34.1099 | 0.00040997 | -0.0066643
20080142.hyd | 20080142.sam | 121 | 770.728 | 770.908 | 0.55749 | 0.17963 | 34.3117 | 34.3005 | 0.00026033 | -0.011219 | 34.3117 | 34.3054 | 0.00032265 | -0.0063171
20080142.hyd | 20080142.sam | 91 | 598.817 | 598.892 | 0.47729 | 0.074829 | 34.2011 | 34.1895 | 0.00035322 | -0.011631 | 34.2011 | 34.1948 | 0.00044644 | -0.0062981
Create Fit Sheet