## File List
Number of Files= |  | 28
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20080002.hyd | 20080002.cor | 12 | 15 | 20080002.hyd & 20080002.cor
2 | 20080004.hyd | 20080004.cor | 17 | 20 | 20080004.hyd & 20080004.cor
3 | 20080006.hyd | 20080006.cor | 22 | 24 | 20080006.hyd & 20080006.cor
4 | 20080009.hyd | 20080009.cor | 26 | 26 | 20080009.hyd & 20080009.cor
5 | 20080022.hyd | 20080022.cor | 28 | 29 | 20080022.hyd & 20080022.cor
6 | 20080024.hyd | 20080024.cor | 31 | 32 | 20080024.hyd & 20080024.cor
7 | 20080028.hyd | 20080028.cor | 34 | 34 | 20080028.hyd & 20080028.cor
8 | 20080029.hyd | 20080029.cor | 36 | 37 | 20080029.hyd & 20080029.cor
9 | 20080038.hyd | 20080038.cor | 39 | 40 | 20080038.hyd & 20080038.cor
10 | 20080043.hyd | 20080043.cor | 42 | 43 | 20080043.hyd & 20080043.cor
11 | 20080046.hyd | 20080046.cor | 45 | 49 | 20080046.hyd & 20080046.cor
12 | 20080047.hyd | 20080047.cor | 51 | 55 | 20080047.hyd & 20080047.cor
13 | 20080049.hyd | 20080049.cor | 57 | 61 | 20080049.hyd & 20080049.cor
14 | 20080050.hyd | 20080050.cor | 63 | 64 | 20080050.hyd & 20080050.cor
15 | 20080063.hyd | 20080063.cor | 66 | 70 | 20080063.hyd & 20080063.cor
16 | 20080068.hyd | 20080068.cor | 72 | 75 | 20080068.hyd & 20080068.cor
17 | 20080071.hyd | 20080071.cor | 77 | 80 | 20080071.hyd & 20080071.cor
18 | 20080073.hyd | 20080073.cor | 82 | 83 | 20080073.hyd & 20080073.cor
19 | 20080076.hyd | 20080076.cor | 85 | 89 | 20080076.hyd & 20080076.cor
20 | 20080097.hyd | 20080097.cor | 91 | 91 | 20080097.hyd & 20080097.cor
21 | 20080104.hyd | 20080104.cor | 93 | 94 | 20080104.hyd & 20080104.cor
22 | 20080113.hyd | 20080113.cor | 96 | 97 | 20080113.hyd & 20080113.cor
23 | 20080120.hyd | 20080120.cor | 99 | 99 | 20080120.hyd & 20080120.cor
24 | 20080128.hyd | 20080128.cor | 101 | 104 | 20080128.hyd & 20080128.cor
25 | 20080130.hyd | 20080130.cor | 106 | 109 | 20080130.hyd & 20080130.cor
26 | 20080132.hyd | 20080132.cor | 111 | 114 | 20080132.hyd & 20080132.cor
27 | 20080134.hyd | 20080134.cor | 116 | 119 | 20080134.hyd & 20080134.cor
28 | 20080142.hyd | 20080142.cor | 121 | 122 | 20080142.hyd & 20080142.cor

## (Salinity00 - Salinityb)
Calculation of Linear Least Squares Fit For
(Salinity00 - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity00 - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.004046 |  | X | CALC Y
m= | 2.5951e-07 | 5.0502e-07 |  | Std Dev of Resid |  | 0.0014215 |  | 140.371 | -0.00019732
b= | -0.00023375 | 0.00041417 |  | Resid Sum of Squares |  | 0.00013134 |  | 1677.38 | 0.00020155
# of Values Extracted = |  |  | 76
# of Values Used in Fit = |  |  | 67
File | Use | Pressure | Salinity00 | Salinity00 | Diff (Salinity00 - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
3 | YES | 488.034 | 34.0939 | 0.00025674 | -0.0036392 | -0.0001071 | 0.0035321 |  | 488.034 | -0.0036392
3 | YES | 401.04 | 34.0528 | 0.00026678 | -0.002636 | -0.00012968 | 0.0025063 |  | 401.04 | -0.002636
3 | YES | 300.602 | 33.9879 | 0.00024144 | -0.0024834 | -0.00015574 | 0.0023276 |  | 300.602 | -0.0024834
4 | YES | 141.205 | 33.8958 | 0.00057162 | -0.00072098 | -0.00019711 | 0.00052387 |  | 141.205 | -0.00072098
5 | YES | 140.371 | 33.8299 | 0.00022791 | -0.0013428 | -0.00019732 | 0.0011454 |  | 140.371 | -0.0013428
5 | NO | 99.1681 | 33.7354 | 0.00026751 | -0.001358 | -0.00020802 | 0.00115 |  | 185.334 | -0.0014954
6 | NO | 104.827 | 33.7866 | 0.0030457 | 0.0039368 | -0.00020655 | -0.0041433 |  | 175.234 | -0.0018997
6 | NO | 76.9881 | 33.3745 | 0.0028013 | 0.00086594 | -0.00021377 | -0.0010797 |  | 599.771 | -0.00070572
7 | NO | 50.3878 | 31.86 | 0.0024347 | 0.015245 | -0.00022068 | -0.015466 |  | 501.281 | -0.0017128
8 | NO | 104.443 | 33.4627 | 0.0043858 | 0.010838 | -0.00020665 | -0.011044 |  | 1607.47 | -0.002327
8 | NO | 75.3495 | 32.9876 | 0.005465 | 0.018291 | -0.0002142 | -0.018506 |  | 1200.73 | -0.0019341
9 | YES | 185.334 | 33.945 | 0.00022752 | -0.0014954 | -0.00018566 | 0.0013097 |  | 1000.1 | -0.0020294
9 | YES | 175.234 | 33.9448 | 0.00025371 | -0.0018997 | -0.00018828 | 0.0017114 |  | 800.794 | -0.0014954
10 | YES | 599.771 | 34.2171 | 0.00063387 | -0.00070572 | -7.8105e-05 | 0.00062761 |  | 600.188 | -0.00099945
10 | YES | 501.281 | 34.0977 | 0.00025471 | -0.0017128 | -0.00010366 | 0.0016091 |  | 1677.38 | -0.0017929
11 | YES | 1607.47 | 34.5383 | 0.00022218 | -0.002327 | 0.00018341 | 0.0025104 |  | 1201.07 | -0.0010185
11 | YES | 1200.73 | 34.4594 | 0.00029303 | -0.0019341 | 7.7852e-05 | 0.0020119 |  | 998.235 | -0.0012741
11 | YES | 1000.1 | 34.3839 | 0.0002352 | -0.0020294 | 2.5786e-05 | 0.0020552 |  | 801.396 | -9.1553e-05
11 | YES | 800.794 | 34.3027 | 0.00022006 | -0.0014954 | -2.5937e-05 | 0.0014694 |  | 599.977 | 0.00074768
11 | YES | 600.188 | 34.172 | 0.00026392 | -0.00099945 | -7.7996e-05 | 0.00092145 |  | 1499.99 | -0.0023422
12 | YES | 1677.38 | 34.5459 | 0.0002225 | -0.0017929 | 0.00020155 | 0.0019945 |  | 1202.39 | -0.0013046
12 | YES | 1201.07 | 34.4564 | 0.00021839 | -0.0010185 | 7.794e-05 | 0.0010965 |  | 1003.1 | -0.00014114
12 | YES | 998.235 | 34.3973 | 0.00026429 | -0.0012741 | 2.5302e-05 | 0.0012994 |  | 801.868 | -0.0009613
12 | YES | 801.396 | 34.2884 | 0.00031228 | -9.1553e-05 | -2.578e-05 | 6.5772e-05 |  | 600.604 | -0.00063705
12 | YES | 599.977 | 34.1549 | 0.00050844 | 0.00074768 | -7.8051e-05 | -0.00082573 |  | 1002.87 | -0.00039291
13 | YES | 1499.99 | 34.4995 | 0.00037233 | -0.0023422 | 0.00015551 | 0.0024977 |  | 800.106 | -0.00020218
13 | YES | 1202.39 | 34.4329 | 0.00026222 | -0.0013046 | 7.8283e-05 | 0.0013829 |  | 999.969 | 5.722e-05
13 | YES | 1003.1 | 34.3872 | 0.00030056 | -0.00014114 | 2.6564e-05 | 0.00016771 |  | 800.064 | -0.00019836
13 | YES | 801.868 | 34.2969 | 0.00025779 | -0.0009613 | -2.5658e-05 | 0.00093565 |  | 597.037 | -0.0014267
13 | YES | 600.604 | 34.1461 | 0.00023121 | -0.00063705 | -7.7888e-05 | 0.00055917 |  | 502.673 | 0.0012398
14 | YES | 1002.87 | 34.3786 | 0.00023139 | -0.00039291 | 2.6505e-05 | 0.00041942 |  | 401.63 | 0.0020218
14 | YES | 800.106 | 34.3002 | 0.00024465 | -0.00020218 | -2.6115e-05 | 0.00017606 |  | 1002.55 | 0.0016022
15 | YES | 999.969 | 34.3922 | 0.0002935 | 5.722e-05 | 2.5752e-05 | -3.1469e-05 |  | 801.392 | 0.0011291
15 | YES | 800.064 | 34.2965 | 0.00027158 | -0.00019836 | -2.6126e-05 | 0.00017224 |  | 600.498 | 0.00050354
15 | YES | 597.037 | 34.1636 | 0.00031807 | -0.0014267 | -7.8814e-05 | 0.0013479 |  | 500.763 | 0.00039673
15 | YES | 502.673 | 34.0749 | 0.00070164 | 0.0012398 | -0.0001033 | -0.0013431 |  | 1502.47 | 0.0017395
15 | YES | 401.63 | 34.031 | 0.0011192 | 0.0020218 | -0.00012952 | -0.0021513 |  | 1201.73 | 0.001194
16 | YES | 1002.55 | 34.3952 | 0.0002574 | 0.0016022 | 2.6422e-05 | -0.0015757 |  | 1000.7 | 0.0023155
16 | YES | 801.392 | 34.3079 | 0.00029615 | 0.0011291 | -2.5781e-05 | -0.0011549 |  | 799.835 | -0.00017166
16 | YES | 600.498 | 34.1922 | 0.00041754 | 0.00050354 | -7.7916e-05 | -0.00058146 |  | 600.76 | 0.00098801
16 | YES | 500.763 | 34.1196 | 0.00029097 | 0.00039673 | -0.0001038 | -0.00050053 |  | 1111.37 | 0.0019684
17 | YES | 1502.47 | 34.5129 | 0.00024436 | 0.0017395 | 0.00015616 | -0.0015833 |  | 998.504 | 0.00068665
17 | YES | 1201.73 | 34.4452 | 0.00026885 | 0.001194 | 7.8111e-05 | -0.0011159 |  | 798.318 | -0.00037384
17 | YES | 1000.7 | 34.386 | 0.0007097 | 0.0023155 | 2.5941e-05 | -0.0022896 |  | 599.337 | -0.00021362
17 | YES | 799.835 | 34.3012 | 0.0011992 | -0.00017166 | -2.6186e-05 | 0.00014548 |  | 499.825 | 0.00069046
18 | NO | 705.501 | 34.2772 | 0.0022601 | 0.0098991 | -5.0666e-05 | -0.0099498 |  | 221.507 | -0.0019455
18 | YES | 600.76 | 34.1922 | 0.00023451 | 0.00098801 | -7.7848e-05 | -0.0010659 |  | 174.827 | -0.0008049
19 | YES | 1111.37 | 34.4267 | 0.00068211 | 0.0019684 | 5.4662e-05 | -0.0019137 |  | 500.982 | 0.0018387
19 | YES | 998.504 | 34.3966 | 0.00038489 | 0.00068665 | 2.5372e-05 | -0.00066127 |  | 401.263 | -0.00083923
19 | YES | 798.318 | 34.2957 | 0.00031134 | -0.00037384 | -2.6579e-05 | 0.00034726 |  | 952.948 | 0.0018463
19 | YES | 599.337 | 34.2093 | 0.00020413 | -0.00021362 | -7.8217e-05 | 0.00013541 |  | 799.569 | 0.00059891
19 | YES | 499.825 | 34.1223 | 0.00037027 | 0.00069046 | -0.00010404 | -0.0007945 |  | 601.029 | 0.0015183
20 | NO | 65.4001 | 32.0114 | 0.0025931 | 0.01561 | -0.00021678 | -0.015826 |  | 499.399 | 0.00048447
21 | YES | 221.507 | 33.9537 | 0.00036255 | -0.0019455 | -0.00017627 | 0.0017692 |  | 1002.38 | 0.0016403
21 | YES | 174.827 | 33.909 | 0.00023926 | -0.0008049 | -0.00018838 | 0.00061652 |  | 800.497 | 0.0021515
22 | YES | 500.982 | 34.0727 | 0.00020889 | 0.0018387 | -0.00010374 | -0.0019424 |  | 599.471 | 0.0019455
22 | YES | 401.263 | 33.9994 | 0.00028695 | -0.00083923 | -0.00012962 | 0.00070961 |  | 499.162 | 0.00088501
23 | NO | 211.452 | 33.9338 | 0.0010376 | 0.005146 | -0.00017888 | -0.0053249 |  | 1000.17 | 0.00069046
24 | YES | 952.948 | 34.3642 | 0.00081687 | 0.0018463 | 1.3549e-05 | -0.0018328 |  | 802.223 | 0.0012169
24 | YES | 799.569 | 34.296 | 0.00022743 | 0.00059891 | -2.6255e-05 | -0.00062516 |  | 600.215 | 0.0010948
24 | YES | 601.029 | 34.173 | 0.00067534 | 0.0015183 | -7.7778e-05 | -0.001596 |  | 502.229 | 0.00080109
24 | YES | 499.399 | 34.0991 | 0.00030252 | 0.00048447 | -0.00010415 | -0.00058862 |  | 1002.54 | 0.00083542
25 | YES | 1002.38 | 34.3785 | 0.00026972 | 0.0016403 | 2.6377e-05 | -0.0016139 |  | 801.096 | 0.00082016
25 | YES | 800.497 | 34.3064 | 0.00033704 | 0.0021515 | -2.6014e-05 | -0.0021775 |  | 601.216 | 0.00082398
25 | YES | 599.471 | 34.1838 | 0.000329 | 0.0019455 | -7.8182e-05 | -0.0020237 |  | 500.261 | 0.00061417
25 | YES | 499.162 | 34.111 | 0.00054561 | 0.00088501 | -0.00010421 | -0.00098922 |  | 770.908 | 0.0010796
26 | YES | 1000.17 | 34.3981 | 0.00023432 | 0.00069046 | 2.5804e-05 | -0.00066466 |  | 598.892 | 0.00067139
26 | YES | 802.223 | 34.3195 | 0.00032302 | 0.0012169 | -2.5566e-05 | -0.0012425
26 | YES | 600.215 | 34.1808 | 0.00037278 | 0.0010948 | -7.7989e-05 | -0.0011728
26 | YES | 502.229 | 34.1089 | 0.0005371 | 0.00080109 | -0.00010342 | -0.0009045
27 | YES | 1002.54 | 34.385 | 0.00024117 | 0.00083542 | 2.6419e-05 | -0.000809
27 | YES | 801.096 | 34.3125 | 0.0003742 | 0.00082016 | -2.5858e-05 | -0.00084602
27 | YES | 601.216 | 34.1906 | 0.00047461 | 0.00082398 | -7.773e-05 | -0.0009017
27 | YES | 500.261 | 34.1172 | 0.00053011 | 0.00061417 | -0.00010393 | -0.00071809
28 | YES | 770.908 | 34.3128 | 0.00026039 | 0.0010796 | -3.3692e-05 | -0.0011133
28 | YES | 598.892 | 34.2018 | 0.00035363 | 0.00067139 | -7.8333e-05 | -0.00074972
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity00
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## (Salinity11 - Salinityb)
Calculation of Linear Least Squares Fit For
(Salinity11 - Salinityb)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Salinity11 - Salinityb), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.05825 |  | X | CALC Y
m= | 7.3044e-07 | 3.6429e-07 |  | Std Dev of Resid |  | 0.0010254 |  | 140.371 | -0.00048856
b= | -0.00059109 | 0.00029875 |  | Resid Sum of Squares |  | 6.8338e-05 |  | 1677.38 | 0.00063413
# of Values Extracted = |  |  | 76
# of Values Used in Fit = |  |  | 67
File | Use | Pressure | Salinity11 | Salinity11 | Diff (Salinity11 - Salinityb) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
3 | YES | 488.034 | 34.0954 | 0.00026091 | -0.0021172 | -0.00023461 | 0.0018826 |  | 488.034 | -0.0021172
3 | YES | 401.04 | 34.0546 | 0.00031172 | -0.00081635 | -0.00029815 | 0.00051819 |  | 401.04 | -0.00081635
3 | YES | 300.602 | 33.9898 | 0.00030896 | -0.00063324 | -0.00037152 | 0.00026172 |  | 300.602 | -0.00063324
4 | YES | 141.205 | 33.8969 | 0.00059318 | 0.0004425 | -0.00048795 | -0.00093045 |  | 141.205 | 0.0004425
5 | YES | 140.371 | 33.8307 | 0.00023743 | -0.00054169 | -0.00048856 | 5.3131e-05 |  | 140.371 | -0.00054169
5 | NO | 99.1681 | 33.7363 | 0.00038008 | -0.0005455 | -0.00051865 | 2.685e-05 |  | 185.334 | -0.0001564
6 | NO | 104.827 | 33.7878 | 0.0035371 | 0.0050545 | -0.00051452 | -0.005569 |  | 175.234 | -0.00049591
6 | NO | 76.9881 | 33.3766 | 0.0032086 | 0.003006 | -0.00053485 | -0.0035408 |  | 599.771 | 0.001297
7 | NO | 50.3878 | 31.8612 | 0.0015765 | 0.016415 | -0.00055428 | -0.016969 |  | 501.281 | 0.00011826
8 | NO | 104.443 | 33.468 | 0.0026712 | 0.016052 | -0.0005148 | -0.016567 |  | 1607.47 | -0.00075531
8 | NO | 75.3495 | 32.9859 | 0.0072646 | 0.016628 | -0.00053605 | -0.017164 |  | 1200.73 | -0.00023651
9 | YES | 185.334 | 33.9463 | 0.0002539 | -0.0001564 | -0.00045571 | -0.00029931 |  | 1000.1 | -0.00032425
9 | YES | 175.234 | 33.9462 | 0.00029642 | -0.00049591 | -0.00046309 | 3.282e-05 |  | 800.794 | 5.3406e-05
10 | YES | 599.771 | 34.2191 | 0.00059693 | 0.001297 | -0.00015299 | -0.00145 |  | 600.188 | 0.00055313
10 | YES | 501.281 | 34.0995 | 0.00030516 | 0.00011826 | -0.00022493 | -0.00034319 |  | 1677.38 | -0.00036621
11 | YES | 1607.47 | 34.5398 | 0.00029539 | -0.00075531 | 0.00058307 | 0.0013384 |  | 1201.07 | 0.00053024
11 | YES | 1200.73 | 34.4611 | 0.00039244 | -0.00023651 | 0.00028597 | 0.00052248 |  | 998.235 | 0.00030518
11 | YES | 1000.1 | 34.3856 | 0.00027706 | -0.00032425 | 0.00013942 | 0.00046367 |  | 801.396 | 0.0012779
11 | YES | 800.794 | 34.3043 | 0.00029721 | 5.3406e-05 | -6.1576e-06 | -5.9563e-05 |  | 599.977 | 0.0022392
11 | YES | 600.188 | 34.1736 | 0.00029669 | 0.00055313 | -0.00015269 | -0.00070582 |  | 1499.99 | -0.00088882
12 | YES | 1677.38 | 34.5473 | 0.00033212 | -0.00036621 | 0.00063413 | 0.0010003 |  | 1202.39 | 0.00010681
12 | YES | 1201.07 | 34.4579 | 0.00033873 | 0.00053024 | 0.00028622 | -0.00024402 |  | 1003.1 | 0.0012131
12 | YES | 998.235 | 34.3989 | 0.00032236 | 0.00030518 | 0.00013806 | -0.00016711 |  | 801.868 | 0.0002594
12 | YES | 801.396 | 34.2898 | 0.00029459 | 0.0012779 | -5.7179e-06 | -0.0012836 |  | 600.604 | 0.0005188
12 | YES | 599.977 | 34.1564 | 0.00051765 | 0.0022392 | -0.00015284 | -0.0023921 |  | 1002.87 | 0.00039291
13 | YES | 1499.99 | 34.5009 | 0.00045625 | -0.00088882 | 0.00050456 | 0.0013934 |  | 800.106 | 0.00084305
13 | YES | 1202.39 | 34.4343 | 0.00026993 | 0.00010681 | 0.00028718 | 0.00018037 |  | 999.969 | 0.00059128
13 | YES | 1003.1 | 34.3885 | 0.00039867 | 0.0012131 | 0.00014161 | -0.0010715 |  | 800.064 | 0.0004425
13 | YES | 801.868 | 34.2982 | 0.00030056 | 0.0002594 | -5.3731e-06 | -0.00026477 |  | 597.037 | 0.0003128
13 | YES | 600.604 | 34.1472 | 0.00028302 | 0.0005188 | -0.00015238 | -0.00067118 |  | 502.673 | 0.0012512
14 | YES | 1002.87 | 34.3794 | 0.0003075 | 0.00039291 | 0.00014145 | -0.00025147 |  | 401.63 | 0.0026207
14 | YES | 800.106 | 34.3012 | 0.00025969 | 0.00084305 | -6.6601e-06 | -0.00084971 |  | 1002.55 | 0.0010071
15 | YES | 999.969 | 34.3927 | 0.00027937 | 0.00059128 | 0.00013933 | -0.00045195 |  | 801.392 | 0.00097656
15 | YES | 800.064 | 34.2971 | 0.00043252 | 0.0004425 | -6.6908e-06 | -0.0004492 |  | 600.498 | 0.0002861
15 | YES | 597.037 | 34.1653 | 0.00037226 | 0.0003128 | -0.00015499 | -0.00046779 |  | 500.763 | 5.722e-05
15 | YES | 502.673 | 34.075 | 0.00043333 | 0.0012512 | -0.00022392 | -0.0014751 |  | 1502.47 | 0.0012512
15 | YES | 401.63 | 34.0316 | 0.00033688 | 0.0026207 | -0.00029772 | -0.0029184 |  | 1201.73 | 0.00086212
16 | YES | 1002.55 | 34.3946 | 0.00028652 | 0.0010071 | 0.00014121 | -0.00086587 |  | 1000.7 | 0.0022621
16 | YES | 801.392 | 34.3078 | 0.00031199 | 0.00097656 | -5.7208e-06 | -0.00098228 |  | 799.835 | 9.1553e-05
16 | YES | 600.498 | 34.192 | 0.00038072 | 0.0002861 | -0.00015246 | -0.00043856 |  | 600.76 | 0.00037384
16 | YES | 500.763 | 34.1193 | 0.00031344 | 5.722e-05 | -0.00022531 | -0.00028253 |  | 1111.37 | 0.00059891
17 | YES | 1502.47 | 34.5125 | 0.00028891 | 0.0012512 | 0.00050637 | -0.00074485 |  | 998.504 | 0.00011063
17 | YES | 1201.73 | 34.4449 | 0.00033444 | 0.00086212 | 0.0002867 | -0.00057542 |  | 798.318 | -0.00087738
17 | YES | 1000.7 | 34.386 | 0.00045311 | 0.0022621 | 0.00013986 | -0.0021223 |  | 599.337 | -0.00085449
17 | YES | 799.835 | 34.3015 | 0.00064855 | 9.1553e-05 | -6.8581e-06 | -9.8411e-05 |  | 499.825 | 0.00011826
18 | NO | 705.501 | 34.2761 | 0.00080135 | 0.008812 | -7.5763e-05 | -0.0088877 |  | 221.507 | -0.0034676
18 | YES | 600.76 | 34.1916 | 0.00028196 | 0.00037384 | -0.00015227 | -0.00052611 |  | 174.827 | -0.0022812
19 | YES | 1111.37 | 34.4253 | 0.00034713 | 0.00059891 | 0.0002207 | -0.00037821 |  | 500.982 | 0.00018311
19 | YES | 998.504 | 34.396 | 0.00030274 | 0.00011063 | 0.00013826 | 2.7632e-05 |  | 401.263 | -0.0022621
19 | YES | 798.318 | 34.2952 | 0.00028666 | -0.00087738 | -7.9662e-06 | 0.00086941 |  | 952.948 | 0.00017929
19 | YES | 599.337 | 34.2086 | 0.00026885 | -0.00085449 | -0.00015331 | 0.00070118 |  | 799.569 | -0.00080872
19 | YES | 499.825 | 34.1217 | 0.00039208 | 0.00011826 | -0.000226 | -0.00034425 |  | 601.029 | -0.00014877
20 | NO | 65.4001 | 32.0077 | 0.001005 | 0.011875 | -0.00054332 | -0.012419 |  | 499.399 | -0.00098038
21 | YES | 221.507 | 33.9521 | 0.00039072 | -0.0034676 | -0.00042929 | 0.0030383 |  | 1002.38 | -0.00012589
21 | YES | 174.827 | 33.9075 | 0.00027528 | -0.0022812 | -0.00046339 | 0.0018178 |  | 800.497 | 0.00071716
22 | YES | 500.982 | 34.0711 | 0.0003007 | 0.00018311 | -0.00022515 | -0.00040826 |  | 599.471 | 0.00037766
22 | YES | 401.263 | 33.9979 | 0.00026076 | -0.0022621 | -0.00029799 | 0.0019641 |  | 499.162 | -0.00099564
23 | NO | 211.452 | 33.9309 | 0.0011267 | 0.0021782 | -0.00043664 | -0.0026148 |  | 1000.17 | -0.00095749
24 | YES | 952.948 | 34.3626 | 0.0004904 | 0.00017929 | 0.00010498 | -7.4309e-05 |  | 802.223 | -0.00040054
24 | YES | 799.569 | 34.2946 | 0.00029691 | -0.00080872 | -7.0524e-06 | 0.00080166 |  | 600.215 | -0.00046539
24 | YES | 601.029 | 34.1714 | 0.00051694 | -0.00014877 | -0.00015207 | -3.3007e-06 |  | 502.229 | -0.001152
24 | YES | 499.399 | 34.0976 | 0.0003016 | -0.00098038 | -0.00022631 | 0.00075407 |  | 1002.54 | -0.00096512
25 | YES | 1002.38 | 34.3768 | 0.00034408 | -0.00012589 | 0.00014109 | 0.00026697 |  | 801.096 | -0.00078583
25 | YES | 800.497 | 34.3049 | 0.00037201 | 0.00071716 | -6.3745e-06 | -0.00072354 |  | 601.216 | -0.00094604
25 | YES | 599.471 | 34.1823 | 0.00027905 | 0.00037766 | -0.00015321 | -0.00053087 |  | 500.261 | -0.00096512
25 | YES | 499.162 | 34.1091 | 0.00047133 | -0.00099564 | -0.00022648 | 0.00076915 |  | 770.908 | -0.00061798
26 | YES | 1000.17 | 34.3964 | 0.00027628 | -0.00095749 | 0.00013947 | 0.001097 |  | 598.892 | -0.00059891
26 | YES | 802.223 | 34.3179 | 0.00032025 | -0.00040054 | -5.1138e-06 | 0.00039543
26 | YES | 600.215 | 34.1792 | 0.00029887 | -0.00046539 | -0.00015267 | 0.00031272
26 | YES | 502.229 | 34.1069 | 0.00031763 | -0.001152 | -0.00022424 | 0.0009278
27 | YES | 1002.54 | 34.3832 | 0.00026281 | -0.00096512 | 0.00014121 | 0.0011063
27 | YES | 801.096 | 34.3109 | 0.00035043 | -0.00078583 | -5.937e-06 | 0.00077989
27 | YES | 601.216 | 34.1889 | 0.00032754 | -0.00094604 | -0.00015194 | 0.00079411
27 | YES | 500.261 | 34.1156 | 0.00040994 | -0.00096512 | -0.00022568 | 0.00073944
28 | YES | 770.908 | 34.3111 | 0.00032238 | -0.00061798 | -2.7987e-05 | 0.00058999
28 | YES | 598.892 | 34.2005 | 0.00044641 | -0.00059891 | -0.00015363 | 0.00044527
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
NO
YES
YES
YES
YES
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
YES
FIT vs. Pressure
FIT vs. Salinity11
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 3
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Salinityb | Salinity00 |  | Salinity00 - Salinityb
Comp 2 | Salinityb | Salinity11 |  | Salinity11 - Salinityb
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Salinityb | Salinity00 | Salinity00 | (S-P) | Salinityb | Salinity11 | Salinity11 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20080002.hyd | 20080002.cor | 121 | 1730.73 | 1730.76 | 0.20468 | 0.033569 | 34.5545 | 34.5485 | 0.00031236 | -0.0060348 | 34.5545 | 34.5508 | 0.0002636 | -0.0037384
20080002.hyd | 20080002.cor | 120 | 1500.22 | 1500.07 | 0.42989 | -0.14673 | 34.5195 | 34.5139 | 0.00026731 | -0.0055618 | 34.5195 | 34.5161 | 0.00026576 | -0.0034065
20080002.hyd | 20080002.cor | 118 | 1200.31 | 1200.36 | 0.42293 | 0.05896 | 34.4638 | 34.4557 | 0.00026594 | -0.0081253 | 34.4638 | 34.4578 | 0.00029399 | -0.0059853
20080002.hyd | 20080002.cor | 104 | 1000.84 | 1000.99 | 0.50498 | 0.15655 | 34.3952 | 34.3884 | 0.00028023 | -0.0067673 | 34.3952 | 34.3905 | 0.00032355 | -0.0047264
20080004.hyd | 20080004.cor | 98 | 1168.79 | 1168.8 | 0.41897 | 0.010864 | 34.4546 | 34.452 | 0.00048619 | -0.0025787 | 34.4546 | 34.4535 | 0.00034329 | -0.0011444
20080004.hyd | 20080004.cor | 115 | 999.54 | 999.575 | 0.43047 | 0.035095 | 34.4133 | 34.4096 | 0.00026092 | -0.0037079 | 34.4133 | 34.4114 | 0.00029724 | -0.0018845
20080004.hyd | 20080004.cor | 120 | 798.369 | 798.176 | 0.63032 | -0.19299 | 34.3212 | 34.317 | 0.00031465 | -0.0041771 | 34.3212 | 34.3189 | 0.00044539 | -0.002327
20080004.hyd | 20080004.cor | 91 | 596.648 | 596.578 | 0.47859 | -0.070374 | 34.1679 | 34.1643 | 0.00064649 | -0.0036087 | 34.1679 | 34.1659 | 0.00064456 | -0.0019875
20080006.hyd | 20080006.cor | 121 | 488.096 | 488.034 | 0.21595 | -0.062103 | 34.0975 | 34.0939 | 0.00025674 | -0.0036392 | 34.0975 | 34.0954 | 0.00026091 | -0.0021172
20080006.hyd | 20080006.cor | 121 | 401.09 | 401.04 | 0.224 | -0.049713 | 34.0554 | 34.0528 | 0.00026678 | -0.002636 | 34.0554 | 34.0546 | 0.00031172 | -0.00081635
20080006.hyd | 20080006.cor | 110 | 300.697 | 300.602 | 0.33151 | -0.095093 | 33.9904 | 33.9879 | 0.00024144 | -0.0024834 | 33.9904 | 33.9898 | 0.00030896 | -0.00063324
20080009.hyd | 20080009.cor | 121 | 141.256 | 141.205 | 0.36115 | -0.05072 | 33.8965 | 33.8958 | 0.00057162 | -0.00072098 | 33.8965 | 33.8969 | 0.00059318 | 0.0004425
20080022.hyd | 20080022.cor | 121 | 140.278 | 140.371 | 0.30731 | 0.093018 | 33.8312 | 33.8299 | 0.00022791 | -0.0013428 | 33.8312 | 33.8307 | 0.00023743 | -0.00054169
20080022.hyd | 20080022.cor | 121 | 99.3 | 99.1681 | 0.32416 | -0.13192 | 33.7368 | 33.7354 | 0.00026751 | -0.001358 | 33.7368 | 33.7363 | 0.00038008 | -0.0005455
20080024.hyd | 20080024.cor | 95 | 104.802 | 104.827 | 0.51307 | 0.024925 | 33.7827 | 33.7866 | 0.0030457 | 0.0039368 | 33.7827 | 33.7878 | 0.0035371 | 0.0050545
20080024.hyd | 20080024.cor | 92 | 77.049 | 76.9881 | 0.44261 | -0.06086 | 33.3736 | 33.3745 | 0.0028013 | 0.00086594 | 33.3736 | 33.3766 | 0.0032086 | 0.003006
20080028.hyd | 20080028.cor | 121 | 50.292 | 50.3878 | 0.26578 | 0.095818 | 31.8448 | 31.86 | 0.0024347 | 0.015245 | 31.8448 | 31.8612 | 0.0015765 | 0.016415
20080029.hyd | 20080029.cor | 121 | 104.381 | 104.443 | 0.18382 | 0.062294 | 33.4519 | 33.4627 | 0.0043858 | 0.010838 | 33.4519 | 33.468 | 0.0026712 | 0.016052
20080029.hyd | 20080029.cor | 121 | 75.383 | 75.3495 | 0.22115 | -0.033455 | 32.9693 | 32.9876 | 0.005465 | 0.018291 | 32.9693 | 32.9859 | 0.0072646 | 0.016628
20080038.hyd | 20080038.cor | 119 | 185.37 | 185.334 | 0.38268 | -0.036469 | 33.9465 | 33.945 | 0.00022752 | -0.0014954 | 33.9465 | 33.9463 | 0.0002539 | -0.0001564
20080038.hyd | 20080038.cor | 121 | 175.128 | 175.234 | 0.27538 | 0.10623 | 33.9467 | 33.9448 | 0.00025371 | -0.0018997 | 33.9467 | 33.9462 | 0.00029642 | -0.00049591
20080043.hyd | 20080043.cor | 121 | 599.897 | 599.771 | 0.41165 | -0.12567 | 34.2178 | 34.2171 | 0.00063387 | -0.00070572 | 34.2178 | 34.2191 | 0.00059693 | 0.001297
20080043.hyd | 20080043.cor | 121 | 501.213 | 501.281 | 0.19992 | 0.068146 | 34.0994 | 34.0977 | 0.00025471 | -0.0017128 | 34.0994 | 34.0995 | 0.00030516 | 0.00011826
20080046.hyd | 20080046.cor | 97 | 1607.47 | 1607.47 | 0.48221 | 0.00073242 | 34.5406 | 34.5383 | 0.00022218 | -0.002327 | 34.5406 | 34.5398 | 0.00029539 | -0.00075531
20080046.hyd | 20080046.cor | 121 | 1200.61 | 1200.73 | 0.30988 | 0.12537 | 34.4613 | 34.4594 | 0.00029303 | -0.0019341 | 34.4613 | 34.4611 | 0.00039244 | -0.00023651
20080046.hyd | 20080046.cor | 121 | 1000.12 | 1000.1 | 0.22472 | -0.016174 | 34.3859 | 34.3839 | 0.0002352 | -0.0020294 | 34.3859 | 34.3856 | 0.00027706 | -0.00032425
20080046.hyd | 20080046.cor | 121 | 800.927 | 800.794 | 0.35441 | -0.13318 | 34.3042 | 34.3027 | 0.00022006 | -0.0014954 | 34.3042 | 34.3043 | 0.00029721 | 5.3406e-05
20080046.hyd | 20080046.cor | 121 | 600.282 | 600.188 | 0.36728 | -0.094116 | 34.173 | 34.172 | 0.00026392 | -0.00099945 | 34.173 | 34.1736 | 0.00029669 | 0.00055313
20080047.hyd | 20080047.cor | 99 | 1677.02 | 1677.38 | 0.44285 | 0.35938 | 34.5477 | 34.5459 | 0.0002225 | -0.0017929 | 34.5477 | 34.5473 | 0.00033212 | -0.00036621
20080047.hyd | 20080047.cor | 121 | 1201.13 | 1201.07 | 0.13833 | -0.059448 | 34.4574 | 34.4564 | 0.00021839 | -0.0010185 | 34.4574 | 34.4579 | 0.00033873 | 0.00053024
20080047.hyd | 20080047.cor | 110 | 998.356 | 998.235 | 0.50918 | -0.12097 | 34.3986 | 34.3973 | 0.00026429 | -0.0012741 | 34.3986 | 34.3989 | 0.00032236 | 0.00030518
20080047.hyd | 20080047.cor | 89 | 801.491 | 801.396 | 0.46764 | -0.094604 | 34.2885 | 34.2884 | 0.00031228 | -9.1553e-05 | 34.2885 | 34.2898 | 0.00029459 | 0.0012779
20080047.hyd | 20080047.cor | 119 | 600.075 | 599.977 | 0.48297 | -0.097839 | 34.1542 | 34.1549 | 0.00050844 | 0.00074768 | 34.1542 | 34.1564 | 0.00051765 | 0.0022392
20080049.hyd | 20080049.cor | 121 | 1500.04 | 1499.99 | 0.16226 | -0.045898 | 34.5018 | 34.4995 | 0.00037233 | -0.0023422 | 34.5018 | 34.5009 | 0.00045625 | -0.00088882
20080049.hyd | 20080049.cor | 121 | 1202.3 | 1202.39 | 0.26927 | 0.084839 | 34.4342 | 34.4329 | 0.00026222 | -0.0013046 | 34.4342 | 34.4343 | 0.00026993 | 0.00010681
20080049.hyd | 20080049.cor | 110 | 1003.2 | 1003.1 | 0.38411 | -0.10162 | 34.3873 | 34.3872 | 0.00030056 | -0.00014114 | 34.3873 | 34.3885 | 0.00039867 | 0.0012131
20080049.hyd | 20080049.cor | 121 | 802.006 | 801.868 | 0.42561 | -0.13751 | 34.2979 | 34.2969 | 0.00025779 | -0.0009613 | 34.2979 | 34.2982 | 0.00030056 | 0.0002594
20080049.hyd | 20080049.cor | 121 | 600.551 | 600.604 | 0.20124 | 0.05304 | 34.1467 | 34.1461 | 0.00023121 | -0.00063705 | 34.1467 | 34.1472 | 0.00028302 | 0.0005188
20080050.hyd | 20080050.cor | 121 | 1002.8 | 1002.87 | 0.25536 | 0.066223 | 34.379 | 34.3786 | 0.00023139 | -0.00039291 | 34.379 | 34.3794 | 0.0003075 | 0.00039291
20080050.hyd | 20080050.cor | 121 | 800.177 | 800.106 | 0.33027 | -0.07074 | 34.3004 | 34.3002 | 0.00024465 | -0.00020218 | 34.3004 | 34.3012 | 0.00025969 | 0.00084305
20080063.hyd | 20080063.cor | 121 | 999.983 | 999.969 | 0.20265 | -0.014404 | 34.3921 | 34.3922 | 0.0002935 | 5.722e-05 | 34.3921 | 34.3927 | 0.00027937 | 0.00059128
20080063.hyd | 20080063.cor | 121 | 799.969 | 800.064 | 0.24883 | 0.095154 | 34.2967 | 34.2965 | 0.00027158 | -0.00019836 | 34.2967 | 34.2971 | 0.00043252 | 0.0004425
20080063.hyd | 20080063.cor | 121 | 597.217 | 597.037 | 0.49815 | -0.1803 | 34.165 | 34.1636 | 0.00031807 | -0.0014267 | 34.165 | 34.1653 | 0.00037226 | 0.0003128
20080063.hyd | 20080063.cor | 121 | 502.592 | 502.673 | 0.28511 | 0.080994 | 34.0737 | 34.0749 | 0.00070164 | 0.0012398 | 34.0737 | 34.075 | 0.00043333 | 0.0012512
20080063.hyd | 20080063.cor | 121 | 401.63 | 401.63 | 0.11625 | -0.00030518 | 34.029 | 34.031 | 0.0011192 | 0.0020218 | 34.029 | 34.0316 | 0.00033688 | 0.0026207
20080068.hyd | 20080068.cor | 121 | 1002.55 | 1002.55 | 0.081504 | -0.00012207 | 34.3936 | 34.3952 | 0.0002574 | 0.0016022 | 34.3936 | 34.3946 | 0.00028652 | 0.0010071
20080068.hyd | 20080068.cor | 121 | 801.482 | 801.392 | 0.23764 | -0.089783 | 34.3068 | 34.3079 | 0.00029615 | 0.0011291 | 34.3068 | 34.3078 | 0.00031199 | 0.00097656
20080068.hyd | 20080068.cor | 121 | 600.434 | 600.498 | 0.19338 | 0.064026 | 34.1917 | 34.1922 | 0.00041754 | 0.00050354 | 34.1917 | 34.192 | 0.00038072 | 0.0002861
20080068.hyd | 20080068.cor | 121 | 500.866 | 500.763 | 0.28052 | -0.1029 | 34.1192 | 34.1196 | 0.00029097 | 0.00039673 | 34.1192 | 34.1193 | 0.00031344 | 5.722e-05
20080071.hyd | 20080071.cor | 121 | 1502.48 | 1502.47 | 0.10582 | -0.006958 | 34.5112 | 34.5129 | 0.00024436 | 0.0017395 | 34.5112 | 34.5125 | 0.00028891 | 0.0012512
20080071.hyd | 20080071.cor | 121 | 1201.74 | 1201.73 | 0.086727 | -0.010376 | 34.444 | 34.4452 | 0.00026885 | 0.001194 | 34.444 | 34.4449 | 0.00033444 | 0.00086212
20080071.hyd | 20080071.cor | 121 | 1000.67 | 1000.7 | 0.23069 | 0.028687 | 34.3837 | 34.386 | 0.0007097 | 0.0023155 | 34.3837 | 34.386 | 0.00045311 | 0.0022621
20080071.hyd | 20080071.cor | 120 | 799.987 | 799.835 | 0.37279 | -0.15241 | 34.3014 | 34.3012 | 0.0011992 | -0.00017166 | 34.3014 | 34.3015 | 0.00064855 | 9.1553e-05
20080073.hyd | 20080073.cor | 121 | 705.567 | 705.501 | 0.38043 | -0.066162 | 34.2673 | 34.2772 | 0.0022601 | 0.0098991 | 34.2673 | 34.2761 | 0.00080135 | 0.008812
20080073.hyd | 20080073.cor | 121 | 600.748 | 600.76 | 0.23615 | 0.012146 | 34.1912 | 34.1922 | 0.00023451 | 0.00098801 | 34.1912 | 34.1916 | 0.00028196 | 0.00037384
20080076.hyd | 20080076.cor | 121 | 1111.42 | 1111.37 | 0.14233 | -0.05542 | 34.4247 | 34.4267 | 0.00068211 | 0.0019684 | 34.4247 | 34.4253 | 0.00034713 | 0.00059891
20080076.hyd | 20080076.cor | 121 | 998.572 | 998.504 | 0.19915 | -0.06781 | 34.3959 | 34.3966 | 0.00038489 | 0.00068665 | 34.3959 | 34.396 | 0.00030274 | 0.00011063
20080076.hyd | 20080076.cor | 120 | 798.376 | 798.318 | 0.43437 | -0.058472 | 34.2961 | 34.2957 | 0.00031134 | -0.00037384 | 34.2961 | 34.2952 | 0.00028666 | -0.00087738
20080076.hyd | 20080076.cor | 121 | 599.349 | 599.337 | 0.091833 | -0.011841 | 34.2095 | 34.2093 | 0.00020413 | -0.00021362 | 34.2095 | 34.2086 | 0.00026885 | -0.00085449
20080076.hyd | 20080076.cor | 121 | 499.771 | 499.825 | 0.15693 | 0.053864 | 34.1216 | 34.1223 | 0.00037027 | 0.00069046 | 34.1216 | 34.1217 | 0.00039208 | 0.00011826
20080097.hyd | 20080097.cor | 121 | 65.391 | 65.4001 | 0.13208 | 0.0090942 | 31.9958 | 32.0114 | 0.0025931 | 0.01561 | 31.9958 | 32.0077 | 0.001005 | 0.011875
20080104.hyd | 20080104.cor | 121 | 221.457 | 221.507 | 0.20044 | 0.050079 | 33.9556 | 33.9537 | 0.00036255 | -0.0019455 | 33.9556 | 33.9521 | 0.00039072 | -0.0034676
20080104.hyd | 20080104.cor | 121 | 174.825 | 174.827 | 0.075063 | 0.0016174 | 33.9098 | 33.909 | 0.00023926 | -0.0008049 | 33.9098 | 33.9075 | 0.00027528 | -0.0022812
20080113.hyd | 20080113.cor | 121 | 501.033 | 500.982 | 0.13843 | -0.051056 | 34.0709 | 34.0727 | 0.00020889 | 0.0018387 | 34.0709 | 34.0711 | 0.0003007 | 0.00018311
20080113.hyd | 20080113.cor | 121 | 401.295 | 401.263 | 0.25009 | -0.032318 | 34.0002 | 33.9994 | 0.00028695 | -0.00083923 | 34.0002 | 33.9979 | 0.00026076 | -0.0022621
20080120.hyd | 20080120.cor | 121 | 211.484 | 211.452 | 0.087682 | -0.031784 | 33.9287 | 33.9338 | 0.0010376 | 0.005146 | 33.9287 | 33.9309 | 0.0011267 | 0.0021782
20080128.hyd | 20080128.cor | 119 | 953.043 | 952.948 | 0.44541 | -0.095276 | 34.3624 | 34.3642 | 0.00081687 | 0.0018463 | 34.3624 | 34.3626 | 0.0004904 | 0.00017929
20080128.hyd | 20080128.cor | 95 | 799.115 | 799.569 | 0.39427 | 0.45435 | 34.2954 | 34.296 | 0.00022743 | 0.00059891 | 34.2954 | 34.2946 | 0.00029691 | -0.00080872
20080128.hyd | 20080128.cor | 52 | 600.992 | 601.029 | 0.63232 | 0.037109 | 34.1715 | 34.173 | 0.00067534 | 0.0015183 | 34.1715 | 34.1714 | 0.00051694 | -0.00014877
20080128.hyd | 20080128.cor | 121 | 499.341 | 499.399 | 0.26793 | 0.0578 | 34.0986 | 34.0991 | 0.00030252 | 0.00048447 | 34.0986 | 34.0976 | 0.0003016 | -0.00098038
20080130.hyd | 20080130.cor | 86 | 1002.2 | 1002.38 | 0.56227 | 0.17371 | 34.3769 | 34.3785 | 0.00026972 | 0.0016403 | 34.3769 | 34.3768 | 0.00034408 | -0.00012589
20080130.hyd | 20080130.cor | 121 | 800.441 | 800.497 | 0.20766 | 0.055725 | 34.3042 | 34.3064 | 0.00033704 | 0.0021515 | 34.3042 | 34.3049 | 0.00037201 | 0.00071716
20080130.hyd | 20080130.cor | 88 | 599.602 | 599.471 | 0.45331 | -0.13062 | 34.1819 | 34.1838 | 0.000329 | 0.0019455 | 34.1819 | 34.1823 | 0.00027905 | 0.00037766
20080130.hyd | 20080130.cor | 108 | 499.302 | 499.162 | 0.45756 | -0.13959 | 34.1101 | 34.111 | 0.00054561 | 0.00088501 | 34.1101 | 34.1091 | 0.00047133 | -0.00099564
20080132.hyd | 20080132.cor | 68 | 1000.7 | 1000.17 | 0.56881 | -0.53314 | 34.3974 | 34.3981 | 0.00023432 | 0.00069046 | 34.3974 | 34.3964 | 0.00027628 | -0.00095749
20080132.hyd | 20080132.cor | 59 | 802.395 | 802.223 | 0.61564 | -0.17224 | 34.3183 | 34.3195 | 0.00032302 | 0.0012169 | 34.3183 | 34.3179 | 0.00032025 | -0.00040054
20080132.hyd | 20080132.cor | 89 | 600.416 | 600.215 | 0.60152 | -0.20129 | 34.1797 | 34.1808 | 0.00037278 | 0.0010948 | 34.1797 | 34.1792 | 0.00029887 | -0.00046539
20080132.hyd | 20080132.cor | 26 | 501.872 | 502.229 | 0.58266 | 0.35657 | 34.1081 | 34.1089 | 0.0005371 | 0.00080109 | 34.1081 | 34.1069 | 0.00031763 | -0.001152
20080134.hyd | 20080134.cor | 39 | 1002.19 | 1002.54 | 0.62107 | 0.35211 | 34.3842 | 34.385 | 0.00024117 | 0.00083542 | 34.3842 | 34.3832 | 0.00026281 | -0.00096512
20080134.hyd | 20080134.cor | 106 | 800.744 | 801.096 | 0.57331 | 0.3523 | 34.3117 | 34.3125 | 0.0003742 | 0.00082016 | 34.3117 | 34.3109 | 0.00035043 | -0.00078583
20080134.hyd | 20080134.cor | 89 | 601.335 | 601.216 | 0.50152 | -0.11871 | 34.1898 | 34.1906 | 0.00047461 | 0.00082398 | 34.1898 | 34.1889 | 0.00032754 | -0.00094604
20080134.hyd | 20080134.cor | 116 | 500.42 | 500.261 | 0.52052 | -0.15897 | 34.1166 | 34.1172 | 0.00053011 | 0.00061417 | 34.1166 | 34.1156 | 0.00040994 | -0.00096512
20080142.hyd | 20080142.cor | 121 | 770.728 | 770.908 | 0.55749 | 0.17963 | 34.3117 | 34.3128 | 0.00026039 | 0.0010796 | 34.3117 | 34.3111 | 0.00032238 | -0.00061798
20080142.hyd | 20080142.cor | 91 | 598.817 | 598.892 | 0.47729 | 0.074829 | 34.2011 | 34.2018 | 0.00035363 | 0.00067139 | 34.2011 | 34.2005 | 0.00044641 | -0.00059891
Create Fit Sheet