## Final Data 2000-10
Iron III Data for Cruise 2000-10 | [29 empty] | For Graphing:
Cruise: | [6 empty] | 2000-10
Ship | [6 empty] | CCGS John P Tully
Dates | [6 empty] | May29 - June26, 2000
Chief Scientist | [6 empty] | Leg1 (Line P): Marie Robert, Leg2 (Eddy): Frank Whitney
Iron Analyst |  |  |  | IOS: |  |  | Nes Sutherland(Legs1&2) & Keith Johnson(Leg1)
For Methods and Explanation of Abbreviations please see Metadata Sheet
Flags & Abbreviations
1 | Sample for this measurement was drawn from water bottle but not analyzed - in storage, available for future analysis
3 | Questionable measurement (no problem observed in sampling or analysis, but value is not trusted, nonetheless; includes outlyers)
4 | Bad measurement (known problem with sampling or analysis, but not serious enough to completely discard the value)
5 | Not reported (lost sample; unredeemably bad measurement, overrange)
6 | Mean of replicate measurements from one XNiskin (XN) or Goflo (GF)... Replicates are found in "WorkSumFe" sheet, and summary of replicate data in the "Metadata" sheet
Note that >90% of analyses have duplicate runs from within one bottle, average stats for these are in "Metadata" sheet; only separate bottles are flagged as "6"
9 | Sample not drawn for this measurement from this bottle
BF | Underway towed fishat approximately 2-4 meters
Salinity was collected from iron sampling bottles.
[9 empty] | GF= goflo |  | Sample_Number | Depth | Iron:Filtered:Buffered 0.22u | Flag FB | Iron:Unfiltered:Buffered | Flag UFB | Iron:Unfiltered:StrongAcid Microwaved | Flag UFA mw | Iron:Unfiltered:StrongAcid | Flag UFA |  | Salinity | Salinity flag | Nitrate | Nitrate flag | Silicate | Silicate flag | Phosphate | Phosphate flag
Date | Time | Cast or | Latitude |  | Longitude |  | Station | Event | Sampler | Sampler | Smp | Depth | FB 0.22 | FB | UFB | UFB | UFAmw | UFAmw | UFA | UFA | Analysis Comments | Sal |  | NO3 |  | Si |  | PO4
UTC | UTC | Profile | [5 empty] | # | Type | ID# | # | m | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | nmol/L | Flag | Collection Comments | (PSU) | Flag | uM | Flag | uM | Flag | uM | Flag
2000-06-01 | 0130 | 8001 | 48 39 | N | 126 40 | W | P04 | 1 | Zodiac | Dip | 1 | 0 | 0.17175 |  | 0.54828 | [5 empty] | //F 47mmDuropore in CR, anal'd ~24hr after buffering
2000-06-01 | 0300 | 8001 | 48 39 | N | 126 40 | W | P04 | 3 | Pump | Asti | 3 | 10 | 0.2542 |  | 0.63159 | [5 empty] | //F 90mm Duropore, anal'd ~30hr after buffering
2000-06-01 | 0430 | 8001 | 48 39 | N | 126 40 | W | P04 | 3 | Pump | Asti | 4 | 25 | 0.98712 | 3 | 0.28939 | [5 empty] | 3 FB: FB>UFB, ?contam or bottle mixup // F 90mmDuropore, anal'd ~24hr after buffering
2000-06-01 | 0500 | 8001 | 48 39 | N | 126 40 | W | P04 | 3 | Pump | Asti | 5 | 40 | 0.14749 | 3 | 0.09691 | [5 empty] | 3 FB: FB>UFB, ?contam or bottle mixup // F 90mmDuropore
2000-06-01 | 0622 | 8001 | 48 39 | N | 126 40 | W | P04 | 4 | GF10 | #5 | 6 | 75 | 0.13593 |  | 0.41343 | [5 empty] | //F 47mmDuropore in CR, anal'd ~24hr after buffering | 32.6839
2000-06-01 | 0230 | 8001 | 48 39 | N | 126 40 | W | P04 | 2 | GF10 | #? | 2 | 100 | 0.6598 |  | 2.3571 | [5 empty] | //F 47mmDuropore in CR, anal'd ~24hr after buffering
2000-06-01 | 0645 | 8001 | 48 39 | N | 126 40 | W | P04 | 5 | GF10 | #6 | 7 | 217 | 1.5731 |  | 3.2768 | [5 empty] | //F 47mmDuropore in CR, anal'd ~24hr after buffering | 33.9539
2000-06-01 | 0705 | 8001 | 48 39 | N | 126 40 | W | P04 | 6 | GF10 | #5 | 8 | 305 | 1.5378 |  | 3.0776 | [5 empty] | //F 47mmDuropore in CR, anal'd ~24hr after buffering | 33.9636
2000-06-01 | 0730 | 8001 | 48 39 | N | 126 40 | W | P04 | 7 | GF10 | #6 | 9 | 400 | 1.7023 |  | 2.8491 | [5 empty] | //F 47mmDuropore in CR, anal'd ~24hr after buffering | 34.0336
2000-06-01 | 0815 | 8001 | 48 39 | N | 126 40 | W | P04 | 8 | GF10 | #6 | 10 | 600 | 2.179 |  | 3.0659 | [5 empty] | //F 47mmDuropore in CR, anal'd ~24hr after buffering | 34.153
2000-06-01 | 0815 | 8001 | 48 39 | N | 126 40 | W | P04 | 8 | GF10 | #5 | 11 | 990 | 1.8425 |  | 3.3604 | [5 empty] | //F 47mmDuropore in CR, anal'd ~24hr after buffering | 34.3894
2000-06-01 | 2350 | 8002 | ~48 42 | N | 127 17 | W | ~P05 | 9 | Pump | BatFish | 12 | 2-3m | 0.72474 | BF | 0.73481 | [5 empty] | Bat Series Transect // F 90mmDuropore, anal'd ~30hr after buffering
2000-06-02 | 0020 | 8002 | ~48 43 | N | 127 24 | W | enroute | 9 | Pump | BatFish | 13 | 2-3m | 0.79756 | BF | [6 empty] | "
2000-06-02 | 0120 | 8002 | ~48 44 | N | 127 37 | W | to | 9 | Pump | BatFish | 14 | 2-3m | 1.1084 | BF | [6 empty] | "
2000-06-02 | 0130 | 8002 | ~48 45 | N | 127 40 | W | P06 | 10 | Zodiac | Dip | 15 | 0 | 0.17481 | BF | 0.8469 | [5 empty] | "
2000-06-02 | 2100 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 11 | Zodiac | Dip | 16 | 0 | 0.033549 |  | 0.048926 | [5 empty] | //F 47mmDuropore in CR, anal'd ~10hr after buffering
2000-06-03 | 0010 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 12 | Pump | Asti | 19 | 10 | 0.03887 |  | 0.075915 | [5 empty] | //all ff smp filtered through Opti 0.22u Duropore cartridge, anal'd ~11hr after bufferadd'n
2000-06-03 | 0000 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 12 | Pump | Asti | 18 | 25 | 0.066513 |  | 0.076493 | [5 empty] | //anal'd ~11hr after bufferadd'n
2000-06-03 | 0100 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 12 | Pump | Asti | 17 | 40 | 0.12483 |  | 0.24179 | [5 empty] | //anal'd ~11hr after bufferadd'n
2000-06-03 | 0900 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 16 | GF30 | Wilma | 26 | 75 | 0.026553 |  | 0.11742 | [6 empty] | 32.6667
2000-06-03 | 0900 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 16 | GF30 | Wilbur | 27 | 100 | 0.054248 |  | 0.090808 | [6 empty] | 32.8701
2000-06-03 | 0400 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 13 | GF30 | Wilma | 20 | 200 | 0.4188 |  | 0.62524 | [5 empty] | //anal'd ~20hr after bufferadd'n | 33.9428
2000-06-03 | 0600 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 14 | GF30 | Wilbur | 22 | 300 | 0.45236 |  | 0.50874 | [5 empty] | //anal'd ~18hr after bufferadd'n | 33.94
2000-06-03 | 0400 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 13 | GF30 | Wilbur | 21 | 400 | 0.47267 |  | 0.46692 | [5 empty] | //anal'd ~17hr after bufferadd'n | 33.9619
2000-06-03 | 0600 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 14 | GF30 | Wilma | 23 | 600 | 0.59549 |  | 0.7084 | [5 empty] | //anal'd ~15hr after bufferadd'n | 34.1482
2000-06-03 | 0800 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 15 | GF30 | Wilma | 24 | 800 | 0.73271 |  | 0.83517 | [5 empty] | //anal'd ~10hr after bufferadd'n | 34.2675
2000-06-03 | 0800 | 8003 | 48 58.2 | N | 130 40. | W | P12 | 15 | GF30 | Wilbur | 25 | 1000 | 0.81726 |  | 1.025 | [5 empty] | //anal'd ~9hr after bufferadd'n | 34.3589
2000-06-04 | 1500 | 8004 | ~49 12 | N | ~133 40 | W | P15 | 17 | Pump | BatFish | 28 | 2-3m |  |  | 0.065777 | BF |  |  |  |  | //4-6m out from ship, anal'd ~11hr after buffering
2000-06-04 | 1530 | 8004 | ~49 13 | N | ~133 50 | W | enroute | 17 | Pump | BatFish | 29 | 2-3m |  |  | 0.049415 | BF |  |  |  |  | //4-6m out from ship, anal'd ~11hr after buffering
2000-06-04 | 1600 | 8004 | ~49 14 | N | ~134 05 | W |  | 17 | Pump | BatFish | 30 | 2-3m |  |  | 0.054901 | BF |  |  |  |  | //4-6m out from ship, anal'd ~11hr after buffering
2000-06-04 | 1630 | 8004 | ~49 16 | N | ~134 20 | W | to | 17 | Pump | BatFish | 31 | 2-3m |  |  | 0.054017 | BF |  |  |  |  | //4-6m out from ship, anal'd ~11hr after buffering
2000-06-04 | 1730 | 8004 | ~49 17 | N | 134 40 | W | P16 | 17 | Pump | BatFish | 32 | 2-3m |  |  | 0.052304 | BF |  |  |  |  | //4-6m out from ship, anal'd ~11hr after buffering
2000-06-04 | 1830 | 8005 | 49 17 | N | 134 40 | W | P16 | 18 | Zodiac | Dip | 33 | 0 | 0.056547 |  | 0.033284 | [5 empty] | //F 47mmDuropore in CR, anal'd ~7hr after buffering
2000-06-05 | 0230 | 8005 | 49 17 | N | 134 40 | W | P16 | 19 | Pump | Asti | 36 | 10 | 0.015612 |  | 0.032233
2000-06-05 | 0210 | 8005 | 49 17 | N | 134 40 | W | P16 | 19 | Pump | Asti | 35 | 25 | 0.024799 |  | 0.026097 | [5 empty] | //anal'd~5hr after buffering
2000-06-05 | 0150 | 8005 | 49 17 | N | 134 40 | W | P16 | 19 | Pump | Asti | 34 | 40 | 0.018951 |  | 0.028573 | [5 empty] | //anal'd~6hr after buffering
2000-06-05 | 0800 | 8005 | 49 17 | N | 134 40 | W | P16 | 23 | GF30 | Wilma | 43 | 75 | 0.034228 |  | 0.060601 | [6 empty] | 32.6677
2000-06-05 | 0500 | 8005 | 49 17 | N | 134 40 | W | P16 | 20 | GF30 | Wilma | 37 | 100 | 0.10985 |  | 0.22091 | [5 empty] | //anal'd~6hr after buffering | 33.2787
2000-06-05 | 0900 | 8005 | 49 17 | N | 134 40 | W | P16 | 24 | GF30 | Wilbur | 44 | 200 | 0.2959 |  | 0.35601 | [6 empty] | 33.922
2000-06-05 | 0500 | 8005 | 49 17 | N | 134 40 | W | P16 | 20 | GF30 | Wilbur | 38 | 300 | 0.51512 |  | 0.55596 | [5 empty] | //anal'd~12hr after buffering | 33.9519
2000-06-05 | 0600 | 8005 | 49 17 | N | 134 40 | W | P16 | 21 | GF30 | Wilbur | 39 | 400 | 0.38062 |  | 0.56619 | [5 empty] | //anal'd~13hr after buffering | 34.004
2000-06-05 | 0600 | 8005 | 49 17 | N | 134 40 | W | P16 | 21 | GF30 | Wilma | 40 | 600 | 0.56969 |  | 0.70311 | [5 empty] | //anal'd~14hr after buffering | 34.1863
2000-06-05 | 0700 | 8005 | 49 17 | N | 134 40 | W | P16 | 22 | GF30 | Wilma | 41 | 800 | 0.57985 |  | 0.7293 | [5 empty] | //anal'd~13hr after buffering | 34.2906
2000-06-05 | 0700 | 8005 | 49 17 | N | 134 40 | W | P16 | 22 | GF30 | Wilbur | 42 | 1000 | 0.63355 |  | 0.75899 | [5 empty] | //anal'd~14hr after buffering | 34.3709
2000-06-06 | 1500 | 8006 | 49 34 | N | 138 40 | W | P20 | 25 | Zodiac | Dip | 45 | 0 | 0.037149 |  | 0.036131 | [5 empty] | //F 47mmDuropore in CR, anal'd ~11hr after buffering
2000-06-06 | 1615 | 8006 | 49 34 | N | 138 40 | W | P20 | 26 | Pump | Asti | 48 | 10 | 0.022514 |  | 0.039092 | [5 empty] | //anal'd~11hr after buffering
2000-06-06 | 1600 | 8006 | 49 34 | N | 138 40 | W | P20 | 26 | Pump | Asti | 47 | 25 | 0.024466 |  | 0.038441 | [5 empty] | //anal'd~12hr after buffering
2000-06-06 | 1545 | 8006 | 49 34 | N | 138 40 | W | P20 | 26 | Pump | Asti | 46 | 40 | 0.079047 |  | 0.058274 | [5 empty] | //anal'd~12hr after buffering
2000-06-07 | 0000 | 8006 | 49 34 | N | 138 40 | W | P20 | 30 | GF30 | Wilma | 55 | 75 | 0.025434 |  | 0.038899 | [5 empty] | //anal'd~7hr after buffering | 32.6608
2000-06-07 | 0030 | 8006 | 49 34 | N | 138 40 | W | P20 | 31 | GF30 | Wilbur | 56 | 100 | 0.027428 |  | 0.054112 | [5 empty] | //anal'd~8hr after buffering | 32.6928
2000-06-06 | 2100 | 8006 | 49 34 | N | 138 40 | W | P20 | 27 | GF30 | Wilbur | 49 | 200 | 0.18894 | 6 | 0.21066 | 6 |  |  |  |  | //duplicates: anal'd~12hr & immediately after buffering | 33.885
2000-06-06 | 2200 | 8006 | 49 34 | N | 138 40 | W | P20 | 28 | GF30 | Wilma | 51 | 300 | 0.27912 |  | 0.47525 | [5 empty] | //anal'd~14hr after buffering | 33.9383
2000-06-06 | 2100 | 8006 | 49 34 | N | 138 40 | W | P20 | 27 | GF30 | Wilma | 50 | 400 | 0.26327 |  | 0.35761 | [5 empty] | //anal'd~15hr after buffering | 33.9895
2000-06-06 | 2200 | 8006 | 49 34 | N | 138 40 | W | P20 | 28 | GF30 | Wilbur | 52 | 600 | 0.40646 |  | 0.44458 | [5 empty] | //anal'd~17hr after buffering | 34.1523
2000-06-06 | 2300 | 8006 | 49 34 | N | 138 40 | W | P20 | 29 | GF30 | Wilbur | 53 | 800 | 0.37534 |  | 0.49519 | [5 empty] | //anal'd~16hr after buffering | 34.2716
2000-06-06 | 2300 | 8006 | 49 34 | N | 138 40 | W | P20 | 29 | GF30 | Wilma | 54 | 1000 | 0.48088 |  | 0.61654 |  |  |  | 0.55532 |  | //anal'd~18hr after buffering | 34.3544
2000-06-09 | 0100 | 8007 | ~50 | N | ~145 | W | ~P26 | 32 |  |  | 68 | [9 empty] | Rock Experiment
2000-06-11 | 1700 | 8008 | 50 00. | N | 145 00. | W | P26 | 40 | Zodiac | Dip | 80 | 0 | 0.016954 |  | 0.029022
2000-06-11 | 0430 | 8008 | 50 00. | N | 145 00. | W | P26 | 39 | Pump | Asti | 79 | 10 | 0.014726 |  | 0.046132
2000-06-11 | 0400 | 8008 | 50 00. | N | 145 00. | W | P26 | 39 | Pump | Asti | 78 | 25 | 0.0072828 |  | 0.053984
2000-06-11 | 0350 | 8008 | 50 00. | N | 145 00. | W | P26 | 39 | Pump | Asti | 77 | 40 | 0.018712 |  | 0.051753
2000-06-11 | 0230 | 8008 | 50 00. | N | 145 00. | W | P26 | 38 | GF30 | Wilbur | 76 | 75 | 0.0356 |  | 0.15986 | [6 empty] | 32.7261
2000-06-11 | 0210 | 8008 | 50 00. | N | 145 00. | W | P26 | 37 | GF30 | Wilma | 75 | 100 | 0.035149 |  | 0.38171 | [6 empty] | 32.7567
2000-06-11 | 0150 | 8008 | 50 00. | N | 145 00. | W | P26 | 36 | GF30 | Wilbur | 74 | 200 | 0.2887 |  | 0.3841 | [6 empty] | 33.8038
2000-06-11 | 1645 | 8008 | 50 00. | N | 145 00. | W | P26 | 33 | GF30 | Wilma | 69 | 300 |  | 5 | 0.56537 | [5 empty] | 5: contam filter, not enough rinse // bad wire angle | 33.907
2000-06-11 | 0130 | 8008 | 50 00. | N | 145 00. | W | P26 | 35 | GF30 | Wilma | 73 | 400 | 0.39567 |  | 0.58757 | [6 empty] | 34.0507
2000-06-11 | 1645 | 8008 | 50 00. | N | 145 00. | W | P26 | 33 | GF30 | Wilbur | 70 | 600 | 0.50975 | 3 | 0.65702 | [5 empty] | 3: poss still filter contam, no way to know for sure// bad wire angle, ~22` | 34.2063
2000-06-11 | 2000 | 8008 | 50 00. | N | 145 00. | W | P26 | 34 | GF30 | Wilbur | 71 | 800 | 0.36878 |  | 0.60216 | [5 empty] | 5 Sal: totally off, calc by CTD to be ~150m |  | 5
2000-06-11 | 2000 | 8008 | 50 00. | N | 145 00. | W | P26 | 34 | GF30 | Wilma | 72 | 1000 | 0.65118 |  | 0.80787 | [6 empty] | 34.3885
2000-06-11 | 2000 | 8009 | 50 00.337 | N | 144 44.394 | W | Transect | 41 | Pump | BatFish | 81 | 2-3m |  |  | 0.27436 | BF |  |  |  |  | Bat Series, leaving Stn Papa
2000-06-11 | 2015 | 8009 | 50 00.303 | N | 144 42.279 | W | Line | 41 | Pump | BatFish | 82 | 2-3m |  |  | 0.089677 | BF
2000-06-11 | 2030 | 8009 | 50 00.238 | N | 144 38.946 | W |  | 41 | Pump | BatFish | 83 | 2-3m |  |  | 0.04321 | BF
2000-06-11 | 2045 | 8009 | 50 00.142 | N | 144 34.836 | W |  | 41 | Pump | BatFish | 84 | 2-3m |  |  | 0.013336 | BF
2000-06-11 | 2100 | 8009 | 50 00.096 | N | 144 33.21 | W |  | 41 | Pump | BatFish | 85 | 2-3m |  |  | 0.040274 | BF
2000-06-11 | 2115 | 8009 | 49 59.994 | N | 144 29.475 | W |  | 41 | Pump | BatFish | 86 | 2-3m |  |  | 0.031919 | BF
2000-06-11 | 2130 | 8009 | 49 59.928 | N | 144 26.623 | W |  | 41 | Pump | BatFish | 87 | 2-3m |  |  | 0.027878 | BF
2000-06-11 | 2145 | 8009 | 49 59.868 | N | 144 23.36 | W |  | 41 | Pump | BatFish | 88 | 2-3m |  |  | 0.040999 | BF
2000-06-11 | 2200 | 8009 | 49 59.809 | N | 144 20.58 | W |  | 41 | Pump | BatFish | 89 | 2-3m |  |  | 0.046849 | BF
2000-06-14 | 1500 | 8010 | 50 59.79 | N | 130 15.55 | W | Loop17 | 42 | Pump | BatFish | 90 | 2-3m |  |  | 0.028115 | BF |  |  |  |  | QC Coastal Shelf Bat Series
2000-06-14 | 1515 | 8010 | 50 59.86 | N | 130 12.59 | W |  | 42 | Pump | BatFish | 91 | 2-3m |  |  | 0.023189 | BF
2000-06-14 | 1530 | 8010 | 50 59.91 | N | 130 09.14 | W |  | 42 | Pump | BatFish | 92 | 2-3m |  |  | 0.0175 | BF
2000-06-14 | 1545 | 8010 | 50 59.97 | N | 130 05.97 | W |  | 42 | Pump | BatFish | 93 | 2-3m |  |  | 0.039604 | BF
2000-06-14 | 1600 | 8010 | 51 00.05 | N | 130 02.65 | W |  | 42 | Pump | BatFish | 94 | 2-3m |  |  | 0.03328 | BF
2000-06-14 | 1615 | 8010 | 51 00.2 | N | 129 59 | W |  | 42 | Pump | BatFish | 95 | 2-3m |  |  | 0.04529 | BF
2000-06-14 | 1630 | 8010 | 51 00.36 | N | 129 56.59 | W |  | 42 | Pump | BatFish | 96 | 2-3m |  |  | 0.035941 | BF
2000-06-14 | 1645 | 8010 | 51 00.52 | N | 129 53.65 | W | ShelfStn | 42 | Pump | BatFish | 97 | 2-3m |  |  | 0.079865 | BF
2000-06-14 | 1835 | 8010 | 51 02.12 | N | 129 50.54 | W | ShelfStn | 42 | Pump | BatFish | 98 | 2-3m |  |  | 0.12681 | BF
2000-06-14 | 1850 | 8010 | 51 03.14 | N | 129 47.85 | W |  | 42 | Pump | BatFish | 99 | 2-3m |  |  | 0.2402 | BF
2000-06-14 | 1905 | 8010 | 51 04.07 | N | 129 45.31 | W |  | 42 | Pump | BatFish | 100 | 2-3m |  |  | 0.23769 | BF
2000-06-14 | 1925 | 8010 | 51 05.2 | N | 129 41.9 | W |  | 42 | Pump | BatFish | 101 | 2-3m |  |  | 0.26183 | BF
2000-06-14 | 1945 | 8010 | 51 06.14 | N | 129 37.65 | W |  | 42 | Pump | BatFish | 102 | 2-3m |  |  | 0.34093 | BF
2000-06-14 | 2005 | 8010 | 51 06.86 | N | 129 33.83 | W |  | 42 | Pump | BatFish | 103 | 2-3m |  |  | 0.21574 | BF
2000-06-14 | 2025 | 8010 | 51 07.68 | N | 129 29.9 | W |  | 42 | Pump | BatFish | 104 | 2-3m |  |  | 0.20722 | BF
2000-06-14 | 2045 | 8010 | 51 08.77 | N | 129 26.11 | W |  | 42 | Pump | BatFish | 105 | 2-3m |  |  | 0.30222 | BF
2000-06-14 | 2105 | 8010 | 51 10.0 | N | 129 22.25 | W | Loop18 | 42 | Pump | BatFish | 106 | 2-3m |  |  | 0.31732 | BF
Stop at Port Hardy to exchange some scientists, then carry on to HAIDA EDDY 2000
2000-06-19 | 0205 | 8011 | 51 44.23 | N | 135 45.01 | W | ED01 | 52 | GF10 | #6 | 116 | 10 |  |  | 0.25464 |  | 1.6935 |  | 1.777 |  |  | 32.4021 |  | 4.2796 |  | 12.7234 |  | 0.70747
2000-06-19 | 0155 | 8011 | 51 44.23 | N | 135 45.01 | W | ED01 | 51 | GF10 | #5 | 115 | 25 |  |  | 0.20094 |  | 1.3363 |  | 1.3374 |  |  | 32.4264
2000-06-19 | 0145 | 8011 | 51 44.23 | N | 135 45.01 | W | ED01 | 50 | GF10 | #6 | 114 | 50 |  |  | 0.32225 |  | 1.4559 |  | 1.5404 |  |  | 32.574
2000-06-19 | 0015 | 8011 | 51 44.3 | N | 135 46.42 | W | ED01 | 49 | GF10 | #5 | 113 | 75 |  |  | 0.71863 |  | 1.7697 |  | 1.8274 |  |  | 32.7405
2000-06-19 | 0000 | 8011 | 51 44.3 | N | 135 46.42 | W | ED01 | 48 | GF10 | #6 | 112 | 100 |  |  | 1.3372 |  | 6.1142 |  | 6.098 |  |  | 33.3909
2000-06-18 | 2345 | 8011 | 51 44.3 | N | 135 46.42 | W | ED01 | 47 | GF10 | #6 | 111 | 150 |  |  | 1.3352 |  | 5.9009 |  | 6.2784 |  |  | 33.8194 |  | 29.4311 |  | 42.3062 |  | 2.1495
2000-06-18 | 1655 | 8011 | 51 44.88 | N | 135 49.88 | W | ED01 | 46 | GF30 | Wilma | 110 | 200 |  |  | 1.3666 |  | 6.2792 |  | 6.2526 |  |  | 33.9213 |  | 33.529 |  | 53.0877 |  | 2.4021
2000-06-18 | 1635 | 8011 | 51 44.88 | N | 135 49.88 | W | ED01 | 45 | GF30 | Wilbur | 109 | 300 |  |  | 1.2654 |  | 3.3121 |  | 3.4491 |  |  | 33.9622 |  | 38.0812 |  | 68.8813 |  | 2.7291
2000-06-18 | 1605 | 8011 | 51 44.88 | N | 135 49.88 | W | ED01 | 44 | GF30 | Wilma | 108 | 400 |  |  | 1.2291 |  | 2.7675 |  | 2.7859 |  |  | 34.0915 |  | 43.2026 |  | 95.0036 |  | 3.0861
2000-06-18 | 1545 | 8011 | 51 44.88 | N | 135 49.88 | W | ED01 | 43 | GF30 | Wilbur | 107 | 600 |  |  | 1.2545 |  |  |  | 3.5821 |  |  | 34.1687 |  | 43.8892 | 6 | 107.2334 | 6 | 3.1653 | 6
2000-06-21 | 0350 | 8012 | 52 44.97 | N | 135 49.81 | W | ED05 | 59 | GF30 | Wilma | 123 | 10 |  |  | 0.1592 |  | 0.63969 |  | 0.54931 |  | UFA&UFAmw samples analysed 7 months after collection | 32.266 |  | 4.2372 |  | 2.8643 |  | 0.72041
2000-06-21 | 0330 | 8012 | 52 45.07 | N | 135 49.77 | W | ED05 | 58 | GF30 | Wilbur | 122 | 25 |  |  | 0.078025 |  | 0.19532 |  | 0.16887 |  |  | 32.2674 |  | 4.513 |  | 2.6749 |  | 0.74698
2000-06-21 | 0405 | 8012 | 52 44.92 | N | 135 49.93 | W | ED05 | 60 | GF30 | Wilbur | 124 | 50 |  |  | 0.13881 |  | 0.29233 |  | 0.27742 |  |  | 32.2991
2000-06-21 | 0415 | 8012 | 52 44.87 | N | 135 50.04 | W | ED05 | 61 | GF30 | Wilma | 125 | 75 |  |  | 0.33093 |  | 0.38189 |  | 0.36291 |  |  | 32.4346 |  | 13.3941 |  | 18.8812 |  | 1.2617
2000-06-21 | 0430 | 8012 | 52 44.78 | N | 135 50.19 | W | ED05 | 62 | GF30 | Wilbur | 126 | 100 |  |  | 0.71021 |  | 0.74766 |  | 0.71783 |  |  | 32.5917 |  | 14.4976 |  | 22.4326 |  | 1.3193
2000-06-21 | 0305 | 8012 | 52 44.9 | N | 135 50.7 | W | ED05 | 57 | GF30 | Wilma | 121 | 150 |  |  | 1.8566 |  | 3.865 |  | 3.9026 |  |  | 33.1591 |  | 23.2716 |  | 36.2317 |  | 1.8296
2000-06-21 | 0230 | 8012 | 52 45.00 | N | 135 50.50 | W | ED05 | 56 | GF30 | Wilma | 120 | 200 |  |  | 1.6737 |  | 6.6242 |  | 6.5094 |  |  | 33.7385 |  | 31.5037 |  | 47.9921 |  | 2.2953
2000-06-21 | 0220 | 8012 | 52 45.04 | N | 135 50.25 | W | ED05 | 55 | GF30 | Wilbur | 119 | 300 |  |  | 1.848 |  | 4.3363 |  | 4.4912 |  |  | 33.9138 |  | 35.142 |  | 57.476 |  | 2.5417
2000-06-21 | 0140 | 8012 | 52 45.06 | N | 135 50.92 | W | ED05 | 54 | GF30 | Wilma | 118 | 400 |  |  | 2.1612 |  | 5.2934 |  | 5.0551 |  |  | 33.9637 |  | 36.4031 |  | 63.1708 |  | 2.6202
2000-06-21 | 0100 | 8012 | 52 45.03 | N | 135 50.69 | W | ED05 | 53 | GF30 | Wilbur | 117 | 635 |  |  | 1.35 |  | 1.6888 |  | 1.3987 |  | //line slipping out, depth est to be 635m | 34.0448 |  | 41.7924 | 6 | 87.9319 | 6 | 2.9971 | 6
2000-06-22 | 0355 | 8013 | 52 15.04 | N | 135 49.92 | W | ED03 | 67 | GF10 | #5 | 133 | 10 |  |  | 0.20033 |  | 1.574 |  |  | 1 |  | 32.4218 |  | 4.3332 |  | 6.9283 |  | 0.73521
2000-06-22 | 0350 | 8013 | 52 15.05 | N | 135 49.83 | W | ED03 | 66 | GF10 | #6 | 132 | 25 |  |  | 0.1589 | 6 | 0.42252 |  |  | 1 |  | 32.4269 |  | 4.3328 |  | 7.1123 |  | 0.73549
2000-06-22 | 0340 | 8013 | 52 15.06 | N | 135 49.74 | W | ED03 | 65 | GF10 | #5 | 131 | 50 |  |  | 0.18168 |  | 0.32855 |  |  | 1 |  | 32.4642
2000-06-22 | 0330 | 8013 | 52 15.06 | N | 135 49.46 | W | ED03 | 64 | GF10 | #6 | 130 | 75 |  |  | 0.31708 |  | 0.57154 |  |  | 1 |  | 32.5475 |  | 10.2478 |  | 15.4998 |  | 1.073
2000-06-22 | 0300 | 8013 | 52 14.77 | N | 135 50.62 | W | ED03 | 63 | GF10 | #5 | 129 | 100 |  |  | 0.51566 |  | 1.2419 |  |  | 1 |  | 32.7315 |  | 14.4838 |  | 21.4899 |  | 1.3169
2000-06-22 | 0255 | 8013 | 52 14.80 | N | 135 50.49 | W | ED03 | 62 | GF10 | #6 | 128 | 150 |  |  | 1.3077 | 6 | 4.3218 |  |  | 1 |  | 33.4885 |  | 25.5687 |  | 37.6679 |  | 1.9458
2000-06-22 | 0220 | 8013 | 52 14.85 | N | 135 50.09 | W | ED03 | 61 | GF30 | Wilma | 127 | 200 |  |  | 1.3131 |  | 5.4212 |  |  | 1 |  | 33.8231 |  | 30.8663 |  | 46.754 |  | 2.2471
2000-06-22 | 0220 | 8013 | 52 14.85 | N | 135 50.09 | W | ED03 | 61 | GF30 | Wilbur | 126 | 300 |  |  | 1.1788 |  | 4.4096 |  |  | 1 |  | 33.9439 |  | 36.0873 |  | 61.7821 |  | 2.5705
2000-06-22 | 0125 | 8013 | 52 15.14 | N | 135 50.20 | W | ED03 | 60 | GF30 | Wilbur | 125 | 400 |  |  | 1.1118 |  | 3.1949 |  |  | 1 | //nuts from 425m? | 33.993 |  | 39.8478 |  | 76.9078 |  | 2.8408
2000-06-22 | 0125 | 8013 | 52 15.14 | N | 135 50.20 | W | ED03 | 60 | GF30 | Wilma | 124 | 600 |  |  | 1.1952 | 6 | 3.792 |  |  | 1 |  | 34.1443 |  | 43.6332 | 6 | 103.46 | 6 | 3.1158 | 6

## Metadata Cruise
Metadata for Iron III Data for Cruise 2000-10 | [13 empty] | For Graphing:
Cruise: |  |  | 2000-10
Ship |  |  | CCGS John P Tully
Dates |  |  | May29 - June26, 2000
Chief Scientist |  |  | Leg1 (Line P): Marie Robert, Leg2 (Eddy): Frank Whitney
Iron Analyst | IOS: |  | Nes Sutherland(Legs1&2) & Keith Johnson(Leg1)
The cruise was divided into two parts: Leg 1 was Line P, Leg 2 was a Haida Eddy survey
Leg 1- the objective of the iron team was to sample and analyse Iron(III) at regularly visited/monitored stations along Line P; this was the first time for the collection of acidifed samples (see Sample Treatment below),
Additional objectives were the collection of near surface trace metal clean samples by a "batfish" (described below), and testing of iron dissolution in a slow release experiment, using bags of volcanic rock, high in iron content.
Leg 2- the obective was to collect and analyse iron from sections along a Haida Eddy, using both immediate iron analysis, and long term storage for totals
Replicate bottles were taken at ED03 to permit a study of the rate of iron leaching off particulates by the ammonium formate buffer used in the chemiluminescent technique. Additional samples were preserved by acidification for total iron analysis onshore at IOS.
Some support was also provided for incubation experiments by UBC students; as well, trace metal samples were collected for the Japanese CRIEPI colleagues at P04&P26, and for Sabrina Crispo of UBC
It had been hoped to conduct an iron release experiment using porous lava rocks bundled into mesh bags linked together to form a long floating chain. However, despite extra buoyage at either end, and ARGOS instrumentation with GPS and transmission capacity to satellite and ship,
the chain was lost within a day.
A survey of surface iron around the rock chain at 7 hours after deployment did indicate the iron was slowly being released into the seawater, extending from 2 to at least 20 m.
Sample Collection:
Near surface seawater samples for Iron (III) analyses were collected by hand (bottles only opened and closed while totally submerged, ~0.1m) from a zodiac positioned away from any ship influence
Deeper samples were collected by Teflon compressed air activated Asti pump with Teflon tubing (5-40m) or by 10L GoFlos (numbered), or 30L GoFlos(GF named Wilbur and Wilma) on a Kevlar line spooled over a Delrin block (50-1000m).
Horizontal near surface transects were surveyed using a "Batfish", a device capable of skimming along subsurface at an approximate 2-4m depth while being towed by the ship
from a crane arm extended over the side. With a small vane attachment the bat could veer out to ca. 6m from the ship, ~1-3m deep, past the zone of influence of the metal hull.
The actual depths and distance out depended on ship speed - the faster the tow, up to a maximum of 10 knots under calm conditions, the further out and shallower the bat skimmed. Optimal tow speed was 8 knots, above 8.5 knots the batfish would occasionally skip out of the water.
A short piece of polyethylene tube was fitted into the sampling tube guide at the front of the bat, and connected to the Teflon Asti pump and tubing setup for sample collection.
Three tows of 2 to 3 hours or 16 to 20 miles were conducted
LDPE bottles had been previously acid cleaned to Geotraces standards.
Some samples were filtered in the clean room: most of Stn P04 and all zodiac samples, using 0.22u 47mm flat Duropore membrane filters.
The rest, unless noted, were filtered by cartidge type filters direct from the pump or Goflos: these included sampling through 0.22u Opti Duropore cartidges. A few samples were filtered through a 90mm 0.22u Flat Duropore membrane filter direct from the Goflo
Sample Treatment- Current and IOS Historical:
Iron analysis can be performed in several different ways, therefore it is necessary to operationally define the treatments used, if one wishes to compare results with other researchers.
At IOS we have traditionally followed the suggestions of Obata and Nishioka for treatment and analysis.
IOS protocol originally called for treatment of filtered and unfiltered samples with a mildly acidic buffered leach (pH 3.2), measured onboard, as well
as a strongly acidic leach (pH ~1.6 / 2.25 ml of 6N purified HCl to 250ml SW) measured after a storage period of 6 months or longer.
In recent years (post2006), IOS has also added the Geotraces method of acid leach for a minimum of 12 hours before analysis.
The following provides a description of these treatments, their abbreviations and nomenclature:
Buffered Sample Analysis - FB or UFB - traditional analysis performed for IOS Line P cruises - a mild leach where sample is buffered to pH3.2 with Ammonium formate,
then analysed within ~2 hours, unless noted; thought to be immediate bioavailable iron. Buffering for extended periods may result in more iron stripping off particles, therefore an attempt was made to standardize the time from buffereing
| Iron:Filtered:Buffered |  | FB | usually 0.22u filtered, buffered, also called dissolved Fe
|  |  |  | FB0.22u | Duropore Opti type cartridge direct from Goflo or Pump, else Flat Duropore membrane, either 90mm housing to GoFlo or pump, or 47mm housing in CleanRoom
| Iron:Unfiltered:Buffered |  | UFB | unfiltered, buffered, also considered to be labile or bioavailable
|  |  | UFB-FB | this difference is known as labile particulate fraction
Collected for the first time for IOS:
Strongly Acidified Sample Analysis - FA or UFA - samples acidified to pH~1.6 with 1:1 HCl for 6 months or more, then brought back up to pH3.2, the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
IOS has traditionally used this strong acidification in the past, utilizing 2mL of 1:1 SeaStar HCl per 250mL sample for acidification, as suggested by Nishioka
(personal communication) for a complete digestion of iron, excepting what would be geologically bound compounds
It is thought that by microwaving the FA or UFA 24 hours after collection, the leaching of particles might be sped up to result in iron conc similar to the long term storage (Nishioka pers com), but this has not been verified by the IOS lab
Because the FA and UFA analyses were new to IOS, duplicate strongly acidified samples were collected - one set for long term storage, the other for long term and additional microwave as a comparison
| Iron:Filtered:StrongAcid |  | FA | 0.22u filtered, acidified to 1.6, into storage for minimum of 6 months - referred to as Total Dissolved fraction
This fraction tends to be similar to FB
|  |  |  | FA mw | Additional microwave procedure
| Iron:Unfiltered:StrongAcid |  | UFA | unfiltered, acidified to 1.6, then into storage for minimum of 6 months - also known as Total Dissolvable
|  |  |  | UFA mw | Additional microwave procedure
|  |  | UFA-FA | the difference provides leachable particulate, a measure of nonlabile particulate iron
|  |  | FA-FB | the difference reflects the nonlabile dissolved fraction
|  |  | UFA-UFB | the difference reflects the nonlabile fraction
For reference only:
Geotraces Acidified Sample - FG or UFG - samples acidified to <pH2 with 1:1 HCl for at least 12 hours, then brought back up to pH3.2, which is the methodological requirement for analysis of Iron(III) in seawater using the IOS FIA instrument
The Geo (Geotraces) method is a stronger leach of iron than the Buffered Sample Analysis, especially on particulates in sea water.
It is becoming the norm for iron analyses, and therefore IOS has started to incorporate this treatment in its sampling protocol for Line P cruises
IOS protocol for Geotraces samples has been modified somewhat from when first run in 2009:
In 2009: 24 hour treatment, but with strong acid conc: 2.0mL 1:1 HCl per 250mL smp (->pH~1.6) as opposed to the then Geo suggested 0.5mL (->pH~1.9) Abbreviated to FGA and UFGA to reflect the stronger acid conc
In 2010: IOS followed the suggested addition of 0.5mL SS 1:1 HCl per 250mL sample (->pH~1.9) for 24 hour minimum digestion; called FG2010 and UFG2010
In 2011: it was noted that the Geotraces protocol now calls for addition of 1.0 mL of SeaStar 1:1 HCl per 250mL of sample, achieving a pH ~1.8, (min 12 hour digest), and will simply be abbreviated as FG or UFG
| Iron:Filtered:Geotrace |  | FG | 0.22u filtered, acidified to <2 for >12 hours, then pH3.2 for analysis - see below for 2011 modification. FG also referred to D(Fe), or Dissolved Fe
| Iron:Unfiltered:Geotrace |  | UFG | unfiltered, acidified to <2 for >12hours, then pH3.2 for analysis - see below for 2011 modification. UFG is also referred to TD(Fe), or Total Dissolvable Fe
Rough comparison of Treatments:
It is possible that over a 24 hour digest, the Geo results might be similar between the different acid concentrations (ie pH range1.6-1.9), but this has not been tested in our lab.
We have noted that the long term FA and UFA leaches result in greater iron concentration than the short digest of FG and UFG.
In 2009, FB~FGA, sometimes FB>FGA, but inconclusive, as known problems with contamination and calibration issues, however both FB&FGA < FA; UFB < UFGA < UFA
In 2010, FB and FG2000 were quite similar, no real trend observed; UFG2000 also tended to be similar or somewhat greater than UFB. However, for Stn P4 we used FGA, a stronger acid, and FGA was consistently > FB
In 2011, when comparing FB and FG, FG ~ > than FB, and UFG is also greater than UFB particularly in deeper waters; perhaps this trend shows the effect of increasing the amount of acid in the Geo method this year
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
In the eddy program, no filtered samples were collected. Several replicate bottles were collected for the buffered analysis, however these were sampled
as a time line to compare effect of buffering time before analysis. See "Eddy Data" sheet for results.
Sample Analysis:
Samples were analysed onboard using a chemiluminescent reaction with preconcentration according to the method of Obata et al (1993), incorporating
modifications made in Obata et al (1997). Details can be found in Johnson et al (2005)
In general, duplicate runs are taken from one sample bottle. For some depths, duplicate bottles were taken
References: | Johnson, W.K., Miller, L.A., Sutherland, N.E., Wong, C.S., 2005. Iron transport by mesoscale Haida eddies in the Gulf of Alaska. Deep-Sea Research II 52, 933-953
Obata, H., Karatani, H., and E. Nakayama, 1993. Automated determination of iron in seawater by chlating resin concentration and chemiluminescence detection, Anal. Chem., 65, 1524 – 1528
Obata, H., Karatani, H., Matsui, M. and Nakayama, E., 1997. Fundamental studies for chemical speciation of iron in seawater with an improved analytical method. Mar. Chem., 56: 97-106.
Standards and Blanks:
The primary standard was a VWR FeCl3 in dilute HCl sol'n, certified at 1007ppm. From this a secondary 10ppm was prepared, then further diluted to stock solutions of 100 and 10ppb.
Working standards were prepared fresh from these stock solutions to bracket the expected range of samples, using low iron seawater collected from Stn Papa in previous cruises
Blanks for the standards were from the same low iron seawater. This typically has a small (<0.05nM) amount of Fe.
For more on blanks, see separate section below.
QAQC & Reference Standards, Blanks & Comments
Replication Statistics, or Sample Pooled Data Stats:
Pooled variance (sp) is used to report error associated with analyses, whether it be from duplicate analyses within a sample bottle, or between duplicate samples taken from one depth.
The Average Fe reported with the sp is the average of only the data used in calculating sp, and provided for determining relative standard deviation (%RSD).
Samples with high Fe content, >1nmol, the majority of which are unfiltered, tend to be more variable than filtered, possibly due to unequal particulate loading.
|  | Replicate Analysis within a Sample Bottle for analysis onboard, Jun28 and Jul25 at IOS: | [9 empty] | Replicate Analysis of Separate Sample Bottles for analysis onboard:
|  | Overall Cruise: |  |  | Line P: |  |  | Eddy Study: |  |  |  | Overall Cruise: | Time Series, Time 0 to 211 hours
|  | All: | <0.2nmol: |  | All: | <0.2nmol: |  | All: | <0.2nmol:
Pooled Variance (sp): |  | 0.029255 | 0.011007 |  | 0.018173 | 0.0081941 |  | 0.040434 | 0.016235 |  | Avg Stdev: | 0.068611 | 0.12742
Detection Limit: |  |  | 0.033022 |  |  | 0.024582 |  |  | 0.048704
Average Fe: |  | 0.74966 | 0.087731 |  | 0.54637 | 0.068588 |  | 1.051 | 0.1382 |  | Avg Smp: | 0.63798 | 0.93166
Sum d^2: |  | 0.23793 | 0.0096927 |  | 0.054823 | 0.0038943 |  | 0.18311 | 0.0057984
Rsp% |  | 3.9024 | 12.5465 |  | 3.3261 | 11.9468 |  | 3.8472 | 11.7472
n: |  | 139 | 40 |  | 83 | 29 |  | 56 | 11 |  | n: | 5 | 23
In the Eddy study numerous replicate bottles were sampled in order to test long term storage variability. At ED05, 4 bottles were collected at most depths and buffered (UFB1-UFB4), with two extra collected and acidified (UFA).
At 3 depths at ED05, 25, 150 and 600m, an additional set were collected to check time 0 variability: UFB1A, UFB1B, UFB1C plus the other UFB2, UFB3 and UFB4..
Replication stats were run separately for the time series, and reported above. Follow the links to the actual data - these combine Time 0hr, 8hr, 36hr and 211hrs where available.
The average standard deviation is definitely higher for the long term storage bottles. Some of this might likely be from incremental accidental contamination in bottles repeatedly sampled,
particularly for B1 bottles, that were opened initially for analysis. Without B1 bottles, the Avg Stdev drops from 0.13 to 0.10nM
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. In this cruise several sample bottles were filled with a common source of seawater combined from previous analysed filtered samples.
DRS Bottle:
Avg: |  |  | 0.80872
Stdev: |  |  | 0.058351
n: |  |  | 8
|  | Time | Cal 1 | (diff)^2
2000-06-01 | 60s | 1456 | 0.89152
2000-06-02 | 240s | 2223 | 0.7567 | 9.5578e-05
2000-06-04 | 240s | 2008 | 0.71418 | 0.00060934
2000-06-10 | 240s | 1947 | 0.79283
2000-06-18 | 60s | 1700 | 0.85578 | 0.00057591
2000-06-20 | 60s | 0036 | 1.0189 | 2.6966e-05 |  |  | follows DmQ out ->new wash on, ? If column had been dry; treated as outlier
2000-06-20 | 60s | 2103 | 0.78143 | 3.099e-05
2000-06-21 | 60s | 2311 | 0.85155 | 0.00018069 |  |  | previous one, just before these two was 1.02, ff column out DmQ dry
2000-07-25 | 60s | 1417 | 0.82573
Intercalibration Standards
Intercalibration standards were not available, and thus not reported
Summary of Buffered Sea Water Blanks Used in Calibration and Determining Zero, and Detection Limits
Blanks:
Calibrations are run using standard additions of Fe to a volume of filtered low iron seawater collected from OSPapa, 050N 145W, or that general vicinity
This seawater source, without the additions, is sometimes referred to as BSW - Buffered SeaWater - and forms the 0 point or blank for the calibration standards
However, because there is invariably some iron in this water, it is necessary to correct samples to a zero iron or instrument blank.
In this cruise, low iron seawater was run through the resin column and collected for use as zero water. It is referred to as "rc0" or resin-cleaned zero water, and its response is subtracted from samples for the instrument correction.
The zero blank for sample correction is actually the concentration of the low iron seawater, and thus varies with the seawater batches used in calibration.
Following is a list of blanks used in calibration, but calculated with the rc0 to determine actual iron of the BSW used this cruise
Please see discussion of Determining Detection Limit in a section below this one
Data Statistics for rc0 and Standards 0 . Note that Std 0 reflects the concentration of the low iron seawater used for std addition.
Low iron seawater used varied from 0.02 to 0.12 nmol, and was dependent on seawater source.
| Date | Standard rc0: |  |  | Standard 0(LowFeSW): |  |  |  | Because the different batches of seawater used
|  | Time | Fe(III) |  | Time | Fe(III) |  |  | for Standard Stock were quite different, it
was better to take the average stdev of all the
Average: |  |  | 0.0026121 |  |  | 0.045202 |  |  | individual batches for determining D.L.
Stdev: |  |  | 0.0083315 |  |  | 0.033677 |  |  | 0.01237 | =Avg Stdev of Std&Stock batches
DL: |  |  | 0.024995 |  |  | 0.10103 |  |  | 0.037109 | =DL
Count: |  |  | 21 |  |  | 29 |  |  | 4 | =n
%RSD: |  |  | 318.9544 |  |  | 74.5035
Indiv Stock
Batches:
Avg
Stdev
n
|  |  | rc0 |  |  | 0
240s: | 2000-06-02 | 1856 | 0.0043839 |  | 1837 | 0.023578 | 0.024421 | [5 empty] | fresh stock BSW
|  | 1915 | 0.0035208 |  |  |  | 0.0058779
| 2000-06-04 | 1622 | 0.0014633 |  | 1526 | 0.018665 | 14
|  | 1641 | 0.0008289 |  | 1545 | 0.018327
[5 empty] | 1604 | 0.02377
| 2000-06-05 |  |  |  | 228 | 0.034527
[5 empty] | 246 | 0.027503
[5 empty] | 854 | 0.035381
| 2000-06-06 | 1658 | 0.0011986 |  | 1620 | 0.022151 | [6 empty] | refilled from same stock
|  | 1717 | 0.00028345 |  | 1639 | 0.019372
| 2000-06-10 | 1638 | 0.0014593 |  | 1619 | 0.025316
|  | 1657 | 0
| 2000-06-11 | 1743 | 0.0030968 |  | 908 | 0.025014
|  | 1802 | 0.00074842 |  | 927 | 0.021762
| 11-12 Jun-00 |  |  |  | 2328 | 0.01604
120s: | 2000-06-09 | 1209 | 0 |  | 1226 | 0.030492
60s -Eddy Survey | 2000-06-18 |  |  |  | 1058 | 0.093351 | 0.11666 | [5 empty] | new stock
[5 empty] | 1113 | 0.09971 | 0.023392
[5 empty] | 2217 | 0.13653 | 4
[5 empty] | 2233 | 0.13706
| 2000-06-19 | 1310 | -0.013147 |  | 1239 | 0.042567 | 0.05164 | [5 empty] | more stock
|  | 1326 | 0.032244 |  | 1254 | 0.049014 | 0.01323
| 2000-06-20 | 1913 | 0.00067775 |  | 1826 | 0.04245 | 9
|  | 1929 | -0.0006791 |  | 1842 | 0.042634
| 20-21 Jun-00 |  |  |  | 730 | 0.050488
[5 empty] | 746 | 0.073925
[5 empty] | 802 | 0.074691
| 2000-06-21 | 2003 | 0.0037106 |  | 1916 | 0.041839
|  | 2018 | 0.015096 |  | 1931 | 0.047149
at IOS: | 2000-06-28 | 1010 | 0.00372 |  | 954 | 0.022271 | 0.018782 | [5 empty] | more stock
|  | 1025 | -0.0037501 |  |  |  | 0.0069789
at IOS: | 2000-07-25 | 1212 | -0.00042462 |  | 1156 | 0.015292 | 2
|  | 1227 | 0.00042422
Determining Detection Limit (D.L.):
The detection limit can be determined as 3 x Stdev of the Average Blank FeIII concentration, depending on whether the stock batches used are the same, and have low iron content(<0.1nM).
The standard deviation of the blanks can be used instead to determine DL : in this case, for rc0 (resin cleaned water) DL~0.01nM; for Seawater calibration stock, DL~0.04nM
However, as there were numerous very low seawater samples, the DL can also be determined using 3* SP for all samples <0.2nM:
Using the data for this cruise, DL is ~0.03nM
| Avg: | 0.087731
| n: | 40
| sp: | 0.011007
| DL: | 0.033022
Overall Detection Limit ~0.01-0.04nM

## MetadataPostCruiseAcidSmp
Metadata for Iron III Acidifed Samples Collected on Cruise 2000-10 | [11 empty] | For Graphing:
Cruise: |  |  | 2000-10
Ship |  |  | CCGS John P Tully
Dates |  |  | May29 - June26, 2000
Chief Scientist |  |  | Leg1 (Line P): Marie Robert, Leg2 (Eddy): Frank Whitney
Iron Analyst | IOS: |  | Nes Sutherland(Legs1&2) & Keith Johnson(Leg1)
Sample Treatment- See Metadata Cruise Sheet for details
In this cruise, filtered and unfiltered buffered samples (FB & UFB), and Strongly Acidified Filtered and Unfiltered (FA & UFA) were collected.
In the eddy program, no filtered samples were collected. Several replicate bottles were collected for the buffered analysis, however these were sampled
as a time line to compare effect of buffering time before analysis. See "Eddy Data" sheet for results.
Sample Analysis:
See Metadata Cruise Sheet for details
Some Acidified Samples were separated into microwaved and unmicrowaved samples. The acidified microwaved samples, in their LDPE bottles, were brought to near boiling and held for 8 minutes at that temperature, then allowed to cool.
Both acidified and microwaved acidified were brought up to pH3.2 for analysis by addition of ammonium formate buffer, and conc NH4OH.
Standards and Blanks:
See Metadata Cruise Sheet for details
QAQC & Reference Standards, Blanks & Comments
2000-10 ED05 UFA & UFAmw samples - microwaved 17Jan 2001, analysed 18-20January 2001, aged 7 months:
2000-10 ED01 10-100m UFA & UFAmw samples, and ED03 10-75m UFM samples - microwaved 17Jan 2001 and 13Sep2001 respectively, analysed 22Feb-3Mar 2002, (Cruise 2002-02), aged ~21 months:
2000-10 ED01 100-600m UFA & UFAmw samples, and ED03 100-600m UFM samples - microwaved 17Jan 2001 and 13Sep2001 respectively, analysed 23Sep 2002(Cruise 2002-30), aged ~27 months:
18-20Jan2001 Analysis:
Replication Statistics, or Sample Pooled Data Stats:
See Metadata Cruise Sheet for details |  | All: | <0.2nmol:
Pooled Variance (sp): |  | 0.054214 | 0.01212
Detection Limit: |  |  | 0.03636
Average Fe: |  | 1.6618 | 0.16172
Sum d^2: |  | 0.094054 | 0.00058759
Rsp% |  | 3.2624 | 7.4946
n: |  | 16 | 2
Daily Reference Standards (DRS)
DRSs were not run
Blanks:
See Metadata Cruise Sheet for details
Different Batches of Stock Std Sw were used, thus reporting the average of the stdev of the separate batches, and the D.L. from that calc
Standard 0(LowFeSW):
IndivBatches
Average Stdev of batches: |  | 0.001698
DL: |  | 0.005094
Count: |  | 3
22Feb-3Mar2002 Analysis Cruise 2002-02:
Replication Statistics, or Sample Pooled Data Stats:
|  |  | All samples: |  |  | <0.2nmol (for sample D.L.):
Pooled Variance (sp): |  |  | 0.024991 |  |  | 0.0094689
Detection Limit: | [5 empty] | 0.028407
Average Fe: |  |  | 0.74096 |  |  | 0.13604
Sum d^2: |  |  | 0.097427 |  |  | 0.0021519
Rsp% |  |  | 3.3727 |  |  | 6.9603
n: |  |  | 78 |  |  | 12
Daily Reference Standards (DRS)
DRSs are run frequently to check on instrument performance and drift. DRS was prepared in the lab, 18 - 20 Feb 2002, by spiking 21 L of filtered buffered seawater with ~ 0.55nM Fe (6.5mL of 100ppb Fe).
After sitting for a day, 20 x 250mL bottles were drawn and numbered sequentially, then bagged for storage.
Indiv Btl
Average : |  |  |  | 0.51323
Stdev: |  |  |  | 0.02758
%RSD: |  |  |  | 5.3737
n: |  |  |  | 6
Blanks: |  |  | D.L ~ 0.01-0.03 nM Fe
See Metadata Cruise Sheet for details
|  | rc0 |  | Standard 0(LowFeSW): |  |  | Because the different batches of seawater used
Average: |  | 0.01559 |  | 0.0033275 |  |  | for Standard Stock were quite different, it
Stdev: |  | 0.0097124 |  | 0.0018297 | =Avg Stdev of Std&Stock batches |  | was better to take the average stdev of all the
DL: |  | 0.0090944 |  | 0.005489 | =DL |  | individual batches for determining D.L.
n: |  | 5 |  | 7 | =n
23Sept2002 analysis (during Cruise 2002-30):
Replication Statistics, or Sample Pooled Data Stats: |  |  |  | Replicate Analysis within a Sample Bottle |  |  |  | Replicate samples: | Comparison of MW vs nonMW (microwave)
See Metadata Cruise Sheet for details |  |  |  | All |  | <0.2nM | >2nM
Pooled Variance (sp): |  |  |  | 0.062277 |  | 0.0064083 | 0.15552 | 0.02674 |  | (FAmw-FA) | (UFAmw-UFA)
Detection Limit: | [5 empty] | 0.019225
Average Fe: |  |  |  | 1.3025 |  | 0.12948 | 5.6137 | 0.41102 | Average Difference (nM): | 0.104 | 0.063731
Sum d^2: |  |  |  | 1.3031 |  | 0.0032853 | 1.1609 | 0.01287 | Stdev of Diff (nM): | 0.11614 | 0.29328
Rsp% |  |  |  | 4.7815 |  | 4.9491 | 2.7703 | 6.5057 | n: | 0 | 0
n: |  |  |  | 168 |  | 40 | 24 | 9
Daily Reference Standards (DRS)
DRSs are run to check on instrument performance and drift. Two DRS's were used in this data set, DRS A & B
DRS A was prepared in the lab, 18 - 20 Feb 2002, by spiking 21 L of filtered buffered seawater with ~ 0.55nM Fe (6.5mL of 100ppb Fe), then bottled and numbered sequentially.
DRS B was prepared to contain higher iron content than DRS A: used remnants of Feb02 and of old buffered, filtered analysed samples. Mixed all, added SS HCl to bring pH down to 1.7, let sit to equilibrate, then bottled into 20 x 250mL bottles.
|  |  |  | DRS A |  | DRS B
Average all replicates: |  |  |  | 0.564 |  | 1.7715
Stdev: |  |  |  | 0.14799 |  | 0.057309
%RSD: |  |  |  | 26.2393 |  | 3.2352
n: |  |  |  | 2 |  | 2
DRSs were not run
Blanks: |  |  | D.L ~ 0.02-0.03 nM Fe
See Metadata Cruise Sheet for details
|  | rc0 |  | Standard 0(LowFeSW):
Average: |  | 0.0071705 |  | 0.035386
Stdev: |  | 0.0091016 |  | 0.010009
DL: |  | 0.027305 |  | 0.030028
n: |  | 16 |  | 32

## ED01&Time
3 hrs
3.8 days
9.6 days

## LineP Data
|  |  | FB0.22u: |  | UFB: |  |  | ALL: | ALL <0.2: |  |  | Separate Btl:
Pooled Variance (sp): |  |  | 0.015394 |  | 0.020225 |  |  | 0.018173 | 0.0081941 |  |  |  | although could be more a comparison of buffer time
Detection Limit: |  |  | 0.046182 |  | 0.060674 |  |  | 0.054519 | 0.024582
Average Fe: |  |  | 0.43488 |  | 0.64052 |  |  | 0.54637 | 0.068588 |  |  | 0.1998
Sum d^2: |  |  | 0.01801 |  | 0.036813 |  |  | 0.054823 | 0.0038943 |  | Avg Diff: | 0.075008
Rsp% |  |  | 3.5399 |  | 3.1575 |  |  | 3.3261 | 11.9468
n: |  |  | 38 |  | 45 |  |  | 83 | 29 | PDT |  | 2
|  | FB0.22u | d^2 | UFB | d^2 | Sampler | Order | Salinity | Filter Type | Time Coll | Time F+B | TimeUFAnal | ~hrs UFbuff | Notes
P4-60s | 0 | 0.17175 |  | 0.54828 | 1.151e-05 | Zodiac | 1 |  | CR Dur | 31M 1830 | 31M 2000 | 2J 0100 | 29 | ?if 0.17 was 0.22u or UF | 0
| 10 | 0.2542 |  | 0.63159 | 0.0016739 | Pump | 3A |  | 90mmDur | 31M 2000 | ~31M 2100 | 2J 0200 | 29 | why 0.22u <UF when 25+40m contam, +10m filtered first? | 10
| 25 | 0.98712 | 4.4374e-06 | 0.28939 | 0.0083293 | Pump | 3B |  | 90mmDur | 31M 2130 | ~31M 2200 | 2J 0200 | 28 |  | 25
| 40 | 0.14749 |  | 0.09691 | 2.3381e-05 | Pump | 3C |  | 90mmDur | 31M~2200 | ~31M 2300 | 1J 2200 | 23 |  | 40
| 75 | 0.13593 | 0.0022319 | 0.41343 | 1.0974e-05 | GF#5 10L | 4 | 32.6839 | CR Dur | 31M 2322 | ~1J 0000 | 1J 2300 | 23 |  | 75
| 100 | 0.6598 |  | 2.3571 | 0.00043821 | GF#? 10L | 2 |  | CR Dur | 31M 1929 | ~1J 0100 | 1J 2300 | 22 |  | 100
| 217 | 1.5731 | 4.2702e-05 | 3.2768 | 0.0023538 | GF#6 10L | 5 | 33.9539 | CR Dur | 31M 2344 | ~1J 0200 | 2J 0000 | 22 |  | 217
| 305 | 1.5378 | 0.0002161 | 3.0776 | 0.0032588 | GF#5 10L | 6 | 33.9636 | CR Dur | 1J 0006 | ~1J 0300 | 2J 0000 | 21 |  | 305
| 400 | 1.7023 |  | 2.8491 | 0.0012477 | GF#6 10L | 7 | 34.0336 | CR Dur | 1J 0031 | ~1J 0400 | 2J 0100 | 21 |  | 400
| 600 | 2.179 |  | 3.0659 | 0.0021241 | GF#6 10L | 8-1 | 34.153 | CR Dur | 1J 0117 | ~1J 0500 | 2J 0300 | 22 |  | 600
| 800 | [7 empty] | CR Dur | [5 empty] | 800
| 990 | 1.8425 |  | 3.3604 |  | GF#5 10L | 8-2 | 34.3894 | CR Dur | 1J 0117 | ~1J 0600 | 2J 0400 | 22 |  | 990
Bat P5-P6
[17 empty] | June | UTC
Bat#1 |  | 0.72474 | 0.0022624 | 0.73481 | 0.0048782 | Bat/Pump | 1 |  | 90mmDur | 1J 1650 | ~1J 2000 | 3J 0400 | 32 | 127.17 W |  | P5 | 01 | 2133 | 48 41.46 |  | 127 10.05
Bat#2 |  | 0.79756 | 2.2616e-06 |  |  | Bat/Pump | 2 |  | 90mmDur | 1J 1720 | ~1J 2000 | 3J 0000F | 28 | 127.24W |  | P6 | 02 | 0202 | 48 44.78 |  | 127 39.83
Bat#3 |  | 1.1084 | 0.0019837 |  |  | Bat/Pump | 3 |  | 90mmDur | 1J 1820 | ~1J 2000 | 3J 0100F | 29 | 127.37 W
P6 | 0 | 0.17481 |  | 0.8469 |  | Zodiac | 4 |  | CR Dur | 1J 1830 | ~1J 2000 | 3J 0500 | 33 | 127.40 W | 0
P12 | 0 | 0.033549 |  | 0.048926 |  | Zodiac | 1 |  | CR Dur | 2J 1400 | ~2J 1900 | 3J 0500 | 10 | P12 #1A used, #1B had sig lower slope -? | 0
| 10 | 0.03887 | 0.00011798 | 0.075915 |  | Pump | 2C |  | 0.22uOpti | 2J 1700 | ~2J 1900 | 3J 0600 | 11 |  | 10
| 25 | 0.066513 | 3.8938e-05 | 0.076493 |  | Pump | 2B |  | 0.22uOpti | 2J 1700 | ~2J 1900 | 3J 0600 | 11 |  | 25
| 40 | 0.12483 |  | 0.24179 |  | Pump | 2A |  | 0.22uOpti | 2J 1800 | ~2J 1900 | 3J 0600 | 11 |  | 40
| 75 | 0.026553 |  | 0.11742 |  | Wilma | 6-1 | 32.6667 | 0.22uOpti | 3J 0200 | ~3J 0300 | 3J 0700 | 4 |  | 75
| 100 | 0.054248 |  | 0.090808 |  | Wilbur | 6-2 | 32.8701 | 0.22uOpti | 3J 0200 | ~3J 0300 | 3J 0700 | 4 |  | 100
| 200 | 0.4188 | 0.00023082 | 0.62524 | 0.00091797 | Wilma | 3-1 | 33.9428 | 0.22uOpti | 2J 2100 | ~3J 0000 | 3J 2000 | 20 |  | 200
| 300 | 0.45236 | 2.8192e-05 | 0.50874 | 2.8211e-05 | Wilbur | 4-1 | 33.94 | 0.22uOpti | 2J 2300 | ~3J 0000 | 3J 1800 | 18 |  | 300
| 400 | 0.47267 | 1.3168e-07 | 0.46692 | 0.00030636 | Wilbur | 3-2 | 33.9619 | 0.22uOpti | 2J 2100 | ~3J 0000 | 3J 1700 | 17 |  | 400
| 600 | 0.59549 | 0.00012471 | 0.7084 | 1.4059e-05 | Wilma | 4-2 | 34.1482 | 0.22uOpti | 2J 2300 | ~3J 0000 | 3J 1500 | 15 |  | 600
| 800 | 0.73271 |  | 0.83517 | 0.00091461 | Wilma | 5-1 | 34.2675 | 0.22uOpti | 3J 0100 | ~3J 0300 | 3J 1300 | 10 |  | 800
| 1000 | 0.81726 | 4.44e-05 | 1.025 |  | Wilbur | 5-2 | 34.3589 | 0.22uOpti | 3J 0100 | ~3J 0300 | 3J 1200 | 9 |  | 1000
P16 Bat
Bat #1 |  |  |  | 0.065777 | 0.00024639 | Bat/Pump | 1 |  |  | 4J 0800 | ~4J 1100 | 4J 2100 | 10 |  |  | P15 | 1013 | 49 | 12.01 | 133 | 40.052
Bat #2 |  |  |  | 0.049415 |  | Bat/Pump | 2 |  |  | 4J 0830 | ~4J 1100 | 4J 2100 | 10 |  |  | P16 | 1854 | 49 | 17.073 | 134 | 40.174
Bat #3 |  |  |  | 0.054901 |  | Bat/Pump | 3 |  |  | 4J 0900 | ~4J 1100 | 4J 2200 | 11
Bat #4 |  |  |  | 0.054017 |  | Bat/Pump | 4 |  |  | 4J 0930 | ~4J 1100 | 4J 2200 | 11
Bat #5 |  |  |  | 0.052304 |  | Bat/Pump | 5 |  |  | 4J 1030 | ~4J 1100 | 4J 2300 | 12
P16 | 0 | 0.056547 |  | 0.033284 |  | Zodiac | 1 |  | CR Dur | 4J 1130 | ~4J 1600 | 4J 2300 | 7 | P16 #1 | 0
| 10 | 0.015612 |  | 0.032233 |  | Pump | 2C |  | 0.22uOpti | 4J 1930 | ~4J 2000 | 5J 0000 | 4 |  | 10
| 25 | 0.024799 |  | 0.026097 |  | Pump | 2B |  | 0.22uOpti | 4J 1910 | ~4J 2000 | 5J 0100 | 5 |  | 25
| 40 | 0.018951 | 1.0492e-06 | 0.028573 |  | Pump | 2A |  | 0.22uOpti | 4J 1850 | ~4J 2000 | 5J 0200 | 6 |  | 40
| 75 | 0.034228 |  | 0.060601 | 1.963e-08 | Wilma | 6 | 32.6677 | 0.22uOpti | 5J 0100 | ~5J 0300 | 5J 0500 | 2 |  | 75
| 100 | 0.10985 |  | 0.22091 | 0.00034109 | Wilma | 3-1 | 33.2787 | 0.22uOpti | 4J 2200 | ~5J 0000 | 5J 0600 | 6 |  | 100
| 200 | 0.2959 | 0.00023633 | 0.35601 |  | Wilbur | 7 | 33.922 | 0.22uOpti | 5J 0200 | ~5J 0300 | 5J 0700 | 4 |  | 200
| 300 | 0.51512 |  | 0.55596 | 0.001173 | Wilbur | 3-2 | 33.9519 | 0.22uOpti | 4J 2200 | ~5J 0000 | 5J 1200 | 12 | P16 #2 | 300
| 400 | 0.38062 | 9.2158e-05 | 0.56619 |  | Wilbur | 4-1 | 34.004 | 0.22uOpti | 4J 2300 | ~5J 0000 | 5J 1300 | 13 |  | 400
| 600 | 0.56969 |  | 0.70311 | 0.0012065 | Wilma | 4-2 | 34.1863 | 0.22uOpti | 4J 2300 | ~5J 0000 | 5J 1400 | 14 |  | 600
| 800 | 0.57985 | 0.00076264 | 0.7293 |  | Wilma | 5-1 | 34.2906 | 0.22uOpti | 5J 0000 | ~5J 0300 | 5J 1600 | 13 |  | 800
| 1000 | 0.63355 | 0.00039136 | 0.75899 | 0.00054153 | Wilbur | 5-2 | 34.3709 | 0.22uOpti | 5J 0000 | ~5J 0300 | 5J 1700 | 14 |  | 1000
P20 | 0 | 0.037149 |  | 0.036131 |  | Zodiac | 1 |  | CR Dur | 6J 0800 | ~6J 1100 | 6J 2200 | 11 |  | 0
| 10 | 0.022514 | 7.2824e-06 | 0.039092 | 2.6582e-05 | Pump | 2C |  | 0.22uOpti | 6J 0915 | ~6J 1100 | 6J 2200 | 11 |  | 10
| 25 | 0.024466 | 7.575e-05 | 0.038441 | 7.1762e-05 | Pump | 2B |  | 0.22uOpti | 6J 0900 | ~6J 1100 | 6J 2300 | 12 |  | 25
| 40 | 0.079047 | 0.00015567 | 0.058274 | 2.4336e-05 | Pump | 2A |  | 0.22uOpti | 6J 0845 | ~6J 1100 | 6J 2300 | 12 |  | 40
| 75 | 0.014657 | 2.5746e-05 | 0.038899 | 0.00012996 | Wilma | 6 | 32.6608 | 0.22uOpti | 6J 1700 | ~6J 1800 | 7J 0100 | 7 |  | 75
| 100 | 0.027428 | 4.6479e-05 | 0.054112 |  | Wilbur | 7 | 32.6928 | 0.22uOpti | 6J 1730 | ~6J 1800 | 7J 0200 | 8 |  | 100
| 200 | 0.16683 | 7.4964e-05 | 0.26356 | 1.3782e-05 | Wilbur | 3-1 | 33.885 | 0.22uOpti | 6J 1400 | ~6J 1600 | 7J 0400 | 12 | buff early | 200
|  | 0.21104 | 1.6782e-06 | 0.15775 | 3.6329e-06 |  |  |  |  | " | 7J 0420 | 7J 0440 | 0.3 | buf @ analysis
| 200avg | 0.18894 | 0.044209 | 0.21066 | 0.10581
| 300 | 0.27912 | 0.0010876 | 0.47525 |  | Wilma | 4-1 | 33.9383 | 0.22uOpti | 6J 1500 | ~6J 1600 | 7J 0600 | 14 |  | 300
| 400 | 0.26327 | 9.6688e-05 | 0.35761 | 4.9278e-05 | Wilma | 3-2 | 33.9895 | 0.22uOpti | 6J 1400 | ~6J 1600 | 7J 0700 | 15 |  | 400
| 600 | 0.40646 | 0.0022366 | 0.44458 | 0.00072292 | Wilbur | 4-2 | 34.1523 | 0.22uOpti | 6J 1500 | ~6J 1600 | 7J 0900 | 17 |  | 600
| 800 | 0.37534 | 0.00035645 | 0.49519 | 0.00059752 | Wilbur | 5-1 | 34.2716 | 0.22uOpti | 6J 1600 | ~6J 1800 | 7J 1000 | 16 |  | 800
| 1000 | 0.48088 |  | 0.61654 |  | Wilma | 5-2 | 34.3544 | 0.22uOpti | 6J 1600 | ~6J 1800 | 7J 1200 | 18 |  | 1000
Rock Exp | 10B |  |  | 0.52079 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1300 | 18 |  | 10B
| 2B |  |  | 0.1486 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1400 | 19 |  | 2B
| 10P |  |  | 0.064631 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1400 | 19 |  | 10P
| 2P |  |  | 0.11922 | 0.00036287 |  |  |  |  | 8J 1800 | ~8J 1900 | 9J 1700 | 22 |  | 2P
| 2S |  |  | 1.4974 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1600 | 21 |  | 2S
| 10S |  |  | 0.076211 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1300 | 18 |  | 10S
| 2D |  |  | 0.61568 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1700 | 22 |  | 2D
| 10DAP |  |  | 0.042013 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1500 | 20 |  | 10DAP
| 10DAS |  |  | 0.061567 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1400 | 19 |  | 10DAS
| 20DAP |  |  | 0.037979 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1500 | 20 |  | 20DAP
| 20D |  |  | 0.42391 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1500 | 20 |  | 20D
| 20DAS |  |  | 0.98207 | [5 empty] | 8J 1800 | ~8J 1900 | 9J 1300 | 18 |  | 20DAS
P26 | 0 | 0.016954 | 1.8015e-05 | 0.029022 |  | Zodiac | 8 |  | CR Dur | 11J 1000 | ~11J 1800 | 11J 1900 | 1 | Cal Comment - can interpret a high curve, as for P20 earlier, or the regular curve, as for most other samples. Based on DRS and | 0
| 10 | 0.014726 | 6.8253e-08 | 0.046132 | 3.153e-05 | Pump | 7C |  | 0.22uOpti2 | 10J 2130 | ~10J 2200 | 11J 1500 | 17 | the overlapped 240s/120s of Rock 10B, looks better to take regular curve. | 10
| 25 | 0.0072828 |  | 0.053984 | 3.6161e-07 | Pump | 7B |  | 0.22uOpti2 | 10J 2100 | ~10J 2200 | 11J 1600 | 18 |  | 25
| 40 | 0.018712 |  | 0.051753 | 2.3845e-06 | Pump | 7A |  | 0.22uOpti2 | 10J 2030 | ~10J 2200 | 11J 1200 | 14 |  | 40
| 75 | 0.0356 |  | 0.15986 | 4.7591e-07 | Wilbur | 6 | 32.7261 | 0.22uOpti2 | 10J 1930 | 10J 2100 | 11J 1300 | 17 |  | 75
| 100 | 0.035149 | 0.00011117 | 0.38171 | 0.00017849 | Wilma | 5 | 32.7567 | 0.22uOpti2 | 10J 1915 | 10J 2100 | 11J 0500 | 8 |  | 100
| 200 | 0.2887 | 0.00039483 | 0.3841 | 0.0032152 | Wilbur | 4 | 33.8038 | 0.22uOpti2 | 10J 1900 | 10J 2100 | 11J 0300 | 6 |  | 200
| 300 | 1.2485 | 0.0037823 | 0.56537 | 5.549e-05 | Wilma | 1-1 | 33.907 | 0.22uOpti | 9J 1000 | ~9J 1400 | 10J 2100 | 31 | bad wire angle | 300
| 400 | 0.39567 | 8.1994e-05 | 0.58757 | 0.00070094 | Wilma | 3 | 34.0507 | 0.22uOpti2 | 10J 1800 | 10J 2100 | 10J 2200 | 1 |  | 400
|  | 0.38002 |  | 0.72112 | [7 empty] | 11J 0800 | 11 | could also be contam | 400
| 600 | 0.50975 |  | 0.65702 | 0.00013943 | Wilbur | 1-2 | 34.2063 | 0.22uOpti | 9J 1000 | ~9J 1400 | 10J 2300 | 33 | bad wire angle | 600
| 800 | 0.36878 | 0.00019874 | 0.60216 | 0.0001568 | Wilbur | 2-1 |  | 0.22uOpti | 9J 1300 | ~9J 1400 | 11J 0100 | 35 |  | 800
| 1000 | 0.65118 | 0.00044559 | 0.80787 |  | Wilma | 2-2 | 34.3885 | 0.22uOpti | 9J 1300 | ~9J 1400 | 1J 0200 | 36 |  | 1000
Rock Traverse Bat Series | [8 empty] | UTZ
#1 |  |  |  | 0.27436 |  |  |  |  | 2000 | 11J 1300 | ~11J 1800 | 11J 2000 | 2 |  |  | ~50 10 | ~144 45
#2 |  |  |  | 0.089677 | 2.0738e-05 |  |  |  | 2015 | 11J 1315 | ~11J 1800 | 11J 2000 | 2
#3 |  |  |  | 0.04321 |  |  |  |  | 2030 | 11J 1330 | ~11J 1800 | 11J 2000 | 2
#4 |  |  |  | 0.013336 |  |  |  |  | 2045 | 11J 1345 | ~11J 1800 | 11J 2100 | 3
#5 |  |  |  | 0.040274 |  |  |  |  | 2100 | 11J 1400 | ~11J 1800 | 11J 2100 | 3
#6 |  |  |  | 0.031919 |  |  |  |  | 2115 | 11J 1415 | ~11J 1800 | 11J 2200 | 4
#7 |  |  |  | 0.027878 |  |  |  |  | 2130 | 11J 1430 | ~11J 1800 | 11J 2200 | 4
#8 |  |  |  | 0.040999 |  |  |  |  | 2145 | 11J 1445 | ~11J 1800 | 11J 2200 | 4
#9 |  |  |  | 0.046849 |  |  |  |  | 2200 | 11J 1500 | ~11J 1800 | 11J 2200 | 4 |  | 2355 | 50 | 16.192 | 144 | 20.604
QC Bat Series | [8 empty] | UTZ | [6 empty] | UTZ
#1 |  |  |  | 0.028115 |  |  |  |  | 1500 | 14J 0800 | 14J 0840 | 14J 0940 | 1 | Loop 17 | 14 | 1500 | 50 | 59.79 | 130 | 15.555
#2 |  |  |  | 0.023189 |  |  |  |  | 1515 | 14J 0815 | 14J 0840 | 14J 1000 | 1.5 | shelf stn
#3 |  |  |  | 0.0175 |  |  |  |  | 1530 | 14J 0830 | 14J 0840 | 14J 1020 | 1.5 | Loop 18
#4 |  |  |  | 0.039604 | 4.3162e-05 |  |  |  | 1545 | 14J 0845 | ~14J 0945 | 14J 1040 | 1
#5 |  |  |  | 0.03328 |  |  |  |  | 1600 | 14J 0900 | ~14J 0945 | 14J 1100 | 1
#6 |  |  |  | 0.04529 |  |  |  |  | 1615 | 14J 0915 | ~14J 0945 | 14J 1130 | 1.5
#7 |  |  |  | 0.035941 |  |  |  |  | 1630 | 14J 0930 | ~14J 1015 | 14J 1150 | 1.5
#8 |  |  |  | 0.079865 |  |  |  |  | 1645 | 14J 0945 | ~14J 1015 | 14J 1210 | 1.5 |  | 14 | 1712 | 51 | 00.097 | 129 | 55.016
#9 |  |  |  | 0.12681 |  |  |  |  | 1835 | 14J 1135 | ~14J 1300 | 14J 1420 | 1.5 | shelf stn | 14 | 1730 | Lat: 51:00.097N Long: 129:55.016W Cast No:57
#10 |  |  |  | 0.2402 |  |  |  |  | 1850 | 14J 1150 | ~14J 1300 | 14J 1440 | 1.5
#11 |  |  |  | 0.23769 |  |  |  |  | 1905 | 14J 1205 | ~14J 1300 | 14J 1500 | 2
#12 |  |  |  | 0.26183 |  |  |  |  | 1925 | 14J 1225 | ~14J 1300 | 14J 1520 | 2.5
#13 |  |  |  | 0.34093 | 0.00022567 |  |  |  | 1945 | 14J 1245 | ~14J 1430 | 14J 1600,1750 | 1.5,3.5
#14 |  |  |  | 0.21574 |  |  |  |  | 2005 | 14J 1305 | ~14J 1430 | 14J 1730 | 3
#15 |  |  |  | 0.20722 |  |  |  |  | 2025 | 14J 1325 | ~14J 1430 | 14J 1640 | 2
#16 |  |  |  | 0.30222 |  |  |  |  | 2045 | 14J 1345 | ~14J 1430 | 14J 1700 | 2.5
#17 |  |  |  | 0.31732 |  |  |  |  | 2105 | 14J 1405 | ~14J 1430 | 14J 1715 | 2.5
[15 empty] | 14 | 2300 | 51 | 18.146 | 129 | 00.557
Note on C93: new Opti filter
Note on C94: new Opti filter
Note on C95: new Opti filter
Note on C102: potentially still contaminated

## Eddy Data
Summary of Eddy Stations; Effect of Time on Analysis of Buffered Samples
|  |  | ALL Eddy |  | Eddy <1nM |  | Eddy <0.2nM |  | HE05 Triplicates:
2000-10 |  | sum(d)^2: | 0.18311 |  | 0.023504 |  | 0.0057984 |  | Avg Stdev: | 0.064346
Time 0: |  | n: | 56 |  | 25 |  | 11 |  | Avg Smp: | 0.9301
|  | sp: | 0.040434 |  | 0.021681 |  | 0.016235 |  | n: | 3
|  | Avg: | 1.051 |  | 0.37532 |  | 0.1382
| ED 01 | [7 empty] | ED 03 | [7 empty] | ED 05
Depth | Fe(III) | ABS(Diff) | ^2 |  | Salinity |  |  | Depth | Fe(III) | ABS(Diff) | ^2 |  | Salinity |  |  | Depth | Fe(III) | ABS(Diff) | ^2 |  | Salinity | Time | Avg | Stdev |  |  | Depth
(m) | (nmol) | [6 empty] | (m) | (nmol) | [6 empty] | (m) | (nmol) | [9 empty] | (m)
10 | 0.25464 | 0.029589 | 0.00087552 | B1 | 32.4021 |  |  | 10 | 0.20033 | 0.0015195 | 2.3089e-06 | B1 | 32.4218 |  |  | 10 | 0.1592 | 0.055167 | 0.0030433 | B1 | 32.266 |  | 0.1592 |  |  |  | 10
25 | 0.20094 | 0.00059141 | 3.4977e-07 | B1 | 32.4264 |  |  | 25 | 0.1589 |  |  | B1 | 32.4269 |  |  | 25 | 0.08666 | 0.00023475 | 5.5109e-08 | B1a | 32.2674 |  | 0.078025 | 0.010167 |  |  | 25
[17 empty] | 0.080595 | 0.010512 | 0.0001105 | B1b | [6 empty] | 25
[17 empty] | 0.066819 | 0.0025615 | 6.5613e-06 | B1c | [6 empty] | 25
50 | 0.32225 | 0.052083 | 0.0027127 | B1 | 32.574 |  |  | 50 | 0.18168 | 0.033314 | 0.0011098 | B1 | 32.4642 |  |  | 50 | 0.13881 | 0.026072 | 0.00067975 | B1 | 32.2991 |  | 0.13881 |  |  |  | 50
75 | 0.71863 | 0.081041 | 0.0065677 | B1 | 32.7405 |  |  | 75 | 0.31708 |  |  | B1 | 32.5475 |  |  | 75 | 0.33093 |  |  | B1 | 32.4346 |  | 0.33093 |  |  |  | 75
100 | 1.3372 | 0.060477 | 0.0036575 | B1 | 33.3909 |  |  | 100 | 0.51566 | 0.0135 | 0.00018224 | B1 | 32.7315 |  |  | 100 | 0.71021 | 0.0010977 | 1.2049e-06 | B1 | 32.5917 |  | 0.71021 |  |  |  | 100
150 | 1.3352 | 0.074108 | 0.0054921 | B1 | 33.8194 |  |  | 150 | 1.3077 | 0.012293 | 0.00015113 | B1 | 33.4885 |  |  | 150 | 1.3171 | 0.13577 | 0.018432 | B1a | 33.1591 |  | 1.3623 | 0.13879 |  |  | 150
[17 empty] | 1.2518 | 0.10768 | 0.011596 | B1b | [6 empty] | 150
[17 empty] | 1.5181 |  |  | B1c | [6 empty] | 150
200 | 1.3666 | 0.09103 | 0.0082865 | B1 | 33.9213 |  |  | 200 | 1.3131 | 0.039094 | 0.0015284 | B1 | 33.8231 |  |  | 200 | 1.6737 | 0.098843 | 0.00977 | B1 | 33.7385 |  | 1.6737 |  |  |  | 200
300 | 1.2654 | 0.031376 | 0.00098443 | B1 | 33.9622 |  |  | 300 | 1.1788 | 0.07277 | 0.0052955 | B1 | 33.9439 |  |  | 300 | 1.848 | 0.027743 | 0.00076967 | B1 | 33.9138 |  | 1.848 |  |  |  | 300
400 | 1.2291 | 0.00037291 | 1.3906e-07 | B1 | 34.0915 |  |  | 400 | 1.1118 | 0.030181 | 0.00091087 | B1 | 33.993 |  |  | 400 | 2.1612 |  |  | B1 | 33.9637 |  | 2.1612 |  |  |  | 400
600 | 1.2545 | 0.077568 | 0.0060168 | B1 | 34.1687 |  |  | 600 | 1.1952 | 0.071698 | 0.0051406 | B1 | 34.1443 |  |  | 600 | 1.3191 | 0.062406 | 0.0038945 | B1a | 34.0448 |  | 1.35 | 0.044085 |  |  | 600
[17 empty] | 1.4005 | 0.0047995 | 2.3035e-05 | B1b | [6 empty] | 600
Time 0.5-2 days: | [16 empty] | 1.3303 |  |  | B1c | [6 empty] | 600
| ED 01 | [7 empty] | ED 03 | [7 empty] | ED 05
[6 empty] | 1day | [7 empty] | 0.5day
[5 empty] | Salinity | hrs | [6 empty] | Salinity | hrs | [6 empty] | Salinity | hrs
10 | 0.60919 | 0.020413 | 0.00041669 | B2 | 32.4021 | 24.7833 |  | 10 | 0.51662 |  |  | B2 | 32.4218 | 10.5 |  | 10 |  |  |  |  | 32.266 | [5 empty] | 10
25 | 0.50552 | 0.020562 | 0.00042278 | B2 | 32.4264 | 24.25 |  | 25 | 0.23161 |  |  | B2 | 32.4269 | 10.7667 |  | 25 |  |  |  |  | 32.2674 | [5 empty] | 25
50 | 0.7489 | 0.013187 | 0.00017389 | B2 | 32.574 | 24.75 |  | 50 | 0.23994 |  |  | B2 | 32.4642 | 11.0167 |  | 50 |  |  |  |  | 32.2991 | [5 empty] | 50
75 | 0.7079 | 0.052836 | 0.0027917 | B2 | 32.7405 | 24.2167 |  | 75 | 0.49166 |  |  | B2 | 32.5475 | 11.2833 |  | 75 |  |  |  |  | 32.4346 | [5 empty] | 75
100 | 1.9831 | 0.013701 | 0.00018771 | B2 | 33.3909 | 23.7 |  | 100 | 0.6711 |  |  | B2 | 32.7315 | 11.55 |  | 100 |  |  |  |  | 32.5917 | [5 empty] | 100
150 | 2.1674 | 0.075559 | 0.0057091 | B2 | 33.8194 | 23.1833 |  | 150 | 1.5147 |  |  | B2 | 33.4885 | 11.8 |  | 150 |  |  |  |  | 33.1591 | [5 empty] | 150
200 | 1.7905 | 0.0044593 | 1.9886e-05 | B2 | 33.9213 | 26.5167 |  | 200 | 1.4811 |  |  | B1 | 33.8231 | 3.65 |  | 200 | 2.6587 |  |  | B1 | 33.7385 | 29 |  |  |  |  | 200
300 | 1.3112 | 0.023473 | 0.00055097 | B2 | 33.9622 | 27.0333 |  | 300 | 1.9986 |  |  | B2 | 33.9439 | 12.0667 |  | 300 |  |  |  |  | 33.9138 | [5 empty] | 300
400 | 1.2614 | 0.014903 | 0.00022209 | B2 | 34.0915 | 27.5667 |  | 400 | 2.2742 |  |  | B2 | 33.993 | 12.35 |  | 400 |  |  |  |  | 33.9637 | [5 empty] | 400
600 | 1.4477 | 0.062208 | 0.0038698 | B2 | 34.1687 | 28.15 |  | 600 | 1.5979 |  |  | B2 | 34.1443 | 12.6167 |  | 600 |  |  |  |  | 34.0448 | [5 empty] | 600
Time 6-9 days:
ED 01 | [5 empty] | 9.5833 |  | ED 03 | [5 empty] | 6.4583 |  | ED 05 | [5 empty] | 7.875
10 | 1.3169 | 0.022045 | 0.00048597 | B1 |  | 230.6333 |  | 10 | 0.59096 |  |  | B1 |  | 153.9667 |  | 10 | 0.45782 |  |  | B3 |  | 187.45 |  |  |  |  | 10
25 | 0.45851 | 0.030511 | 0.00093093 | B1 |  | 231.7167 |  | 25 | 0.21663 | 0.018669 | 0.00034854 | B1 |  | 155.0333 |  | 25 | 0.097379 |  |  | B3 |  | 188.75 |  |  |  |  | 25
50 | 0.6951 | 0.0044837 | 2.0103e-05 | B1 |  | 232.7667 |  | 50 | 0.077953 | 0.021326 | 0.00045479 | B1 |  | 156.0667 |  | 50 | 0.15522 |  |  | B3 |  | 188.4833 |  |  |  |  | 50
75 | [7 empty] | 75 | [7 empty] | 75 | 0.41389 |  |  | B3 |  | 189.0167 |  |  |  |  | 75
100 | [7 empty] | 100 | [7 empty] | 100 | 0.66578 |  |  | B3 |  | 189.2667 |  |  |  |  | 100
150 | [7 empty] | 150 | [7 empty] | 150 | 1.8727 |  |  | B3 |  | 189.5333 |  |  |  |  | 150
200 | [7 empty] | 200 | [7 empty] | 200 | 2.8796 |  |  | B3 |  | 189.8 |  |  |  |  | 200
300 | [7 empty] | 300 | [7 empty] | 300 | 2.681 | 0.11543 | 0.013324 | B3 |  | 190.05 |  |  |  |  | 300
400 | [7 empty] | 400 | [7 empty] | 400 | 2.815 |  |  | B3 |  | 190.3167 |  |  |  |  | 400
600 | [7 empty] | 600 | [7 empty] | 600 | 1.938 |  |  | B3 |  | 191.8 |  |  |  |  | 600
Time 5 weeks:
ED 01 | [7 empty] | ED 03 | [7 empty] | ED 05 | B1 |  |  |  |  | 35.7222
10 | [7 empty] | 10 | [7 empty] | 10 | 0.98878 |  |  | B1 |  | 852 |  |  |  |  | 10
25 | [7 empty] | 25 | [7 empty] | 25 | 0.26255 |  |  | B1 |  | 854 |  |  |  |  | 25
50 | [7 empty] | 50 | [7 empty] | 50 | 0.14759 |  |  | B1 |  | 854 |  |  |  |  | 50
75 | [7 empty] | 75 | [7 empty] | 75 | [10 empty] | 75
100 | [7 empty] | 100 | [7 empty] | 100 | [10 empty] | 100
150 | [7 empty] | 150 | [7 empty] | 150 | 3.0009 |  |  | B1 |  | 859 |  |  |  |  | 150
200 | [7 empty] | 200 | [7 empty] | 200 | 4.7223 |  |  | B1 |  | 862 |  |  |  |  | 200
300 | [7 empty] | 300 | [7 empty] | 300 | 3.3897 |  |  | B1 |  | 863 |  |  |  |  | 300
400 | [7 empty] | 400 | [7 empty] | 400 | [10 empty] | 400
600 | [7 empty] | 600 | [7 empty] | 600 | [5 empty] | 35.9062 |  |  |  |  | 600
[16 empty] | 10 | 0.74126 |  |  | B2 |  | 859 |  |  |  |  | 10
[16 empty] | 25 | 0.24107 |  |  | B2 |  | 859 |  |  |  |  | 25
[16 empty] | 50 | 0.21668 |  |  | B2 |  | 860 |  |  |  |  | 50
[16 empty] | 75 | 0.5829 |  |  | B2 |  | 862 |  |  |  |  | 75
[16 empty] | 100 | 0.89641 |  |  | B2 |  | 862 |  |  |  |  | 100
[16 empty] | 150 | 2.5864 |  |  | B2 |  | 863 |  |  |  |  | 150
[16 empty] | 200 | 4.0515 |  |  | B2 |  | 864 |  |  |  |  | 200
[16 empty] | 300 | 2.9707 |  |  | B2 |  | 865 |  |  |  |  | 300
[16 empty] | 400 | [10 empty] | 400
[16 empty] | 600 | [10 empty] | 600
[17 empty] | B4 |  |  |  |  | 35.9042 | days
[16 empty] | 10 | 0.76519 |  |  | B4 |  | 858 |  |  |  |  | 10
[16 empty] | 25 | 0.26495 |  |  | B4 |  | 858 |  |  |  |  | 25
[16 empty] | 50 | 0.25958 | 0.030725 | 0.00094401 | B4 |  | 859 |  |  |  |  | 50
[16 empty] | 75 | 0.49231 | 0.036826 | 0.0013562 | B4 |  | 861 |  |  |  |  | 75
[16 empty] | 100 | 0.86448 | 0.01761 | 0.00031012 | B4 |  | 861 |  |  |  |  | 100
[16 empty] | 150 | 2.7356 |  |  | B4 |  | 862 |  |  |  |  | 150
[16 empty] | 200 | 3.8796 | 0.18105 | 0.032779 | B4 |  | 863 |  |  |  |  | 200
[16 empty] | 300 | 2.9718 | 0.070164 | 0.004923 | B4 |  | 864 |  |  |  |  | 300
[16 empty] | 400 | 3.5641 |  |  | B4 |  | 865 |  |  |  |  | 400
Other Times: | [15 empty] | 600 | 1.9856 |  |  | B4 |  | 866 |  |  |  |  | 600
ED 01 | [5 empty] | 9.75 |  | ED 03 | [7 empty] | ED 05 | [5 empty] | 7.4583
3.75
10 | 1.0425 | 0.07009 | 0.0049126 | B2 |  | 233.9667 |  | 10 | 0.51662 |  |  | B1 |  | 2.4 |  | 10 | 0.80245 |  |  | B1 |  | 178.15 |  |  |  |  | 10
25 | 0.9483 | 0.019699 | 0.00038804 | B2 |  | 234.4833 |  | 25 | [7 empty] | 25 | 0.1471 |  |  | B1,n=3 |  | 179.8722 | 0.1356 | 0.021693 |  |  | 25
[17 empty] | 0.11058 | 0.0065071 | 4.2342e-05 | [7 empty] | 25
[17 empty] | 0.14912 | [9 empty] | 25
50 | 0.95766 |  |  | B2 |  | 235.2667 |  | 50 | [7 empty] | 50 | [10 empty] | 50
75 | [7 empty] | 75 | [7 empty] | 75 | [10 empty] | 75
100 | [7 empty] | 100 | [7 empty] | 100 | [10 empty] | 100
150 | [7 empty] | 150 | [7 empty] | 150 | [10 empty] | 150
200 | 2.2577 |  |  | B2 |  | 90.1667 |  | 200 | 1.4811 |  |  | B1 |  | 3.65 |  | 200 | 2.5627 | 0.094122 | 0.0088589 | B2 |  | 31.6333 |  |  |  |  | 200
300 | [7 empty] | 300 | [7 empty] | 300 | [10 empty] | 300
400 | [7 empty] | 400 | [7 empty] | 400 | [10 empty] | 400
600 | 1.4027 | 0.037715 | 0.0014224 | B1 |  | 3.1667 |  | 600 | [7 empty] | 600 | [10 empty] | 600
Summary of Eddy Station HE05; Effect of Time on Analysis of Buffered Samples
| Avg Stdev: | 0.064346 |  |  | 0.096034 |  |  | 0.038219 |  |  |  | 0.15319 | [5 empty] | 0.2226
| n: | 3 |  |  | 1 |  |  | 1 |  |  |  | 8 | [5 empty] | 10
Time: | 0 days |  | 1.2 days |  |  | 7.9 days |  |  | 36 days |  |  |  | 211 days
[18 empty] | StdevAll | Avg All | Avg Low |  |  | AvgB/AMW
Depth(m) | B1 | Stdev of trips | B1 | B2 |  | B1 | B3 |  | B1 | B2 | B4 |  | B1 |  | B2 | B3 | B4 |  | B | B | A | AMW |  | A/AMW | A | AMW
|  | abs(diff) of dups | [20 empty] | % | % | pH adj. up 0.1
10 | 0.1592 |  |  |  |  | 0.80245 | 0.45782 |  | 0.98878 | 0.74126 | 0.76519 | 0.13653 | 1.1049 |  | 0.56508 | 0.90948 | 0.61759 | 0.25393 | 0.79927 | 0.59133 | 0.54931 | 0.63969 | 92.441 | 85.872 |  |  |  | 10
25 | 0.078025 | 0.010167 |  |  |  | 0.1356 | 0.097379 | 0.038219 | 0.26255 | 0.24107 | 0.26495 | 0.013149 | 0.21875 |  | 0.14008 | 0.27424 | 0.14172 | 0.065041 | 0.1937 | 0.1409 | 0.16887 | 0.19532 | 72.1368 | 86.4582 |  |  |  | 25
50 | 0.13881 | [5 empty] | 0.15522 |  | 0.14759 | 0.21668 | 0.25958 | 0.056503 |  |  | 0.19649 | 0.19187 | 0.17878 | 0.0091829 | 0.18904 | 0.18904 | 0.27742 | 0.29233 | 64.6686 | 94.9006 |  |  |  | 50
75 | 0.33093 | [5 empty] | 0.41389 |  |  | 0.5829 | 0.49231 | 0.090598 | 0.57841 |  | 0.52482 | 0.44574 | 0.47723 | 0.057895 | 0.50655 | 0.4826 | 0.36291 | 0.38189 | 126.3695 | 95.0296 | ? | ? |  | 75
100 | 0.71021 | [5 empty] | 0.66578 |  |  | 0.89641 | 0.86448 | 0.031931 | 0.81618 |  | 0.70883 | 0.6998 | 0.7204 | 0.053916 | 0.7363 | 0.70968 | 0.71783 | 0.74766 | 94.9204 | 96.0106 | 0.98284 | 0.92253 |  | 100
145 | 1.3623 | 0.13879 |  |  |  |  | 1.8727 |  | 3.0009 | 2.5864 | 2.7356 | 0.20995 | 2.7535 |  | 2.2573 | 2.1805 | 2.3509 | 0.25498 | 2.3855 | 2.2629 | 3.9026 | 3.865 | 58.5483 | 100.9726 |  | 3.7336 |  | 145
200 | 1.6737 |  | 2.6587 | 2.5627 | 0.096034 |  | 2.8796 |  | 4.7223 | 4.0515 | 3.8796 | 0.4453 | 4.7195 |  |  | 3.4729 | 3.5563 | 0.69689 | 3.9162 | 3.5146 | 6.5094 | 6.6242 | 53.0573 | 98.2671 |  |  |  | 200
300 | 1.848 | [5 empty] | 2.681 |  | 3.3897 | 2.9707 | 2.9718 | 0.2416 | 2.8579 |  | 2.7959 | 3.2803 | 2.577 | 0.29413 | 2.8778 | 2.7436 | 4.4912 | 4.3363 | 63.2706 | 103.5718 | 4.3177 | 4.3649 |  | 300
400 | 2.1612 | [5 empty] | 2.815 |  |  |  | 3.5641 |  | 3.557 |  | 2.9057 | 3.2089 | 2.8945 | 0.31294 | 3.1415 | 2.9001 | 5.0551 | 5.2934 | 54.7872 | 95.4982 |  |  |  | 400
600 | 1.35 | 0.044085 |  |  |  |  | 1.938 |  |  |  | 1.9856 |  | 2.0508 |  | 1.8757 | 2.0915 | 1.5922 | 0.2271 | 1.9026 | 2.006 | 1.3987 | 1.6888 | 118.782 | 82.8227 | 1.7224 | 2.0478 | 84.1121 | 600
[22 empty] | Avg %: | 79.8982 | 93.9403
[8 empty] | Time Series Stats | [13 empty] | Stdev: | 26.7291 | 6.7859
[10 empty] | All: | w/o B1: |  | only A or AMW
[9 empty] | Smp Avg: | 0.93166 | 0.90525 |  | 0.35847
ED 05 Individual Time Series | [8 empty] | Stdev Avg: | 0.12742 | 0.096756 |  | 0.037678
[9 empty] | n: | 23 | 23 |  | 4
Depth | Time |  |  |  | Fe | Sample | [8 empty] | %rise from time 0 |  | Fe rise
(m) | (days) |  |  |  | (nmol) |  |  | Buff Stdev |  |  |  | A or AMW
[8 empty] | Depth | Time | Avg | Stdev | Avg | Stdev
10 | 0 |  |  |  | 0.1592 | B1 |  |  |  |  | or ABS(Diff) if n=2 |  |  |  | 0 |  | 0
| 7.4167 |  |  |  |  | B1 | 0.80245 | ED05
| 35.5 |  |  |  |  | B1 | 0.98878 | 10 | 35.5 | 0.83174 | 0.13653
| 7.8104 |  |  |  | 0.45782 | B3 |  |  | w/o B1: | 0.75322 | 0.023931 |  |  |  | 187.5715 |  | 0.29862
| 35.7917 |  |  |  | 0.74126 | B2 |  |  | 211 | 0.69738 | 0.18555 | 0.5945 | 0.090375 |  | 365.6039 |  | 0.58205
| 35.75 |  |  |  | 0.76519 | B4 |  | 25 | 0 | 0.078025 | 0.010167 |  |  |  | 380.6357 |  | 0.60598
| 211 |  |  |  | 0.56508 | B2 |  |  | 7.5 | 0.12224 | 0.049721
| 211 |  |  |  | 0.90948 | B3 |  |  | 35.5 | 0.25619 | 0.013149
| 211 |  |  |  | 0.61759 | B4 |  |  | 211 | 0.1937 | 0.065041 | 0.1821 | 0.02645
| 211 |  |  |  | 0.54931 | A |  | 50 | 35.5 | 0.20795 | 0.056503
| 211 |  |  |  | 0.63969 | AMW |  |  | 211 | 0.18904 | 0.0091829 | 0.28487 | 0.014907
[8 empty] | 75 | 36 | 0.50655 | 0.057895
25 | 0 |  |  |  | 0.08666 | B1a |  |  | 211 | 0.50655 | 0.057895 | 0.3724 | 0.018982 |  | 0 |  | 0
[5 empty] | 0.080595 | B1b |  |  | w/o B1: | 0.4826 | 0.039815
[5 empty] | 0.066819 | B1c |  | 100 | 36 | 0.88044 | 0.031931
| 7.4958 |  |  |  | 0.1471 | B1 |  | 150 | 0 | 1.3623 | 0.13879 |  |  |  | 69.7448 |  | 0.060441
| 7.8667 |  |  |  | 0.097379 | B3 |  |  | 36 | 2.7743 | 0.20995 |  |  |  | 12.3694 |  | 0.010719
| 35.5833 |  |  |  | 0.26255 | B1 |  |  | w/o B1 | 2.661 | 0.14918 |  |  |  | 202.9703 |  | 0.17589
| 35.7917 |  |  |  | 0.24107 | B2 |  | 200 | 36 | 4.2178 | 0.4453 |  |  |  | 178.1821 |  | 0.15441
| 35.75 |  |  |  | 0.26495 | B4 |  |  | w/o B1 | 3.9655 | 0.17193 |  |  |  | 205.7379 |  | 0.17829
| 211 |  |  |  | 0.21875 | B1 |  | 300 | 36 | 3.1107 | 0.2416
| 211 |  |  |  | 0.14008 | B2 |  |  | w/o B1 | 2.9712 | 0.0010682
| 211 |  |  |  | 0.27424 | B3 |  | 600 | 0 | 1.35 | 0.044085
| 211 |  |  |  | 0.14172 | B4
| 211 |  |  |  | 0.16887 | A |  | ED01
| 211 |  |  |  | 0.19532 | AMW |  | 10 | 9.7 | 1.1797 | 0.27439
[8 empty] | 25 | 9.7 | 0.7034 | 0.48979
50 | 0 |  |  |  | 0.13881 | B1 |  | 50 | 9.7 | 0.82638 | 0.26256 |  |  |  | 0 |  | 0
| 7.8542 |  |  |  | 0.15522 | B3 | [8 empty] | 11.8269 |  | 0.016417
| 35.5833 |  |  |  | 0.14759 | B1 | [8 empty] | 6.3256 |  | 0.0087804
| 35.8333 |  |  |  | 0.21668 | B3 | [8 empty] | 56.1048 |  | 0.077878
| 35.7917 |  |  |  | 0.25958 | B4 | [8 empty] | 87.0042 |  | 0.12077
| 211 |  | B1
| 211 | 0.19649 | B2
| 211 | 0.19187 | B3
| 211 | 0.17878 | B4
| 211 | 0.27742 | A
| 211 | 0.29233 | AMW
75 | 0 |  |  |  | 0.33093 | B1 | [8 empty] | 0 |  | 0
75 | 7.875 |  |  |  | 0.41389 | B3 | [8 empty] | 25.0716 |  | 0.082968
75 | 35.9167 |  |  |  | 0.5829 | B2 | [8 empty] | 76.1437 |  | 0.25198
75 | 35.875 |  |  |  | 0.49231 | B4 | [8 empty] | 48.7665 |  | 0.16138
| 211 | 0.57841 | B1
| 211 | 0.52482 | B2
| 211 | 0.44574 | B3
| 211 | 0.47723 | B4
| 211 | 0.36291 | A
| 211 | 0.38189 | AMW
100 | 0 |  |  |  | 0.71021 | B1 | [8 empty] | 0 |  | 0
100 | 7.875 |  |  |  | 0.66578 | B3 | [8 empty] | -6.2548 |  | -0.044422
100 | 35.9167 |  |  |  | 0.89641 | B2 | [8 empty] | 26.2182 |  | 0.1862
100 | 35.875 |  |  |  | 0.86448 | B4 | [8 empty] | 21.7222 |  | 0.15427
150 | 0 |  |  |  | 1.3171 | B1a | [8 empty] | 0 |  | 0
150 | 0 |  |  |  | 1.2518 | B1b | [8 empty] | 0
150 | 0 |  |  |  | 1.5181 | B1c | [8 empty] | 0
150 | 7.875 |  |  |  | 1.8727 | B3 | [8 empty] | 42.1838 |  | 0.55559
150 | 35.7917 |  |  |  | 3.0009 | B1 | [8 empty] | 127.8439 |  | 1.6838
150 | 35.9583 |  |  |  | 2.5864 | B2 | [8 empty] | 96.3722 |  | 1.2693
150 | 35.9167 |  |  |  | 2.7356 | B4 | [8 empty] | 107.6985 |  | 1.4185
200 | 0 |  |  |  | 1.6737 | B1 | [8 empty] | 0 |  | 0
200 | 1.2083 |  |  |  | 2.6587 | B1 | [8 empty] | 58.8498 |  | 0.98499
200 | 1.3167 |  |  |  | 2.5627 | B2 | [8 empty] | 53.1121 |  | 0.88896
200 | 7.875 |  |  |  | 2.8796 | B3 | [8 empty] | 72.0445 |  | 1.2058
200 | 35.9167 |  |  |  | 4.7223 | B1 | [8 empty] | 182.1404 |  | 3.0486
200 | 36 |  |  |  | 4.0515 | B2 | [8 empty] | 142.062 |  | 2.3778
200 | 35.9583 |  |  |  | 3.8796 | B4 | [8 empty] | 131.7896 |  | 2.2058
300 | 0 |  |  |  | 1.848 | B1 | [8 empty] | 0 |  | 0
300 | 7.875 |  |  |  | 2.681 | B3 | [8 empty] | 45.0732 |  | 0.83297
300 | 35.9583 |  |  |  | 3.3897 | B1 | [8 empty] | 83.4213 |  | 1.5417
300 | 36.0417 |  |  |  | 2.9707 | B2 | [8 empty] | 60.7488 |  | 1.1227
300 | 36 |  |  |  | 2.9718 | B4 | [8 empty] | 60.8066 |  | 1.1237
400 | 0 |  |  |  | 2.1612 | B1 | [8 empty] | 0 |  | 0
400 | 7.875 |  |  |  | 2.815 | B3 | [8 empty] | 30.2496 |  | 0.65376
400 | 36.0417 |  |  |  | 3.5641 | B4 | [8 empty] | 64.9091 |  | 1.4028
600 | 0 |  |  |  | 1.3191 | B1a | [8 empty] | 0 |  | 0
600 | 0 |  |  |  | 1.4005 | B1b | [8 empty] | 0 |  | 0
600 | 0 |  |  |  | 1.3303 | B1c | [8 empty] | 0 |  | 0
600 | 7.875 |  |  |  | 1.938 | B3 | [8 empty] | 46.9141 |  | 0.61887
600 | 36.0833 |  |  |  | 1.9856 | B4 | [8 empty] | 50.5227 |  | 0.66647
ED 01 Individual Time Series
Depth | Time |  |  |  | Fe | Sample | [8 empty] | %rise from time 0
(m) | (days) |  |  |  | (nmol)
10 | 0 |  |  |  | 0.25464 | B1 | [8 empty] | 0 |  | 0
| 1.0333 |  |  |  | 0.60919 | B2 | [8 empty] | 139.2361 |  | 0.35455
| 9.625 |  |  |  | 1.3169 | B1 | [8 empty] | 417.1592 |  | 1.0623
| 9.7917 |  |  |  | 1.0425 | B2 | [8 empty] | 309.4045 |  | 0.78787
25 | 0 |  |  |  | 0.20094 | B1 | [8 empty] | 0 |  | 0
| 1.0125 |  |  |  | 0.50552 | B2 | [8 empty] | 151.5788 |  | 0.30458
| 9.6667 |  |  |  | 0.45851 | B1 |  | Buff Stdev |  |  |  | A or AMW |  |  | 128.1845 |  | 0.25757
| 9.7917 |  |  |  | 0.9483 | B2 |  | Depth | Time | Avg | Stdev | Avg | Stdev |  | 371.935 |  | 0.74736
50 | 0 |  |  |  | 0.32225 | B1 | [8 empty] | 0 |  | 0
| 1.0333 |  |  |  | 0.7489 | B2 | [8 empty] | 132.3957 |  | 0.42665
| 9.7083 |  |  |  | 0.6951 | B1 | [8 empty] | 115.6997 |  | 0.37285
| 9.7917 |  |  |  | 0.95766 | B2 | [8 empty] | 197.1755 |  | 0.63541
75 | 0 |  |  |  | 0.71863 | B1 | [8 empty] | 0 |  | 0
| 1.0083 |  |  |  | 0.7079 | B2 | [8 empty] | -1.4931 |  | -0.01073
100 | 0 |  |  |  | 1.3372 | B1 | [8 empty] | 0 |  | 0
| 0.9875 |  |  |  | 1.9831 | B2 | [8 empty] | 48.3004 |  | 0.64588
150 | 0 |  |  |  | 1.3352 | B1 | [8 empty] | 0 |  | 0
| 0.96667 |  |  |  | 2.1674 | B2 | [8 empty] | 62.3291 |  | 0.83222
200 | 0 |  |  |  | 1.3666 | B1 | [8 empty] | 0 |  | 0
| 1.1042 |  |  |  | 1.7905 | B2 | [8 empty] | 31.0194 |  | 0.42391
| 3.7583 |  |  |  | 2.2577 | B2 | [8 empty] | 65.2068 |  | 0.89112
300 | 0 |  |  |  | 1.2654 | B1 | [8 empty] | 0 |  | 0
| 1.125 |  |  |  | 1.3112 | B2 | [8 empty] | 3.6175 |  | 0.045776
400 | 0 |  |  |  | 1.2291 | B1 | [8 empty] | 0 |  | 0
| 1.15 |  |  |  | 1.2614 | B2 | [8 empty] | 2.6248 |  | 0.032262
600 | 0 |  |  |  | 1.2545 | B1 | [8 empty] | 0 |  | 0
| 1.175 |  |  |  | 1.4477 | B2 | [8 empty] | 15.3984 |  | 0.19318
| 0.13333 |  |  |  | 1.4027 | B | [8 empty] | 11.8133 |  | 0.1482
ED 03 Individual Time Series
Depth | Time |  |  |  | Fe | Sample
(m) | (days) |  |  |  | (nmol)
10 | 0 |  |  |  | 0.20033 | B1 | [8 empty] | 0 |  | 0
| 0.1 |  |  |  |  | B1 | 0.51662 | [8 empty] | 157.8804 | 0.31629
| 0.4375 |  |  |  | 0.23161 | B2 | [8 empty] | 15.6136 |  | 0.031279
| 6.4167 |  |  |  | 0.21663 | B1 | [8 empty] | 8.1346 |  | 0.016296
25 | 0 |  |  |  | 0.1589 | B1 | [8 empty] | 0 |  | 0
| 0.45 |  |  |  | 0.23161 | B2 | [8 empty] | 45.7607 |  | 0.072713
| 6.4583 |  |  |  | 0.21663 | B1 | [8 empty] | 36.3315 |  | 0.05773
50 | 0 |  |  |  | 0.18168 | B1 | [8 empty] | 0 |  | 0
| 0.45833 |  |  |  | 0.23994 | B2 | [8 empty] | 32.066 |  | 0.058259
| 6.5 |  |  |  | 0.077953 | B1 | [8 empty] | -57.094 |  | -0.10373
75 | 0 |  |  |  | 0.31708 | B1 | [8 empty] | 0 |  | 0
| 0.47083 |  |  |  | 0.49166 | B2 | [8 empty] | 55.0574 |  | 0.17458
100 | 0 |  |  |  | 0.51566 | B1 | [8 empty] | 0 |  | 0
| 0.48333 |  |  |  | 0.6711 | B2 | [8 empty] | 30.1442 |  | 0.15544
150 | 0 |  |  |  | 1.3077 | B1 | [8 empty] | 0 |  | 0
| 0.49167 |  |  |  | 1.5147 | B2 | [8 empty] | 15.8336 |  | 0.20705
200 | 0 |  |  |  | 1.3131 | B1 | [8 empty] | 0 |  | 0
| 3.7583 |  |  |  | 1.4811 | B2 | [8 empty] | 12.7943 |  | 0.16801
300 | 0 |  |  |  | 1.1788 | B1 | [8 empty] | 0 |  | 0
| 0.50417 |  |  |  | 1.9986 | B2 | [8 empty] | 69.5492 |  | 0.81983
400 | 0 |  |  |  | 1.1118 | B1 | [8 empty] | 0 |  | 0
| 0.51667 |  |  |  | 2.2742 | B2 | [8 empty] | 104.5553 |  | 1.1624
600 | 0 |  |  |  | 1.1952 | B1 | [8 empty] | 0 |  | 0
| 0.525 |  |  |  | 1.5979 | B2 | [8 empty] | 33.6941 |  | 0.4027
Note on B124: USER: n=3
Note on B128: USER: n=3
Note on B132: USER: n=3
Note on F164: USER: n=3
Note on H145: XP: possibly contaminated
Note on H146: XP: possibly contaminated
Note on J38: XP: subbed in for graph
Note on L152: XP: n=4
Note on N124: USER: n=3
Note on N128: USER: n=3