## File List
Number of Files= |  | 5
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20100001.hyd | 20100001.sac | 11 | 34 | 20100001.hyd & 20100001.sac
2 | 20100005.hyd | 20100005.sac | 36 | 51 | 20100005.hyd & 20100005.sac
3 | 20100016.hyd | 20100016.sac | 53 | 74 | 20100016.hyd & 20100016.sac
4 | 20100026.hyd | 20100026.sac | 76 | 97 | 20100026.hyd & 20100026.sac
5 | 20100033.hyd | 20100033.sac | 99 | 121 | 20100033.hyd & 20100033.sac

## (Sal0 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal0 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal0 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.16184 |  | X | CALC Y
m= | -2.772e-07 | 1.2372e-07 |  | Std Dev of Resid |  | 0.0005325 |  | 1001.35 | 0.00020235
b= | 0.00047993 | 0.0002869 |  | Resid Sum of Squares |  | 7.3725e-06 |  | 4020.08 | -0.00063444
# of Values Extracted = |  |  | 107
# of Values Used in Fit = |  |  | 28
File | Use | Pressure | Sal0 | Sal0 | Diff (Sal0 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 220.667 | 31.3256 | 0.00022144 | 0.079645 | 0.00041876 | -0.079226 |  | 1332.67 | -0.00028229
1 | NO | 220.667 | 31.3256 | 0.00022144 | 0.0062447 | 0.00041876 | -0.0058259 |  | 1250.94 | 3.8147e-05
1 | NO | 199.803 | 31.3175 | 0.00022431 | 0.0085926 | 0.00042454 | -0.0081681 |  | 1001.35 | 0.00059128
1 | NO | 199.803 | 31.3175 | 0.00022431 | 0.019793 | 0.00042454 | -0.019368 |  | 3272.93 | -0.00097275
1 | NO | 179.301 | 31.3067 | 0.00018679 | 0.029732 | 0.00043022 | -0.029302 |  | 3001.14 | -0.00011444
1 | NO | 179.301 | 31.3067 | 0.00018679 | 0.16993 | 0.00043022 | -0.1695 |  | 2498.83 | -0.0011139
1 | NO | 160.046 | 31.295 | 0.00020147 | 0.51373 | 0.00043556 | -0.51329 |  | 2249.92 | -0.00076675
1 | NO | 160.046 | 31.295 | 0.00020147 | 0.83683 | 0.00043556 | -0.83639 |  | 1999.03 | -0.00014114
1 | NO | 140.018 | 31.2695 | 0.00039421 | 1.1155 | 0.00044111 | -1.115 |  | 1748.39 | -8.7738e-05
1 | NO | 119.834 | 31.0991 | 0.00066653 | 1.2439 | 0.00044671 | -1.2435 |  | 1500.44 | -0.00033951
1 | NO | 119.834 | 31.0991 | 0.00066653 | 1.4365 | 0.00044671 | -1.4361 |  | 1246.36 | 0.0013809
1 | NO | 100.592 | 30.7672 | 0.00032281 | 1.1925 | 0.00045204 | -1.1921 |  | 3681.64 | -0.00054932
1 | NO | 79.8498 | 30.4395 | 0.0015069 | 0.96157 | 0.00045779 | -0.96111 |  | 2999.76 | 0.00062561
1 | NO | 79.8498 | 30.4395 | 0.0015069 | 1.2683 | 0.00045779 | -1.2678 |  | 2500.21 | -8.3923e-05
1 | NO | 59.9259 | 30.1084 | 0.00028768 | 1.2453 | 0.00046331 | -1.2449 |  | 2250.33 | -0.00017929
1 | NO | 50.0417 | 29.8263 | 0.00029469 | 128.826 | 0.00046605 | -128.8255 |  | 2000.85 | 0.00084686
1 | NO | 39.888 | 29.6423 | 0.00047275 | 128.642 | 0.00046887 | -128.6415 |  | 1748.96 | -3.4332e-05
1 | NO | 39.888 | 29.6423 | 0.00047275 | 128.642 | 0.00046887 | -128.6415 |  | 1501.07 | -0.00014496
1 | NO | 30.1208 | 29.5522 | 0.00024288 | 128.552 | 0.00047158 | -128.5515 |  | 1250.25 | 0.00022888
1 | NO | 20.0055 | 29.4487 | 0.00043849 | 128.449 | 0.00047438 | -128.4485 |  | 4020.08 | 4.9591e-05
1 | NO | 10.0158 | 29.0308 | 0.00086652 | 128.031 | 0.00047715 | -128.0305 |  | 3500.22 | -0.00080109
1 | NO | 10.0158 | 29.0308 | 0.00086652 | 128.031 | 0.00047715 | -128.0305 |  | 3000.7 | -0.00065994
1 | NO | 0.60205 | 28.7147 | 0.043812 | 127.715 | 0.00047976 | -127.7145 |  | 2500.69 | -0.00015259
1 | NO | 0.60205 | 28.7147 | 0.043812 | 127.715 | 0.00047976 | -127.7145 |  | 2250.11 | -0.00018692
2 | YES | 1332.67 | 34.4812 | 0.00027082 | -0.00028229 | 0.00011051 | 0.0003928 |  | 1999.52 | -0.00029755
2 | YES | 1250.94 | 34.465 | 0.00025854 | 3.8147e-05 | 0.00013317 | 9.5019e-05 |  | 1749.45 | 9.5367e-05
2 | YES | 1001.35 | 34.3901 | 0.00028374 | 0.00059128 | 0.00020235 | -0.00038893 |  | 1501.17 | -0.00093079
2 | NO | 801.925 | 34.2945 | 0.00072588 | 0.0027046 | 0.00025763 | -0.002447 |  | 1250.71 | 0.00056457
2 | NO | 698.725 | 34.2318 | 0.00037485 | 0.0015144 | 0.00028624 | -0.0012282
2 | NO | 600.655 | 34.1636 | 0.00023839 | 0.002037 | 0.00031342 | -0.0017236
2 | NO | 401.385 | 34.0314 | 0.00031039 | 0.0013123 | 0.00036866 | -0.0009436
2 | NO | 299.423 | 33.9769 | 0.00023721 | 0.00060272 | 0.00039693 | -0.0002058
2 | NO | 199.197 | 33.9292 | 0.00025024 | 0.00029755 | 0.00042471 | 0.00012716
2 | NO | 151.409 | 33.8341 | 0.0007341 | 0.001255 | 0.00043796 | -0.00081708
2 | NO | 101.832 | 33.3565 | 0.0022425 | 0.012722 | 0.0004517 | -0.01227
2 | NO | 75.1828 | 32.8601 | 0.0034326 | 0.013729 | 0.00045909 | -0.01327
2 | NO | 50.4396 | 32.6044 | 0.00082242 | 0.0030365 | 0.00046594 | -0.0025706
2 | NO | 25.3872 | 32.4856 | 0.00093769 | 0.0088539 | 0.00047289 | -0.008381
2 | NO | 10.2511 | 32.0132 | 0.0068903 | 0.0019607 | 0.00047708 | -0.0014837
2 | NO | 0.94763 | 31.8611 | 0.0002219 | -0.0016289 | 0.00047966 | 0.0021085
3 | YES | 3272.93 | 34.6487 | 0.00030171 | -0.00097275 | -0.00042733 | 0.00054542
3 | YES | 3001.14 | 34.6475 | 0.00023797 | -0.00011444 | -0.00035199 | -0.00023755
3 | YES | 2498.83 | 34.6279 | 0.00023955 | -0.0011139 | -0.00021275 | 0.00090114
3 | YES | 2249.92 | 34.6155 | 0.0002426 | -0.00076675 | -0.00014375 | 0.000623
3 | YES | 1999.03 | 34.5886 | 0.00025367 | -0.00014114 | -7.4205e-05 | 6.6939e-05
3 | YES | 1748.39 | 34.5573 | 0.00026735 | -8.7738e-05 | -4.7275e-06 | 8.301e-05
3 | YES | 1500.44 | 34.5195 | 0.00027215 | -0.00033951 | 6.4004e-05 | 0.00040351
3 | YES | 1246.36 | 34.4474 | 0.00024933 | 0.0013809 | 0.00013444 | -0.0012465
3 | NO | 998.165 | 34.3597 | 0.00025173 | 0.00042725 | 0.00020323 | -0.00022401
3 | NO | 802.259 | 34.2713 | 0.00024321 | 0.0011253 | 0.00025754 | -0.0008678
3 | NO | 601.676 | 34.1363 | 0.00026936 | 0.00017929 | 0.00031314 | 0.00013385
3 | NO | 399.811 | 33.9709 | 0.0002422 | -5.3406e-05 | 0.0003691 | 0.0004225
3 | NO | 299.822 | 33.9412 | 0.0003993 | 0.0001297 | 0.00039682 | 0.00026712
3 | NO | 250.345 | 33.939 | 0.00028443 | 0 | 0.00041053 | 0.00041053
3 | NO | 199.976 | 33.9418 | 0.00022489 | -0.00046158 | 0.00042449 | 0.00088607
3 | NO | 149.705 | 33.9105 | 0.00044708 | 0.0037422 | 0.00043843 | -0.0033038
3 | NO | 99.5588 | 33.1881 | 0.0182 | 0.010109 | 0.00045233 | -0.0096566
3 | NO | 75.0306 | 32.6878 | 0.00035853 | -0.0081634 | 0.00045913 | 0.0086226
3 | NO | 50.5707 | 32.6595 | 0.00033801 | -0.00049973 | 0.00046591 | 0.00096563
3 | NO | 24.5983 | 32.6433 | 0.0041958 | -0.0032997 | 0.00047311 | 0.0037728
3 | NO | 10.2765 | 32.6481 | 0.00022281 | -30.002 | 0.00047708 | 30.0025
3 | NO | 2.071 | 32.6494 | 0.00088095 | -0.0018806 | 0.00047935 | 0.00236
4 | YES | 3681.64 | 34.6673 | 0.00028155 | -0.00054932 | -0.00054062 | 8.6915e-06
4 | YES | 2999.76 | 34.6517 | 0.00026045 | 0.00062561 | -0.00035161 | -0.00097722
4 | YES | 2500.21 | 34.6278 | 0.00022945 | -8.3923e-05 | -0.00021313 | -0.00012921
4 | YES | 2250.33 | 34.6119 | 0.00029205 | -0.00017929 | -0.00014387 | 3.5426e-05
4 | YES | 2000.85 | 34.5898 | 0.0002697 | 0.00084686 | -7.4709e-05 | -0.00092157
4 | YES | 1748.96 | 34.5605 | 0.00026192 | -3.4332e-05 | -4.8855e-06 | 2.9447e-05
4 | YES | 1501.07 | 34.5067 | 0.00032857 | -0.00014496 | 6.383e-05 | 0.00020879
4 | YES | 1250.25 | 34.4437 | 0.0002532 | 0.00022888 | 0.00013336 | -9.5525e-05
4 | NO | 999.011 | 34.3681 | 0.00030637 | 0.0001297 | 0.000203 | 7.33e-05
4 | NO | 799.253 | 34.2848 | 0.00033671 | 0.0011558 | 0.00025837 | -0.00089748
4 | NO | 601.73 | 34.1727 | 0.00022272 | 0.00011826 | 0.00031313 | 0.00019487
4 | NO | 401.181 | 34.0285 | 0.00031788 | -0.00031662 | 0.00036872 | 0.00068534
4 | NO | 300.248 | 33.9579 | 0.0002698 | 0.0004921 | 0.0003967 | -9.5398e-05
4 | NO | 250.127 | 33.9337 | 0.00046927 | 0.00058365 | 0.00041059 | -0.00017306
4 | NO | 199.472 | 33.9201 | 0.00032234 | -0.00046921 | 0.00042463 | 0.00089384
4 | NO | 150.133 | 33.8719 | 0.0010853 | 0.0037498 | 0.00043831 | -0.0033115
4 | NO | 100.661 | 33.1215 | 0.0026356 | 0.0074348 | 0.00045202 | -0.0069828
4 | NO | 75.0079 | 32.6663 | 0.00044665 | 0.0004425 | 0.00045913 | 1.6629e-05
4 | NO | 50.7362 | 32.6411 | 0.0016665 | -0.0031052 | 0.00046586 | 0.003571
4 | NO | 24.6194 | 32.6555 | 0.00025972 | 0.00016403 | 0.0004731 | 0.00030907
4 | NO | 9.7867 | 32.6552 | 0.00056496 | -0.00050736 | 0.00047721 | 0.00098457
4 | NO | 1.3793 | 32.6548 | 0.00039371 | -0.00029755 | 0.00047954 | 0.00077709
5 | YES | 4020.08 | 34.6758 | 0.0002809 | 4.9591e-05 | -0.00063444 | -0.00068403
5 | YES | 3500.22 | 34.6691 | 0.00030298 | -0.00080109 | -0.00049033 | 0.00031075
5 | YES | 3000.7 | 34.6539 | 0.00028687 | -0.00065994 | -0.00035187 | 0.00030808
5 | YES | 2500.69 | 34.627 | 0.00022434 | -0.00015259 | -0.00021327 | -6.0677e-05
5 | YES | 2250.11 | 34.6079 | 0.00028819 | -0.00018692 | -0.0001438 | 4.3116e-05
5 | YES | 1999.52 | 34.5844 | 0.00026429 | -0.00029755 | -7.4341e-05 | 0.00022321
5 | YES | 1749.45 | 34.5466 | 0.00026402 | 9.5367e-05 | -5.0213e-06 | -0.00010039
5 | YES | 1501.17 | 34.4968 | 0.00024235 | -0.00093079 | 6.3802e-05 | 0.00099459
5 | YES | 1250.71 | 34.4391 | 0.00026815 | 0.00056457 | 0.00013323 | -0.00043135
5 | NO | 999.462 | 34.361 | 0.0002371 | 0.00056457 | 0.00020288 | -0.0003617
5 | NO | 799.213 | 34.2848 | 0.00027021 | 0.0012894 | 0.00025838 | -0.001031
5 | NO | 599.204 | 34.1697 | 0.0003693 | 0.00074768 | 0.00031383 | -0.00043385
5 | NO | 401.049 | 34.0084 | 0.00026316 | 0.0012665 | 0.00036876 | -0.00089772
5 | NO | 299.548 | 33.9402 | 0.00028076 | 0.0004921 | 0.00039689 | -9.5204e-05
5 | NO | 249.792 | 33.9243 | 0.00050299 | 0.00053787 | 0.00041068 | -0.00012719
5 | NO | 200.279 | 33.9023 | 0.0007132 | -0.0003624 | 0.00042441 | 0.0007868
5 | NO | 149.94 | 33.8625 | 0.00023683 | 132.862 | 0.00043836 | -132.8616
5 | NO | 100.285 | 32.7259 | 0.0011332 | -0.009243 | 0.00045213 | 0.0096951
5 | NO | 75.0499 | 32.6731 | 0.00022655 | -0.0042953 | 0.00045912 | 0.0047545
5 | NO | 49.3408 | 32.6384 | 0.00029869 | -0.0087624 | 0.00046625 | 0.0092286
5 | NO | 25.238 | 32.6698 | 0.0048704 | -0.0050545 | 0.00047293 | 0.0055274
5 | NO | 9.5627 | 32.6563 | 0.0017101 | -0.006691 | 0.00047728 | 0.0071683
5 | NO | 0.70231 | 32.6511 | 0.00031392 | -0.0020256 | 0.00047973 | 0.0025053
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal0
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal0 |  | Sal0 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal0 | Sal0 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20100001.hyd | 20100001.sac | 222 | 220.666 | 220.667 | 0.023081 | 0.0010376 | 31.246 | 31.3256 | 0.00022144 | 0.079645
20100001.hyd | 20100001.sac | 222 | 220.668 | 220.667 | 0.023081 | -0.0009613 | 31.3194 | 31.3256 | 0.00022144 | 0.0062447
20100001.hyd | 20100001.sac | 192 | 199.802 | 199.803 | 0.023904 | 0.0010223 | 31.3089 | 31.3175 | 0.00022431 | 0.0085926
20100001.hyd | 20100001.sac | 192 | 199.804 | 199.803 | 0.023904 | -0.00097656 | 31.2977 | 31.3175 | 0.00022431 | 0.019793
20100001.hyd | 20100001.sac | 242 | 179.302 | 179.301 | 0.027273 | -0.00085449 | 31.277 | 31.3067 | 0.00018679 | 0.029732
20100001.hyd | 20100001.sac | 242 | 179.3 | 179.301 | 0.027273 | 0.0011444 | 31.1368 | 31.3067 | 0.00018679 | 0.16993
20100001.hyd | 20100001.sac | 175 | 160.046 | 160.046 | 0.01836 | -0.00033569 | 30.7813 | 31.295 | 0.00020147 | 0.51373
20100001.hyd | 20100001.sac | 175 | 160.046 | 160.046 | 0.01836 | -0.00033569 | 30.4582 | 31.295 | 0.00020147 | 0.83683
20100001.hyd | 20100001.sac | 121 | 140.018 | 140.018 | 0.024346 | 0.00030518 | 30.154 | 31.2695 | 0.00039421 | 1.1155
20100001.hyd | 20100001.sac | 195 | 119.835 | 119.834 | 0.025046 | -0.00065613 | 29.8552 | 31.0991 | 0.00066653 | 1.2439
20100001.hyd | 20100001.sac | 195 | 119.834 | 119.834 | 0.025046 | 0.00034332 | 29.6626 | 31.0991 | 0.00066653 | 1.4365
20100001.hyd | 20100001.sac | 121 | 100.592 | 100.592 | 0.023048 | -0.00048065 | 29.5746 | 30.7672 | 0.00032281 | 1.1925
20100001.hyd | 20100001.sac | 242 | 79.848 | 79.8498 | 0.024478 | 0.0018234 | 29.4779 | 30.4395 | 0.0015069 | 0.96157
20100001.hyd | 20100001.sac | 242 | 79.851 | 79.8498 | 0.024478 | -0.0011749 | 29.1712 | 30.4395 | 0.0015069 | 1.2683
20100001.hyd | 20100001.sac | 121 | 59.926 | 59.9259 | 0.027251 | -0.00014114 | 28.8631 | 30.1084 | 0.00028768 | 1.2453
20100001.hyd | 20100001.sac | 121 | 50.042 | 50.0417 | 0.025766 | -0.00025559 | -99 | 29.8263 | 0.00029469 | 128.826
20100001.hyd | 20100001.sac | 196 | 39.89 | 39.888 | 0.029958 | -0.0020485 | -99 | 29.6423 | 0.00047275 | 128.642
20100001.hyd | 20100001.sac | 196 | 39.887 | 39.888 | 0.029958 | 0.00094986 | -99 | 29.6423 | 0.00047275 | 128.642
20100001.hyd | 20100001.sac | 121 | 30.121 | 30.1208 | 0.025546 | -0.00018311 | -99 | 29.5522 | 0.00024288 | 128.552
20100001.hyd | 20100001.sac | 121 | 20.006 | 20.0055 | 0.019456 | -0.00046349 | -99 | 29.4487 | 0.00043849 | 128.449
20100001.hyd | 20100001.sac | 228 | 10.015 | 10.0158 | 0.027176 | 0.00083351 | -99 | 29.0308 | 0.00086652 | 128.031
20100001.hyd | 20100001.sac | 228 | 10.017 | 10.0158 | 0.027176 | -0.0011663 | -99 | 29.0308 | 0.00086652 | 128.031
20100001.hyd | 20100001.sac | 188 | 0.602 | 0.60205 | 0.02973 | 4.7862e-05 | -99 | 28.7147 | 0.043812 | 127.715
20100001.hyd | 20100001.sac | 188 | 0.602 | 0.60205 | 0.02973 | 4.7862e-05 | -99 | 28.7147 | 0.043812 | 127.715
20100005.hyd | 20100005.sac | 121 | 1332.67 | 1332.67 | 0.15509 | 0.00024414 | 34.4815 | 34.4812 | 0.00027082 | -0.00028229
20100005.hyd | 20100005.sac | 120 | 1250.94 | 1250.94 | 0.47828 | 0.0084229 | 34.465 | 34.465 | 0.00025854 | 3.8147e-05
20100005.hyd | 20100005.sac | 121 | 1001.34 | 1001.35 | 0.25959 | 0.00024414 | 34.3895 | 34.3901 | 0.00028374 | 0.00059128
20100005.hyd | 20100005.sac | 121 | 801.925 | 801.925 | 0.22209 | -0.00036621 | 34.2918 | 34.2945 | 0.00072588 | 0.0027046
20100005.hyd | 20100005.sac | 121 | 698.725 | 698.725 | 0.58337 | 0.00036621 | 34.2303 | 34.2318 | 0.00037485 | 0.0015144
20100005.hyd | 20100005.sac | 121 | 600.655 | 600.655 | 0.35325 | 0.00012207 | 34.1616 | 34.1636 | 0.00023839 | 0.002037
20100005.hyd | 20100005.sac | 121 | 401.385 | 401.385 | 0.44389 | 0.00033569 | 34.0301 | 34.0314 | 0.00031039 | 0.0013123
20100005.hyd | 20100005.sac | 121 | 299.423 | 299.423 | 0.25207 | -0.00036621 | 33.9763 | 33.9769 | 0.00023721 | 0.00060272
20100005.hyd | 20100005.sac | 121 | 199.197 | 199.197 | 0.28365 | 7.6294e-05 | 33.9289 | 33.9292 | 0.00025024 | 0.00029755
20100005.hyd | 20100005.sac | 121 | 151.409 | 151.409 | 0.50835 | -0.00016785 | 33.8328 | 33.8341 | 0.0007341 | 0.001255
20100005.hyd | 20100005.sac | 121 | 101.832 | 101.832 | 0.22695 | 0.00041199 | 33.3438 | 33.3565 | 0.0022425 | 0.012722
20100005.hyd | 20100005.sac | 121 | 75.183 | 75.1828 | 0.27212 | -0.00023651 | 32.8464 | 32.8601 | 0.0034326 | 0.013729
20100005.hyd | 20100005.sac | 121 | 50.44 | 50.4396 | 0.25475 | -0.00035477 | 32.6014 | 32.6044 | 0.00082242 | 0.0030365
20100005.hyd | 20100005.sac | 121 | 25.387 | 25.3872 | 0.16975 | 0.00024986 | 32.4767 | 32.4856 | 0.00093769 | 0.0088539
20100005.hyd | 20100005.sac | 121 | 10.251 | 10.2511 | 0.20329 | 0.00013161 | 32.0112 | 32.0132 | 0.0068903 | 0.0019607
20100005.hyd | 20100005.sac | 121 | 0.948 | 0.94763 | 0.1259 | -0.00037193 | 31.8627 | 31.8611 | 0.0002219 | -0.0016289
20100016.hyd | 20100016.sac | 121 | 3272.93 | 3272.93 | 0.24654 | -0.00024414 | 34.6497 | 34.6487 | 0.00030171 | -0.00097275
20100016.hyd | 20100016.sac | 121 | 3001.14 | 3001.14 | 0.14264 | 0 | 34.6476 | 34.6475 | 0.00023797 | -0.00011444
20100016.hyd | 20100016.sac | 121 | 2498.83 | 2498.83 | 0.19617 | 0 | 34.629 | 34.6279 | 0.00023955 | -0.0011139
20100016.hyd | 20100016.sac | 121 | 2249.92 | 2249.92 | 0.26271 | -0.00024414 | 34.6163 | 34.6155 | 0.0002426 | -0.00076675
20100016.hyd | 20100016.sac | 121 | 1999.03 | 1999.03 | 0.30583 | 0.00024414 | 34.5887 | 34.5886 | 0.00025367 | -0.00014114
20100016.hyd | 20100016.sac | 121 | 1748.4 | 1748.39 | 0.18387 | -0.00024414 | 34.5574 | 34.5573 | 0.00026735 | -8.7738e-05
20100016.hyd | 20100016.sac | 121 | 1500.44 | 1500.44 | 0.21372 | -0.00036621 | 34.5198 | 34.5195 | 0.00027215 | -0.00033951
20100016.hyd | 20100016.sac | 121 | 1246.36 | 1246.36 | 0.3151 | 0 | 34.446 | 34.4474 | 0.00024933 | 0.0013809
20100016.hyd | 20100016.sac | 121 | 998.165 | 998.165 | 0.19451 | 0.00036621 | 34.3593 | 34.3597 | 0.00025173 | 0.00042725
20100016.hyd | 20100016.sac | 121 | 802.259 | 802.259 | 0.3627 | -0.00042725 | 34.2702 | 34.2713 | 0.00024321 | 0.0011253
20100016.hyd | 20100016.sac | 121 | 601.676 | 601.676 | 0.18372 | -0.00012207 | 34.1361 | 34.1363 | 0.00026936 | 0.00017929
20100016.hyd | 20100016.sac | 121 | 399.811 | 399.811 | 0.14344 | -0.00012207 | 33.971 | 33.9709 | 0.0002422 | -5.3406e-05
20100016.hyd | 20100016.sac | 121 | 299.822 | 299.822 | 0.13466 | -0.00045776 | 33.9411 | 33.9412 | 0.0003993 | 0.0001297
20100016.hyd | 20100016.sac | 121 | 250.345 | 250.345 | 0.11952 | 0.00016785 | 33.939 | 33.939 | 0.00028443 | 0
20100016.hyd | 20100016.sac | 121 | 199.976 | 199.976 | 0.13062 | -0.00048828 | 33.9423 | 33.9418 | 0.00022489 | -0.00046158
20100016.hyd | 20100016.sac | 121 | 149.705 | 149.705 | 0.10867 | 4.5776e-05 | 33.9068 | 33.9105 | 0.00044708 | 0.0037422
20100016.hyd | 20100016.sac | 121 | 99.559 | 99.5588 | 0.24139 | -0.00018311 | 33.178 | 33.1881 | 0.0182 | 0.010109
20100016.hyd | 20100016.sac | 121 | 75.031 | 75.0306 | 0.16089 | -0.00039673 | 32.696 | 32.6878 | 0.00035853 | -0.0081634
20100016.hyd | 20100016.sac | 121 | 50.571 | 50.5707 | 0.22228 | -0.00029755 | 32.66 | 32.6595 | 0.00033801 | -0.00049973
20100016.hyd | 20100016.sac | 121 | 24.598 | 24.5983 | 0.22502 | 0.00025749 | 32.6466 | 32.6433 | 0.0041958 | -0.0032997
20100016.hyd | 20100016.sac | 121 | 10.277 | 10.2765 | 0.28175 | -0.0004797 | 62.6501 | 32.6481 | 0.00022281 | -30.002
20100016.hyd | 20100016.sac | 121 | 2.071 | 2.071 | 0.13072 | 1.6451e-05 | 32.6513 | 32.6494 | 0.00088095 | -0.0018806
20100026.hyd | 20100026.sac | 121 | 3681.64 | 3681.64 | 0.19245 | 0.00024414 | 34.6678 | 34.6673 | 0.00028155 | -0.00054932
20100026.hyd | 20100026.sac | 121 | 2999.76 | 2999.76 | 0.6074 | 0.00024414 | 34.6511 | 34.6517 | 0.00026045 | 0.00062561
20100026.hyd | 20100026.sac | 121 | 2500.21 | 2500.21 | 0.42801 | 0.00024414 | 34.6279 | 34.6278 | 0.00022945 | -8.3923e-05
20100026.hyd | 20100026.sac | 121 | 2250.32 | 2250.33 | 0.46801 | 0.00048828 | 34.6121 | 34.6119 | 0.00029205 | -0.00017929
20100026.hyd | 20100026.sac | 121 | 2000.85 | 2000.85 | 0.31883 | -0.00048828 | 34.589 | 34.5898 | 0.0002697 | 0.00084686
20100026.hyd | 20100026.sac | 121 | 1748.96 | 1748.96 | 0.48966 | 0 | 34.5605 | 34.5605 | 0.00026192 | -3.4332e-05
20100026.hyd | 20100026.sac | 121 | 1501.06 | 1501.07 | 0.55131 | 0.00036621 | 34.5068 | 34.5067 | 0.00032857 | -0.00014496
20100026.hyd | 20100026.sac | 121 | 1250.25 | 1250.25 | 0.19048 | 0.00012207 | 34.4435 | 34.4437 | 0.0002532 | 0.00022888
20100026.hyd | 20100026.sac | 121 | 999.011 | 999.011 | 0.50962 | 0.00024414 | 34.368 | 34.3681 | 0.00030637 | 0.0001297
20100026.hyd | 20100026.sac | 121 | 799.253 | 799.253 | 0.43759 | 0.00018311 | 34.2836 | 34.2848 | 0.00033671 | 0.0011558
20100026.hyd | 20100026.sac | 121 | 601.73 | 601.73 | 0.36791 | -0.00036621 | 34.1726 | 34.1727 | 0.00022272 | 0.00011826
20100026.hyd | 20100026.sac | 121 | 401.181 | 401.181 | 0.26525 | -0.00033569 | 34.0288 | 34.0285 | 0.00031788 | -0.00031662
20100026.hyd | 20100026.sac | 121 | 300.248 | 300.248 | 0.21493 | 0 | 33.9574 | 33.9579 | 0.0002698 | 0.0004921
20100026.hyd | 20100026.sac | 121 | 250.127 | 250.127 | 0.25694 | -0.00013733 | 33.9331 | 33.9337 | 0.00046927 | 0.00058365
20100026.hyd | 20100026.sac | 121 | 199.472 | 199.472 | 0.39968 | -0.00022888 | 33.9206 | 33.9201 | 0.00032234 | -0.00046921
20100026.hyd | 20100026.sac | 121 | 150.133 | 150.133 | 0.33388 | -0.00032043 | 33.8682 | 33.8719 | 0.0010853 | 0.0037498
20100026.hyd | 20100026.sac | 121 | 100.661 | 100.661 | 0.32235 | 0.00013733 | 33.1141 | 33.1215 | 0.0026356 | 0.0074348
20100026.hyd | 20100026.sac | 121 | 75.008 | 75.0079 | 0.28862 | -0.00015259 | 32.6659 | 32.6663 | 0.00044665 | 0.0004425
20100026.hyd | 20100026.sac | 121 | 50.736 | 50.7362 | 0.10792 | 0.00022888 | 32.6442 | 32.6411 | 0.0016665 | -0.0031052
20100026.hyd | 20100026.sac | 121 | 24.619 | 24.6194 | 0.3349 | 0.00037193 | 32.6553 | 32.6555 | 0.00025972 | 0.00016403
20100026.hyd | 20100026.sac | 121 | 9.787 | 9.7867 | 0.25277 | -0.00031376 | 32.6557 | 32.6552 | 0.00056496 | -0.00050736
20100026.hyd | 20100026.sac | 121 | 1.379 | 1.3793 | 0.17597 | 0.00030577 | 32.6551 | 32.6548 | 0.00039371 | -0.00029755
20100033.hyd | 20100033.sac | 121 | 4020.08 | 4020.08 | 0.36412 | -0.00024414 | 34.6757 | 34.6758 | 0.0002809 | 4.9591e-05
20100033.hyd | 20100033.sac | 121 | 3500.22 | 3500.22 | 0.27988 | 0.00024414 | 34.6699 | 34.6691 | 0.00030298 | -0.00080109
20100033.hyd | 20100033.sac | 121 | 3000.7 | 3000.7 | 0.10614 | -0.00024414 | 34.6546 | 34.6539 | 0.00028687 | -0.00065994
20100033.hyd | 20100033.sac | 121 | 2500.69 | 2500.69 | 0.22787 | 0.00024414 | 34.6272 | 34.627 | 0.00022434 | -0.00015259
20100033.hyd | 20100033.sac | 121 | 2250.11 | 2250.11 | 0.30008 | 0 | 34.6081 | 34.6079 | 0.00028819 | -0.00018692
20100033.hyd | 20100033.sac | 121 | 1999.52 | 1999.52 | 0.096376 | -0.00048828 | 34.5847 | 34.5844 | 0.00026429 | -0.00029755
20100033.hyd | 20100033.sac | 121 | 1749.45 | 1749.45 | 0.31304 | 0 | 34.5465 | 34.5466 | 0.00026402 | 9.5367e-05
20100033.hyd | 20100033.sac | 121 | 1501.17 | 1501.17 | 0.34582 | 0.00012207 | 34.4977 | 34.4968 | 0.00024235 | -0.00093079
20100033.hyd | 20100033.sac | 121 | 1250.71 | 1250.71 | 0.048478 | -0.00024414 | 34.4385 | 34.4391 | 0.00026815 | 0.00056457
20100033.hyd | 20100033.sac | 121 | 999.462 | 999.462 | 0.1639 | -0.00036621 | 34.3604 | 34.361 | 0.0002371 | 0.00056457
20100033.hyd | 20100033.sac | 121 | 799.213 | 799.213 | 0.581 | -0.00024414 | 34.2835 | 34.2848 | 0.00027021 | 0.0012894
20100033.hyd | 20100033.sac | 121 | 599.204 | 599.204 | 0.49636 | 0.00018311 | 34.169 | 34.1697 | 0.0003693 | 0.00074768
20100033.hyd | 20100033.sac | 121 | 401.049 | 401.049 | 0.16325 | -6.1035e-05 | 34.0071 | 34.0084 | 0.00026316 | 0.0012665
20100033.hyd | 20100033.sac | 121 | 299.548 | 299.548 | 0.34091 | -0.00027466 | 33.9397 | 33.9402 | 0.00028076 | 0.0004921
20100033.hyd | 20100033.sac | 121 | 249.792 | 249.792 | 0.25329 | 0.00048828 | 33.9238 | 33.9243 | 0.00050299 | 0.00053787
20100033.hyd | 20100033.sac | 121 | 200.279 | 200.279 | 0.13173 | -0.00016785 | 33.9027 | 33.9023 | 0.0007132 | -0.0003624
20100033.hyd | 20100033.sac | 121 | 149.94 | 149.94 | 0.41615 | 0.00022888 | -99 | 33.8625 | 0.00023683 | 132.862
20100033.hyd | 20100033.sac | 121 | 100.285 | 100.285 | 0.17265 | 0.00019074 | 32.7351 | 32.7259 | 0.0011332 | -0.009243
20100033.hyd | 20100033.sac | 121 | 75.05 | 75.0499 | 0.066329 | -0.00014496 | 32.6774 | 32.6731 | 0.00022655 | -0.0042953
20100033.hyd | 20100033.sac | 121 | 49.341 | 49.3408 | 0.22667 | -0.00022125 | 32.6472 | 32.6384 | 0.00029869 | -0.0087624
20100033.hyd | 20100033.sac | 121 | 25.238 | 25.238 | 0.14939 | -1.7166e-05 | 32.6749 | 32.6698 | 0.0048704 | -0.0050545
20100033.hyd | 20100033.sac | 121 | 9.563 | 9.5627 | 0.34116 | -0.00026417 | 32.663 | 32.6563 | 0.0017101 | -0.006691
20100033.hyd | 20100033.sac | 121 | 0.702 | 0.70231 | 0.12445 | 0.00030577 | 32.6531 | 32.6511 | 0.00031392 | -0.0020256
Create Fit Sheet