## File List
Number of Files= |  | 10
Pair # | Primary File | Secondary File | First Row in Main | Last Row in Main | Comparison
1 | 20100053.hyd | 20100053.sac | 11 | 33 | 20100053.hyd & 20100053.sac
2 | 20100057.hyd | 20100057.sac | 35 | 48 | 20100057.hyd & 20100057.sac
3 | 20100058.hyd | 20100058.sac | 50 | 58 | 20100058.hyd & 20100058.sac
4 | 20100059.hyd | 20100059.sac | 60 | 72 | 20100059.hyd & 20100059.sac
5 | 20100062.hyd | 20100062.sac | 74 | 86 | 20100062.hyd & 20100062.sac
6 | 20100069.hyd | 20100069.sac | 88 | 103 | 20100069.hyd & 20100069.sac
7 | 20100081.hyd | 20100081.sac | 105 | 120 | 20100081.hyd & 20100081.sac
8 | 20100090.hyd | 20100090.sac | 122 | 137 | 20100090.hyd & 20100090.sac
9 | 20100099.hyd | 20100099.sac | 139 | 154 | 20100099.hyd & 20100099.sac
10 | 20100108.hyd | 20100108.sac | 156 | 171 | 20100108.hyd & 20100108.sac

## (Sal1 - Sal_Bot)
Calculation of Linear Least Squares Fit For
(Sal1 - Sal_Bot)
1
Fit Equation: Diff = m * Prop + b
where: Diff =Diff (Sal1 - Sal_Bot), Prop=Pressure
Coefficients |  |  |  | Error Estimates |  |  |  | Regression Line Limits
| Value | Std Err. |  | Coeff of Determination |  | 0.18041 |  | X | CALC Y
m= | -7.1536e-07 | 4.4015e-07 |  | Std Dev of Resid |  | 0.0013315 |  | 1000.11 | 0.00059581
b= | 0.0013112 | 0.00082752 |  | Resid Sum of Squares |  | 2.1274e-05 |  | 3503.68 | -0.0011952
# of Values Extracted = |  |  | 152
# of Values Used in Fit = |  |  | 14
File | Use | Pressure | Sal1 | Sal1 | Diff (Sal1 - Sal_Bot) |  |  |  | Fit vs. | Pressure
Pair # | in Fit? | Average | Average | Std Dev | Measured | Fit | Resid |  | X | Y
1 | NO | 3997.63 | 34.6794 | 0.00034991 | 133.679 | -0.0015485 | -133.6805 |  | 3503.68 | -3.8147e-06
1 | YES | 3503.68 | 34.6704 | 0.00033685 | -3.8147e-06 | -0.0011952 | -0.0011913 |  | 2999.58 | -0.001091
1 | YES | 2999.58 | 34.6548 | 0.00031124 | -0.001091 | -0.00083454 | 0.00025646 |  | 2501.03 | -0.0010071
1 | YES | 2501.03 | 34.6267 | 0.00036029 | -0.0010071 | -0.00047789 | 0.00052919 |  | 2251.81 | -0.00096512
1 | YES | 2251.81 | 34.6081 | 0.00030731 | -0.00096512 | -0.00029961 | 0.00066551 |  | 1997.7 | 0.00017548
1 | YES | 1997.7 | 34.5897 | 0.0003356 | 0.00017548 | -0.00011783 | -0.00029331 |  | 1749.55 | -0.00067139
1 | YES | 1749.55 | 34.5588 | 0.00037738 | -0.00067139 | 5.9687e-05 | 0.00073107 |  | 1503.33 | -0.0005188
1 | YES | 1503.33 | 34.5121 | 0.00036745 | -0.0005188 | 0.00023582 | 0.00075462 |  | 1250.04 | -0.00042343
1 | YES | 1250.04 | 34.4587 | 0.00033595 | -0.00042343 | 0.00041702 | 0.00084045 |  | 1002.49 | 2.2888e-05
1 | YES | 1002.49 | 34.388 | 0.00033932 | 2.2888e-05 | 0.00059411 | 0.00057122 |  | 1001.29 | 0.0003624
1 | NO | 800.331 | 34.309 | 0.00035968 | -0.00011826 | 0.00073872 | 0.00085698 |  | 1000.11 | 0.00059128
1 | NO | 601.367 | 34.2192 | 0.00051378 | 0.0010796 | 0.00088105 | -0.00019851 |  | 1001.3 | 0.0045013
1 | NO | 399.073 | 34.0358 | 0.00052365 | 0.0014305 | 0.0010258 | -0.00040474 |  | 1000.8 | 0.00096893
1 | NO | 300.007 | 33.944 | 0.0078381 | -0.0014687 | 0.0010966 | 0.0025653 |  | 1000.71 | -0.00058365
1 | NO | 250.087 | 33.8825 | 0.0015464 | 132.882 | 0.0011323 | -132.8809
1 | NO | 200.458 | 33.8063 | 0.00037169 | -0.0014305 | 0.0011678 | 0.0025984
1 | NO | 151.117 | 33.7201 | 0.00033916 | 0.0013847 | 0.0012031 | -0.00018159
1 | NO | 98.8497 | 32.9184 | 0.012585 | 0.033726 | 0.0012405 | -0.032485
1 | NO | 74.7281 | 32.7379 | 0.00073877 | -0.00041962 | 0.0012578 | 0.0016774
1 | NO | 50.5189 | 32.7171 | 0.00052678 | -0.0034485 | 0.0012751 | 0.0047236
1 | NO | 24.5915 | 32.6816 | 0.00087959 | -0.0029602 | 0.0012937 | 0.0042539
1 | NO | 10.5604 | 32.6791 | 0.00053481 | -0.003128 | 0.0013037 | 0.0044317
1 | NO | 2.1381 | 32.6768 | 0.0007676 | -0.0015984 | 0.0013097 | 0.0029081
2 | YES | 1001.29 | 34.3607 | 0.00048634 | 0.0003624 | 0.00059496 | 0.00023257
2 | NO | 799.326 | 34.2826 | 0.00045605 | 0.00015259 | 0.00073944 | 0.00058685
2 | NO | 598.564 | 34.1467 | 0.00030605 | -0.00033569 | 0.00088306 | 0.0012188
2 | NO | 400.582 | 34.0307 | 0.00042815 | 0.00053406 | 0.0010247 | 0.00049063
2 | NO | 303.933 | 33.9743 | 0.00028364 | -0.00022888 | 0.0010938 | 0.0013227
2 | NO | 252.614 | 33.9606 | 0.00030221 | -0.0021706 | 0.0011305 | 0.0033011
2 | NO | 201.974 | 33.9443 | 0.00032918 | -0.001751 | 0.0011668 | 0.0029177
2 | NO | 149.155 | 33.8518 | 0.00043623 | -0.00383 | 0.0012045 | 0.0050345
2 | NO | 99.1894 | 33.119 | 0.00091549 | -0.0016136 | 0.0012403 | 0.0028539
2 | NO | 76.9382 | 32.731 | 0.0015125 | 0.002182 | 0.0012562 | -0.0009258
2 | NO | 52.6009 | 32.4671 | 0.0045544 | -0.0044746 | 0.0012736 | 0.0057483
2 | NO | 26.1986 | 32.1712 | 0.0011306 | 0.0019455 | 0.0012925 | -0.00065299
2 | NO | 11.7984 | 32.1328 | 0.00050271 | -0.0029755 | 0.0013028 | 0.0042783
2 | NO | 1.3323 | 32.1343 | 0.0016075 | -0.001751 | 0.0013103 | 0.0030612
3 | NO | 216.439 | 33.8643 | 0.00034945 | 132.864 | 0.0011564 | -132.8628
3 | NO | 199.964 | 33.8647 | 0.00039876 | -0.0012932 | 0.0011682 | 0.0024614
3 | NO | 150.706 | 33.6313 | 0.0029058 | 0.01429 | 0.0012034 | -0.013086
3 | NO | 100.61 | 32.348 | 0.015182 | 0.032829 | 0.0012393 | -0.03159
3 | NO | 74.9275 | 32.0279 | 0.0016196 | -0.0078011 | 0.0012576 | 0.0090587
3 | NO | 49.7253 | 31.9438 | 0.00029352 | -0.0017452 | 0.0012757 | 0.0030209
3 | NO | 24.0818 | 31.607 | 0.00086971 | 0.018648 | 0.001294 | -0.017354
3 | NO | 9.9763 | 31.5231 | 0.00038995 | 0.0037308 | 0.0013041 | -0.0024267
3 | NO | 1.1168 | 31.5104 | 0.00037519 | -0.0045395 | 0.0013105 | 0.0058499
4 | NO | 289.312 | 33.211 | 0.00038489 | 0.005455 | 0.0011043 | -0.0043507
4 | NO | 249.638 | 33.1583 | 0.00026412 | -0.0082092 | 0.0011327 | 0.0093419
4 | NO | 200.007 | 33.1059 | 0.0002982 | -2.6703e-05 | 0.0011682 | 0.0011949
4 | NO | 174.632 | 33.0602 | 0.00033593 | -0.0074501 | 0.0011863 | 0.0086364
4 | NO | 150.106 | 33.0136 | 0.00031496 | 0.00040054 | 0.0012039 | 0.00080333
4 | NO | 125.027 | 32.932 | 0.00027068 | -0.0047493 | 0.0012218 | 0.0059711
4 | NO | 100.251 | 32.7651 | 0.00033514 | -0.0024452 | 0.0012395 | 0.0036848
4 | NO | 74.7254 | 32.0993 | 0.0005455 | -0.025929 | 0.0012578 | 0.027186
4 | NO | 49.8875 | 31.7296 | 0.00064919 | -0.072176 | 0.0012756 | 0.073452
4 | NO | 30.2563 | 31.3603 | 0.0086966 | -0.066364 | 0.0012896 | 0.067654
4 | NO | 19.8724 | 30.7113 | 0.0018226 | -0.14288 | 0.001297 | 0.14417
4 | NO | 9.7154 | 30.1983 | 0.016723 | -0.060291 | 0.0013043 | 0.061596
4 | NO | 0.81353 | 14.6403 | 0.95123 | 3.2162 | 0.0013107 | -3.2148
5 | NO | 319.036 | 33.2113 | 0.00062433 | 0.0017586 | 0.001083 | -0.00067556
5 | NO | 301.173 | 33.2111 | 0.00047431 | 0.002079 | 0.0010958 | -0.00098321
5 | NO | 250.868 | 33.1803 | 0.00039132 | -0.0015106 | 0.0011318 | 0.0026424
5 | NO | 200.117 | 33.1172 | 0.00034848 | -0.00096512 | 0.0011681 | 0.0021332
5 | NO | 175.057 | 33.0948 | 0.00037796 | 0.0064964 | 0.001186 | -0.0053104
5 | NO | 150.09 | 33.0622 | 0.00034308 | 0.00030518 | 0.0012039 | 0.0008987
5 | NO | 125.065 | 32.9908 | 0.0015445 | 0.0077972 | 0.0012218 | -0.0065755
5 | NO | 99.5955 | 32.7896 | 0.0010025 | 0.015999 | 0.00124 | -0.014759
5 | NO | 75.0613 | 32.0479 | 0.0014605 | 0.0021248 | 0.0012576 | -0.00086724
5 | NO | 50.5919 | 31.653 | 0.0004214 | 1.4868 | 0.0012751 | -1.4855
5 | NO | 29.9612 | 31.3961 | 0.00043401 | -0.25076 | 0.0012898 | 0.25205
5 | NO | 20.067 | 31.1911 | 0.011178 | 0.047274 | 0.0012969 | -0.045977
5 | NO | 10.0374 | 30.576 | 0.020822 | 0.11809 | 0.0013041 | -0.11679
6 | NO | 997.353 | 34.3628 | 0.00049659 | 0.00056457 | 0.00059778 | 3.3206e-05
6 | NO | 800.201 | 34.2911 | 0.00033558 | 0.00093079 | 0.00073882 | -0.00019197
6 | NO | 598.331 | 34.1872 | 0.00069031 | 0.0016327 | 0.00088323 | -0.00074946
6 | NO | 503.847 | 34.107 | 0.00038736 | 0.0028038 | 0.00095082 | -0.001853
6 | NO | 402.273 | 34.014 | 0.00033841 | -0.00038528 | 0.0010235 | 0.0014088
6 | NO | 301.073 | 33.9625 | 0.0002958 | -8.7738e-05 | 0.0010959 | 0.0011836
6 | NO | 250.685 | 33.9435 | 0.00041078 | -0.0029526 | 0.0011319 | 0.0040845
6 | NO | 200.67 | 33.9271 | 0.00030838 | 0.0001297 | 0.0011677 | 0.001038
6 | NO | 150 | 33.8844 | 0.0010327 | -0.00022125 | 0.0012039 | 0.0014252
6 | NO | 122.489 | 33.665 | 0.00051783 | -0.00035477 | 0.0012236 | 0.0015784
6 | NO | 100.811 | 33.2702 | 0.013573 | 0.044716 | 0.0012391 | -0.043477
6 | NO | 74.7051 | 32.9004 | 0.001478 | 0.0030022 | 0.0012578 | -0.0017444
6 | NO | 49.0816 | 32.5991 | 0.00095371 | -0.0024986 | 0.0012761 | 0.0037748
6 | NO | 25.1934 | 32.4548 | 0.001341 | -0.0023689 | 0.0012932 | 0.0036622
6 | NO | 9.4014 | 32.4458 | 0.0006169 | -0.0028343 | 0.0013045 | 0.0041388
6 | NO | 1.1337 | 32.4463 | 0.00032208 | -0.0026054 | 0.0013104 | 0.0039159
7 | YES | 1000.11 | 34.3008 | 0.00042111 | 0.00059128 | 0.00059581 | 4.5303e-06
7 | NO | 798.991 | 34.1873 | 0.00043706 | -0.0014877 | 0.00073968 | 0.0022274
7 | NO | 598.625 | 34.0368 | 0.00040923 | -0.0012245 | 0.00088302 | 0.0021075
7 | NO | 500.675 | 33.9776 | 0.00067819 | -0.00082016 | 0.00095309 | 0.0017732
7 | NO | 400.25 | 33.9557 | 0.00038758 | -0.00093079 | 0.0010249 | 0.0019557
7 | NO | 299.947 | 33.9119 | 0.0007751 | -0.00046921 | 0.0010967 | 0.0015659
7 | NO | 248.969 | 33.848 | 0.0011678 | 0.00040436 | 0.0011331 | 0.00072879
7 | NO | 199.694 | 33.7009 | 0.00058683 | 0.00038528 | 0.0011684 | 0.00078311
7 | NO | 150.25 | 33.1115 | 0.0107 | 0.022919 | 0.0012038 | -0.021715
7 | NO | 124.521 | 32.7111 | 0.0033815 | 0.008728 | 0.0012222 | -0.0075059
7 | NO | 99.5419 | 32.5206 | 0.00060132 | 0.0031014 | 0.00124 | -0.0018613
7 | NO | 75.2005 | 32.3946 | 0.00042837 | -0.00078583 | 0.0012575 | 0.0020433
7 | NO | 50.0163 | 32.2929 | 0.0027845 | 0.00072098 | 0.0012755 | 0.00055449
7 | NO | 23.6922 | 32.2649 | 0.0060698 | -0.0034409 | 0.0012943 | 0.0047352
7 | NO | 9.2779 | 32.2639 | 0.00033953 | -0.0025597 | 0.0013046 | 0.0038643
7 | NO | 1.8069 | 32.2632 | 0.0064176 | -0.0033684 | 0.00131 | 0.0046783
8 | YES | 1001.3 | 34.3602 | 0.00031175 | 0.0045013 | 0.00059496 | -0.0039064
8 | NO | 800.092 | 34.2698 | 0.00050311 | 0.00027084 | 0.00073889 | 0.00046805
8 | NO | 599.727 | 34.1632 | 0.00041689 | -0.00015259 | 0.00088223 | 0.0010348
8 | NO | 499.799 | 34.0774 | 0.00040252 | -0.0023537 | 0.00095371 | 0.0033074
8 | NO | 399.79 | 34.0134 | 0.00044295 | 0.0010071 | 0.0010253 | 1.8175e-05
8 | NO | 299.583 | 33.943 | 0.0011175 | -0.0018616 | 0.0010969 | 0.0029585
8 | NO | 249.921 | 33.9298 | 0.00049916 | -0.00044632 | 0.0011325 | 0.0015788
8 | NO | 199.926 | 33.9178 | 0.0029663 | -0.0013199 | 0.0011682 | 0.0024881
8 | NO | 150.836 | 33.8153 | 0.00055983 | 0.00027466 | 0.0012033 | 0.00092869
8 | NO | 124.617 | 33.6504 | 0.001744 | 0.0083847 | 0.0012221 | -0.0071626
8 | NO | 99.2423 | 33.1894 | 0.0010159 | 0.0021515 | 0.0012403 | -0.00091123
8 | NO | 75.1059 | 32.7599 | 0.0012603 | 0.0031471 | 0.0012575 | -0.0018896
8 | NO | 49.738 | 32.5552 | 0.0016074 | -0.001442 | 0.0012757 | 0.0027176
8 | NO | 24.4576 | 32.5254 | 0.00046716 | -0.00066757 | 0.0012938 | 0.0019613
8 | NO | 9.8939 | 32.5137 | 0.00043261 | -0.0017471 | 0.0013042 | 0.0030513
8 | NO | 1.7175 | 32.5137 | 0.00036138 | -0.0022888 | 0.00131 | 0.0035988
9 | YES | 1000.8 | 34.2979 | 0.00039182 | 0.00096893 | 0.00059531 | -0.00037362
9 | NO | 800.535 | 34.2092 | 0.0003627 | 0.0002327 | 0.00073858 | 0.00050588
9 | NO | 599.737 | 34.0394 | 0.00073629 | -2.6703e-05 | 0.00088222 | 0.00090892
9 | NO | 500.692 | 33.9867 | 0.00042395 | -0.0010681 | 0.00095307 | 0.0020212
9 | NO | 400.235 | 33.9603 | 0.0004116 | 0.00033569 | 0.0010249 | 0.00068924
9 | NO | 300.505 | 33.9223 | 0.0004061 | -0.00026321 | 0.0010963 | 0.0013595
9 | NO | 249.755 | 33.8897 | 0.00038382 | -0.0006218 | 0.0011326 | 0.0017544
9 | NO | 200.358 | 33.7726 | 0.0017541 | 0.01619 | 0.0011679 | -0.015022
9 | NO | 150.281 | 33.2401 | 0.00051863 | -0.00033569 | 0.0012037 | 0.0015394
9 | NO | 124.26 | 32.8551 | 0.0065018 | -6.1035e-05 | 0.0012224 | 0.0012834
9 | NO | 100.876 | 32.6133 | 0.0014916 | 0.001297 | 0.0012391 | -5.7913e-05
9 | NO | 74.7217 | 32.4425 | 0.00086916 | -0.005703 | 0.0012578 | 0.0069608
9 | NO | 49.6379 | 32.3027 | 0.00042056 | -0.0031319 | 0.0012757 | 0.0044076
9 | NO | 24.5692 | 32.26 | 0.0033801 | -0.0080414 | 0.0012937 | 0.0093351
9 | NO | 9.9222 | 32.2594 | 0.00095194 | -0.0023918 | 0.0013042 | 0.003696
9 | NO | 0.96094 | 32.25 | 0.02307 | -0.012562 | 0.0013106 | 0.013872
10 | YES | 1000.71 | 34.328 | 0.00035879 | -0.00058365 | 0.00059538 | 0.001179
10 | NO | 802.104 | 34.2478 | 0.00047588 | -0.00020218 | 0.00073745 | 0.00093963
10 | NO | 601.68 | 34.1306 | 0.0004274 | 0.00022507 | 0.00088083 | 0.00065576
10 | NO | 498.593 | 34.0597 | 0.0019465 | -8.7738e-05 | 0.00095457 | 0.0010423
10 | NO | 399.383 | 33.9822 | 0.0011785 | -0.0013123 | 0.0010255 | 0.0023378
10 | NO | 300.647 | 33.9424 | 0.00088445 | -0.00076294 | 0.0010962 | 0.0018591
10 | NO | 250.746 | 33.9234 | 0.00079447 | -0.00082398 | 0.0011319 | 0.0019559
10 | NO | 200.884 | 33.8269 | 0.002253 | 0.0067444 | 0.0011675 | -0.0055768
10 | NO | 150.24 | 33.4261 | 0.0033242 | 0.01656 | 0.0012038 | -0.015356
10 | NO | 125.617 | 33.0235 | 0.0030926 | 0.0094109 | 0.0012214 | -0.0081895
10 | NO | 99.2616 | 32.7158 | 0.00045519 | 0.0028305 | 0.0012402 | -0.0015903
10 | NO | 74.8643 | 32.584 | 0.0083501 | 0.0067978 | 0.0012577 | -0.0055401
10 | NO | 50.3991 | 32.5031 | 0.0022736 | 0.0010643 | 0.0012752 | 0.0002109
10 | NO | 24.7032 | 32.4191 | 0.0018937 | -0.0019188 | 0.0012936 | 0.0032124
10 | NO | 10.1663 | 32.4162 | 0.00038156 | -0.002964 | 0.001304 | 0.004268
10 | NO | 0.33841 | 32.4104 | 0.024913 | -0.0090446 | 0.001311 | 0.010356
NO
YES
YES
YES
YES
YES
YES
YES
YES
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
YES
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
NO
FIT vs. Pressure
FIT vs. Sal1
FIT vs. File Pair #
MAKE/UPDATE CHART
CREATE CAL CTRL
INCLUDE/EXCLUDE

## Main
# Channels= | 2
| Primary | Secondary |  | Comparison Name
Ref | Pressure | Pressure |  | Pressure - Pressure
Comp 1 | Sal_Bot | Sal1 |  | Sal1 - Sal_Bot
Average Size: | 1
|  |  | Primary | Secondary | Secondary |  | Primary | Secondary | Secondary
Primary | Secondary | Secondary | Pressure | Pressure | Pressure | (S-P) | Sal_Bot | Sal1 | Sal1 | (S-P)
File Name | File Name | Count | Value | Avg | Std Dev | Diff | Value | Avg | Std Dev | Diff
20100053.hyd | 20100053.sac | 110 | 3997.74 | 3997.63 | 0.4539 | -0.11621 | -99 | 34.6794 | 0.00034991 | 133.679
20100053.hyd | 20100053.sac | 121 | 3503.68 | 3503.68 | 0.31692 | 0.00024414 | 34.6704 | 34.6704 | 0.00033685 | -3.8147e-06
20100053.hyd | 20100053.sac | 121 | 2999.58 | 2999.58 | 0.36496 | 0 | 34.6559 | 34.6548 | 0.00031124 | -0.001091
20100053.hyd | 20100053.sac | 112 | 2501.12 | 2501.03 | 0.46828 | -0.090332 | 34.6277 | 34.6267 | 0.00036029 | -0.0010071
20100053.hyd | 20100053.sac | 121 | 2251.81 | 2251.81 | 0.21055 | 0.00024414 | 34.6091 | 34.6081 | 0.00030731 | -0.00096512
20100053.hyd | 20100053.sac | 121 | 1997.7 | 1997.7 | 0.316 | 0.00048828 | 34.5895 | 34.5897 | 0.0003356 | 0.00017548
20100053.hyd | 20100053.sac | 121 | 1749.55 | 1749.55 | 0.11614 | 0.00024414 | 34.5595 | 34.5588 | 0.00037738 | -0.00067139
20100053.hyd | 20100053.sac | 121 | 1503.33 | 1503.33 | 0.14543 | -0.00012207 | 34.5126 | 34.5121 | 0.00036745 | -0.0005188
20100053.hyd | 20100053.sac | 121 | 1250.04 | 1250.04 | 0.42378 | 0.00048828 | 34.4591 | 34.4587 | 0.00033595 | -0.00042343
20100053.hyd | 20100053.sac | 121 | 1002.49 | 1002.49 | 0.36458 | -0.00048828 | 34.388 | 34.388 | 0.00033932 | 2.2888e-05
20100053.hyd | 20100053.sac | 121 | 800.331 | 800.331 | 0.18509 | -0.00012207 | 34.3091 | 34.309 | 0.00035968 | -0.00011826
20100053.hyd | 20100053.sac | 121 | 601.367 | 601.367 | 0.61277 | -0.00048828 | 34.2181 | 34.2192 | 0.00051378 | 0.0010796
20100053.hyd | 20100053.sac | 121 | 399.073 | 399.073 | 0.54472 | 0.00015259 | 34.0344 | 34.0358 | 0.00052365 | 0.0014305
20100053.hyd | 20100053.sac | 121 | 300.007 | 300.007 | 0.5875 | -0.00039673 | 33.9455 | 33.944 | 0.0078381 | -0.0014687
20100053.hyd | 20100053.sac | 121 | 250.087 | 250.087 | 0.37383 | -0.00012207 | -99 | 33.8825 | 0.0015464 | 132.882
20100053.hyd | 20100053.sac | 111 | 200.364 | 200.458 | 0.65314 | 0.093765 | 33.8077 | 33.8063 | 0.00037169 | -0.0014305
20100053.hyd | 20100053.sac | 121 | 151.117 | 151.117 | 0.21808 | -0.00028992 | 33.7187 | 33.7201 | 0.00033916 | 0.0013847
20100053.hyd | 20100053.sac | 121 | 98.85 | 98.8497 | 0.49053 | -0.00032806 | 32.8847 | 32.9184 | 0.012585 | 0.033726
20100053.hyd | 20100053.sac | 105 | 74.551 | 74.7281 | 0.57764 | 0.17711 | 32.7383 | 32.7379 | 0.00073877 | -0.00041962
20100053.hyd | 20100053.sac | 121 | 50.519 | 50.5189 | 0.20678 | -6.1035e-05 | 32.7205 | 32.7171 | 0.00052678 | -0.0034485
20100053.hyd | 20100053.sac | 121 | 24.592 | 24.5915 | 0.33271 | -0.00046158 | 32.6846 | 32.6816 | 0.00087959 | -0.0029602
20100053.hyd | 20100053.sac | 121 | 10.56 | 10.5604 | 0.22647 | 0.00040436 | 32.6822 | 32.6791 | 0.00053481 | -0.003128
20100053.hyd | 20100053.sac | 121 | 2.138 | 2.1381 | 0.15745 | 0.00010753 | 32.6784 | 32.6768 | 0.0007676 | -0.0015984
20100057.hyd | 20100057.sac | 121 | 1001.29 | 1001.29 | 0.14713 | 0 | 34.3603 | 34.3607 | 0.00048634 | 0.0003624
20100057.hyd | 20100057.sac | 105 | 799.501 | 799.326 | 0.53452 | -0.17523 | 34.2824 | 34.2826 | 0.00045605 | 0.00015259
20100057.hyd | 20100057.sac | 121 | 598.564 | 598.564 | 0.19684 | -0.00036621 | 34.147 | 34.1467 | 0.00030605 | -0.00033569
20100057.hyd | 20100057.sac | 118 | 400.555 | 400.582 | 0.41188 | 0.026672 | 34.0302 | 34.0307 | 0.00042815 | 0.00053406
20100057.hyd | 20100057.sac | 121 | 303.933 | 303.933 | 0.15106 | -0.00021362 | 33.9745 | 33.9743 | 0.00028364 | -0.00022888
20100057.hyd | 20100057.sac | 121 | 252.614 | 252.614 | 0.27342 | 0.00028992 | 33.9628 | 33.9606 | 0.00030221 | -0.0021706
20100057.hyd | 20100057.sac | 121 | 201.974 | 201.974 | 0.32057 | -6.1035e-05 | 33.9461 | 33.9443 | 0.00032918 | -0.001751
20100057.hyd | 20100057.sac | 121 | 149.155 | 149.155 | 0.30847 | -0.00028992 | 33.8556 | 33.8518 | 0.00043623 | -0.00383
20100057.hyd | 20100057.sac | 121 | 99.189 | 99.1894 | 0.14876 | 0.00035858 | 33.1206 | 33.119 | 0.00091549 | -0.0016136
20100057.hyd | 20100057.sac | 121 | 76.938 | 76.9382 | 0.092535 | 0.00016022 | 32.7288 | 32.731 | 0.0015125 | 0.002182
20100057.hyd | 20100057.sac | 121 | 52.601 | 52.6009 | 0.36555 | -5.3406e-05 | 32.4716 | 32.4671 | 0.0045544 | -0.0044746
20100057.hyd | 20100057.sac | 121 | 26.199 | 26.1986 | 0.19901 | -0.00039673 | 32.1693 | 32.1712 | 0.0011306 | 0.0019455
20100057.hyd | 20100057.sac | 121 | 11.798 | 11.7984 | 0.13226 | 0.00037193 | 32.1358 | 32.1328 | 0.00050271 | -0.0029755
20100057.hyd | 20100057.sac | 121 | 1.332 | 1.3323 | 0.18964 | 0.000314 | 32.1361 | 32.1343 | 0.0016075 | -0.001751
20100058.hyd | 20100058.sac | 121 | 216.439 | 216.439 | 0.1969 | 0.00016785 | -99 | 33.8643 | 0.00034945 | 132.864
20100058.hyd | 20100058.sac | 121 | 199.964 | 199.964 | 0.39739 | -0.00028992 | 33.866 | 33.8647 | 0.00039876 | -0.0012932
20100058.hyd | 20100058.sac | 121 | 150.706 | 150.706 | 0.35047 | -0.00039673 | 33.617 | 33.6313 | 0.0029058 | 0.01429
20100058.hyd | 20100058.sac | 121 | 100.61 | 100.61 | 0.38551 | 0.00027466 | 32.3152 | 32.348 | 0.015182 | 0.032829
20100058.hyd | 20100058.sac | 121 | 74.928 | 74.9275 | 0.25735 | -0.00048828 | 32.0357 | 32.0279 | 0.0016196 | -0.0078011
20100058.hyd | 20100058.sac | 121 | 49.725 | 49.7253 | 0.26017 | 0.00031662 | 31.9455 | 31.9438 | 0.00029352 | -0.0017452
20100058.hyd | 20100058.sac | 121 | 24.082 | 24.0818 | 0.16001 | -0.00017357 | 31.5884 | 31.607 | 0.00086971 | 0.018648
20100058.hyd | 20100058.sac | 121 | 9.976 | 9.9763 | 0.062751 | 0.00033092 | 31.5194 | 31.5231 | 0.00038995 | 0.0037308
20100058.hyd | 20100058.sac | 121 | 1.117 | 1.1168 | 0.21848 | -0.00023961 | 31.5149 | 31.5104 | 0.00037519 | -0.0045395
20100059.hyd | 20100059.sac | 121 | 289.312 | 289.312 | 0.023965 | -3.0518e-05 | 33.2055 | 33.211 | 0.00038489 | 0.005455
20100059.hyd | 20100059.sac | 121 | 249.638 | 249.638 | 0.02166 | -0.00012207 | 33.1665 | 33.1583 | 0.00026412 | -0.0082092
20100059.hyd | 20100059.sac | 121 | 200.007 | 200.007 | 0.024351 | 0.00039673 | 33.1059 | 33.1059 | 0.0002982 | -2.6703e-05
20100059.hyd | 20100059.sac | 121 | 174.632 | 174.632 | 0.025117 | 0.00036621 | 33.0676 | 33.0602 | 0.00033593 | -0.0074501
20100059.hyd | 20100059.sac | 121 | 150.106 | 150.106 | 0.025222 | -0.00012207 | 33.0132 | 33.0136 | 0.00031496 | 0.00040054
20100059.hyd | 20100059.sac | 121 | 125.027 | 125.027 | 0.025683 | 0.00010681 | 32.9368 | 32.932 | 0.00027068 | -0.0047493
20100059.hyd | 20100059.sac | 121 | 100.251 | 100.251 | 0.023669 | -0.00041962 | 32.7675 | 32.7651 | 0.00033514 | -0.0024452
20100059.hyd | 20100059.sac | 121 | 74.725 | 74.7254 | 0.025783 | 0.00037384 | 32.1252 | 32.0993 | 0.0005455 | -0.025929
20100059.hyd | 20100059.sac | 121 | 49.888 | 49.8875 | 0.02259 | -0.00045395 | 31.8018 | 31.7296 | 0.00064919 | -0.072176
20100059.hyd | 20100059.sac | 121 | 30.256 | 30.2563 | 0.02198 | 0.00027084 | 31.4267 | 31.3603 | 0.0086966 | -0.066364
20100059.hyd | 20100059.sac | 121 | 19.872 | 19.8724 | 0.021801 | 0.0003643 | 30.8542 | 30.7113 | 0.0018226 | -0.14288
20100059.hyd | 20100059.sac | 121 | 9.715 | 9.7154 | 0.032482 | 0.00042152 | 30.2586 | 30.1983 | 0.016723 | -0.060291
20100059.hyd | 20100059.sac | 121 | 0.814 | 0.81353 | 0.032101 | -0.00047106 | 11.4241 | 14.6403 | 0.95123 | 3.2162
20100062.hyd | 20100062.sac | 121 | 319.036 | 319.036 | 0.1753 | 0.00039673 | 33.2095 | 33.2113 | 0.00062433 | 0.0017586
20100062.hyd | 20100062.sac | 121 | 301.173 | 301.173 | 0.12668 | 0.00030518 | 33.209 | 33.2111 | 0.00047431 | 0.002079
20100062.hyd | 20100062.sac | 121 | 250.868 | 250.868 | 0.089746 | 0.0002594 | 33.1818 | 33.1803 | 0.00039132 | -0.0015106
20100062.hyd | 20100062.sac | 121 | 200.117 | 200.117 | 0.082087 | -6.1035e-05 | 33.1182 | 33.1172 | 0.00034848 | -0.00096512
20100062.hyd | 20100062.sac | 121 | 175.057 | 175.057 | 0.11443 | 0.00022888 | 33.0883 | 33.0948 | 0.00037796 | 0.0064964
20100062.hyd | 20100062.sac | 121 | 150.09 | 150.09 | 0.25293 | 1.5259e-05 | 33.0619 | 33.0622 | 0.00034308 | 0.00030518
20100062.hyd | 20100062.sac | 121 | 125.065 | 125.065 | 0.067313 | -0.00036621 | 32.983 | 32.9908 | 0.0015445 | 0.0077972
20100062.hyd | 20100062.sac | 121 | 99.596 | 99.5955 | 0.092413 | -0.00046539 | 32.7736 | 32.7896 | 0.0010025 | 0.015999
20100062.hyd | 20100062.sac | 121 | 75.061 | 75.0613 | 0.17012 | 0.00033569 | 32.0458 | 32.0479 | 0.0014605 | 0.0021248
20100062.hyd | 20100062.sac | 121 | 50.592 | 50.5919 | 0.15122 | -6.485e-05 | 30.1662 | 31.653 | 0.0004214 | 1.4868
20100062.hyd | 20100062.sac | 121 | 29.961 | 29.9612 | 0.11935 | 0.00019836 | 31.6469 | 31.3961 | 0.00043401 | -0.25076
20100062.hyd | 20100062.sac | 121 | 20.067 | 20.067 | 0.07956 | 2.4796e-05 | 31.1438 | 31.1911 | 0.011178 | 0.047274
20100062.hyd | 20100062.sac | 121 | 10.037 | 10.0374 | 0.094839 | 0.00044632 | 30.4579 | 30.576 | 0.020822 | 0.11809
20100069.hyd | 20100069.sac | 121 | 997.353 | 997.353 | 0.24722 | -0.00042725 | 34.3622 | 34.3628 | 0.00049659 | 0.00056457
20100069.hyd | 20100069.sac | 121 | 800.201 | 800.201 | 0.14745 | 0.00024414 | 34.2902 | 34.2911 | 0.00033558 | 0.00093079
20100069.hyd | 20100069.sac | 121 | 598.331 | 598.331 | 0.095301 | 0 | 34.1856 | 34.1872 | 0.00069031 | 0.0016327
20100069.hyd | 20100069.sac | 121 | 503.847 | 503.847 | 0.14389 | -0.00039673 | 34.1042 | 34.107 | 0.00038736 | 0.0028038
20100069.hyd | 20100069.sac | 121 | 402.273 | 402.273 | 0.58003 | -0.00024414 | 34.0144 | 34.014 | 0.00033841 | -0.00038528
20100069.hyd | 20100069.sac | 121 | 301.073 | 301.073 | 0.28828 | 6.1035e-05 | 33.9626 | 33.9625 | 0.0002958 | -8.7738e-05
20100069.hyd | 20100069.sac | 121 | 250.685 | 250.685 | 0.23369 | 0.00010681 | 33.9465 | 33.9435 | 0.00041078 | -0.0029526
20100069.hyd | 20100069.sac | 121 | 200.67 | 200.67 | 0.25883 | -0.00045776 | 33.927 | 33.9271 | 0.00030838 | 0.0001297
20100069.hyd | 20100069.sac | 121 | 150 | 150 | 0.13562 | 0.00032043 | 33.8846 | 33.8844 | 0.0010327 | -0.00022125
20100069.hyd | 20100069.sac | 121 | 122.489 | 122.489 | 0.11168 | -0.00028992 | 33.6654 | 33.665 | 0.00051783 | -0.00035477
20100069.hyd | 20100069.sac | 121 | 100.811 | 100.811 | 0.29519 | -0.00035095 | 33.2255 | 33.2702 | 0.013573 | 0.044716
20100069.hyd | 20100069.sac | 121 | 74.705 | 74.7051 | 0.22806 | 5.3406e-05 | 32.8974 | 32.9004 | 0.001478 | 0.0030022
20100069.hyd | 20100069.sac | 121 | 49.082 | 49.0816 | 0.26085 | -0.00042343 | 32.6016 | 32.5991 | 0.00095371 | -0.0024986
20100069.hyd | 20100069.sac | 121 | 25.193 | 25.1934 | 0.19461 | 0.00041199 | 32.4572 | 32.4548 | 0.001341 | -0.0023689
20100069.hyd | 20100069.sac | 121 | 9.401 | 9.4014 | 0.088553 | 0.00035572 | 32.4486 | 32.4458 | 0.0006169 | -0.0028343
20100069.hyd | 20100069.sac | 121 | 1.134 | 1.1337 | 0.12647 | -0.0002892 | 32.4489 | 32.4463 | 0.00032208 | -0.0026054
20100081.hyd | 20100081.sac | 121 | 1000.11 | 1000.11 | 0.36658 | 0.00042725 | 34.3002 | 34.3008 | 0.00042111 | 0.00059128
20100081.hyd | 20100081.sac | 121 | 798.991 | 798.991 | 0.22865 | 0.00012207 | 34.1888 | 34.1873 | 0.00043706 | -0.0014877
20100081.hyd | 20100081.sac | 121 | 598.625 | 598.625 | 0.12827 | 0.00048828 | 34.038 | 34.0368 | 0.00040923 | -0.0012245
20100081.hyd | 20100081.sac | 121 | 500.675 | 500.675 | 0.20515 | -0.00039673 | 33.9784 | 33.9776 | 0.00067819 | -0.00082016
20100081.hyd | 20100081.sac | 121 | 400.25 | 400.25 | 0.36308 | 9.1553e-05 | 33.9566 | 33.9557 | 0.00038758 | -0.00093079
20100081.hyd | 20100081.sac | 121 | 299.947 | 299.947 | 0.39804 | -0.00030518 | 33.9124 | 33.9119 | 0.0007751 | -0.00046921
20100081.hyd | 20100081.sac | 121 | 248.969 | 248.969 | 0.33738 | 6.1035e-05 | 33.8476 | 33.848 | 0.0011678 | 0.00040436
20100081.hyd | 20100081.sac | 121 | 199.694 | 199.694 | 0.37696 | -0.00022888 | 33.7005 | 33.7009 | 0.00058683 | 0.00038528
20100081.hyd | 20100081.sac | 121 | 150.25 | 150.25 | 0.35463 | 0.00047302 | 33.0886 | 33.1115 | 0.0107 | 0.022919
20100081.hyd | 20100081.sac | 121 | 124.521 | 124.521 | 0.64132 | -3.0518e-05 | 32.7024 | 32.7111 | 0.0033815 | 0.008728
20100081.hyd | 20100081.sac | 121 | 99.542 | 99.5419 | 0.25337 | -8.3923e-05 | 32.5175 | 32.5206 | 0.00060132 | 0.0031014
20100081.hyd | 20100081.sac | 121 | 75.201 | 75.2005 | 0.39986 | -0.00048065 | 32.3954 | 32.3946 | 0.00042837 | -0.00078583
20100081.hyd | 20100081.sac | 121 | 50.016 | 50.0163 | 0.32195 | 0.00028229 | 32.2922 | 32.2929 | 0.0027845 | 0.00072098
20100081.hyd | 20100081.sac | 121 | 23.692 | 23.6922 | 0.43684 | 0.00019836 | 32.2683 | 32.2649 | 0.0060698 | -0.0034409
20100081.hyd | 20100081.sac | 121 | 9.278 | 9.2779 | 0.32258 | -0.00010681 | 32.2665 | 32.2639 | 0.00033953 | -0.0025597
20100081.hyd | 20100081.sac | 121 | 1.807 | 1.8069 | 0.30195 | -0.00013232 | 32.2666 | 32.2632 | 0.0064176 | -0.0033684
20100090.hyd | 20100090.sac | 121 | 1001.29 | 1001.3 | 0.10677 | 6.1035e-05 | 34.3557 | 34.3602 | 0.00031175 | 0.0045013
20100090.hyd | 20100090.sac | 121 | 800.092 | 800.092 | 0.2479 | 0.00048828 | 34.2695 | 34.2698 | 0.00050311 | 0.00027084
20100090.hyd | 20100090.sac | 121 | 599.727 | 599.727 | 0.34896 | -0.00018311 | 34.1634 | 34.1632 | 0.00041689 | -0.00015259
20100090.hyd | 20100090.sac | 121 | 499.799 | 499.799 | 0.19577 | -0.00036621 | 34.0798 | 34.0774 | 0.00040252 | -0.0023537
20100090.hyd | 20100090.sac | 121 | 399.79 | 399.79 | 0.32806 | 3.0518e-05 | 34.0124 | 34.0134 | 0.00044295 | 0.0010071
20100090.hyd | 20100090.sac | 121 | 299.583 | 299.583 | 0.37026 | -0.00042725 | 33.9449 | 33.943 | 0.0011175 | -0.0018616
20100090.hyd | 20100090.sac | 121 | 249.921 | 249.921 | 0.18658 | 0.00013733 | 33.9302 | 33.9298 | 0.00049916 | -0.00044632
20100090.hyd | 20100090.sac | 121 | 199.926 | 199.926 | 0.22998 | 0.00024414 | 33.9191 | 33.9178 | 0.0029663 | -0.0013199
20100090.hyd | 20100090.sac | 121 | 150.836 | 150.836 | 0.21061 | -0.00033569 | 33.815 | 33.8153 | 0.00055983 | 0.00027466
20100090.hyd | 20100090.sac | 121 | 124.617 | 124.617 | 0.26669 | -0.00021362 | 33.642 | 33.6504 | 0.001744 | 0.0083847
20100090.hyd | 20100090.sac | 121 | 99.242 | 99.2423 | 0.20865 | 0.00032043 | 33.1872 | 33.1894 | 0.0010159 | 0.0021515
20100090.hyd | 20100090.sac | 121 | 75.106 | 75.1059 | 0.23446 | -8.3923e-05 | 32.7568 | 32.7599 | 0.0012603 | 0.0031471
20100090.hyd | 20100090.sac | 121 | 49.738 | 49.738 | 0.42426 | 0 | 32.5566 | 32.5552 | 0.0016074 | -0.001442
20100090.hyd | 20100090.sac | 121 | 24.458 | 24.4576 | 0.062598 | -0.00042152 | 32.5261 | 32.5254 | 0.00046716 | -0.00066757
20100090.hyd | 20100090.sac | 121 | 9.894 | 9.8939 | 0.30829 | -5.8174e-05 | 32.5154 | 32.5137 | 0.00043261 | -0.0017471
20100090.hyd | 20100090.sac | 121 | 1.718 | 1.7175 | 0.33119 | -0.00048769 | 32.516 | 32.5137 | 0.00036138 | -0.0022888
20100099.hyd | 20100099.sac | 121 | 1000.8 | 1000.8 | 0.5122 | -6.1035e-05 | 34.2969 | 34.2979 | 0.00039182 | 0.00096893
20100099.hyd | 20100099.sac | 121 | 800.535 | 800.535 | 0.19531 | -0.00024414 | 34.209 | 34.2092 | 0.0003627 | 0.0002327
20100099.hyd | 20100099.sac | 121 | 599.737 | 599.737 | 0.16374 | -0.00024414 | 34.0394 | 34.0394 | 0.00073629 | -2.6703e-05
20100099.hyd | 20100099.sac | 121 | 500.692 | 500.692 | 0.3328 | 0.00027466 | 33.9878 | 33.9867 | 0.00042395 | -0.0010681
20100099.hyd | 20100099.sac | 121 | 400.235 | 400.235 | 0.2962 | -0.00012207 | 33.96 | 33.9603 | 0.0004116 | 0.00033569
20100099.hyd | 20100099.sac | 114 | 300.439 | 300.505 | 0.54172 | 0.065857 | 33.9226 | 33.9223 | 0.0004061 | -0.00026321
20100099.hyd | 20100099.sac | 121 | 249.755 | 249.755 | 0.48982 | -0.00021362 | 33.8903 | 33.8897 | 0.00038382 | -0.0006218
20100099.hyd | 20100099.sac | 121 | 200.358 | 200.358 | 0.26379 | 6.1035e-05 | 33.7564 | 33.7726 | 0.0017541 | 0.01619
20100099.hyd | 20100099.sac | 121 | 150.281 | 150.281 | 0.31463 | -0.00021362 | 33.2404 | 33.2401 | 0.00051863 | -0.00033569
20100099.hyd | 20100099.sac | 103 | 124.488 | 124.26 | 0.49326 | -0.2277 | 32.8552 | 32.8551 | 0.0065018 | -6.1035e-05
20100099.hyd | 20100099.sac | 121 | 100.876 | 100.876 | 0.52998 | 0.00036621 | 32.612 | 32.6133 | 0.0014916 | 0.001297
20100099.hyd | 20100099.sac | 121 | 74.722 | 74.7217 | 0.22746 | -0.00033569 | 32.4482 | 32.4425 | 0.00086916 | -0.005703
20100099.hyd | 20100099.sac | 121 | 49.638 | 49.6379 | 0.33989 | -9.9182e-05 | 32.3058 | 32.3027 | 0.00042056 | -0.0031319
20100099.hyd | 20100099.sac | 121 | 24.569 | 24.5692 | 0.51509 | 0.00019836 | 32.268 | 32.26 | 0.0033801 | -0.0080414
20100099.hyd | 20100099.sac | 110 | 9.809 | 9.9222 | 0.45827 | 0.11323 | 32.2618 | 32.2594 | 0.00095194 | -0.0023918
20100099.hyd | 20100099.sac | 121 | 0.961 | 0.96094 | 0.29845 | -5.7876e-05 | 32.2626 | 32.25 | 0.02307 | -0.012562
20100108.hyd | 20100108.sac | 120 | 1000.7 | 1000.71 | 0.5366 | 0.0083618 | 34.3286 | 34.328 | 0.00035879 | -0.00058365
20100108.hyd | 20100108.sac | 121 | 802.104 | 802.104 | 0.36822 | 6.1035e-05 | 34.248 | 34.2478 | 0.00047588 | -0.00020218
20100108.hyd | 20100108.sac | 117 | 601.644 | 601.68 | 0.43472 | 0.035706 | 34.1304 | 34.1306 | 0.0004274 | 0.00022507
20100108.hyd | 20100108.sac | 108 | 498.437 | 498.593 | 0.45123 | 0.15552 | 34.0598 | 34.0597 | 0.0019465 | -8.7738e-05
20100108.hyd | 20100108.sac | 109 | 399.51 | 399.383 | 0.44446 | -0.12747 | 33.9835 | 33.9822 | 0.0011785 | -0.0013123
20100108.hyd | 20100108.sac | 121 | 300.647 | 300.647 | 0.40425 | 0.00048828 | 33.9432 | 33.9424 | 0.00088445 | -0.00076294
20100108.hyd | 20100108.sac | 105 | 250.948 | 250.746 | 0.45848 | -0.20242 | 33.9242 | 33.9234 | 0.00079447 | -0.00082398
20100108.hyd | 20100108.sac | 117 | 200.846 | 200.884 | 0.42105 | 0.037521 | 33.8202 | 33.8269 | 0.002253 | 0.0067444
20100108.hyd | 20100108.sac | 121 | 150.24 | 150.24 | 0.22919 | 0.00032043 | 33.4095 | 33.4261 | 0.0033242 | 0.01656
20100108.hyd | 20100108.sac | 118 | 125.59 | 125.617 | 0.5234 | 0.026634 | 33.0141 | 33.0235 | 0.0030926 | 0.0094109
20100108.hyd | 20100108.sac | 121 | 99.262 | 99.2616 | 0.092963 | -0.00038147 | 32.713 | 32.7158 | 0.00045519 | 0.0028305
20100108.hyd | 20100108.sac | 121 | 74.864 | 74.8643 | 0.47327 | 0.0002594 | 32.5772 | 32.584 | 0.0083501 | 0.0067978
20100108.hyd | 20100108.sac | 121 | 50.399 | 50.3991 | 0.33947 | 7.6294e-05 | 32.502 | 32.5031 | 0.0022736 | 0.0010643
20100108.hyd | 20100108.sac | 121 | 24.703 | 24.7032 | 0.16072 | 0.00024986 | 32.421 | 32.4191 | 0.0018937 | -0.0019188
20100108.hyd | 20100108.sac | 107 | 10.018 | 10.1663 | 0.50468 | 0.14831 | 32.4192 | 32.4162 | 0.00038156 | -0.002964
20100108.hyd | 20100108.sac | 121 | 0.338 | 0.33841 | 0.1243 | 0.00040495 | 32.4194 | 32.4104 | 0.024913 | -0.0090446
Create Fit Sheet