File List Cruise Number: __2000-10___

[work2.ctd.2010] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.bl -		“

*.dir - subdirectories

2010proc.doc - processing notes

2010file.doc - this document

2010cal.ccf – This recalibration file replaces the three files that follow. During a revision to add calibration of the fluorometer channel the three CCF files used before were combined with the FL calibration.

2010cal1.ccf - recalibration file for CTD casts 1 – 33 and BOT files casts 1-36

2010cal2.ccf - recalibration file for CTD casts 35,36 and BOT files all casts

2010cal3.ccf - recalibration file for CTD casts and BOT files 37 – 108

[work2.ctd.2010.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2010.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.2010.ios]

*.avg - data after metre-averaging using BINAVE

*.cor - recalibration after COMPARE

*.ctd - final files

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo* - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[work2.ctd.2010.hydro]

*.bot  - files created by converting *.ros files to IOS HEADERS

*.ed1 and *.log – just for cast #71; edited BOT file and log

*.hyd  - bottle files provided by Bernard Minkley

*.rac – recalibrated, metre-averaged bottle files

*.ros  - rosette files created by DATCNV, no other processing done.

*.sam – bottle files with sample numbers added; input to COMPARE

*.sac – recalibrated *.sam files; input to COMPARE after recalibration

2010com1.csv  - import file created in IOS SHELL as input to COMPARE , casts 1-33, primary

2010com1.xls   - EXCEL file created in COMPARE from 2010com1.csv

2010com2.csv  - import file created in IOS SHELL as input to COMPARE , casts 37-108, primary

2010com2.xls   - EXCEL file created in COMPARE from 2010com2.csv

2010coms.csv  - import file created in IOS SHELL as input to COMPARE , all casts secondary

2010coms.xls   - EXCEL file created in COMPARE from 2010coms.csv

2010cm1a.csv  - import file created in IOS SHELL as input to COMPARE , casts 1-33, primary after recalibration with 2010cal1.ccf

2010cm1a.xls   - EXCEL file created in COMPARE from 2010cm1a.csv

2010cm2a.csv  - import file created in IOS SHELL as input to COMPARE , casts 37-108, primary after recalibration with 2010cal3.ccf

2010cm2a.xls   - EXCEL file created in COMPARE from 2010cm2a.csv

2010cmsa.csv  - import file created in IOS SHELL as input to COMPARE , all casts secondary after recalibration with 2010cal2.ccf

2010cmsa.xls   - EXCEL file created in COMPARE from 2010cmsa.csv