## REVISION NOTICE TABLE

| ### DATE | ### DESCRIPTION OF REVISION |
| --- | --- |

PROCESSING NOTES

Cruise: 2000-15

Agency: Stock Assessment

Location: Hecate Strait

Project: Hecate Strait Survey

Party Chief: Jeff Fargo

Platform: CCGS W. E. Ricker

Date: 31 May 2000 - 13 June 2000

Processed by: Germaine Gatien

Date of Processing: 20 October 2000 – 2 November, 2000

Number of original CTD casts: 102

Number of casts processed: 101

INSTRUMENT SUMMARY

A SeaBird Model SBE 911+ CTD  (#0506) was used.

SUMMARY OF QUALITY AND CONCERNS

There is a lot of noise in the surface data probably due to shed wakes.

The salinity bottle comparison is not considered reliable enough to justify recalibration.

There is no confirmation for positions and times of casts since the only information available is from the CTD log. There is particular concern about the times/positions of casts #23 and #24 which was not resolved.

PROCESSING SUMMARY

1. Seasave - This step was completed at sea; the raw data files have extension DAT.

2. Preliminary Steps

The Log Book was obtained.

Salinity calibration data was obtained. The deepest samples were from 102m depth.

The con file used for cruise 2016 was copied to 2015con.ctd and used for this cruise.

The cruise summary sheet was completed.

The sensor history was found.

- Conversion of Raw Data

The raw data was converted using conversion file 2015ctd.con

An initial examination of the data shows problems with the first cast (the two pairs of sensors appear very different from one another as do the up and down casts) and many of the early casts checked have pressure spikes. A SeaPoint Fluorometer channel existed and was converted but there was no signal present.

- ALIGNCTD

The deck unit from this series aligns only the primary sensors.

For cruise 2000-04 and 2000-16 the best alignment was achieved by advancing both sensors by 0.060s. Examination of cast #81 confirms that 0.060s is a good choice for this data set too. The primary conductivity was advanced by 0.073s by the acquisition system so ALIGNCTD was set to advance the primary by –0.013s and the secondary by +0.060s, so that both channels have a net advancement of +0.060s. STRIP was run to remove the SeaPoint Fluorometer channel.

5. WILDEDIT

Program WILDEDIT was used to remove spikes in Pressure, T0, T1, C0,C1 and Tr.  Parameters used were:

Pass 1    Std Dev = 2

Pass 2    Std Dev = 5

Points per block = 50

6. CELLTM

The conductivity cell thermal mass correction was done for both channels (alpha = 0.03; 1/beta = 9.0.)

7. DERIVE

Program DERIVE was run twice:

- on all casts to calculate primary and secondary salinity.

- on a sample of casts to calculate the differences between primary and secondary channels for temperature, conductivity and salinity. These were placed in a test directory and will not be archived.

8. Test Plots and Channel Check

A sample of casts (#1,3,27,58,81) was plotted to check for agreement between the pairs of T and C sensors. None of the casts were deeper than 130m and the differences were very noisy but most values were close to 0Cº for temperature, from 0 to -.0004units for conductivity and 0 to -0.003units for salinity. These results are similar to those found during 2000-16 in late June/early July 2000, but very different from during 2000-4 in April 2000.

The descent rate was examined and was found to be bad for cast #1, fairly good for #27 and 58 and a little noisy for casts #3 and 81.

9.  Conversion to IOS Headers

The IOSSHELL routine was used to convert SEA-Bird 911+ data to IOS Headers.

10. Checking Headers

The latitude, longitude, station name and water depth were missing from all headers. HEADER EDIT was used to add the entry lines for these items and an editor was then used to enter the specifics in each file. At the same time the year was changed from 1980 to 2000 in the START TIME of each header.

A header summary was produced and two errors found and corrected. Times in the headers for casts #12 through #31 were 12 hours different from those in the CTD Log. Ed Choromanski confirms that all casts were done in daylight which is consistent with the times given in the headers.

The surface check was run. The average surface pressure is 2.1db.

The header check was produced; the speed between casts #23 and #24 was greater than 15knots. The position of cast #23 seems doubtful, but there is no evidence available to check it. A note was made in the headers of casts #23 and #24 to indicate that either the time or position of one of these casts may be wrong.

The cruise track was plotted and looks reasonable.

- DELETE

The following DELETE parameters were used:

Surface Record Removal: Last Press Min

Maximum Surface Pressure (relative): 10.00

Surface Swell Pressure Tolerance: 1.0

Swells deleted. Warning message if pressure difference of 2.00

Pressure filtered over 15 points.

Drop rates < 0.3m/s (calculated over 15 points) was deleted.

Sample interval =  .04 seconds.

COMMENTS ON WARNINGS

Most warnings refer to surface and upcasts only. Mid-depth downcast warning were investigated for a few casts and were found to correspond to reversals of the CTD.

After attempting to edit cast #51 it was decided that the upcast should be used. REVERSE was used on the IOS file and then DELETE was run on the reversed file to obtain the upcast.

All DEL files were copied to EDT files.

12. Initial Intercomparisons

Previous experience with these sensors – These sensors were used during cruise 2000-04 in April 2000 during which cruise 3 deep bottle samples were taken. The primary and secondary salinity were found to be low by 0.014units and 0.004units respectively. During cruise 2000-16 in June/July 2000 the only bottle data was from the surface and suggested that the primary sensor was about 0.001units too high and the secondary low by 0.003units. Since the shallowest CTD data was probably from a depth a little greater than the bottle data it is likely that both sensors were low. The differences between the two sets of sensors changed significantly between 2000-04 and 2000-16.

COMPARE – The only bottles are from the surface or near the bottom of the casts and the deepest is at 102m. The variability in these waters is great and looking at the records from the top and bottom it is obvious that one needs to know precisely where and when the bottles were filled. An analysis of the differences (2015_sal.xls) leads to the conclusion that both sets of sensors are giving salinities higher than the bottles and this does not fit the results of cruises 2000-04 and 2000-16. It is likely that the depths of the samples are less than those recorded. Using depths a metre less than those recorded gives results that are a little closer but are still significantly high. It is not felt that this comparison justifies a recalibration.

DETAILED EDITING

The primary sensors will be selected for further processing since they produce smoother T-S curves for most casts.

Page plots were produced using T0,S0 for all casts. These plots were examined for spikes and instabilities and used to guide the use of CTDEDIT. Most casts had suspicious data at the surface. It looked as though the system had not stabilized when the first few metres of water was sampled and/or there were significant shed wakes caused by low and unsteady descent rate of the CTD. The upcasts do not show the sort of unstable features seen in the downcasts and the surface salinity bottles do not give the very low values found in the CTD record at the surface. CTDEDIT was used to clean or remove such data and to clean salinity spikes.

CTDEDIT was used to clean noise in S and T for casts #4,5,7-19,21-24,27-33,35-37, 39,44-46,48-51,53,54,57,59-67,69-71,74-80,83-99,101-106.

Note was made of the editing details in the relevant files. The edited files were copied to EDT files so that a complete set of files exists with either edited data or data that does not require editing.

The problems with cast #1 were examined in detail. The primary and secondary sensor records are very different from each other, and the upcast is very different from the downcast for both sets of sensors.  It is possible that the pump was not working properly; there is no calibration information available. This cast will be deleted.

14. BIN AVERAGE

The following Bin Average values were used for EDT files:

Bin channel = pressure

Averaging interval = 1.000

Minimum bin value =   .000

Average value will be used

Interpolated values are NOT used for empty bins

The same values were used for the BOT files except that the Bin Channel = Bottle Number.

15. Further Intercomparisons

Historic ranges - Historic ranges were available only for temperature and were examined for a selection of casts. All data fell within those historic bounds, but given the shallowness of the casts and the large variations in the area this is not particularly informative.

- Recalibration

There is insufficient evidence to warrant recalibration based on the bottle data.

17. Final Plots

THIN and DERIVE were run to obtain values for tables and page plots were prepared using the edited data.

- REMOVE

The following channels were removed from all casts: Secondary Temperature, Secondary Salinity, Conductivity:Primary, Conductivity:Secondary and Flag.

19. Producing final files

a.) The final files were renamed CTD.

b.) A cross-reference listing was produced.

### Particulars

- Up and down casts very different and the two sets of sensors give very different results for both up and downcasts. DELETED.

23,24 – Either time or position of one of these casts may be wrong.

43,76,82,98 – Casts mentioned in CTD log but no data files found.

51 – Upcast used since the downcast is very heavily corrupted by shed wakes and the upcast is not.

54,69 – Both downcast and upcasts heavily corrupted by shed wakes near the surface.

# Institute of Ocean Sciences

CRUISE SUMMARY

Cruise ID#: 2000-15

Dates: Start: 31 May 2000 End: 13 June 2000

Location: Hecate Strait

Vessel: CCGS W. E. RICKER

Chief Scientist:

| CTD# | Make | Model | Serial# | Used with Rosette? | CTD Calibration Sheet Competed? |
| --- | --- | --- | --- | --- | --- |
| 1 | SEABIRD | 911+ | 0506 | No | Yes |

Institute of Ocean Sciences

# CTD Calibration Information

Make/Model/Serial#:	SEABIRD/911+/	0506

Deck Unit/ Serial #:   11P18377-0471

Cruise ID#:		2000-15

| Calibration Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sensor |  | Pre-Cruise |  | Post Cruise |  |
| Name | S/N | Date | Location | Date | Location |
| Temperature | 2710 | 14Dec1999 | Factory |  |  |
| Conductivity | 2278 | 16Dec2000 | “ |  |  |
| Secondary Temp. | 2095 | 16June1999 | “ |  |  |
| Secondary Cond. | 2280 | 16Dec1999 | “ |  |  |
| Transmissometer | 197 | 12Jan2000 | IOS |  |  |
| Pressure Sensor | 69698 | 12Nov1997 | Factory |  |  |

Sensor Calibration Notes:

The configuration file used is attached; this includes the sensor calibrations.