File List for SeaBird Data

Cruise Number: 2000-16_____

[work2.ctd.2016] *.hdr - original files from SeaSave

*.dat - 		“

*.con -      	“

*.dir - subdirectories

2016proc.doc - processing notes

2016file.doc - this document

2016ctd.con -  con file used for conversion of all casts except #11

2016ctd1.con – con file used for cast #11 only

[work2.ctd.2016.convert]

*.cnv - data files after conversion using DATCNV, no other processing done.

[work2.ctd.2016.derive]

*.cnv - data after running ALIGNCTD, WILDEDIT, CELLTM and DERIVE (for S0, S1)

[work2.ctd.2016.ios]

*.avg - data after metre-averaging using BINAVE

*.ctd - final files

*.del – files after running DELETE

*.edt - data after editing has been done (an EDT file is prepared even if no editing is required.)

*.ios - data after conversion to IOS HEADERS

*.log and *.lo* - log files created by CTDEDIT.

Delete.log - log from routine DELETE

[work2.ctd.2016.hydro]

*.sal  - bottle files provided by Bernard Minkley – surface salinity only

2016comp.csv  - spreadsheet comparison of some surface salinity bottles and CTD values.