## Comments
Cruise 2000-17: Strait of Georgia, July, 2000. Nutrient Data.
File storage and data processing:
726 | .aaz | .anz | .xls | Data analyzed July 26
727 | .aaz | .anz | .xls | Data analyzed July 27
2000-17nutr.xls |  |  |  | combined nutrient file
Samples were measured using an Autoanalyzer II, following the procedures outlined in Barwell-Clarke and Whitney, 1996.
Files with a .aaz extension are the original data output form the Autoanalyzer. The peaks are analyzed relative to standard
concentrations (.anz), then labelled and collated (.xls).
Samples were collected in single plastic and glass test tubes and frozen on board the ship. They were frozen upright
in aluminum blocks. They were generally of good quality.
Nitrate/silicate samples were defrosted for 18-24 h before analysis. Phosphate samples were defrosted for 1 hour
before analysis. Lab temperature was noted periodically, and may be found on the original data sheets; it was generallly
around 25 C. Samples were inverted and shaken thoroughly before analysis.
Calibration:
Standards used for these samples were freshly prepared from stock solutions which had been compared to previously
prepared stock solutions and/or commercially prepared standards.
The silicate standard (#2000-3) was a 4999.63 uM solution of Na2SiF6 prepared from preweighed chemicals on July 15, 2000.
Nitrate standard (#2000-3) was a 2499.65 uM solution of NaNO3 prepared from preweighed chemicals on May 26, 2000. The
phosphate standard (#98-2) was a 250.0 uM solution of KH2PO4, prepared on Jan 27, 2000. Intercomparison of the nitrate and
silicate standards with Sagami standards and previously prepared standards was done on July 18, 2000. Intercomparison of the
phosphate standard with previously prepared standards was done on Jan 28. This standard was also used in an interlaboratory
comparison study and rated very well.
An Eppendorf Maxipettor was used to pipette the standards. It was calibrated on July 15, 2000, and delivered very close to the dialed
volume for each tip, but the delivery volumes have been corrected in calculating the concentrations of the standards.
Variability Estimates:
Pooled deviation of paired samples: (n=12)
Nitrate | 0.71476
Silicate | 1.0955
Phosphate | 0.03368
The pooled deviation for nitrate and silicate are higher than normally expected for coastal samples.
The quality of the samples for the replicate cast was probably poorer than average. It was noted that many of the
test tubes were overfilled; some with loose lids. However, there is only one sample (#66) for which the data are obviously
erroneous. The overall quality of the samples was excellent, and these estimates of pooled deviation for nitrate and silicate are probably
higher than they would be for the rest of the casts.
Standard deviation of a sample of water measured periodically through the run:
This water was collected at station P4 in February, 2000 (Cruise 2000-1).
|  | nitrate | silicate | phosphate
| mean | 24.7088 | 37.8787 | 1.8573
| stddev | 0.20713 | 0.19237 | 0.013824
The standard deviation is within acceptable limits for these samples.
Factors Affecting Data Quality
The 0 and 5 m samples for stations 39 and 42 were centrifuged at 3500 rpm on a Sorvall centrifuge
for 15 min before analysis to eliminate interference from particulates. Turbidity measurements were done
for all of the 0 and 5 m samples to correct for low salinity or particulate.
Where replicate samples were taken, the average values are presented here.
The samples were generally of very good quality. Some had been overfilled and some had loose lids (see below).
These were usually in sequence and therefore probably one of the people sampling needs to read the instructions.
They were analyzed within 2 weeks of the cruise. There were none of the slowly-dissolving crystals typical of
frozen samples.
000726: Stations 59, 60, 102, 75, 72, 62, ADCP.
Phosphate tube overfilled: 10,9,7,6,22,21,20,19, 58,56, 55?, 92,91,90,88.
There was no glass tube for sample 55; the PO4 sample was taken from the plastic tube.
Silicate was disproportionately low in samples 53 and 55.
000727: Stations 69, 56, 46, 42, 39.
Phosphate tube was overfilled: 65, 64, 63, 62, 61 (both replicates), 148, 145, 144, 143, 142, 141, 140, 139, 138, 137, 136.
The lid was loose in samples 65 and 61.
There was no glass tube for sample 135. The PO4 sample was taken from the plastic tube.
N/Si were disproportionately low in samples 125, 103, and 66 (one repl only).
000802: Stations 27, 2, 3, 6, 9.
Nitrate in surface samples lower than baseline; set lowest sample to equal zero.
177: N/Si cracked test tube
172: no glass test tube
186: P transferred test tube. Air at end of peak, will probably be low conc.
185: N/Si: salt around lid
222, 221, 217: P: overfilled.
000803: Stations 12, 14, 16.
PO4 peaks are atypical for this day's data, tending to worsen with time.
However, the duplicates for PO4 and the P4 values look acceptable.
PO4 overfilled for samples 240-232.

## Nutrients
Cruise 2000-17: Georgia Strait, July, 2000. Nutrient Data.
cast | Station | Sample_Number | Nitrate | Silicate | Phosphate
n/a | n/a | n/a | uM | uM | uM
3 | 59 | 1 | 29.0919 | 47.842 | 2.5062
3 | 59 | 2 | 29.0737 | 48.2046 | 2.516
3 | 59 | 3 | 28.5079 | 46.8866 | 2.4773
3 | 59 | 4 | 27.8272 | 46.5968 | 2.4185
3 | 59 | 5 | 26.372 | 45.0019 | 2.3166
3 | 59 | 6 | 24.6337 | 43.596 | 2.194
3 | 59 | 7 | 21.9115 | 41.997 | 2.0285
3 | 59 | 8 | 21.0951 | 41.6171 | 1.9542
3 | 59 | 9 | 20.1372 | 41.3304 | 1.8914
3 | 59 | 10 | 18.8962 | 40.6725 | 1.8138
3 | 59 | 11 | 18.6501 | 40.2937 | 1.8093
3 | 59 | 12 | 18.2053 | 40.5645 | 1.6758
3 | 59 | 13 | 17.9307 | 40.0007 | 1.7447
4 | 60 | 15 | 30.3381 | 49.7595 | 2.7391
4 | 60 | 16 | 29.5332 | 48.0622 | 2.5565
4 | 60 | 17 | 29.1048 | 47.864 | 2.4923
7 | 102 | 19 | 36.6422 | 58.9414 | 2.7765
7 | 102 | 20 | 35.6887 | 58.0861 | 2.7838
7 | 102 | 21 | 35.3481 | 56.4838 | 2.7375
7 | 102 | 22 | 34.8625 | 55.3507 | 2.7194
7 | 102 | 23 | 34.1448 | 52.2593 | 2.6617
7 | 102 | 24 | 32.9347 | 48.6139 | 2.5754
7 | 102 | 25 | 30.7146 | 44.0441 | 2.4545
7 | 102 | 26 | 29.9155 | 42.7354 | 2.4133
7 | 102 | 27 | 30.2138 | 44.0304 | 2.4149
7 | 102 | 28 | 27.917 | 39.7501 | 2.2673
7 | 102 | 29 | 29.1365 | 44.3882 | 2.3752
7 | 102 | 30 | 26.8435 | 43.9169 | 2.2821
7 | 102 | 31 | 24.4721 | 40.7545 | 2.1368
7 | 102 | 32 | 19.829 | 37.8741 | 1.8654
7 | 102 | 33 | 19.5818 | 38.3329 | 1.8438
10 | 75 | 34 | 34.8766 | 55.238 | 2.7474
10 | 75 | 35 | 34.8889 | 55.3184 | 2.7369
10 | 75 | 36 | 34.7549 | 54.5478 | 2.7293
10 | 75 | 37 | 35.2054 | 55.1009 | 2.7498
10 | 75 | 38 | 33.4082 | 50.6517 | 2.6546
10 | 75 | 39 | 31.5009 | 44.8061 | 2.482
10 | 75 | 40 | 30.064 | 43.3882 | 2.4085
10 | 75 | 41 | 26.6129 | 40.2853 | 2.3893
10 | 75 | 42 | 29.628 | 46.1858 | 2.4387
10 | 75 | 43 | 28.2265 | 45.425 | 2.3822
10 | 75 | 44 | 23.0732 | 39.3264 | 2.147
10 | 75 | 45 | 20.7514 | 38.384 | 1.9214
10 | 75 | 46 | 20.5408 | 38.7508 | 1.9048
10 | 75 | 47 | 20.5861 | 38.5567 | 1.9085
13 | 72 | 48 | 35.7619 | 57.7242 | 2.8297
13 | 72 | 49 | 35.921 | 57.7088 | 2.8249
13 | 72 | 50 | 35.2572 | 57.9796 | 2.8257
13 | 72 | 51 | 35.5928 | 56.8206 | 2.8208
13 | 72 | 52 | 34.6073 | 53.2867 | 2.7456
13 | 72 | 53 | 31.3445 | 45.5997 | 2.551
13 | 72 | 54 | 31.562 | 49.8474 | 2.5517
13 | 72 | 55 | 24.1807 | 38.8873 | 2.2288
13 | 72 | 56 | 26.2463 | 43.306 | 2.2641
13 | 72 | 57 | 23.7514 | 40.4719 | 2.1003
13 | 72 | 58 | 23.7098 | 41.1227 | 2.104
13 | 72 | 59 | 23.812 | 40.8325 | 2.096
13 | 72 | 60 | 23.3679 | 40.6365 | 2.091
16 | 69 | 61 | 35.2526 | 55.7294 | 2.8115
16 | 69 | 62 | 35.3289 | 55.9994 | 2.8156
16 | 69 | 63 | 35.1324 | 55.6601 | 2.7933
16 | 69 | 64 | 35.0793 | 54.711 | 2.7807
16 | 69 | 65 | 32.2762 | 48.9371 | 2.5934
16 | 69 | 66 | 29.4635 | 45.6825 | 2.5522
16 | 69 | 67 | 27.9833 | 45.8067 | 2.373
16 | 69 | 68 | 25.1203 | 43.0808 | 2.2169
16 | 69 | 69 | 24.1963 | 41.3378 | 2.1435
16 | 69 | 70 | 23.8421 | 41.2757 | 2.1447
16 | 69 | 71 | 23.6866 | 41.0269 | 2.2018
16 | 69 | 72 | 23.3176 | 40.9181 | 2.137
19 | ADCP | 73 | 32.9639 | 52.01 | 2.6984
19 | ADCP | 74 | 32.5367 | 51.4287 | 2.6463
19 | ADCP | 75 | 31.8195 | 49.8112 | 2.594
19 | ADCP | 76 | 29.5777 | 47.9022 | 2.4776
19 | ADCP | 77 | 29.0101 | 47.3253 | 2.4393
19 | ADCP | 78 | 24.7893 | 41.4954 | 2.3579
19 | ADCP | 79 | 23.0841 | 39.8003 | 2.1407
19 | ADCP | 80 | 20.1901 | 36.7994 | 1.98
19 | ADCP | 81 | 19.1547 | 36.2313 | 1.8972
19 | ADCP | 82 | 19.2553 | 36.9706 | 1.9135
23 | 62 | 83 | 32.3185 | 51.4288 | 2.6619
23 | 62 | 84 | 32.2409 | 51.6993 | 2.6324
23 | 62 | 85 | 30.2959 | 48.2697 | 2.651
23 | 62 | 86 | 26.7618 | 44.8507 | 2.3276
23 | 62 | 87 | 24.2298 | 42.1022 | 2.1736
23 | 62 | 88 | 23.8686 | 42.1865 | 2.1521
23 | 62 | 89 | 22.6444 | 40.952 | 2.09
23 | 62 | 90 | 21.0509 | 39.7193 | 2.0045
23 | 62 | 91 | 20.4929 | 39.0524 | 1.9508
23 | 62 | 92 | 19.2502 | 36.8842 | 1.9438
23 | 62 | 93 | 16.3046 | 32.8473 | 1.8929
33 | 56 | 94 | 28.9837 | 47.6771 | 2.4891
33 | 56 | 95 | 29.1588 | 47.8515 | 2.5047
33 | 56 | 96 | 28.8496 | 47.4649 | 2.4636
33 | 56 | 97 | 28.2838 | 46.7043 | 2.4224
33 | 56 | 98 | 27.8601 | 46.411 | 2.3982
33 | 56 | 99 | 27.5785 | 45.8371 | 2.3568
33 | 56 | 100 | 26.3564 | 45.4501 | 2.3382
33 | 56 | 101 | 25.0775 | 44.2218 | 2.2881
33 | 56 | 102 | 24.4251 | 43.6477 | 2.258
33 | 56 | 103 | 21.016 | 38.1279 | 2.1906
33 | 56 | 104 | 22.011 | 42.4071 | 2.0855
33 | 56 | 105 | 20.7623 | 40.0594 | 2.0206
40 | 46 | 108 | 26.2633 | 45.3482 | 2.3763
40 | 46 | 109 | 25.9518 | 45.3344 | 2.3386
40 | 46 | 110 | 25.7824 | 44.9451 | 2.3269
40 | 46 | 111 | 24.9885 | 43.7124 | 2.2777
40 | 46 | 112 | 25.4154 | 44.918 | 2.3665
40 | 46 | 113 | 25.2461 | 43.6866 | 2.3289
40 | 46 | 114 | 23.9425 | 43.7673 | 2.3
40 | 46 | 115 | 21.4513 | 39.5473 | 2.1617
40 | 46 | 116 | 19.0214 | 37.6699 | 2.0894
40 | 46 | 117 | 13.5252 | 29.4624 | 1.5817
40 | 46 | 118 | 4.1298 | 24.8093 | 0.70026
40 | 46 | 119 | 1.4202 | 25.269 | 0.4275
42 | 42 | 120 | 28.4981 | 61.7635 | 2.9037
42 | 42 | 121 | 28.4703 | 61.9348 | 2.8664
42 | 42 | 122 | 28.3283 | 58.9875 | 2.7611
42 | 42 | 123 | 27.7017 | 55.1042 | 2.65
42 | 42 | 124 | 27.6455 | 53.7714 | 2.5927
42 | 42 | 125 | 24.289 | 46.8971 | 2.5382
42 | 42 | 126 | 26.3372 | 46.6051 | 2.3665
42 | 42 | 127 | 25.8545 | 44.7199 | 2.2888
42 | 42 | 128 | 27.7341 | 46.9591 | 2.4888
42 | 42 | 129 | 25.6585 | 43.8487 | 2.4084
42 | 42 | 130 | 24.3528 | 43.5589 | 2.3568
42 | 42 | 131 | 22.1417 | 38.5992 | 2.1154
42 | 42 | 132 | 19.6241 | 35.2349 | 1.9881
42 | 42 | 133 | 7.8397 | 20.7261 | 1.1658
42 | 42 | 134 | 5.0171 | 28.2442 | 0.72174
42 | 42 | 135 | 4.3477 | 42.2065 | 0.6333
47 | 39 | 136 | 28.0163 | 59.6489 | 2.8884
47 | 39 | 137 | 28.3025 | 60.6729 | 2.885
47 | 39 | 138 | 27.8761 | 58.8644 | 2.8309
47 | 39 | 139 | 27.9912 | 54.4215 | 2.6508
47 | 39 | 140 | 27.0243 | 51.3995 | 2.5922
47 | 39 | 141 | 26.7696 | 49.1344 | 2.5748
47 | 39 | 142 | 26.3444 | 47.0604 | 2.4349
47 | 39 | 143 | 26.5164 | 46.5823 | 2.3803
47 | 39 | 144 | 27.2572 | 48.2599 | 2.5057
47 | 39 | 145 | 27.4576 | 51.7198 | 2.5735
47 | 39 | 146 | 25.6685 | 48.8966 | 2.434
47 | 39 | 147 | 25.0172 | 48.4182 | 2.391
47 | 39 | 148 | 24.6501 | 47.2852 | 2.3536
47 | 39 | 149 | 20.5735 | 39.1485 | 2.0806
47 | 39 | 150 | 4.3524 | 16.1834 | 0.81895
47 | 39 | 151 | 1.2529 | 15.3485 | 0.42747
47 | 39 | 152 | 0.081033 | 25.3603 | 0.27292
50 | 27 | 153 | 28.516 | 60.6 | 2.8395
50 | 27 | 154 | 29.247 | 62.9701 | 2.8844
50 | 27 | 155 | 28.5476 | 57.9308 | 2.7722
50 | 27 | 156 | 27.6788 | 52.445 | 2.5992
50 | 27 | 157 | 23.97 | 45.5793 | 2.5811
50 | 27 | 158 | 27.3986 | 50.4619 | 2.5371
50 | 27 | 159 | 26.7329 | 46.7033 | 2.4265
50 | 27 | 160 | 27.0623 | 45.9527 | 2.417
50 | 27 | 161 | 29.0963 | 51.7716 | 2.6414
50 | 27 | 162 | 27.5094 | 50.1693 | 2.614
50 | 27 | 163 | 27.4974 | 50.4488 | 2.5584
50 | 27 | 164 | 26.5519 | 47.5408 | 2.5259
50 | 27 | 165 | 23.4089 | 39.5112 | 2.3516
50 | 27 | 166 | 2.9968 | 14.0439 | 0.81311
50 | 27 | 167 | 0.012851 | 10.8498 | 0.2539
50 | 27 | 168 | 0.013205 | 11.3105 | 0.2353
54 | 2 | 169 | 29.6529 | 67.7417 | 2.9937
54 | 2 | 170 | 29.5221 | 67.825 | 2.9644
54 | 2 | 171 | 28.5633 | 56.9799 | 2.7607
54 | 2 | 172 | 27.8924 | 53.9511 | 2.6333
54 | 2 | 173 | 27.9063 | 51.6852 | 2.5776
54 | 2 | 174 | 27.8348 | 50.6472 | 2.5448
54 | 2 | 175 | 28.616 | 50.3625 | 2.5668
54 | 2 | 176 | 28.0899 | 47.5446 | 2.482
54 | 2 | 177 | 27.8765 | 52.1427 | 2.5561
54 | 2 | 178 | 27.0408 | 49.9796 | 2.5522
54 | 2 | 179 | 24.9929 | 46.7918 | 2.3922
54 | 2 | 180 | 21.7145 | 40.0703 | 2.1737
54 | 2 | 181 | 15.7913 | 31.8085 | 1.7588
54 | 2 | 182 | 9.4033 | 23.8719 | 1.2594
54 | 2 | 183 | 0.40001 | 11.7705 | 0.35713
56 | 3 | 184 | 30.4039 | 80.8809 | 3.1263
56 | 3 | 185 | 28.7629 | 70.3161 | 3.0225
56 | 3 | 186 | 30.0318 | 66.8953 | 2.8
56 | 3 | 187 | 28.9458 | 57.8983 | 2.7169
56 | 3 | 188 | 28.153 | 52.5138 | 2.6052
56 | 3 | 189 | 28.0276 | 50.6199 | 2.5559
56 | 3 | 190 | 28.5386 | 50.6069 | 2.5808
56 | 3 | 191 | 28.9912 | 50.8773 | 2.5885
56 | 3 | 192 | 29.5883 | 51.9027 | 2.6649
56 | 3 | 193 | 28.2393 | 52.9168 | 2.6175
56 | 3 | 194 | 26.791 | 50.7369 | 2.5421
56 | 3 | 195 | 25.262 | 47.1489 | 2.4202
56 | 3 | 196 | 22.5681 | 41.5083 | 2.2975
56 | 3 | 197 | 15.6685 | 30.9615 | 1.8863
56 | 3 | 198 | 6.8311 | 21.334 | 1.1183
56 | 3 | 199 | 0.58682 | 13.2506 | 0.45244
59 | 6 | 200 | 28.7714 | 58.3139 | 2.7114
59 | 6 | 201 | 28.4482 | 55.0933 | 2.6556
59 | 6 | 202 | 28.2985 | 52.5386 | 2.6139
59 | 6 | 203 | 28.4371 | 52.2491 | 2.6036
59 | 6 | 204 | 29.354 | 51.771 | 2.5934
59 | 6 | 205 | 29.4345 | 53.0854 | 2.7205
59 | 6 | 206 | 27.5287 | 52.2296 | 2.5815
59 | 6 | 207 | 26.0023 | 49.1127 | 2.4704
59 | 6 | 208 | 24.9955 | 46.4721 | 2.3819
59 | 6 | 209 | 22.0223 | 41.0261 | 2.2349
59 | 6 | 210 | 6.1066 | 21.522 | 1.0903
59 | 6 | 211 | 0.42108 | 18.1079 | 0.5267
59 | 6 | 212 | 0.11722 | 13.0652 | 0.30919
62 | 9 | 213 | 30.2711 | 78.214 | 3.0247
62 | 9 | 214 | 29.2466 | 75.0689 | 3.0148
62 | 9 | 215 | 29.9673 | 61.6818 | 2.7769
62 | 9 | 216 | 29.4961 | 54.3122 | 2.6733
62 | 9 | 217 | 30.071 | 55.8145 | 2.7256
62 | 9 | 218 | 28.4403 | 53.923 | 2.6131
62 | 9 | 219 | 25.143 | 49.3049 | 2.4025
62 | 9 | 220 | 23.7013 | 46.3865 | 2.2711
62 | 9 | 221 | 21.1198 | 42.3492 | 2.0894
62 | 9 | 222 | 15.6273 | 35.6167 | 1.6592
62 | 9 | 223 | 4.9085 | 19.664 | 0.88347
62 | 9 | 224 | 0.36645 | 10.1934 | 0.41829
65 | 12 | 225 | 28.9344 | 68.6348 | 2.8689
65 | 12 | 226 | 28.6925 | 68.4253 | 2.8114
65 | 12 | 227 | 29.0215 | 64.2339 | 2.8008
65 | 12 | 228 | 28.6654 | 60.4355 | 2.7289
65 | 12 | 229 | 28.9373 | 61.3667 | 2.7181
65 | 12 | 230 | 28.4955 | 56.8284 | 2.6569
65 | 12 | 231 | 28.9959 | 55.5951 | 2.6629
65 | 12 | 232 | 29.5538 | 55.7733 | 2.6942
65 | 12 | 233 | 24.3547 | 47.8893 | 2.2889
65 | 12 | 234 | 27.2297 | 53.3062 | 2.5515
65 | 12 | 235 | 25.7069 | 50.1164 | 2.441
65 | 12 | 236 | 24.1305 | 47.6812 | 2.3212
65 | 12 | 237 | 20.6349 | 42.456 | 2.0649
65 | 12 | 238 | 6.5977 | 25.477 | 0.98819
65 | 12 | 239 | 0.95518 | 11.4652 | 0.39213
65 | 12 | 240 | 0.025128 | 9.8126 | 0.31116
67 | 14 | 241 | 28.559 | 65.0299 | 2.7698
67 | 14 | 242 | 28.4369 | 64.7253 | 2.774
67 | 14 | 243 | 28.3148 | 62.7896 | 2.7334
67 | 14 | 244 | 28.4781 | 62.2002 | 2.7124
67 | 14 | 245 | 28.7557 | 60.3688 | 2.7137
67 | 14 | 246 | 28.5764 | 59.1149 | 2.6982
67 | 14 | 247 | 28.74 | 57.0069 | 2.6121
67 | 14 | 248 | 30.3333 | 58.7102 | 2.8161
67 | 14 | 249 | 29.839 | 56.7959 | 2.753
67 | 14 | 250 | 24.8135 | 49.4907 | 2.3829
67 | 14 | 251 | 23.4716 | 48.8237 | 2.258
67 | 14 | 252 | 22.642 | 46.6499 | 2.1959
67 | 14 | 253 | 21.9266 | 45.7983 | 2.1481
67 | 14 | 254 | 17.5208 | 39.6009 | 1.815
67 | 14 | 255 | 5.1856 | 25.8127 | 0.9338
67 | 14 | 256 | 0.51706 | 17.1272 | 0.52882
69 | 16 | 257 | 28.8251 | 61.8421 | 2.7563
69 | 16 | 258 | 28.8743 | 61.6959 | 2.7465
69 | 16 | 259 | 29.0091 | 59.9221 | 2.7506
69 | 16 | 260 | 29.4295 | 56.7302 | 2.7018
69 | 16 | 261 | 27.6807 | 53.6559 | 2.6108
69 | 16 | 262 | 26.4759 | 53.0576 | 2.5135
69 | 16 | 263 | 24.96 | 51.802 | 2.4241
69 | 16 | 264 | 22.8506 | 48.3918 | 2.231
69 | 16 | 265 | 20.3786 | 45.1882 | 2.0649
69 | 16 | 266 | 19.3254 | 43.8665 | 1.9557
69 | 16 | 267 | 18.9228 | 43.2951 | 1.9307

## Variability
Cruise 2000-17: Georgia Strait, July, 2000. Nutrient Data.
Analysis | Sample | Nitrate | Silicate | Phosphate
Date
726 | P4 | 24.5296 | 38.0068 | 1.8581
| P4 | 24.6065 | 37.4931 | 1.8577
727 | P4 | 24.7981 | 37.9036 | 1.8585
| P4 | 24.7806 | 37.8085 | 1.8639
| P4 | 24.5493 | 38.1541 | 1.8396
802 | P4 | 25.0278 | 38.0154 | 1.8561
| P4 | 24.9974 | 37.9167 | 1.8845
803 | P4 | 24.6537 | 37.9018 | 1.8369
| P4 | 24.4368 | 37.7085 | 1.8608
| mean | 24.7088 | 37.8787 | 1.8573
| stddev | 0.20713 | 0.19237 | 0.013824
| m |  |  | 2
| H |  |  | 2.976
| H |  |  | 2.9854
| H std | 30.0599 | 60.2477 | 2.9985
| Sagami 0 | 0.10198
| Sample | nitrate | nitrate | avg NO3 | silicate | silicate | avg Si | PO4 | PO4 | avg PO4 | diff NO3 | diff NO3^2 | diff Si | diff Si^2 | diff PO4 | diff PO4^2
| 72 | 23.182 | 23.4533 | 23.3176 | 40.9664 | 40.8698 | 40.9181 | 2.1244 | 2.1497 | 2.137 | -0.27136 | 0.073636 | 0.09654 | 0.00932 | -0.025267 | 0.00063842
| 71 | 23.6653 | 23.708 | 23.6866 | 41.0751 | 40.9787 | 41.0269 | 2.1347 | 2.269 | 2.2018 | -0.04274 | 0.0018267 | 0.09635 | 0.0092833 | -0.13428 | 0.018031
| 70 | 23.8067 | 23.8774 | 23.8421 | 41.5572 | 40.9942 | 41.2757 | 2.145 | 2.1444 | 2.1447 | -0.07073 | 0.0050027 | 0.563 | 0.31697 | 0.000574 | 3.2948e-07
| 69 | 23.9766 | 24.4161 | 24.1963 | 41.2924 | 41.3831 | 41.3378 | 2.1466 | 2.1403 | 2.1435 | -0.43955 | 0.1932 | -0.09075 | 0.0082356 | 0.006305 | 3.9753e-05
| 68 | 25.0584 | 25.1822 | 25.1203 | 43.2689 | 42.8928 | 43.0808 | 2.2115 | 2.2224 | 2.2169 | -0.12379 | 0.015324 | 0.37611 | 0.14146 | -0.010936 | 0.0001196
| 67 | 27.9977 | 27.969 | 27.9833 | 46.1819 | 45.4315 | 45.8067 | 2.3732 | 2.3727 | 2.373 | 0.02863 | 0.00081968 | 0.75041 | 0.56312 | 0.000506 | 2.5604e-07
| 66 | 27.7384 | 31.1885 | 29.4635 | 43.2055 | 48.1594 | 45.6825 | 2.568 | 2.5364 | 2.5522 | -3.4501 | 11.9035 | -4.9539 | 24.5413 | 0.031618 | 0.0009997
| 65 | 32.2567 | 32.2956 | 32.2762 | 49.593 | 48.2812 | 48.9371 | 2.6332 | 2.5537 | 2.5934 | -0.03884 | 0.0015085 | 1.3117 | 1.7207 | 0.079523 | 0.0063239
| 64 | 35.0095 | 35.1491 | 35.0793 | 55.0398 | 54.3823 | 54.711 | 2.778 | 2.7833 | 2.7807 | -0.13962 | 0.019494 | 0.6575 | 0.43231 | -0.005224 | 2.729e-05
| 63 | 35.1201 | 35.1447 | 35.1324 | 55.2387 | 56.0815 | 55.6601 | 2.7907 | 2.7959 | 2.7933 | -0.02459 | 0.00060467 | -0.84281 | 0.71033 | -0.005203 | 2.7071e-05
| 62 | 35.4318 | 35.2261 | 35.3289 | 55.7186 | 56.2801 | 55.9994 | 2.8061 | 2.8252 | 2.8156 | 0.20576 | 0.042337 | -0.56149 | 0.31527 | -0.019183 | 0.00036799
| 61 | 35.2837 | 35.2216 | 35.2526 | 55.8234 | 55.6354 | 55.7294 | 2.8242 | 2.7987 | 2.8115 | 0.06209 | 0.0038552 | 0.18804 | 0.035359 | 0.025493 | 0.00064989
[11 empty] | Sum of sq. differences | 12.2611 |  | 28.8037 |  | 0.027225
[11 empty] | No of pairs | 12 |  | 12 |  | 12
[11 empty] | Pooled deviation | 0.71476 |  | 1.0955 |  | 0.03368
The quality of the samples for the replicate cast was probably poorer than average. It was noted that many of the
test tubes were overfilled; some with loose lids. However, there is only one sample (#66) for which the data are obviously
erroneous. The overall quality of the samples was excellent, and these estimates of pooled deviation for nitrate and silicate are probably
higher than they would be for the rest of the casts.